## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4197-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4197-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4197-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4197-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4197-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4197-5_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_4197-5_0_4_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_4197-5_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_4197-5_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_4197-5_0_4_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_4197-5_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4197-5_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4197-5_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4197-5_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4197-5_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4197-5_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4197-5_0_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_4197-5_0_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_4197-5_0_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_4197-5_0_4_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_4197-5_0_4_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_4197-5_0_4_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_4197-5_0_4_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_4197-5_0_4_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_4197-5_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_4197-5_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4197-5_0_4_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_4197-5_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_4197-5_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4197-5_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4197-5_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4197-5_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4197-5_0_4_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_4197-5_0_4_node_92 | 0.4 | n |  | TRUE
34 | bus_LV_4197-5_0_4_node_90 | 0.4 | n |  | TRUE
35 | bus_LV_4197-5_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_4197-5_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4197-5_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_4197-5_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_4197-5_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4197-5_0_4_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_4197-5_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_4197-5_0_4_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_4197-5_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_4197-5_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_4197-5_0_4_node_89 | 0.4 | n |  | TRUE
46 | bus_LV_4197-5_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_4197-5_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_4197-5_0_4_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_4197-5_0_4_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_4197-5_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_4197-5_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_4197-5_0_4_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_4197-5_0_4_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_4197-5_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_4197-5_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_4197-5_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_4197-5_0_4_node_102 | 0.4 | n |  | TRUE
58 | bus_LV_4197-5_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_4197-5_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_4197-5_0_4_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_4197-5_0_4_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_4197-5_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_4197-5_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_4197-5_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_4197-5_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_4197-5_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_4197-5_0_4_node_103 | 0.4 | n |  | TRUE
68 | bus_LV_4197-5_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_4197-5_0_4_node_100 | 0.4 | n |  | TRUE
70 | bus_LV_4197-5_0_4_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_4197-5_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_4197-5_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_4197-5_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_4197-5_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_4197-5_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_4197-5_0_4_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_4197-5_0_4_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_4197-5_0_4_node_96 | 0.4 | n |  | TRUE
79 | bus_LV_4197-5_0_4_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_4197-5_0_4_node_97 | 0.4 | n |  | TRUE
81 | bus_LV_4197-5_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_4197-5_0_4_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_4197-5_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_4197-5_0_4_node_98 | 0.4 | n |  | TRUE
85 | bus_LV_4197-5_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_4197-5_0_4_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_4197-5_0_4_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_4197-5_0_4_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_4197-5_0_4_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_4197-5_0_4_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_4197-5_0_4_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_4197-5_0_4_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_4197-5_0_4_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_4197-5_0_4_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_4197-5_0_4_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_4197-5_0_4_node_87 | 0.4 | n |  | TRUE
97 | bus_MV_427_1_node_303 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4197-5_0_4_load_0 | 0 | 0.0025754 | 0.00064546 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4197-5_0_4_load_1 | 1 | 0.0017991 | 0.00045091 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4197-5_0_4_load_2 | 2 | 0.00078581 | 0.00019694 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4197-5_0_4_load_3 | 3 | 0.0017671 | 0.00044288 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4197-5_0_4_load_4 | 4 | 0.0049473 | 0.0012399 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4197-5_0_4_load_34 | 6 | 0.002693 | 0.00067493 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4197-5_0_4_load_15 | 7 | 0.00092495 | 0.00023181 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4197-5_0_4_load_11 | 8 | 0.0010738 | 0.00026911 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4197-5_0_4_load_5 | 10 | 0.0043084 | 0.0010798 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4197-5_0_4_load_6 | 11 | 0.001295 | 0.00032456 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4197-5_0_4_load_8 | 13 | 0.0022779 | 0.00057091 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4197-5_0_4_load_10 | 15 | 0.0017319 | 0.00043405 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4197-5_0_4_load_31 | 18 | 0.0035741 | 0.00089577 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4197-5_0_4_load_37 | 19 | 0.0021326 | 0.00053447 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4197-5_0_4_load_29 | 20 | 0.0021618 | 0.00054179 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4197-5_0_4_load_30 | 21 | 0.0010802 | 0.00027072 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4197-5_0_4_load_47 | 22 | 0.0055745 | 0.0013971 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4197-5_0_4_load_12 | 24 | 0.002499 | 0.00062632 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4197-5_0_4_load_14 | 25 | 0.00087181 | 0.0002185 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4197-5_0_4_load_36 | 26 | 0.00088662 | 0.00022221 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4197-5_0_4_load_19 | 27 | 0.0012524 | 0.00031387 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4197-5_0_4_load_16 | 28 | 0.0013141 | 0.00032934 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4197-5_0_4_load_17 | 29 | 0.0011182 | 0.00028024 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4197-5_0_4_load_18 | 30 | 0.0019054 | 0.00047754 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4197-5_0_4_load_92 | 33 | 0.0021567 | 0.00054052 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4197-5_0_4_load_90 | 34 | 0.0025388 | 0.00063629 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4197-5_0_4_load_21 | 35 | 0.0015415 | 0.00038633 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4197-5_0_4_load_22 | 36 | 0.0021803 | 0.00054644 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4197-5_0_4_load_24 | 38 | 0.0020635 | 0.00051717 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4197-5_0_4_load_25 | 39 | 0.0019459 | 0.00048768 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4197-5_0_4_load_45 | 40 | 0.0016453 | 0.00041236 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4197-5_0_4_load_26 | 41 | 0.00081276 | 0.0002037 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4197-5_0_4_load_66 | 42 | 0.0026704 | 0.00066926 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4197-5_0_4_load_27 | 43 | 0.00081123 | 0.00020331 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4197-5_0_4_load_43 | 44 | 0.0017981 | 0.00045065 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4197-5_0_4_load_89 | 45 | 0.0015414 | 0.00038632 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4197-5_0_4_load_41 | 46 | 0.0018119 | 0.00045411 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4197-5_0_4_load_46 | 47 | 0.0041061 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4197-5_0_4_load_48 | 48 | 0.0053119 | 0.0013313 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4197-5_0_4_load_80 | 49 | 0.0061443 | 0.0015399 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4197-5_0_4_load_52 | 51 | 0.0035605 | 0.00089234 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4197-5_0_4_load_77 | 53 | 0.0010728 | 0.00026888 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4197-5_0_4_load_51 | 54 | 0.0024318 | 0.00060946 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4197-5_0_4_load_39 | 55 | 0.0051712 | 0.001296 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4197-5_0_4_load_40 | 56 | 0.0027747 | 0.0006954 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4197-5_0_4_load_102 | 57 | 0.0010561 | 0.00026467 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4197-5_0_4_load_42 | 58 | 0.0039408 | 0.00098767 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4197-5_0_4_load_44 | 59 | 0.0017823 | 0.00044669 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4197-5_0_4_load_68 | 60 | 0.0029595 | 0.00074173 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4197-5_0_4_load_81 | 61 | 0.00089026 | 0.00022312 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4197-5_0_4_load_50 | 62 | 0.0023473 | 0.0005883 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4197-5_0_4_load_53 | 63 | 0.00079435 | 0.00019908 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4197-5_0_4_load_103 | 67 | 0.00063901 | 0.00016015 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4197-5_0_4_load_100 | 69 | 0.00063214 | 0.00015843 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4197-5_0_4_load_73 | 70 | 0.00081004 | 0.00020301 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4197-5_0_4_load_59 | 71 | 0.001146 | 0.00028723 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4197-5_0_4_load_58 | 72 | 0.0014994 | 0.00037579 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4197-5_0_4_load_61 | 73 | 0.0034625 | 0.00086778 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4197-5_0_4_load_62 | 74 | 0.002967 | 0.00074359 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4197-5_0_4_load_64 | 75 | 0.0041309 | 0.0010353 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4197-5_0_4_load_84 | 76 | 0.00088828 | 0.00022262 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4197-5_0_4_load_65 | 77 | 0.0012517 | 0.00031371 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4197-5_0_4_load_96 | 78 | 0.00091766 | 0.00022999 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4197-5_0_4_load_83 | 79 | 0.002276 | 0.00057043 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4197-5_0_4_load_74 | 81 | 0.0012371 | 0.00031004 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4197-5_0_4_load_69 | 82 | 0.00066539 | 0.00016676 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4197-5_0_4_load_78 | 83 | 0.0010059 | 0.00025211 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4197-5_0_4_load_98 | 84 | 0.0011707 | 0.00029341 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4197-5_0_4_load_70 | 85 | 0.00087567 | 0.00021946 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4197-5_0_4_load_72 | 86 | 0.0010561 | 0.00026469 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4197-5_0_4_load_76 | 88 | 0.00058923 | 0.00014768 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4197-5_0_4_load_93 | 89 | 0.00086819 | 0.00021759 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4197-5_0_4_load_79 | 90 | 0.001378 | 0.00034535 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4197-5_0_4_load_88 | 91 | 0.0006008 | 0.00015057 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4197-5_0_4_load_82 | 92 | 0.00076961 | 0.00019288 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4197-5_0_4_load_95 | 93 | 0.00076332 | 0.00019131 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4197-5_0_4_load_86 | 94 | 0.0016725 | 0.00041916 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4197-5_0_4_load_87 | 96 | 0.0026826 | 0.00067233 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4197-5_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4197-5_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.014788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4197-5_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.030165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4197-5_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4197-5_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.011486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4197-5_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.034986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4197-5_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0054332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4197-5_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.010042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4197-5_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.02304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_4197-5_0_4_line_9 | NAYY 4x150 SE | 7 | 26 | 0.019392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4197-5_0_4_line_10 | NAYY 4x150 SE | 8 | 24 | 0.015505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4197-5_0_4_line_11 | NAYY 4x150 SE | 9 | 48 | 0.022305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4197-5_0_4_line_12 | NAYY 4x150 SE | 9 | 47 | 0.0074962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_4197-5_0_4_line_13 | NAYY 4x150 SE | 10 | 11 | 0.038433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4197-5_0_4_line_14 | NAYY 4x150 SE | 10 | 12 | 0.040563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4197-5_0_4_line_15 | NAYY 4x150 SE | 11 | 13 | 0.00016694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4197-5_0_4_line_16 | NAYY 4x150 SE | 12 | 14 | 0.025052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4197-5_0_4_line_17 | NAYY 4x150 SE | 12 | 15 | 0.013358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4197-5_0_4_line_18 | NAYY 4x150 SE | 13 | 16 | 0.10311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4197-5_0_4_line_19 | NAYY 4x150 SE | 14 | 17 | 0.059568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_4197-5_0_4_line_20 | NAYY 4x150 SE | 14 | 18 | 0.029847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4197-5_0_4_line_21 | NAYY 4x150 SE | 15 | 19 | 0.10595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4197-5_0_4_line_22 | NAYY 4x150 SE | 16 | 20 | 0.032803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4197-5_0_4_line_23 | NAYY 4x150 SE | 16 | 21 | 0.016399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4197-5_0_4_line_24 | NAYY 4x150 SE | 17 | 22 | 0.036212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_4197-5_0_4_line_25 | NAYY 4x150 SE | 19 | 23 | 0.032774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4197-5_0_4_line_26 | NAYY 4x150 SE | 20 | 44 | 0.012694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4197-5_0_4_line_27 | NAYY 4x150 SE | 21 | 45 | 0.024982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4197-5_0_4_line_28 | NAYY 4x150 SE | 22 | 47 | 0.0069656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_4197-5_0_4_line_29 | NAYY 4x150 SE | 23 | 50 | 0.1038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4197-5_0_4_line_30 | NAYY 4x150 SE | 23 | 51 | 0.019187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4197-5_0_4_line_31 | NAYY 4x150 SE | 24 | 25 | 0.061713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4197-5_0_4_line_32 | NAYY 4x150 SE | 26 | 27 | 0.014769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4197-5_0_4_line_33 | NAYY 4x150 SE | 27 | 29 | 0.0012865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4197-5_0_4_line_34 | NAYY 4x150 SE | 28 | 29 | 0.0072738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4197-5_0_4_line_35 | NAYY 4x150 SE | 28 | 30 | 0.032773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4197-5_0_4_line_36 | NAYY 4x150 SE | 30 | 31 | 0.018555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4197-5_0_4_line_37 | NAYY 4x150 SE | 31 | 32 | 0.024073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4197-5_0_4_line_38 | NAYY 4x150 SE | 32 | 33 | 0.019644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4197-5_0_4_line_39 | NAYY 4x150 SE | 32 | 34 | 0.0061534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4197-5_0_4_line_40 | NAYY 4x150 SE | 33 | 43 | 0.00078733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4197-5_0_4_line_41 | NAYY 4x150 SE | 35 | 36 | 0.030689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4197-5_0_4_line_42 | NAYY 4x150 SE | 35 | 37 | 0.038572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4197-5_0_4_line_43 | NAYY 4x150 SE | 36 | 38 | 0.037277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4197-5_0_4_line_44 | NAYY 4x150 SE | 37 | 39 | 0.024284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4197-5_0_4_line_45 | NAYY 4x150 SE | 38 | 40 | 0.016536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4197-5_0_4_line_46 | NAYY 4x150 SE | 39 | 41 | 0.029361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4197-5_0_4_line_47 | NAYY 4x150 SE | 40 | 42 | 0.041343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4197-5_0_4_line_48 | NAYY 4x150 SE | 41 | 43 | 0.066991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4197-5_0_4_line_49 | NAYY 4x150 SE | 42 | 60 | 0.026916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4197-5_0_4_line_50 | NAYY 4x150 SE | 44 | 46 | 0.016551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4197-5_0_4_line_51 | NAYY 4x150 SE | 46 | 55 | 0.0042854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4197-5_0_4_line_52 | NAYY 4x150 SE | 48 | 49 | 0.069894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4197-5_0_4_line_53 | NAYY 4x150 SE | 49 | 61 | 0.033301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4197-5_0_4_line_54 | NAYY 4x150 SE | 50 | 52 | 0.06528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4197-5_0_4_line_55 | NAYY 4x150 SE | 50 | 53 | 0.01552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4197-5_0_4_line_56 | NAYY 4x150 SE | 51 | 54 | 0.03911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4197-5_0_4_line_57 | NAYY 4x150 SE | 52 | 82 | 0.040986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4197-5_0_4_line_58 | NAYY 4x150 SE | 52 | 70 | 0.031775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4197-5_0_4_line_59 | NAYY 4x150 SE | 53 | 83 | 0.019546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4197-5_0_4_line_60 | NAYY 4x150 SE | 54 | 62 | 0.0035557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4197-5_0_4_line_61 | NAYY 4x150 SE | 55 | 56 | 0.014971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4197-5_0_4_line_62 | NAYY 4x150 SE | 55 | 57 | 0.085412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4197-5_0_4_line_63 | NAYY 4x150 SE | 56 | 58 | 0.0095498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4197-5_0_4_line_64 | NAYY 4x150 SE | 58 | 59 | 0.011897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4197-5_0_4_line_65 | NAYY 4x150 SE | 60 | 81 | 0.03411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4197-5_0_4_line_66 | NAYY 4x150 SE | 61 | 92 | 0.02365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4197-5_0_4_line_67 | NAYY 4x150 SE | 63 | 64 | 0.063993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4197-5_0_4_line_68 | NAYY 4x150 SE | 64 | 65 | 0.10998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4197-5_0_4_line_69 | NAYY 4x150 SE | 64 | 66 | 0.017384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4197-5_0_4_line_70 | NAYY 4x150 SE | 65 | 67 | 0.10468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4197-5_0_4_line_71 | NAYY 4x150 SE | 66 | 68 | 0.043021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4197-5_0_4_line_72 | NAYY 4x150 SE | 66 | 69 | 0.016347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4197-5_0_4_line_73 | NAYY 4x150 SE | 68 | 70 | 0.0075958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4197-5_0_4_line_74 | NAYY 4x150 SE | 68 | 71 | 0.033353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4197-5_0_4_line_75 | NAYY 4x150 SE | 71 | 72 | 0.006443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4197-5_0_4_line_76 | NAYY 4x150 SE | 73 | 74 | 0.017016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4197-5_0_4_line_77 | NAYY 4x150 SE | 74 | 75 | 0.0074708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4197-5_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.013271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4197-5_0_4_line_79 | NAYY 4x150 SE | 76 | 79 | 0.050215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4197-5_0_4_line_80 | NAYY 4x150 SE | 77 | 78 | 0.026495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4197-5_0_4_line_81 | NAYY 4x150 SE | 78 | 80 | 0.02411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4197-5_0_4_line_82 | NAYY 4x150 SE | 79 | 95 | 0.011155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4197-5_0_4_line_83 | NAYY 4x150 SE | 80 | 84 | 0.0047295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4197-5_0_4_line_84 | NAYY 4x150 SE | 81 | 84 | 0.028661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4197-5_0_4_line_85 | NAYY 4x150 SE | 82 | 85 | 0.0032769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4197-5_0_4_line_86 | NAYY 4x150 SE | 83 | 90 | 0.00067995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4197-5_0_4_line_87 | NAYY 4x150 SE | 85 | 86 | 0.0035762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4197-5_0_4_line_88 | NAYY 4x150 SE | 86 | 87 | 0.048356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4197-5_0_4_line_89 | NAYY 4x150 SE | 87 | 88 | 0.058811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4197-5_0_4_line_90 | NAYY 4x150 SE | 88 | 89 | 0.014261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4197-5_0_4_line_91 | NAYY 4x150 SE | 90 | 91 | 0.01464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4197-5_0_4_line_92 | NAYY 4x150 SE | 92 | 93 | 0.012255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4197-5_0_4_line_93 | NAYY 4x150 SE | 93 | 94 | 0.024548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4197-5_0_4_line_94 | NAYY 4x150 SE | 94 | 95 | 0.017894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4197-5_0_4_line_95 | NAYY 4x150 SE | 95 | 96 | 0.0074251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4197-5_0_4_trafo_9 | 0.25 MVA 20/0.4 kV | 97 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2656014.9606 | 1241935.213 | 2656012.3772 | 1241939.2016 | 2656007.6974 | 1241945.1749
1 | 2656014.9606 | 1241935.213 | 2656022.9997 | 1241922.8013
2 | 2656007.6974 | 1241945.1749 | 2656004.3962 | 1241949.3886 | 2655984.5671 | 1241964.3032
3 | 2656022.9997 | 1241922.8013 | 2656028.7254 | 1241913.9611 | 2656032.3041 | 1241906.1434
4 | 2655975.3877 | 1241971.2075 | 2655984.5671 | 1241964.3032
5 | 2656040.7673 | 1241872.7031 | 2656040.8393 | 1241882.4211 | 2656036.3827 | 1241897.2333 | 2656032.3041 | 1241906.1434
6 | 2655975.3877 | 1241971.2075 | 2655972.6917 | 1241975.9246
7 | 2655975.3877 | 1241971.2075 | 2655967.3759 | 1241965.1534
8 | 2656040.5968 | 1241849.6635 | 2656040.7673 | 1241872.7031
9 | 2655963.069 | 1241992.7607 | 2655972.6917 | 1241975.9246
10 | 2655967.3759 | 1241965.1534 | 2655959.4895 | 1241959.1941 | 2655954.8229 | 1241956.0627
11 | 2656040.5968 | 1241849.6635 | 2656062.3215 | 1241854.7164 | 2656062.3215 | 1241854.7164
12 | 2656040.5968 | 1241849.6635 | 2656039.964 | 1241842.1942
13 | 2655968.6828 | 1241876.3197 | 2655947.3272 | 1241908.2733
14 | 2655978.9031 | 1241838.1629 | 2655976.4927 | 1241846.0454 | 2655976.6487 | 1241852.7514 | 2655976.5877 | 1241859.2218 | 2655974.7046 | 1241867.3094 | 2655968.6828 | 1241876.3197
15 | 2655947.3272 | 1241908.2733 | 2655947.2344 | 1241908.4121
16 | 2656001.7575 | 1241848.4964 | 2655997.2159 | 1241845.8851 | 2655985.244 | 1241840.7688 | 2655978.9031 | 1241838.1629
17 | 2655978.9031 | 1241838.1629 | 2655972.0998 | 1241835.6971 | 2655967.5954 | 1241831.5519 | 2655967.5954 | 1241831.5519
18 | 2655888.2017 | 1241992.8341 | 2655901.4361 | 1241977.0703 | 2655927.9988 | 1241937.1938 | 2655947.2344 | 1241908.4121
19 | 2656001.7575 | 1241848.4964 | 2656035.4026 | 1241799.2809
20 | 2656001.7575 | 1241848.4964 | 2655985.2426 | 1241873.3578
21 | 2655967.5954 | 1241831.5519 | 2655966.2265 | 1241825.1903 | 2655996.6254 | 1241741.8212 | 2656000.576 | 1241731.8723
22 | 2655888.2017 | 1241992.8341 | 2655865.8317 | 1241977.669 | 2655861.0165 | 1241974.4761
23 | 2655888.2017 | 1241992.8341 | 2655890.8108 | 1241976.644
24 | 2656035.4026 | 1241799.2809 | 2656037.4408 | 1241812.4089 | 2656039.376 | 1241835.2534
25 | 2656012.6712 | 1241701.4122 | 2656000.576 | 1241731.8723
26 | 2655861.0165 | 1241974.4761 | 2655850.437 | 1241967.461
27 | 2655894.7855 | 1241951.9798 | 2655890.8108 | 1241976.644
28 | 2656039.964 | 1241842.1942 | 2656039.376 | 1241835.2534
29 | 2656023.4311 | 1241598.7007 | 2656023.1567 | 1241615.754 | 2656022.1816 | 1241635.7581 | 2656020.2502 | 1241648.9487 | 2656014.424 | 1241675.9006 | 2656011.7515 | 1241689.1176 | 2656012.6712 | 1241701.4122
30 | 2656012.6712 | 1241701.4122 | 2656015.4364 | 1241705.6078 | 2656019.0262 | 1241719.3074
31 | 2655975.32 | 1241904.4564 | 2655950.0584 | 1241941.9826 | 2655949.2267 | 1241948.4124 | 2655950.9856 | 1241953.4879 | 2655954.8229 | 1241956.0627
32 | 2655963.069 | 1241992.7607 | 2655955.7402 | 1242005.5835
33 | 2655955.7402 | 1242005.5835 | 2655955.1018 | 1242006.7004
34 | 2655950.5024 | 1242012.282 | 2655954.0806 | 1242008.4871 | 2655955.1018 | 1242006.7004
35 | 2655928.0189 | 1242036.1267 | 2655950.5024 | 1242012.282
36 | 2655918.6543 | 1242051.9825 | 2655921.2794 | 1242045.3583 | 2655928.0189 | 1242036.1267
37 | 2655926.3934 | 1242074.6483 | 2655921.2087 | 1242063.2919 | 2655918.6543 | 1242051.9825
38 | 2655926.3934 | 1242074.6483 | 2655935.1801 | 1242071.1843 | 2655944.123 | 1242066.2813
39 | 2655926.3934 | 1242074.6483 | 2655922.8449 | 1242079.6754
40 | 2655944.8134 | 1242065.9028 | 2655944.123 | 1242066.2813
41 | 2656079.9278 | 1241945.5422 | 2656066.6982 | 1241973.2329
42 | 2656050.0703 | 1242008.0365 | 2656066.6982 | 1241973.2329
43 | 2656079.9278 | 1241945.5422 | 2656095.9976 | 1241911.9067
44 | 2656050.0703 | 1242008.0365 | 2656030.0298 | 1242021.7516
45 | 2656095.9976 | 1241911.9067 | 2656103.1263 | 1241896.9859
46 | 2656005.8001 | 1242038.3337 | 2656030.0298 | 1242021.7516
47 | 2656103.1263 | 1241896.9859 | 2656104.6811 | 1241893.7314 | 2656117.5389 | 1241858.2534
48 | 2655944.8134 | 1242065.9028 | 2655956.533 | 1242059.4776 | 2656005.2314 | 1242038.7229 | 2656005.8001 | 1242038.3337
49 | 2656117.5389 | 1241858.2534 | 2656124.1415 | 1241840.035 | 2656126.4476 | 1241832.858
50 | 2655836.0832 | 1241959.288 | 2655843.9918 | 1241963.1872 | 2655850.437 | 1241967.461
51 | 2655831.9419 | 1241958.1864 | 2655836.0832 | 1241959.288 | 2655836.0832 | 1241959.288
52 | 2656086.9432 | 1241790.231 | 2656073.4892 | 1241832.9295 | 2656068.2807 | 1241848.9021 | 2656062.3215 | 1241854.7164
53 | 2656086.9432 | 1241790.231 | 2656096.951 | 1241758.4693
54 | 2656023.4311 | 1241598.7007 | 2656024.7317 | 1241573.0514 | 2656025.7092 | 1241564.8107 | 2656032.4692 | 1241534.2541
55 | 2656023.4311 | 1241598.7007 | 2656038.7997 | 1241600.8663
56 | 2656019.0262 | 1241719.3074 | 2656027.1775 | 1241750.4151 | 2656027.4394 | 1241757.3625
57 | 2656032.4692 | 1241534.2541 | 2656044.965 | 1241532.8044 | 2656059.8873 | 1241534.5909 | 2656072.8366 | 1241537.9487
58 | 2656032.4692 | 1241534.2541 | 2656037.0569 | 1241511.182 | 2656036.9836 | 1241502.9314
59 | 2656038.7997 | 1241600.8663 | 2656043.9827 | 1241601.5966 | 2656048.1189 | 1241599.9123 | 2656050.66 | 1241597.4235 | 2656053.1107 | 1241591.632
60 | 2656027.5733 | 1241760.9157 | 2656027.4394 | 1241757.3625
61 | 2655831.9419 | 1241958.1864 | 2655830.1033 | 1241957.6974 | 2655824.4437 | 1241958.2223 | 2655818.7126 | 1241962.8791
62 | 2655831.9419 | 1241958.1864 | 2655807.1869 | 1241876.4409
63 | 2655818.7126 | 1241962.8791 | 2655816.6657 | 1241964.5423 | 2655813.9236 | 1241970.8876
64 | 2655813.9236 | 1241970.8876 | 2655811.9903 | 1241975.3611 | 2655807.7709 | 1241980.9763
65 | 2656136.882 | 1241800.3834 | 2656126.4476 | 1241832.858
66 | 2656096.951 | 1241758.4693 | 2656097.2133 | 1241757.6367 | 2656102.9628 | 1241735.5968
67 | 2655990.5687 | 1241459.876 | 2655957.7075 | 1241512.3902 | 2655956.7239 | 1241514.1831
68 | 2655990.5687 | 1241459.876 | 2655982.5336 | 1241452.4953 | 2655916.16 | 1241378.7542
69 | 2656006.954 | 1241462.8769 | 2655995.3984 | 1241458.4205 | 2655990.5687 | 1241459.876
70 | 2655916.16 | 1241378.7542 | 2655899.7255 | 1241406.6403 | 2655868.5058 | 1241451.0872 | 2655856.9808 | 1241464.903
71 | 2656006.954 | 1241462.8769 | 2656025.0298 | 1241482.2048 | 2656034.1897 | 1241494.5661 | 2656034.5794 | 1241495.7261
72 | 2656006.954 | 1241462.8769 | 2656012.8488 | 1241447.6294
73 | 2656034.5794 | 1241495.7261 | 2656036.9836 | 1241502.9314
74 | 2656034.5794 | 1241495.7261 | 2656037.7429 | 1241488.1731 | 2656049.044 | 1241465.6896
75 | 2656051.9376 | 1241459.9328 | 2656049.044 | 1241465.6896
76 | 2656164.0443 | 1241620.9882 | 2656160.756 | 1241637.6834
77 | 2656160.756 | 1241637.6834 | 2656159.3122 | 1241645.0133
78 | 2656159.3122 | 1241645.0133 | 2656156.7476 | 1241658.0338
79 | 2656126.9635 | 1241687.1994 | 2656131.5779 | 1241689.2491 | 2656139.4072 | 1241688.7561 | 2656146.5056 | 1241684.8206 | 2656152.1186 | 1241677.2686 | 2656155.2767 | 1241665.5017 | 2656156.7476 | 1241658.0338
80 | 2656160.2219 | 1241719.7192 | 2656153.3499 | 1241745.3079
81 | 2656147.0965 | 1241768.5932 | 2656153.3499 | 1241745.3079
82 | 2656116.7693 | 1241682.6714 | 2656126.9635 | 1241687.1994
83 | 2656147.0965 | 1241768.5932 | 2656145.6497 | 1241773.0959
84 | 2656136.882 | 1241800.3834 | 2656145.6497 | 1241773.0959
85 | 2656072.8366 | 1241537.9487 | 2656075.8654 | 1241539.1995
86 | 2656053.3757 | 1241591.0058 | 2656053.1107 | 1241591.632
87 | 2656079.1708 | 1241540.5646 | 2656075.8654 | 1241539.1995
88 | 2656123.8658 | 1241559.0226 | 2656079.1708 | 1241540.5646
89 | 2656123.8658 | 1241559.0226 | 2656138.8183 | 1241521.639 | 2656142.6412 | 1241515.5266 | 2656146.6006 | 1241504.9017
90 | 2656151.5804 | 1241491.5387 | 2656146.6006 | 1241504.9017
91 | 2656059.081 | 1241577.523 | 2656053.3757 | 1241591.0058
92 | 2656106.0562 | 1241723.7387 | 2656102.9628 | 1241735.5968
93 | 2656106.0562 | 1241723.7387 | 2656112.2525 | 1241699.9859
94 | 2656116.7693 | 1241682.6714 | 2656112.2525 | 1241699.9859
95 | 2656116.7693 | 1241682.6714 | 2656109.9016 | 1241679.8488

## bus_geodata
| x | y | coords
0 | 2656014.9607 | 1241935.213
1 | 2656007.6974 | 1241945.1749
2 | 2656022.9997 | 1241922.8013
3 | 2655984.5671 | 1241964.3032
4 | 2656032.3041 | 1241906.1434
5 | 2655975.3877 | 1241971.2075
6 | 2656040.7673 | 1241872.7031
7 | 2655972.6917 | 1241975.9246
8 | 2655967.3759 | 1241965.1534
9 | 2656040.5968 | 1241849.6635
10 | 2655968.6828 | 1241876.3197
11 | 2655947.3272 | 1241908.2733
12 | 2655978.9031 | 1241838.1629
13 | 2655947.2344 | 1241908.4121
14 | 2656001.7575 | 1241848.4964
15 | 2655967.5954 | 1241831.5519
16 | 2655888.2017 | 1241992.8341
17 | 2656035.4026 | 1241799.2809
18 | 2655985.2426 | 1241873.3578
19 | 2656000.576 | 1241731.8723
20 | 2655861.0165 | 1241974.4761
21 | 2655890.8108 | 1241976.644
22 | 2656039.376 | 1241835.2534
23 | 2656012.6712 | 1241701.4122
24 | 2655954.8229 | 1241956.0627
25 | 2655975.32 | 1241904.4564
26 | 2655963.069 | 1241992.7607
27 | 2655955.7402 | 1242005.5835
28 | 2655950.5024 | 1242012.282
29 | 2655955.1018 | 1242006.7004
30 | 2655928.0189 | 1242036.1267
31 | 2655918.6543 | 1242051.9825
32 | 2655926.3934 | 1242074.6483
33 | 2655944.123 | 1242066.2813
34 | 2655922.8449 | 1242079.6754
35 | 2656066.6982 | 1241973.2329
36 | 2656079.9278 | 1241945.5422
37 | 2656050.0703 | 1242008.0365
38 | 2656095.9976 | 1241911.9067
39 | 2656030.0298 | 1242021.7516
40 | 2656103.1263 | 1241896.9859
41 | 2656005.8001 | 1242038.3337
42 | 2656117.5389 | 1241858.2534
43 | 2655944.8134 | 1242065.9028
44 | 2655850.437 | 1241967.461
45 | 2655894.7855 | 1241951.9798
46 | 2655836.0832 | 1241959.288
47 | 2656039.964 | 1241842.1942
48 | 2656062.3215 | 1241854.7164
49 | 2656086.9432 | 1241790.231
50 | 2656023.4311 | 1241598.7007
51 | 2656019.0262 | 1241719.3074
52 | 2656032.4692 | 1241534.2541
53 | 2656038.7997 | 1241600.8663
54 | 2656027.4394 | 1241757.3625
55 | 2655831.9419 | 1241958.1864
56 | 2655818.7126 | 1241962.8791
57 | 2655807.1869 | 1241876.4409
58 | 2655813.9236 | 1241970.8876
59 | 2655807.7709 | 1241980.9763
60 | 2656126.4476 | 1241832.858
61 | 2656096.951 | 1241758.4693
62 | 2656027.5733 | 1241760.9157
63 | 2655956.7239 | 1241514.1831
64 | 2655990.5687 | 1241459.876
65 | 2655916.16 | 1241378.7542
66 | 2656006.954 | 1241462.8769
67 | 2655856.9808 | 1241464.903
68 | 2656034.5794 | 1241495.7261
69 | 2656012.8488 | 1241447.6294
70 | 2656036.9836 | 1241502.9314
71 | 2656049.044 | 1241465.6896
72 | 2656051.9376 | 1241459.9328
73 | 2656164.0443 | 1241620.9882
74 | 2656160.756 | 1241637.6834
75 | 2656159.3122 | 1241645.0133
76 | 2656156.7476 | 1241658.0338
77 | 2656160.2219 | 1241719.7192
78 | 2656153.3499 | 1241745.3079
79 | 2656126.9635 | 1241687.1994
80 | 2656147.0965 | 1241768.5932
81 | 2656136.882 | 1241800.3834
82 | 2656072.8366 | 1241537.9487
83 | 2656053.1107 | 1241591.632
84 | 2656145.6497 | 1241773.0959
85 | 2656075.8654 | 1241539.1995
86 | 2656079.1708 | 1241540.5646
87 | 2656123.8658 | 1241559.0226
88 | 2656146.6006 | 1241504.9017
89 | 2656151.5804 | 1241491.5387
90 | 2656053.3757 | 1241591.0058
91 | 2656059.081 | 1241577.523
92 | 2656102.9628 | 1241735.5968
93 | 2656106.0562 | 1241723.7387
94 | 2656112.2525 | 1241699.9859
95 | 2656116.7693 | 1241682.6714
96 | 2656109.9016 | 1241679.8488
97 | 2655978.9031 | 1241838.1629

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1