## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4202-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4202-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4202-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4202-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4202-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4202-2_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4202-2_0_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_4202-2_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4202-2_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4202-2_0_2_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_4202-2_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4202-2_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4202-2_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4202-2_0_2_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_4202-2_0_2_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_4202-2_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4202-2_0_2_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_4202-2_0_2_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_4202-2_0_2_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_4202-2_0_2_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_4202-2_0_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_4202-2_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4202-2_0_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4202-2_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_4202-2_0_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_4202-2_0_2_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_4202-2_0_2_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_4202-2_0_2_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_4202-2_0_2_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_4202-2_0_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4202-2_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4202-2_0_2_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_4202-2_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4202-2_0_2_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4202-2_0_2_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_4202-2_0_2_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_4202-2_0_2_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_4202-2_0_2_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_4202-2_0_2_node_95 | 0.4 | n |  | TRUE
39 | bus_LV_4202-2_0_2_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_4202-2_0_2_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_4202-2_0_2_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_4202-2_0_2_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_4202-2_0_2_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_4202-2_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_4202-2_0_2_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_4202-2_0_2_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_4202-2_0_2_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_4202-2_0_2_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_4202-2_0_2_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_4202-2_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4202-2_0_2_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_4202-2_0_2_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_4202-2_0_2_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_4202-2_0_2_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_4202-2_0_2_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_4202-2_0_2_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_4202-2_0_2_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_4202-2_0_2_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_4202-2_0_2_node_103 | 0.4 | n |  | TRUE
60 | bus_LV_4202-2_0_2_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_4202-2_0_2_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_4202-2_0_2_node_80 | 0.4 | n |  | TRUE
63 | bus_LV_4202-2_0_2_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_4202-2_0_2_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_4202-2_0_2_node_84 | 0.4 | n |  | TRUE
66 | bus_LV_4202-2_0_2_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_4202-2_0_2_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_4202-2_0_2_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_4202-2_0_2_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_4202-2_0_2_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_4202-2_0_2_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_4202-2_0_2_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_4202-2_0_2_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_4202-2_0_2_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_4202-2_0_2_node_96 | 0.4 | n |  | TRUE
76 | bus_LV_4202-2_0_2_node_93 | 0.4 | n |  | TRUE
77 | bus_LV_4202-2_0_2_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_4202-2_0_2_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_4202-2_0_2_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_4202-2_0_2_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_4202-2_0_2_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_4202-2_0_2_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_4202-2_0_2_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_4202-2_0_2_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_4202-2_0_2_node_92 | 0.4 | n |  | TRUE
86 | bus_LV_4202-2_0_2_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_4202-2_0_2_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_4202-2_0_2_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_4202-2_0_2_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_4202-2_0_2_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_4202-2_0_2_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_4202-2_0_2_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_4202-2_0_2_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_4202-2_0_2_node_101 | 0.4 | n |  | TRUE
95 | bus_LV_4202-2_0_2_node_99 | 0.4 | n |  | TRUE
96 | bus_LV_4202-2_0_2_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_4202-2_0_2_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_4202-2_0_2_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_4202-2_0_2_node_104 | 0.4 | n |  | TRUE
100 | bus_LV_4202-2_0_2_node_105 | 0.4 | n |  | TRUE
101 | bus_MV_470_0_node_336 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4202-2_0_2_load_0 | 0 | 0.0047092 | 0.0011802 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4202-2_0_2_load_1 | 1 | 0.0022079 | 0.00055334 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4202-2_0_2_load_2 | 2 | 0.00091655 | 0.00022971 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4202-2_0_2_load_3 | 3 | 0.003435 | 0.00086089 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4202-2_0_2_load_11 | 6 | 0.0042923 | 0.0010758 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4202-2_0_2_load_8 | 7 | 0.0032163 | 0.00080609 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4202-2_0_2_load_6 | 8 | 0.0019216 | 0.0004816 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4202-2_0_2_load_14 | 9 | 0.0032896 | 0.00082444 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4202-2_0_2_load_9 | 10 | 0.004184 | 0.0010486 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4202-2_0_2_load_12 | 12 | 0.0066162 | 0.0016582 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4202-2_0_2_load_67 | 13 | 0.0015784 | 0.00039558 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4202-2_0_2_load_15 | 15 | 0.0012416 | 0.00031117 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4202-2_0_2_load_16 | 16 | 0.0050566 | 0.0012673 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4202-2_0_2_load_75 | 17 | 0.0030512 | 0.00076469 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4202-2_0_2_load_76 | 18 | 0.0026672 | 0.00066846 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4202-2_0_2_load_17 | 19 | 0.0073151 | 0.0018333 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4202-2_0_2_load_18 | 20 | 0.0018846 | 0.00047232 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4202-2_0_2_load_19 | 21 | 0.0028553 | 0.00071559 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4202-2_0_2_load_21 | 23 | 0.0050057 | 0.0012545 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4202-2_0_2_load_60 | 26 | 0.00067549 | 0.00016929 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4202-2_0_2_load_35 | 27 | 0.0017592 | 0.00044089 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4202-2_0_2_load_50 | 28 | 0.0025125 | 0.0006297 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4202-2_0_2_load_22 | 29 | 0.0011571 | 0.00028999 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4202-2_0_2_load_23 | 30 | 0.0016738 | 0.00041949 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4202-2_0_2_load_24 | 31 | 0.0016337 | 0.00040944 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4202-2_0_2_load_25 | 32 | 0.0017395 | 0.00043596 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4202-2_0_2_load_26 | 33 | 0.00081845 | 0.00020512 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4202-2_0_2_load_32 | 34 | 0.00060884 | 0.00015259 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4202-2_0_2_load_30 | 35 | 0.0014537 | 0.00036433 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4202-2_0_2_load_59 | 36 | 0.00090894 | 0.0002278 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4202-2_0_2_load_95 | 38 | 0.0031904 | 0.00079958 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4202-2_0_2_load_33 | 40 | 0.001287 | 0.00032254 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4202-2_0_2_load_51 | 41 | 0.0012835 | 0.00032167 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4202-2_0_2_load_29 | 42 | 0.0016017 | 0.00040144 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4202-2_0_2_load_34 | 44 | 0.0024252 | 0.00060781 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4202-2_0_2_load_40 | 46 | 0.0019177 | 0.00048063 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4202-2_0_2_load_41 | 47 | 0.001313 | 0.00032907 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4202-2_0_2_load_36 | 48 | 0.0018971 | 0.00047545 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4202-2_0_2_load_37 | 49 | 0.001456 | 0.0003649 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4202-2_0_2_load_39 | 50 | 0.0017261 | 0.0004326 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4202-2_0_2_load_42 | 51 | 0.004903 | 0.0012288 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4202-2_0_2_load_45 | 52 | 0.0018051 | 0.00045241 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4202-2_0_2_load_53 | 53 | 0.0014354 | 0.00035975 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4202-2_0_2_load_43 | 54 | 0.0017243 | 0.00043216 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4202-2_0_2_load_54 | 56 | 0.0013608 | 0.00034105 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4202-2_0_2_load_55 | 58 | 0.0023166 | 0.00058058 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4202-2_0_2_load_103 | 59 | 0.0014787 | 0.00037059 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4202-2_0_2_load_48 | 61 | 0.0022325 | 0.00055953 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4202-2_0_2_load_80 | 62 | 0.0044318 | 0.0011107 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4202-2_0_2_load_77 | 63 | 0.002641 | 0.0006619 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4202-2_0_2_load_49 | 64 | 0.0034388 | 0.00086183 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4202-2_0_2_load_84 | 65 | 0.0029389 | 0.00073657 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4202-2_0_2_load_78 | 66 | 0.0021838 | 0.0005473 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4202-2_0_2_load_52 | 67 | 0.0036418 | 0.00091271 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4202-2_0_2_load_83 | 68 | 0.0013076 | 0.00032771 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4202-2_0_2_load_66 | 69 | 0.00076722 | 0.00019228 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4202-2_0_2_load_56 | 70 | 0.0022049 | 0.00055261 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4202-2_0_2_load_57 | 71 | 0.0015086 | 0.00037809 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4202-2_0_2_load_74 | 73 | 0.0026902 | 0.00067423 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4202-2_0_2_load_71 | 74 | 0.0010342 | 0.0002592 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4202-2_0_2_load_96 | 75 | 0.001938 | 0.0004857 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4202-2_0_2_load_93 | 76 | 0.00085857 | 0.00021518 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4202-2_0_2_load_72 | 77 | 0.00050014 | 0.00012535 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4202-2_0_2_load_64 | 78 | 0.0022191 | 0.00055616 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4202-2_0_2_load_65 | 79 | 0.0010523 | 0.00026372 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4202-2_0_2_load_69 | 80 | 0.0070822 | 0.001775 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4202-2_0_2_load_70 | 81 | 0.0046387 | 0.0011626 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4202-2_0_2_load_81 | 82 | 0.0036535 | 0.00091565 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4202-2_0_2_load_82 | 83 | 0.0019726 | 0.00049439 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4202-2_0_2_load_92 | 85 | 0.0046819 | 0.0011734 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4202-2_0_2_load_91 | 86 | 0.0022079 | 0.00055336 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4202-2_0_2_load_94 | 88 | 0.00091677 | 0.00022976 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4202-2_0_2_load_85 | 89 | 0.0062762 | 0.001573 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4202-2_0_2_load_79 | 90 | 0.0015791 | 0.00039577 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4202-2_0_2_load_86 | 91 | 0.0011012 | 0.00027599 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4202-2_0_2_load_87 | 92 | 0.0037731 | 0.00094563 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4202-2_0_2_load_88 | 93 | 0.0034572 | 0.00086645 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4202-2_0_2_load_101 | 94 | 0.00084565 | 0.00021194 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4202-2_0_2_load_97 | 96 | 0.0033715 | 0.00084498 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4202-2_0_2_load_98 | 97 | 0.004718 | 0.0011824 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4202-2_0_2_load_100 | 98 | 0.0004855 | 0.00012168 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4202-2_0_2_load_104 | 99 | 0.0019314 | 0.00048406 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4202-2_0_2_load_105 | 100 | 0.00048156 | 0.00012069 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4202-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0066223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4202-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0045338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4202-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4202-2_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.00864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4202-2_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4202-2_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.015823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4202-2_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.013209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4202-2_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.024706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4202-2_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.01944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4202-2_0_2_line_9 | NAYY 4x150 SE | 9 | 15 | 0.0078285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4202-2_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.017881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4202-2_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.061872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4202-2_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.04622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4202-2_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.012088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4202-2_0_2_line_14 | NAYY 4x150 SE | 14 | 80 | 0.016753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4202-2_0_2_line_15 | NAYY 4x150 SE | 14 | 81 | 0.031682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4202-2_0_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0019827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4202-2_0_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.022801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4202-2_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.00029839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4202-2_0_2_line_19 | NAYY 4x150 SE | 18 | 89 | 0.0262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4202-2_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.020477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4202-2_0_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.00027078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4202-2_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.014423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4202-2_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.034991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4202-2_0_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.014371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_4202-2_0_2_line_25 | NAYY 4x150 SE | 22 | 25 | 0.020076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_4202-2_0_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0033726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_4202-2_0_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.018858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_4202-2_0_2_line_28 | NAYY 4x150 SE | 25 | 28 | 0.026343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4202-2_0_2_line_29 | NAYY 4x150 SE | 26 | 36 | 0.011222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4202-2_0_2_line_30 | NAYY 4x150 SE | 27 | 40 | 0.0073462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_4202-2_0_2_line_31 | NAYY 4x150 SE | 28 | 41 | 0.012322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4202-2_0_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.022775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4202-2_0_2_line_33 | NAYY 4x150 SE | 29 | 31 | 0.0031873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4202-2_0_2_line_34 | NAYY 4x150 SE | 30 | 32 | 0.00061873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4202-2_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.010671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4202-2_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.011472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4202-2_0_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0040006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4202-2_0_2_line_38 | NAYY 4x150 SE | 35 | 42 | 0.0039765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4202-2_0_2_line_39 | NAYY 4x150 SE | 36 | 39 | 0.013756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_4202-2_0_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0092338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4202-2_0_2_line_41 | NAYY 4x150 SE | 37 | 39 | 0.016635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4202-2_0_2_line_42 | NAYY 4x150 SE | 38 | 75 | 0.014244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4202-2_0_2_line_43 | NAYY 4x150 SE | 39 | 72 | 0.019013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_4202-2_0_2_line_44 | NAYY 4x150 SE | 40 | 43 | 0.012613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_4202-2_0_2_line_45 | NAYY 4x150 SE | 41 | 67 | 0.0079804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4202-2_0_2_line_46 | NAYY 4x150 SE | 42 | 43 | 0.020286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4202-2_0_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.010689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_4202-2_0_2_line_48 | NAYY 4x150 SE | 44 | 45 | 0.040208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_4202-2_0_2_line_49 | NAYY 4x150 SE | 45 | 46 | 0.04325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_4202-2_0_2_line_50 | NAYY 4x150 SE | 45 | 47 | 0.011665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4202-2_0_2_line_51 | NAYY 4x150 SE | 45 | 48 | 0.013911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4202-2_0_2_line_52 | NAYY 4x150 SE | 46 | 52 | 0.0051373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_4202-2_0_2_line_53 | NAYY 4x150 SE | 47 | 53 | 0.021047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4202-2_0_2_line_54 | NAYY 4x150 SE | 48 | 49 | 0.0078806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4202-2_0_2_line_55 | NAYY 4x150 SE | 49 | 50 | 0.033048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4202-2_0_2_line_56 | NAYY 4x150 SE | 50 | 51 | 0.0023342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4202-2_0_2_line_57 | NAYY 4x150 SE | 51 | 54 | 0.022899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4202-2_0_2_line_58 | NAYY 4x150 SE | 52 | 55 | 0.024387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_4202-2_0_2_line_59 | NAYY 4x150 SE | 53 | 56 | 0.021745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4202-2_0_2_line_60 | NAYY 4x150 SE | 54 | 57 | 0.034149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4202-2_0_2_line_61 | NAYY 4x150 SE | 55 | 60 | 0.016393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4202-2_0_2_line_62 | NAYY 4x150 SE | 55 | 61 | 0.025973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_4202-2_0_2_line_63 | NAYY 4x150 SE | 56 | 70 | 0.0032053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4202-2_0_2_line_64 | NAYY 4x150 SE | 57 | 58 | 0.018152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4202-2_0_2_line_65 | NAYY 4x150 SE | 58 | 59 | 0.021791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4202-2_0_2_line_66 | NAYY 4x150 SE | 60 | 62 | 0.0062174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4202-2_0_2_line_67 | NAYY 4x150 SE | 60 | 63 | 0.015074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4202-2_0_2_line_68 | NAYY 4x150 SE | 61 | 64 | 0.013625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_4202-2_0_2_line_69 | NAYY 4x150 SE | 62 | 65 | 0.019339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4202-2_0_2_line_70 | NAYY 4x150 SE | 63 | 66 | 0.0094026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4202-2_0_2_line_71 | NAYY 4x150 SE | 65 | 89 | 0.0048742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4202-2_0_2_line_72 | NAYY 4x150 SE | 66 | 90 | 0.012907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4202-2_0_2_line_73 | NAYY 4x150 SE | 67 | 68 | 0.022809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4202-2_0_2_line_74 | NAYY 4x150 SE | 68 | 69 | 0.014023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4202-2_0_2_line_75 | NAYY 4x150 SE | 69 | 79 | 0.014041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4202-2_0_2_line_76 | NAYY 4x150 SE | 70 | 71 | 0.028295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4202-2_0_2_line_77 | NAYY 4x150 SE | 72 | 73 | 0.022716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4202-2_0_2_line_78 | NAYY 4x150 SE | 72 | 74 | 0.0030551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_4202-2_0_2_line_79 | NAYY 4x150 SE | 73 | 76 | 0.0149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4202-2_0_2_line_80 | NAYY 4x150 SE | 74 | 77 | 0.00023499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_4202-2_0_2_line_81 | NAYY 4x150 SE | 75 | 96 | 0.034877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4202-2_0_2_line_82 | NAYY 4x150 SE | 76 | 88 | 0.0054686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4202-2_0_2_line_83 | NAYY 4x150 SE | 77 | 84 | 0.030216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_4202-2_0_2_line_84 | NAYY 4x150 SE | 78 | 79 | 0.006214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4202-2_0_2_line_85 | NAYY 4x150 SE | 80 | 82 | 0.00793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4202-2_0_2_line_86 | NAYY 4x150 SE | 82 | 83 | 0.029715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_4202-2_0_2_line_87 | NAYY 4x150 SE | 83 | 93 | 0.009227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
88 | LV_4202-2_0_2_line_88 | NAYY 4x150 SE | 84 | 85 | 0.010209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4202-2_0_2_line_89 | NAYY 4x150 SE | 84 | 86 | 0.0030065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_4202-2_0_2_line_90 | NAYY 4x150 SE | 86 | 87 | 0.039976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_4202-2_0_2_line_91 | NAYY 4x150 SE | 87 | 93 | 0.015084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_4202-2_0_2_line_92 | NAYY 4x150 SE | 88 | 94 | 0.016237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4202-2_0_2_line_93 | NAYY 4x150 SE | 90 | 91 | 0.001984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4202-2_0_2_line_94 | NAYY 4x150 SE | 91 | 92 | 0.0072776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4202-2_0_2_line_95 | NAYY 4x150 SE | 94 | 95 | 0.026137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4202-2_0_2_line_96 | NAYY 4x150 SE | 95 | 98 | 0.011353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4202-2_0_2_line_97 | NAYY 4x150 SE | 95 | 97 | 0.045475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4202-2_0_2_line_98 | NAYY 4x150 SE | 98 | 99 | 0.014444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4202-2_0_2_line_99 | NAYY 4x150 SE | 99 | 100 | 0.01373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4202-2_0_2_trafo_49 | 0.25 MVA 20/0.4 kV | 101 | 64 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2659569.665 | 1238468.6095 | 2659563.3407 | 1238466.6451
1 | 2659569.665 | 1238468.6095 | 2659573.9948 | 1238469.9544
2 | 2659550.288 | 1238462.5908 | 2659563.3407 | 1238466.6451
3 | 2659582.2459 | 1238472.5173 | 2659573.9948 | 1238469.9544
4 | 2659538.0795 | 1238458.7987 | 2659550.288 | 1238462.5908
5 | 2659582.2459 | 1238472.5173 | 2659579.4565 | 1238488.0925
6 | 2659582.2459 | 1238472.5173 | 2659595.1784 | 1238475.2079
7 | 2659538.0795 | 1238458.7987 | 2659523.1787 | 1238439.0919
8 | 2659579.4565 | 1238488.0925 | 2659578.9365 | 1238490.9964 | 2659576.9324 | 1238500.7494 | 2659575.121 | 1238507.0263
9 | 2659575.121 | 1238507.0263 | 2659574.3698 | 1238509.6296 | 2659572.4897 | 1238514.3909
10 | 2659681.8169 | 1238487.3488 | 2659664.1003 | 1238484.9307
11 | 2659664.1003 | 1238484.9307 | 2659661.7288 | 1238423.1043
12 | 2659681.8169 | 1238487.3488 | 2659681.4649 | 1238489.2576 | 2659677.0378 | 1238499.242 | 2659673.5782 | 1238507.0347 | 2659671.4376 | 1238514.5515 | 2659669.016 | 1238531.3933
13 | 2659668.5302 | 1238543.4304 | 2659668.3391 | 1238536.1014 | 2659669.016 | 1238531.3933
14 | 2659668.5302 | 1238543.4304 | 2659668.5512 | 1238544.3534 | 2659666.048 | 1238549.5651 | 2659661.7395 | 1238558.6422
15 | 2659668.5302 | 1238543.4304 | 2659692.2901 | 1238544.1028 | 2659697.1136 | 1238545.1075 | 2659699.7188 | 1238546.5654
16 | 2659571.7615 | 1238516.235 | 2659572.4897 | 1238514.3909
17 | 2659571.7615 | 1238516.235 | 2659569.9225 | 1238520.8925 | 2659563.0211 | 1238537.2927
18 | 2659563.0211 | 1238537.2927 | 2659562.9054 | 1238537.5677
19 | 2659562.9054 | 1238537.5677 | 2659558.0743 | 1238549.048 | 2659553.0049 | 1238561.8241
20 | 2659575.6005 | 1238694.1268 | 2659568.9385 | 1238709.4303 | 2659567.3819 | 1238712.8821
21 | 2659567.2705 | 1238713.129 | 2659567.3819 | 1238712.8821
22 | 2659581.3574 | 1238680.9025 | 2659575.6005 | 1238694.1268
23 | 2659552.8862 | 1238745.0264 | 2659567.2705 | 1238713.129
24 | 2659581.3574 | 1238680.9025 | 2659595.1893 | 1238684.944
25 | 2659581.3574 | 1238680.9025 | 2659561.988 | 1238675.4158
26 | 2659595.1893 | 1238684.944 | 2659598.4074 | 1238685.953
27 | 2659561.988 | 1238675.4158 | 2659543.7126 | 1238670.7654
28 | 2659561.988 | 1238675.4158 | 2659563.4672 | 1238671.2278 | 2659571.3339 | 1238654.6401 | 2659572.5527 | 1238653.029 | 2659573.7646 | 1238652.1072 | 2659573.7646 | 1238652.1072
29 | 2659609.1159 | 1238689.3104 | 2659598.4074 | 1238685.953
30 | 2659536.5932 | 1238668.9539 | 2659543.7126 | 1238670.7654
31 | 2659573.7646 | 1238652.1072 | 2659575.1604 | 1238651.7099 | 2659577.0271 | 1238651.8731 | 2659579.9029 | 1238652.4801 | 2659585.6243 | 1238654.4712
32 | 2659491.9365 | 1238732.0752 | 2659502.1336 | 1238711.7106
33 | 2659490.5094 | 1238734.9252 | 2659491.9365 | 1238732.0752
34 | 2659502.1336 | 1238711.7106 | 2659502.4106 | 1238711.1573
35 | 2659502.4106 | 1238711.1573 | 2659507.1884 | 1238701.6155
36 | 2659507.1884 | 1238701.6155 | 2659512.325 | 1238691.3573
37 | 2659514.1162 | 1238687.7801 | 2659512.325 | 1238691.3573
38 | 2659515.8966 | 1238684.2245 | 2659514.1162 | 1238687.7801
39 | 2659622.0492 | 1238693.975 | 2659613.8364 | 1238690.7905 | 2659609.1159 | 1238689.3104
40 | 2659614.9242 | 1238709.0135 | 2659610.9781 | 1238717.3617
41 | 2659622.0492 | 1238693.975 | 2659620.9054 | 1238696.3985 | 2659614.9242 | 1238709.0135
42 | 2659610.9781 | 1238717.3617 | 2659610.8128 | 1238717.7114 | 2659604.9538 | 1238730.2692
43 | 2659622.0492 | 1238693.975 | 2659624.2481 | 1238688.9271 | 2659630.3071 | 1238676.8465
44 | 2659524.3698 | 1238665.8435 | 2659536.5932 | 1238668.9539
45 | 2659593.2092 | 1238656.9234 | 2659591.8125 | 1238656.6246 | 2659585.6243 | 1238654.4712
46 | 2659524.3698 | 1238665.8435 | 2659523.2742 | 1238669.4905 | 2659515.8966 | 1238684.2245
47 | 2659524.3698 | 1238665.8435 | 2659514.0911 | 1238662.9104
48 | 2659475.4266 | 1238651.8774 | 2659514.0911 | 1238662.9104
49 | 2659475.4266 | 1238651.8774 | 2659481.5657 | 1238644.6229 | 2659504.8152 | 1238620.1623
50 | 2659475.4266 | 1238651.8774 | 2659464.1371 | 1238648.9416
51 | 2659475.4266 | 1238651.8774 | 2659472.392 | 1238656.5501 | 2659469.0675 | 1238664.1986
52 | 2659508.3545 | 1238616.4387 | 2659504.8152 | 1238620.1623
53 | 2659464.1371 | 1238648.9416 | 2659443.7672 | 1238643.6444
54 | 2659469.0675 | 1238664.1986 | 2659465.9261 | 1238671.4261
55 | 2659452.7524 | 1238701.7344 | 2659465.9261 | 1238671.4261
56 | 2659451.822 | 1238703.8751 | 2659452.7524 | 1238701.7344
57 | 2659451.822 | 1238703.8751 | 2659442.6938 | 1238724.876
58 | 2659525.1558 | 1238598.7623 | 2659508.3545 | 1238616.4387
59 | 2659443.7672 | 1238643.6444 | 2659422.7223 | 1238638.1718
60 | 2659429.0813 | 1238756.1941 | 2659442.6938 | 1238724.876
61 | 2659525.1558 | 1238598.7623 | 2659536.6422 | 1238587.0363
62 | 2659525.1558 | 1238598.7623 | 2659527.002 | 1238600.2151 | 2659532.0335 | 1238602.3447 | 2659549.6967 | 1238606.5619
63 | 2659419.6202 | 1238637.3651 | 2659422.7223 | 1238638.1718
64 | 2659429.0813 | 1238756.1941 | 2659433.4514 | 1238757.8834 | 2659446.4239 | 1238761.4989
65 | 2659446.4239 | 1238761.4989 | 2659467.4148 | 1238767.3492
66 | 2659536.6422 | 1238587.0363 | 2659539.6293 | 1238584.0976 | 2659540.9641 | 1238582.572
67 | 2659536.6422 | 1238587.0363 | 2659534.292 | 1238585.3116 | 2659522.6486 | 1238581.8078
68 | 2659562.9496 | 1238609.7262 | 2659549.6967 | 1238606.5619
69 | 2659551.2071 | 1238566.3547 | 2659549.7164 | 1238570.1116 | 2659545.483 | 1238577.4073 | 2659540.9641 | 1238582.572
70 | 2659522.6486 | 1238581.8078 | 2659513.6448 | 1238579.0983
71 | 2659551.2071 | 1238566.3547 | 2659553.0049 | 1238561.8241
72 | 2659511.4063 | 1238569.9397 | 2659509.066 | 1238577.7205 | 2659513.6448 | 1238579.0983
73 | 2659593.2092 | 1238656.9234 | 2659593.9939 | 1238657.0912 | 2659596.099 | 1238656.8566 | 2659597.6738 | 1238655.9607 | 2659598.7778 | 1238654.4819 | 2659600.4584 | 1238651.33 | 2659605.7916 | 1238639.8491
74 | 2659605.7916 | 1238639.8491 | 2659611.6994 | 1238627.1313
75 | 2659617.6148 | 1238614.3971 | 2659611.6994 | 1238627.1313
76 | 2659419.6202 | 1238637.3651 | 2659392.2357 | 1238630.2438
77 | 2659630.3071 | 1238676.8465 | 2659650.5526 | 1238687.148
78 | 2659630.3071 | 1238676.8465 | 2659631.6712 | 1238674.1129
79 | 2659650.5526 | 1238687.148 | 2659657.9259 | 1238690.8998 | 2659663.5429 | 1238694.4161
80 | 2659631.7761 | 1238673.9026 | 2659631.6712 | 1238674.1129
81 | 2659604.9538 | 1238730.2692 | 2659597.192 | 1238746.9053 | 2659590.1416 | 1238761.8444
82 | 2659663.5429 | 1238694.4161 | 2659668.1781 | 1238697.3178
83 | 2659645.2674 | 1238646.8656 | 2659631.7761 | 1238673.9026
84 | 2659620.2327 | 1238608.7615 | 2659617.6148 | 1238614.3971
85 | 2659661.7395 | 1238558.6422 | 2659658.339 | 1238565.8062
86 | 2659650.9539 | 1238594.3724 | 2659653.8021 | 1238578.8727 | 2659654.75 | 1238573.3675 | 2659658.339 | 1238565.8062
87 | 2659650.9539 | 1238594.3724 | 2659650.5534 | 1238596.5519 | 2659656.1089 | 1238600.8286
88 | 2659654.3191 | 1238651.6375 | 2659645.2674 | 1238646.8656
89 | 2659645.2674 | 1238646.8656 | 2659646.6964 | 1238644.2205
90 | 2659667.82 | 1238610.3344 | 2659658.0268 | 1238624.401 | 2659651.9343 | 1238634.5243 | 2659646.6964 | 1238644.2205
91 | 2659667.82 | 1238610.3344 | 2659656.3631 | 1238601.0243 | 2659656.1089 | 1238600.8286
92 | 2659668.1781 | 1238697.3178 | 2659676.0487 | 1238702.2449 | 2659681.5133 | 1238704.9238 | 2659682.3084 | 1238705.265
93 | 2659511.4063 | 1238569.9397 | 2659511.9777 | 1238568.0398
94 | 2659514.0739 | 1238561.0707 | 2659511.9777 | 1238568.0398
95 | 2659707.1393 | 1238713.2758 | 2659702.8452 | 1238712.2986 | 2659694.9945 | 1238709.9737 | 2659687.9075 | 1238707.6677 | 2659682.3084 | 1238705.265
96 | 2659707.1393 | 1238713.2758 | 2659710.9909 | 1238702.5962
97 | 2659707.1393 | 1238713.2758 | 2659691.1178 | 1238755.8346
98 | 2659697.1495 | 1238698.4669 | 2659710.9909 | 1238702.5962 | 2659710.9909 | 1238702.5962
99 | 2659683.9927 | 1238694.5418 | 2659697.1495 | 1238698.4669

## bus_geodata
| x | y | coords
0 | 2659569.665 | 1238468.6095
1 | 2659563.3407 | 1238466.6451
2 | 2659573.9948 | 1238469.9544
3 | 2659550.288 | 1238462.5908
4 | 2659582.2459 | 1238472.5173
5 | 2659538.0795 | 1238458.7987
6 | 2659579.4565 | 1238488.0925
7 | 2659595.1784 | 1238475.2079
8 | 2659523.1787 | 1238439.0919
9 | 2659575.121 | 1238507.0263
10 | 2659664.1003 | 1238484.9307
11 | 2659681.8169 | 1238487.3488
12 | 2659661.7288 | 1238423.1043
13 | 2659669.016 | 1238531.3933
14 | 2659668.5302 | 1238543.4304
15 | 2659572.4897 | 1238514.3909
16 | 2659571.7615 | 1238516.235
17 | 2659563.0211 | 1238537.2927
18 | 2659562.9054 | 1238537.5677
19 | 2659567.3819 | 1238712.8821
20 | 2659575.6005 | 1238694.1268
21 | 2659567.2705 | 1238713.129
22 | 2659581.3574 | 1238680.9025
23 | 2659552.8862 | 1238745.0264
24 | 2659595.1893 | 1238684.944
25 | 2659561.988 | 1238675.4158
26 | 2659598.4074 | 1238685.953
27 | 2659543.7126 | 1238670.7654
28 | 2659573.7646 | 1238652.1072
29 | 2659491.9365 | 1238732.0752
30 | 2659502.1336 | 1238711.7106
31 | 2659490.5094 | 1238734.9252
32 | 2659502.4106 | 1238711.1573
33 | 2659507.1884 | 1238701.6155
34 | 2659512.325 | 1238691.3573
35 | 2659514.1162 | 1238687.7801
36 | 2659609.1159 | 1238689.3104
37 | 2659614.9242 | 1238709.0135
38 | 2659610.9781 | 1238717.3617
39 | 2659622.0492 | 1238693.975
40 | 2659536.5932 | 1238668.9539
41 | 2659585.6243 | 1238654.4711
42 | 2659515.8966 | 1238684.2245
43 | 2659524.3698 | 1238665.8435
44 | 2659514.0911 | 1238662.9104
45 | 2659475.4266 | 1238651.8774
46 | 2659504.8152 | 1238620.1623
47 | 2659464.1371 | 1238648.9416
48 | 2659469.0675 | 1238664.1986
49 | 2659465.9261 | 1238671.4261
50 | 2659452.7524 | 1238701.7344
51 | 2659451.822 | 1238703.8751
52 | 2659508.3545 | 1238616.4387
53 | 2659443.7672 | 1238643.6444
54 | 2659442.6938 | 1238724.876
55 | 2659525.1558 | 1238598.7623
56 | 2659422.7223 | 1238638.1718
57 | 2659429.0813 | 1238756.1941
58 | 2659446.4239 | 1238761.4989
59 | 2659467.4148 | 1238767.3492
60 | 2659536.6422 | 1238587.0363
61 | 2659549.6967 | 1238606.5619
62 | 2659540.9641 | 1238582.572
63 | 2659522.6486 | 1238581.8078
64 | 2659562.9496 | 1238609.7262
65 | 2659551.2071 | 1238566.3547
66 | 2659513.6448 | 1238579.0983
67 | 2659593.2092 | 1238656.9233
68 | 2659605.7916 | 1238639.8491
69 | 2659611.6994 | 1238627.1313
70 | 2659419.6202 | 1238637.3651
71 | 2659392.2357 | 1238630.2438
72 | 2659630.3071 | 1238676.8465
73 | 2659650.5526 | 1238687.148
74 | 2659631.6712 | 1238674.1129
75 | 2659604.9538 | 1238730.2692
76 | 2659663.5429 | 1238694.4161
77 | 2659631.7761 | 1238673.9026
78 | 2659620.2327 | 1238608.7615
79 | 2659617.6148 | 1238614.3971
80 | 2659661.7395 | 1238558.6422
81 | 2659699.7188 | 1238546.5654
82 | 2659658.339 | 1238565.8062
83 | 2659650.9539 | 1238594.3724
84 | 2659645.2674 | 1238646.8656
85 | 2659654.3191 | 1238651.6374
86 | 2659646.6964 | 1238644.2205
87 | 2659667.82 | 1238610.3344
88 | 2659668.1781 | 1238697.3178
89 | 2659553.0049 | 1238561.8241
90 | 2659511.4063 | 1238569.9397
91 | 2659511.9777 | 1238568.0398
92 | 2659514.0739 | 1238561.0707
93 | 2659656.1089 | 1238600.8286
94 | 2659682.3084 | 1238705.265
95 | 2659707.1393 | 1238713.2758
96 | 2659590.1416 | 1238761.8444
97 | 2659691.1178 | 1238755.8346
98 | 2659710.9909 | 1238702.5962
99 | 2659697.1495 | 1238698.4669
100 | 2659683.9927 | 1238694.5418
101 | 2659525.1558 | 1238598.7623

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1