## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4202-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4202-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4202-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4202-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4202-5_0_3_node_81 | 0.4 | n |  | TRUE
5 | bus_LV_4202-5_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4202-5_0_3_node_82 | 0.4 | n |  | TRUE
7 | bus_LV_4202-5_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4202-5_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4202-5_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4202-5_0_3_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_4202-5_0_3_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_4202-5_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4202-5_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4202-5_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4202-5_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4202-5_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4202-5_0_3_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_4202-5_0_3_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_4202-5_0_3_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_4202-5_0_3_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_4202-5_0_3_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_4202-5_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4202-5_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_4202-5_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4202-5_0_3_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_4202-5_0_3_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_4202-5_0_3_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_4202-5_0_3_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_4202-5_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4202-5_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_4202-5_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_4202-5_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_4202-5_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4202-5_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4202-5_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4202-5_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_4202-5_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_4202-5_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_4202-5_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4202-5_0_3_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_4202-5_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_4202-5_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_4202-5_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_4202-5_0_3_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_4202-5_0_3_node_89 | 0.4 | n |  | TRUE
46 | bus_LV_4202-5_0_3_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_4202-5_0_3_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_4202-5_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_4202-5_0_3_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_4202-5_0_3_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_4202-5_0_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_4202-5_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_4202-5_0_3_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_4202-5_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_4202-5_0_3_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_4202-5_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_4202-5_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_4202-5_0_3_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_4202-5_0_3_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_4202-5_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_4202-5_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_4202-5_0_3_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_4202-5_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_4202-5_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_4202-5_0_3_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_4202-5_0_3_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_4202-5_0_3_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_4202-5_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_4202-5_0_3_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_4202-5_0_3_node_86 | 0.4 | n |  | TRUE
71 | bus_LV_4202-5_0_3_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_4202-5_0_3_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_4202-5_0_3_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_4202-5_0_3_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_4202-5_0_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_4202-5_0_3_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_4202-5_0_3_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_4202-5_0_3_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_4202-5_0_3_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_4202-5_0_3_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_4202-5_0_3_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_4202-5_0_3_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_4202-5_0_3_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_4202-5_0_3_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_4202-5_0_3_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_4202-5_0_3_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_4202-5_0_3_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_4202-5_0_3_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_4202-5_0_3_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_4202-5_0_3_node_90 | 0.4 | n |  | TRUE
91 | bus_MV_470_0_node_270 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4202-5_0_3_load_0 | 0 | 0.0010187 | 0.00025531 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4202-5_0_3_load_2 | 2 | 0.0016908 | 0.00042375 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4202-5_0_3_load_3 | 3 | 0.00045453 | 0.00011392 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4202-5_0_3_load_81 | 4 | 0.00064572 | 0.00016183 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4202-5_0_3_load_4 | 5 | 0.00021589 | 5.4107e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4202-5_0_3_load_82 | 6 | 0.00016501 | 4.1355e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4202-5_0_3_load_5 | 7 | 0.00060572 | 0.00015181 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4202-5_0_3_load_6 | 8 | 0.00065253 | 0.00016354 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4202-5_0_3_load_75 | 10 | 0.00091616 | 0.00022961 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4202-5_0_3_load_8 | 12 | 0.0014163 | 0.00035496 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4202-5_0_3_load_9 | 13 | 0.00022693 | 5.6874e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4202-5_0_3_load_10 | 14 | 0.00078823 | 0.00019755 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4202-5_0_3_load_12 | 16 | 0.00063433 | 0.00015898 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4202-5_0_3_load_52 | 17 | 0.0003777 | 9.466e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4202-5_0_3_load_56 | 18 | 0.00098518 | 0.00024691 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4202-5_0_3_load_53 | 20 | 0.00067281 | 0.00016862 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4202-5_0_3_load_57 | 21 | 0.0043385 | 0.0010873 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4202-5_0_3_load_13 | 22 | 0.0069565 | 0.0017435 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4202-5_0_3_load_14 | 23 | 0.004108 | 0.0010296 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4202-5_0_3_load_47 | 25 | 0.00070036 | 0.00017553 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4202-5_0_3_load_58 | 26 | 0.0017383 | 0.00043565 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4202-5_0_3_load_17 | 29 | 0.0038606 | 0.00096757 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4202-5_0_3_load_21 | 30 | 0.0065863 | 0.0016507 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4202-5_0_3_load_19 | 31 | 0.003708 | 0.00092931 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4202-5_0_3_load_18 | 32 | 0.0022109 | 0.00055411 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4202-5_0_3_load_20 | 33 | 0.0040735 | 0.0010209 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4202-5_0_3_load_22 | 34 | 0.0073713 | 0.0018474 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4202-5_0_3_load_23 | 35 | 0.0041339 | 0.001036 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4202-5_0_3_load_24 | 36 | 0.0039101 | 0.00097997 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4202-5_0_3_load_30 | 38 | 0.0015017 | 0.00037636 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4202-5_0_3_load_27 | 39 | 0.0035588 | 0.00089193 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4202-5_0_3_load_43 | 40 | 0.0028353 | 0.00071059 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4202-5_0_3_load_26 | 41 | 0.0038616 | 0.0009678 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4202-5_0_3_load_89 | 45 | 0.00074587 | 0.00018693 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4202-5_0_3_load_66 | 46 | 0.00027275 | 6.8359e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4202-5_0_3_load_88 | 47 | 0.00065925 | 0.00016522 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4202-5_0_3_load_41 | 48 | 0.0024398 | 0.00061147 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4202-5_0_3_load_31 | 49 | 0.0024134 | 0.00060486 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4202-5_0_3_load_32 | 50 | 0.0020519 | 0.00051426 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4202-5_0_3_load_36 | 52 | 0.00029472 | 7.3863e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4202-5_0_3_load_34 | 53 | 0.00076451 | 0.0001916 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4202-5_0_3_load_37 | 55 | 0.001522 | 0.00038144 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4202-5_0_3_load_38 | 56 | 0.0011983 | 0.00030033 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4202-5_0_3_load_48 | 57 | 0.0011107 | 0.00027836 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4202-5_0_3_load_50 | 58 | 0.0015196 | 0.00038085 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4202-5_0_3_load_39 | 59 | 0.0018915 | 0.00047405 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4202-5_0_3_load_49 | 60 | 0.00494 | 0.0012381 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4202-5_0_3_load_51 | 61 | 0.0029814 | 0.00074722 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4202-5_0_3_load_40 | 62 | 0.00047967 | 0.00012022 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4202-5_0_3_load_44 | 63 | 0.00074349 | 0.00018634 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4202-5_0_3_load_45 | 64 | 0.0013173 | 0.00033015 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4202-5_0_3_load_46 | 65 | 0.0065609 | 0.0016443 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4202-5_0_3_load_72 | 66 | 0.0058858 | 0.0014751 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4202-5_0_3_load_74 | 67 | 0.0017391 | 0.00043586 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4202-5_0_3_load_54 | 68 | 0.00098402 | 0.00024662 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4202-5_0_3_load_71 | 69 | 0.0006752 | 0.00016922 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4202-5_0_3_load_86 | 70 | 0.00072636 | 0.00018204 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4202-5_0_3_load_59 | 71 | 0.00016425 | 4.1164e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4202-5_0_3_load_60 | 72 | 0.00013054 | 3.2716e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4202-5_0_3_load_64 | 76 | 0.00037014 | 9.2765e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4202-5_0_3_load_70 | 77 | 0.00010544 | 2.6427e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4202-5_0_3_load_69 | 78 | 0.00028625 | 7.174e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4202-5_0_3_load_68 | 79 | 0.00031918 | 7.9995e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4202-5_0_3_load_65 | 80 | 0.00028581 | 7.1631e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4202-5_0_3_load_91 | 81 | 0.00035963 | 9.0133e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4202-5_0_3_load_84 | 82 | 0.00060819 | 0.00015243 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4202-5_0_3_load_85 | 83 | 0.0017383 | 0.00043565 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4202-5_0_3_load_87 | 84 | 0.0026136 | 0.00065504 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4202-5_0_3_load_77 | 85 | 0.0049409 | 0.0012383 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4202-5_0_3_load_78 | 86 | 0.0015336 | 0.00038435 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4202-5_0_3_load_79 | 87 | 0.0033732 | 0.0008454 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4202-5_0_3_load_83 | 89 | 0.0002747 | 6.8845e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4202-5_0_3_load_90 | 90 | 0.00058237 | 0.00014596 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4202-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.033972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4202-5_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.022659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4202-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0064831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4202-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.023901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4202-5_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4202-5_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.01426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4202-5_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.013303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4202-5_0_3_line_7 | NAYY 4x150 SE | 6 | 89 | 0.0081127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4202-5_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.042731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4202-5_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.059876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4202-5_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.057813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4202-5_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.011412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4202-5_0_3_line_12 | NAYY 4x150 SE | 11 | 19 | 0.042975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4202-5_0_3_line_13 | NAYY 4x150 SE | 11 | 15 | 0.008368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4202-5_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.016568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4202-5_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0073578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4202-5_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.027324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4202-5_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.007152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4202-5_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.017879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4202-5_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.0031538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4202-5_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.034559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4202-5_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.031381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4202-5_0_3_line_22 | NAYY 4x150 SE | 19 | 70 | 0.028493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4202-5_0_3_line_23 | NAYY 4x150 SE | 20 | 68 | 0.015778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4202-5_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.021351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4202-5_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.040276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4202-5_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.010859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4202-5_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.032282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4202-5_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.01417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4202-5_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.023611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4202-5_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.023316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4202-5_0_3_line_31 | NAYY 4x150 SE | 27 | 63 | 0.017393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_4202-5_0_3_line_32 | NAYY 4x150 SE | 27 | 62 | 0.031156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4202-5_0_3_line_33 | NAYY 4x150 SE | 28 | 67 | 0.013213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4202-5_0_3_line_34 | NAYY 4x150 SE | 28 | 61 | 0.025074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4202-5_0_3_line_35 | NAYY 4x150 SE | 29 | 30 | 0.00047181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4202-5_0_3_line_36 | NAYY 4x150 SE | 30 | 31 | 0.022564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4202-5_0_3_line_37 | NAYY 4x150 SE | 31 | 32 | 0.0005432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4202-5_0_3_line_38 | NAYY 4x150 SE | 32 | 33 | 0.025041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4202-5_0_3_line_39 | NAYY 4x150 SE | 33 | 34 | 0.0040459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4202-5_0_3_line_40 | NAYY 4x150 SE | 34 | 35 | 0.019781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4202-5_0_3_line_41 | NAYY 4x150 SE | 35 | 36 | 0.0056944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4202-5_0_3_line_42 | NAYY 4x150 SE | 36 | 37 | 0.026995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4202-5_0_3_line_43 | NAYY 4x150 SE | 37 | 38 | 0.0093925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4202-5_0_3_line_44 | NAYY 4x150 SE | 37 | 39 | 0.014634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4202-5_0_3_line_45 | NAYY 4x150 SE | 38 | 40 | 0.014052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4202-5_0_3_line_46 | NAYY 4x150 SE | 39 | 41 | 0.010348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4202-5_0_3_line_47 | NAYY 4x150 SE | 40 | 48 | 0.027083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4202-5_0_3_line_48 | NAYY 4x150 SE | 41 | 42 | 0.018598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4202-5_0_3_line_49 | NAYY 4x150 SE | 42 | 43 | 0.061145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4202-5_0_3_line_50 | NAYY 4x150 SE | 43 | 44 | 0.016882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4202-5_0_3_line_51 | NAYY 4x150 SE | 43 | 45 | 0.019463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4202-5_0_3_line_52 | NAYY 4x150 SE | 44 | 46 | 0.025294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4202-5_0_3_line_53 | NAYY 4x150 SE | 45 | 47 | 0.040393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4202-5_0_3_line_54 | NAYY 4x150 SE | 46 | 80 | 0.034179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4202-5_0_3_line_55 | NAYY 4x150 SE | 47 | 90 | 0.019002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4202-5_0_3_line_56 | NAYY 4x150 SE | 48 | 59 | 0.01506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4202-5_0_3_line_57 | NAYY 4x150 SE | 48 | 52 | 0.017044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4202-5_0_3_line_58 | NAYY 4x150 SE | 49 | 50 | 0.0086211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4202-5_0_3_line_59 | NAYY 4x150 SE | 50 | 51 | 0.01564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4202-5_0_3_line_60 | NAYY 4x150 SE | 51 | 52 | 0.020492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4202-5_0_3_line_61 | NAYY 4x150 SE | 51 | 53 | 0.014535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4202-5_0_3_line_62 | NAYY 4x150 SE | 54 | 55 | 0.0097536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4202-5_0_3_line_63 | NAYY 4x150 SE | 54 | 56 | 0.02291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4202-5_0_3_line_64 | NAYY 4x150 SE | 55 | 57 | 0.0078995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4202-5_0_3_line_65 | NAYY 4x150 SE | 56 | 58 | 0.0023825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4202-5_0_3_line_66 | NAYY 4x150 SE | 57 | 60 | 0.024167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4202-5_0_3_line_67 | NAYY 4x150 SE | 58 | 61 | 0.028966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4202-5_0_3_line_68 | NAYY 4x150 SE | 59 | 62 | 0.0038361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4202-5_0_3_line_69 | NAYY 4x150 SE | 63 | 64 | 0.0078198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_4202-5_0_3_line_70 | NAYY 4x150 SE | 64 | 65 | 0.012563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4202-5_0_3_line_71 | NAYY 4x150 SE | 65 | 66 | 0.0025552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4202-5_0_3_line_72 | NAYY 4x150 SE | 67 | 82 | 0.041321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4202-5_0_3_line_73 | NAYY 4x150 SE | 68 | 69 | 0.033995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4202-5_0_3_line_74 | NAYY 4x150 SE | 70 | 84 | 0.0081531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4202-5_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.0063978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4202-5_0_3_line_76 | NAYY 4x150 SE | 71 | 73 | 0.018814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4202-5_0_3_line_77 | NAYY 4x150 SE | 72 | 74 | 0.00792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4202-5_0_3_line_78 | NAYY 4x150 SE | 73 | 75 | 0.003735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4202-5_0_3_line_79 | NAYY 4x150 SE | 73 | 76 | 0.063356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4202-5_0_3_line_80 | NAYY 4x150 SE | 74 | 77 | 0.018174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4202-5_0_3_line_81 | NAYY 4x150 SE | 74 | 78 | 0.059059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4202-5_0_3_line_82 | NAYY 4x150 SE | 75 | 79 | 0.015774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4202-5_0_3_line_83 | NAYY 4x150 SE | 75 | 80 | 0.0041744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4202-5_0_3_line_84 | NAYY 4x150 SE | 76 | 81 | 0.049555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4202-5_0_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.0032685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4202-5_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.033565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4202-5_0_3_line_87 | NAYY 4x150 SE | 85 | 87 | 0.00016956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4202-5_0_3_line_88 | NAYY 4x150 SE | 86 | 88 | 0.022821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4202-5_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.07049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4202-5_0_3_trafo_45 | 0.25 MVA 20/0.4 kV | 91 | 64 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2660048.2362 | 1238451.6394 | 2660040.3882 | 1238484.6926
1 | 2660069.9931 | 1238458.1859 | 2660048.2362 | 1238451.6394
2 | 2660048.2362 | 1238451.6394 | 2660041.9992 | 1238449.8703
3 | 2660069.9931 | 1238458.1859 | 2660092.8781 | 1238465.0791
4 | 2660041.9992 | 1238449.8703 | 2660025.6532 | 1238445.2338
5 | 2660092.8781 | 1238465.0791 | 2660106.5319 | 1238469.1918
6 | 2660012.8553 | 1238441.6038 | 2660025.6532 | 1238445.2338
7 | 2660114.222 | 1238471.7632 | 2660110.5955 | 1238470.4158 | 2660106.5319 | 1238469.1918
8 | 2660012.8553 | 1238441.6038 | 2659982.7126 | 1238433.054 | 2659971.4196 | 1238431.5056
9 | 2659913.4149 | 1238445.8744 | 2659960.924 | 1238432.6338 | 2659971.4196 | 1238431.5056
10 | 2659913.4149 | 1238445.8744 | 2659912.7375 | 1238443.2881 | 2659911.8631 | 1238439.9882 | 2659912.0785 | 1238435.8765 | 2659917.9828 | 1238415.2334 | 2659922.5908 | 1238399.3693 | 2659924.0371 | 1238393.9692 | 2659925.3946 | 1238390.1781
11 | 2659928.9351 | 1238379.3533 | 2659928.2294 | 1238382.5706 | 2659925.8897 | 1238388.7956 | 2659925.3946 | 1238390.1781
12 | 2659928.9351 | 1238379.3533 | 2659925.6525 | 1238379.3202 | 2659922.381 | 1238378.9314 | 2659917.3641 | 1238377.6021 | 2659911.4761 | 1238376.3864 | 2659898.6704 | 1238374.8007 | 2659886.3316 | 1238373.4198
13 | 2659928.9351 | 1238379.3533 | 2659932.5209 | 1238379.3228 | 2659937.257 | 1238378.5034
14 | 2659978.2976 | 1238363.1583 | 2659972.7615 | 1238366.0534 | 2659966.0079 | 1238368.9093 | 2659963.1788 | 1238369.8695
15 | 2659984.4645 | 1238359.148 | 2659978.6018 | 1238362.9992 | 2659978.2976 | 1238363.1583
16 | 2659937.257 | 1238378.5034 | 2659942.0828 | 1238377.0289 | 2659963.1788 | 1238369.8695
17 | 2659990.4421 | 1238355.2213 | 2659984.4645 | 1238359.148
18 | 2659937.257 | 1238378.5034 | 2659936.4695 | 1238374.0814 | 2659936.6822 | 1238370.2477 | 2659937.9575 | 1238364.5567 | 2659939.035 | 1238361.0007
19 | 2659990.4421 | 1238355.2213 | 2659992.5373 | 1238353.8449 | 2659993.0636 | 1238353.4686
20 | 2659939.035 | 1238361.0007 | 2659944.0768 | 1238344.3606 | 2659949.8645 | 1238328.193
21 | 2660016.0378 | 1238332.3727 | 2660011.0201 | 1238338.5881 | 2660003.4865 | 1238346.017 | 2659993.0636 | 1238353.4686
22 | 2659886.3316 | 1238373.4198 | 2659895.1619 | 1238346.33
23 | 2659949.8645 | 1238328.193 | 2659952.2267 | 1238321.5943 | 2659952.4481 | 1238319.8955 | 2659951.5049 | 1238318.1626 | 2659946.9847 | 1238315.838
24 | 2660029.9434 | 1238316.4423 | 2660023.6899 | 1238321.4491 | 2660016.7271 | 1238331.5188 | 2660016.0378 | 1238332.3727
25 | 2660038.1504 | 1238323.2282 | 2660039.4358 | 1238324.0322 | 2660052.796 | 1238331.3832 | 2660061.2737 | 1238335.3271 | 2660074.5865 | 1238340.1539
26 | 2660029.9434 | 1238316.4423 | 2660031.8286 | 1238319.2744 | 2660038.1504 | 1238323.2282
27 | 2660029.9434 | 1238316.4423 | 2660046.2299 | 1238308.2014 | 2660057.3989 | 1238299.7116
28 | 2660029.9434 | 1238316.4423 | 2660028.3091 | 1238313.4905 | 2660027.0877 | 1238307.8522 | 2660028.7243 | 1238303.0989
29 | 2660076.0695 | 1238285.2656 | 2660072.8194 | 1238287.9901 | 2660057.3989 | 1238299.7116
30 | 2660039.9624 | 1238283.177 | 2660034.0029 | 1238298.0044 | 2660028.7243 | 1238303.0989
31 | 2660076.0695 | 1238285.2656 | 2660086.9008 | 1238298.8746
32 | 2660076.0695 | 1238285.2656 | 2660099.9569 | 1238265.2635
33 | 2660039.9624 | 1238283.177 | 2660032.0372 | 1238279.9392 | 2660030.4888 | 1238278.2113 | 2660030.2096 | 1238275.8958 | 2660030.2096 | 1238275.8958
34 | 2660039.9624 | 1238283.177 | 2660049.4078 | 1238259.9506
35 | 2660158.9604 | 1238325.2703 | 2660158.9192 | 1238325.7403
36 | 2660158.9604 | 1238325.2703 | 2660159.7522 | 1238316.2552 | 2660158.5818 | 1238313.0634 | 2660159.357 | 1238302.9782
37 | 2660159.3986 | 1238302.4366 | 2660159.357 | 1238302.9782
38 | 2660161.3177 | 1238277.469 | 2660159.3986 | 1238302.4366
39 | 2660161.6278 | 1238273.4351 | 2660161.3177 | 1238277.469
40 | 2660161.6278 | 1238273.4351 | 2660163.1437 | 1238253.7121
41 | 2660163.5801 | 1238248.0345 | 2660163.1437 | 1238253.7121
42 | 2660155.0597 | 1238223.1679 | 2660162.8729 | 1238236.7116 | 2660163.679 | 1238246.7487 | 2660163.5801 | 1238248.0345
43 | 2660155.0597 | 1238223.1679 | 2660147.2338 | 1238228.3615
44 | 2660155.0597 | 1238223.1679 | 2660167.413 | 1238215.3226
45 | 2660147.2338 | 1238228.3615 | 2660135.5256 | 1238236.1316
46 | 2660167.413 | 1238215.3226 | 2660169.5865 | 1238213.9422 | 2660176.3292 | 1238210.0752
47 | 2660114.4445 | 1238253.1324 | 2660135.3729 | 1238236.2329 | 2660135.5256 | 1238236.1316
48 | 2660192.4737 | 1238200.8431 | 2660185.2075 | 1238204.9834 | 2660176.3292 | 1238210.0752
49 | 2660192.4737 | 1238200.8431 | 2660194.0401 | 1238203.7832 | 2660197.5494 | 1238207.5768 | 2660211.9694 | 1238214.1162 | 2660225.5462 | 1238220.2579 | 2660246.7309 | 1238225.8541
50 | 2660262.8148 | 1238230.9206 | 2660259.413 | 1238229.2072 | 2660246.7309 | 1238225.8541
51 | 2660246.7309 | 1238225.8541 | 2660241.4571 | 1238244.5886
52 | 2660262.8148 | 1238230.9206 | 2660265.5103 | 1238234.3947 | 2660266.6113 | 1238239.2091 | 2660267.7222 | 1238255.1285
53 | 2660228.1547 | 1238276.0493 | 2660228.723 | 1238260.5613 | 2660236.9372 | 1238260.6447 | 2660241.4571 | 1238244.5886
54 | 2660271.1239 | 1238289.1158 | 2660270.2244 | 1238274.5026 | 2660267.8264 | 1238256.6219 | 2660267.7222 | 1238255.1285
55 | 2660227.4579 | 1238295.0381 | 2660228.1547 | 1238276.0493
56 | 2660114.4445 | 1238253.1324 | 2660102.898 | 1238262.8008
57 | 2660114.4445 | 1238253.1324 | 2660111.7204 | 1238249.4801 | 2660110.6291 | 1238246.6895 | 2660110.3213 | 1238243.462 | 2660111.063 | 1238237.2573
58 | 2660116.9802 | 1238192.9001 | 2660115.7417 | 1238201.4318
59 | 2660113.495 | 1238216.9098 | 2660115.7417 | 1238201.4318
60 | 2660113.495 | 1238216.9098 | 2660111.063 | 1238237.2573
61 | 2660113.495 | 1238216.9098 | 2660099.419 | 1238213.2853
62 | 2660068.1565 | 1238209.046 | 2660069.0378 | 1238203.4401 | 2660070.2237 | 1238199.5374
63 | 2660068.1565 | 1238209.046 | 2660060.5118 | 1238230.6433
64 | 2660072.5205 | 1238191.9792 | 2660070.2237 | 1238199.5374
65 | 2660060.5118 | 1238230.6433 | 2660059.7168 | 1238232.8892
66 | 2660079.547 | 1238168.8566 | 2660072.5205 | 1238191.9792
67 | 2660059.7168 | 1238232.8892 | 2660055.0429 | 1238246.0936 | 2660049.4078 | 1238259.9506
68 | 2660102.898 | 1238262.8008 | 2660099.9569 | 1238265.2635
69 | 2660086.9008 | 1238298.8746 | 2660091.7705 | 1238304.993
70 | 2660092.7914 | 1238317.2085 | 2660093.4956 | 1238311.6816 | 2660093.3342 | 1238308.9448 | 2660091.7705 | 1238304.993 | 2660091.7705 | 1238304.993
71 | 2660092.4684 | 1238319.7432 | 2660092.7914 | 1238317.2085
72 | 2660039.323 | 1238247.658 | 2660039.323 | 1238247.658 | 2660041.3531 | 1238246.6334 | 2660043.5935 | 1238246.5115 | 2660045.9769 | 1238247.9477 | 2660046.7719 | 1238250.1238 | 2660046.0013 | 1238253.0179 | 2660039.0462 | 1238267.5573 | 2660031.8962 | 1238272.1882 | 2660030.2096 | 1238275.8958
73 | 2659917.499 | 1238299.0179 | 2659928.6802 | 1238306.4245 | 2659946.9847 | 1238315.838
74 | 2659895.1619 | 1238346.33 | 2659897.6886 | 1238338.5783
75 | 2660270.6495 | 1238315.78 | 2660270.2085 | 1238322.1626
76 | 2660271.6148 | 1238297.0094 | 2660271.7705 | 1238299.5572 | 2660270.6495 | 1238315.78
77 | 2660270.4702 | 1238330.0309 | 2660269.9172 | 1238326.3784 | 2660270.2085 | 1238322.1626
78 | 2660271.6148 | 1238297.0094 | 2660271.3803 | 1238293.2824
79 | 2660271.6148 | 1238297.0094 | 2660295.9057 | 1238305.8284 | 2660296.3179 | 1238304.7208 | 2660288.6889 | 1238301.3856 | 2660289.3372 | 1238300.1135 | 2660304.9956 | 1238306.0875 | 2660312.4803 | 1238307.987 | 2660314.5577 | 1238308.2732
80 | 2660270.4702 | 1238330.0309 | 2660268.4177 | 1238337.7263 | 2660258.2589 | 1238336.7056
81 | 2660270.4702 | 1238330.0309 | 2660273.6982 | 1238332.4653 | 2660314.0367 | 1238351.365 | 2660323.5166 | 1238355.8072
82 | 2660271.3803 | 1238293.2824 | 2660277.664 | 1238292.7791 | 2660286.2644 | 1238296.7445
83 | 2660271.3803 | 1238293.2824 | 2660271.1239 | 1238289.1158
84 | 2660314.5577 | 1238308.2732 | 2660319.9739 | 1238309.0193 | 2660323.4568 | 1238311.6787 | 2660327.7766 | 1238318.327 | 2660331.3443 | 1238320.8315 | 2660342.1527 | 1238324.6772 | 2660345.1117 | 1238324.5516 | 2660347.3617 | 1238322.7399 | 2660348.5142 | 1238319.4939 | 2660350.4562 | 1238316.7229 | 2660351.4874 | 1238313.6227
85 | 2660039.323 | 1238247.658 | 2660037.8754 | 1238250.1784 | 2660037.8032 | 1238250.5331
86 | 2660200.0176 | 1238452.4795 | 2660186.5955 | 1238483.2436
87 | 2660200.0854 | 1238452.324 | 2660200.0176 | 1238452.4795
88 | 2660176.9659 | 1238503.8878 | 2660178.8174 | 1238501.0713 | 2660186.5955 | 1238483.2436
89 | 2660114.222 | 1238471.7632 | 2660176.9659 | 1238503.8878

## bus_geodata
| x | y | coords
0 | 2660040.3882 | 1238484.6926
1 | 2660048.2362 | 1238451.6394
2 | 2660069.9931 | 1238458.1859
3 | 2660041.9992 | 1238449.8703
4 | 2660092.8781 | 1238465.0791
5 | 2660025.6532 | 1238445.2338
6 | 2660106.5319 | 1238469.1918
7 | 2660012.8553 | 1238441.6038
8 | 2659971.4196 | 1238431.5056
9 | 2659913.4149 | 1238445.8744
10 | 2659925.3946 | 1238390.1781
11 | 2659928.9351 | 1238379.3533
12 | 2659978.2976 | 1238363.1583
13 | 2659963.1788 | 1238369.8695
14 | 2659984.4645 | 1238359.148
15 | 2659937.257 | 1238378.5034
16 | 2659990.4421 | 1238355.2213
17 | 2659939.035 | 1238361.0007
18 | 2659993.0636 | 1238353.4686
19 | 2659886.3316 | 1238373.4198
20 | 2659949.8645 | 1238328.193
21 | 2660016.0378 | 1238332.3727
22 | 2660074.5865 | 1238340.1539
23 | 2660038.1504 | 1238323.2282
24 | 2660029.9434 | 1238316.4423
25 | 2660057.3989 | 1238299.7116
26 | 2660028.7243 | 1238303.0989
27 | 2660076.0695 | 1238285.2656
28 | 2660039.9624 | 1238283.177
29 | 2660158.9192 | 1238325.7403
30 | 2660158.9604 | 1238325.2703
31 | 2660159.357 | 1238302.9782
32 | 2660159.3986 | 1238302.4366
33 | 2660161.3177 | 1238277.469
34 | 2660161.6278 | 1238273.4351
35 | 2660163.1437 | 1238253.7121
36 | 2660163.5801 | 1238248.0345
37 | 2660155.0597 | 1238223.1679
38 | 2660147.2338 | 1238228.3615
39 | 2660167.413 | 1238215.3226
40 | 2660135.5256 | 1238236.1316
41 | 2660176.3292 | 1238210.0752
42 | 2660192.4737 | 1238200.8431
43 | 2660246.7309 | 1238225.8541
44 | 2660262.8148 | 1238230.9206
45 | 2660241.4571 | 1238244.5886
46 | 2660267.7222 | 1238255.1285
47 | 2660228.1547 | 1238276.0493
48 | 2660114.4445 | 1238253.1324
49 | 2660116.9802 | 1238192.9001
50 | 2660115.7417 | 1238201.4318
51 | 2660113.495 | 1238216.9098
52 | 2660111.063 | 1238237.2573
53 | 2660099.419 | 1238213.2853
54 | 2660068.1565 | 1238209.046
55 | 2660070.2237 | 1238199.5374
56 | 2660060.5118 | 1238230.6433
57 | 2660072.5205 | 1238191.9792
58 | 2660059.7168 | 1238232.8892
59 | 2660102.898 | 1238262.8008
60 | 2660079.547 | 1238168.8566
61 | 2660049.4078 | 1238259.9506
62 | 2660099.9569 | 1238265.2635
63 | 2660086.9009 | 1238298.8746
64 | 2660091.7705 | 1238304.993
65 | 2660092.7914 | 1238317.2085
66 | 2660092.4684 | 1238319.7432
67 | 2660030.2096 | 1238275.8958
68 | 2659946.9847 | 1238315.838
69 | 2659917.499 | 1238299.0179
70 | 2659895.1619 | 1238346.33
71 | 2660270.6495 | 1238315.78
72 | 2660270.2085 | 1238322.1626
73 | 2660271.6148 | 1238297.0094
74 | 2660270.4702 | 1238330.0309
75 | 2660271.3803 | 1238293.2824
76 | 2660314.5577 | 1238308.2732
77 | 2660258.2589 | 1238336.7056
78 | 2660323.5166 | 1238355.8072
79 | 2660286.2644 | 1238296.7445
80 | 2660271.1239 | 1238289.1158
81 | 2660351.4874 | 1238313.6227
82 | 2660039.323 | 1238247.658
83 | 2660037.8032 | 1238250.5331
84 | 2659897.6886 | 1238338.5783
85 | 2660200.0176 | 1238452.4795
86 | 2660186.5955 | 1238483.2436
87 | 2660200.0854 | 1238452.324
88 | 2660176.9659 | 1238503.8878
89 | 2660114.222 | 1238471.7632
90 | 2660227.4579 | 1238295.0381
91 | 2660092.4684 | 1238319.7432

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1