## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4208-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4208-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4208-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4208-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4208-10_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4208-10_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_4208-10_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4208-10_0_3_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_4208-10_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_4208-10_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4208-10_0_3_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_4208-10_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4208-10_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4208-10_0_3_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_4208-10_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4208-10_0_3_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_4208-10_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_4208-10_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4208-10_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4208-10_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4208-10_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4208-10_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_4208-10_0_3_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_4208-10_0_3_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_4208-10_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_4208-10_0_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_4208-10_0_3_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_4208-10_0_3_node_89 | 0.4 | n |  | TRUE
28 | bus_LV_4208-10_0_3_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_4208-10_0_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_4208-10_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_4208-10_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4208-10_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4208-10_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4208-10_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4208-10_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4208-10_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4208-10_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_4208-10_0_3_node_91 | 0.4 | n |  | TRUE
39 | bus_LV_4208-10_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4208-10_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_4208-10_0_3_node_93 | 0.4 | n |  | TRUE
42 | bus_LV_4208-10_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_4208-10_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_4208-10_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_4208-10_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_4208-10_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4208-10_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4208-10_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_4208-10_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_4208-10_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4208-10_0_3_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_4208-10_0_3_node_90 | 0.4 | n |  | TRUE
53 | bus_LV_4208-10_0_3_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_4208-10_0_3_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_4208-10_0_3_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_4208-10_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_4208-10_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_4208-10_0_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_4208-10_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_4208-10_0_3_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_4208-10_0_3_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_4208-10_0_3_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_4208-10_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_4208-10_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_4208-10_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_4208-10_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_4208-10_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_4208-10_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_4208-10_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_4208-10_0_3_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_4208-10_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_4208-10_0_3_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_4208-10_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_4208-10_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_4208-10_0_3_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_4208-10_0_3_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_4208-10_0_3_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_4208-10_0_3_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_4208-10_0_3_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_4208-10_0_3_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_4208-10_0_3_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_4208-10_0_3_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_4208-10_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_4208-10_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_4208-10_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_4208-10_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_4208-10_0_3_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_4208-10_0_3_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_4208-10_0_3_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_4208-10_0_3_node_92 | 0.4 | n |  | TRUE
91 | bus_MV_427_1_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4208-10_0_3_load_0 | 0 | 0.0031481 | 0.00078899 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4208-10_0_3_load_1 | 1 | 0.00090051 | 0.00022569 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4208-10_0_3_load_2 | 2 | 0.0014258 | 0.00035733 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4208-10_0_3_load_7 | 5 | 0.00060356 | 0.00015127 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4208-10_0_3_load_5 | 6 | 0.0038906 | 0.00097508 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4208-10_0_3_load_60 | 7 | 0.0019236 | 0.00048209 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4208-10_0_3_load_10 | 8 | 0.0018144 | 0.00045472 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4208-10_0_3_load_59 | 10 | 0.0023033 | 0.00057727 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4208-10_0_3_load_8 | 11 | 0.0033063 | 0.00082863 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4208-10_0_3_load_9 | 12 | 0.00023019 | 5.7692e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4208-10_0_3_load_12 | 14 | 0.00054305 | 0.0001361 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4208-10_0_3_load_26 | 16 | 0.0034514 | 0.00086501 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4208-10_0_3_load_13 | 17 | 0.0029282 | 0.00073388 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4208-10_0_3_load_14 | 18 | 0.0026953 | 0.0006755 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4208-10_0_3_load_15 | 19 | 0.0040243 | 0.0010086 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4208-10_0_3_load_16 | 20 | 0.0028076 | 0.00070365 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4208-10_0_3_load_44 | 23 | 0.0024474 | 0.00061337 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4208-10_0_3_load_42 | 25 | 0.0019486 | 0.00048837 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4208-10_0_3_load_85 | 26 | 0.0037254 | 0.00093367 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4208-10_0_3_load_89 | 27 | 0.001905 | 0.00047743 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4208-10_0_3_load_38 | 29 | 0.0014979 | 0.0003754 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4208-10_0_3_load_24 | 30 | 0.0017709 | 0.00044383 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4208-10_0_3_load_18 | 31 | 0.002674 | 0.00067016 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4208-10_0_3_load_19 | 32 | 0.0033064 | 0.00082866 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4208-10_0_3_load_20 | 33 | 0.0052785 | 0.0013229 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4208-10_0_3_load_21 | 34 | 0.0033479 | 0.00083907 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4208-10_0_3_load_23 | 35 | 0.0033413 | 0.00083742 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4208-10_0_3_load_22 | 36 | 0.0028385 | 0.00071138 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4208-10_0_3_load_40 | 37 | 0.0019959 | 0.00050021 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4208-10_0_3_load_91 | 38 | 0.0014487 | 0.00036307 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4208-10_0_3_load_27 | 39 | 0.0021594 | 0.0005412 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4208-10_0_3_load_29 | 40 | 0.0046026 | 0.0011535 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4208-10_0_3_load_93 | 41 | 0.0024702 | 0.0006191 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4208-10_0_3_load_31 | 42 | 0.0018095 | 0.0004535 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4208-10_0_3_load_32 | 43 | 0.0016275 | 0.00040789 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4208-10_0_3_load_33 | 44 | 0.0021506 | 0.000539 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4208-10_0_3_load_34 | 45 | 0.0017595 | 0.00044096 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4208-10_0_3_load_35 | 46 | 0.0026079 | 0.00065361 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4208-10_0_3_load_36 | 47 | 0.0023717 | 0.0005944 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4208-10_0_3_load_39 | 48 | 0.0025152 | 0.00063036 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4208-10_0_3_load_75 | 51 | 0.0019559 | 0.00049021 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4208-10_0_3_load_90 | 52 | 0.0023578 | 0.00059093 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4208-10_0_3_load_88 | 53 | 0.0042726 | 0.0010708 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4208-10_0_3_load_74 | 54 | 0.0024935 | 0.00062493 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4208-10_0_3_load_84 | 55 | 0.0038349 | 0.00096112 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4208-10_0_3_load_50 | 56 | 0.0023369 | 0.00058568 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4208-10_0_3_load_45 | 57 | 0.0088562 | 0.0022196 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4208-10_0_3_load_46 | 58 | 0.0033143 | 0.00083065 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4208-10_0_3_load_47 | 59 | 0.0037681 | 0.00094437 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4208-10_0_3_load_61 | 60 | 0.0026528 | 0.00066485 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4208-10_0_3_load_67 | 61 | 0.0043816 | 0.0010981 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4208-10_0_3_load_68 | 62 | 0.0060479 | 0.0015157 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4208-10_0_3_load_51 | 63 | 0.0033974 | 0.00085148 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4208-10_0_3_load_53 | 64 | 0.0018161 | 0.00045516 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4208-10_0_3_load_57 | 65 | 0.0021222 | 0.00053188 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4208-10_0_3_load_55 | 66 | 0.0022431 | 0.00056217 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4208-10_0_3_load_54 | 67 | 0.0017742 | 0.00044467 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4208-10_0_3_load_56 | 68 | 0.0020271 | 0.00050805 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4208-10_0_3_load_58 | 69 | 0.0067962 | 0.0017033 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4208-10_0_3_load_69 | 70 | 0.0021996 | 0.00055128 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4208-10_0_3_load_62 | 71 | 0.004507 | 0.0011296 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4208-10_0_3_load_63 | 72 | 0.0028382 | 0.00071133 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4208-10_0_3_load_64 | 73 | 0.0033017 | 0.00082748 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4208-10_0_3_load_65 | 74 | 0.0029854 | 0.00074821 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4208-10_0_3_load_66 | 75 | 0.0082878 | 0.0020771 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4208-10_0_3_load_83 | 76 | 0.0039047 | 0.00097861 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4208-10_0_3_load_86 | 77 | 0.0032402 | 0.00081208 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4208-10_0_3_load_87 | 78 | 0.0044591 | 0.0011176 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4208-10_0_3_load_70 | 79 | 0.0035641 | 0.00089326 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4208-10_0_3_load_71 | 80 | 0.0035807 | 0.00089741 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4208-10_0_3_load_72 | 81 | 0.0034846 | 0.00087333 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4208-10_0_3_load_73 | 82 | 0.003055 | 0.00076566 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4208-10_0_3_load_76 | 83 | 0.0031672 | 0.00079377 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4208-10_0_3_load_77 | 84 | 0.0025201 | 0.00063159 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4208-10_0_3_load_78 | 85 | 0.0034588 | 0.00086685 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4208-10_0_3_load_81 | 88 | 0.0018695 | 0.00046854 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4208-10_0_3_load_82 | 89 | 0.0022984 | 0.00057603 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4208-10_0_3_load_92 | 90 | 0.002807 | 0.0007035 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4208-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4208-10_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4208-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4208-10_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4208-10_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4208-10_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.036582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4208-10_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.039711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4208-10_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0093319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4208-10_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.02172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4208-10_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.03671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4208-10_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.023553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4208-10_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.0062762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4208-10_0_3_line_12 | NAYY 4x150 SE | 10 | 60 | 0.0257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4208-10_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.022478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4208-10_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.012262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4208-10_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.024723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4208-10_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.012258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4208-10_0_3_line_17 | NAYY 4x150 SE | 15 | 25 | 0.021809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4208-10_0_3_line_18 | NAYY 4x150 SE | 15 | 20 | 0.0043749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4208-10_0_3_line_19 | NAYY 4x150 SE | 16 | 39 | 0.019598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4208-10_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.010273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4208-10_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0079007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4208-10_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.012684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4208-10_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.018092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4208-10_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.028573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_4208-10_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.009188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4208-10_0_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.032701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4208-10_0_3_line_27 | NAYY 4x150 SE | 22 | 26 | 0.019647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_4208-10_0_3_line_28 | NAYY 4x150 SE | 22 | 27 | 0.0048504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4208-10_0_3_line_29 | NAYY 4x150 SE | 23 | 28 | 0.038363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4208-10_0_3_line_30 | NAYY 4x150 SE | 24 | 29 | 0.039088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4208-10_0_3_line_31 | NAYY 4x150 SE | 24 | 30 | 0.02037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4208-10_0_3_line_32 | NAYY 4x150 SE | 25 | 41 | 0.0040038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4208-10_0_3_line_33 | NAYY 4x150 SE | 26 | 55 | 0.0098441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4208-10_0_3_line_34 | NAYY 4x150 SE | 28 | 56 | 0.020881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4208-10_0_3_line_35 | NAYY 4x150 SE | 29 | 37 | 0.003095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4208-10_0_3_line_36 | NAYY 4x150 SE | 29 | 38 | 0.031759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4208-10_0_3_line_37 | NAYY 4x150 SE | 30 | 36 | 0.031907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4208-10_0_3_line_38 | NAYY 4x150 SE | 31 | 32 | 0.0022624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4208-10_0_3_line_39 | NAYY 4x150 SE | 31 | 33 | 0.011588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4208-10_0_3_line_40 | NAYY 4x150 SE | 32 | 34 | 0.026157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4208-10_0_3_line_41 | NAYY 4x150 SE | 34 | 35 | 0.0026345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4208-10_0_3_line_42 | NAYY 4x150 SE | 35 | 36 | 0.028981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4208-10_0_3_line_43 | NAYY 4x150 SE | 37 | 49 | 0.019551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4208-10_0_3_line_44 | NAYY 4x150 SE | 38 | 52 | 0.0059583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4208-10_0_3_line_45 | NAYY 4x150 SE | 39 | 40 | 0.018888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4208-10_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.0031716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4208-10_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.020828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4208-10_0_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.017772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4208-10_0_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.020446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4208-10_0_3_line_50 | NAYY 4x150 SE | 45 | 47 | 0.014496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4208-10_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.015036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4208-10_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.023655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4208-10_0_3_line_53 | NAYY 4x150 SE | 49 | 50 | 0.014412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4208-10_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.021558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4208-10_0_3_line_55 | NAYY 4x150 SE | 51 | 54 | 0.02662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4208-10_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.025961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4208-10_0_3_line_57 | NAYY 4x150 SE | 53 | 87 | 0.014392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4208-10_0_3_line_58 | NAYY 4x150 SE | 54 | 83 | 0.027168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4208-10_0_3_line_59 | NAYY 4x150 SE | 55 | 76 | 0.012411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4208-10_0_3_line_60 | NAYY 4x150 SE | 56 | 63 | 0.0022096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4208-10_0_3_line_61 | NAYY 4x150 SE | 57 | 58 | 0.035121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4208-10_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.0027122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4208-10_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.0225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4208-10_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.041622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4208-10_0_3_line_65 | NAYY 4x150 SE | 62 | 70 | 0.025394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4208-10_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.027615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4208-10_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.00336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4208-10_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.026866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4208-10_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.0082202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4208-10_0_3_line_70 | NAYY 4x150 SE | 67 | 68 | 0.022725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4208-10_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.0092034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4208-10_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.0073837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4208-10_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.01084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4208-10_0_3_line_74 | NAYY 4x150 SE | 71 | 73 | 0.01992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4208-10_0_3_line_75 | NAYY 4x150 SE | 72 | 74 | 0.0094713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4208-10_0_3_line_76 | NAYY 4x150 SE | 73 | 75 | 0.0040106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4208-10_0_3_line_77 | NAYY 4x150 SE | 74 | 76 | 0.0076373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4208-10_0_3_line_78 | NAYY 4x150 SE | 75 | 77 | 0.012451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4208-10_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.017817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4208-10_0_3_line_80 | NAYY 4x150 SE | 78 | 82 | 0.00090162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4208-10_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.00094088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4208-10_0_3_line_82 | NAYY 4x150 SE | 79 | 81 | 0.020164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4208-10_0_3_line_83 | NAYY 4x150 SE | 80 | 82 | 0.019577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4208-10_0_3_line_84 | NAYY 4x150 SE | 84 | 85 | 0.021994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4208-10_0_3_line_85 | NAYY 4x150 SE | 84 | 86 | 0.040425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4208-10_0_3_line_86 | NAYY 4x150 SE | 85 | 87 | 0.0077898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4208-10_0_3_line_87 | NAYY 4x150 SE | 86 | 88 | 0.034747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4208-10_0_3_line_88 | NAYY 4x150 SE | 86 | 89 | 0.021374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4208-10_0_3_line_89 | NAYY 4x150 SE | 88 | 90 | 0.019455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4208-10_0_3_trafo_85 | 0.25 MVA 20/0.4 kV | 91 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2658716.9069 | 1241694.2152 | 2658721.1747 | 1241684.675
1 | 2658716.9069 | 1241694.2152 | 2658707.9218 | 1241714.2999 | 2658704.3381 | 1241721.4314
2 | 2658729.8396 | 1241665.306 | 2658721.1747 | 1241684.675
3 | 2658698.4592 | 1241733.1301 | 2658704.3381 | 1241721.4314
4 | 2658729.8396 | 1241665.306 | 2658734.291 | 1241655.3559
5 | 2658729.8396 | 1241665.306 | 2658708.789 | 1241653.3898 | 2658703.4259 | 1241642.2182
6 | 2658698.4592 | 1241733.1301 | 2658690.5565 | 1241757.0681 | 2658685.2658 | 1241770.5709
7 | 2658738.1018 | 1241646.8376 | 2658734.291 | 1241655.3559
8 | 2658701.9997 | 1241620.5451 | 2658703.4259 | 1241642.2182
9 | 2658671.0109 | 1241804.3284 | 2658674.0134 | 1241799.2885 | 2658685.2658 | 1241770.5709
10 | 2658701.9997 | 1241620.5451 | 2658679.5656 | 1241627.7191
11 | 2658701.9997 | 1241620.5451 | 2658707.9775 | 1241618.6329
12 | 2658671.0109 | 1241804.3284 | 2658665.3341 | 1241813.857 | 2658657.4466 | 1241826.1533
13 | 2658658.1553 | 1241634.5657 | 2658679.5656 | 1241627.7191
14 | 2658719.6562 | 1241614.8972 | 2658707.9775 | 1241618.6329
15 | 2658635.1418 | 1241643.7668 | 2658658.1553 | 1241634.5657
16 | 2658658.1553 | 1241634.5657 | 2658657.8198 | 1241622.312
17 | 2658635.1418 | 1241643.7668 | 2658646.031 | 1241662.6623
18 | 2658635.1418 | 1241643.7668 | 2658631.081 | 1241645.3944
19 | 2658657.8198 | 1241622.312 | 2658657.7665 | 1241620.3634 | 2658665.3412 | 1241604.4226
20 | 2658622.1616 | 1241654.4124 | 2658622.1616 | 1241654.4124 | 2658616.8582 | 1241663.2104
21 | 2658612.8348 | 1241670.0083 | 2658613.407 | 1241668.9358 | 2658616.8582 | 1241663.2104
22 | 2658622.1616 | 1241654.4124 | 2658631.081 | 1241645.3944 | 2658631.081 | 1241645.3944
23 | 2658601.4604 | 1241683.6388 | 2658608.8162 | 1241677.5407 | 2658612.8348 | 1241670.0083
24 | 2658575.5521 | 1241695.847 | 2658601.4604 | 1241683.6388
25 | 2658601.4604 | 1241683.6388 | 2658610.2173 | 1241686.4201
26 | 2658601.4604 | 1241683.6388 | 2658570.8285 | 1241671.951
27 | 2658575.5521 | 1241695.847 | 2658578.1289 | 1241702.866 | 2658577.3032 | 1241711.4525 | 2658575.7977 | 1241714.6601
28 | 2658575.5521 | 1241695.847 | 2658571.1636 | 1241697.9128
29 | 2658646.173 | 1241699.5243 | 2658637.0855 | 1241694.9537 | 2658610.2173 | 1241686.4201
30 | 2658570.8285 | 1241671.951 | 2658543.7896 | 1241657.7637 | 2658536.56 | 1241653.1935
31 | 2658570.8285 | 1241671.951 | 2658579.6655 | 1241653.5981
32 | 2658648.0302 | 1241666.1313 | 2658646.031 | 1241662.6623
33 | 2658571.615 | 1241723.5715 | 2658575.7977 | 1241714.6601
34 | 2658646.173 | 1241699.5243 | 2658637.0298 | 1241718.2975
35 | 2658533.9439 | 1241651.5397 | 2658536.56 | 1241653.1935
36 | 2658536.56 | 1241653.1935 | 2658528.0572 | 1241683.7928
37 | 2658593.508 | 1241624.8497 | 2658579.6655 | 1241653.5981
38 | 2658618.5718 | 1241572.7966 | 2658619.5533 | 1241570.7582
39 | 2658624.5805 | 1241560.3176 | 2658619.5533 | 1241570.7582
40 | 2658607.224 | 1241596.364 | 2658618.5718 | 1241572.7966
41 | 2658606.081 | 1241598.7377 | 2658607.224 | 1241596.364
42 | 2658593.508 | 1241624.8497 | 2658606.081 | 1241598.7377
43 | 2658517.4177 | 1241641.0926 | 2658533.9439 | 1241651.5397
44 | 2658528.0572 | 1241683.7928 | 2658525.7251 | 1241689.2757
45 | 2658673.4477 | 1241587.3628 | 2658665.3412 | 1241604.4226
46 | 2658543.4881 | 1241588.059 | 2658542.0889 | 1241590.9053
47 | 2658543.4881 | 1241588.059 | 2658552.6766 | 1241569.3674
48 | 2658534.2484 | 1241606.8549 | 2658542.0889 | 1241590.9053
49 | 2658552.6766 | 1241569.3674 | 2658561.6964 | 1241551.0189
50 | 2658534.2484 | 1241606.8549 | 2658527.8536 | 1241619.8636
51 | 2658568.3298 | 1241537.525 | 2658561.6964 | 1241551.0189
52 | 2658517.4177 | 1241641.0926 | 2658527.8536 | 1241619.8636
53 | 2658505.5384 | 1241632.8812 | 2658517.4177 | 1241641.0926
54 | 2658505.5384 | 1241632.8812 | 2658496.3259 | 1241652.3715
55 | 2658484.9501 | 1241676.4385 | 2658496.3259 | 1241652.3715
56 | 2658525.7251 | 1241689.2757 | 2658515.5639 | 1241713.166
57 | 2658509.9311 | 1241726.4094 | 2658515.5639 | 1241713.166
58 | 2658484.9501 | 1241676.4385 | 2658473.3404 | 1241701.0006
59 | 2658566.1728 | 1241734.7252 | 2658570.9399 | 1241725.01 | 2658571.615 | 1241723.5715
60 | 2658637.0298 | 1241718.2975 | 2658636.0623 | 1241720.284
61 | 2658624.382 | 1241876.6105 | 2658633.6689 | 1241863.2219 | 2658643.834 | 1241847.3748
62 | 2658643.834 | 1241847.3748 | 2658645.2984 | 1241845.092
63 | 2658645.2984 | 1241845.092 | 2658657.4466 | 1241826.1533
64 | 2658559.5306 | 1241873.8398 | 2658576.1093 | 1241846.954 | 2658581.1861 | 1241838.2968
65 | 2658581.1861 | 1241838.2968 | 2658594.0319 | 1241816.3917
66 | 2658624.5851 | 1241745.3996 | 2658634.2198 | 1241724.0672 | 2658636.0623 | 1241720.284
67 | 2658624.5851 | 1241745.3996 | 2658623.2021 | 1241748.4618
68 | 2658612.1437 | 1241772.9464 | 2658623.2021 | 1241748.4618
69 | 2658608.7602 | 1241780.4379 | 2658612.1437 | 1241772.9464
70 | 2658608.7602 | 1241780.4379 | 2658607.2683 | 1241783.7412 | 2658603.7316 | 1241792.7901 | 2658602.4226 | 1241802.0835
71 | 2658597.767 | 1241810.0224 | 2658602.4226 | 1241802.0835 | 2658602.4226 | 1241802.0835
72 | 2658597.767 | 1241810.0224 | 2658594.0319 | 1241816.3917
73 | 2658553.8611 | 1241759.816 | 2658558.6363 | 1241750.0844
74 | 2658553.8611 | 1241759.816 | 2658545.086 | 1241777.6994
75 | 2658562.8085 | 1241741.5816 | 2658558.6363 | 1241750.0844
76 | 2658543.3327 | 1241781.3064 | 2658544.276 | 1241779.3502 | 2658545.086 | 1241777.6994
77 | 2658566.1728 | 1241734.7252 | 2658562.8085 | 1241741.5816
78 | 2658543.3327 | 1241781.3064 | 2658537.9245 | 1241792.5213
79 | 2658530.1853 | 1241808.5702 | 2658537.9245 | 1241792.5213
80 | 2658530.1853 | 1241808.5702 | 2658529.7937 | 1241809.3823
81 | 2658521.2902 | 1241827.0161 | 2658520.8815 | 1241827.8636
82 | 2658520.8815 | 1241827.8636 | 2658512.1229 | 1241846.0264
83 | 2658521.2902 | 1241827.0161 | 2658529.7937 | 1241809.3823
84 | 2658482.8907 | 1241738.8939 | 2658488.7122 | 1241736.1403 | 2658502.8504 | 1241729.6566
85 | 2658447.3253 | 1241757.9252 | 2658459.5607 | 1241749.9291 | 2658482.8907 | 1241738.8939
86 | 2658509.9311 | 1241726.4094 | 2658502.8504 | 1241729.6566
87 | 2658447.3253 | 1241757.9252 | 2658458.161 | 1241765.3924 | 2658477.7408 | 1241774.6692
88 | 2658447.3253 | 1241757.9252 | 2658436.9653 | 1241765.1169 | 2658431.3887 | 1241771.8756
89 | 2658477.7408 | 1241774.6692 | 2658495.3181 | 1241783.0079

## bus_geodata
| x | y | coords
0 | 2658716.9069 | 1241694.2152
1 | 2658721.1747 | 1241684.675
2 | 2658704.3381 | 1241721.4314
3 | 2658729.8396 | 1241665.306
4 | 2658698.4592 | 1241733.1301
5 | 2658734.291 | 1241655.3559
6 | 2658703.4259 | 1241642.2182
7 | 2658685.2658 | 1241770.5709
8 | 2658738.1018 | 1241646.8376
9 | 2658701.9997 | 1241620.5451
10 | 2658671.0109 | 1241804.3284
11 | 2658679.5656 | 1241627.7191
12 | 2658707.9775 | 1241618.6329
13 | 2658658.1553 | 1241634.5657
14 | 2658719.6562 | 1241614.8972
15 | 2658635.1418 | 1241643.7668
16 | 2658657.8198 | 1241622.312
17 | 2658616.8582 | 1241663.2104
18 | 2658622.1616 | 1241654.4124
19 | 2658612.8348 | 1241670.0083
20 | 2658631.081 | 1241645.3944
21 | 2658601.4604 | 1241683.6389
22 | 2658575.5521 | 1241695.847
23 | 2658610.2173 | 1241686.4201
24 | 2658570.8285 | 1241671.951
25 | 2658646.031 | 1241662.6623
26 | 2658575.7977 | 1241714.6601
27 | 2658571.1636 | 1241697.9128
28 | 2658646.173 | 1241699.5243
29 | 2658536.56 | 1241653.1935
30 | 2658579.6655 | 1241653.5981
31 | 2658619.5533 | 1241570.7582
32 | 2658618.5718 | 1241572.7966
33 | 2658624.5805 | 1241560.3176
34 | 2658607.224 | 1241596.364
35 | 2658606.081 | 1241598.7377
36 | 2658593.508 | 1241624.8497
37 | 2658533.9439 | 1241651.5397
38 | 2658528.0572 | 1241683.7928
39 | 2658665.3412 | 1241604.4226
40 | 2658673.4477 | 1241587.3628
41 | 2658648.0302 | 1241666.1313
42 | 2658543.4881 | 1241588.059
43 | 2658542.0889 | 1241590.9053
44 | 2658552.6766 | 1241569.3674
45 | 2658534.2484 | 1241606.8549
46 | 2658561.6964 | 1241551.019
47 | 2658527.8536 | 1241619.8636
48 | 2658568.3298 | 1241537.525
49 | 2658517.4177 | 1241641.0926
50 | 2658505.5384 | 1241632.8812
51 | 2658496.3259 | 1241652.3715
52 | 2658525.7251 | 1241689.2757
53 | 2658515.5639 | 1241713.166
54 | 2658484.9501 | 1241676.4385
55 | 2658571.615 | 1241723.5715
56 | 2658637.0298 | 1241718.2975
57 | 2658624.382 | 1241876.6105
58 | 2658643.834 | 1241847.3748
59 | 2658645.2984 | 1241845.092
60 | 2658657.4466 | 1241826.1533
61 | 2658559.5306 | 1241873.8398
62 | 2658581.1861 | 1241838.2968
63 | 2658636.0623 | 1241720.284
64 | 2658624.5851 | 1241745.3996
65 | 2658623.2021 | 1241748.4618
66 | 2658612.1437 | 1241772.9464
67 | 2658608.7602 | 1241780.4379
68 | 2658602.4226 | 1241802.0835
69 | 2658597.767 | 1241810.0224
70 | 2658594.0319 | 1241816.3917
71 | 2658553.8611 | 1241759.816
72 | 2658558.6363 | 1241750.0844
73 | 2658545.086 | 1241777.6994
74 | 2658562.8085 | 1241741.5816
75 | 2658543.3327 | 1241781.3064
76 | 2658566.1728 | 1241734.7252
77 | 2658537.9245 | 1241792.5213
78 | 2658530.1853 | 1241808.5702
79 | 2658520.8815 | 1241827.8636
80 | 2658521.2902 | 1241827.0161
81 | 2658512.1229 | 1241846.0264
82 | 2658529.7937 | 1241809.3823
83 | 2658473.3404 | 1241701.0006
84 | 2658482.8907 | 1241738.8939
85 | 2658502.8504 | 1241729.6566
86 | 2658447.3253 | 1241757.9252
87 | 2658509.9311 | 1241726.4094
88 | 2658477.7408 | 1241774.6692
89 | 2658431.3887 | 1241771.8756
90 | 2658495.3181 | 1241783.0079
91 | 2658575.5521 | 1241695.847

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1