## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4208-17_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4208-17_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4208-17_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4208-17_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4208-17_0_2_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_4208-17_0_2_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_4208-17_0_2_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_4208-17_0_2_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_4208-17_0_2_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_4208-17_0_2_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_4208-17_0_2_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_4208-17_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4208-17_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4208-17_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4208-17_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4208-17_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4208-17_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4208-17_0_2_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_4208-17_0_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_4208-17_0_2_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_4208-17_0_2_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_4208-17_0_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_4208-17_0_2_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_4208-17_0_2_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_4208-17_0_2_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4208-17_0_2_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4208-17_0_2_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_4208-17_0_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4208-17_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4208-17_0_2_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_4208-17_0_2_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_4208-17_0_2_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_4208-17_0_2_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_4208-17_0_2_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_4208-17_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_4208-17_0_2_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_4208-17_0_2_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_4208-17_0_2_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_4208-17_0_2_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_4208-17_0_2_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_4208-17_0_2_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_4208-17_0_2_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_4208-17_0_2_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_4208-17_0_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_4208-17_0_2_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_4208-17_0_2_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_4208-17_0_2_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_4208-17_0_2_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_4208-17_0_2_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_4208-17_0_2_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_4208-17_0_2_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_4208-17_0_2_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_4208-17_0_2_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_4208-17_0_2_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_4208-17_0_2_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_4208-17_0_2_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_4208-17_0_2_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_4208-17_0_2_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_4208-17_0_2_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_4208-17_0_2_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_4208-17_0_2_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_4208-17_0_2_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_4208-17_0_2_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_4208-17_0_2_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_4208-17_0_2_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_4208-17_0_2_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_4208-17_0_2_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_4208-17_0_2_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_4208-17_0_2_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4208-17_0_2_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_4208-17_0_2_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_4208-17_0_2_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_4208-17_0_2_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_4208-17_0_2_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_4208-17_0_2_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_4208-17_0_2_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_4208-17_0_2_node_69 | 0.4 | n |  | TRUE
77 | bus_MV_427_1_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4208-17_0_2_load_0 | 0 | 0.00025523 | 6.3967e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4208-17_0_2_load_3 | 2 | 0.0024507 | 0.00061419 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4208-17_0_2_load_4 | 3 | 0.0021504 | 0.00053893 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4208-17_0_2_load_19 | 4 | 0.0021038 | 0.00052725 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4208-17_0_2_load_31 | 5 | 0.00072547 | 0.00018182 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4208-17_0_2_load_23 | 6 | 0.0026847 | 0.00067284 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4208-17_0_2_load_20 | 7 | 0.0062685 | 0.001571 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4208-17_0_2_load_15 | 9 | 0.0008222 | 0.00020606 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4208-17_0_2_load_21 | 10 | 0.00014443 | 3.6197e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4208-17_0_2_load_5 | 11 | 0.0002224 | 5.574e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4208-17_0_2_load_6 | 12 | 0.00045325 | 0.0001136 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4208-17_0_2_load_7 | 13 | 0.00047246 | 0.00011841 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4208-17_0_2_load_11 | 16 | 0.0030865 | 0.00077355 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4208-17_0_2_load_24 | 18 | 0.002629 | 0.00065888 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4208-17_0_2_load_54 | 19 | 0.0019479 | 0.0004882 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4208-17_0_2_load_32 | 20 | 0.0044162 | 0.0011068 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4208-17_0_2_load_22 | 21 | 0.0035593 | 0.00089204 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4208-17_0_2_load_55 | 22 | 0.0043519 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4208-17_0_2_load_12 | 23 | 0.0016836 | 0.00042195 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4208-17_0_2_load_13 | 24 | 0.00084265 | 0.00021119 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4208-17_0_2_load_14 | 25 | 0.0010672 | 0.00026747 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4208-17_0_2_load_18 | 27 | 0.0048696 | 0.0012204 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4208-17_0_2_load_16 | 28 | 0.0096908 | 0.0024287 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4208-17_0_2_load_26 | 32 | 0.00092242 | 0.00023118 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4208-17_0_2_load_27 | 33 | 0.001456 | 0.0003649 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4208-17_0_2_load_28 | 34 | 0.001783 | 0.00044685 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4208-17_0_2_load_74 | 35 | 0.0041546 | 0.0010412 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4208-17_0_2_load_68 | 38 | 0.013658 | 0.0034229 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4208-17_0_2_load_56 | 42 | 0.0026178 | 0.00065609 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4208-17_0_2_load_36 | 44 | 0.0033018 | 0.00082751 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4208-17_0_2_load_73 | 45 | 0.0061646 | 0.001545 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4208-17_0_2_load_57 | 48 | 0.0011931 | 0.00029901 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4208-17_0_2_load_72 | 49 | 0.0030744 | 0.00077051 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4208-17_0_2_load_60 | 50 | 0.0035768 | 0.00089643 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4208-17_0_2_load_61 | 51 | 0.0025841 | 0.00064764 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4208-17_0_2_load_39 | 52 | 0.0023967 | 0.00060067 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4208-17_0_2_load_42 | 55 | 0.0018388 | 0.00046084 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4208-17_0_2_load_44 | 56 | 0.0021351 | 0.00053511 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4208-17_0_2_load_45 | 57 | 0.0020833 | 0.00052212 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4208-17_0_2_load_48 | 58 | 0.0023997 | 0.00060142 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4208-17_0_2_load_77 | 59 | 0.0026833 | 0.0006725 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4208-17_0_2_load_80 | 61 | 0.0017445 | 0.00043721 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4208-17_0_2_load_78 | 62 | 0.0012934 | 0.00032416 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4208-17_0_2_load_47 | 63 | 0.0022712 | 0.00056922 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4208-17_0_2_load_52 | 64 | 0.0014223 | 0.00035645 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4208-17_0_2_load_49 | 65 | 0.00093562 | 0.00023449 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4208-17_0_2_load_50 | 66 | 0.0016841 | 0.00042208 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4208-17_0_2_load_53 | 68 | 0.0014548 | 0.0003646 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4208-17_0_2_load_75 | 70 | 0.0011088 | 0.0002779 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4208-17_0_2_load_66 | 71 | 0.0068317 | 0.0017122 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4208-17_0_2_load_62 | 72 | 0.0018733 | 0.00046948 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4208-17_0_2_load_63 | 73 | 0.0040669 | 0.0010193 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4208-17_0_2_load_64 | 74 | 0.0073081 | 0.0018316 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4208-17_0_2_load_69 | 76 | 0.0069034 | 0.0017302 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4208-17_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4208-17_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.024007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4208-17_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4208-17_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.04844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4208-17_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.14782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4208-17_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.027491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4208-17_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.018593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4208-17_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.027958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4208-17_0_2_line_8 | NAYY 4x150 SE | 6 | 10 | 0.0042971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4208-17_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.043463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4208-17_0_2_line_10 | NAYY 4x150 SE | 9 | 25 | 0.022861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4208-17_0_2_line_11 | NAYY 4x150 SE | 10 | 21 | 0.025069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4208-17_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.00045156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4208-17_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0028842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4208-17_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.037442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4208-17_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.013656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4208-17_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.013634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4208-17_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.015681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4208-17_0_2_line_18 | NAYY 4x150 SE | 15 | 18 | 0.01725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4208-17_0_2_line_19 | NAYY 4x150 SE | 16 | 19 | 0.02332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4208-17_0_2_line_20 | NAYY 4x150 SE | 17 | 20 | 0.031087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4208-17_0_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.0025491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4208-17_0_2_line_22 | NAYY 4x150 SE | 19 | 22 | 0.0007422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4208-17_0_2_line_23 | NAYY 4x150 SE | 20 | 43 | 0.0085842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4208-17_0_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.025019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4208-17_0_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.03463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4208-17_0_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.0025539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4208-17_0_2_line_27 | NAYY 4x150 SE | 26 | 28 | 0.01584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4208-17_0_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.029443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4208-17_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.026029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4208-17_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.065546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4208-17_0_2_line_31 | NAYY 4x150 SE | 30 | 50 | 0.018913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4208-17_0_2_line_32 | NAYY 4x150 SE | 31 | 35 | 0.010675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4208-17_0_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.029285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4208-17_0_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.017841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4208-17_0_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.0025596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4208-17_0_2_line_36 | NAYY 4x150 SE | 35 | 39 | 0.025611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4208-17_0_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.032669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4208-17_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.014918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4208-17_0_2_line_39 | NAYY 4x150 SE | 37 | 59 | 0.024434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4208-17_0_2_line_40 | NAYY 4x150 SE | 37 | 53 | 0.010333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4208-17_0_2_line_41 | NAYY 4x150 SE | 38 | 75 | 0.0076955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4208-17_0_2_line_42 | NAYY 4x150 SE | 39 | 45 | 0.039098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_4208-17_0_2_line_43 | NAYY 4x150 SE | 39 | 43 | 0.014259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_4208-17_0_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.012687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4208-17_0_2_line_45 | NAYY 4x150 SE | 40 | 42 | 0.039234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4208-17_0_2_line_46 | NAYY 4x150 SE | 41 | 47 | 0.017921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4208-17_0_2_line_47 | NAYY 4x150 SE | 42 | 48 | 0.028963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4208-17_0_2_line_48 | NAYY 4x150 SE | 43 | 44 | 0.030875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4208-17_0_2_line_49 | NAYY 4x150 SE | 44 | 46 | 0.019473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4208-17_0_2_line_50 | NAYY 4x150 SE | 46 | 49 | 0.0095112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4208-17_0_2_line_51 | NAYY 4x150 SE | 47 | 49 | 0.019627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4208-17_0_2_line_52 | NAYY 4x150 SE | 47 | 69 | 0.024026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4208-17_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.0033358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4208-17_0_2_line_54 | NAYY 4x150 SE | 51 | 72 | 0.0071827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4208-17_0_2_line_55 | NAYY 4x150 SE | 52 | 53 | 0.047106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4208-17_0_2_line_56 | NAYY 4x150 SE | 52 | 54 | 0.012308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4208-17_0_2_line_57 | NAYY 4x150 SE | 53 | 55 | 0.016251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4208-17_0_2_line_58 | NAYY 4x150 SE | 54 | 56 | 0.020035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4208-17_0_2_line_59 | NAYY 4x150 SE | 54 | 57 | 0.05001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4208-17_0_2_line_60 | NAYY 4x150 SE | 55 | 58 | 0.056357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4208-17_0_2_line_61 | NAYY 4x150 SE | 56 | 60 | 0.024116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4208-17_0_2_line_62 | NAYY 4x150 SE | 57 | 61 | 0.026675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4208-17_0_2_line_63 | NAYY 4x150 SE | 59 | 62 | 0.010228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4208-17_0_2_line_64 | NAYY 4x150 SE | 60 | 63 | 0.0061104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4208-17_0_2_line_65 | NAYY 4x150 SE | 61 | 64 | 0.022067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4208-17_0_2_line_66 | NAYY 4x150 SE | 64 | 66 | 0.015102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4208-17_0_2_line_67 | NAYY 4x150 SE | 65 | 66 | 0.016453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4208-17_0_2_line_68 | NAYY 4x150 SE | 65 | 67 | 0.080925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4208-17_0_2_line_69 | NAYY 4x150 SE | 67 | 68 | 0.047355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4208-17_0_2_line_70 | NAYY 4x150 SE | 69 | 76 | 0.0064924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4208-17_0_2_line_71 | NAYY 4x150 SE | 69 | 75 | 0.03807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4208-17_0_2_line_72 | NAYY 4x150 SE | 70 | 71 | 0.02929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4208-17_0_2_line_73 | NAYY 4x150 SE | 71 | 74 | 0.029334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4208-17_0_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.016848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4208-17_0_2_line_75 | NAYY 4x150 SE | 73 | 75 | 0.025812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4208-17_0_2_trafo_73 | 0.25 MVA 20/0.4 kV | 77 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2657758.3013 | 1242182.7572 | 2657758.2014 | 1242179.0426 | 2657760.3918 | 1242162.9198 | 2657762.7454 | 1242145.7837
1 | 2657758.3013 | 1242182.7572 | 2657756.8173 | 1242194.6507 | 2657754.2922 | 1242206.4036
2 | 2657758.3013 | 1242182.7572 | 2657773.5127 | 1242191.133 | 2657776.4773 | 1242192.7274
3 | 2657759.0187 | 1242243.39 | 2657755.8129 | 1242241.9172 | 2657744.4991 | 1242237.7599 | 2657749.3124 | 1242222.4409 | 2657753.8875 | 1242208.287 | 2657754.2922 | 1242206.4036
4 | 2657754.2922 | 1242206.4036 | 2657608.4037 | 1242182.5834
5 | 2657776.4773 | 1242192.7274 | 2657800.6894 | 1242205.7489
6 | 2657775.9143 | 1242251.1523 | 2657759.0187 | 1242243.39
7 | 2657584.3226 | 1242168.38 | 2657608.4037 | 1242182.5834
8 | 2657800.6894 | 1242205.7489 | 2657801.8108 | 1242206.352 | 2657804.4851 | 1242207.7631
9 | 2657584.3226 | 1242168.38 | 2657564.8821 | 1242207.2527
10 | 2657564.8821 | 1242207.2527 | 2657563.0071 | 1242211.0019 | 2657556.6446 | 1242228.5538
11 | 2657804.4851 | 1242207.7631 | 2657826.6572 | 1242219.4622
12 | 2657870.4444 | 1242184.8717 | 2657870.6736 | 1242184.4827
13 | 2657870.6736 | 1242184.4827 | 2657872.1376 | 1242181.9977
14 | 2657851.4396 | 1242217.1314 | 2657870.4444 | 1242184.8717
15 | 2657844.1679 | 1242228.7017 | 2657851.4396 | 1242217.1314
16 | 2657851.4396 | 1242217.1314 | 2657862.9883 | 1242224.3782
17 | 2657837.2273 | 1242242.7658 | 2657840.9102 | 1242234.863 | 2657844.1679 | 1242228.7017
18 | 2657844.1679 | 1242228.7017 | 2657828.9117 | 1242220.6518
19 | 2657882.741 | 1242236.7729 | 2657862.9883 | 1242224.3782
20 | 2657837.2273 | 1242242.7658 | 2657825.671 | 1242262.7222 | 2657821.4708 | 1242268.6408 | 2657820.9964 | 1242269.2457
21 | 2657828.9117 | 1242220.6518 | 2657826.6572 | 1242219.4622
22 | 2657883.3697 | 1242237.1674 | 2657882.741 | 1242236.7729
23 | 2657815.6993 | 1242276.0007 | 2657820.9964 | 1242269.2457
24 | 2657547.5347 | 1242261.8344 | 2657543.3992 | 1242284.9059 | 2657542.9214 | 1242286.4118
25 | 2657547.5347 | 1242261.8344 | 2657550.4241 | 1242245.7143 | 2657556.6446 | 1242228.5538
26 | 2657701.5828 | 1242336.6202 | 2657703.7704 | 1242337.938
27 | 2657701.5828 | 1242336.6202 | 2657710.2162 | 1242323.3396
28 | 2657728.991 | 1242353.131 | 2657703.7704 | 1242337.938
29 | 2657709.3291 | 1242370.2514 | 2657728.991 | 1242353.131
30 | 2657728.991 | 1242353.131 | 2657760.0054 | 1242326.0923 | 2657773.7682 | 1242314.7296 | 2657778.6936 | 1242310.408
31 | 2657709.3291 | 1242370.2514 | 2657722.9634 | 1242383.3593
32 | 2657778.6936 | 1242310.408 | 2657786.6578 | 1242303.2991
33 | 2657778.6936 | 1242310.408 | 2657753.428 | 1242295.6006
34 | 2657753.428 | 1242295.6006 | 2657738.0354 | 1242286.5795
35 | 2657735.8271 | 1242285.2853 | 2657738.0354 | 1242286.5795
36 | 2657805.7647 | 1242286.2441 | 2657786.6578 | 1242303.2991
37 | 2657834.1131 | 1242391.6466 | 2657819.7494 | 1242362.287
38 | 2657819.7494 | 1242362.287 | 2657833.641 | 1242356.8478
39 | 2657834.1131 | 1242391.6466 | 2657813.9601 | 1242405.4625
40 | 2657834.1131 | 1242391.6466 | 2657836.6385 | 1242401.6668
41 | 2657840.8068 | 1242354.0421 | 2657833.641 | 1242356.8478
42 | 2657805.7647 | 1242286.2441 | 2657811.4176 | 1242293.3818 | 2657811.3114 | 1242304.2881 | 2657827.2697 | 1242314.7582
43 | 2657805.7647 | 1242286.2441 | 2657812.2291 | 1242279.9251 | 2657815.6993 | 1242276.0007
44 | 2657900.7129 | 1242285.2353 | 2657894.1286 | 1242296.0895
45 | 2657900.7129 | 1242285.2353 | 2657921.4003 | 1242251.898
46 | 2657894.1286 | 1242296.0895 | 2657884.8246 | 1242311.4202
47 | 2657921.4003 | 1242251.898 | 2657936.6715 | 1242227.2886
48 | 2657815.6993 | 1242276.0007 | 2657826.5283 | 1242281.7989 | 2657833.6416 | 1242280.256 | 2657843.304 | 1242286.1398
49 | 2657859.9358 | 1242296.2674 | 2657843.304 | 1242286.1398
50 | 2657859.9358 | 1242296.2674 | 2657868.0598 | 1242301.2135
51 | 2657884.8246 | 1242311.4202 | 2657868.0598 | 1242301.2135
52 | 2657870.5464 | 1242330.6495 | 2657879.6386 | 1242319.9754 | 2657882.9037 | 1242314.6036 | 2657884.8246 | 1242311.4202
53 | 2657722.9634 | 1242383.3593 | 2657725.3681 | 1242385.6712
54 | 2657730.546 | 1242390.6491 | 2657725.3681 | 1242385.6712
55 | 2657836.6385 | 1242401.6668 | 2657841.5326 | 1242402.1037 | 2657844.3954 | 1242406.9793 | 2657863.6118 | 1242438.0561
56 | 2657870.0847 | 1242448.5242 | 2657863.6118 | 1242438.0561
57 | 2657836.6385 | 1242401.6668 | 2657835.6057 | 1242408.3613 | 2657830.0579 | 1242416.0457
58 | 2657870.0847 | 1242448.5242 | 2657852.8409 | 1242458.7245
59 | 2657870.0847 | 1242448.5242 | 2657889.8562 | 1242436.4644 | 2657911.6703 | 1242420.8084
60 | 2657830.0579 | 1242416.0457 | 2657830.0579 | 1242416.0457 | 2657785.4616 | 1242450.5032
61 | 2657832.0848 | 1242471.0024 | 2657852.8409 | 1242458.7245
62 | 2657933.3755 | 1242405.3026 | 2657913.4855 | 1242419.5056 | 2657911.6703 | 1242420.8084
63 | 2657813.9601 | 1242405.4625 | 2657805.5244 | 1242411.2455
64 | 2657832.0848 | 1242471.0024 | 2657826.8394 | 1242474.1365
65 | 2657951.3338 | 1242392.479 | 2657933.3755 | 1242405.3026
66 | 2657966.3086 | 1242390.7595 | 2657962.1447 | 1242390.8167 | 2657951.3338 | 1242392.479 | 2657951.3338 | 1242392.479
67 | 2657982.6186 | 1242389.2373 | 2657975.859 | 1242390.6283 | 2657966.3086 | 1242390.7595
68 | 2658037.0249 | 1242334.577 | 2658031.2759 | 1242351.2098 | 2658023.8851 | 1242361.8114 | 2658012.528 | 1242372.9412 | 2657995.1956 | 1242385.2135 | 2657988.3418 | 1242388.0595 | 2657982.6186 | 1242389.2373
69 | 2658037.0249 | 1242334.577 | 2658019.5992 | 1242328.5471 | 2657991.3328 | 1242322.4542
70 | 2657870.5464 | 1242330.6495 | 2657865.0159 | 1242327.2488
71 | 2657840.8068 | 1242354.0421 | 2657854.7587 | 1242345.7724 | 2657865.7672 | 1242336.2511 | 2657870.5464 | 1242330.6495
72 | 2657888.2196 | 1242350.6192 | 2657908.53 | 1242329.5154
73 | 2657888.2196 | 1242350.6192 | 2657867.8784 | 1242371.755
74 | 2657854.1912 | 1242375.2104 | 2657856.02 | 1242376.8945 | 2657862.2953 | 1242377.5561 | 2657867.8784 | 1242371.755
75 | 2657840.8068 | 1242354.0421 | 2657845.3664 | 1242367.0841 | 2657854.1912 | 1242375.2104

## bus_geodata
| x | y | coords
0 | 2657762.7454 | 1242145.7837
1 | 2657758.3013 | 1242182.7572
2 | 2657754.2922 | 1242206.4036
3 | 2657776.4773 | 1242192.7274
4 | 2657759.0187 | 1242243.39
5 | 2657608.4037 | 1242182.5834
6 | 2657800.6894 | 1242205.7489
7 | 2657775.9143 | 1242251.1523
8 | 2657584.3226 | 1242168.38
9 | 2657564.8821 | 1242207.2527
10 | 2657804.4851 | 1242207.7631
11 | 2657870.6736 | 1242184.4827
12 | 2657870.4444 | 1242184.8717
13 | 2657872.1376 | 1242181.9977
14 | 2657851.4396 | 1242217.1314
15 | 2657844.1679 | 1242228.7017
16 | 2657862.9883 | 1242224.3782
17 | 2657837.2273 | 1242242.7658
18 | 2657828.9117 | 1242220.6518
19 | 2657882.741 | 1242236.7729
20 | 2657820.9964 | 1242269.2457
21 | 2657826.6572 | 1242219.4622
22 | 2657883.3697 | 1242237.1674
23 | 2657547.5347 | 1242261.8344
24 | 2657542.9214 | 1242286.4118
25 | 2657556.6446 | 1242228.5538
26 | 2657701.5828 | 1242336.6202
27 | 2657703.7704 | 1242337.938
28 | 2657710.2162 | 1242323.3396
29 | 2657728.991 | 1242353.131
30 | 2657709.3291 | 1242370.2514
31 | 2657778.6936 | 1242310.408
32 | 2657738.0354 | 1242286.5795
33 | 2657753.428 | 1242295.6006
34 | 2657735.8271 | 1242285.2853
35 | 2657786.6578 | 1242303.2991
36 | 2657819.7494 | 1242362.287
37 | 2657834.1131 | 1242391.6466
38 | 2657833.641 | 1242356.8478
39 | 2657805.7647 | 1242286.2441
40 | 2657900.7129 | 1242285.2353
41 | 2657894.1286 | 1242296.0895
42 | 2657921.4003 | 1242251.898
43 | 2657815.6993 | 1242276.0007
44 | 2657843.304 | 1242286.1398
45 | 2657827.2697 | 1242314.7582
46 | 2657859.9358 | 1242296.2674
47 | 2657884.8246 | 1242311.4202
48 | 2657936.6715 | 1242227.2886
49 | 2657868.0598 | 1242301.2135
50 | 2657722.9634 | 1242383.3593
51 | 2657725.3681 | 1242385.6712
52 | 2657863.6118 | 1242438.0561
53 | 2657836.6385 | 1242401.6668
54 | 2657870.0847 | 1242448.5242
55 | 2657830.0579 | 1242416.0457
56 | 2657852.8409 | 1242458.7245
57 | 2657911.6703 | 1242420.8084
58 | 2657785.4616 | 1242450.5032
59 | 2657813.9601 | 1242405.4625
60 | 2657832.0848 | 1242471.0024
61 | 2657933.3755 | 1242405.3026
62 | 2657805.5244 | 1242411.2455
63 | 2657826.8394 | 1242474.1365
64 | 2657951.3338 | 1242392.479
65 | 2657982.6186 | 1242389.2373
66 | 2657966.3086 | 1242390.7595
67 | 2658037.0249 | 1242334.577
68 | 2657991.3328 | 1242322.4542
69 | 2657870.5464 | 1242330.6495
70 | 2657908.53 | 1242329.5154
71 | 2657888.2196 | 1242350.6192
72 | 2657730.546 | 1242390.6491
73 | 2657854.1912 | 1242375.2104
74 | 2657867.8784 | 1242371.755
75 | 2657840.8068 | 1242354.0421
76 | 2657865.0159 | 1242327.2488
77 | 2657835.0847 | 1242319.8856

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1