## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4208-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4208-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4208-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4208-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4208-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4208-1_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_4208-1_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_4208-1_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_4208-1_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4208-1_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_4208-1_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4208-1_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4208-1_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4208-1_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4208-1_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4208-1_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4208-1_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_4208-1_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_4208-1_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_4208-1_0_3_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_4208-1_0_3_node_77 | 0.4 | n |  | TRUE
21 | bus_LV_4208-1_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_4208-1_0_3_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_4208-1_0_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_4208-1_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_4208-1_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_4208-1_0_3_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_4208-1_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_4208-1_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_4208-1_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4208-1_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_4208-1_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_4208-1_0_3_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_4208-1_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_4208-1_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_4208-1_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_4208-1_0_3_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_4208-1_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_4208-1_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_4208-1_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_4208-1_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_4208-1_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_4208-1_0_3_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_4208-1_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_4208-1_0_3_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_4208-1_0_3_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_4208-1_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_4208-1_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_4208-1_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_4208-1_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_4208-1_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4208-1_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_4208-1_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4208-1_0_3_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_4208-1_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_4208-1_0_3_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_4208-1_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_4208-1_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_4208-1_0_3_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_4208-1_0_3_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_4208-1_0_3_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_4208-1_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_4208-1_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_4208-1_0_3_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_4208-1_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_4208-1_0_3_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_4208-1_0_3_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_4208-1_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_4208-1_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_4208-1_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_4208-1_0_3_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_4208-1_0_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4208-1_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_4208-1_0_3_node_68 | 0.4 | n |  | TRUE
74 | bus_MV_427_1_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4208-1_0_3_load_0 | 0 | 0.0039649 | 0.00099369 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4208-1_0_3_load_3 | 3 | 0.0078153 | 0.0019587 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4208-1_0_3_load_4 | 4 | 0.007093 | 0.0017777 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4208-1_0_3_load_14 | 6 | 0.0098932 | 0.0024795 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4208-1_0_3_load_12 | 9 | 0.0008872 | 0.00022235 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4208-1_0_3_load_11 | 12 | 0.0051839 | 0.0012992 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4208-1_0_3_load_8 | 13 | 0.0027574 | 0.00069106 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4208-1_0_3_load_18 | 18 | 0.0006666 | 0.00016707 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4208-1_0_3_load_78 | 19 | 0.00068049 | 0.00017055 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4208-1_0_3_load_21 | 21 | 0.0029674 | 0.00074369 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4208-1_0_3_load_24 | 23 | 0.0030237 | 0.00075782 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4208-1_0_3_load_19 | 24 | 0.0016931 | 0.00042433 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4208-1_0_3_load_22 | 25 | 0.0024197 | 0.00060644 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4208-1_0_3_load_76 | 26 | 0.0010906 | 0.00027334 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4208-1_0_3_load_20 | 27 | 0.0017642 | 0.00044215 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4208-1_0_3_load_23 | 28 | 0.011385 | 0.0028533 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4208-1_0_3_load_29 | 30 | 0.0072748 | 0.0018232 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4208-1_0_3_load_26 | 31 | 0.0029072 | 0.00072861 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4208-1_0_3_load_54 | 32 | 0.0072982 | 0.0018291 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4208-1_0_3_load_27 | 33 | 0.00278 | 0.00069673 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4208-1_0_3_load_35 | 34 | 0.0024149 | 0.00060524 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4208-1_0_3_load_36 | 35 | 0.0010581 | 0.00026518 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4208-1_0_3_load_30 | 37 | 0.006195 | 0.0015526 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4208-1_0_3_load_31 | 38 | 0.0020462 | 0.00051283 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4208-1_0_3_load_32 | 39 | 0.0020469 | 0.00051301 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4208-1_0_3_load_33 | 40 | 0.0016733 | 0.00041936 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4208-1_0_3_load_34 | 41 | 0.0034082 | 0.00085418 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4208-1_0_3_load_65 | 42 | 0.012704 | 0.0031838 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4208-1_0_3_load_37 | 43 | 0.0013852 | 0.00034716 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4208-1_0_3_load_62 | 44 | 0.0013846 | 0.000347 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4208-1_0_3_load_61 | 45 | 0.0034079 | 0.0008541 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4208-1_0_3_load_38 | 46 | 0.0013506 | 0.0003385 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4208-1_0_3_load_43 | 51 | 0.0069121 | 0.0017323 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4208-1_0_3_load_44 | 52 | 0.001524 | 0.00038194 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4208-1_0_3_load_50 | 54 | 0.012547 | 0.0031446 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4208-1_0_3_load_60 | 55 | 0.011546 | 0.0028937 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4208-1_0_3_load_57 | 56 | 0.0045747 | 0.0011465 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4208-1_0_3_load_48 | 57 | 0.0064108 | 0.0016067 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4208-1_0_3_load_70 | 58 | 0.0020212 | 0.00050656 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4208-1_0_3_load_69 | 59 | 0.0020338 | 0.00050972 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4208-1_0_3_load_74 | 60 | 0.0013919 | 0.00034884 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4208-1_0_3_load_58 | 61 | 0.0021818 | 0.00054681 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4208-1_0_3_load_46 | 62 | 0.0033031 | 0.00082783 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4208-1_0_3_load_45 | 63 | 0.0015222 | 0.00038149 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4208-1_0_3_load_47 | 64 | 0.0026195 | 0.00065651 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4208-1_0_3_load_72 | 65 | 0.0016009 | 0.00040124 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4208-1_0_3_load_66 | 68 | 0.0048631 | 0.0012188 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4208-1_0_3_load_67 | 69 | 0.0079044 | 0.001981 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4208-1_0_3_load_75 | 70 | 0.011932 | 0.0029905 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4208-1_0_3_load_63 | 71 | 0.0034084 | 0.00085423 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4208-1_0_3_load_64 | 72 | 0.0040278 | 0.0010095 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4208-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4208-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4208-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.011552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4208-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4208-1_0_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.021679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4208-1_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.024097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4208-1_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.048028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_4208-1_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.78213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_4208-1_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.12163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4208-1_0_3_line_9 | NAYY 4x150 SE | 6 | 21 | 0.14053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4208-1_0_3_line_10 | NAYY 4x150 SE | 7 | 22 | 0.00577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_4208-1_0_3_line_11 | NAYY 4x150 SE | 7 | 23 | 0.015728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_4208-1_0_3_line_12 | NAYY 4x150 SE | 8 | 10 | 0.12613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4208-1_0_3_line_13 | NAYY 4x150 SE | 9 | 16 | 0.23267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4208-1_0_3_line_14 | NAYY 4x150 SE | 10 | 11 | 0.059393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4208-1_0_3_line_15 | NAYY 4x150 SE | 11 | 12 | 0.019543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4208-1_0_3_line_16 | NAYY 4x150 SE | 12 | 15 | 0.055115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4208-1_0_3_line_17 | NAYY 4x150 SE | 13 | 14 | 0.024003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4208-1_0_3_line_18 | NAYY 4x150 SE | 14 | 15 | 0.030707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4208-1_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.002005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4208-1_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.02754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4208-1_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.025652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4208-1_0_3_line_22 | NAYY 4x150 SE | 17 | 20 | 0.049618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4208-1_0_3_line_23 | NAYY 4x150 SE | 20 | 26 | 0.012291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4208-1_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.022687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4208-1_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.0016135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_4208-1_0_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.022971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4208-1_0_3_line_27 | NAYY 4x150 SE | 25 | 28 | 0.042384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_4208-1_0_3_line_28 | NAYY 4x150 SE | 28 | 29 | 0.017191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_4208-1_0_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.044224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_4208-1_0_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.028606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4208-1_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.048996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_4208-1_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.00011662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4208-1_0_3_line_33 | NAYY 4x150 SE | 32 | 36 | 0.028397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_4208-1_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.034907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4208-1_0_3_line_35 | NAYY 4x150 SE | 35 | 43 | 0.012891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4208-1_0_3_line_36 | NAYY 4x150 SE | 35 | 40 | 0.010708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4208-1_0_3_line_37 | NAYY 4x150 SE | 36 | 52 | 0.019517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_4208-1_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.028136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4208-1_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.021041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4208-1_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0043442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4208-1_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.022208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4208-1_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.013452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4208-1_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.021082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_4208-1_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.001763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_4208-1_0_3_line_45 | NAYY 4x150 SE | 45 | 71 | 0.018586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_4208-1_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.014685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_4208-1_0_3_line_47 | NAYY 4x150 SE | 46 | 48 | 0.016613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_4208-1_0_3_line_48 | NAYY 4x150 SE | 47 | 49 | 0.04712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4208-1_0_3_line_49 | NAYY 4x150 SE | 47 | 50 | 0.019673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_4208-1_0_3_line_50 | NAYY 4x150 SE | 48 | 51 | 0.029167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4208-1_0_3_line_51 | NAYY 4x150 SE | 48 | 52 | 0.0078355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_4208-1_0_3_line_52 | NAYY 4x150 SE | 49 | 53 | 0.025901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4208-1_0_3_line_53 | NAYY 4x150 SE | 49 | 54 | 0.017453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4208-1_0_3_line_54 | NAYY 4x150 SE | 50 | 55 | 0.027762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4208-1_0_3_line_55 | NAYY 4x150 SE | 50 | 56 | 0.011631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_4208-1_0_3_line_56 | NAYY 4x150 SE | 51 | 57 | 0.0099429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4208-1_0_3_line_57 | NAYY 4x150 SE | 53 | 58 | 0.014442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4208-1_0_3_line_58 | NAYY 4x150 SE | 53 | 59 | 0.011845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4208-1_0_3_line_59 | NAYY 4x150 SE | 55 | 60 | 0.010421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4208-1_0_3_line_60 | NAYY 4x150 SE | 56 | 61 | 0.03306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_4208-1_0_3_line_61 | NAYY 4x150 SE | 57 | 62 | 0.0092762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4208-1_0_3_line_62 | NAYY 4x150 SE | 58 | 65 | 0.047672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4208-1_0_3_line_63 | NAYY 4x150 SE | 60 | 70 | 0.0084547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4208-1_0_3_line_64 | NAYY 4x150 SE | 61 | 67 | 0.02257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_4208-1_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.015512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4208-1_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.015121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4208-1_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.043137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_4208-1_0_3_line_68 | NAYY 4x150 SE | 66 | 68 | 0.012703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_4208-1_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.036965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_4208-1_0_3_line_70 | NAYY 4x150 SE | 69 | 73 | 0.0064629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_4208-1_0_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.0037472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_4208-1_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.012649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4208-1_0_3_trafo_49 | 0.25 MVA 20/0.4 kV | 74 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2657139.6923 | 1241648.0584 | 2657138.8864 | 1241652.4535 | 2657136.747 | 1241656.3689 | 2657133.4892 | 1241659.4396 | 2657129.2899 | 1241659.7995 | 2657123.8659 | 1241658.5798 | 2657122.9464 | 1241658.3096
1 | 2657112.2325 | 1241642.6906 | 2657111.3135 | 1241647.0514 | 2657111.8076 | 1241651.4924 | 2657113.0712 | 1241653.7394 | 2657114.5212 | 1241655.4656 | 2657118.272 | 1241656.936 | 2657122.9464 | 1241658.3096
2 | 2657139.6923 | 1241648.0584 | 2657150.5223 | 1241652.0779
3 | 2657098.7128 | 1241636.6232 | 2657112.2325 | 1241642.6906
4 | 2657170.8344 | 1241659.6547 | 2657159.5726 | 1241655.4324 | 2657152.3632 | 1241652.7612 | 2657150.5223 | 1241652.0779
5 | 2657944.2362 | 1241543.1507 | 2657956.7068 | 1241522.5317
6 | 2657944.2362 | 1241543.1507 | 2657946.9022 | 1241544.2108 | 2657953.7933 | 1241546.9354 | 2657969.4807 | 1241554.7048 | 2657987.6208 | 1241563.688
7 | 2657944.2362 | 1241543.1507 | 2657170.8344 | 1241659.6547
8 | 2657944.2362 | 1241543.1507 | 2657952.7247 | 1241441.1319 | 2657946.5662 | 1241422.8864
9 | 2657956.7068 | 1241522.5317 | 2657967.1128 | 1241505.3264 | 2657983.5482 | 1241487.6195 | 2658014.6504 | 1241443.6716 | 2658035.9928 | 1241407.0057
10 | 2657984.0158 | 1241568.2002 | 2657987.6208 | 1241563.688
11 | 2657987.6208 | 1241563.688 | 2657995.6893 | 1241553.471 | 2657997.3782 | 1241551.353
12 | 2657132.0573 | 1241722.5792 | 2657134.0977 | 1241713.237 | 2657142.7049 | 1241714.4206 | 2657144.7633 | 1241700.8536 | 2657145.7971 | 1241695.56 | 2657120.6116 | 1241691.9152 | 2657143.2456 | 1241687.3188 | 2657153.0992 | 1241682.3214 | 2657161.6203 | 1241675.1653 | 2657170.8344 | 1241659.6547
13 | 2657946.5662 | 1241422.8864 | 2657888.144 | 1241197.6723
14 | 2657096.6985 | 1241692.7525 | 2657110.8925 | 1241695.5131 | 2657129.6607 | 1241698.2399 | 2657129.5054 | 1241703.3751 | 2657129.7983 | 1241706.7246 | 2657130.5931 | 1241708.9782 | 2657134.0977 | 1241713.237 | 2657132.0573 | 1241722.5792
15 | 2657096.6985 | 1241692.7525 | 2657085.9878 | 1241709.0994
16 | 2657043.8496 | 1241697.848 | 2657057.6896 | 1241708.3435 | 2657062.8213 | 1241712.44 | 2657073.4901 | 1241720.926 | 2657081.9591 | 1241715.2481 | 2657085.9878 | 1241709.0994
17 | 2657032.087 | 1241726.0761 | 2657040.332 | 1241732.682 | 2657045.688 | 1241737.0363 | 2657050.9485 | 1241740.9142
18 | 2657032.087 | 1241726.0761 | 2657040.7429 | 1241702.5213 | 2657043.8496 | 1241697.848
19 | 2657888.144 | 1241197.6723 | 2657889.5043 | 1241196.1957
20 | 2657888.144 | 1241197.6723 | 2657871.1898 | 1241197.974 | 2657861.2737 | 1241198.3776 | 2657860.622 | 1241198.4716
21 | 2657879.8011 | 1241172.4408 | 2657884.0929 | 1241182.8007 | 2657889.5043 | 1241196.1957
22 | 2657925.7972 | 1241163.5389 | 2657921.8142 | 1241165.7015 | 2657908.4504 | 1241174.6216 | 2657896.1604 | 1241185.0754 | 2657889.5043 | 1241196.1957
23 | 2657924.003 | 1241151.3799 | 2657925.7972 | 1241163.5389
24 | 2658035.9928 | 1241407.0057 | 2658046.4856 | 1241388.9793 | 2658047.4382 | 1241387.4178
25 | 2657997.3782 | 1241551.353 | 2657998.3841 | 1241550.0914
26 | 2658059.4008 | 1241367.8073 | 2658047.4382 | 1241387.4178
27 | 2658021.6189 | 1241514.8554 | 2658011.7706 | 1241533.3035 | 2657998.3841 | 1241550.0914
28 | 2658029.7149 | 1241499.6896 | 2658021.6189 | 1241514.8554
29 | 2658029.7149 | 1241499.6896 | 2658032.1635 | 1241522.2175 | 2658035.2016 | 1241531.6091 | 2658039.1394 | 1241539.4528 | 2658040.912 | 1241541.7688
30 | 2658029.7149 | 1241499.6896 | 2658041.7556 | 1241477.5814 | 2658043.7678 | 1241474.8013
31 | 2658040.912 | 1241541.7688 | 2658043.8722 | 1241545.6365 | 2658055.4882 | 1241558.4365 | 2658073.2989 | 1241578.5162
32 | 2658043.8362 | 1241474.7068 | 2658043.7678 | 1241474.8013
33 | 2658090.4753 | 1241601.1183 | 2658086.9939 | 1241596.092 | 2658079.8188 | 1241586.8601 | 2658073.5845 | 1241578.8382 | 2658073.2989 | 1241578.5162
34 | 2658088.177 | 1241491.4446 | 2658105.883 | 1241461.3613
35 | 2658088.177 | 1241491.4446 | 2658099.3652 | 1241497.8471
36 | 2658088.177 | 1241491.4446 | 2658083.0166 | 1241500.8273
37 | 2658090.4753 | 1241601.1183 | 2658097.1332 | 1241613.7475 | 2658099.6575 | 1241618.3393
38 | 2658067.3642 | 1241529.2869 | 2658080.9231 | 1241504.6338
39 | 2658067.3642 | 1241529.2869 | 2658064.754 | 1241534.0329 | 2658078.6751 | 1241541.1269
40 | 2658080.9231 | 1241504.6338 | 2658083.0166 | 1241500.8273
41 | 2658098.4619 | 1241551.21 | 2658078.6751 | 1241541.1269
42 | 2658110.4475 | 1241557.3177 | 2658098.4619 | 1241551.21
43 | 2658117.6628 | 1241508.3179 | 2658099.3652 | 1241497.8471
44 | 2658119.193 | 1241509.1935 | 2658117.6628 | 1241508.3179
45 | 2658119.193 | 1241509.1935 | 2658135.3248 | 1241518.425
46 | 2658127.3512 | 1241643.8856 | 2658123.0962 | 1241642.9656 | 2658118.9996 | 1241641.3244 | 2658114.366 | 1241637.642
47 | 2658103.4321 | 1241625.2057 | 2658112.1579 | 1241635.8871 | 2658114.366 | 1241637.642
48 | 2658127.3512 | 1241643.8856 | 2658127.6312 | 1241649.2587 | 2658127.0792 | 1241655.4463 | 2658125.1979 | 1241667.6694 | 2658121.3673 | 1241679.7734 | 2658117.6728 | 1241689.566
49 | 2658127.3512 | 1241643.8856 | 2658131.4093 | 1241643.2916 | 2658134.6161 | 1241641.6219 | 2658143.6073 | 1241633.6824
50 | 2658103.4321 | 1241625.2057 | 2658099.607 | 1241627.492 | 2658094.7013 | 1241628.1667 | 2658092.9878 | 1241627.8942 | 2658088.1795 | 1241627.1244 | 2658084.5403 | 1241625.8546 | 2658076.0332 | 1241622.0986
51 | 2658103.4321 | 1241625.2057 | 2658099.6575 | 1241618.3393
52 | 2658138.5527 | 1241704.3581 | 2658132.427 | 1241701.474 | 2658125.5443 | 1241694.0572 | 2658117.6728 | 1241689.566
53 | 2658117.6728 | 1241689.566 | 2658111.7494 | 1241705.9831
54 | 2658143.6073 | 1241633.6824 | 2658166.5499 | 1241649.3152
55 | 2658143.6073 | 1241633.6824 | 2658151.1925 | 1241624.865
56 | 2658076.0332 | 1241622.0986 | 2658066.9375 | 1241618.0826
57 | 2658138.5527 | 1241704.3581 | 2658143.1431 | 1241706.5267 | 2658151.9836 | 1241709.6177
58 | 2658138.5527 | 1241704.3581 | 2658134.5726 | 1241715.5144
59 | 2658166.5499 | 1241649.3152 | 2658175.162 | 1241655.1834
60 | 2658151.1925 | 1241624.865 | 2658158.7261 | 1241616.1075 | 2658171.6344 | 1241598.9041
61 | 2658058.5169 | 1241614.1921 | 2658065.2769 | 1241617.3494 | 2658066.9375 | 1241618.0826
62 | 2658151.9836 | 1241709.6177 | 2658157.4734 | 1241711.5371 | 2658199.0505 | 1241706.7117
63 | 2658182.1489 | 1241659.9442 | 2658175.162 | 1241655.1834
64 | 2658183.2468 | 1241579.5788 | 2658173.9395 | 1241595.8319 | 2658171.6344 | 1241598.9041
65 | 2658044.462 | 1241607.6275 | 2658058.5169 | 1241614.1921
66 | 2658044.462 | 1241607.6275 | 2658033.6683 | 1241602.5861 | 2658031.0056 | 1241600.7974
67 | 2658183.2468 | 1241579.5788 | 2658172.1992 | 1241576.702 | 2658160.0293 | 1241579.5625 | 2658140.8332 | 1241581.9316
68 | 2658140.8332 | 1241581.9316 | 2658141.878 | 1241569.2717
69 | 2658141.878 | 1241569.2717 | 2658142.2745 | 1241564.4674 | 2658144.5745 | 1241551.9482 | 2658147.4774 | 1241534.9986 | 2658148.0087 | 1241532.8438
70 | 2658149.5559 | 1241526.5688 | 2658148.0087 | 1241532.8438
71 | 2658135.3248 | 1241518.425 | 2658138.5771 | 1241520.2861
72 | 2658149.5559 | 1241526.5688 | 2658138.5771 | 1241520.2861

## bus_geodata
| x | y | coords
0 | 2657122.9464 | 1241658.3096
1 | 2657139.6923 | 1241648.0584
2 | 2657112.2325 | 1241642.6906
3 | 2657150.5223 | 1241652.0779
4 | 2657098.7128 | 1241636.6232
5 | 2657944.2362 | 1241543.1507
6 | 2657956.7068 | 1241522.5317
7 | 2657987.6208 | 1241563.688
8 | 2657170.8344 | 1241659.6547
9 | 2657946.5662 | 1241422.8864
10 | 2657132.0573 | 1241722.5792
11 | 2657096.6985 | 1241692.7525
12 | 2657085.9878 | 1241709.0994
13 | 2657050.9484 | 1241740.9142
14 | 2657032.087 | 1241726.0761
15 | 2657043.8496 | 1241697.848
16 | 2657888.144 | 1241197.6723
17 | 2657889.5043 | 1241196.1957
18 | 2657860.622 | 1241198.4716
19 | 2657879.8011 | 1241172.4408
20 | 2657925.7972 | 1241163.5389
21 | 2658035.9928 | 1241407.0057
22 | 2657984.0158 | 1241568.2002
23 | 2657997.3782 | 1241551.353
24 | 2658047.4382 | 1241387.4178
25 | 2657998.3841 | 1241550.0914
26 | 2657924.003 | 1241151.3799
27 | 2658059.4008 | 1241367.8072
28 | 2658021.6189 | 1241514.8554
29 | 2658029.7149 | 1241499.6896
30 | 2658040.912 | 1241541.7688
31 | 2658043.7678 | 1241474.8013
32 | 2658073.2989 | 1241578.5162
33 | 2658043.8362 | 1241474.7068
34 | 2658105.883 | 1241461.3613
35 | 2658088.177 | 1241491.4446
36 | 2658090.4753 | 1241601.1183
37 | 2658067.3642 | 1241529.2869
38 | 2658080.9231 | 1241504.6338
39 | 2658078.6751 | 1241541.1269
40 | 2658083.0166 | 1241500.8273
41 | 2658098.4619 | 1241551.21
42 | 2658110.4475 | 1241557.3177
43 | 2658099.3652 | 1241497.8471
44 | 2658117.6628 | 1241508.3179
45 | 2658119.193 | 1241509.1935
46 | 2658114.366 | 1241637.642
47 | 2658127.3512 | 1241643.8856
48 | 2658103.4321 | 1241625.2057
49 | 2658117.6728 | 1241689.566
50 | 2658143.6073 | 1241633.6824
51 | 2658076.0332 | 1241622.0986
52 | 2658099.6575 | 1241618.3393
53 | 2658138.5527 | 1241704.3581
54 | 2658111.7494 | 1241705.9831
55 | 2658166.5499 | 1241649.3152
56 | 2658151.1925 | 1241624.865
57 | 2658066.9375 | 1241618.0826
58 | 2658151.9836 | 1241709.6177
59 | 2658134.5726 | 1241715.5144
60 | 2658175.162 | 1241655.1834
61 | 2658171.6344 | 1241598.9041
62 | 2658058.5169 | 1241614.1921
63 | 2658044.462 | 1241607.6275
64 | 2658031.0056 | 1241600.7974
65 | 2658199.0505 | 1241706.7117
66 | 2658140.8332 | 1241581.9316
67 | 2658183.2468 | 1241579.5788
68 | 2658141.878 | 1241569.2717
69 | 2658148.0087 | 1241532.8438
70 | 2658182.1489 | 1241659.9442
71 | 2658135.3248 | 1241518.425
72 | 2658138.5771 | 1241520.2861
73 | 2658149.5559 | 1241526.5688
74 | 2657987.6208 | 1241563.688

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1