## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4208-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4208-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4208-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4208-5_0_4_node_99 | 0.4 | n |  | TRUE
4 | bus_LV_4208-5_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4208-5_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4208-5_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_4208-5_0_4_node_98 | 0.4 | n |  | TRUE
8 | bus_LV_4208-5_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_4208-5_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4208-5_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_4208-5_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4208-5_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4208-5_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4208-5_0_4_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_4208-5_0_4_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_4208-5_0_4_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_4208-5_0_4_node_100 | 0.4 | n |  | TRUE
18 | bus_LV_4208-5_0_4_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_4208-5_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4208-5_0_4_node_101 | 0.4 | n |  | TRUE
21 | bus_LV_4208-5_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4208-5_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4208-5_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_4208-5_0_4_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_4208-5_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_4208-5_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4208-5_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_4208-5_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_4208-5_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_4208-5_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_4208-5_0_4_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_4208-5_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_4208-5_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_4208-5_0_4_node_89 | 0.4 | n |  | TRUE
35 | bus_LV_4208-5_0_4_node_90 | 0.4 | n |  | TRUE
36 | bus_LV_4208-5_0_4_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_4208-5_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_4208-5_0_4_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_4208-5_0_4_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_4208-5_0_4_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_4208-5_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_4208-5_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_4208-5_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_4208-5_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_4208-5_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_4208-5_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_4208-5_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_4208-5_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_4208-5_0_4_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_4208-5_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_4208-5_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_4208-5_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_4208-5_0_4_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_4208-5_0_4_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_4208-5_0_4_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_4208-5_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_4208-5_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_4208-5_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_4208-5_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_4208-5_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_4208-5_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_4208-5_0_4_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_4208-5_0_4_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_4208-5_0_4_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_4208-5_0_4_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_4208-5_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_4208-5_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_4208-5_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_4208-5_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_4208-5_0_4_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_4208-5_0_4_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_4208-5_0_4_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_4208-5_0_4_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_4208-5_0_4_node_91 | 0.4 | n |  | TRUE
75 | bus_LV_4208-5_0_4_node_92 | 0.4 | n |  | TRUE
76 | bus_LV_4208-5_0_4_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_4208-5_0_4_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_4208-5_0_4_node_46 | 0.4 | n |  | TRUE
79 | bus_LV_4208-5_0_4_node_47 | 0.4 | n |  | TRUE
80 | bus_LV_4208-5_0_4_node_48 | 0.4 | n |  | TRUE
81 | bus_LV_4208-5_0_4_node_49 | 0.4 | n |  | TRUE
82 | bus_LV_4208-5_0_4_node_50 | 0.4 | n |  | TRUE
83 | bus_LV_4208-5_0_4_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_4208-5_0_4_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_4208-5_0_4_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_4208-5_0_4_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_4208-5_0_4_node_63 | 0.4 | n |  | TRUE
88 | bus_LV_4208-5_0_4_node_60 | 0.4 | n |  | TRUE
89 | bus_LV_4208-5_0_4_node_61 | 0.4 | n |  | TRUE
90 | bus_LV_4208-5_0_4_node_59 | 0.4 | n |  | TRUE
91 | bus_LV_4208-5_0_4_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_4208-5_0_4_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_4208-5_0_4_node_76 | 0.4 | n |  | TRUE
94 | bus_LV_4208-5_0_4_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_4208-5_0_4_node_79 | 0.4 | n |  | TRUE
96 | bus_LV_4208-5_0_4_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_4208-5_0_4_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_4208-5_0_4_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_4208-5_0_4_node_97 | 0.4 | n |  | TRUE
100 | bus_MV_470_0_node_273 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4208-5_0_4_load_0 | 0 | 0.00043132 | 0.0001081 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4208-5_0_4_load_1 | 1 | 0.0021767 | 0.00054554 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4208-5_0_4_load_99 | 3 | 0.00037694 | 9.447e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4208-5_0_4_load_3 | 4 | 0.0020362 | 0.00051032 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4208-5_0_4_load_9 | 6 | 0.0020689 | 0.00051852 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4208-5_0_4_load_98 | 7 | 0.00058024 | 0.00014542 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4208-5_0_4_load_18 | 8 | 0.0023363 | 0.00058553 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4208-5_0_4_load_17 | 10 | 0.00075898 | 0.00019022 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4208-5_0_4_load_5 | 11 | 0.0020032 | 0.00050204 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4208-5_0_4_load_8 | 13 | 0.00075715 | 0.00018976 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4208-5_0_4_load_39 | 14 | 0.0036813 | 0.00092262 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4208-5_0_4_load_37 | 15 | 0.0049235 | 0.001234 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4208-5_0_4_load_100 | 17 | 0.00081132 | 0.00020334 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4208-5_0_4_load_45 | 18 | 0.0027306 | 0.00068435 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4208-5_0_4_load_10 | 19 | 0.0051373 | 0.0012875 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4208-5_0_4_load_101 | 20 | 0.0018236 | 0.00045704 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4208-5_0_4_load_11 | 22 | 0.0011409 | 0.00028594 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4208-5_0_4_load_33 | 23 | 0.0020512 | 0.00051408 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4208-5_0_4_load_21 | 25 | 0.0020811 | 0.00052158 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4208-5_0_4_load_20 | 26 | 0.0033141 | 0.0008306 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4208-5_0_4_load_13 | 27 | 0.00087382 | 0.000219 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4208-5_0_4_load_14 | 28 | 0.0052286 | 0.0013104 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4208-5_0_4_load_86 | 31 | 0.0010898 | 0.00027312 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4208-5_0_4_load_89 | 34 | 0.0027653 | 0.00069304 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4208-5_0_4_load_90 | 35 | 0.0025047 | 0.00062773 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4208-5_0_4_load_87 | 36 | 0.0039537 | 0.0009909 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4208-5_0_4_load_35 | 37 | 0.0021399 | 0.0005363 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4208-5_0_4_load_74 | 38 | 0.0038709 | 0.00097015 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4208-5_0_4_load_34 | 41 | 0.00203 | 0.00050878 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4208-5_0_4_load_24 | 42 | 0.0027498 | 0.00068917 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4208-5_0_4_load_25 | 43 | 0.0020817 | 0.00052172 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4208-5_0_4_load_28 | 45 | 0.001161 | 0.00029096 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4208-5_0_4_load_29 | 46 | 0.0020132 | 0.00050455 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4208-5_0_4_load_30 | 47 | 0.0024259 | 0.000608 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4208-5_0_4_load_31 | 48 | 0.001731 | 0.00043383 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4208-5_0_4_load_85 | 49 | 0.0020162 | 0.0005053 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4208-5_0_4_load_32 | 50 | 0.0037538 | 0.00094078 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4208-5_0_4_load_51 | 51 | 0.0027101 | 0.00067922 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4208-5_0_4_load_52 | 52 | 0.0030255 | 0.00075826 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4208-5_0_4_load_73 | 53 | 0.0027374 | 0.00068607 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4208-5_0_4_load_84 | 54 | 0.0034021 | 0.00085265 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4208-5_0_4_load_38 | 56 | 0.0020724 | 0.00051938 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4208-5_0_4_load_40 | 57 | 0.0014524 | 0.000364 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4208-5_0_4_load_41 | 58 | 0.0020821 | 0.00052183 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4208-5_0_4_load_42 | 59 | 0.00091414 | 0.0002291 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4208-5_0_4_load_43 | 60 | 0.0019493 | 0.00048853 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4208-5_0_4_load_44 | 61 | 0.0012615 | 0.00031617 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4208-5_0_4_load_64 | 62 | 0.0058835 | 0.0014746 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4208-5_0_4_load_65 | 63 | 0.0024742 | 0.0006201 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4208-5_0_4_load_66 | 64 | 0.0021836 | 0.00054726 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4208-5_0_4_load_67 | 65 | 0.0010975 | 0.00027505 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4208-5_0_4_load_57 | 66 | 0.0010565 | 0.00026479 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4208-5_0_4_load_54 | 67 | 0.0038171 | 0.00095665 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4208-5_0_4_load_55 | 68 | 0.0038185 | 0.00095701 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4208-5_0_4_load_82 | 71 | 0.0031746 | 0.00079564 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4208-5_0_4_load_78 | 73 | 0.0048002 | 0.001203 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4208-5_0_4_load_92 | 75 | 0.0025191 | 0.00063135 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4208-5_0_4_load_58 | 76 | 0.002186 | 0.00054787 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4208-5_0_4_load_56 | 77 | 0.0018105 | 0.00045375 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4208-5_0_4_load_46 | 78 | 0.004303 | 0.0010784 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4208-5_0_4_load_47 | 79 | 0.0030202 | 0.00075693 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4208-5_0_4_load_48 | 80 | 0.0032472 | 0.00081382 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4208-5_0_4_load_49 | 81 | 0.0036986 | 0.00092695 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4208-5_0_4_load_50 | 82 | 0.0026827 | 0.00067234 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4208-5_0_4_load_69 | 83 | 0.0031901 | 0.00079951 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4208-5_0_4_load_70 | 84 | 0.0038177 | 0.0009568 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4208-5_0_4_load_62 | 85 | 0.001638 | 0.00041053 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4208-5_0_4_load_72 | 86 | 0.0013197 | 0.00033075 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4208-5_0_4_load_63 | 87 | 0.0018873 | 0.00047301 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4208-5_0_4_load_60 | 88 | 0.0015529 | 0.0003892 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4208-5_0_4_load_61 | 89 | 0.00095758 | 0.00023999 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4208-5_0_4_load_59 | 90 | 0.0021323 | 0.00053442 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4208-5_0_4_load_75 | 91 | 0.0056894 | 0.0014259 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4208-5_0_4_load_83 | 92 | 0.0016384 | 0.00041061 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4208-5_0_4_load_76 | 93 | 0.0022203 | 0.00055646 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4208-5_0_4_load_77 | 94 | 0.0025244 | 0.00063267 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4208-5_0_4_load_79 | 95 | 0.0015191 | 0.00038072 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4208-5_0_4_load_94 | 96 | 0.0030912 | 0.00077473 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4208-5_0_4_load_95 | 97 | 0.0014366 | 0.00036004 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4208-5_0_4_load_96 | 98 | 0.0010059 | 0.00025209 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4208-5_0_4_load_97 | 99 | 0.0014091 | 0.00035316 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 83 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4208-5_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.071403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4208-5_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4208-5_0_4_line_2 | NAYY 4x150 SE | 0 | 3 | 0.10987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4208-5_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.047293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4208-5_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.044145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4208-5_0_4_line_5 | NAYY 4x150 SE | 2 | 6 | 0.085937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4208-5_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.11699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4208-5_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.027068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4208-5_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.036778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4208-5_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.089251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4208-5_0_4_line_10 | NAYY 4x150 SE | 9 | 14 | 0.065453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4208-5_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.024433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4208-5_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.074678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4208-5_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.042666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4208-5_0_4_line_14 | NAYY 4x150 SE | 14 | 15 | 0.056598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4208-5_0_4_line_15 | NAYY 4x150 SE | 15 | 56 | 0.0027797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4208-5_0_4_line_16 | NAYY 4x150 SE | 16 | 17 | 0.12599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_4208-5_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.033532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_4208-5_0_4_line_18 | NAYY 4x150 SE | 17 | 88 | 0.10121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_4208-5_0_4_line_19 | NAYY 4x150 SE | 18 | 57 | 0.0017189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4208-5_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.089164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4208-5_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.064916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4208-5_0_4_line_22 | NAYY 4x150 SE | 21 | 23 | 0.047142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4208-5_0_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.021844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4208-5_0_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.040726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4208-5_0_4_line_25 | NAYY 4x150 SE | 24 | 43 | 0.049926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4208-5_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.030114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4208-5_0_4_line_27 | NAYY 4x150 SE | 26 | 32 | 0.050115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4208-5_0_4_line_28 | NAYY 4x150 SE | 27 | 28 | 0.032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4208-5_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.20377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4208-5_0_4_line_30 | NAYY 4x150 SE | 29 | 30 | 0.035107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4208-5_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.020291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4208-5_0_4_line_32 | NAYY 4x150 SE | 31 | 36 | 0.00032744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4208-5_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.027827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4208-5_0_4_line_34 | NAYY 4x150 SE | 33 | 37 | 0.0072372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4208-5_0_4_line_35 | NAYY 4x150 SE | 34 | 35 | 0.024908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4208-5_0_4_line_36 | NAYY 4x150 SE | 35 | 74 | 0.038806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4208-5_0_4_line_37 | NAYY 4x150 SE | 36 | 39 | 0.018554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4208-5_0_4_line_38 | NAYY 4x150 SE | 37 | 41 | 0.014505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4208-5_0_4_line_39 | NAYY 4x150 SE | 38 | 39 | 0.033872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4208-5_0_4_line_40 | NAYY 4x150 SE | 39 | 40 | 0.035637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4208-5_0_4_line_41 | NAYY 4x150 SE | 40 | 96 | 0.012574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4208-5_0_4_line_42 | NAYY 4x150 SE | 40 | 95 | 0.0242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4208-5_0_4_line_43 | NAYY 4x150 SE | 41 | 49 | 0.031607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_4208-5_0_4_line_44 | NAYY 4x150 SE | 41 | 46 | 0.033948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_4208-5_0_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.045819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4208-5_0_4_line_46 | NAYY 4x150 SE | 42 | 44 | 0.041719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4208-5_0_4_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0027155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_4208-5_0_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.016459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_4208-5_0_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.015139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_4208-5_0_4_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0072277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_4208-5_0_4_line_51 | NAYY 4x150 SE | 48 | 50 | 0.027911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_4208-5_0_4_line_52 | NAYY 4x150 SE | 49 | 54 | 0.015536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_4208-5_0_4_line_53 | NAYY 4x150 SE | 50 | 51 | 0.0024919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_4208-5_0_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.021308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_4208-5_0_4_line_55 | NAYY 4x150 SE | 52 | 81 | 0.0062372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_4208-5_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.013873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_4208-5_0_4_line_57 | NAYY 4x150 SE | 53 | 55 | 0.02638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_4208-5_0_4_line_58 | NAYY 4x150 SE | 55 | 83 | 0.016121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_4208-5_0_4_line_59 | NAYY 4x150 SE | 56 | 57 | 0.017512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4208-5_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.0078239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4208-5_0_4_line_61 | NAYY 4x150 SE | 58 | 60 | 0.02309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4208-5_0_4_line_62 | NAYY 4x150 SE | 59 | 61 | 0.017375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4208-5_0_4_line_63 | NAYY 4x150 SE | 61 | 66 | 0.020862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4208-5_0_4_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0010782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4208-5_0_4_line_65 | NAYY 4x150 SE | 62 | 64 | 0.023535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4208-5_0_4_line_66 | NAYY 4x150 SE | 63 | 65 | 0.02652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4208-5_0_4_line_67 | NAYY 4x150 SE | 64 | 69 | 0.068076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4208-5_0_4_line_68 | NAYY 4x150 SE | 65 | 91 | 0.0092473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4208-5_0_4_line_69 | NAYY 4x150 SE | 66 | 76 | 0.030092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_4208-5_0_4_line_70 | NAYY 4x150 SE | 66 | 77 | 0.082097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_4208-5_0_4_line_71 | NAYY 4x150 SE | 67 | 68 | 0.024945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4208-5_0_4_line_72 | NAYY 4x150 SE | 68 | 77 | 0.043707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4208-5_0_4_line_73 | NAYY 4x150 SE | 69 | 70 | 0.008449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4208-5_0_4_line_74 | NAYY 4x150 SE | 69 | 71 | 0.02079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4208-5_0_4_line_75 | NAYY 4x150 SE | 70 | 75 | 0.014198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4208-5_0_4_line_76 | NAYY 4x150 SE | 71 | 72 | 0.017498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4208-5_0_4_line_77 | NAYY 4x150 SE | 72 | 73 | 0.022331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4208-5_0_4_line_78 | NAYY 4x150 SE | 73 | 95 | 0.029708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4208-5_0_4_line_79 | NAYY 4x150 SE | 74 | 75 | 0.021778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4208-5_0_4_line_80 | NAYY 4x150 SE | 76 | 90 | 0.00081138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_4208-5_0_4_line_81 | NAYY 4x150 SE | 77 | 89 | 0.017569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_4208-5_0_4_line_82 | NAYY 4x150 SE | 78 | 79 | 0.02597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_4208-5_0_4_line_83 | NAYY 4x150 SE | 78 | 80 | 0.0027407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_4208-5_0_4_line_84 | NAYY 4x150 SE | 79 | 81 | 0.0077017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_4208-5_0_4_line_85 | NAYY 4x150 SE | 80 | 82 | 0.03199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_4208-5_0_4_line_86 | NAYY 4x150 SE | 82 | 85 | 0.0019135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_4208-5_0_4_line_87 | NAYY 4x150 SE | 83 | 84 | 0.022336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4208-5_0_4_line_88 | NAYY 4x150 SE | 84 | 86 | 0.029503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4208-5_0_4_line_89 | NAYY 4x150 SE | 85 | 87 | 0.026821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_4208-5_0_4_line_90 | NAYY 4x150 SE | 86 | 94 | 0.027028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4208-5_0_4_line_91 | NAYY 4x150 SE | 87 | 92 | 0.0034131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
92 | LV_4208-5_0_4_line_92 | NAYY 4x150 SE | 88 | 89 | 0.024333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
93 | LV_4208-5_0_4_line_93 | NAYY 4x150 SE | 90 | 92 | 0.023811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_4208-5_0_4_line_94 | NAYY 4x150 SE | 91 | 93 | 0.01197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4208-5_0_4_line_95 | NAYY 4x150 SE | 93 | 94 | 0.023567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4208-5_0_4_line_96 | NAYY 4x150 SE | 96 | 97 | 0.0031665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4208-5_0_4_line_97 | NAYY 4x150 SE | 97 | 98 | 0.013581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4208-5_0_4_line_98 | NAYY 4x150 SE | 98 | 99 | 0.017425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4208-5_0_4_trafo_69 | 0.25 MVA 20/0.4 kV | 100 | 83 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2658645.4581 | 1240690.7664 | 2658687.6362 | 1240633.1515
1 | 2658630.9792 | 1240710.5446 | 2658645.4581 | 1240690.7664
2 | 2658645.4581 | 1240690.7664 | 2658561.5624 | 1240619.8293
3 | 2658715.5719 | 1240594.9915 | 2658687.6362 | 1240633.1515
4 | 2658630.9792 | 1240710.5446 | 2658653.5455 | 1240721.7082 | 2658668.0902 | 1240728.1784 | 2658671.2244 | 1240727.798
5 | 2658630.9792 | 1240710.5446 | 2658573.6283 | 1240774.5445
6 | 2658715.5719 | 1240594.9915 | 2658637.4612 | 1240507.904
7 | 2658671.2244 | 1240727.798 | 2658680.1728 | 1240726.6968 | 2658695.6439 | 1240717.3948
8 | 2658548.795 | 1240801.6726 | 2658573.6283 | 1240774.5445
9 | 2658695.6439 | 1240717.3948 | 2658773.9511 | 1240674.573
10 | 2658545.7914 | 1240867.0568 | 2658548.795 | 1240801.6726
11 | 2658548.795 | 1240801.6726 | 2658529.4982 | 1240786.686
12 | 2658470.9509 | 1240740.3313 | 2658510.3979 | 1240771.852 | 2658529.4982 | 1240786.686
13 | 2658470.9509 | 1240740.3313 | 2658448.5486 | 1240769.308 | 2658444.3467 | 1240773.6455
14 | 2658504.187 | 1240903.2149 | 2658515.8304 | 1240888.0722 | 2658521.6232 | 1240885.6721 | 2658528.7423 | 1240883.7299 | 2658545.7914 | 1240867.0568
15 | 2658504.187 | 1240903.2149 | 2658502.4927 | 1240905.4185
16 | 2658461.0502 | 1240902.598 | 2658335.0885 | 1240905.3383
17 | 2658461.0502 | 1240902.598 | 2658485.3399 | 1240917.6138 | 2658490.1549 | 1240918.8678
18 | 2658400.4989 | 1240982.5726 | 2658335.0885 | 1240905.3383
19 | 2658491.8183 | 1240919.301 | 2658490.1549 | 1240918.8678
20 | 2658823.9111 | 1240804.1372 | 2658884.3094 | 1240869.729
21 | 2658780.2677 | 1240852.1929 | 2658823.9111 | 1240804.1372
22 | 2658780.2677 | 1240852.1929 | 2658772.1635 | 1240838.3034 | 2658765.5906 | 1240827.0641 | 2658749.12 | 1240834.4259
23 | 2658780.2677 | 1240852.1929 | 2658783.3813 | 1240862.2749 | 2658783.9123 | 1240873.5544
24 | 2658728.1284 | 1240819.7998 | 2658737.4795 | 1240834.5355 | 2658733.954 | 1240836.2573 | 2658735.5833 | 1240840.4763 | 2658749.12 | 1240834.4259
25 | 2658728.1284 | 1240819.7998 | 2658690.919 | 1240847.3615 | 2658687.8545 | 1240849.2898
26 | 2658716.569 | 1240902.6794 | 2658708.5104 | 1240907.3422 | 2658693.3869 | 1240921.627
27 | 2658684.0735 | 1240958.5016 | 2658674.0233 | 1240950.2413 | 2658672.5264 | 1240945.6345 | 2658675.9734 | 1240938.0746 | 2658693.3869 | 1240921.627
28 | 2658786.5706 | 1241267.8946 | 2658787.0291 | 1241267.2602 | 2658802.3402 | 1241249.6444 | 2658802.9322 | 1241241.7895
29 | 2658676.9508 | 1241081.636 | 2658802.9322 | 1241241.7895
30 | 2658676.9508 | 1241081.636 | 2658665.7147 | 1241090.1084 | 2658649.3424 | 1241103.4112
31 | 2658649.3424 | 1241103.4112 | 2658634.2807 | 1241089.8144
32 | 2658634.2807 | 1241089.8144 | 2658634.0377 | 1241089.595
33 | 2658684.0735 | 1240958.5016 | 2658680.8046 | 1240960.2817 | 2658664.2489 | 1240947.7319 | 2658662.5082 | 1240944.835
34 | 2658662.5082 | 1240944.835 | 2658658.0351 | 1240945.2911 | 2658656.2053 | 1240943.2505
35 | 2658581.2845 | 1241181.6333 | 2658592.9508 | 1241165.6741 | 2658596.2373 | 1241161.7232
36 | 2658560.7739 | 1241214.5116 | 2658573.4145 | 1241192.3992 | 2658581.2845 | 1241181.6333
37 | 2658620.2653 | 1241077.1621 | 2658634.0377 | 1241089.595
38 | 2658646.5214 | 1240932.4513 | 2658656.2053 | 1240943.2505
39 | 2658620.2653 | 1241077.1621 | 2658640.8886 | 1241055.2732 | 2658643.1417 | 1241052.2157
40 | 2658594.0561 | 1241099.6741 | 2658598.2143 | 1241099.704 | 2658620.2653 | 1241077.1621
41 | 2658594.0561 | 1241099.6741 | 2658591.8257 | 1241099.6632 | 2658583.9888 | 1241092.9126
42 | 2658594.0561 | 1241099.6741 | 2658591.1494 | 1241107.6619 | 2658581.0623 | 1241119.6926
43 | 2658646.5214 | 1240932.4513 | 2658623.8364 | 1240954.4596
44 | 2658623.8571 | 1240907.1763 | 2658646.5214 | 1240932.4513
45 | 2658687.8545 | 1240849.2898 | 2658651.3241 | 1240872.2759 | 2658649.0323 | 1240873.6235
46 | 2658613.0691 | 1240894.7689 | 2658649.0323 | 1240873.6235
47 | 2658613.0691 | 1240894.7689 | 2658610.728 | 1240896.1449
48 | 2658613.0691 | 1240894.7689 | 2658613.9554 | 1240896.1341 | 2658623.8571 | 1240907.1763
49 | 2658597.6765 | 1240903.8162 | 2658610.728 | 1240896.1449
50 | 2658597.6765 | 1240903.8162 | 2658591.4455 | 1240907.4787
51 | 2658569.955 | 1240924.8305 | 2658579.7123 | 1240914.3751 | 2658591.4455 | 1240907.4787
52 | 2658623.8364 | 1240954.4596 | 2658613.4768 | 1240966.0369
53 | 2658569.955 | 1240924.8305 | 2658568.2548 | 1240926.6523
54 | 2658553.7167 | 1240942.2306 | 2658568.2548 | 1240926.6523
55 | 2658553.7167 | 1240942.2306 | 2658549.4612 | 1240946.7906
56 | 2658613.4768 | 1240966.0369 | 2658607.3374 | 1240972.898 | 2658604.5211 | 1240976.6186
57 | 2658591.7246 | 1240998.8613 | 2658592.2759 | 1240992.796 | 2658604.5211 | 1240976.6186
58 | 2658591.7246 | 1240998.8613 | 2658587.1953 | 1241003.4753 | 2658582.5809 | 1241008.2885 | 2658581.0012 | 1241010.8241
59 | 2658502.4927 | 1240905.4185 | 2658491.8183 | 1240919.301 | 2658491.8183 | 1240919.301
60 | 2658425.2197 | 1241102.0378 | 2658427.2924 | 1241094.4933
61 | 2658425.2197 | 1241102.0378 | 2658420.5231 | 1241119.133 | 2658418.2532 | 1241123.9897
62 | 2658432.1781 | 1241077.8665 | 2658431.6272 | 1241078.7152 | 2658427.2924 | 1241094.4933
63 | 2658445.1507 | 1241061.6692 | 2658438.0532 | 1241068.8163 | 2658432.1781 | 1241077.8665
64 | 2658485.1904 | 1241127.5025 | 2658485.8884 | 1241126.6808
65 | 2658485.1904 | 1241127.5025 | 2658475.3317 | 1241139.1081 | 2658472.6307 | 1241146.9645 | 2658472.6307 | 1241146.9645
66 | 2658503.0579 | 1241106.469 | 2658485.8884 | 1241126.6808
67 | 2658523.9335 | 1241189.654 | 2658494.5314 | 1241168.7503 | 2658479.7368 | 1241158.5867 | 2658474.1913 | 1241152.7838 | 2658472.6307 | 1241146.9645
68 | 2658509.0448 | 1241099.4213 | 2658503.0579 | 1241106.469
69 | 2658445.1507 | 1241061.6692 | 2658466.3551 | 1241040.3166
70 | 2658445.1507 | 1241061.6692 | 2658376.3768 | 1241016.8355
71 | 2658336.8391 | 1241072.9603 | 2658351.2118 | 1241052.5714
72 | 2658351.2118 | 1241052.5714 | 2658353.7088 | 1241049.0292 | 2658367.588 | 1241029.3191 | 2658376.3768 | 1241016.8355
73 | 2658523.9335 | 1241189.654 | 2658530.9485 | 1241194.393
74 | 2658523.9335 | 1241189.654 | 2658536.9148 | 1241173.4153
75 | 2658530.9485 | 1241194.393 | 2658542.7192 | 1241202.3329
76 | 2658547.8409 | 1241159.7474 | 2658536.9148 | 1241173.4153
77 | 2658547.8409 | 1241159.7474 | 2658562.0602 | 1241142.5281
78 | 2658562.0602 | 1241142.5281 | 2658571.4559 | 1241131.15 | 2658581.0623 | 1241119.6926
79 | 2658560.7739 | 1241214.5116 | 2658542.7192 | 1241202.3329
80 | 2658466.9268 | 1241039.7409 | 2658466.3551 | 1241040.3166
81 | 2658386.4909 | 1241002.4694 | 2658376.3768 | 1241016.8355
82 | 2658526.9934 | 1240971.8584 | 2658536.8487 | 1240960.3055 | 2658544.2065 | 1240952.4212
83 | 2658526.9934 | 1240971.8584 | 2658525.2147 | 1240973.9435
84 | 2658544.2065 | 1240952.4212 | 2658549.4612 | 1240946.7906
85 | 2658504.4534 | 1240998.2809 | 2658525.2147 | 1240973.9435
86 | 2658504.4534 | 1240998.2809 | 2658503.2115 | 1240999.7367
87 | 2658581.0012 | 1241010.8241 | 2658569.1899 | 1241029.782 | 2658569.1899 | 1241029.782
88 | 2658569.1899 | 1241029.782 | 2658565.4911 | 1241033.0032 | 2658549.5611 | 1241051.7466
89 | 2658503.2115 | 1240999.7367 | 2658485.8044 | 1241020.1422
90 | 2658549.5611 | 1241051.7466 | 2658532.0574 | 1241072.3415
91 | 2658483.5893 | 1241022.7389 | 2658485.8044 | 1241020.1422
92 | 2658400.4989 | 1240982.5726 | 2658386.4909 | 1241002.4694
93 | 2658483.5893 | 1241022.7389 | 2658482.2393 | 1241024.3214 | 2658466.9268 | 1241039.7409
94 | 2658509.0448 | 1241099.4213 | 2658514.1843 | 1241093.3712 | 2658516.7953 | 1241090.299
95 | 2658516.7953 | 1241090.299 | 2658532.0574 | 1241072.3415
96 | 2658583.9888 | 1241092.9126 | 2658581.5896 | 1241090.846
97 | 2658581.5896 | 1241090.846 | 2658581.2622 | 1241090.564 | 2658570.5557 | 1241082.931
98 | 2658557.1142 | 1241093.4722 | 2658564.0239 | 1241085.9019 | 2658570.5557 | 1241082.931

## bus_geodata
| x | y | coords
0 | 2658645.4581 | 1240690.7664
1 | 2658687.6362 | 1240633.1515
2 | 2658630.9792 | 1240710.5446
3 | 2658561.5624 | 1240619.8293
4 | 2658715.5719 | 1240594.9915
5 | 2658671.2244 | 1240727.798
6 | 2658573.6283 | 1240774.5445
7 | 2658637.4612 | 1240507.904
8 | 2658695.6439 | 1240717.3948
9 | 2658548.795 | 1240801.6726
10 | 2658773.9511 | 1240674.573
11 | 2658529.4982 | 1240786.686
12 | 2658470.9509 | 1240740.3313
13 | 2658444.3467 | 1240773.6455
14 | 2658545.7914 | 1240867.0568
15 | 2658504.187 | 1240903.2149
16 | 2658461.0502 | 1240902.598
17 | 2658335.0885 | 1240905.3383
18 | 2658490.1549 | 1240918.8678
19 | 2658884.3094 | 1240869.729
20 | 2658823.9111 | 1240804.1372
21 | 2658780.2677 | 1240852.1929
22 | 2658783.9123 | 1240873.5544
23 | 2658749.12 | 1240834.4259
24 | 2658728.1284 | 1240819.7998
25 | 2658716.569 | 1240902.6794
26 | 2658693.3869 | 1240921.627
27 | 2658786.5706 | 1241267.8946
28 | 2658802.9322 | 1241241.7895
29 | 2658676.9508 | 1241081.636
30 | 2658649.3424 | 1241103.4112
31 | 2658634.2807 | 1241089.8144
32 | 2658684.0735 | 1240958.5017
33 | 2658662.5082 | 1240944.835
34 | 2658596.2373 | 1241161.7232
35 | 2658581.2845 | 1241181.6333
36 | 2658634.0377 | 1241089.595
37 | 2658656.2053 | 1240943.2505
38 | 2658643.1417 | 1241052.2157
39 | 2658620.2653 | 1241077.1621
40 | 2658594.0561 | 1241099.6741
41 | 2658646.5214 | 1240932.4513
42 | 2658649.0323 | 1240873.6235
43 | 2658687.8545 | 1240849.2898
44 | 2658613.0691 | 1240894.7689
45 | 2658610.728 | 1240896.1449
46 | 2658623.8571 | 1240907.1763
47 | 2658597.6765 | 1240903.8162
48 | 2658591.4455 | 1240907.4787
49 | 2658623.8364 | 1240954.4596
50 | 2658569.955 | 1240924.8305
51 | 2658568.2548 | 1240926.6523
52 | 2658553.7167 | 1240942.2306
53 | 2658604.5211 | 1240976.6186
54 | 2658613.4768 | 1240966.0369
55 | 2658591.7246 | 1240998.8613
56 | 2658502.4927 | 1240905.4185
57 | 2658491.8183 | 1240919.301
58 | 2658425.2197 | 1241102.0378
59 | 2658427.2924 | 1241094.4933
60 | 2658418.2532 | 1241123.9897
61 | 2658432.1781 | 1241077.8665
62 | 2658485.1904 | 1241127.5025
63 | 2658485.8884 | 1241126.6808
64 | 2658472.6307 | 1241146.9645
65 | 2658503.0579 | 1241106.469
66 | 2658445.1507 | 1241061.6692
67 | 2658336.8391 | 1241072.9603
68 | 2658351.2118 | 1241052.5714
69 | 2658523.9335 | 1241189.654
70 | 2658530.9485 | 1241194.393
71 | 2658536.9148 | 1241173.4153
72 | 2658547.8409 | 1241159.7474
73 | 2658562.0602 | 1241142.5281
74 | 2658560.7739 | 1241214.5116
75 | 2658542.7192 | 1241202.3329
76 | 2658466.3551 | 1241040.3166
77 | 2658376.3768 | 1241016.8355
78 | 2658526.9934 | 1240971.8584
79 | 2658544.2066 | 1240952.4212
80 | 2658525.2147 | 1240973.9435
81 | 2658549.4612 | 1240946.7906
82 | 2658504.4534 | 1240998.2809
83 | 2658581.0012 | 1241010.8241
84 | 2658569.1899 | 1241029.782
85 | 2658503.2115 | 1240999.7367
86 | 2658549.5611 | 1241051.7466
87 | 2658485.8044 | 1241020.1422
88 | 2658400.4989 | 1240982.5726
89 | 2658386.4909 | 1241002.4694
90 | 2658466.9268 | 1241039.7409
91 | 2658509.0448 | 1241099.4213
92 | 2658483.5893 | 1241022.7389
93 | 2658516.7953 | 1241090.299
94 | 2658532.0574 | 1241072.3415
95 | 2658581.0623 | 1241119.6926
96 | 2658583.9888 | 1241092.9126
97 | 2658581.5896 | 1241090.846
98 | 2658570.5557 | 1241082.931
99 | 2658557.1142 | 1241093.4722
100 | 2658591.7246 | 1240998.8613

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1