## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4208-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4208-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4208-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4208-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4208-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4208-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4208-8_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4208-8_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4208-8_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4208-8_0_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_4208-8_0_3_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_4208-8_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_4208-8_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4208-8_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4208-8_0_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_4208-8_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_4208-8_0_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_4208-8_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_4208-8_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4208-8_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4208-8_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4208-8_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4208-8_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4208-8_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_4208-8_0_3_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_4208-8_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4208-8_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_4208-8_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_4208-8_0_3_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_4208-8_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4208-8_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4208-8_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_4208-8_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_4208-8_0_3_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_4208-8_0_3_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_4208-8_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_4208-8_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_4208-8_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_4208-8_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4208-8_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_4208-8_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_4208-8_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_4208-8_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_4208-8_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_4208-8_0_3_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_4208-8_0_3_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_4208-8_0_3_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_4208-8_0_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_4208-8_0_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_4208-8_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_4208-8_0_3_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_4208-8_0_3_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_4208-8_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_4208-8_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_4208-8_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_4208-8_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_4208-8_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_4208-8_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_4208-8_0_3_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_4208-8_0_3_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_4208-8_0_3_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_4208-8_0_3_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_4208-8_0_3_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_4208-8_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_4208-8_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_4208-8_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_4208-8_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_4208-8_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_4208-8_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_4208-8_0_3_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_4208-8_0_3_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_4208-8_0_3_node_88 | 0.4 | n |  | TRUE
72 | bus_LV_4208-8_0_3_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_4208-8_0_3_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_4208-8_0_3_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_4208-8_0_3_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_4208-8_0_3_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_4208-8_0_3_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_4208-8_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_4208-8_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_4208-8_0_3_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_4208-8_0_3_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_4208-8_0_3_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_4208-8_0_3_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_4208-8_0_3_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_4208-8_0_3_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_4208-8_0_3_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_4208-8_0_3_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_4208-8_0_3_node_91 | 0.4 | n |  | TRUE
89 | bus_MV_427_1_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4208-8_0_3_load_0 | 0 | 0.0022153 | 0.00055521 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4208-8_0_3_load_1 | 1 | 0.0010863 | 0.00027225 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4208-8_0_3_load_2 | 2 | 0.0037754 | 0.0009462 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4208-8_0_3_load_3 | 3 | 0.0019801 | 0.00049625 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4208-8_0_3_load_4 | 4 | 0.0014236 | 0.00035678 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4208-8_0_3_load_5 | 5 | 0.0015918 | 0.00039893 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4208-8_0_3_load_7 | 6 | 0.0027769 | 0.00069595 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4208-8_0_3_load_28 | 9 | 0.0019154 | 0.00048005 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4208-8_0_3_load_24 | 11 | 0.0015623 | 0.00039155 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4208-8_0_3_load_9 | 12 | 0.0034196 | 0.00085704 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4208-8_0_3_load_10 | 13 | 0.0076189 | 0.0019095 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4208-8_0_3_load_26 | 14 | 0.0017695 | 0.00044347 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4208-8_0_3_load_20 | 15 | 0.0019161 | 0.00048022 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4208-8_0_3_load_18 | 17 | 0.003475 | 0.00087092 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4208-8_0_3_load_11 | 18 | 0.0070159 | 0.0017583 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4208-8_0_3_load_12 | 19 | 0.0038792 | 0.00097222 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4208-8_0_3_load_14 | 21 | 0.0024626 | 0.00061718 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4208-8_0_3_load_15 | 22 | 0.0018487 | 0.00046332 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4208-8_0_3_load_22 | 23 | 0.0015479 | 0.00038794 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4208-8_0_3_load_54 | 24 | 0.0058648 | 0.0014699 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4208-8_0_3_load_16 | 25 | 0.0013596 | 0.00034074 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4208-8_0_3_load_21 | 26 | 0.0047222 | 0.0011835 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4208-8_0_3_load_53 | 28 | 0.0032705 | 0.00081966 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4208-8_0_3_load_19 | 29 | 0.0018688 | 0.00046838 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4208-8_0_3_load_17 | 30 | 0.0020673 | 0.00051811 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4208-8_0_3_load_29 | 31 | 0.0028325 | 0.00070989 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4208-8_0_3_load_23 | 32 | 0.0044348 | 0.0011115 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4208-8_0_3_load_68 | 33 | 0.002767 | 0.00069347 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4208-8_0_3_load_66 | 34 | 0.0035097 | 0.00087962 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4208-8_0_3_load_31 | 35 | 0.0040536 | 0.0010159 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4208-8_0_3_load_33 | 37 | 0.002377 | 0.00059574 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4208-8_0_3_load_35 | 39 | 0.0017076 | 0.00042796 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4208-8_0_3_load_36 | 40 | 0.0018644 | 0.00046726 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4208-8_0_3_load_37 | 41 | 0.0013476 | 0.00033773 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4208-8_0_3_load_39 | 42 | 0.006253 | 0.0015671 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4208-8_0_3_load_84 | 44 | 0.0012853 | 0.00032213 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4208-8_0_3_load_85 | 45 | 0.003081 | 0.00077217 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4208-8_0_3_load_55 | 46 | 0.0048469 | 0.0012147 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4208-8_0_3_load_56 | 47 | 0.0023405 | 0.00058659 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4208-8_0_3_load_57 | 48 | 0.0022455 | 0.00056277 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4208-8_0_3_load_42 | 49 | 0.002774 | 0.00069523 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4208-8_0_3_load_82 | 50 | 0.0023367 | 0.00058564 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4208-8_0_3_load_87 | 51 | 0.0047491 | 0.0011902 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4208-8_0_3_load_41 | 52 | 0.0024896 | 0.00062394 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4208-8_0_3_load_44 | 54 | 0.0023168 | 0.00058064 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4208-8_0_3_load_45 | 55 | 0.0018325 | 0.00045926 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4208-8_0_3_load_46 | 56 | 0.0025051 | 0.00062783 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4208-8_0_3_load_58 | 57 | 0.0024837 | 0.00062246 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4208-8_0_3_load_83 | 58 | 0.00093487 | 0.0002343 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4208-8_0_3_load_74 | 60 | 0.0021008 | 0.00052652 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4208-8_0_3_load_76 | 61 | 0.001888 | 0.00047319 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4208-8_0_3_load_73 | 62 | 0.0017852 | 0.00044742 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4208-8_0_3_load_47 | 63 | 0.0034035 | 0.00085301 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4208-8_0_3_load_48 | 64 | 0.0019062 | 0.00047775 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4208-8_0_3_load_49 | 65 | 0.0024819 | 0.00062202 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4208-8_0_3_load_51 | 67 | 0.0023041 | 0.00057746 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4208-8_0_3_load_59 | 68 | 0.0022182 | 0.00055594 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4208-8_0_3_load_71 | 69 | 0.0023467 | 0.00058814 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4208-8_0_3_load_81 | 70 | 0.0070935 | 0.0017778 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4208-8_0_3_load_88 | 71 | 0.0031877 | 0.0007989 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4208-8_0_3_load_72 | 72 | 0.0019969 | 0.00050047 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4208-8_0_3_load_60 | 73 | 0.0051035 | 0.0012791 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4208-8_0_3_load_61 | 74 | 0.0047385 | 0.0011876 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4208-8_0_3_load_62 | 75 | 0.0020924 | 0.00052441 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4208-8_0_3_load_64 | 76 | 0.0029656 | 0.00074324 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4208-8_0_3_load_77 | 77 | 0.0018388 | 0.00046085 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4208-8_0_3_load_75 | 78 | 0.0016916 | 0.00042396 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4208-8_0_3_load_78 | 79 | 0.0035001 | 0.00087722 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4208-8_0_3_load_79 | 80 | 0.0029857 | 0.0007483 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4208-8_0_3_load_63 | 81 | 0.003133 | 0.00078519 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4208-8_0_3_load_65 | 82 | 0.0018279 | 0.00045812 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4208-8_0_3_load_67 | 83 | 0.0017727 | 0.00044428 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4208-8_0_3_load_69 | 84 | 0.0021311 | 0.0005341 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4208-8_0_3_load_70 | 85 | 0.0024792 | 0.00062135 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4208-8_0_3_load_90 | 87 | 0.0051098 | 0.0012806 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4208-8_0_3_load_91 | 88 | 0.0053134 | 0.0013317 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 85 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4208-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.004406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4208-8_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4208-8_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0036913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4208-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4208-8_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.03021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4208-8_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0068718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4208-8_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.014925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4208-8_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.024826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4208-8_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.027548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4208-8_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.001917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4208-8_0_3_line_10 | NAYY 4x150 SE | 8 | 12 | 0.013234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4208-8_0_3_line_11 | NAYY 4x150 SE | 8 | 13 | 0.0045198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4208-8_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.025936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4208-8_0_3_line_13 | NAYY 4x150 SE | 11 | 32 | 0.0030618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4208-8_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.011344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4208-8_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.024472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4208-8_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.044116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4208-8_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.016766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4208-8_0_3_line_18 | NAYY 4x150 SE | 16 | 33 | 0.050373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4208-8_0_3_line_19 | NAYY 4x150 SE | 17 | 30 | 0.023639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4208-8_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.012484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4208-8_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.0090676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4208-8_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.004586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4208-8_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.017693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4208-8_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0048339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4208-8_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.009544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4208-8_0_3_line_26 | NAYY 4x150 SE | 23 | 27 | 0.025314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4208-8_0_3_line_27 | NAYY 4x150 SE | 24 | 28 | 0.022887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4208-8_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.025051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4208-8_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.023074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4208-8_0_3_line_30 | NAYY 4x150 SE | 27 | 31 | 0.0058133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4208-8_0_3_line_31 | NAYY 4x150 SE | 28 | 66 | 0.017003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4208-8_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0033721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4208-8_0_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.027082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4208-8_0_3_line_34 | NAYY 4x150 SE | 34 | 76 | 0.024201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4208-8_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.061709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4208-8_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.011487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4208-8_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.034747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4208-8_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.044787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4208-8_0_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.013374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4208-8_0_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.012214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4208-8_0_3_line_41 | NAYY 4x150 SE | 41 | 42 | 0.039011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4208-8_0_3_line_42 | NAYY 4x150 SE | 42 | 43 | 0.053719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4208-8_0_3_line_43 | NAYY 4x150 SE | 43 | 46 | 0.024056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4208-8_0_3_line_44 | NAYY 4x150 SE | 43 | 47 | 0.038467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4208-8_0_3_line_45 | NAYY 4x150 SE | 43 | 48 | 0.011688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4208-8_0_3_line_46 | NAYY 4x150 SE | 43 | 49 | 0.017312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4208-8_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.023866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4208-8_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.024709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4208-8_0_3_line_49 | NAYY 4x150 SE | 46 | 50 | 0.030052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4208-8_0_3_line_50 | NAYY 4x150 SE | 48 | 51 | 0.026509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4208-8_0_3_line_51 | NAYY 4x150 SE | 49 | 52 | 0.0045567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4208-8_0_3_line_52 | NAYY 4x150 SE | 50 | 70 | 0.0013337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4208-8_0_3_line_53 | NAYY 4x150 SE | 51 | 71 | 0.0013083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4208-8_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.026776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4208-8_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.034744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4208-8_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.01654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4208-8_0_3_line_57 | NAYY 4x150 SE | 53 | 56 | 0.025048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4208-8_0_3_line_58 | NAYY 4x150 SE | 55 | 57 | 0.0017715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4208-8_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.035058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4208-8_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.0439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4208-8_0_3_line_61 | NAYY 4x150 SE | 58 | 61 | 0.0011036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4208-8_0_3_line_62 | NAYY 4x150 SE | 59 | 68 | 0.014587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_4208-8_0_3_line_63 | NAYY 4x150 SE | 59 | 66 | 0.00684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4208-8_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.010039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4208-8_0_3_line_65 | NAYY 4x150 SE | 60 | 62 | 0.02074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4208-8_0_3_line_66 | NAYY 4x150 SE | 62 | 78 | 0.0053898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4208-8_0_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.014277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4208-8_0_3_line_68 | NAYY 4x150 SE | 63 | 65 | 0.00020204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4208-8_0_3_line_69 | NAYY 4x150 SE | 64 | 66 | 0.064752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4208-8_0_3_line_70 | NAYY 4x150 SE | 65 | 67 | 0.0194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4208-8_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.037548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_4208-8_0_3_line_72 | NAYY 4x150 SE | 69 | 72 | 0.0064878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_4208-8_0_3_line_73 | NAYY 4x150 SE | 70 | 80 | 0.044398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4208-8_0_3_line_74 | NAYY 4x150 SE | 71 | 86 | 0.021704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4208-8_0_3_line_75 | NAYY 4x150 SE | 72 | 85 | 0.012909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_4208-8_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.00082322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4208-8_0_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.02077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4208-8_0_3_line_78 | NAYY 4x150 SE | 75 | 77 | 0.02275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4208-8_0_3_line_79 | NAYY 4x150 SE | 76 | 81 | 0.00072823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4208-8_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.0097091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4208-8_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 9.4039e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4208-8_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.021608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4208-8_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.00080611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4208-8_0_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.021228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4208-8_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.020498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4208-8_0_3_line_86 | NAYY 4x150 SE | 86 | 87 | 0.035604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4208-8_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.023206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4208-8_0_3_trafo_70 | 0.25 MVA 20/0.4 kV | 89 | 85 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2658463.2113 | 1242100.6897 | 2658463.2113 | 1242100.6897 | 2658464.1268 | 1242104.9995
1 | 2658463.2113 | 1242100.6897 | 2658458.3992 | 1242094.2046 | 2658453.0302 | 1242092.0509
2 | 2658464.8939 | 1242108.6102 | 2658464.1268 | 1242104.9995
3 | 2658431.9511 | 1242085.161 | 2658449.1073 | 1242090.4773 | 2658453.0302 | 1242092.0509
4 | 2658464.8939 | 1242108.6102 | 2658465.1474 | 1242109.8038 | 2658461.7335 | 1242127.1485 | 2658459.2815 | 1242138.1919
5 | 2658431.9511 | 1242085.161 | 2658428.0951 | 1242083.9661 | 2658425.4186 | 1242083.0319
6 | 2658452.1688 | 1242151.1149 | 2658458.5534 | 1242141.4712 | 2658459.2815 | 1242138.1919
7 | 2658402.1381 | 1242074.4599 | 2658406.0664 | 1242076.2775 | 2658425.4186 | 1242083.0319
8 | 2658452.1688 | 1242151.1149 | 2658442.2271 | 1242150.4388 | 2658434.5305 | 1242149.7626 | 2658424.7357 | 1242150.8679
9 | 2658452.1688 | 1242151.1149 | 2658453.646 | 1242152.3413
10 | 2658402.1381 | 1242074.4599 | 2658396.088 | 1242080.8491 | 2658392.5158 | 1242083.478
11 | 2658402.1381 | 1242074.4599 | 2658404.4502 | 1242070.5762
12 | 2658453.646 | 1242152.3413 | 2658459.6807 | 1242150.5885 | 2658478.3665 | 1242144.5027
13 | 2658481.2778 | 1242143.5545 | 2658478.3665 | 1242144.5027
14 | 2658382.8411 | 1242089.2649 | 2658387.232 | 1242087.3664 | 2658392.5158 | 1242083.478
15 | 2658404.4502 | 1242070.5762 | 2658416.9689 | 1242049.5486
16 | 2658341.4194 | 1242104.3942 | 2658375.138 | 1242092.5955 | 2658382.8411 | 1242089.2649
17 | 2658416.9689 | 1242049.5486 | 2658423.2691 | 1242038.9661 | 2658425.9491 | 1242035.4141
18 | 2658341.4194 | 1242104.3942 | 2658338.7657 | 1242097.4969 | 2658339.3127 | 1242091.0757 | 2658350.8024 | 1242061.9579 | 2658352.8111 | 1242057.1228
19 | 2658440.1866 | 1242016.5439 | 2658425.9491 | 1242035.4141
20 | 2658517.4234 | 1241930.7871 | 2658521.8515 | 1241926.6726 | 2658526.5973 | 1241922.3206
21 | 2658510.7807 | 1241936.9593 | 2658517.4234 | 1241930.7871
22 | 2658529.9773 | 1241919.2211 | 2658526.5973 | 1241922.3206
23 | 2658510.7807 | 1241936.9593 | 2658494.6187 | 1241929.7587
24 | 2658529.9773 | 1241919.2211 | 2658533.5401 | 1241915.954
25 | 2658485.9008 | 1241925.8746 | 2658494.6187 | 1241929.7587
26 | 2658552.7971 | 1241899.5483 | 2658542.6402 | 1241907.6091 | 2658533.5401 | 1241915.954
27 | 2658465.0055 | 1241916.5378 | 2658474.7198 | 1241920.8932 | 2658485.9008 | 1241925.8746
28 | 2658456.6574 | 1241995.8611 | 2658461.6653 | 1241989.811 | 2658473.1112 | 1241976.9758
29 | 2658456.6574 | 1241995.8611 | 2658446.8763 | 1242007.6774 | 2658442.2177 | 1242013.852
30 | 2658552.7971 | 1241899.5483 | 2658550.2846 | 1241895.2095 | 2658550.455 | 1241894.4282
31 | 2658449.4906 | 1241909.5817 | 2658465.0055 | 1241916.5378
32 | 2658442.2177 | 1242013.852 | 2658440.1866 | 1242016.5439
33 | 2658363.2009 | 1242032.1133 | 2658352.8111 | 1242057.1228
34 | 2658363.2009 | 1242032.1133 | 2658372.4856 | 1242009.7638
35 | 2658477.7408 | 1241774.6692 | 2658480.6175 | 1241781.1797 | 2658482.3428 | 1241790.9922 | 2658481.2661 | 1241797.4526 | 2658472.4662 | 1241815.8672 | 2658463.7153 | 1241831.2181
36 | 2658458.0265 | 1241841.1976 | 2658463.7153 | 1241831.2181
37 | 2658447.3253 | 1241757.9252 | 2658458.161 | 1241765.3924 | 2658477.7408 | 1241774.6692
38 | 2658447.3253 | 1241757.9252 | 2658436.9653 | 1241765.1169 | 2658416.4881 | 1241789.9347
39 | 2658416.4881 | 1241789.9347 | 2658407.9765 | 1241800.2506
40 | 2658400.203 | 1241809.6719 | 2658407.9765 | 1241800.2506
41 | 2658400.203 | 1241809.6719 | 2658375.3754 | 1241839.7623
42 | 2658341.1871 | 1241881.1975 | 2658375.3754 | 1241839.7623
43 | 2658341.1871 | 1241881.1975 | 2658325.9894 | 1241899.8449
44 | 2658341.1871 | 1241881.1975 | 2658352.7623 | 1241844.5133
45 | 2658341.1871 | 1241881.1975 | 2658330.1514 | 1241877.3482
46 | 2658341.1871 | 1241881.1975 | 2658357.6903 | 1241886.4288
47 | 2658367.3789 | 1241798.1898 | 2658360.1975 | 1241820.9494
48 | 2658352.7623 | 1241844.5133 | 2658360.1975 | 1241820.9494
49 | 2658307.0037 | 1241923.1401 | 2658325.9894 | 1241899.8449
50 | 2658330.1514 | 1241877.3482 | 2658305.1212 | 1241868.6176
51 | 2658362.034 | 1241887.8056 | 2658357.6903 | 1241886.4288
52 | 2658307.0037 | 1241923.1401 | 2658306.1611 | 1241924.174
53 | 2658305.1212 | 1241868.6176 | 2658303.8859 | 1241868.1867
54 | 2658387.5586 | 1241895.8965 | 2658362.034 | 1241887.8056
55 | 2658387.5586 | 1241895.8965 | 2658399.4031 | 1241863.2341
56 | 2658387.5586 | 1241895.8965 | 2658403.2345 | 1241901.1738
57 | 2658387.5586 | 1241895.8965 | 2658378.6509 | 1241919.3071
58 | 2658404.9135 | 1241901.739 | 2658403.2345 | 1241901.1738
59 | 2658378.6509 | 1241919.3071 | 2658351.0327 | 1241940.9011
60 | 2658446.5193 | 1241915.7455 | 2658404.9135 | 1241901.739
61 | 2658351.0327 | 1241940.9011 | 2658350.6396 | 1241941.9323
62 | 2658446.5193 | 1241915.7455 | 2658440.9953 | 1241929.2463
63 | 2658449.4906 | 1241909.5817 | 2658446.5193 | 1241915.7455
64 | 2658347.0632 | 1241951.3127 | 2658350.6396 | 1241941.9323
65 | 2658337.033 | 1241968.581 | 2658340.2969 | 1241960.2085 | 2658344.7782 | 1241957.3062 | 2658347.0632 | 1241951.3127
66 | 2658337.033 | 1241968.581 | 2658335.0754 | 1241973.6028
67 | 2658501.5177 | 1241866.8562 | 2658498.1032 | 1241873.2805 | 2658492.2815 | 1241877.1702 | 2658492.2815 | 1241877.1702
68 | 2658501.6125 | 1241866.6778 | 2658501.5177 | 1241866.8562
69 | 2658449.4906 | 1241909.5817 | 2658466.0469 | 1241876.5669 | 2658470.379 | 1241873.4742 | 2658476.5 | 1241873.7346 | 2658484.3924 | 1241876.8144 | 2658492.2815 | 1241877.1702
70 | 2658510.4823 | 1241849.4284 | 2658507.5622 | 1241855.4839 | 2658501.6125 | 1241866.6778
71 | 2658420.6181 | 1241957.3185 | 2658420.6181 | 1241957.3185 | 2658428.8068 | 1241955.6424 | 2658432.1422 | 1241950.8831 | 2658440.9953 | 1241929.2463
72 | 2658420.6181 | 1241957.3185 | 2658414.5985 | 1241954.8988
73 | 2658278.1118 | 1241958.59 | 2658306.1611 | 1241924.174
74 | 2658283.3931 | 1241861.0387 | 2658303.8859 | 1241868.1867
75 | 2658402.0418 | 1241952.8995 | 2658402.0418 | 1241952.8995 | 2658410.0987 | 1241953.09 | 2658414.5985 | 1241954.8988
76 | 2658306.8158 | 1242015.9234 | 2658306.4972 | 1242016.6825
77 | 2658314.8542 | 1241996.7721 | 2658314.8542 | 1241996.7721 | 2658306.8158 | 1242015.9234
78 | 2658314.8542 | 1241996.7721 | 2658321.2145 | 1241987.2837 | 2658325.7089 | 1241985.3488 | 2658331.5489 | 1241982.6488 | 2658331.5489 | 1241982.6488
79 | 2658372.765 | 1242009.0913 | 2658372.4856 | 1242009.7638
80 | 2658335.0754 | 1241973.6028 | 2658331.5489 | 1241982.6488
81 | 2658278.1118 | 1241958.59 | 2658278.1059 | 1241958.5973
82 | 2658372.765 | 1242009.0913 | 2658381.055 | 1241989.1363
83 | 2658381.3643 | 1241988.3919 | 2658381.055 | 1241989.1363
84 | 2658381.3643 | 1241988.3919 | 2658382.5257 | 1241985.5962 | 2658390.5336 | 1241969.2523
85 | 2658390.5336 | 1241969.2523 | 2658396.4971 | 1241957.0811 | 2658402.0418 | 1241952.8995
86 | 2658283.3931 | 1241861.0387 | 2658294.9289 | 1241827.3553
87 | 2658302.4477 | 1241805.4009 | 2658294.9289 | 1241827.3553

## bus_geodata
| x | y | coords
0 | 2658463.2113 | 1242100.6897
1 | 2658464.1268 | 1242104.9995
2 | 2658453.0302 | 1242092.0509
3 | 2658464.8939 | 1242108.6102
4 | 2658431.9511 | 1242085.161
5 | 2658459.2815 | 1242138.1919
6 | 2658425.4186 | 1242083.0319
7 | 2658452.1688 | 1242151.1149
8 | 2658402.1381 | 1242074.4599
9 | 2658424.7357 | 1242150.8679
10 | 2658453.646 | 1242152.3413
11 | 2658478.3665 | 1242144.5027
12 | 2658392.5158 | 1242083.478
13 | 2658404.4502 | 1242070.5762
14 | 2658382.8411 | 1242089.2649
15 | 2658416.9689 | 1242049.5486
16 | 2658341.4194 | 1242104.3942
17 | 2658425.9491 | 1242035.4141
18 | 2658517.4234 | 1241930.7871
19 | 2658526.5973 | 1241922.3206
20 | 2658510.7807 | 1241936.9593
21 | 2658529.9773 | 1241919.2211
22 | 2658494.6187 | 1241929.7587
23 | 2658533.5401 | 1241915.954
24 | 2658485.9008 | 1241925.8746
25 | 2658473.1112 | 1241976.9758
26 | 2658456.6574 | 1241995.8611
27 | 2658552.7971 | 1241899.5483
28 | 2658465.0055 | 1241916.5378
29 | 2658442.2177 | 1242013.852
30 | 2658440.1866 | 1242016.5439
31 | 2658550.455 | 1241894.4282
32 | 2658481.2778 | 1242143.5545
33 | 2658352.8111 | 1242057.1228
34 | 2658363.2009 | 1242032.1133
35 | 2658463.7153 | 1241831.2181
36 | 2658477.7408 | 1241774.6692
37 | 2658458.0265 | 1241841.1976
38 | 2658447.3253 | 1241757.9252
39 | 2658416.4881 | 1241789.9347
40 | 2658407.9765 | 1241800.2506
41 | 2658400.203 | 1241809.6719
42 | 2658375.3754 | 1241839.7623
43 | 2658341.1871 | 1241881.1975
44 | 2658367.3789 | 1241798.1898
45 | 2658360.1975 | 1241820.9494
46 | 2658325.9894 | 1241899.8449
47 | 2658352.7623 | 1241844.5133
48 | 2658330.1514 | 1241877.3482
49 | 2658357.6903 | 1241886.4288
50 | 2658307.0037 | 1241923.1401
51 | 2658305.1212 | 1241868.6176
52 | 2658362.034 | 1241887.8056
53 | 2658387.5586 | 1241895.8965
54 | 2658399.4031 | 1241863.2341
55 | 2658403.2345 | 1241901.1738
56 | 2658378.6509 | 1241919.3071
57 | 2658404.9135 | 1241901.739
58 | 2658351.0327 | 1241940.9011
59 | 2658446.5193 | 1241915.7455
60 | 2658347.0632 | 1241951.3127
61 | 2658350.6396 | 1241941.9323
62 | 2658337.033 | 1241968.581
63 | 2658501.5177 | 1241866.8562
64 | 2658492.2815 | 1241877.1702
65 | 2658501.6125 | 1241866.6778
66 | 2658449.4906 | 1241909.5817
67 | 2658510.4823 | 1241849.4284
68 | 2658440.9953 | 1241929.2463
69 | 2658420.6181 | 1241957.3185
70 | 2658306.1611 | 1241924.174
71 | 2658303.8859 | 1241868.1867
72 | 2658414.5985 | 1241954.8988
73 | 2658306.4972 | 1242016.6825
74 | 2658306.8158 | 1242015.9234
75 | 2658314.8542 | 1241996.7721
76 | 2658372.4856 | 1242009.7638
77 | 2658331.5489 | 1241982.6488
78 | 2658335.0754 | 1241973.6028
79 | 2658278.1059 | 1241958.5973
80 | 2658278.1118 | 1241958.59
81 | 2658372.765 | 1242009.0913
82 | 2658381.055 | 1241989.1363
83 | 2658381.3643 | 1241988.3919
84 | 2658390.5336 | 1241969.2523
85 | 2658402.0418 | 1241952.8995
86 | 2658283.3931 | 1241861.0387
87 | 2658294.9289 | 1241827.3553
88 | 2658302.4477 | 1241805.4009
89 | 2658446.5193 | 1241915.7455

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1