## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4209-18_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4209-18_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4209-18_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4209-18_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4209-18_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4209-18_0_3_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_4209-18_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_4209-18_0_3_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_4209-18_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4209-18_0_3_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_4209-18_0_3_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_4209-18_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4209-18_0_3_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_4209-18_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4209-18_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4209-18_0_3_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_4209-18_0_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_4209-18_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4209-18_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4209-18_0_3_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_4209-18_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4209-18_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4209-18_0_3_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_4209-18_0_3_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_4209-18_0_3_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_4209-18_0_3_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_4209-18_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4209-18_0_3_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_4209-18_0_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_4209-18_0_3_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_4209-18_0_3_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_4209-18_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_4209-18_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_4209-18_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4209-18_0_3_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_4209-18_0_3_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_4209-18_0_3_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_4209-18_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_4209-18_0_3_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_4209-18_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4209-18_0_3_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_4209-18_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_4209-18_0_3_node_18 | 0.4 | n |  | TRUE
43 | bus_LV_4209-18_0_3_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_4209-18_0_3_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_4209-18_0_3_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_4209-18_0_3_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_4209-18_0_3_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_4209-18_0_3_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_4209-18_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4209-18_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_4209-18_0_3_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_4209-18_0_3_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_4209-18_0_3_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_4209-18_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_4209-18_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_4209-18_0_3_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_4209-18_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_4209-18_0_3_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_4209-18_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_4209-18_0_3_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_4209-18_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_MV_427_1_node_214 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4209-18_0_3_load_0 | 0 | 0.010803 | 0.0027074 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4209-18_0_3_load_17 | 6 | 0.0019382 | 0.00048576 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4209-18_0_3_load_54 | 7 | 0.0023279 | 0.00058343 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4209-18_0_3_load_63 | 10 | 0.0032143 | 0.00080558 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4209-18_0_3_load_42 | 15 | 0.0071221 | 0.001785 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4209-18_0_3_load_35 | 16 | 0.0032246 | 0.00080815 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4209-18_0_3_load_65 | 19 | 0.0068017 | 0.0017047 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4209-18_0_3_load_51 | 22 | 0.0016313 | 0.00040885 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4209-18_0_3_load_62 | 23 | 0.013131 | 0.003291 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4209-18_0_3_load_64 | 24 | 0.0056596 | 0.0014184 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4209-18_0_3_load_60 | 25 | 0.013231 | 0.0033161 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4209-18_0_3_load_16 | 26 | 0.011703 | 0.0029329 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4209-18_0_3_load_47 | 29 | 0.0094625 | 0.0023715 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4209-18_0_3_load_26 | 33 | 0.0036731 | 0.00092058 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4209-18_0_3_load_57 | 34 | 0.0023364 | 0.00058557 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4209-18_0_3_load_39 | 36 | 0.0058312 | 0.0014614 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4209-18_0_3_load_52 | 38 | 0.010219 | 0.0025612 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4209-18_0_3_load_61 | 40 | 0.0091398 | 0.0022907 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4209-18_0_3_load_59 | 45 | 0.010723 | 0.0026874 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4209-18_0_3_load_56 | 46 | 0.002054 | 0.00051479 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4209-18_0_3_load_46 | 47 | 0.0082398 | 0.0020651 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4209-18_0_3_load_29 | 48 | 0.0084043 | 0.0021063 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4209-18_0_3_load_30 | 49 | 0.0091208 | 0.0022859 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4209-18_0_3_load_33 | 52 | 0.0075207 | 0.0018849 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4209-18_0_3_load_49 | 54 | 0.0021493 | 0.00053868 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4209-18_0_3_load_50 | 55 | 0.0256 | 0.0064161 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4209-18_0_3_load_66 | 56 | 0.010183 | 0.0025522 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4209-18_0_3_load_55 | 57 | 0.0032236 | 0.00080791 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4209-18_0_3_load_44 | 59 | 0.0042554 | 0.0010665 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4209-18_0_3_load_38 | 60 | 0.0027243 | 0.00068276 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4209-18_0_3_load_45 | 61 | 0.0051788 | 0.0012979 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4209-18_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4209-18_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0061087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4209-18_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4209-18_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.014408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4209-18_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.031375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4209-18_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.025117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4209-18_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0080412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4209-18_0_3_line_7 | NAYY 4x150 SE | 5 | 20 | 0.04638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4209-18_0_3_line_8 | NAYY 4x150 SE | 5 | 21 | 0.04666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4209-18_0_3_line_9 | NAYY 4x150 SE | 5 | 22 | 0.0327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4209-18_0_3_line_10 | NAYY 4x150 SE | 6 | 26 | 0.038487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4209-18_0_3_line_11 | NAYY 4x150 SE | 7 | 30 | 0.021851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4209-18_0_3_line_12 | NAYY 4x150 SE | 8 | 9 | 0.10049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4209-18_0_3_line_13 | NAYY 4x150 SE | 8 | 10 | 0.012561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4209-18_0_3_line_14 | NAYY 4x150 SE | 9 | 34 | 0.017332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4209-18_0_3_line_15 | NAYY 4x150 SE | 10 | 11 | 0.032904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4209-18_0_3_line_16 | NAYY 4x150 SE | 11 | 12 | 0.013405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4209-18_0_3_line_17 | NAYY 4x150 SE | 12 | 35 | 0.047174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4209-18_0_3_line_18 | NAYY 4x150 SE | 12 | 36 | 0.022821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4209-18_0_3_line_19 | NAYY 4x150 SE | 13 | 14 | 0.030927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4209-18_0_3_line_20 | NAYY 4x150 SE | 13 | 15 | 0.0247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4209-18_0_3_line_21 | NAYY 4x150 SE | 14 | 16 | 0.029573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4209-18_0_3_line_22 | NAYY 4x150 SE | 15 | 35 | 0.024474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4209-18_0_3_line_23 | NAYY 4x150 SE | 16 | 37 | 0.012591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4209-18_0_3_line_24 | NAYY 4x150 SE | 17 | 18 | 0.036939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4209-18_0_3_line_25 | NAYY 4x150 SE | 17 | 19 | 0.012274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4209-18_0_3_line_26 | NAYY 4x150 SE | 18 | 24 | 0.02009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4209-18_0_3_line_27 | NAYY 4x150 SE | 20 | 25 | 0.0094871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4209-18_0_3_line_28 | NAYY 4x150 SE | 21 | 23 | 0.016724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4209-18_0_3_line_29 | NAYY 4x150 SE | 22 | 38 | 0.0030539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4209-18_0_3_line_30 | NAYY 4x150 SE | 24 | 32 | 0.010103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4209-18_0_3_line_31 | NAYY 4x150 SE | 25 | 39 | 0.014043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4209-18_0_3_line_32 | NAYY 4x150 SE | 26 | 42 | 0.026259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4209-18_0_3_line_33 | NAYY 4x150 SE | 27 | 28 | 0.028504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4209-18_0_3_line_34 | NAYY 4x150 SE | 27 | 29 | 0.012704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4209-18_0_3_line_35 | NAYY 4x150 SE | 28 | 57 | 0.010104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4209-18_0_3_line_36 | NAYY 4x150 SE | 28 | 37 | 0.00959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4209-18_0_3_line_37 | NAYY 4x150 SE | 29 | 47 | 0.038342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4209-18_0_3_line_38 | NAYY 4x150 SE | 30 | 60 | 0.0022635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4209-18_0_3_line_39 | NAYY 4x150 SE | 31 | 32 | 0.017776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4209-18_0_3_line_40 | NAYY 4x150 SE | 31 | 33 | 0.016616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4209-18_0_3_line_41 | NAYY 4x150 SE | 32 | 41 | 0.012019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4209-18_0_3_line_42 | NAYY 4x150 SE | 35 | 58 | 0.040998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4209-18_0_3_line_43 | NAYY 4x150 SE | 37 | 60 | 0.020134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_4209-18_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.007044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4209-18_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.02376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4209-18_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.017005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4209-18_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.037443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4209-18_0_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.020497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4209-18_0_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.070484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4209-18_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.020446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4209-18_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.010693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4209-18_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.023213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4209-18_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.022632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4209-18_0_3_line_54 | NAYY 4x150 SE | 50 | 53 | 0.010372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4209-18_0_3_line_55 | NAYY 4x150 SE | 51 | 54 | 0.047472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4209-18_0_3_line_56 | NAYY 4x150 SE | 51 | 55 | 0.047981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4209-18_0_3_line_57 | NAYY 4x150 SE | 53 | 56 | 0.009531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4209-18_0_3_line_58 | NAYY 4x150 SE | 54 | 57 | 0.024809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4209-18_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.017853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4209-18_0_3_line_60 | NAYY 4x150 SE | 59 | 61 | 0.0025706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4209-18_0_3_trafo_38 | 0.25 MVA 20/0.4 kV | 62 | 60 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2654552.0361 | 1244174.3235 | 2654550.025 | 1244172.7818 | 2654544.2509 | 1244172.0282 | 2654525.6847 | 1244174.3814
1 | 2654520.431 | 1244171.2644 | 2654525.6847 | 1244174.3814
2 | 2654552.0361 | 1244174.3235 | 2654573.8143 | 1244164.5504
3 | 2654552.0361 | 1244174.3235 | 2654553.0916 | 1244177.0573 | 2654552.7216 | 1244188.5282
4 | 2654493.7851 | 1244167.1837 | 2654494.6651 | 1244167.6365 | 2654500.7565 | 1244175.809 | 2654520.431 | 1244171.2644
5 | 2654573.8143 | 1244164.5504 | 2654571.5338 | 1244161.0827 | 2654558.5691 | 1244144.6052
6 | 2654552.7216 | 1244188.5282 | 2654558.562 | 1244194.0555
7 | 2654474.8312 | 1244140.981 | 2654467.6984 | 1244148.2871 | 2654470.0213 | 1244151.2549 | 2654471.0156 | 1244154.8998 | 2654470.5203 | 1244158.6422 | 2654480.8361 | 1244161.8613 | 2654488.1816 | 1244164.3081 | 2654493.7851 | 1244167.1837
8 | 2654493.7851 | 1244167.1837 | 2654494.6651 | 1244167.6365 | 2654500.7565 | 1244175.809 | 2654497.0189 | 1244176.2973 | 2654498.5762 | 1244177.8793 | 2654502.1873 | 1244185.3953 | 2654504.868 | 1244192.1911 | 2654509.5166 | 1244205.2314
9 | 2654493.7851 | 1244167.1837 | 2654519.6506 | 1244158.3375 | 2654519.618 | 1244152.9741
10 | 2654558.5691 | 1244144.6052 | 2654547.997 | 1244131.1685 | 2654544.5044 | 1244118.9838 | 2654541.6542 | 1244110.7491
11 | 2654574.4324 | 1244209.0749 | 2654558.562 | 1244194.0555
12 | 2654650.9738 | 1244403.6877 | 2654672.3079 | 1244403.484 | 2654681.4085 | 1244403.2232 | 2654689.8531 | 1244401.9891 | 2654707.8069 | 1244396.3285 | 2654723.6205 | 1244388.3912 | 2654744.1849 | 1244374.1712
13 | 2654650.9738 | 1244403.6877 | 2654651.3882 | 1244393.9739 | 2654649.3417 | 1244392.007
14 | 2654744.1849 | 1244374.1712 | 2654740.749 | 1244368.1799 | 2654740.5498 | 1244362.7411 | 2654742.1607 | 1244358.0254
15 | 2654622.5492 | 1244375.4182 | 2654633.8908 | 1244377.1571 | 2654649.3417 | 1244392.007
16 | 2654623.0882 | 1244362.0253 | 2654622.5492 | 1244375.4182
17 | 2654623.0882 | 1244362.0253 | 2654620.4064 | 1244348.8028 | 2654615.9761 | 1244337.5322 | 2654608.0558 | 1244326.1406 | 2654602.5744 | 1244320.6976
18 | 2654623.0882 | 1244362.0253 | 2654633.7702 | 1244359.0771 | 2654642.1367 | 1244350.8416
19 | 2654572.8797 | 1244281.7428 | 2654565.8794 | 1244263.9665 | 2654560.5509 | 1244253.3993
20 | 2654572.8797 | 1244281.7428 | 2654582.9321 | 1244297.9684 | 2654586.4295 | 1244302.3579
21 | 2654560.5509 | 1244253.3993 | 2654581.9231 | 1244232.9591
22 | 2654602.5744 | 1244320.6976 | 2654595.221 | 1244313.3917 | 2654586.4295 | 1244302.3579
23 | 2654590.9487 | 1244224.1814 | 2654587.8063 | 1244227.3324 | 2654581.9231 | 1244232.9591
24 | 2654423.6538 | 1244168.3633 | 2654422.3409 | 1244154.1417 | 2654424.0484 | 1244150.0658 | 2654434.1919 | 1244144.0658 | 2654439.7462 | 1244140.7812
25 | 2654423.6538 | 1244168.3633 | 2654435.8726 | 1244167.1996
26 | 2654439.7462 | 1244140.7812 | 2654437.7108 | 1244136.9489 | 2654435.2767 | 1244130.4444 | 2654435.2352 | 1244121.6387
27 | 2654474.8312 | 1244140.981 | 2654470.348 | 1244135.4361 | 2654470.3881 | 1244133.08
28 | 2654509.5166 | 1244205.2314 | 2654492.8067 | 1244205.9304
29 | 2654519.5995 | 1244149.9202 | 2654519.618 | 1244152.9741
30 | 2654432.3164 | 1244112.105 | 2654433.7599 | 1244114.5532 | 2654435.2305 | 1244120.6485 | 2654435.2352 | 1244121.6387
31 | 2654470.627 | 1244119.0388 | 2654470.3881 | 1244133.08
32 | 2654534.1028 | 1244085.6325 | 2654536.6056 | 1244096.1626 | 2654541.6542 | 1244110.7491
33 | 2654599.7206 | 1244220.2483 | 2654601.3349 | 1244206.5984 | 2654599.9921 | 1244202.2387 | 2654594.7299 | 1244193.4956
34 | 2654594.7299 | 1244193.4956 | 2654607.3775 | 1244194.6941
35 | 2654599.7206 | 1244220.2483 | 2654609.0037 | 1244224.2373
36 | 2654590.9487 | 1244224.1814 | 2654599.7206 | 1244220.2483
37 | 2654645.5155 | 1244198.5159 | 2654643.9804 | 1244198.163 | 2654607.3775 | 1244194.6941
38 | 2654574.4324 | 1244209.0749 | 2654576.0766 | 1244210.6306
39 | 2654432.3164 | 1244112.105 | 2654430.0765 | 1244108.3152 | 2654423.4749 | 1244103.8406 | 2654418.2204 | 1244102.4581
40 | 2654418.2204 | 1244102.4581 | 2654421.2686 | 1244086.1241
41 | 2654442.7102 | 1244106.0184 | 2654432.3164 | 1244112.105
42 | 2654602.5744 | 1244320.6976 | 2654611.2528 | 1244290.7907 | 2654609.8086 | 1244281.0375
43 | 2654590.9487 | 1244224.1814 | 2654587.7225 | 1244221.65 | 2654576.0766 | 1244210.6306
44 | 2654470.627 | 1244119.0388 | 2654464.2432 | 1244116.0614
45 | 2654442.7102 | 1244106.0184 | 2654464.2432 | 1244116.0614
46 | 2654527.9983 | 1244074.7691 | 2654527.853 | 1244077.4251 | 2654526.5467 | 1244083.8841 | 2654534.1028 | 1244085.6325
47 | 2654534.1028 | 1244085.6325 | 2654551.4053 | 1244085.9584 | 2654552.8875 | 1244085.8497 | 2654571.4901 | 1244084.5087
48 | 2654527.9983 | 1244074.7691 | 2654507.5423 | 1244073.4698
49 | 2654571.4901 | 1244084.5087 | 2654574.3499 | 1244101.4019 | 2654583.3496 | 1244109.6902 | 2654585.3648 | 1244119.8155 | 2654591.7535 | 1244137.5528 | 2654594.3494 | 1244149.2058
50 | 2654669.0083 | 1244274.934 | 2654665.3207 | 1244285.9407 | 2654662.7431 | 1244294.3946
51 | 2654659.6245 | 1244304.623 | 2654662.7431 | 1244294.3946
52 | 2654675.4587 | 1244252.6672 | 2654673.4797 | 1244261.5883 | 2654669.0083 | 1244274.934
53 | 2654659.6245 | 1244304.623 | 2654661.2792 | 1244312.0321 | 2654656.0078 | 1244323.1688 | 2654656.0356 | 1244325.8931
54 | 2654649.2821 | 1244303.5048 | 2654659.6245 | 1244304.623
55 | 2654675.4587 | 1244252.6672 | 2654654.1637 | 1244243.6428 | 2654631.7975 | 1244234.0319
56 | 2654708.3296 | 1244242.1408 | 2654702.807 | 1244260.8358 | 2654690.5854 | 1244257.7989 | 2654675.4587 | 1244252.6672
57 | 2654649.2821 | 1244303.5048 | 2654639.7882 | 1244304.6181
58 | 2654631.7975 | 1244234.0319 | 2654609.0037 | 1244224.2373
59 | 2654609.8086 | 1244281.0375 | 2654606.4186 | 1244263.5091
60 | 2654605.9305 | 1244260.9853 | 2654606.4186 | 1244263.5091

## bus_geodata
| x | y | coords
0 | 2654525.6847 | 1244174.3814
1 | 2654552.0361 | 1244174.3235
2 | 2654520.431 | 1244171.2644
3 | 2654573.8143 | 1244164.5504
4 | 2654552.7216 | 1244188.5282
5 | 2654493.7851 | 1244167.1837
6 | 2654558.5691 | 1244144.6052
7 | 2654558.562 | 1244194.0555
8 | 2654650.9738 | 1244403.6877
9 | 2654744.1849 | 1244374.1712
10 | 2654649.3417 | 1244392.007
11 | 2654622.5492 | 1244375.4182
12 | 2654623.0882 | 1244362.0253
13 | 2654572.8797 | 1244281.7428
14 | 2654560.5509 | 1244253.3993
15 | 2654586.4295 | 1244302.3579
16 | 2654581.9231 | 1244232.9591
17 | 2654423.6538 | 1244168.3633
18 | 2654439.7462 | 1244140.7812
19 | 2654435.8726 | 1244167.1996
20 | 2654474.8312 | 1244140.981
21 | 2654509.5166 | 1244205.2314
22 | 2654519.618 | 1244152.9741
23 | 2654492.8067 | 1244205.9304
24 | 2654435.2352 | 1244121.6387
25 | 2654470.3881 | 1244133.08
26 | 2654541.6542 | 1244110.7491
27 | 2654594.7299 | 1244193.4956
28 | 2654599.7206 | 1244220.2483
29 | 2654607.3775 | 1244194.6941
30 | 2654574.4324 | 1244209.0749
31 | 2654418.2204 | 1244102.4581
32 | 2654432.3164 | 1244112.105
33 | 2654421.2686 | 1244086.1241
34 | 2654742.1607 | 1244358.0254
35 | 2654602.5744 | 1244320.6976
36 | 2654642.1367 | 1244350.8416
37 | 2654590.9487 | 1244224.1814
38 | 2654519.5995 | 1244149.9202
39 | 2654470.627 | 1244119.0388
40 | 2654464.2432 | 1244116.0614
41 | 2654442.7102 | 1244106.0184
42 | 2654534.1028 | 1244085.6325
43 | 2654527.9983 | 1244074.7691
44 | 2654571.4901 | 1244084.5087
45 | 2654507.5423 | 1244073.4698
46 | 2654594.3494 | 1244149.2058
47 | 2654645.5155 | 1244198.5159
48 | 2654662.7431 | 1244294.3946
49 | 2654669.0084 | 1244274.934
50 | 2654659.6245 | 1244304.623
51 | 2654675.4587 | 1244252.6672
52 | 2654656.0356 | 1244325.8931
53 | 2654649.2821 | 1244303.5048
54 | 2654631.7975 | 1244234.0319
55 | 2654708.3296 | 1244242.1408
56 | 2654639.7882 | 1244304.6181
57 | 2654609.0037 | 1244224.2373
58 | 2654609.8086 | 1244281.0375
59 | 2654606.4186 | 1244263.5091
60 | 2654576.0766 | 1244210.6306
61 | 2654605.9305 | 1244260.9853
62 | 2654574.4324 | 1244209.0749

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1