## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4209-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4209-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4209-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4209-8_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4209-8_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4209-8_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4209-8_0_4_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_4209-8_0_4_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_4209-8_0_4_node_106 | 0.4 | n |  | TRUE
9 | bus_LV_4209-8_0_4_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_4209-8_0_4_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_4209-8_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4209-8_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4209-8_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4209-8_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4209-8_0_4_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_4209-8_0_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_4209-8_0_4_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_4209-8_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_4209-8_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4209-8_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4209-8_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4209-8_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4209-8_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4209-8_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_4209-8_0_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_4209-8_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4209-8_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4209-8_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4209-8_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_4209-8_0_4_node_105 | 0.4 | n |  | TRUE
31 | bus_LV_4209-8_0_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_4209-8_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4209-8_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_4209-8_0_4_node_116 | 0.4 | n |  | TRUE
35 | bus_LV_4209-8_0_4_node_104 | 0.4 | n |  | TRUE
36 | bus_LV_4209-8_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_4209-8_0_4_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_4209-8_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_4209-8_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_4209-8_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_4209-8_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_4209-8_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4209-8_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_4209-8_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_4209-8_0_4_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_4209-8_0_4_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_4209-8_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_4209-8_0_4_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_4209-8_0_4_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_4209-8_0_4_node_102 | 0.4 | n |  | TRUE
51 | bus_LV_4209-8_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_4209-8_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_4209-8_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_4209-8_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_4209-8_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_4209-8_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_4209-8_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_4209-8_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4209-8_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_4209-8_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_4209-8_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_4209-8_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_4209-8_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_4209-8_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_4209-8_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_4209-8_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_4209-8_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_4209-8_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_4209-8_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_4209-8_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_4209-8_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_4209-8_0_4_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_4209-8_0_4_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_4209-8_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_4209-8_0_4_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_4209-8_0_4_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_4209-8_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_4209-8_0_4_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_4209-8_0_4_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_4209-8_0_4_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_4209-8_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_4209-8_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_4209-8_0_4_node_111 | 0.4 | n |  | TRUE
84 | bus_LV_4209-8_0_4_node_109 | 0.4 | n |  | TRUE
85 | bus_LV_4209-8_0_4_node_112 | 0.4 | n |  | TRUE
86 | bus_LV_4209-8_0_4_node_108 | 0.4 | n |  | TRUE
87 | bus_LV_4209-8_0_4_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_4209-8_0_4_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_4209-8_0_4_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_4209-8_0_4_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_4209-8_0_4_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_4209-8_0_4_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_4209-8_0_4_node_114 | 0.4 | n |  | TRUE
94 | bus_LV_4209-8_0_4_node_103 | 0.4 | n |  | TRUE
95 | bus_LV_4209-8_0_4_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_4209-8_0_4_node_98 | 0.4 | n |  | TRUE
97 | bus_LV_4209-8_0_4_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_4209-8_0_4_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_4209-8_0_4_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_4209-8_0_4_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_4209-8_0_4_node_94 | 0.4 | n |  | TRUE
102 | bus_LV_4209-8_0_4_node_96 | 0.4 | n |  | TRUE
103 | bus_LV_4209-8_0_4_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_4209-8_0_4_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_4209-8_0_4_node_100 | 0.4 | n |  | TRUE
106 | bus_LV_4209-8_0_4_node_110 | 0.4 | n |  | TRUE
107 | bus_LV_4209-8_0_4_node_113 | 0.4 | n |  | TRUE
108 | bus_MV_427_1_node_283 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4209-8_0_4_load_0 | 0 | 0.0061594 | 0.0015437 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4209-8_0_4_load_1 | 1 | 0.0015346 | 0.00038461 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4209-8_0_4_load_3 | 3 | 0.002704 | 0.00067768 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4209-8_0_4_load_4 | 4 | 0.0033192 | 0.00083188 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4209-8_0_4_load_22 | 6 | 0.0073389 | 0.0018393 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4209-8_0_4_load_72 | 7 | 0.0018128 | 0.00045432 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4209-8_0_4_load_106 | 8 | 0.0041898 | 0.0010501 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4209-8_0_4_load_23 | 9 | 0.0014632 | 0.0003667 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4209-8_0_4_load_73 | 10 | 0.0028604 | 0.00071687 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4209-8_0_4_load_6 | 11 | 0.0033313 | 0.0008349 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4209-8_0_4_load_7 | 12 | 0.0043421 | 0.0010882 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4209-8_0_4_load_8 | 13 | 0.0025601 | 0.00064163 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4209-8_0_4_load_37 | 15 | 0.0076145 | 0.0019084 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4209-8_0_4_load_28 | 16 | 0.0064603 | 0.0016191 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4209-8_0_4_load_88 | 17 | 0.0047625 | 0.0011936 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4209-8_0_4_load_11 | 19 | 0.0048137 | 0.0012064 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4209-8_0_4_load_12 | 20 | 0.004917 | 0.0012323 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4209-8_0_4_load_15 | 23 | 0.0054482 | 0.0013655 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4209-8_0_4_load_20 | 26 | 0.000959 | 0.00024035 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4209-8_0_4_load_18 | 27 | 0.0061121 | 0.0015318 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4209-8_0_4_load_16 | 28 | 0.002964 | 0.00074284 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4209-8_0_4_load_31 | 29 | 0.0029651 | 0.00074313 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4209-8_0_4_load_105 | 30 | 0.0050522 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4209-8_0_4_load_50 | 31 | 0.0011322 | 0.00028376 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4209-8_0_4_load_32 | 33 | 0.0010372 | 0.00025994 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4209-8_0_4_load_116 | 34 | 0.001749 | 0.00043835 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4209-8_0_4_load_21 | 36 | 0.0013193 | 0.00033065 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4209-8_0_4_load_71 | 37 | 0.0015321 | 0.00038399 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4209-8_0_4_load_36 | 38 | 0.0017962 | 0.00045016 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4209-8_0_4_load_34 | 39 | 0.0033522 | 0.00084013 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4209-8_0_4_load_33 | 40 | 0.0031649 | 0.00079321 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4209-8_0_4_load_24 | 41 | 0.0019322 | 0.00048427 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4209-8_0_4_load_30 | 44 | 0.0015667 | 0.00039264 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4209-8_0_4_load_78 | 45 | 0.00082597 | 0.00020701 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4209-8_0_4_load_29 | 47 | 0.0042938 | 0.0010761 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4209-8_0_4_load_76 | 48 | 0.0018011 | 0.00045141 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4209-8_0_4_load_80 | 49 | 0.0010525 | 0.00026378 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4209-8_0_4_load_102 | 50 | 0.0095217 | 0.0023864 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4209-8_0_4_load_35 | 51 | 0.0031808 | 0.00079718 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4209-8_0_4_load_39 | 53 | 0.00211 | 0.00052881 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4209-8_0_4_load_40 | 54 | 0.00308 | 0.00077191 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4209-8_0_4_load_48 | 56 | 0.0024719 | 0.00061951 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4209-8_0_4_load_54 | 57 | 0.002267 | 0.00056817 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4209-8_0_4_load_42 | 59 | 0.0020969 | 0.00052552 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4209-8_0_4_load_43 | 60 | 0.0018766 | 0.00047033 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4209-8_0_4_load_46 | 62 | 0.001919 | 0.00048095 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4209-8_0_4_load_47 | 63 | 0.0014355 | 0.00035978 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4209-8_0_4_load_49 | 64 | 0.0039216 | 0.00098285 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4209-8_0_4_load_55 | 65 | 0.0030718 | 0.00076988 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4209-8_0_4_load_56 | 67 | 0.0017822 | 0.00044665 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4209-8_0_4_load_66 | 68 | 0.002094 | 0.00052482 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4209-8_0_4_load_60 | 69 | 0.0016584 | 0.00041565 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4209-8_0_4_load_52 | 70 | 0.0039458 | 0.00098892 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4209-8_0_4_load_53 | 71 | 0.0020342 | 0.00050982 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4209-8_0_4_load_63 | 72 | 0.0026675 | 0.00066854 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4209-8_0_4_load_74 | 73 | 0.00079945 | 0.00020036 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4209-8_0_4_load_64 | 74 | 0.0015059 | 0.0003774 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4209-8_0_4_load_57 | 76 | 0.0015397 | 0.00038589 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4209-8_0_4_load_67 | 77 | 0.002158 | 0.00054085 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4209-8_0_4_load_58 | 78 | 0.0014008 | 0.00035106 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4209-8_0_4_load_59 | 79 | 0.0010712 | 0.00026846 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4209-8_0_4_load_68 | 80 | 0.003742 | 0.00093783 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4209-8_0_4_load_69 | 81 | 0.00247 | 0.00061903 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4209-8_0_4_load_109 | 84 | 0.0018865 | 0.00047279 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4209-8_0_4_load_112 | 85 | 0.0027818 | 0.0006972 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4209-8_0_4_load_108 | 86 | 0.0019409 | 0.00048643 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4209-8_0_4_load_77 | 87 | 0.00156 | 0.00039097 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4209-8_0_4_load_79 | 88 | 0.00099502 | 0.00024938 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4209-8_0_4_load_84 | 91 | 0.0022609 | 0.00056664 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4209-8_0_4_load_85 | 92 | 0.0037172 | 0.00093162 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4209-8_0_4_load_114 | 93 | 0.0015763 | 0.00039505 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4209-8_0_4_load_103 | 94 | 0.0032094 | 0.00080435 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4209-8_0_4_load_86 | 95 | 0.004248 | 0.0010646 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4209-8_0_4_load_98 | 96 | 0.001535 | 0.00038472 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4209-8_0_4_load_87 | 97 | 0.003675 | 0.00092104 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4209-8_0_4_load_91 | 99 | 0.0020195 | 0.00050612 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4209-8_0_4_load_92 | 100 | 0.0017815 | 0.00044648 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4209-8_0_4_load_94 | 101 | 0.0011491 | 0.000288 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4209-8_0_4_load_97 | 103 | 0.0026355 | 0.00066051 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4209-8_0_4_load_99 | 104 | 0.0030499 | 0.00076438 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4209-8_0_4_load_100 | 105 | 0.0023714 | 0.00059434 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4209-8_0_4_load_110 | 106 | 0.002227 | 0.00055814 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4209-8_0_4_load_113 | 107 | 0.0021679 | 0.00054332 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4209-8_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4209-8_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.040819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4209-8_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4209-8_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4209-8_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.074729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4209-8_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.013387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4209-8_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.023115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4209-8_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.010087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4209-8_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.020799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4209-8_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.013361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4209-8_0_4_line_10 | NAYY 4x150 SE | 9 | 39 | 0.0019589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4209-8_0_4_line_11 | NAYY 4x150 SE | 11 | 12 | 0.016899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4209-8_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.017247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4209-8_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.010573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4209-8_0_4_line_14 | NAYY 4x150 SE | 14 | 15 | 0.018322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4209-8_0_4_line_15 | NAYY 4x150 SE | 14 | 16 | 0.011637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4209-8_0_4_line_16 | NAYY 4x150 SE | 15 | 17 | 0.014275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4209-8_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.030533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4209-8_0_4_line_18 | NAYY 4x150 SE | 18 | 43 | 0.031857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4209-8_0_4_line_19 | NAYY 4x150 SE | 19 | 20 | 0.017688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4209-8_0_4_line_20 | NAYY 4x150 SE | 20 | 21 | 0.025919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4209-8_0_4_line_21 | NAYY 4x150 SE | 21 | 25 | 0.003463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4209-8_0_4_line_22 | NAYY 4x150 SE | 21 | 26 | 0.0076449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4209-8_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.0163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_4209-8_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.034529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_4209-8_0_4_line_25 | NAYY 4x150 SE | 23 | 27 | 0.018952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_4209-8_0_4_line_26 | NAYY 4x150 SE | 24 | 30 | 0.0085248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_4209-8_0_4_line_27 | NAYY 4x150 SE | 25 | 31 | 0.034461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4209-8_0_4_line_28 | NAYY 4x150 SE | 26 | 32 | 0.024252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_4209-8_0_4_line_29 | NAYY 4x150 SE | 27 | 32 | 0.017901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4209-8_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.018233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4209-8_0_4_line_31 | NAYY 4x150 SE | 29 | 33 | 0.035918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4209-8_0_4_line_32 | NAYY 4x150 SE | 30 | 34 | 0.046007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4209-8_0_4_line_33 | NAYY 4x150 SE | 30 | 35 | 0.037176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4209-8_0_4_line_34 | NAYY 4x150 SE | 31 | 52 | 0.018837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4209-8_0_4_line_35 | NAYY 4x150 SE | 32 | 36 | 0.0041626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_4209-8_0_4_line_36 | NAYY 4x150 SE | 33 | 51 | 0.019659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4209-8_0_4_line_37 | NAYY 4x150 SE | 35 | 50 | 0.0087269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_4209-8_0_4_line_38 | NAYY 4x150 SE | 35 | 47 | 0.031032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4209-8_0_4_line_39 | NAYY 4x150 SE | 36 | 37 | 0.030387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_4209-8_0_4_line_40 | NAYY 4x150 SE | 37 | 38 | 0.022968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_4209-8_0_4_line_41 | NAYY 4x150 SE | 38 | 51 | 0.017145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_4209-8_0_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4209-8_0_4_line_43 | NAYY 4x150 SE | 40 | 51 | 0.027246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4209-8_0_4_line_44 | NAYY 4x150 SE | 41 | 42 | 0.03444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4209-8_0_4_line_45 | NAYY 4x150 SE | 42 | 44 | 0.023985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4209-8_0_4_line_46 | NAYY 4x150 SE | 43 | 45 | 0.015728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4209-8_0_4_line_47 | NAYY 4x150 SE | 43 | 46 | 0.004007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4209-8_0_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.01847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4209-8_0_4_line_49 | NAYY 4x150 SE | 45 | 48 | 0.013127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4209-8_0_4_line_50 | NAYY 4x150 SE | 46 | 49 | 0.034823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4209-8_0_4_line_51 | NAYY 4x150 SE | 48 | 87 | 0.023232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4209-8_0_4_line_52 | NAYY 4x150 SE | 49 | 89 | 0.020971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4209-8_0_4_line_53 | NAYY 4x150 SE | 50 | 94 | 0.038568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_4209-8_0_4_line_54 | NAYY 4x150 SE | 52 | 70 | 0.021507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4209-8_0_4_line_55 | NAYY 4x150 SE | 52 | 71 | 0.056142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4209-8_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0018844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4209-8_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.01561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4209-8_0_4_line_58 | NAYY 4x150 SE | 55 | 56 | 0.015065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4209-8_0_4_line_59 | NAYY 4x150 SE | 55 | 57 | 0.016358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4209-8_0_4_line_60 | NAYY 4x150 SE | 56 | 58 | 0.01139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4209-8_0_4_line_61 | NAYY 4x150 SE | 58 | 64 | 0.032061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4209-8_0_4_line_62 | NAYY 4x150 SE | 58 | 60 | 0.0098451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4209-8_0_4_line_63 | NAYY 4x150 SE | 59 | 60 | 0.031408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4209-8_0_4_line_64 | NAYY 4x150 SE | 59 | 61 | 0.0153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4209-8_0_4_line_65 | NAYY 4x150 SE | 61 | 62 | 0.0091468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4209-8_0_4_line_66 | NAYY 4x150 SE | 61 | 63 | 0.014149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4209-8_0_4_line_67 | NAYY 4x150 SE | 62 | 65 | 0.0128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4209-8_0_4_line_68 | NAYY 4x150 SE | 63 | 66 | 0.014465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4209-8_0_4_line_69 | NAYY 4x150 SE | 65 | 67 | 0.009131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4209-8_0_4_line_70 | NAYY 4x150 SE | 66 | 68 | 0.028475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4209-8_0_4_line_71 | NAYY 4x150 SE | 66 | 69 | 0.03213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4209-8_0_4_line_72 | NAYY 4x150 SE | 67 | 76 | 0.017556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4209-8_0_4_line_73 | NAYY 4x150 SE | 69 | 79 | 0.0045023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4209-8_0_4_line_74 | NAYY 4x150 SE | 70 | 72 | 0.0058413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4209-8_0_4_line_75 | NAYY 4x150 SE | 71 | 73 | 0.013812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4209-8_0_4_line_76 | NAYY 4x150 SE | 72 | 74 | 0.0095865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4209-8_0_4_line_77 | NAYY 4x150 SE | 73 | 75 | 0.02706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4209-8_0_4_line_78 | NAYY 4x150 SE | 74 | 80 | 0.012444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4209-8_0_4_line_79 | NAYY 4x150 SE | 75 | 82 | 0.034044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4209-8_0_4_line_80 | NAYY 4x150 SE | 75 | 77 | 0.017081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4209-8_0_4_line_81 | NAYY 4x150 SE | 76 | 77 | 0.00068359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4209-8_0_4_line_82 | NAYY 4x150 SE | 78 | 79 | 0.0081259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4209-8_0_4_line_83 | NAYY 4x150 SE | 80 | 81 | 0.0052846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4209-8_0_4_line_84 | NAYY 4x150 SE | 82 | 83 | 0.031699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4209-8_0_4_line_85 | NAYY 4x150 SE | 82 | 84 | 0.014283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4209-8_0_4_line_86 | NAYY 4x150 SE | 83 | 85 | 0.017372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4209-8_0_4_line_87 | NAYY 4x150 SE | 84 | 86 | 0.019872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4209-8_0_4_line_88 | NAYY 4x150 SE | 85 | 107 | 0.017533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4209-8_0_4_line_89 | NAYY 4x150 SE | 86 | 106 | 0.015351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4209-8_0_4_line_90 | NAYY 4x150 SE | 87 | 88 | 0.026403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4209-8_0_4_line_91 | NAYY 4x150 SE | 89 | 90 | 0.026818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_4209-8_0_4_line_92 | NAYY 4x150 SE | 89 | 91 | 0.0189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4209-8_0_4_line_93 | NAYY 4x150 SE | 89 | 92 | 0.057936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4209-8_0_4_line_94 | NAYY 4x150 SE | 90 | 93 | 0.03157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4209-8_0_4_line_95 | NAYY 4x150 SE | 90 | 94 | 0.0050936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
96 | LV_4209-8_0_4_line_96 | NAYY 4x150 SE | 91 | 95 | 0.00031595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4209-8_0_4_line_97 | NAYY 4x150 SE | 92 | 96 | 0.0021267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4209-8_0_4_line_98 | NAYY 4x150 SE | 95 | 97 | 0.043235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4209-8_0_4_line_99 | NAYY 4x150 SE | 96 | 98 | 0.027816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4209-8_0_4_line_100 | NAYY 4x150 SE | 98 | 102 | 0.004645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4209-8_0_4_line_101 | NAYY 4x150 SE | 98 | 103 | 0.046343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4209-8_0_4_line_102 | NAYY 4x150 SE | 98 | 101 | 0.0132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4209-8_0_4_line_103 | NAYY 4x150 SE | 99 | 100 | 0.025962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4209-8_0_4_line_104 | NAYY 4x150 SE | 100 | 101 | 0.034298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4209-8_0_4_line_105 | NAYY 4x150 SE | 102 | 104 | 0.015478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4209-8_0_4_line_106 | NAYY 4x150 SE | 104 | 105 | 0.013463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4209-8_0_4_trafo_35 | 0.25 MVA 20/0.4 kV | 108 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2654664.4721 | 1244444.4505 | 2654664.4721 | 1244444.4505 | 2654654.5285 | 1244454.1989 | 2654652.5089 | 1244456.2966
1 | 2654690.9188 | 1244415.0744 | 2654690.3502 | 1244419.372 | 2654688.0531 | 1244424.2764 | 2654683.6129 | 1244428.8608 | 2654664.4721 | 1244444.4505
2 | 2654652.5089 | 1244456.2966 | 2654642.9316 | 1244466.2446 | 2654640.1855 | 1244469.6702
3 | 2654690.9188 | 1244415.0744 | 2654700.7951 | 1244418.3676 | 2654702.3907 | 1244420.7061
4 | 2654690.9188 | 1244415.0744 | 2654691.2847 | 1244412.2648 | 2654689.8531 | 1244401.9891 | 2654707.8069 | 1244396.3285 | 2654723.6205 | 1244388.3912 | 2654744.1849 | 1244374.1712
5 | 2654631.8118 | 1244480.1155 | 2654640.1855 | 1244469.6702
6 | 2654702.3907 | 1244420.7061 | 2654702.8577 | 1244424.9577 | 2654701.4899 | 1244430.7045 | 2654695.7083 | 1244442.2701
7 | 2654744.1849 | 1244374.1712 | 2654752.5865 | 1244368.5894
8 | 2654631.8118 | 1244480.1155 | 2654631.2434 | 1244480.8246 | 2654621.9681 | 1244494.3261 | 2654620.4383 | 1244497.4851
9 | 2654687.0979 | 1244452.4866 | 2654695.7083 | 1244442.2701 | 2654695.7083 | 1244442.2701
10 | 2654619.5845 | 1244499.2481 | 2654620.4383 | 1244497.4851
11 | 2654560.0998 | 1244453.4505 | 2654558.6502 | 1244455.9402 | 2654554.0697 | 1244463.4699 | 2654551.3643 | 1244467.9157
12 | 2654560.0998 | 1244453.4505 | 2654568.7779 | 1244438.5456
13 | 2654545.8679 | 1244476.948 | 2654551.3643 | 1244467.9157
14 | 2654545.8679 | 1244476.948 | 2654532.3131 | 1244464.621
15 | 2654545.8679 | 1244476.948 | 2654544.1032 | 1244479.8448 | 2654541.0036 | 1244484.9309 | 2654539.9909 | 1244486.9833
16 | 2654532.3131 | 1244464.621 | 2654521.7519 | 1244455.0165
17 | 2654528.5669 | 1244515.2037 | 2654529.1202 | 1244512.5625 | 2654534.0891 | 1244498.9434 | 2654539.9909 | 1244486.9833
18 | 2654524.9218 | 1244546.7581 | 2654525.9357 | 1244527.7101 | 2654528.5669 | 1244515.2037
19 | 2654688.5506 | 1244631.4947 | 2654684.9622 | 1244635.7791 | 2654678.1474 | 1244645.7762
20 | 2654702.3009 | 1244609.8881 | 2654698.2413 | 1244619.9241 | 2654688.5506 | 1244631.4947
21 | 2654705.5076 | 1244611.2186 | 2654702.3009 | 1244609.8881
22 | 2654702.3009 | 1244609.8881 | 2654697.8296 | 1244608.0234 | 2654695.3262 | 1244606.7685
23 | 2654640.2483 | 1244641.0487 | 2654650.128 | 1244628.0841
24 | 2654640.2483 | 1244641.0487 | 2654635.5636 | 1244649.2333 | 2654624.6986 | 1244662.2643 | 2654619.0226 | 1244668.1382
25 | 2654650.128 | 1244628.0841 | 2654661.6153 | 1244613.01
26 | 2654619.0226 | 1244668.1382 | 2654612.291 | 1244662.9078
27 | 2654705.5076 | 1244611.2186 | 2654719.3197 | 1244612.1354 | 2654724.6018 | 1244609.6602 | 2654731.5799 | 1244601.8971 | 2654734.013 | 1244598.295
28 | 2654672.4651 | 1244598.7724 | 2654692.2712 | 1244605.237 | 2654695.3262 | 1244606.7685
29 | 2654672.4651 | 1244598.7724 | 2654661.6153 | 1244613.01
30 | 2654605.7551 | 1244599.1157 | 2654594.9488 | 1244584.4302
31 | 2654607.1758 | 1244555.5312 | 2654605.2119 | 1244560.372 | 2654598.8908 | 1244564.9057 | 2654591.3765 | 1244574.2874 | 2654593.4554 | 1244582.4009 | 2654594.9488 | 1244584.4302
32 | 2654612.291 | 1244662.9078 | 2654578.6431 | 1244694.2844
33 | 2654582.935 | 1244640.0985 | 2654612.291 | 1244662.9078
34 | 2654745.2857 | 1244583.222 | 2654738.245 | 1244592.0297 | 2654734.013 | 1244598.295
35 | 2654672.4651 | 1244598.7724 | 2654669.0302 | 1244596.4212
36 | 2654622.9989 | 1244544.0468 | 2654614.1434 | 1244549.7247 | 2654610.5408 | 1244551.9931 | 2654607.1758 | 1244555.5312 | 2654607.1758 | 1244555.5312
37 | 2654582.935 | 1244640.0985 | 2654580.5974 | 1244638.7427 | 2654574.8666 | 1244636.8842
38 | 2654582.935 | 1244640.0985 | 2654576.699 | 1244609.6993
39 | 2654646.3719 | 1244576.5039 | 2654656.5761 | 1244587.8965 | 2654669.0302 | 1244596.4212
40 | 2654646.3719 | 1244576.5039 | 2654637.3464 | 1244566.4273 | 2654632.2517 | 1244558.4801
41 | 2654622.9989 | 1244544.0468 | 2654632.2517 | 1244558.4801
42 | 2654619.5845 | 1244499.2481 | 2654617.6314 | 1244503.2811 | 2654615.9471 | 1244513.0389 | 2654616.0313 | 1244518.0555
43 | 2654622.9989 | 1244544.0468 | 2654620.8908 | 1244540.7475 | 2654616.1179 | 1244523.214 | 2654616.0313 | 1244518.0555
44 | 2654561.9627 | 1244558.3395 | 2654561.0402 | 1244549.3695 | 2654561.1242 | 1244540.2308 | 2654564.2436 | 1244527.2396 | 2654561.4737 | 1244526.3051
45 | 2654561.9627 | 1244558.3395 | 2654542.8629 | 1244557.2077 | 2654543.1115 | 1244552.3623
46 | 2654524.9218 | 1244546.7581 | 2654515.7524 | 1244543.0269 | 2654510.3522 | 1244540.8342
47 | 2654524.9218 | 1244546.7581 | 2654524.7113 | 1244550.7588
48 | 2654524.7113 | 1244550.7588 | 2654543.1115 | 1244552.3623
49 | 2654500.5798 | 1244532.2526 | 2654508.608 | 1244540.126 | 2654510.3522 | 1244540.8342
50 | 2654524.7113 | 1244550.7588 | 2654524.091 | 1244562.3387 | 2654522.1697 | 1244575.7078 | 2654519.6344 | 1244585.0913
51 | 2654500.5798 | 1244532.2526 | 2654494.5887 | 1244526.3769 | 2654483.9954 | 1244515.9841
52 | 2654512.4419 | 1244604.7825 | 2654519.158 | 1244586.8543 | 2654519.6344 | 1244585.0913
53 | 2654574.8666 | 1244636.8842 | 2654556.8508 | 1244631.0415 | 2654546.6973 | 1244625.0552 | 2654539.9359 | 1244621.0837
54 | 2654745.2857 | 1244583.222 | 2654727.599 | 1244570.985
55 | 2654745.2857 | 1244583.222 | 2654749.1002 | 1244578.4651 | 2654753.5417 | 1244572.1018 | 2654756.6095 | 1244568.0162 | 2654771.9746 | 1244544.7868 | 2654777.5653 | 1244537.3249
56 | 2654681.6211 | 1244503.7135 | 2654682.8392 | 1244502.2758
57 | 2654692.9298 | 1244490.3658 | 2654682.8392 | 1244502.2758
58 | 2654692.9298 | 1244490.3658 | 2654705.243 | 1244499.0461
59 | 2654703.5109 | 1244477.866 | 2654692.9298 | 1244490.3658
60 | 2654714.552 | 1244505.6086 | 2654705.243 | 1244499.0461
61 | 2654695.2205 | 1244531.2255 | 2654714.552 | 1244505.6086
62 | 2654714.552 | 1244505.6086 | 2654720.4814 | 1244497.7493
63 | 2654739.3976 | 1244472.6763 | 2654720.4814 | 1244497.7493
64 | 2654750.8416 | 1244463.4816 | 2654747.16 | 1244464.4705 | 2654744.4331 | 1244466.0019 | 2654739.3976 | 1244472.6763
65 | 2654750.8416 | 1244463.4816 | 2654753.9008 | 1244463.6099 | 2654756.7055 | 1244465.1145 | 2654758.8942 | 1244467.0202
66 | 2654750.8416 | 1244463.4816 | 2654748.8475 | 1244458.482 | 2654742.3749 | 1244452.5693
67 | 2654768.5479 | 1244475.4256 | 2654758.8942 | 1244467.0202
68 | 2654731.6951 | 1244442.8133 | 2654742.3749 | 1244452.5693
69 | 2654768.5479 | 1244475.4256 | 2654775.4344 | 1244481.4216
70 | 2654731.6951 | 1244442.8133 | 2654734.3059 | 1244437.4894 | 2654738.9951 | 1244428.8601 | 2654733.3423 | 1244417.4448
71 | 2654731.6951 | 1244442.8133 | 2654754.6011 | 1244420.2818
72 | 2654775.4344 | 1244481.4216 | 2654788.6746 | 1244492.9498
73 | 2654754.6011 | 1244420.2818 | 2654757.8108 | 1244417.1245
74 | 2654727.599 | 1244570.985 | 2654722.7954 | 1244567.6615
75 | 2654777.5653 | 1244537.3249 | 2654785.8469 | 1244526.2716
76 | 2654714.9118 | 1244562.2071 | 2654722.7954 | 1244567.6615
77 | 2654802.0727 | 1244504.6154 | 2654785.8469 | 1244526.2716
78 | 2654704.6783 | 1244555.1268 | 2654714.9118 | 1244562.2071
79 | 2654820.5108 | 1244475.9663 | 2654802.0727 | 1244504.6154
80 | 2654802.0727 | 1244504.6154 | 2654789.1902 | 1244493.3987
81 | 2654788.6746 | 1244492.9498 | 2654789.1902 | 1244493.3987
82 | 2654761.3637 | 1244410.2484 | 2654760.6427 | 1244414.3389 | 2654757.8108 | 1244417.1245
83 | 2654700.3325 | 1244552.12 | 2654704.6783 | 1244555.1268
84 | 2654820.5108 | 1244475.9663 | 2654835.8202 | 1244448.189
85 | 2654820.5108 | 1244475.9663 | 2654809.6784 | 1244466.6563
86 | 2654835.8202 | 1244448.189 | 2654822.337 | 1244437.235
87 | 2654794.608 | 1244453.704 | 2654809.6784 | 1244466.6563
88 | 2654808.7293 | 1244426.1796 | 2654822.337 | 1244437.235
89 | 2654782.9658 | 1244443.698 | 2654794.608 | 1244453.704
90 | 2654464.7145 | 1244497.9614 | 2654473.2526 | 1244505.4448 | 2654483.9954 | 1244515.9841
91 | 2654512.4419 | 1244604.7825 | 2654515.536 | 1244606.8567 | 2654535.5439 | 1244618.5039
92 | 2654512.4419 | 1244604.7825 | 2654503.9764 | 1244621.6802
93 | 2654512.4419 | 1244604.7825 | 2654505.6042 | 1244597.2924 | 2654487.5735 | 1244569.4637 | 2654484.6955 | 1244567.7028 | 2654482.6507 | 1244568.2066 | 2654481.4768 | 1244568.496 | 2654474.9663 | 1244573.051
94 | 2654535.5439 | 1244618.5039 | 2654541.3693 | 1244609.5292 | 2654543.1851 | 1244588.7319
95 | 2654535.5439 | 1244618.5039 | 2654539.9359 | 1244621.0837
96 | 2654503.8349 | 1244621.9627 | 2654503.9764 | 1244621.6802
97 | 2654474.9663 | 1244573.051 | 2654473.2238 | 1244574.2701
98 | 2654503.8349 | 1244621.9627 | 2654502.8662 | 1244623.8963 | 2654500.4307 | 1244629.9113 | 2654498.0222 | 1244637.9168 | 2654496.7596 | 1244645.3991 | 2654496.6584 | 1244653.1256 | 2654498.0986 | 1244661.6779 | 2654498.7498 | 1244663.8165
99 | 2654450.2383 | 1244589.9349 | 2654471.4379 | 1244575.5197 | 2654473.2238 | 1244574.2701
100 | 2654446.2492 | 1244592.3332 | 2654450.2383 | 1244589.9349
101 | 2654450.2383 | 1244589.9349 | 2654447.8317 | 1244577.9937 | 2654444.0647 | 1244557.8344 | 2654443.5143 | 1244544.5316 | 2654443.4609 | 1244544.1965
102 | 2654450.2383 | 1244589.9349 | 2654452.5058 | 1244601.3967 | 2654452.7789 | 1244602.8879
103 | 2654464.0146 | 1244662.0887 | 2654459.8453 | 1244641.4799 | 2654458.9563 | 1244636.6251
104 | 2654458.9563 | 1244636.6251 | 2654452.7789 | 1244602.8879
105 | 2654446.2492 | 1244592.3332 | 2654440.6295 | 1244596.2065 | 2654433.9081 | 1244601.656
106 | 2654433.9081 | 1244601.656 | 2654423.4502 | 1244610.1348

## bus_geodata
| x | y | coords
0 | 2654664.4721 | 1244444.4505
1 | 2654652.5089 | 1244456.2966
2 | 2654690.9188 | 1244415.0744
3 | 2654640.1855 | 1244469.6702
4 | 2654702.3907 | 1244420.7061
5 | 2654744.1849 | 1244374.1712
6 | 2654631.8118 | 1244480.1155
7 | 2654695.7083 | 1244442.2701
8 | 2654752.5865 | 1244368.5894
9 | 2654620.4383 | 1244497.4851
10 | 2654687.0979 | 1244452.4866
11 | 2654560.0998 | 1244453.4505
12 | 2654551.3643 | 1244467.9157
13 | 2654568.7779 | 1244438.5456
14 | 2654545.8679 | 1244476.948
15 | 2654532.3131 | 1244464.621
16 | 2654539.9909 | 1244486.9833
17 | 2654521.7519 | 1244455.0165
18 | 2654528.5669 | 1244515.2037
19 | 2654678.1474 | 1244645.7762
20 | 2654688.5506 | 1244631.4947
21 | 2654702.3009 | 1244609.8881
22 | 2654640.2483 | 1244641.0487
23 | 2654650.128 | 1244628.0841
24 | 2654619.0226 | 1244668.1382
25 | 2654705.5076 | 1244611.2186
26 | 2654695.3262 | 1244606.7685
27 | 2654661.6153 | 1244613.01
28 | 2654605.7551 | 1244599.1157
29 | 2654594.9488 | 1244584.4302
30 | 2654612.291 | 1244662.9078
31 | 2654734.013 | 1244598.295
32 | 2654672.4651 | 1244598.7724
33 | 2654607.1758 | 1244555.5312
34 | 2654578.6431 | 1244694.2844
35 | 2654582.935 | 1244640.0985
36 | 2654669.0302 | 1244596.4212
37 | 2654646.3719 | 1244576.5039
38 | 2654632.2517 | 1244558.4801
39 | 2654619.5845 | 1244499.2481
40 | 2654616.0313 | 1244518.0555
41 | 2654561.4737 | 1244526.3051
42 | 2654561.9627 | 1244558.3395
43 | 2654524.9218 | 1244546.7581
44 | 2654543.1115 | 1244552.3623
45 | 2654510.3522 | 1244540.8342
46 | 2654524.7113 | 1244550.7588
47 | 2654576.699 | 1244609.6993
48 | 2654500.5798 | 1244532.2526
49 | 2654519.6344 | 1244585.0913
50 | 2654574.8666 | 1244636.8842
51 | 2654622.9989 | 1244544.0468
52 | 2654745.2857 | 1244583.222
53 | 2654681.6211 | 1244503.7135
54 | 2654682.8392 | 1244502.2758
55 | 2654692.9298 | 1244490.3658
56 | 2654705.243 | 1244499.0461
57 | 2654703.5109 | 1244477.866
58 | 2654714.552 | 1244505.6086
59 | 2654739.3976 | 1244472.6763
60 | 2654720.4814 | 1244497.7493
61 | 2654750.8416 | 1244463.4816
62 | 2654758.8942 | 1244467.0202
63 | 2654742.3749 | 1244452.5693
64 | 2654695.2205 | 1244531.2255
65 | 2654768.5479 | 1244475.4256
66 | 2654731.6951 | 1244442.8133
67 | 2654775.4344 | 1244481.4216
68 | 2654733.3423 | 1244417.4448
69 | 2654754.6011 | 1244420.2818
70 | 2654727.599 | 1244570.985
71 | 2654777.5653 | 1244537.3249
72 | 2654722.7954 | 1244567.6615
73 | 2654785.8469 | 1244526.2716
74 | 2654714.9118 | 1244562.2071
75 | 2654802.0727 | 1244504.6154
76 | 2654788.6746 | 1244492.9498
77 | 2654789.1902 | 1244493.3987
78 | 2654761.3637 | 1244410.2484
79 | 2654757.8108 | 1244417.1245
80 | 2654704.6783 | 1244555.1268
81 | 2654700.3325 | 1244552.12
82 | 2654820.5108 | 1244475.9663
83 | 2654835.8202 | 1244448.189
84 | 2654809.6784 | 1244466.6563
85 | 2654822.337 | 1244437.235
86 | 2654794.608 | 1244453.704
87 | 2654483.9954 | 1244515.9841
88 | 2654464.7145 | 1244497.9614
89 | 2654512.4419 | 1244604.7825
90 | 2654535.5439 | 1244618.5039
91 | 2654503.9764 | 1244621.6802
92 | 2654474.9663 | 1244573.051
93 | 2654543.1851 | 1244588.7319
94 | 2654539.9359 | 1244621.0837
95 | 2654503.8349 | 1244621.9627
96 | 2654473.2238 | 1244574.2701
97 | 2654498.7498 | 1244663.8165
98 | 2654450.2383 | 1244589.9349
99 | 2654464.0146 | 1244662.0887
100 | 2654458.9563 | 1244636.6251
101 | 2654452.7789 | 1244602.8879
102 | 2654446.2492 | 1244592.3332
103 | 2654443.4609 | 1244544.1965
104 | 2654433.9081 | 1244601.656
105 | 2654423.4502 | 1244610.1348
106 | 2654782.9658 | 1244443.698
107 | 2654808.7293 | 1244426.1796
108 | 2654672.4651 | 1244598.7724

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1