## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_422-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_422-1_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_422-1_0_2_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_422-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_422-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_422-1_0_2_node_69 | 0.4 | n |  | TRUE
6 | bus_LV_422-1_0_2_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_422-1_0_2_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_422-1_0_2_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_422-1_0_2_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_422-1_0_2_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_422-1_0_2_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_422-1_0_2_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_422-1_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_422-1_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_422-1_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_422-1_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_422-1_0_2_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_422-1_0_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_422-1_0_2_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_422-1_0_2_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_422-1_0_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_422-1_0_2_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_422-1_0_2_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_422-1_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_422-1_0_2_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_422-1_0_2_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_422-1_0_2_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_422-1_0_2_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_422-1_0_2_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_422-1_0_2_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_422-1_0_2_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_422-1_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_422-1_0_2_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_422-1_0_2_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_422-1_0_2_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_422-1_0_2_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_422-1_0_2_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_422-1_0_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_422-1_0_2_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_422-1_0_2_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_422-1_0_2_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_422-1_0_2_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_422-1_0_2_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_422-1_0_2_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_422-1_0_2_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_422-1_0_2_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_422-1_0_2_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_422-1_0_2_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_422-1_0_2_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_422-1_0_2_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_422-1_0_2_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_422-1_0_2_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_422-1_0_2_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_422-1_0_2_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_422-1_0_2_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_422-1_0_2_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_422-1_0_2_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_422-1_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_422-1_0_2_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_422-1_0_2_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_422-1_0_2_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_422-1_0_2_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_422-1_0_2_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_422-1_0_2_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_422-1_0_2_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_422-1_0_2_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_422-1_0_2_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_422-1_0_2_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_422-1_0_2_node_70 | 0.4 | n |  | TRUE
70 | bus_MV_485_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_422-1_0_2_load_0 | 0 | 0.0019586 | 0.00049087 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_422-1_0_2_load_1 | 2 | 0.0017294 | 0.00043342 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_422-1_0_2_load_69 | 5 | 0.0019655 | 0.0004926 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_422-1_0_2_load_61 | 7 | 0.0016712 | 0.00041885 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_422-1_0_2_load_71 | 8 | 0.0034924 | 0.00087527 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_422-1_0_2_load_68 | 9 | 0.0023622 | 0.00059203 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_422-1_0_2_load_60 | 11 | 0.0020438 | 0.00051222 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_422-1_0_2_load_5 | 12 | 0.0011624 | 0.00029134 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_422-1_0_2_load_6 | 13 | 0.0015839 | 0.00039696 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_422-1_0_2_load_24 | 18 | 0.0057161 | 0.0014326 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_422-1_0_2_load_54 | 19 | 0.002636 | 0.00066064 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_422-1_0_2_load_55 | 20 | 0.0015581 | 0.0003905 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_422-1_0_2_load_22 | 21 | 0.0031149 | 0.00078068 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_422-1_0_2_load_56 | 22 | 0.0017835 | 0.00044699 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_422-1_0_2_load_20 | 24 | 0.002747 | 0.00068847 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_422-1_0_2_load_10 | 25 | 0.00351 | 0.00087969 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_422-1_0_2_load_11 | 26 | 0.0016821 | 0.00042157 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_422-1_0_2_load_13 | 28 | 0.0017438 | 0.00043703 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_422-1_0_2_load_14 | 29 | 0.003032 | 0.00075989 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_422-1_0_2_load_15 | 30 | 0.0027805 | 0.00069687 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_422-1_0_2_load_16 | 31 | 0.0020187 | 0.00050593 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_422-1_0_2_load_21 | 32 | 0.002286 | 0.00057292 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_422-1_0_2_load_17 | 33 | 0.0023271 | 0.00058324 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_422-1_0_2_load_19 | 34 | 0.0021261 | 0.00053284 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_422-1_0_2_load_18 | 35 | 0.0022529 | 0.00056463 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_422-1_0_2_load_26 | 36 | 0.0018941 | 0.0004747 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_422-1_0_2_load_27 | 37 | 0.00096291 | 0.00024133 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_422-1_0_2_load_29 | 38 | 0.0029551 | 0.00074063 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_422-1_0_2_load_31 | 39 | 0.0031018 | 0.0007774 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_422-1_0_2_load_33 | 41 | 0.0038401 | 0.00096241 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_422-1_0_2_load_34 | 42 | 0.0029285 | 0.00073394 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_422-1_0_2_load_35 | 43 | 0.0070979 | 0.0017789 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_422-1_0_2_load_36 | 44 | 0.00087452 | 0.00021917 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_422-1_0_2_load_40 | 46 | 0.0023413 | 0.00058679 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_422-1_0_2_load_38 | 47 | 0.0020944 | 0.00052491 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_422-1_0_2_load_41 | 48 | 0.0025933 | 0.00064994 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_422-1_0_2_load_39 | 49 | 0.0018104 | 0.00045373 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_422-1_0_2_load_48 | 51 | 0.00094146 | 0.00023595 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_422-1_0_2_load_49 | 52 | 0.0014299 | 0.00035838 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_422-1_0_2_load_50 | 53 | 0.0062652 | 0.0015702 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_422-1_0_2_load_52 | 54 | 0.0014558 | 0.00036485 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_422-1_0_2_load_44 | 57 | 0.0024899 | 0.00062404 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_422-1_0_2_load_45 | 58 | 0.00043808 | 0.00010979 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_422-1_0_2_load_46 | 59 | 0.00046246 | 0.0001159 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_422-1_0_2_load_47 | 60 | 0.0045585 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_422-1_0_2_load_58 | 61 | 0.0016979 | 0.00042554 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_422-1_0_2_load_59 | 62 | 0.0015049 | 0.00037717 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_422-1_0_2_load_62 | 63 | 0.0014704 | 0.00036852 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_422-1_0_2_load_67 | 65 | 0.0015369 | 0.00038518 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_422-1_0_2_load_66 | 66 | 0.0014476 | 0.00036281 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_422-1_0_2_load_64 | 67 | 0.0012248 | 0.00030698 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_422-1_0_2_load_65 | 68 | 0.0011886 | 0.00029789 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_422-1_0_2_load_70 | 69 | 0.0004515 | 0.00011316 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_422-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_422-1_0_2_line_1 | NAYY 4x150 SE | 1 | 4 | 0.032385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_422-1_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.032243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_422-1_0_2_line_3 | NAYY 4x150 SE | 3 | 5 | 0.029718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_422-1_0_2_line_4 | NAYY 4x150 SE | 3 | 6 | 0.010598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_422-1_0_2_line_5 | NAYY 4x150 SE | 4 | 7 | 0.0068604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_422-1_0_2_line_6 | NAYY 4x150 SE | 5 | 8 | 0.0083948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_422-1_0_2_line_7 | NAYY 4x150 SE | 6 | 9 | 0.04003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_422-1_0_2_line_8 | NAYY 4x150 SE | 6 | 10 | 0.033276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_422-1_0_2_line_9 | NAYY 4x150 SE | 7 | 11 | 0.022435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_422-1_0_2_line_10 | NAYY 4x150 SE | 8 | 69 | 0.017285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_422-1_0_2_line_11 | NAYY 4x150 SE | 9 | 28 | 0.024511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_422-1_0_2_line_12 | NAYY 4x150 SE | 10 | 36 | 0.052723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_422-1_0_2_line_13 | NAYY 4x150 SE | 11 | 61 | 0.0014024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_422-1_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.026005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_422-1_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.031221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_422-1_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.036223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_422-1_0_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.037849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_422-1_0_2_line_18 | NAYY 4x150 SE | 14 | 17 | 0.095832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_422-1_0_2_line_19 | NAYY 4x150 SE | 15 | 19 | 0.023667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_422-1_0_2_line_20 | NAYY 4x150 SE | 15 | 20 | 0.031485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_422-1_0_2_line_21 | NAYY 4x150 SE | 16 | 21 | 0.042893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_422-1_0_2_line_22 | NAYY 4x150 SE | 17 | 18 | 0.069323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_422-1_0_2_line_23 | NAYY 4x150 SE | 19 | 22 | 0.029677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_422-1_0_2_line_24 | NAYY 4x150 SE | 20 | 23 | 0.0075078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_422-1_0_2_line_25 | NAYY 4x150 SE | 21 | 24 | 0.034596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_422-1_0_2_line_26 | NAYY 4x150 SE | 23 | 61 | 0.031026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_422-1_0_2_line_27 | NAYY 4x150 SE | 23 | 62 | 0.042253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_422-1_0_2_line_28 | NAYY 4x150 SE | 24 | 34 | 0.023495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_422-1_0_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.0060753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_422-1_0_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.013963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_422-1_0_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.029659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_422-1_0_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.022044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_422-1_0_2_line_33 | NAYY 4x150 SE | 27 | 30 | 0.012457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_422-1_0_2_line_34 | NAYY 4x150 SE | 29 | 31 | 0.024665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_422-1_0_2_line_35 | NAYY 4x150 SE | 30 | 32 | 0.024587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_422-1_0_2_line_36 | NAYY 4x150 SE | 31 | 33 | 0.02557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_422-1_0_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.016679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_422-1_0_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_422-1_0_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.0057952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_422-1_0_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.028724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_422-1_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.059212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_422-1_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.021002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_422-1_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.02091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_422-1_0_2_line_44 | NAYY 4x150 SE | 40 | 42 | 0.019288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_422-1_0_2_line_45 | NAYY 4x150 SE | 41 | 43 | 0.026076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_422-1_0_2_line_46 | NAYY 4x150 SE | 42 | 44 | 0.03861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_422-1_0_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0038173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_422-1_0_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.01794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_422-1_0_2_line_49 | NAYY 4x150 SE | 45 | 47 | 0.02217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_422-1_0_2_line_50 | NAYY 4x150 SE | 46 | 48 | 0.027994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_422-1_0_2_line_51 | NAYY 4x150 SE | 47 | 49 | 0.080682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_422-1_0_2_line_52 | NAYY 4x150 SE | 48 | 55 | 0.0007679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_422-1_0_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_422-1_0_2_line_54 | NAYY 4x150 SE | 50 | 54 | 0.053844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_422-1_0_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.023033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_422-1_0_2_line_56 | NAYY 4x150 SE | 52 | 53 | 0.03284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_422-1_0_2_line_57 | NAYY 4x150 SE | 53 | 54 | 0.068122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_422-1_0_2_line_58 | NAYY 4x150 SE | 55 | 56 | 0.036707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_422-1_0_2_line_59 | NAYY 4x150 SE | 55 | 57 | 0.042901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_422-1_0_2_line_60 | NAYY 4x150 SE | 56 | 58 | 0.067118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_422-1_0_2_line_61 | NAYY 4x150 SE | 58 | 59 | 0.0040134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_422-1_0_2_line_62 | NAYY 4x150 SE | 59 | 60 | 0.012848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_422-1_0_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.024039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_422-1_0_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.013608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_422-1_0_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.018967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_422-1_0_2_line_66 | NAYY 4x150 SE | 64 | 66 | 0.04128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_422-1_0_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.00061302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_422-1_0_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.00044882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_422-1_0_2_trafo_70 | 0.25 MVA 20/0.4 kV | 70 | 69 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2610520.9539 | 1211757.4188 | 2610519.378 | 1211754.8813 | 2610512.1579 | 1211746.7686
1 | 2610520.9539 | 1211757.4188 | 2610528.8655 | 1211768.9725 | 2610522.0365 | 1211772.5959 | 2610523.0595 | 1211778.4454 | 2610527.7181 | 1211777.7309
2 | 2610503.7956 | 1211676.5992 | 2610506.5467 | 1211693.5691 | 2610508.8189 | 1211708.4483
3 | 2610503.7956 | 1211676.5992 | 2610524.2348 | 1211688.8752 | 2610529.3493 | 1211691.7681
4 | 2610494.383 | 1211671.68 | 2610500.4103 | 1211674.7589 | 2610503.7956 | 1211676.5992
5 | 2610527.7181 | 1211777.7309 | 2610528.6874 | 1211784.5225
6 | 2610536.6563 | 1211695.9011 | 2610529.3493 | 1211691.7681
7 | 2610494.383 | 1211671.68 | 2610485.3978 | 1211696.1224 | 2610480.2257 | 1211709.1196
8 | 2610505.6142 | 1211640.36 | 2610504.6434 | 1211643.7046 | 2610494.383 | 1211671.68
9 | 2610528.6874 | 1211784.5225 | 2610531.8573 | 1211806.7324
10 | 2610551.8708 | 1211704.0922 | 2610545.6466 | 1211700.9862 | 2610536.6563 | 1211695.9011
11 | 2610471.7187 | 1211732.0985 | 2610475.3933 | 1211721.2634 | 2610480.2257 | 1211709.1196
12 | 2610505.6142 | 1211640.36 | 2610514.3037 | 1211615.6503 | 2610522.0631 | 1211597.1647 | 2610525.5603 | 1211591.7077
13 | 2610532.0554 | 1211808.1207 | 2610531.8573 | 1211806.7324
14 | 2610534.6709 | 1211922.8347 | 2610534.4916 | 1211922.5237 | 2610521.1129 | 1211900.6435
15 | 2610524.3038 | 1211948.298 | 2610533.398 | 1211939.5757 | 2610536.2244 | 1211935.156 | 2610537.5433 | 1211932.5346 | 2610537.6999 | 1211929.9223 | 2610537.3016 | 1211927.398 | 2610534.6709 | 1211922.8347
16 | 2610510.8554 | 1211866.5398 | 2610511.2804 | 1211875.4456 | 2610512.3947 | 1211881.2174 | 2610513.9341 | 1211887.1901 | 2610516.591 | 1211892.7868 | 2610521.1129 | 1211900.6435
17 | 2610524.3038 | 1211948.298 | 2610495.3626 | 1211923.8114
18 | 2610524.3038 | 1211948.298 | 2610599.0472 | 1212008.2741
19 | 2610510.8554 | 1211866.5398 | 2610508.5795 | 1211860.2768 | 2610506.5164 | 1211843.3987
20 | 2610510.8554 | 1211866.5398 | 2610512.9619 | 1211861.0182 | 2610514.7552 | 1211856.5633 | 2610518.2429 | 1211851.9335 | 2610524.0792 | 1211846.7964 | 2610530.0049 | 1211842.7045
21 | 2610495.3626 | 1211923.8114 | 2610490.2356 | 1211918.7663 | 2610481.5913 | 1211909.2014 | 2610472.0083 | 1211897.6337 | 2610468.3369 | 1211890.7669
22 | 2610599.0472 | 1212008.2741 | 2610607.8391 | 1211998.6509 | 2610621.2799 | 1211985.1227 | 2610639.7387 | 1211969.5356 | 2610650.4705 | 1211976.9751
23 | 2610506.5164 | 1211843.3987 | 2610502.9156 | 1211813.9406
24 | 2610536.4392 | 1211838.8359 | 2610530.0049 | 1211842.7045
25 | 2610468.3369 | 1211890.7669 | 2610466.5408 | 1211887.4074 | 2610462.2299 | 1211876.1602 | 2610460.0724 | 1211862.938 | 2610459.9416 | 1211857.595
26 | 2610536.4392 | 1211838.8359 | 2610532.0554 | 1211808.1207
27 | 2610536.4392 | 1211838.8359 | 2610549.1828 | 1211833.0662 | 2610565.1087 | 1211827.8913 | 2610576.1245 | 1211824.5244
28 | 2610459.9995 | 1211834.1066 | 2610459.6966 | 1211847.5843 | 2610459.9416 | 1211857.595
29 | 2610462.2293 | 1211766.4818 | 2610462.3631 | 1211764.9206 | 2610463.3685 | 1211760.5259
30 | 2610461.0369 | 1211780.3936 | 2610462.2293 | 1211766.4818
31 | 2610463.3685 | 1211760.5259 | 2610465.7394 | 1211750.1627 | 2610470.2536 | 1211736.4184 | 2610471.7187 | 1211732.0985
32 | 2610461.0369 | 1211780.3936 | 2610456.3932 | 1211781.3193 | 2610454.0956 | 1211783.0941 | 2610452.5472 | 1211786.6156 | 2610449.2081 | 1211796.6325
33 | 2610461.0369 | 1211780.3936 | 2610460.8145 | 1211792.8485
34 | 2610449.2081 | 1211796.6325 | 2610441.408 | 1211820.0318
35 | 2610460.3743 | 1211817.4319 | 2610460.3802 | 1211817.1685 | 2610460.8145 | 1211792.8485
36 | 2610441.408 | 1211820.0318 | 2610433.7209 | 1211843.0922 | 2610433.2941 | 1211844.2797
37 | 2610460.3743 | 1211817.4319 | 2610459.9995 | 1211834.1066
38 | 2610433.2941 | 1211844.2797 | 2610425.9872 | 1211864.613 | 2610423.2638 | 1211874.3328
39 | 2610525.5603 | 1211591.7077 | 2610528.6872 | 1211586.8285
40 | 2610528.6872 | 1211586.8285 | 2610533.7274 | 1211578.9639 | 2610541.7174 | 1211567.6271 | 2610545.4759 | 1211563.5926
41 | 2610545.4759 | 1211563.5926 | 2610548.9034 | 1211559.9132 | 2610576.2964 | 1211532.5351 | 2610586.6154 | 1211521.0304
42 | 2610599.55 | 1211504.4938 | 2610588.6217 | 1211518.7936 | 2610586.6154 | 1211521.0304
43 | 2610599.55 | 1211504.4938 | 2610617.2364 | 1211515.6486
44 | 2610599.55 | 1211504.4938 | 2610604.2552 | 1211494.73 | 2610607.5278 | 1211486.9403
45 | 2610638.4277 | 1211530.7661 | 2610628.6101 | 1211522.8221 | 2610617.2364 | 1211515.6486
46 | 2610607.5278 | 1211486.9403 | 2610610.7332 | 1211479.3106 | 2610614.1304 | 1211470.1782 | 2610616.502 | 1211461.0106 | 2610617.8565 | 1211449.9722
47 | 2610618.3214 | 1211446.1833 | 2610617.8565 | 1211449.9722
48 | 2610618.3214 | 1211446.1833 | 2610618.5445 | 1211431.7757 | 2610618.2332 | 1211428.2584
49 | 2610618.3214 | 1211446.1833 | 2610624.3613 | 1211446.4831 | 2610640.1748 | 1211449.624 | 2610640.1748 | 1211449.624
50 | 2610615.0561 | 1211400.4559 | 2610616.9131 | 1211413.3403 | 2610618.2332 | 1211428.2584
51 | 2610640.1748 | 1211449.624 | 2610720.3862 | 1211458.3275
52 | 2610614.9466 | 1211399.6959 | 2610615.0561 | 1211400.4559
53 | 2610720.3862 | 1211458.3275 | 2611400.1855 | 1211707.4305
54 | 2611400.1855 | 1211707.4305 | 2611403.9198 | 1211697.4431 | 2611414.3013 | 1211667.9019 | 2611417.0984 | 1211656.3666
55 | 2611490.7514 | 1211632.3753 | 2611485.5157 | 1211654.8058
56 | 2611485.5157 | 1211654.8058 | 2611478.0509 | 1211686.7861
57 | 2611478.0509 | 1211686.7861 | 2611417.0984 | 1211656.3666
58 | 2610608.0733 | 1211363.6414 | 2610612.1847 | 1211384.6493 | 2610614.9466 | 1211399.6959
59 | 2610614.9466 | 1211399.6959 | 2610601.3718 | 1211402.2733 | 2610592.6718 | 1211406.7382 | 2610585.0339 | 1211407.7698 | 2610576.3522 | 1211406.1091 | 2610573.8486 | 1211404.9515
60 | 2610608.0733 | 1211363.6414 | 2610616.7671 | 1211362.7452 | 2610659.3016 | 1211362.665 | 2610665.2854 | 1211364.6211 | 2610669.4698 | 1211370.1428 | 2610670.1166 | 1211372.6823
61 | 2610670.1166 | 1211372.6823 | 2610671.1071 | 1211376.5715
62 | 2610671.5326 | 1211389.4127 | 2610671.1071 | 1211376.5715
63 | 2610576.1245 | 1211824.5244 | 2610589.2667 | 1211820.5075 | 2610599.2623 | 1211818.0351
64 | 2610612.4722 | 1211814.7675 | 2610599.2623 | 1211818.0351
65 | 2610612.4722 | 1211814.7675 | 2610631.0763 | 1211811.0775
66 | 2610612.4722 | 1211814.7675 | 2610606.3781 | 1211773.9401
67 | 2610606.2876 | 1211773.3338 | 2610606.3781 | 1211773.9401
68 | 2610606.2213 | 1211772.8899 | 2610606.2876 | 1211773.3338

## bus_geodata
| x | y | coords
0 | 2610512.1579 | 1211746.7686
1 | 2610520.9539 | 1211757.4188
2 | 2610508.8189 | 1211708.4483
3 | 2610503.7956 | 1211676.5992
4 | 2610527.7181 | 1211777.7309
5 | 2610529.3493 | 1211691.7681
6 | 2610494.383 | 1211671.68
7 | 2610528.6874 | 1211784.5225
8 | 2610536.6563 | 1211695.9011
9 | 2610480.2257 | 1211709.1196
10 | 2610505.6142 | 1211640.36
11 | 2610531.8573 | 1211806.7324
12 | 2610534.6709 | 1211922.8347
13 | 2610521.1129 | 1211900.6435
14 | 2610524.3038 | 1211948.298
15 | 2610510.8554 | 1211866.5398
16 | 2610495.3626 | 1211923.8114
17 | 2610599.0472 | 1212008.2741
18 | 2610650.4705 | 1211976.9751
19 | 2610506.5164 | 1211843.3987
20 | 2610530.0049 | 1211842.7045
21 | 2610468.3369 | 1211890.7669
22 | 2610502.9156 | 1211813.9406
23 | 2610536.4392 | 1211838.8359
24 | 2610459.9416 | 1211857.595
25 | 2610462.2293 | 1211766.4818
26 | 2610463.3685 | 1211760.5259
27 | 2610461.0369 | 1211780.3936
28 | 2610471.7187 | 1211732.0985
29 | 2610449.2081 | 1211796.6325
30 | 2610460.8145 | 1211792.8485
31 | 2610441.408 | 1211820.0318
32 | 2610460.3743 | 1211817.4319
33 | 2610433.2941 | 1211844.2797
34 | 2610459.9995 | 1211834.1066
35 | 2610423.2638 | 1211874.3328
36 | 2610525.5603 | 1211591.7077
37 | 2610528.6872 | 1211586.8285
38 | 2610545.4759 | 1211563.5926
39 | 2610586.6154 | 1211521.0304
40 | 2610599.55 | 1211504.4938
41 | 2610617.2364 | 1211515.6486
42 | 2610607.5278 | 1211486.9403
43 | 2610638.4277 | 1211530.7661
44 | 2610617.8565 | 1211449.9722
45 | 2610618.3214 | 1211446.1833
46 | 2610618.2332 | 1211428.2584
47 | 2610640.1748 | 1211449.624
48 | 2610615.0561 | 1211400.4559
49 | 2610720.3862 | 1211458.3275
50 | 2611400.1855 | 1211707.4305
51 | 2611490.7514 | 1211632.3753
52 | 2611485.5157 | 1211654.8058
53 | 2611478.0509 | 1211686.7861
54 | 2611417.0984 | 1211656.3666
55 | 2610614.9466 | 1211399.6959
56 | 2610608.0733 | 1211363.6414
57 | 2610573.8486 | 1211404.9515
58 | 2610670.1166 | 1211372.6823
59 | 2610671.1071 | 1211376.5715
60 | 2610671.5326 | 1211389.4127
61 | 2610532.0554 | 1211808.1207
62 | 2610576.1245 | 1211824.5244
63 | 2610599.2623 | 1211818.0351
64 | 2610612.4722 | 1211814.7675
65 | 2610631.0763 | 1211811.0775
66 | 2610606.3781 | 1211773.9401
67 | 2610606.2876 | 1211773.3338
68 | 2610606.2213 | 1211772.8899
69 | 2610551.8708 | 1211704.0922
70 | 2610503.7956 | 1211676.5992

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1