## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4224-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4224-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4224-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4224-1_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_4224-1_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4224-1_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4224-1_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_4224-1_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_4224-1_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_4224-1_0_3_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_4224-1_0_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_4224-1_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4224-1_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4224-1_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4224-1_0_3_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_4224-1_0_3_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_4224-1_0_3_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_4224-1_0_3_node_87 | 0.4 | n |  | TRUE
18 | bus_LV_4224-1_0_3_node_79 | 0.4 | n |  | TRUE
19 | bus_LV_4224-1_0_3_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_4224-1_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_4224-1_0_3_node_74 | 0.4 | n |  | TRUE
22 | bus_LV_4224-1_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_4224-1_0_3_node_86 | 0.4 | n |  | TRUE
24 | bus_LV_4224-1_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_4224-1_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4224-1_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4224-1_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_4224-1_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4224-1_0_3_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_4224-1_0_3_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_4224-1_0_3_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_4224-1_0_3_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_4224-1_0_3_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_4224-1_0_3_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_4224-1_0_3_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_4224-1_0_3_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_4224-1_0_3_node_141 | 0.4 | n |  | TRUE
38 | bus_LV_4224-1_0_3_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_4224-1_0_3_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_4224-1_0_3_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_4224-1_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_4224-1_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_4224-1_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_4224-1_0_3_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_4224-1_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_4224-1_0_3_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_4224-1_0_3_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_4224-1_0_3_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_4224-1_0_3_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_4224-1_0_3_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_4224-1_0_3_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_4224-1_0_3_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_4224-1_0_3_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_4224-1_0_3_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_4224-1_0_3_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_4224-1_0_3_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_4224-1_0_3_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_4224-1_0_3_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_4224-1_0_3_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_4224-1_0_3_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_4224-1_0_3_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_4224-1_0_3_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_4224-1_0_3_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_4224-1_0_3_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_4224-1_0_3_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_4224-1_0_3_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_4224-1_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_4224-1_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_4224-1_0_3_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_4224-1_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_4224-1_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_4224-1_0_3_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_4224-1_0_3_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_4224-1_0_3_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_4224-1_0_3_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_4224-1_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_4224-1_0_3_node_47 | 0.4 | n |  | TRUE
78 | bus_LV_4224-1_0_3_node_48 | 0.4 | n |  | TRUE
79 | bus_LV_4224-1_0_3_node_50 | 0.4 | n |  | TRUE
80 | bus_LV_4224-1_0_3_node_52 | 0.4 | n |  | TRUE
81 | bus_LV_4224-1_0_3_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_4224-1_0_3_node_135 | 0.4 | n |  | TRUE
83 | bus_LV_4224-1_0_3_node_133 | 0.4 | n |  | TRUE
84 | bus_LV_4224-1_0_3_node_102 | 0.4 | n |  | TRUE
85 | bus_LV_4224-1_0_3_node_99 | 0.4 | n |  | TRUE
86 | bus_LV_4224-1_0_3_node_126 | 0.4 | n |  | TRUE
87 | bus_LV_4224-1_0_3_node_100 | 0.4 | n |  | TRUE
88 | bus_LV_4224-1_0_3_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_4224-1_0_3_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_4224-1_0_3_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_4224-1_0_3_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_4224-1_0_3_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_4224-1_0_3_node_97 | 0.4 | n |  | TRUE
94 | bus_LV_4224-1_0_3_node_98 | 0.4 | n |  | TRUE
95 | bus_LV_4224-1_0_3_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_4224-1_0_3_node_129 | 0.4 | n |  | TRUE
97 | bus_LV_4224-1_0_3_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_4224-1_0_3_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_4224-1_0_3_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_4224-1_0_3_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_4224-1_0_3_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_4224-1_0_3_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_4224-1_0_3_node_96 | 0.4 | n |  | TRUE
104 | bus_LV_4224-1_0_3_node_104 | 0.4 | n |  | TRUE
105 | bus_LV_4224-1_0_3_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_4224-1_0_3_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_4224-1_0_3_node_109 | 0.4 | n |  | TRUE
108 | bus_LV_4224-1_0_3_node_125 | 0.4 | n |  | TRUE
109 | bus_LV_4224-1_0_3_node_160 | 0.4 | n |  | TRUE
110 | bus_LV_4224-1_0_3_node_128 | 0.4 | n |  | TRUE
111 | bus_LV_4224-1_0_3_node_101 | 0.4 | n |  | TRUE
112 | bus_LV_4224-1_0_3_node_103 | 0.4 | n |  | TRUE
113 | bus_LV_4224-1_0_3_node_127 | 0.4 | n |  | TRUE
114 | bus_LV_4224-1_0_3_node_112 | 0.4 | n |  | TRUE
115 | bus_LV_4224-1_0_3_node_108 | 0.4 | n |  | TRUE
116 | bus_LV_4224-1_0_3_node_119 | 0.4 | n |  | TRUE
117 | bus_LV_4224-1_0_3_node_159 | 0.4 | n |  | TRUE
118 | bus_LV_4224-1_0_3_node_107 | 0.4 | n |  | TRUE
119 | bus_LV_4224-1_0_3_node_110 | 0.4 | n |  | TRUE
120 | bus_LV_4224-1_0_3_node_111 | 0.4 | n |  | TRUE
121 | bus_LV_4224-1_0_3_node_113 | 0.4 | n |  | TRUE
122 | bus_LV_4224-1_0_3_node_143 | 0.4 | n |  | TRUE
123 | bus_LV_4224-1_0_3_node_144 | 0.4 | n |  | TRUE
124 | bus_LV_4224-1_0_3_node_121 | 0.4 | n |  | TRUE
125 | bus_LV_4224-1_0_3_node_122 | 0.4 | n |  | TRUE
126 | bus_LV_4224-1_0_3_node_114 | 0.4 | n |  | TRUE
127 | bus_LV_4224-1_0_3_node_115 | 0.4 | n |  | TRUE
128 | bus_LV_4224-1_0_3_node_116 | 0.4 | n |  | TRUE
129 | bus_LV_4224-1_0_3_node_117 | 0.4 | n |  | TRUE
130 | bus_LV_4224-1_0_3_node_118 | 0.4 | n |  | TRUE
131 | bus_LV_4224-1_0_3_node_120 | 0.4 | n |  | TRUE
132 | bus_LV_4224-1_0_3_node_123 | 0.4 | n |  | TRUE
133 | bus_LV_4224-1_0_3_node_124 | 0.4 | n |  | TRUE
134 | bus_LV_4224-1_0_3_node_130 | 0.4 | n |  | TRUE
135 | bus_LV_4224-1_0_3_node_131 | 0.4 | n |  | TRUE
136 | bus_LV_4224-1_0_3_node_132 | 0.4 | n |  | TRUE
137 | bus_LV_4224-1_0_3_node_149 | 0.4 | n |  | TRUE
138 | bus_LV_4224-1_0_3_node_134 | 0.4 | n |  | TRUE
139 | bus_LV_4224-1_0_3_node_145 | 0.4 | n |  | TRUE
140 | bus_LV_4224-1_0_3_node_146 | 0.4 | n |  | TRUE
141 | bus_LV_4224-1_0_3_node_147 | 0.4 | n |  | TRUE
142 | bus_LV_4224-1_0_3_node_148 | 0.4 | n |  | TRUE
143 | bus_LV_4224-1_0_3_node_150 | 0.4 | n |  | TRUE
144 | bus_LV_4224-1_0_3_node_142 | 0.4 | n |  | TRUE
145 | bus_LV_4224-1_0_3_node_140 | 0.4 | n |  | TRUE
146 | bus_LV_4224-1_0_3_node_136 | 0.4 | n |  | TRUE
147 | bus_LV_4224-1_0_3_node_137 | 0.4 | n |  | TRUE
148 | bus_LV_4224-1_0_3_node_138 | 0.4 | n |  | TRUE
149 | bus_LV_4224-1_0_3_node_139 | 0.4 | n |  | TRUE
150 | bus_LV_4224-1_0_3_node_152 | 0.4 | n |  | TRUE
151 | bus_LV_4224-1_0_3_node_151 | 0.4 | n |  | TRUE
152 | bus_LV_4224-1_0_3_node_153 | 0.4 | n |  | TRUE
153 | bus_LV_4224-1_0_3_node_154 | 0.4 | n |  | TRUE
154 | bus_LV_4224-1_0_3_node_155 | 0.4 | n |  | TRUE
155 | bus_LV_4224-1_0_3_node_156 | 0.4 | n |  | TRUE
156 | bus_LV_4224-1_0_3_node_157 | 0.4 | n |  | TRUE
157 | bus_LV_4224-1_0_3_node_158 | 0.4 | n |  | TRUE
158 | bus_LV_4224-1_0_3_node_161 | 0.4 | n |  | TRUE
159 | bus_MV_350_1_node_240 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4224-1_0_3_load_0 | 0 | 0.0079244 | 0.001986 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4224-1_0_3_load_9 | 7 | 0.0044656 | 0.0011192 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4224-1_0_3_load_78 | 9 | 0.0024863 | 0.00062313 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4224-1_0_3_load_26 | 10 | 0.0030839 | 0.0007729 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4224-1_0_3_load_10 | 11 | 0.0084438 | 0.0021162 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4224-1_0_3_load_11 | 12 | 0.0033811 | 0.00084738 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4224-1_0_3_load_69 | 15 | 0.0022976 | 0.00057583 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4224-1_0_3_load_88 | 16 | 0.0023794 | 0.00059634 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4224-1_0_3_load_87 | 17 | 0.000798 | 0.0002 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4224-1_0_3_load_79 | 18 | 0.00063133 | 0.00015823 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4224-1_0_3_load_81 | 19 | 0.0050936 | 0.0012766 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4224-1_0_3_load_12 | 24 | 0.00286 | 0.00071679 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4224-1_0_3_load_13 | 25 | 0.0012294 | 0.00030813 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4224-1_0_3_load_14 | 26 | 0.003191 | 0.00079975 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4224-1_0_3_load_15 | 27 | 0.0036633 | 0.00091811 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4224-1_0_3_load_16 | 28 | 0.002556 | 0.0006406 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4224-1_0_3_load_44 | 29 | 0.0012395 | 0.00031066 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4224-1_0_3_load_56 | 32 | 0.00092427 | 0.00023164 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4224-1_0_3_load_57 | 33 | 0.0018139 | 0.0004546 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4224-1_0_3_load_58 | 34 | 0.0010956 | 0.00027457 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4224-1_0_3_load_59 | 35 | 0.0020247 | 0.00050744 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4224-1_0_3_load_70 | 36 | 0.0027768 | 0.00069594 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4224-1_0_3_load_141 | 37 | 0.0025728 | 0.00064481 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4224-1_0_3_load_71 | 38 | 0.0027071 | 0.00067847 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4224-1_0_3_load_18 | 39 | 0.00073911 | 0.00018524 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4224-1_0_3_load_19 | 40 | 0.0027845 | 0.00069786 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4224-1_0_3_load_39 | 42 | 0.00031283 | 7.8402e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4224-1_0_3_load_40 | 43 | 0.00022907 | 5.7409e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4224-1_0_3_load_41 | 45 | 0.0011157 | 0.00027962 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4224-1_0_3_load_23 | 46 | 0.0026297 | 0.00065906 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4224-1_0_3_load_27 | 48 | 0.0048715 | 0.0012209 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4224-1_0_3_load_62 | 50 | 0.0041092 | 0.0010299 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4224-1_0_3_load_60 | 51 | 0.00092361 | 0.00023148 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4224-1_0_3_load_30 | 52 | 0.00096361 | 0.0002415 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4224-1_0_3_load_32 | 53 | 0.0054654 | 0.0013697 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4224-1_0_3_load_33 | 55 | 0.00028593 | 7.1662e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4224-1_0_3_load_34 | 56 | 0.00067769 | 0.00016984 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4224-1_0_3_load_76 | 57 | 0.00084617 | 0.00021207 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4224-1_0_3_load_31 | 58 | 0.00056756 | 0.00014224 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4224-1_0_3_load_35 | 60 | 0.00058429 | 0.00014644 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4224-1_0_3_load_77 | 61 | 0.0033373 | 0.00083641 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4224-1_0_3_load_65 | 63 | 0.00029901 | 7.4938e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4224-1_0_3_load_36 | 64 | 0.0068575 | 0.0017186 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4224-1_0_3_load_66 | 65 | 0.0043714 | 0.0010956 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4224-1_0_3_load_37 | 66 | 0.00044534 | 0.00011161 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4224-1_0_3_load_54 | 68 | 0.00088851 | 0.00022268 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4224-1_0_3_load_67 | 70 | 0.0012903 | 0.00032337 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4224-1_0_3_load_68 | 71 | 0.00022995 | 5.7631e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4224-1_0_3_load_43 | 72 | 0.00098545 | 0.00024698 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4224-1_0_3_load_45 | 73 | 0.00089258 | 0.0002237 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4224-1_0_3_load_63 | 74 | 0.00094568 | 0.00023701 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4224-1_0_3_load_61 | 75 | 0.00092878 | 0.00023277 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4224-1_0_3_load_72 | 76 | 0.011941 | 0.0029928 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4224-1_0_3_load_47 | 77 | 0.00040787 | 0.00010222 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4224-1_0_3_load_48 | 78 | 0.0022254 | 0.00055774 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4224-1_0_3_load_50 | 79 | 0.00090983 | 0.00022802 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4224-1_0_3_load_52 | 80 | 0.0014194 | 0.00035572 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4224-1_0_3_load_55 | 81 | 0.00039618 | 9.9291e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4224-1_0_3_load_99 | 85 | 0.0024931 | 0.00062483 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4224-1_0_3_load_126 | 86 | 0.0022338 | 0.00055983 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4224-1_0_3_load_100 | 87 | 0.00082083 | 0.00020572 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4224-1_0_3_load_80 | 88 | 0.0014941 | 0.00037445 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4224-1_0_3_load_82 | 89 | 0.0007799 | 0.00019546 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4224-1_0_3_load_83 | 90 | 0.0072379 | 0.001814 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4224-1_0_3_load_85 | 92 | 0.0013445 | 0.00033698 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4224-1_0_3_load_97 | 93 | 0.001877 | 0.00047042 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4224-1_0_3_load_98 | 94 | 0.0019652 | 0.00049254 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4224-1_0_3_load_95 | 95 | 0.0024773 | 0.00062088 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4224-1_0_3_load_129 | 96 | 0.00038321 | 9.6041e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4224-1_0_3_load_89 | 97 | 0.0056374 | 0.0014129 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4224-1_0_3_load_90 | 98 | 0.0036245 | 0.00090838 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4224-1_0_3_load_91 | 99 | 0.0015506 | 0.00038861 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4224-1_0_3_load_93 | 101 | 0.00070396 | 0.00017643 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4224-1_0_3_load_94 | 102 | 0.0011175 | 0.00028008 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4224-1_0_3_load_104 | 104 | 0.0011974 | 0.00030011 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4224-1_0_3_load_105 | 105 | 0.00087977 | 0.00022049 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4224-1_0_3_load_106 | 106 | 0.00054508 | 0.00013661 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4224-1_0_3_load_125 | 108 | 0.00085996 | 0.00021553 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4224-1_0_3_load_160 | 109 | 0.0025604 | 0.00064169 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4224-1_0_3_load_128 | 110 | 0.00063104 | 0.00015815 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4224-1_0_3_load_101 | 111 | 0.00095529 | 0.00023942 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4224-1_0_3_load_103 | 112 | 0.0020374 | 0.00051061 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4224-1_0_3_load_127 | 113 | 0.00051946 | 0.00013019 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4224-1_0_3_load_112 | 114 | 0.0020196 | 0.00050615 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4224-1_0_3_load_108 | 115 | 0.00041532 | 0.00010409 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4224-1_0_3_load_119 | 116 | 0.0010358 | 0.00025959 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4224-1_0_3_load_107 | 118 | 0.00060386 | 0.00015134 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4224-1_0_3_load_113 | 121 | 0.00089061 | 0.00022321 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4224-1_0_3_load_143 | 122 | 0.0016075 | 0.00040287 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4224-1_0_3_load_144 | 123 | 0.0085508 | 0.002143 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4224-1_0_3_load_121 | 124 | 0.0011449 | 0.00028695 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4224-1_0_3_load_122 | 125 | 0.000443 | 0.00011103 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4224-1_0_3_load_114 | 126 | 0.0013307 | 0.0003335 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4224-1_0_3_load_115 | 127 | 0.00158 | 0.00039598 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4224-1_0_3_load_117 | 129 | 0.0012094 | 0.0003031 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4224-1_0_3_load_118 | 130 | 0.0015082 | 0.00037799 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4224-1_0_3_load_120 | 131 | 0.0018094 | 0.00045348 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4224-1_0_3_load_123 | 132 | 0.0019815 | 0.00049661 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4224-1_0_3_load_124 | 133 | 0.00097586 | 0.00024457 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4224-1_0_3_load_130 | 134 | 0.0027578 | 0.00069117 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4224-1_0_3_load_132 | 136 | 0.0032571 | 0.00081632 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4224-1_0_3_load_134 | 138 | 0.00049794 | 0.0001248 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4224-1_0_3_load_145 | 139 | 0.00030343 | 7.6048e-05 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4224-1_0_3_load_146 | 140 | 0.00014689 | 3.6813e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4224-1_0_3_load_147 | 141 | 0.00015419 | 3.8644e-05 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4224-1_0_3_load_148 | 142 | 0.0022082 | 0.00055342 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4224-1_0_3_load_150 | 143 | 0.0003138 | 7.8647e-05 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4224-1_0_3_load_142 | 144 | 0.00035732 | 8.9554e-05 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4224-1_0_3_load_140 | 145 | 0.00032462 | 8.1358e-05 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4224-1_0_3_load_136 | 146 | 0.002907 | 0.00072857 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4224-1_0_3_load_137 | 147 | 0.00057154 | 0.00014324 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4224-1_0_3_load_139 | 149 | 0.00024854 | 6.2291e-05 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4224-1_0_3_load_151 | 151 | 0.00068782 | 0.00017238 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4224-1_0_3_load_153 | 152 | 0.0013879 | 0.00034784 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4224-1_0_3_load_154 | 153 | 0.0019292 | 0.0004835 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4224-1_0_3_load_155 | 154 | 0.0013948 | 0.00034957 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4224-1_0_3_load_156 | 155 | 0.001296 | 0.0003248 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4224-1_0_3_load_157 | 156 | 0.0043428 | 0.0010884 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4224-1_0_3_load_158 | 157 | 0.0013755 | 0.00034473 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4224-1_0_3_load_161 | 158 | 0.0015252 | 0.00038226 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4224-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_4224-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_4224-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_4224-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.009127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_4224-1_0_3_line_4 | NAYY 4x150 SE | 3 | 10 | 0.04015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4224-1_0_3_line_5 | NAYY 4x150 SE | 3 | 8 | 0.01686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_4224-1_0_3_line_6 | NAYY 4x150 SE | 4 | 11 | 0.01328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_4224-1_0_3_line_7 | NAYY 4x150 SE | 4 | 12 | 0.032811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4224-1_0_3_line_8 | NAYY 4x150 SE | 5 | 6 | 0.003048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4224-1_0_3_line_9 | NAYY 4x150 SE | 5 | 7 | 0.023094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4224-1_0_3_line_10 | NAYY 4x150 SE | 6 | 16 | 0.018836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4224-1_0_3_line_11 | NAYY 4x150 SE | 7 | 17 | 0.036208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4224-1_0_3_line_12 | NAYY 4x150 SE | 8 | 9 | 0.019498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_4224-1_0_3_line_13 | NAYY 4x150 SE | 9 | 18 | 0.06985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4224-1_0_3_line_14 | NAYY 4x150 SE | 9 | 19 | 0.012217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_4224-1_0_3_line_15 | NAYY 4x150 SE | 10 | 20 | 0.0063101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4224-1_0_3_line_16 | NAYY 4x150 SE | 11 | 14 | 0.0080416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_4224-1_0_3_line_17 | NAYY 4x150 SE | 13 | 14 | 0.00143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4224-1_0_3_line_18 | NAYY 4x150 SE | 13 | 15 | 0.024813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4224-1_0_3_line_19 | NAYY 4x150 SE | 14 | 21 | 0.027865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_4224-1_0_3_line_20 | NAYY 4x150 SE | 15 | 22 | 0.0095706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4224-1_0_3_line_21 | NAYY 4x150 SE | 16 | 23 | 0.013186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4224-1_0_3_line_22 | NAYY 4x150 SE | 18 | 88 | 0.0044967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4224-1_0_3_line_23 | NAYY 4x150 SE | 20 | 48 | 0.023758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4224-1_0_3_line_24 | NAYY 4x150 SE | 20 | 46 | 0.03207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4224-1_0_3_line_25 | NAYY 4x150 SE | 21 | 84 | 0.041233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4224-1_0_3_line_26 | NAYY 4x150 SE | 21 | 85 | 0.01892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_4224-1_0_3_line_27 | NAYY 4x150 SE | 22 | 36 | 0.0060395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4224-1_0_3_line_28 | NAYY 4x150 SE | 22 | 28 | 0.012745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4224-1_0_3_line_29 | NAYY 4x150 SE | 23 | 94 | 0.0096457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_4224-1_0_3_line_30 | NAYY 4x150 SE | 23 | 91 | 0.007142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_4224-1_0_3_line_31 | NAYY 4x150 SE | 24 | 25 | 0.015159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4224-1_0_3_line_32 | NAYY 4x150 SE | 24 | 26 | 0.0037709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4224-1_0_3_line_33 | NAYY 4x150 SE | 25 | 27 | 0.003007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4224-1_0_3_line_34 | NAYY 4x150 SE | 26 | 28 | 0.013576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4224-1_0_3_line_35 | NAYY 4x150 SE | 29 | 30 | 0.03421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4224-1_0_3_line_36 | NAYY 4x150 SE | 29 | 31 | 0.01081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4224-1_0_3_line_37 | NAYY 4x150 SE | 30 | 32 | 0.0043879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4224-1_0_3_line_38 | NAYY 4x150 SE | 31 | 72 | 0.030697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4224-1_0_3_line_39 | NAYY 4x150 SE | 31 | 45 | 0.01128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4224-1_0_3_line_40 | NAYY 4x150 SE | 32 | 33 | 0.013743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4224-1_0_3_line_41 | NAYY 4x150 SE | 33 | 34 | 0.0023843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4224-1_0_3_line_42 | NAYY 4x150 SE | 34 | 35 | 0.014328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4224-1_0_3_line_43 | NAYY 4x150 SE | 35 | 37 | 0.02836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4224-1_0_3_line_44 | NAYY 4x150 SE | 36 | 38 | 0.017382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4224-1_0_3_line_45 | NAYY 4x150 SE | 37 | 38 | 0.041613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4224-1_0_3_line_46 | NAYY 4x150 SE | 38 | 76 | 0.0010336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4224-1_0_3_line_47 | NAYY 4x150 SE | 39 | 40 | 0.0068635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4224-1_0_3_line_48 | NAYY 4x150 SE | 40 | 41 | 0.077779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4224-1_0_3_line_49 | NAYY 4x150 SE | 41 | 44 | 0.082696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4224-1_0_3_line_50 | NAYY 4x150 SE | 42 | 43 | 0.002106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4224-1_0_3_line_51 | NAYY 4x150 SE | 43 | 71 | 0.038667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4224-1_0_3_line_52 | NAYY 4x150 SE | 44 | 45 | 0.067277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4224-1_0_3_line_53 | NAYY 4x150 SE | 46 | 47 | 0.029397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4224-1_0_3_line_54 | NAYY 4x150 SE | 47 | 49 | 0.00755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4224-1_0_3_line_55 | NAYY 4x150 SE | 48 | 52 | 0.028179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4224-1_0_3_line_56 | NAYY 4x150 SE | 49 | 53 | 0.012614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4224-1_0_3_line_57 | NAYY 4x150 SE | 50 | 51 | 0.0081692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4224-1_0_3_line_58 | NAYY 4x150 SE | 51 | 75 | 0.015394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4224-1_0_3_line_59 | NAYY 4x150 SE | 52 | 57 | 0.0013818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4224-1_0_3_line_60 | NAYY 4x150 SE | 53 | 60 | 0.026326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4224-1_0_3_line_61 | NAYY 4x150 SE | 54 | 55 | 0.0229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4224-1_0_3_line_62 | NAYY 4x150 SE | 54 | 56 | 0.007767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4224-1_0_3_line_63 | NAYY 4x150 SE | 55 | 61 | 0.015603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4224-1_0_3_line_64 | NAYY 4x150 SE | 56 | 57 | 0.015265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4224-1_0_3_line_65 | NAYY 4x150 SE | 58 | 59 | 0.034923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4224-1_0_3_line_66 | NAYY 4x150 SE | 59 | 62 | 0.028583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4224-1_0_3_line_67 | NAYY 4x150 SE | 59 | 63 | 0.063363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4224-1_0_3_line_68 | NAYY 4x150 SE | 60 | 64 | 0.0028089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4224-1_0_3_line_69 | NAYY 4x150 SE | 61 | 65 | 0.001714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4224-1_0_3_line_70 | NAYY 4x150 SE | 62 | 65 | 0.03263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4224-1_0_3_line_71 | NAYY 4x150 SE | 63 | 70 | 0.017433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4224-1_0_3_line_72 | NAYY 4x150 SE | 64 | 66 | 0.030437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4224-1_0_3_line_73 | NAYY 4x150 SE | 66 | 67 | 0.0027892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4224-1_0_3_line_74 | NAYY 4x150 SE | 67 | 68 | 0.026134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4224-1_0_3_line_75 | NAYY 4x150 SE | 67 | 69 | 0.019448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4224-1_0_3_line_76 | NAYY 4x150 SE | 68 | 71 | 0.013463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4224-1_0_3_line_77 | NAYY 4x150 SE | 69 | 80 | 0.0065612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4224-1_0_3_line_78 | NAYY 4x150 SE | 69 | 77 | 0.033276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4224-1_0_3_line_79 | NAYY 4x150 SE | 70 | 82 | 0.030466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4224-1_0_3_line_80 | NAYY 4x150 SE | 72 | 73 | 0.015149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4224-1_0_3_line_81 | NAYY 4x150 SE | 73 | 74 | 0.016996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4224-1_0_3_line_82 | NAYY 4x150 SE | 74 | 75 | 0.014647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4224-1_0_3_line_83 | NAYY 4x150 SE | 77 | 78 | 0.021198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4224-1_0_3_line_84 | NAYY 4x150 SE | 78 | 79 | 0.053774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4224-1_0_3_line_85 | NAYY 4x150 SE | 80 | 81 | 0.049619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4224-1_0_3_line_86 | NAYY 4x150 SE | 82 | 83 | 0.29266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4224-1_0_3_line_87 | NAYY 4x150 SE | 83 | 138 | 0.0023357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4224-1_0_3_line_88 | NAYY 4x150 SE | 83 | 135 | 0.068007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4224-1_0_3_line_89 | NAYY 4x150 SE | 84 | 86 | 0.020661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4224-1_0_3_line_90 | NAYY 4x150 SE | 85 | 87 | 0.032335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
91 | LV_4224-1_0_3_line_91 | NAYY 4x150 SE | 86 | 113 | 0.00016407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4224-1_0_3_line_92 | NAYY 4x150 SE | 87 | 111 | 0.00098878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
93 | LV_4224-1_0_3_line_93 | NAYY 4x150 SE | 89 | 90 | 0.016655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4224-1_0_3_line_94 | NAYY 4x150 SE | 90 | 91 | 0.021658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4224-1_0_3_line_95 | NAYY 4x150 SE | 91 | 92 | 0.017505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
96 | LV_4224-1_0_3_line_96 | NAYY 4x150 SE | 92 | 93 | 0.0092057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
97 | LV_4224-1_0_3_line_97 | NAYY 4x150 SE | 93 | 95 | 0.0093975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
98 | LV_4224-1_0_3_line_98 | NAYY 4x150 SE | 94 | 96 | 0.02514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_4224-1_0_3_line_99 | NAYY 4x150 SE | 95 | 100 | 0.0098192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
100 | LV_4224-1_0_3_line_100 | NAYY 4x150 SE | 96 | 110 | 0.016618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
101 | LV_4224-1_0_3_line_101 | NAYY 4x150 SE | 97 | 98 | 0.016929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4224-1_0_3_line_102 | NAYY 4x150 SE | 97 | 99 | 0.013085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4224-1_0_3_line_103 | NAYY 4x150 SE | 98 | 100 | 0.035474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4224-1_0_3_line_104 | NAYY 4x150 SE | 99 | 101 | 0.016626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4224-1_0_3_line_105 | NAYY 4x150 SE | 100 | 102 | 0.023912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
106 | LV_4224-1_0_3_line_106 | NAYY 4x150 SE | 100 | 103 | 0.012072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4224-1_0_3_line_107 | NAYY 4x150 SE | 102 | 104 | 0.025632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
108 | LV_4224-1_0_3_line_108 | NAYY 4x150 SE | 103 | 105 | 0.021258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_4224-1_0_3_line_109 | NAYY 4x150 SE | 103 | 106 | 0.036118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4224-1_0_3_line_110 | NAYY 4x150 SE | 104 | 107 | 0.0196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_4224-1_0_3_line_111 | NAYY 4x150 SE | 105 | 108 | 0.014873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_4224-1_0_3_line_112 | NAYY 4x150 SE | 106 | 109 | 0.0071521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_4224-1_0_3_line_113 | NAYY 4x150 SE | 107 | 114 | 0.026496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_4224-1_0_3_line_114 | NAYY 4x150 SE | 107 | 115 | 0.053269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_4224-1_0_3_line_115 | NAYY 4x150 SE | 108 | 116 | 0.0076951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_4224-1_0_3_line_116 | NAYY 4x150 SE | 109 | 117 | 0.017848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_4224-1_0_3_line_117 | NAYY 4x150 SE | 110 | 112 | 0.022519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
118 | LV_4224-1_0_3_line_118 | NAYY 4x150 SE | 111 | 112 | 0.018169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
119 | LV_4224-1_0_3_line_119 | NAYY 4x150 SE | 114 | 124 | 0.0010822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_4224-1_0_3_line_120 | NAYY 4x150 SE | 115 | 118 | 0.016577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_4224-1_0_3_line_121 | NAYY 4x150 SE | 116 | 129 | 0.032274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_4224-1_0_3_line_122 | NAYY 4x150 SE | 117 | 158 | 0.012462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_4224-1_0_3_line_123 | NAYY 4x150 SE | 117 | 157 | 0.011442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_4224-1_0_3_line_124 | NAYY 4x150 SE | 118 | 119 | 0.10668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_4224-1_0_3_line_125 | NAYY 4x150 SE | 119 | 120 | 0.080705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_4224-1_0_3_line_126 | NAYY 4x150 SE | 120 | 121 | 0.079288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_4224-1_0_3_line_127 | NAYY 4x150 SE | 121 | 122 | 0.035871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_4224-1_0_3_line_128 | NAYY 4x150 SE | 122 | 123 | 0.013699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_4224-1_0_3_line_129 | NAYY 4x150 SE | 124 | 125 | 0.014903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_4224-1_0_3_line_130 | NAYY 4x150 SE | 125 | 132 | 0.016707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_4224-1_0_3_line_131 | NAYY 4x150 SE | 126 | 127 | 0.017764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_4224-1_0_3_line_132 | NAYY 4x150 SE | 126 | 128 | 0.021111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_4224-1_0_3_line_133 | NAYY 4x150 SE | 128 | 129 | 0.0050719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_4224-1_0_3_line_134 | NAYY 4x150 SE | 128 | 130 | 0.020206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_4224-1_0_3_line_135 | NAYY 4x150 SE | 130 | 131 | 0.004638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_4224-1_0_3_line_136 | NAYY 4x150 SE | 132 | 133 | 0.014189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_4224-1_0_3_line_137 | NAYY 4x150 SE | 134 | 135 | 0.033599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_4224-1_0_3_line_138 | NAYY 4x150 SE | 134 | 136 | 0.049698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_4224-1_0_3_line_139 | NAYY 4x150 SE | 136 | 137 | 0.48253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_4224-1_0_3_line_140 | NAYY 4x150 SE | 137 | 141 | 0.012176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_4224-1_0_3_line_141 | NAYY 4x150 SE | 138 | 144 | 0.062794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_4224-1_0_3_line_142 | NAYY 4x150 SE | 139 | 140 | 0.0049252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_4224-1_0_3_line_143 | NAYY 4x150 SE | 139 | 141 | 0.029888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_4224-1_0_3_line_144 | NAYY 4x150 SE | 140 | 142 | 0.0081991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_4224-1_0_3_line_145 | NAYY 4x150 SE | 142 | 143 | 0.043162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_4224-1_0_3_line_146 | NAYY 4x150 SE | 144 | 145 | 0.024641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_4224-1_0_3_line_147 | NAYY 4x150 SE | 145 | 149 | 0.019437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_4224-1_0_3_line_148 | NAYY 4x150 SE | 146 | 147 | 0.038392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
149 | LV_4224-1_0_3_line_149 | NAYY 4x150 SE | 146 | 148 | 0.050967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
150 | LV_4224-1_0_3_line_150 | NAYY 4x150 SE | 147 | 149 | 0.013976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
151 | LV_4224-1_0_3_line_151 | NAYY 4x150 SE | 148 | 150 | 0.24879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
152 | LV_4224-1_0_3_line_152 | NAYY 4x150 SE | 150 | 152 | 0.029819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
153 | LV_4224-1_0_3_line_153 | NAYY 4x150 SE | 150 | 151 | 0.02501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
154 | LV_4224-1_0_3_line_154 | NAYY 4x150 SE | 153 | 154 | 0.011063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
155 | LV_4224-1_0_3_line_155 | NAYY 4x150 SE | 153 | 155 | 0.013606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
156 | LV_4224-1_0_3_line_156 | NAYY 4x150 SE | 154 | 156 | 0.017731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
157 | LV_4224-1_0_3_line_157 | NAYY 4x150 SE | 155 | 157 | 0.0132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4224-1_0_3_trafo_81 | 0.25 MVA 20/0.4 kV | 159 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2668711.6037 | 1231434.4043 | 2668691.0628 | 1231428.7217
1 | 2668674.1133 | 1231426.6661 | 2668675.4079 | 1231425.4025 | 2668677.3371 | 1231424.9244 | 2668691.0628 | 1231428.7217
2 | 2668704.3573 | 1231452.6216 | 2668708.187 | 1231448.2518 | 2668710.4798 | 1231441.2181 | 2668711.6037 | 1231434.4043
3 | 2668674.1133 | 1231426.6661 | 2668665.4766 | 1231423.6422
4 | 2668704.3573 | 1231452.6216 | 2668717.8152 | 1231468.3653 | 2668726.315 | 1231485.847
5 | 2668704.3573 | 1231452.6216 | 2668708.187 | 1231448.2518 | 2668719.2345 | 1231448.4462
6 | 2668665.4766 | 1231423.6422 | 2668652.94 | 1231419.2612
7 | 2668665.4766 | 1231423.6422 | 2668680.6568 | 1231394.5537
8 | 2668719.8053 | 1231402.3555 | 2668720.808 | 1231399.4763
9 | 2668719.8053 | 1231402.3555 | 2668742.8337 | 1231404.0912
10 | 2668720.808 | 1231399.4763 | 2668724.2942 | 1231389.4433 | 2668724.8396 | 1231381.2466
11 | 2668770.9373 | 1231419.7804 | 2668763.7376 | 1231411.6806 | 2668761.6279 | 1231405.5077 | 2668742.8337 | 1231404.0912
12 | 2668719.2345 | 1231448.4462 | 2668738.7295 | 1231448.7768
13 | 2668738.7295 | 1231448.7768 | 2668746.0394 | 1231448.9008 | 2668776.9973 | 1231439.3079 | 2668785.7481 | 1231438.364 | 2668788.282 | 1231440.6059 | 2668790.0315 | 1231445.1847 | 2668784.668 | 1231447.2685 | 2668786.8639 | 1231454.2182
14 | 2668738.7295 | 1231448.7768 | 2668736.5843 | 1231436.7501
15 | 2668729.0742 | 1231491.5219 | 2668726.315 | 1231485.847
16 | 2668650.2698 | 1231426.8465 | 2668652.94 | 1231419.2612
17 | 2668651.6277 | 1231427.307 | 2668650.2698 | 1231426.8465
18 | 2668651.6277 | 1231427.307 | 2668640.6476 | 1231449.5582
19 | 2668623.8053 | 1231417.8907 | 2668650.2698 | 1231426.8465
20 | 2668636.4124 | 1231458.1407 | 2668640.6476 | 1231449.5582
21 | 2668725.7151 | 1231368.09 | 2668724.8396 | 1231381.2466
22 | 2668788.2187 | 1231458.506 | 2668786.8639 | 1231454.2182
23 | 2668729.0742 | 1231491.5219 | 2668752.6813 | 1231488.8485
24 | 2668729.0742 | 1231491.5219 | 2668732.5731 | 1231514.4442 | 2668732.5354 | 1231523.3267
25 | 2668597.9924 | 1231398.4022 | 2668595.7635 | 1231410.4067 | 2668623.8053 | 1231417.8907
26 | 2668623.8053 | 1231417.8907 | 2668629.5434 | 1231399.8616
27 | 2668636.4124 | 1231458.1407 | 2668641.918 | 1231460.6234
28 | 2668636.4124 | 1231458.1407 | 2668624.7955 | 1231452.8971
29 | 2668725.7151 | 1231368.09 | 2668716.0728 | 1231368.3463
30 | 2668725.7151 | 1231368.09 | 2668725.578 | 1231360.9503
31 | 2668595.1683 | 1231439.5239 | 2668608.9845 | 1231445.7603
32 | 2668612.4215 | 1231447.3117 | 2668608.9845 | 1231445.7603
33 | 2668592.4275 | 1231438.2867 | 2668595.1683 | 1231439.5239
34 | 2668612.4215 | 1231447.3117 | 2668624.7955 | 1231452.8971
35 | 2668575.5939 | 1231486.6581 | 2668576.7763 | 1231520.8472
36 | 2668577.1499 | 1231531.6503 | 2668576.7763 | 1231520.8472
37 | 2668575.5939 | 1231486.6581 | 2668579.9756 | 1231486.891
38 | 2668577.1499 | 1231531.6503 | 2668607.8204 | 1231530.3664
39 | 2668577.1499 | 1231531.6503 | 2668565.8834 | 1231532.2043
40 | 2668579.9756 | 1231486.891 | 2668583.6093 | 1231487.0841 | 2668592.7202 | 1231491.4534
41 | 2668592.7202 | 1231491.4534 | 2668594.8701 | 1231492.4844
42 | 2668607.7892 | 1231498.6801 | 2668594.8701 | 1231492.4844
43 | 2668607.7892 | 1231498.6801 | 2668615.5138 | 1231502.3845 | 2668622.6515 | 1231503.3897 | 2668635.2204 | 1231502.7457
44 | 2668641.918 | 1231460.6234 | 2668657.764 | 1231467.7687
45 | 2668657.764 | 1231467.7687 | 2668635.2204 | 1231502.7457
46 | 2668658.7062 | 1231468.1936 | 2668657.764 | 1231467.7687
47 | 2668535.7619 | 1231701.7515 | 2668533.147 | 1231695.4056
48 | 2668509.8274 | 1231625.1699 | 2668509.6263 | 1231626.8464 | 2668507.9773 | 1231649.0199 | 2668508.4831 | 1231656.3862 | 2668510.4041 | 1231661.8675 | 2668517.7175 | 1231675.2051 | 2668525.5217 | 1231684.7236 | 2668532.8808 | 1231694.7595 | 2668533.147 | 1231695.4056
49 | 2668500.0633 | 1231543.8812 | 2668502.3424 | 1231552.4687 | 2668508.7748 | 1231577.2037 | 2668511.9179 | 1231608.0715 | 2668509.8274 | 1231625.1699
50 | 2668617.0053 | 1231603.4246 | 2668619.0907 | 1231603.131
51 | 2668656.2947 | 1231606.1352 | 2668656.2947 | 1231606.1352 | 2668648.7058 | 1231601.589 | 2668636.5006 | 1231600.6808 | 2668619.0907 | 1231603.131
52 | 2668500.0633 | 1231543.8812 | 2668512.8528 | 1231540.7598 | 2668536.488 | 1231533.6496 | 2668565.8834 | 1231532.2043
53 | 2668732.4106 | 1231552.7233 | 2668732.5354 | 1231523.3267
54 | 2668732.3764 | 1231560.2724 | 2668732.4106 | 1231552.7233
55 | 2668752.6813 | 1231488.8485 | 2668759.9289 | 1231509.8129 | 2668761.1245 | 1231515.6897
56 | 2668732.3764 | 1231560.2724 | 2668721.7996 | 1231564.5752 | 2668721.0705 | 1231565.5225
57 | 2668678.1142 | 1231527.4237 | 2668669.9522 | 1231527.7654
58 | 2668669.9522 | 1231527.7654 | 2668654.5718 | 1231528.4092
59 | 2668761.4 | 1231517.0437 | 2668761.1245 | 1231515.6897
60 | 2668705.0135 | 1231586.3849 | 2668721.0705 | 1231565.5225
61 | 2668762.8861 | 1231539.6113 | 2668766.3027 | 1231541.4854 | 2668777.0487 | 1231557.1582
62 | 2668762.8861 | 1231539.6113 | 2668764.4434 | 1231532.0021 | 2668764.4434 | 1231532.0021
63 | 2668780.9614 | 1231571.8862 | 2668780.9614 | 1231571.8862 | 2668779.6043 | 1231560.8855 | 2668777.0487 | 1231557.1582
64 | 2668764.4434 | 1231532.0021 | 2668761.4 | 1231517.0437
65 | 2668777.7278 | 1231634.6906 | 2668770.4664 | 1231630.6484 | 2668760.9939 | 1231623.9566 | 2668754.5589 | 1231618.5231 | 2668750.2246 | 1231613.5562
66 | 2668780.2535 | 1231606.2231 | 2668777.7278 | 1231634.6906
67 | 2668777.7278 | 1231634.6906 | 2668786.0445 | 1231639.8124 | 2668832.3695 | 1231666.7653
68 | 2668703.3003 | 1231588.6108 | 2668703.3003 | 1231588.6108 | 2668705.0135 | 1231586.3849
69 | 2668780.9614 | 1231571.8862 | 2668780.926 | 1231573.5998
70 | 2668780.2535 | 1231606.2231 | 2668780.926 | 1231573.5998
71 | 2668847.4372 | 1231675.5321 | 2668832.3695 | 1231666.7653
72 | 2668694.0432 | 1231617.5761 | 2668699.0903 | 1231599.6806 | 2668703.3003 | 1231588.6108
73 | 2668693.2861 | 1231620.2606 | 2668694.0432 | 1231617.5761
74 | 2668693.2861 | 1231620.2606 | 2668668.8716 | 1231610.9378
75 | 2668688.0032 | 1231638.9787 | 2668693.2861 | 1231620.2606
76 | 2668656.2947 | 1231606.1352 | 2668668.8716 | 1231610.9378
77 | 2668688.0032 | 1231638.9787 | 2668686.5167 | 1231643.7536 | 2668686.0998 | 1231645.2571
78 | 2668688.0032 | 1231638.9787 | 2668699.9536 | 1231644.2424 | 2668718.188 | 1231652.9743
79 | 2668872.7311 | 1231692.484 | 2668853.078 | 1231678.814 | 2668847.4372 | 1231675.5321
80 | 2668622.9565 | 1231529.7327 | 2668607.8204 | 1231530.3664
81 | 2668622.9565 | 1231529.7327 | 2668639.9375 | 1231529.0219
82 | 2668654.5718 | 1231528.4092 | 2668639.9375 | 1231529.0219
83 | 2668718.188 | 1231652.9743 | 2668736.1426 | 1231661.5721 | 2668737.1492 | 1231662.38
84 | 2668737.1492 | 1231662.38 | 2668745.7847 | 1231669.3109 | 2668746.5333 | 1231673.9894 | 2668747.8431 | 1231681.2204 | 2668747.9652 | 1231694.2416 | 2668747.6729 | 1231711.8321
85 | 2668679.3444 | 1231694.3221 | 2668681.9957 | 1231673.8769 | 2668683.972 | 1231652.9303 | 2668686.0998 | 1231645.2571
86 | 2668872.7311 | 1231692.484 | 2669165.3862 | 1231692.1358
87 | 2669165.3862 | 1231692.1358 | 2669167.6037 | 1231691.4022
88 | 2669165.3862 | 1231692.1358 | 2669172.2712 | 1231699.2095 | 2669182.2624 | 1231704.885 | 2669217.8579 | 1231722.3108 | 2669224.1569 | 1231725.7197
89 | 2668597.9924 | 1231398.4022 | 2668604.0379 | 1231378.6451
90 | 2668629.5434 | 1231399.8616 | 2668637.8095 | 1231373.8898 | 2668641.3247 | 1231370.2231
91 | 2668604.0379 | 1231378.6451 | 2668604.0859 | 1231378.4882
92 | 2668641.3247 | 1231370.2231 | 2668642.009 | 1231369.5093
93 | 2668763.8495 | 1231362.7383 | 2668747.2128 | 1231361.9611
94 | 2668725.578 | 1231360.9503 | 2668747.2128 | 1231361.9611
95 | 2668725.578 | 1231360.9503 | 2668726.0874 | 1231343.4525
96 | 2668727.1995 | 1231334.3604 | 2668726.2313 | 1231338.5096 | 2668726.0874 | 1231343.4525
97 | 2668727.1995 | 1231334.3604 | 2668728.2314 | 1231329.9382 | 2668729.7209 | 1231325.3158
98 | 2668690.9413 | 1231369.0144 | 2668716.0728 | 1231368.3463
99 | 2668732.7326 | 1231315.9698 | 2668729.7209 | 1231325.3158
100 | 2668675.089 | 1231365.7 | 2668682.8656 | 1231369.2291 | 2668690.9413 | 1231369.0144
101 | 2668784.9905 | 1231317.089 | 2668768.1281 | 1231315.5879
102 | 2668784.9905 | 1231317.089 | 2668798.0237 | 1231318.2492
103 | 2668732.7326 | 1231315.9698 | 2668745.3414 | 1231314.7814 | 2668763.559 | 1231315.1812 | 2668768.1281 | 1231315.5879
104 | 2668814.5486 | 1231320.058 | 2668804.1878 | 1231318.7979 | 2668798.0237 | 1231318.2492
105 | 2668732.7326 | 1231315.9698 | 2668748.0345 | 1231297.5955
106 | 2668728.4782 | 1231304.6687 | 2668732.7326 | 1231315.9698
107 | 2668748.0345 | 1231297.5955 | 2668748.2316 | 1231297.3588 | 2668764.9878 | 1231278.3714
108 | 2668728.4782 | 1231304.6687 | 2668721.2191 | 1231284.6888
109 | 2668728.4782 | 1231304.6687 | 2668722.2962 | 1231302.8627 | 2668692.6384 | 1231301.7862
110 | 2668776.8432 | 1231262.8222 | 2668771.2315 | 1231271.2963 | 2668764.9878 | 1231278.3714
111 | 2668721.2191 | 1231284.6888 | 2668716.1404 | 1231270.7102
112 | 2668685.491 | 1231301.5267 | 2668692.6384 | 1231301.7862
113 | 2668776.8432 | 1231262.8222 | 2668771.9499 | 1231258.296 | 2668767.2136 | 1231251.9926 | 2668762.9641 | 1231240.8283
114 | 2668776.8432 | 1231262.8222 | 2668788.4292 | 1231242.0424 | 2668797.2532 | 1231213.9167
115 | 2668716.1404 | 1231270.7102 | 2668713.842 | 1231264.3839 | 2668713.4091 | 1231263.5223
116 | 2668671.5664 | 1231291.825 | 2668672.2314 | 1231293.267 | 2668676.0431 | 1231297.6694 | 2668679.972 | 1231300.45 | 2668685.443 | 1231301.525 | 2668685.491 | 1231301.5267
117 | 2668675.089 | 1231365.7 | 2668654.5826 | 1231356.394 | 2668654.5826 | 1231356.394
118 | 2668642.009 | 1231369.5093 | 2668654.5826 | 1231356.394
119 | 2668762.5791 | 1231239.8169 | 2668762.9641 | 1231240.8283
120 | 2668802.2155 | 1231198.0996 | 2668797.2532 | 1231213.9167
121 | 2668713.4091 | 1231263.5223 | 2668698.9207 | 1231234.6835
122 | 2668671.5664 | 1231291.825 | 2668659.5149 | 1231288.6522
123 | 2668671.5664 | 1231291.825 | 2668666.785 | 1231281.4299
124 | 2668802.2155 | 1231198.0996 | 2668835.8184 | 1231096.8499
125 | 2668835.8184 | 1231096.8499 | 2668916.5952 | 1231102.0221
126 | 2668916.5952 | 1231102.0221 | 2668943.897 | 1231100.9155 | 2668980.1098 | 1231099.4567 | 2668995.8189 | 1231098.8225
127 | 2668995.8189 | 1231098.8225 | 2669010.0561 | 1231098.2477 | 2669031.6625 | 1231097.4333
128 | 2669045.3519 | 1231096.9172 | 2669031.6625 | 1231097.4333
129 | 2668762.5791 | 1231239.8169 | 2668757.2776 | 1231225.8887
130 | 2668757.2776 | 1231225.8887 | 2668751.3344 | 1231210.2747
131 | 2668716.4496 | 1231222.8443 | 2668733.116 | 1231216.6955
132 | 2668696.6439 | 1231230.1514 | 2668716.4496 | 1231222.8443
133 | 2668696.6439 | 1231230.1514 | 2668698.9207 | 1231234.6835
134 | 2668696.6439 | 1231230.1514 | 2668689.7686 | 1231214.9286 | 2668688.5731 | 1231211.6365
135 | 2668686.9901 | 1231207.2771 | 2668688.5731 | 1231211.6365
136 | 2668746.287 | 1231197.0142 | 2668751.3344 | 1231210.2747
137 | 2669224.1569 | 1231725.7197 | 2669224.2267 | 1231738.5847 | 2669214.3987 | 1231756.8412
138 | 2669223.1904 | 1231792.4418 | 2669205.8142 | 1231784.9457 | 2669204.2947 | 1231775.6107 | 2669214.3987 | 1231756.8412
139 | 2669223.1904 | 1231792.4418 | 2669116.3065 | 1232262.9899
140 | 2669116.3065 | 1232262.9899 | 2669116.8715 | 1232266.4988 | 2669119.1859 | 1232274.8043
141 | 2669221.6645 | 1231660.8254 | 2669219.4657 | 1231662.9456 | 2669209.1575 | 1231671.4868 | 2669196.8759 | 1231679.7494 | 2669180.7432 | 1231687.0555 | 2669167.6037 | 1231691.4022
142 | 2669128.531 | 1232308.34 | 2669127.2089 | 1232303.5956
143 | 2669119.1859 | 1232274.8043 | 2669127.2089 | 1232303.5956
144 | 2669128.531 | 1232308.34 | 2669128.531 | 1232308.34 | 2669120.3492 | 1232308.8721
145 | 2669080.8384 | 1232323.0697 | 2669087.036 | 1232319.254 | 2669102.5683 | 1232310.0283 | 2669120.3492 | 1232308.8721
146 | 2669221.6645 | 1231660.8254 | 2669229.5835 | 1231653.1902 | 2669239.4824 | 1231643.8051
147 | 2669239.4824 | 1231643.8051 | 2669253.1008 | 1231630.8936 | 2669253.6057 | 1231630.4512
148 | 2669296.1288 | 1231600.137 | 2669284.5568 | 1231607.1553 | 2669267.3631 | 1231618.3958 | 2669264.1173 | 1231621.24
149 | 2669340.0435 | 1231574.3023 | 2669338.3519 | 1231575.1832 | 2669319.9507 | 1231585.3977 | 2669300.9249 | 1231597.2283 | 2669296.1288 | 1231600.137
150 | 2669264.1173 | 1231621.24 | 2669253.6057 | 1231630.4512
151 | 2669340.0435 | 1231574.3023 | 2669338.9548 | 1231325.513
152 | 2669338.9548 | 1231325.513 | 2669346.75 | 1231308.4814 | 2669355.5406 | 1231301.7236
153 | 2669338.9548 | 1231325.513 | 2669334.8562 | 1231310.6887 | 2669325.8197 | 1231314.0148
154 | 2668655.5831 | 1231257.0765 | 2668650.9599 | 1231247.0253
155 | 2668655.5831 | 1231257.0765 | 2668661.2687 | 1231269.4373
156 | 2668643.5504 | 1231230.9167 | 2668650.9599 | 1231247.0253
157 | 2668666.785 | 1231281.4299 | 2668661.2687 | 1231269.4373

## bus_geodata
| x | y | coords
0 | 2668691.0628 | 1231428.7217
1 | 2668711.6037 | 1231434.4043
2 | 2668674.1133 | 1231426.6661
3 | 2668704.3573 | 1231452.6216
4 | 2668665.4766 | 1231423.6422
5 | 2668719.8053 | 1231402.3555
6 | 2668720.808 | 1231399.4763
7 | 2668742.8337 | 1231404.0912
8 | 2668719.2345 | 1231448.4462
9 | 2668738.7295 | 1231448.7768
10 | 2668726.315 | 1231485.847
11 | 2668652.94 | 1231419.2612
12 | 2668680.6568 | 1231394.5537
13 | 2668651.6277 | 1231427.307
14 | 2668650.2698 | 1231426.8465
15 | 2668640.6476 | 1231449.5582
16 | 2668724.8396 | 1231381.2466
17 | 2668770.9373 | 1231419.7804
18 | 2668786.8639 | 1231454.2182
19 | 2668736.5843 | 1231436.7501
20 | 2668729.0742 | 1231491.5219
21 | 2668623.8053 | 1231417.8907
22 | 2668636.4124 | 1231458.1407
23 | 2668725.7151 | 1231368.09
24 | 2668608.9845 | 1231445.7603
25 | 2668595.1683 | 1231439.5239
26 | 2668612.4215 | 1231447.3117
27 | 2668592.4275 | 1231438.2867
28 | 2668624.7955 | 1231452.8971
29 | 2668576.7763 | 1231520.8472
30 | 2668575.5939 | 1231486.6581
31 | 2668577.1499 | 1231531.6503
32 | 2668579.9756 | 1231486.891
33 | 2668592.7202 | 1231491.4534
34 | 2668594.8701 | 1231492.4844
35 | 2668607.7892 | 1231498.6801
36 | 2668641.918 | 1231460.6234
37 | 2668635.2204 | 1231502.7457
38 | 2668657.764 | 1231467.7687
39 | 2668535.7619 | 1231701.7515
40 | 2668533.147 | 1231695.4056
41 | 2668509.8274 | 1231625.1699
42 | 2668617.0053 | 1231603.4246
43 | 2668619.0907 | 1231603.1311
44 | 2668500.0633 | 1231543.8812
45 | 2668565.8834 | 1231532.2043
46 | 2668732.5354 | 1231523.3267
47 | 2668732.4106 | 1231552.7233
48 | 2668752.6813 | 1231488.8485
49 | 2668732.3764 | 1231560.2724
50 | 2668678.1142 | 1231527.4237
51 | 2668669.9522 | 1231527.7654
52 | 2668761.1245 | 1231515.6897
53 | 2668721.0705 | 1231565.5225
54 | 2668762.8861 | 1231539.6113
55 | 2668777.0487 | 1231557.1582
56 | 2668764.4434 | 1231532.0021
57 | 2668761.4 | 1231517.0437
58 | 2668750.2246 | 1231613.5562
59 | 2668777.7278 | 1231634.6906
60 | 2668705.0135 | 1231586.3849
61 | 2668780.9614 | 1231571.8862
62 | 2668780.2535 | 1231606.2231
63 | 2668832.3695 | 1231666.7653
64 | 2668703.3003 | 1231588.6108
65 | 2668780.926 | 1231573.5998
66 | 2668694.0432 | 1231617.5761
67 | 2668693.2861 | 1231620.2606
68 | 2668668.8716 | 1231610.9378
69 | 2668688.0032 | 1231638.9787
70 | 2668847.4372 | 1231675.5321
71 | 2668656.2947 | 1231606.1352
72 | 2668607.8204 | 1231530.3664
73 | 2668622.9565 | 1231529.7327
74 | 2668639.9375 | 1231529.0219
75 | 2668654.5718 | 1231528.4092
76 | 2668658.7062 | 1231468.1936
77 | 2668718.188 | 1231652.9743
78 | 2668737.1492 | 1231662.38
79 | 2668747.6729 | 1231711.8321
80 | 2668686.0998 | 1231645.2571
81 | 2668679.3444 | 1231694.3221
82 | 2668872.7311 | 1231692.484
83 | 2669165.3862 | 1231692.1358
84 | 2668597.9924 | 1231398.4022
85 | 2668629.5434 | 1231399.8616
86 | 2668604.0379 | 1231378.6451
87 | 2668641.3247 | 1231370.2231
88 | 2668788.2187 | 1231458.506
89 | 2668763.8495 | 1231362.7383
90 | 2668747.2128 | 1231361.9611
91 | 2668725.578 | 1231360.9503
92 | 2668726.0874 | 1231343.4525
93 | 2668727.1995 | 1231334.3604
94 | 2668716.0728 | 1231368.3463
95 | 2668729.7209 | 1231325.3158
96 | 2668690.9413 | 1231369.0144
97 | 2668784.9905 | 1231317.089
98 | 2668768.1281 | 1231315.5879
99 | 2668798.0237 | 1231318.2492
100 | 2668732.7326 | 1231315.9698
101 | 2668814.5486 | 1231320.058
102 | 2668748.0345 | 1231297.5955
103 | 2668728.4782 | 1231304.6687
104 | 2668764.9878 | 1231278.3714
105 | 2668721.2191 | 1231284.6888
106 | 2668692.6384 | 1231301.7862
107 | 2668776.8432 | 1231262.8222
108 | 2668716.1404 | 1231270.7102
109 | 2668685.491 | 1231301.5267
110 | 2668675.089 | 1231365.7
111 | 2668642.009 | 1231369.5093
112 | 2668654.5826 | 1231356.394
113 | 2668604.0859 | 1231378.4882
114 | 2668762.9641 | 1231240.8283
115 | 2668797.2532 | 1231213.9167
116 | 2668713.4091 | 1231263.5223
117 | 2668671.5664 | 1231291.825
118 | 2668802.2155 | 1231198.0996
119 | 2668835.8184 | 1231096.8499
120 | 2668916.5952 | 1231102.0221
121 | 2668995.8189 | 1231098.8225
122 | 2669031.6625 | 1231097.4333
123 | 2669045.3519 | 1231096.9172
124 | 2668762.5791 | 1231239.8169
125 | 2668757.2776 | 1231225.8887
126 | 2668716.4496 | 1231222.8443
127 | 2668733.116 | 1231216.6955
128 | 2668696.6439 | 1231230.1514
129 | 2668698.9207 | 1231234.6835
130 | 2668688.5731 | 1231211.6365
131 | 2668686.9901 | 1231207.2771
132 | 2668751.3344 | 1231210.2747
133 | 2668746.287 | 1231197.0142
134 | 2669214.3987 | 1231756.8412
135 | 2669224.1569 | 1231725.7197
136 | 2669223.1904 | 1231792.4418
137 | 2669116.3065 | 1232262.9899
138 | 2669167.6037 | 1231691.4022
139 | 2669127.2089 | 1232303.5956
140 | 2669128.531 | 1232308.34
141 | 2669119.1859 | 1232274.8043
142 | 2669120.3492 | 1232308.8721
143 | 2669080.8384 | 1232323.0697
144 | 2669221.6645 | 1231660.8254
145 | 2669239.4824 | 1231643.8051
146 | 2669296.1288 | 1231600.137
147 | 2669264.1173 | 1231621.24
148 | 2669340.0435 | 1231574.3023
149 | 2669253.6057 | 1231630.4512
150 | 2669338.9548 | 1231325.513
151 | 2669325.8197 | 1231314.0148
152 | 2669355.5406 | 1231301.7236
153 | 2668655.5831 | 1231257.0765
154 | 2668650.9599 | 1231247.0253
155 | 2668661.2687 | 1231269.4373
156 | 2668643.5504 | 1231230.9167
157 | 2668666.785 | 1231281.4299
158 | 2668659.5149 | 1231288.6522
159 | 2668719.2345 | 1231448.4462

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1