## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4224-2_1_2_node_21 | 0.4 | n |  | TRUE
1 | bus_LV_4224-2_1_2_node_22 | 0.4 | n |  | TRUE
2 | bus_LV_4224-2_1_2_node_24 | 0.4 | n |  | TRUE
3 | bus_LV_4224-2_1_2_node_58 | 0.4 | n |  | TRUE
4 | bus_LV_4224-2_1_2_node_50 | 0.4 | n |  | TRUE
5 | bus_LV_4224-2_1_2_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_4224-2_1_2_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_4224-2_1_2_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_4224-2_1_2_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_4224-2_1_2_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_4224-2_1_2_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_4224-2_1_2_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_4224-2_1_2_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_4224-2_1_2_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_4224-2_1_2_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_4224-2_1_2_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_4224-2_1_2_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_4224-2_1_2_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_4224-2_1_2_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_4224-2_1_2_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_4224-2_1_2_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_4224-2_1_2_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_4224-2_1_2_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_4224-2_1_2_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_4224-2_1_2_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_4224-2_1_2_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_4224-2_1_2_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_4224-2_1_2_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_4224-2_1_2_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_4224-2_1_2_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_4224-2_1_2_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_4224-2_1_2_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_4224-2_1_2_node_118 | 0.4 | n |  | TRUE
33 | bus_LV_4224-2_1_2_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_4224-2_1_2_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_4224-2_1_2_node_117 | 0.4 | n |  | TRUE
36 | bus_LV_4224-2_1_2_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_4224-2_1_2_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_4224-2_1_2_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_4224-2_1_2_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_4224-2_1_2_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_4224-2_1_2_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_4224-2_1_2_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_4224-2_1_2_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_4224-2_1_2_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_4224-2_1_2_node_87 | 0.4 | n |  | TRUE
46 | bus_LV_4224-2_1_2_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_4224-2_1_2_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_4224-2_1_2_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_4224-2_1_2_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_4224-2_1_2_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_4224-2_1_2_node_103 | 0.4 | n |  | TRUE
52 | bus_LV_4224-2_1_2_node_101 | 0.4 | n |  | TRUE
53 | bus_LV_4224-2_1_2_node_93 | 0.4 | n |  | TRUE
54 | bus_LV_4224-2_1_2_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_4224-2_1_2_node_86 | 0.4 | n |  | TRUE
56 | bus_LV_4224-2_1_2_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_4224-2_1_2_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_4224-2_1_2_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_4224-2_1_2_node_91 | 0.4 | n |  | TRUE
60 | bus_LV_4224-2_1_2_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_4224-2_1_2_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_4224-2_1_2_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_4224-2_1_2_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_4224-2_1_2_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_4224-2_1_2_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_4224-2_1_2_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_4224-2_1_2_node_85 | 0.4 | n |  | TRUE
68 | bus_LV_4224-2_1_2_node_80 | 0.4 | n |  | TRUE
69 | bus_LV_4224-2_1_2_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_4224-2_1_2_node_110 | 0.4 | n |  | TRUE
71 | bus_LV_4224-2_1_2_node_109 | 0.4 | n |  | TRUE
72 | bus_LV_4224-2_1_2_node_81 | 0.4 | n |  | TRUE
73 | bus_LV_4224-2_1_2_node_111 | 0.4 | n |  | TRUE
74 | bus_LV_4224-2_1_2_node_92 | 0.4 | n |  | TRUE
75 | bus_LV_4224-2_1_2_node_95 | 0.4 | n |  | TRUE
76 | bus_LV_4224-2_1_2_node_96 | 0.4 | n |  | TRUE
77 | bus_LV_4224-2_1_2_node_98 | 0.4 | n |  | TRUE
78 | bus_LV_4224-2_1_2_node_99 | 0.4 | n |  | TRUE
79 | bus_LV_4224-2_1_2_node_100 | 0.4 | n |  | TRUE
80 | bus_LV_4224-2_1_2_node_102 | 0.4 | n |  | TRUE
81 | bus_LV_4224-2_1_2_node_112 | 0.4 | n |  | TRUE
82 | bus_LV_4224-2_1_2_node_113 | 0.4 | n |  | TRUE
83 | bus_LV_4224-2_1_2_node_114 | 0.4 | n |  | TRUE
84 | bus_LV_4224-2_1_2_node_115 | 0.4 | n |  | TRUE
85 | bus_LV_4224-2_1_2_node_116 | 0.4 | n |  | TRUE
86 | bus_LV_4224-2_1_2_node_119 | 0.4 | n |  | TRUE
87 | bus_LV_4224-2_1_2_node_120 | 0.4 | n |  | TRUE
88 | bus_MV_350_1_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4224-2_1_2_load_21 | 0 | 0.00255 | 0.00063908 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4224-2_1_2_load_22 | 1 | 0.0008514 | 0.00021338 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4224-2_1_2_load_24 | 2 | 0.0015144 | 0.00037955 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4224-2_1_2_load_58 | 3 | 0.00095429 | 0.00023917 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4224-2_1_2_load_30 | 6 | 0.0067172 | 0.0016835 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4224-2_1_2_load_26 | 7 | 0.0022228 | 0.0005571 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4224-2_1_2_load_33 | 8 | 0.0010262 | 0.00025719 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4224-2_1_2_load_32 | 9 | 0.0026867 | 0.00067334 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4224-2_1_2_load_27 | 10 | 0.0015195 | 0.00038083 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4224-2_1_2_load_29 | 11 | 0.0013539 | 0.00033931 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4224-2_1_2_load_39 | 12 | 0.0007509 | 0.00018819 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4224-2_1_2_load_77 | 14 | 0.0031843 | 0.00079807 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4224-2_1_2_load_75 | 15 | 0.00039105 | 9.8007e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4224-2_1_2_load_34 | 16 | 0.0034648 | 0.00086836 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4224-2_1_2_load_35 | 17 | 0.0011183 | 0.00028028 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4224-2_1_2_load_36 | 18 | 0.0010693 | 0.00026798 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4224-2_1_2_load_37 | 19 | 0.001454 | 0.00036441 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4224-2_1_2_load_56 | 20 | 0.00086518 | 0.00021683 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4224-2_1_2_load_57 | 21 | 0.00077572 | 0.00019441 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4224-2_1_2_load_66 | 22 | 0.0015734 | 0.00039434 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4224-2_1_2_load_64 | 23 | 0.0024682 | 0.00061859 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4224-2_1_2_load_84 | 24 | 0.0021673 | 0.00054317 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4224-2_1_2_load_41 | 26 | 0.00039586 | 9.9211e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4224-2_1_2_load_42 | 27 | 0.00046175 | 0.00011573 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4224-2_1_2_load_45 | 30 | 0.0006712 | 0.00016822 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4224-2_1_2_load_59 | 34 | 0.0028416 | 0.00071218 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4224-2_1_2_load_117 | 35 | 0.0016764 | 0.00042014 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4224-2_1_2_load_90 | 36 | 0.0020572 | 0.00051558 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4224-2_1_2_load_47 | 38 | 0.00043839 | 0.00010987 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4224-2_1_2_load_48 | 39 | 0.0030071 | 0.00075366 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4224-2_1_2_load_51 | 41 | 0.00044081 | 0.00011048 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4224-2_1_2_load_67 | 42 | 0.00077378 | 0.00019393 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4224-2_1_2_load_78 | 44 | 0.00067396 | 0.00016891 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4224-2_1_2_load_87 | 45 | 0.00044566 | 0.00011169 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4224-2_1_2_load_53 | 47 | 0.00046214 | 0.00011582 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4224-2_1_2_load_55 | 49 | 0.00068754 | 0.00017231 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4224-2_1_2_load_94 | 50 | 0.00030544 | 7.6551e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4224-2_1_2_load_103 | 51 | 0.00010814 | 2.7102e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4224-2_1_2_load_93 | 53 | 0.0020698 | 0.00051874 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4224-2_1_2_load_86 | 55 | 0.0024491 | 0.0006138 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4224-2_1_2_load_89 | 56 | 0.0015884 | 0.00039809 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4224-2_1_2_load_76 | 58 | 0.0017999 | 0.0004511 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4224-2_1_2_load_68 | 62 | 0.00032966 | 8.2622e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4224-2_1_2_load_69 | 63 | 0.0022737 | 0.00056985 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4224-2_1_2_load_70 | 64 | 0.00037807 | 9.4753e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4224-2_1_2_load_73 | 66 | 0.00063247 | 0.00015851 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4224-2_1_2_load_85 | 67 | 0.00023333 | 5.8477e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4224-2_1_2_load_82 | 69 | 0.00053691 | 0.00013456 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4224-2_1_2_load_110 | 70 | 0.0016512 | 0.00041382 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4224-2_1_2_load_109 | 71 | 0.00052581 | 0.00013178 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4224-2_1_2_load_81 | 72 | 0.00076631 | 0.00019206 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4224-2_1_2_load_95 | 75 | 0.00043963 | 0.00011018 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4224-2_1_2_load_96 | 76 | 0.0011833 | 0.00029657 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4224-2_1_2_load_98 | 77 | 0.00011348 | 2.8442e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4224-2_1_2_load_99 | 78 | 0.00048026 | 0.00012036 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4224-2_1_2_load_102 | 80 | 0.0010433 | 0.00026147 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4224-2_1_2_load_112 | 81 | 0.00035186 | 8.8184e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4224-2_1_2_load_113 | 82 | 0.00053438 | 0.00013393 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4224-2_1_2_load_119 | 86 | 0.0018834 | 0.00047202 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4224-2_1_2_load_120 | 87 | 0.0011576 | 0.00029012 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4224-2_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.039926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4224-2_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.018687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4224-2_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.01686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4224-2_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.022988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4224-2_1_2_line_4 | NAYY 4x150 SE | 4 | 42 | 0.016265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4224-2_1_2_line_5 | NAYY 4x150 SE | 4 | 25 | 0.025891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4224-2_1_2_line_6 | NAYY 4x150 SE | 4 | 39 | 0.024519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4224-2_1_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.018432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4224-2_1_2_line_8 | NAYY 4x150 SE | 5 | 7 | 0.018152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4224-2_1_2_line_9 | NAYY 4x150 SE | 6 | 9 | 0.1146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4224-2_1_2_line_10 | NAYY 4x150 SE | 7 | 10 | 0.022424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4224-2_1_2_line_11 | NAYY 4x150 SE | 8 | 9 | 0.055108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4224-2_1_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.022014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4224-2_1_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.010156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4224-2_1_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.039789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4224-2_1_2_line_15 | NAYY 4x150 SE | 13 | 22 | 0.024422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4224-2_1_2_line_16 | NAYY 4x150 SE | 13 | 23 | 0.025588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4224-2_1_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.031813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4224-2_1_2_line_18 | NAYY 4x150 SE | 15 | 58 | 0.035798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4224-2_1_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.020917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4224-2_1_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.03177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4224-2_1_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.012509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4224-2_1_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.037581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4224-2_1_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.007393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4224-2_1_2_line_24 | NAYY 4x150 SE | 21 | 30 | 0.01831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4224-2_1_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0069074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4224-2_1_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0051252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4224-2_1_2_line_27 | NAYY 4x150 SE | 24 | 61 | 0.010925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4224-2_1_2_line_28 | NAYY 4x150 SE | 25 | 43 | 0.042584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4224-2_1_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.23903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4224-2_1_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.033829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4224-2_1_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.0094486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4224-2_1_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.017279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4224-2_1_2_line_33 | NAYY 4x150 SE | 28 | 31 | 0.001984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4224-2_1_2_line_34 | NAYY 4x150 SE | 29 | 32 | 0.19018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4224-2_1_2_line_35 | NAYY 4x150 SE | 31 | 33 | 0.011887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4224-2_1_2_line_36 | NAYY 4x150 SE | 31 | 34 | 0.018876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4224-2_1_2_line_37 | NAYY 4x150 SE | 32 | 35 | 0.080284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4224-2_1_2_line_38 | NAYY 4x150 SE | 33 | 36 | 0.013876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4224-2_1_2_line_39 | NAYY 4x150 SE | 34 | 37 | 0.018298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4224-2_1_2_line_40 | NAYY 4x150 SE | 35 | 83 | 0.0079072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4224-2_1_2_line_41 | NAYY 4x150 SE | 36 | 59 | 0.13896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4224-2_1_2_line_42 | NAYY 4x150 SE | 37 | 54 | 0.004598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4224-2_1_2_line_43 | NAYY 4x150 SE | 38 | 39 | 0.019132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4224-2_1_2_line_44 | NAYY 4x150 SE | 38 | 40 | 0.0077352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4224-2_1_2_line_45 | NAYY 4x150 SE | 40 | 41 | 0.010073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4224-2_1_2_line_46 | NAYY 4x150 SE | 42 | 45 | 0.010253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4224-2_1_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.0091649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4224-2_1_2_line_48 | NAYY 4x150 SE | 44 | 46 | 0.046174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4224-2_1_2_line_49 | NAYY 4x150 SE | 46 | 72 | 0.076219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4224-2_1_2_line_50 | NAYY 4x150 SE | 47 | 48 | 0.10863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4224-2_1_2_line_51 | NAYY 4x150 SE | 47 | 49 | 0.036485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4224-2_1_2_line_52 | NAYY 4x150 SE | 48 | 50 | 0.15859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4224-2_1_2_line_53 | NAYY 4x150 SE | 49 | 51 | 0.1856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4224-2_1_2_line_54 | NAYY 4x150 SE | 50 | 53 | 0.20376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4224-2_1_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.0086694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4224-2_1_2_line_56 | NAYY 4x150 SE | 52 | 79 | 0.025082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4224-2_1_2_line_57 | NAYY 4x150 SE | 53 | 74 | 0.046303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4224-2_1_2_line_58 | NAYY 4x150 SE | 54 | 55 | 0.020828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4224-2_1_2_line_59 | NAYY 4x150 SE | 54 | 56 | 0.012349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4224-2_1_2_line_60 | NAYY 4x150 SE | 55 | 60 | 0.031213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4224-2_1_2_line_61 | NAYY 4x150 SE | 56 | 57 | 0.013144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4224-2_1_2_line_62 | NAYY 4x150 SE | 57 | 58 | 0.013724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4224-2_1_2_line_63 | NAYY 4x150 SE | 59 | 74 | 0.15857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4224-2_1_2_line_64 | NAYY 4x150 SE | 60 | 67 | 0.0061742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4224-2_1_2_line_65 | NAYY 4x150 SE | 60 | 64 | 0.015834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4224-2_1_2_line_66 | NAYY 4x150 SE | 61 | 69 | 0.0084211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4224-2_1_2_line_67 | NAYY 4x150 SE | 62 | 63 | 0.027242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4224-2_1_2_line_68 | NAYY 4x150 SE | 62 | 64 | 0.0071695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4224-2_1_2_line_69 | NAYY 4x150 SE | 63 | 65 | 0.016695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4224-2_1_2_line_70 | NAYY 4x150 SE | 65 | 66 | 0.027686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4224-2_1_2_line_71 | NAYY 4x150 SE | 66 | 68 | 0.011687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4224-2_1_2_line_72 | NAYY 4x150 SE | 68 | 69 | 0.0063048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4224-2_1_2_line_73 | NAYY 4x150 SE | 70 | 71 | 0.043528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4224-2_1_2_line_74 | NAYY 4x150 SE | 71 | 73 | 0.019498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4224-2_1_2_line_75 | NAYY 4x150 SE | 72 | 73 | 0.016576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4224-2_1_2_line_76 | NAYY 4x150 SE | 74 | 75 | 0.033367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4224-2_1_2_line_77 | NAYY 4x150 SE | 75 | 76 | 0.06994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4224-2_1_2_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0017301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4224-2_1_2_line_79 | NAYY 4x150 SE | 77 | 79 | 0.022467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4224-2_1_2_line_80 | NAYY 4x150 SE | 79 | 80 | 0.025517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4224-2_1_2_line_81 | NAYY 4x150 SE | 81 | 82 | 0.0090963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4224-2_1_2_line_82 | NAYY 4x150 SE | 81 | 83 | 0.013853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4224-2_1_2_line_83 | NAYY 4x150 SE | 82 | 84 | 0.016263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4224-2_1_2_line_84 | NAYY 4x150 SE | 84 | 85 | 0.053706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4224-2_1_2_line_85 | NAYY 4x150 SE | 85 | 86 | 0.023128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4224-2_1_2_line_86 | NAYY 4x150 SE | 86 | 87 | 0.028131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4224-2_1_2_trafo_89 | 0.25 MVA 20/0.4 kV | 88 | 56 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2668660.6244 | 1230571.4867 | 2668655.3803 | 1230548.312 | 2668652.6056 | 1230536.0607 | 2668651.6428 | 1230532.588
1 | 2668646.6503 | 1230514.5803 | 2668651.6428 | 1230532.588
2 | 2668646.6503 | 1230514.5803 | 2668642.8614 | 1230500.9139 | 2668641.8275 | 1230498.4431
3 | 2668632.7259 | 1230477.3369 | 2668635.7554 | 1230483.9318 | 2668641.8275 | 1230498.4431
4 | 2668632.7259 | 1230477.3369 | 2668648.9901 | 1230477.5247
5 | 2668606.8354 | 1230479.3173 | 2668612.5133 | 1230478.927 | 2668632.7259 | 1230477.3369
6 | 2668632.7259 | 1230477.3369 | 2668630.4352 | 1230462.5229 | 2668634.0779 | 1230457.9953 | 2668635.3993 | 1230454.5202
7 | 2668574.8565 | 1230605.243 | 2668573.2673 | 1230623.6062
8 | 2668574.8565 | 1230605.243 | 2668575.5116 | 1230597.7011 | 2668575.1401 | 1230587.1262
9 | 2668573.2673 | 1230623.6062 | 2668572.2958 | 1230634.8331 | 2668564.1572 | 1230704.7411 | 2668558.8818 | 1230737.2715
10 | 2668575.1401 | 1230587.1262 | 2668575.0896 | 1230585.6883 | 2668573.0059 | 1230564.8064
11 | 2668550.0603 | 1230791.6685 | 2668558.8818 | 1230737.2715
12 | 2668570.8201 | 1230542.9015 | 2668573.0059 | 1230564.8064
13 | 2668570.8201 | 1230542.9015 | 2668570.2689 | 1230537.3786 | 2668570.2171 | 1230532.7731
14 | 2668581.0923 | 1230495.4311 | 2668574.3298 | 1230507.1053 | 2668570.0856 | 1230521.099 | 2668570.2171 | 1230532.7731
15 | 2668581.0923 | 1230495.4311 | 2668568.3589 | 1230484.9552 | 2668562.7261 | 1230479.3687
16 | 2668581.0923 | 1230495.4311 | 2668588.6597 | 1230489.5034 | 2668596.3059 | 1230483.3097 | 2668602.0431 | 1230481.1344
17 | 2668449.8494 | 1230532.7847 | 2668450.8682 | 1230540.7945 | 2668455.7581 | 1230564.0242
18 | 2668449.8494 | 1230532.7847 | 2668449.6318 | 1230531.0738 | 2668450.8661 | 1230510.719 | 2668453.7118 | 1230497.3369
19 | 2668461.2285 | 1230323.6248 | 2668456.7568 | 1230339.9072 | 2668456.106 | 1230343.8861
20 | 2668461.2285 | 1230323.6248 | 2668469.6423 | 1230292.9888
21 | 2668454.0869 | 1230356.2311 | 2668456.106 | 1230343.8861
22 | 2668445.6878 | 1230392.7996 | 2668451.4113 | 1230372.5895 | 2668454.0869 | 1230356.2311
23 | 2668445.6878 | 1230392.7996 | 2668443.6733 | 1230399.9129
24 | 2668438.2966 | 1230417.415 | 2668442.8996 | 1230402.6448 | 2668443.6733 | 1230399.9129
25 | 2668557.8218 | 1230474.5046 | 2668562.7261 | 1230479.3687
26 | 2668606.8354 | 1230479.3173 | 2668602.0431 | 1230481.1344
27 | 2668553.354 | 1230464.5354 | 2668557.8218 | 1230474.5046 | 2668557.8218 | 1230474.5046
28 | 2668594.7921 | 1230438.5737 | 2668595.6681 | 1230445.3661 | 2668606.8354 | 1230479.3173
29 | 2668407.7728 | 1230415.8215 | 2668404.3193 | 1230413.9862 | 2668385.0607 | 1230397.1648 | 2668380.2854 | 1230385.58 | 2668377.4581 | 1230371.9163 | 2668374.9934 | 1230342.5352 | 2668373.5487 | 1230331.1555 | 2668367.2222 | 1230317.4515 | 2668358.5998 | 1230305.122 | 2668342.9738 | 1230291.8448 | 2668327.4534 | 1230285.1955 | 2668316.1223 | 1230279.8285 | 2668309.3728 | 1230279.1839 | 2668300.6736 | 1230282.097 | 2668258.7877 | 1230301.3245
30 | 2668434.8785 | 1230434.1733 | 2668432.8909 | 1230429.1694 | 2668407.7728 | 1230415.8215
31 | 2668250.2006 | 1230305.2663 | 2668258.7877 | 1230301.3245
32 | 2668434.8785 | 1230434.1733 | 2668436.5291 | 1230429.6226 | 2668436.8196 | 1230422.1544 | 2668438.2966 | 1230417.415
33 | 2668435.6147 | 1230436.0163 | 2668434.8785 | 1230434.1733
34 | 2668111.6955 | 1230229.6622 | 2668109.7511 | 1230248.6302 | 2668143.7285 | 1230284.0094 | 2668177.5058 | 1230305.0993 | 2668212.0658 | 1230320.0164 | 2668234.623 | 1230320.7534 | 2668243.2012 | 1230315.1815 | 2668250.2006 | 1230305.2663
35 | 2668435.6147 | 1230436.0163 | 2668435.2131 | 1230443.2721 | 2668434.9555 | 1230447.8833
36 | 2668435.6147 | 1230436.0163 | 2668445.2119 | 1230439.9738 | 2668452.752 | 1230443.8867
37 | 2668111.6955 | 1230229.6622 | 2668143.9748 | 1230203.0477 | 2668149.5964 | 1230196.3632 | 2668163.8039 | 1230179.4815 | 2668168.0298 | 1230173.1066
38 | 2668434.9555 | 1230447.8833 | 2668421.1717 | 1230449.4782
39 | 2668463.6463 | 1230457.2974 | 2668459.3227 | 1230447.2966 | 2668452.752 | 1230443.8867
40 | 2668172.3988 | 1230166.5159 | 2668168.0298 | 1230173.1066
41 | 2668295.5534 | 1230407.321 | 2668320.2211 | 1230410.9177 | 2668340.499 | 1230415.5204 | 2668358.6086 | 1230426.2133 | 2668375.2712 | 1230440.2141 | 2668386.2033 | 1230449.9462 | 2668392.3058 | 1230452.8182 | 2668421.1717 | 1230449.4782
42 | 2668463.6463 | 1230457.2974 | 2668465.4686 | 1230461.5212
43 | 2668643.8877 | 1230437.5779 | 2668639.8197 | 1230442.896 | 2668635.3993 | 1230454.5202
44 | 2668648.5873 | 1230431.434 | 2668643.8877 | 1230437.5779
45 | 2668648.5873 | 1230431.434 | 2668654.4231 | 1230439.6439
46 | 2668659.2417 | 1230477.6476 | 2668659.2113 | 1230477.6428 | 2668648.9901 | 1230477.5247
47 | 2668594.7921 | 1230438.5737 | 2668593.4749 | 1230429.504
48 | 2668576.4134 | 1230387.5503 | 2668580.0341 | 1230391.4946 | 2668583.3224 | 1230396.0244 | 2668587.3508 | 1230404.0206 | 2668592.1395 | 1230420.3088 | 2668593.4749 | 1230429.504
49 | 2668576.4134 | 1230387.5503 | 2668576.4752 | 1230379.5679 | 2668581.3278 | 1230363.4021 | 2668599.4598 | 1230328.1545 | 2668604.4923 | 1230317.5697
50 | 2668214.0434 | 1230902.7911 | 2668198.7945 | 1230914.8576 | 2668185.9901 | 1230927.0966 | 2668170.3496 | 1230944.2621 | 2668159.7389 | 1230954.7696 | 2668147.4467 | 1230963.9682 | 2668132.505 | 1230973.9437
51 | 2668102.3535 | 1230993.449 | 2668113.6515 | 1230982.4378 | 2668130.8612 | 1230975.0411 | 2668132.505 | 1230973.9437
52 | 2668186.4232 | 1230746.6255 | 2668214.0434 | 1230902.7911
53 | 2667939.1525 | 1230905.0653 | 2668102.3535 | 1230993.449
54 | 2668253.4553 | 1230585.636 | 2668255.0139 | 1230595.9136 | 2668252.1502 | 1230606.51 | 2668243.0103 | 1230615.5222 | 2668237.9508 | 1230622.7578 | 2668228.3555 | 1230732.8206 | 2668225.6147 | 1230741.2947 | 2668216.5099 | 1230747.272 | 2668200.127 | 1230749.2077 | 2668186.4232 | 1230746.6255
55 | 2667932.8775 | 1230899.2486 | 2667936.9974 | 1230903.921 | 2667939.1525 | 1230905.0653
56 | 2667932.8775 | 1230899.2486 | 2667928.592 | 1230897.1316 | 2667920.7193 | 1230894.0841 | 2667913.4036 | 1230894.0005 | 2667909.1937 | 1230895.8759
57 | 2668256.6875 | 1230540.5407 | 2668249.9098 | 1230572.0615 | 2668252.8451 | 1230581.6126 | 2668253.4553 | 1230585.636
58 | 2668465.4686 | 1230461.5212 | 2668486.2848 | 1230462.2327
59 | 2668465.4686 | 1230461.5212 | 2668463.5669 | 1230470.7721 | 2668462.2396 | 1230473.3555
60 | 2668517.4791 | 1230463.299 | 2668486.2848 | 1230462.2327
61 | 2668454.6749 | 1230483.8562 | 2668458.7628 | 1230480.123 | 2668462.2396 | 1230473.3555
62 | 2668454.6749 | 1230483.8562 | 2668455.4629 | 1230489.102 | 2668453.7118 | 1230497.3369
63 | 2668295.5534 | 1230407.321 | 2668288.6757 | 1230425.7653 | 2668289.3315 | 1230445.1634 | 2668298.972 | 1230475.6832 | 2668303.8713 | 1230491.6389 | 2668300.3804 | 1230505.3968 | 2668291.317 | 1230516.2999 | 2668283.867 | 1230523.9083 | 2668256.6875 | 1230540.5407
64 | 2668517.4791 | 1230463.299 | 2668523.6496 | 1230463.5117
65 | 2668517.4791 | 1230463.299 | 2668519.816 | 1230456.388 | 2668518.99 | 1230453.1319 | 2668517.7162 | 1230448.1114
66 | 2668553.354 | 1230464.5354 | 2668552.6147 | 1230456.1468
67 | 2668515.953 | 1230441.1622 | 2668514.7658 | 1230436.4834 | 2668518.3408 | 1230425.9954 | 2668526.3564 | 1230417.9824
68 | 2668515.953 | 1230441.1622 | 2668517.7162 | 1230448.1114
69 | 2668541.0971 | 1230412.0594 | 2668534.5532 | 1230411.9951 | 2668526.3564 | 1230417.9824 | 2668526.3564 | 1230417.9824
70 | 2668541.0971 | 1230412.0594 | 2668546.4452 | 1230429.1212 | 2668549.0074 | 1230438.5859
71 | 2668552.0612 | 1230449.8663 | 2668549.0074 | 1230438.5859
72 | 2668552.0612 | 1230449.8663 | 2668552.6147 | 1230456.1468
73 | 2668597.4925 | 1230289.1788 | 2668587.7772 | 1230281.0664 | 2668574.1232 | 1230266.9552 | 2668564.1338 | 1230261.8127
74 | 2668611.6095 | 1230302.6 | 2668602.2648 | 1230293.1637 | 2668597.4925 | 1230289.1788
75 | 2668611.6095 | 1230302.6 | 2668604.4923 | 1230317.5697
76 | 2668256.6875 | 1230540.5407 | 2668229.545 | 1230559.9484
77 | 2668229.545 | 1230559.9484 | 2668224.7024 | 1230563.4111 | 2668213.7701 | 1230568.8782 | 2668183.2307 | 1230573.3755 | 2668162.3981 | 1230574.9827
78 | 2667905.0205 | 1230876.5643 | 2667905.8587 | 1230875.0508
79 | 2667909.1937 | 1230895.8759 | 2667906.6279 | 1230890.4097 | 2667901.4251 | 1230883.0566 | 2667905.0205 | 1230876.5643
80 | 2667909.1937 | 1230895.8759 | 2667906.4835 | 1230897.0791 | 2667896.5403 | 1230917.3203
81 | 2668180.0535 | 1230154.9705 | 2668185.08 | 1230147.3891
82 | 2668172.3988 | 1230166.5159 | 2668180.0535 | 1230154.9705
83 | 2668193.9922 | 1230133.7862 | 2668190.7912 | 1230138.7751 | 2668185.08 | 1230147.3891
84 | 2668165.083 | 1230089.0698 | 2668169.3445 | 1230095.9677 | 2668184.6647 | 1230120.793 | 2668189.2288 | 1230130.3627 | 2668193.9922 | 1230133.7862
85 | 2668165.083 | 1230089.0698 | 2668162.123 | 1230084.2772 | 2668158.8014 | 1230072.6982 | 2668158.5318 | 1230067.2557
86 | 2668158.5318 | 1230067.2557 | 2668158.3093 | 1230062.7637 | 2668162.1024 | 1230051.055 | 2668167.2886 | 1230041.397 | 2668167.2601 | 1230041.0353

## bus_geodata
| x | y | coords
0 | 2668660.6244 | 1230571.4867
1 | 2668651.6428 | 1230532.588
2 | 2668646.6503 | 1230514.5803
3 | 2668641.8275 | 1230498.4431
4 | 2668632.7259 | 1230477.3369
5 | 2668574.8565 | 1230605.243
6 | 2668573.2673 | 1230623.6062
7 | 2668575.1401 | 1230587.1262
8 | 2668550.0603 | 1230791.6685
9 | 2668558.8818 | 1230737.2715
10 | 2668573.0059 | 1230564.8064
11 | 2668570.8201 | 1230542.9015
12 | 2668570.2171 | 1230532.7731
13 | 2668581.0923 | 1230495.4311
14 | 2668455.7581 | 1230564.0242
15 | 2668449.8494 | 1230532.7847
16 | 2668461.2285 | 1230323.6248
17 | 2668456.106 | 1230343.8861
18 | 2668469.6423 | 1230292.9888
19 | 2668454.0869 | 1230356.2311
20 | 2668445.6878 | 1230392.7996
21 | 2668443.6733 | 1230399.9129
22 | 2668562.7261 | 1230479.3687
23 | 2668602.0431 | 1230481.1344
24 | 2668557.8218 | 1230474.5046
25 | 2668606.8354 | 1230479.3173
26 | 2668407.7728 | 1230415.8215
27 | 2668258.7877 | 1230301.3245
28 | 2668434.8785 | 1230434.1733
29 | 2668250.2006 | 1230305.2663
30 | 2668438.2966 | 1230417.415
31 | 2668435.6147 | 1230436.0163
32 | 2668111.6955 | 1230229.6622
33 | 2668434.9555 | 1230447.8833
34 | 2668452.752 | 1230443.8867
35 | 2668168.0298 | 1230173.1066
36 | 2668421.1717 | 1230449.4782
37 | 2668463.6463 | 1230457.2974
38 | 2668643.8877 | 1230437.5779
39 | 2668635.3993 | 1230454.5202
40 | 2668648.5873 | 1230431.434
41 | 2668654.4231 | 1230439.6439
42 | 2668648.9901 | 1230477.5247
43 | 2668594.7921 | 1230438.5737
44 | 2668593.4749 | 1230429.504
45 | 2668659.2417 | 1230477.6476
46 | 2668576.4134 | 1230387.5503
47 | 2668132.505 | 1230973.9437
48 | 2668214.0434 | 1230902.7911
49 | 2668102.3535 | 1230993.449
50 | 2668186.4232 | 1230746.6255
51 | 2667939.1525 | 1230905.0653
52 | 2667932.8775 | 1230899.2486
53 | 2668253.4553 | 1230585.636
54 | 2668465.4686 | 1230461.5212
55 | 2668486.2848 | 1230462.2327
56 | 2668462.2396 | 1230473.3555
57 | 2668454.6749 | 1230483.8562
58 | 2668453.7118 | 1230497.3369
59 | 2668295.5534 | 1230407.321
60 | 2668517.4791 | 1230463.299
61 | 2668553.354 | 1230464.5354
62 | 2668515.953 | 1230441.1622
63 | 2668526.3564 | 1230417.9824
64 | 2668517.7162 | 1230448.1114
65 | 2668541.0971 | 1230412.0594
66 | 2668549.0074 | 1230438.5859
67 | 2668523.6496 | 1230463.5117
68 | 2668552.0612 | 1230449.8663
69 | 2668552.6147 | 1230456.1468
70 | 2668564.1338 | 1230261.8127
71 | 2668597.4925 | 1230289.1788
72 | 2668604.4923 | 1230317.5697
73 | 2668611.6095 | 1230302.6
74 | 2668256.6875 | 1230540.5407
75 | 2668229.545 | 1230559.9484
76 | 2668162.3981 | 1230574.9827
77 | 2667905.0205 | 1230876.5643
78 | 2667905.8587 | 1230875.0508
79 | 2667909.1937 | 1230895.8759
80 | 2667896.5403 | 1230917.3202
81 | 2668180.0535 | 1230154.9705
82 | 2668185.08 | 1230147.3891
83 | 2668172.3988 | 1230166.5159
84 | 2668193.9922 | 1230133.7862
85 | 2668165.083 | 1230089.0698
86 | 2668158.5318 | 1230067.2557
87 | 2668167.2601 | 1230041.0353
88 | 2668465.4686 | 1230461.5212

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1