## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4224-3_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4224-3_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4224-3_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4224-3_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4224-3_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4224-3_0_1_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4224-3_0_1_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4224-3_0_1_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4224-3_0_1_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_4224-3_0_1_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_4224-3_0_1_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_4224-3_0_1_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4224-3_0_1_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4224-3_0_1_node_189 | 0.4 | n |  | TRUE
14 | bus_LV_4224-3_0_1_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_4224-3_0_1_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_4224-3_0_1_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_4224-3_0_1_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_4224-3_0_1_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_4224-3_0_1_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_4224-3_0_1_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_4224-3_0_1_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4224-3_0_1_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_4224-3_0_1_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_4224-3_0_1_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_4224-3_0_1_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_4224-3_0_1_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_4224-3_0_1_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_4224-3_0_1_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_4224-3_0_1_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_4224-3_0_1_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_4224-3_0_1_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_4224-3_0_1_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_4224-3_0_1_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_4224-3_0_1_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_4224-3_0_1_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_4224-3_0_1_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_4224-3_0_1_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_4224-3_0_1_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4224-3_0_1_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_4224-3_0_1_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_4224-3_0_1_node_187 | 0.4 | n |  | TRUE
42 | bus_LV_4224-3_0_1_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_4224-3_0_1_node_132 | 0.4 | n |  | TRUE
44 | bus_LV_4224-3_0_1_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_4224-3_0_1_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_4224-3_0_1_node_129 | 0.4 | n |  | TRUE
47 | bus_LV_4224-3_0_1_node_130 | 0.4 | n |  | TRUE
48 | bus_LV_4224-3_0_1_node_131 | 0.4 | n |  | TRUE
49 | bus_LV_4224-3_0_1_node_186 | 0.4 | n |  | TRUE
50 | bus_LV_4224-3_0_1_node_133 | 0.4 | n |  | TRUE
51 | bus_MV_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4224-3_0_1_load_0 | 0 | 0.00094242 | 0.00023619 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4224-3_0_1_load_1 | 1 | 0.002847 | 0.00071352 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4224-3_0_1_load_2 | 2 | 0.0061046 | 0.00153 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4224-3_0_1_load_6 | 6 | 0.0047472 | 0.0011898 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4224-3_0_1_load_39 | 8 | 0.0012626 | 0.00031645 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4224-3_0_1_load_11 | 9 | 0.0031884 | 0.00079909 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4224-3_0_1_load_12 | 10 | 0.0029406 | 0.00073697 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4224-3_0_1_load_8 | 11 | 0.0016729 | 0.00041926 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4224-3_0_1_load_31 | 14 | 0.00033175 | 8.3145e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4224-3_0_1_load_14 | 16 | 0.0011949 | 0.00029948 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4224-3_0_1_load_24 | 17 | 0.0011372 | 0.000285 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4224-3_0_1_load_15 | 18 | 0.0008546 | 0.00021418 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4224-3_0_1_load_16 | 19 | 0.00099225 | 0.00024868 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4224-3_0_1_load_17 | 20 | 0.0003726 | 9.3382e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4224-3_0_1_load_22 | 23 | 0.00027844 | 6.9785e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4224-3_0_1_load_37 | 24 | 0.00091768 | 0.00022999 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4224-3_0_1_load_23 | 26 | 0.00018865 | 4.728e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4224-3_0_1_load_40 | 27 | 0.00095346 | 0.00023896 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4224-3_0_1_load_25 | 28 | 0.00041971 | 0.00010519 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4224-3_0_1_load_28 | 30 | 0.0011513 | 0.00028855 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4224-3_0_1_load_29 | 31 | 0.0019686 | 0.00049339 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4224-3_0_1_load_27 | 32 | 0.0012438 | 0.00031174 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4224-3_0_1_load_32 | 33 | 0.0025966 | 0.00065076 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4224-3_0_1_load_44 | 35 | 0.0010724 | 0.00026878 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4224-3_0_1_load_46 | 36 | 0.0012736 | 0.0003192 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4224-3_0_1_load_33 | 37 | 0.00090457 | 0.00022671 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4224-3_0_1_load_34 | 38 | 0.0007873 | 0.00019732 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4224-3_0_1_load_35 | 39 | 0.00042825 | 0.00010733 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4224-3_0_1_load_36 | 40 | 0.0024406 | 0.00061167 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4224-3_0_1_load_41 | 42 | 0.00035678 | 8.9418e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4224-3_0_1_load_42 | 44 | 0.00079477 | 0.00019919 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4224-3_0_1_load_45 | 45 | 0.0003129 | 7.8419e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4224-3_0_1_load_129 | 46 | 0.0001753 | 4.3935e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4224-3_0_1_load_130 | 47 | 0.0003693 | 9.2556e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4224-3_0_1_load_186 | 49 | 0.0002463 | 6.173e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4224-3_0_1_load_133 | 50 | 0.00076427 | 0.00019154 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4224-3_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4224-3_0_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4224-3_0_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.054027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4224-3_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4224-3_0_1_line_4 | NAYY 4x150 SE | 3 | 5 | 0.030133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4224-3_0_1_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0096541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4224-3_0_1_line_6 | NAYY 4x150 SE | 4 | 7 | 0.013961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4224-3_0_1_line_7 | NAYY 4x150 SE | 5 | 8 | 0.011644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4224-3_0_1_line_8 | NAYY 4x150 SE | 7 | 9 | 0.070214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4224-3_0_1_line_9 | NAYY 4x150 SE | 7 | 10 | 0.030108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4224-3_0_1_line_10 | NAYY 4x150 SE | 7 | 11 | 0.091119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4224-3_0_1_line_11 | NAYY 4x150 SE | 8 | 40 | 0.0084715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4224-3_0_1_line_12 | NAYY 4x150 SE | 9 | 15 | 0.035818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4224-3_0_1_line_13 | NAYY 4x150 SE | 10 | 16 | 0.017452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4224-3_0_1_line_14 | NAYY 4x150 SE | 12 | 13 | 0.1685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4224-3_0_1_line_15 | NAYY 4x150 SE | 12 | 14 | 0.075921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4224-3_0_1_line_16 | NAYY 4x150 SE | 13 | 24 | 0.278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4224-3_0_1_line_17 | NAYY 4x150 SE | 14 | 32 | 0.032474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4224-3_0_1_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0046611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4224-3_0_1_line_19 | NAYY 4x150 SE | 17 | 28 | 0.022639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4224-3_0_1_line_20 | NAYY 4x150 SE | 18 | 19 | 0.084246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4224-3_0_1_line_21 | NAYY 4x150 SE | 18 | 20 | 0.01578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4224-3_0_1_line_22 | NAYY 4x150 SE | 20 | 21 | 0.037246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4224-3_0_1_line_23 | NAYY 4x150 SE | 21 | 22 | 0.057692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4224-3_0_1_line_24 | NAYY 4x150 SE | 21 | 23 | 0.024295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4224-3_0_1_line_25 | NAYY 4x150 SE | 22 | 24 | 0.043626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4224-3_0_1_line_26 | NAYY 4x150 SE | 23 | 25 | 0.11706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4224-3_0_1_line_27 | NAYY 4x150 SE | 25 | 42 | 0.061881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4224-3_0_1_line_28 | NAYY 4x150 SE | 25 | 43 | 0.21568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4224-3_0_1_line_29 | NAYY 4x150 SE | 26 | 27 | 0.017343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4224-3_0_1_line_30 | NAYY 4x150 SE | 27 | 42 | 0.0063342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4224-3_0_1_line_31 | NAYY 4x150 SE | 28 | 29 | 0.013843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4224-3_0_1_line_32 | NAYY 4x150 SE | 29 | 30 | 0.016173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4224-3_0_1_line_33 | NAYY 4x150 SE | 29 | 31 | 0.032268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4224-3_0_1_line_34 | NAYY 4x150 SE | 30 | 34 | 0.017419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4224-3_0_1_line_35 | NAYY 4x150 SE | 31 | 35 | 0.0032491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4224-3_0_1_line_36 | NAYY 4x150 SE | 32 | 33 | 0.010336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4224-3_0_1_line_37 | NAYY 4x150 SE | 33 | 36 | 0.016097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4224-3_0_1_line_38 | NAYY 4x150 SE | 34 | 44 | 0.028851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4224-3_0_1_line_39 | NAYY 4x150 SE | 35 | 45 | 0.016165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4224-3_0_1_line_40 | NAYY 4x150 SE | 36 | 45 | 0.004679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4224-3_0_1_line_41 | NAYY 4x150 SE | 37 | 38 | 0.049624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4224-3_0_1_line_42 | NAYY 4x150 SE | 38 | 39 | 0.025385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4224-3_0_1_line_43 | NAYY 4x150 SE | 39 | 40 | 0.029426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4224-3_0_1_line_44 | NAYY 4x150 SE | 39 | 41 | 0.27376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4224-3_0_1_line_45 | NAYY 4x150 SE | 41 | 49 | 0.066683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4224-3_0_1_line_46 | NAYY 4x150 SE | 43 | 47 | 0.006024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4224-3_0_1_line_47 | NAYY 4x150 SE | 46 | 47 | 0.0033139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4224-3_0_1_line_48 | NAYY 4x150 SE | 46 | 48 | 0.030174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4224-3_0_1_line_49 | NAYY 4x150 SE | 48 | 50 | 0.015667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4224-3_0_1_trafo_14 | 0.25 MVA 20/0.4 kV | 51 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2667534.9353 | 1231650.4305 | 2667543.9398 | 1231649.371 | 2667549.7486 | 1231646.1689
1 | 2667534.9353 | 1231650.4305 | 2667520.9319 | 1231652.0782 | 2667505.9102 | 1231651.9985
2 | 2667564.1183 | 1231596.4318 | 2667559.5869 | 1231626.6447 | 2667558.595 | 1231633.2823 | 2667555.5008 | 1231642.9981 | 2667549.7486 | 1231646.1689
3 | 2667475.0107 | 1231651.8346 | 2667505.9102 | 1231651.9985
4 | 2667535.1339 | 1231587.8969 | 2667564.1183 | 1231596.4318
5 | 2667475.0107 | 1231651.8346 | 2667482.7449 | 1231646.0566
6 | 2667464.1194 | 1231660.6057 | 2667475.0107 | 1231651.8346
7 | 2667535.1339 | 1231587.8969 | 2667523.9384 | 1231584.697
8 | 2667464.1194 | 1231660.6057 | 2667453.3198 | 1231652.6113 | 2667441.9058 | 1231646.0441 | 2667402.0565 | 1231628.3309
9 | 2667464.1194 | 1231660.6057 | 2667439.5906 | 1231678.0646
10 | 2667464.1194 | 1231660.6057 | 2667483.0708 | 1231688.9951 | 2667500.2017 | 1231718.9649 | 2667510.3339 | 1231739.0154
11 | 2667523.9384 | 1231584.697 | 2667515.7931 | 1231582.3689
12 | 2667368.4062 | 1231617.4589 | 2667379.3784 | 1231618.2503 | 2667402.0565 | 1231628.3309
13 | 2667425.3725 | 1231688.1846 | 2667439.5906 | 1231678.0646
14 | 2667285.8101 | 1231934.0557 | 2667289.956 | 1231921.7055 | 2667294.4816 | 1231905.9129 | 2667315.4156 | 1231840.1619 | 2667332.6483 | 1231772.2786
15 | 2667332.6483 | 1231772.2786 | 2667351.6818 | 1231705.2387 | 2667353.4832 | 1231699.273
16 | 2667285.8101 | 1231934.0557 | 2667243.8428 | 1232208.8746
17 | 2667362.8708 | 1231668.1853 | 2667353.4832 | 1231699.273
18 | 2667368.4062 | 1231617.4589 | 2667364.1639 | 1231615.5278
19 | 2667343.5931 | 1231606.0765 | 2667349.1935 | 1231608.7132 | 2667364.1639 | 1231615.5278
20 | 2667208.7444 | 1232281.6347 | 2667208.5381 | 1232268.0811 | 2667205.8117 | 1232254.041 | 2667201.8429 | 1232245.4126 | 2667198.6217 | 1232242.9968 | 2667190.4043 | 1232241.7698 | 2667186.1181 | 1232242.4552 | 2667181.0574 | 1232246.6786 | 2667172.5642 | 1232268.723
21 | 2667208.7444 | 1232281.6347 | 2667208.9845 | 1232297.4133
22 | 2667240.2369 | 1232309.5114 | 2667233.638 | 1232307.8023 | 2667225.5395 | 1232305.4425 | 2667216.4012 | 1232305.3058 | 2667211.738 | 1232304.5192 | 2667209.0463 | 1232301.4757 | 2667208.9845 | 1232297.4133
23 | 2667240.2369 | 1232309.5114 | 2667242.9279 | 1232298.5567 | 2667246.5205 | 1232272.8359 | 2667246.4943 | 1232252.3998
24 | 2667240.2369 | 1232309.5114 | 2667236.1352 | 1232325.3533 | 2667233.9605 | 1232332.9803
25 | 2667246.4943 | 1232252.3998 | 2667245.4864 | 1232243.7604 | 2667244.629 | 1232220.4909 | 2667243.8428 | 1232208.8746
26 | 2667203.8442 | 1232446.1017 | 2667222.0522 | 1232378.0957 | 2667223.4752 | 1232372.7972 | 2667230.994 | 1232343.3849 | 2667233.9605 | 1232332.9803
27 | 2667203.8442 | 1232446.1017 | 2667199.9649 | 1232443.634 | 2667193.4855 | 1232409.9384 | 2667190.264 | 1232404.8653 | 2667174.0696 | 1232399.9458 | 2667174.0346 | 1232399.9395
28 | 2667203.8442 | 1232446.1017 | 2667162.7271 | 1232657.8222
29 | 2667167.7985 | 1232398.8293 | 2667161.132 | 1232397.6425 | 2667150.7224 | 1232399.4851
30 | 2667167.7985 | 1232398.8293 | 2667174.0346 | 1232399.9395
31 | 2667331.0689 | 1231600.1802 | 2667343.5931 | 1231606.0765
32 | 2667331.0689 | 1231600.1802 | 2667315.7991 | 1231594.8524
33 | 2667331.0689 | 1231600.1802 | 2667329.6122 | 1231607.7687 | 2667326.4107 | 1231614.9483 | 2667325.0196 | 1231620.7586 | 2667325.3093 | 1231623.9307 | 2667330.1756 | 1231629.6642
34 | 2667299.9626 | 1231587.7309 | 2667308.3103 | 1231592.2395 | 2667315.7991 | 1231594.8524
35 | 2667332.2782 | 1231632.1413 | 2667330.1756 | 1231629.6642
36 | 2667362.8708 | 1231668.1853 | 2667356.1827 | 1231660.3054
37 | 2667356.1827 | 1231660.3054 | 2667345.766 | 1231648.0326
38 | 2667299.9626 | 1231587.7309 | 2667283.561 | 1231611.4657
39 | 2667342.7382 | 1231644.4653 | 2667332.2782 | 1231632.1413
40 | 2667342.7382 | 1231644.4653 | 2667345.766 | 1231648.0326
41 | 2667462.2379 | 1231570.8269 | 2667443.0934 | 1231567.4167 | 2667414.1519 | 1231558.8675
42 | 2667462.2379 | 1231570.8269 | 2667473.1592 | 1231572.7723 | 2667487.1425 | 1231575.7248
43 | 2667487.1425 | 1231575.7248 | 2667507.83 | 1231580.0929 | 2667515.7931 | 1231582.3689
44 | 2667487.1425 | 1231575.7248 | 2667532.3798 | 1231305.7233
45 | 2667532.3798 | 1231305.7233 | 2667530.9237 | 1231271.9066 | 2667528.0992 | 1231257.8653 | 2667520.4575 | 1231241.0041
46 | 2667162.7271 | 1232657.8222 | 2667162.7416 | 1232663.8461
47 | 2667162.7416 | 1232663.8461 | 2667162.7495 | 1232667.16
48 | 2667183.8442 | 1232682.6883 | 2667177.429 | 1232681.504 | 2667166.7987 | 1232678.7709 | 2667162.7603 | 1232671.6317 | 2667162.7495 | 1232667.16
49 | 2667183.8442 | 1232682.6883 | 2667183.6671 | 1232698.3544

## bus_geodata
| x | y | coords
0 | 2667534.9353 | 1231650.4305
1 | 2667549.7486 | 1231646.1689
2 | 2667505.9102 | 1231651.9985
3 | 2667564.1183 | 1231596.4318
4 | 2667475.0107 | 1231651.8346
5 | 2667535.1339 | 1231587.8969
6 | 2667482.7449 | 1231646.0566
7 | 2667464.1194 | 1231660.6057
8 | 2667523.9384 | 1231584.697
9 | 2667402.0565 | 1231628.3309
10 | 2667439.5906 | 1231678.0646
11 | 2667510.3339 | 1231739.0154
12 | 2667332.6483 | 1231772.2786
13 | 2667285.8101 | 1231934.0557
14 | 2667353.4832 | 1231699.273
15 | 2667368.4062 | 1231617.4589
16 | 2667425.3725 | 1231688.1846
17 | 2667364.1639 | 1231615.5278
18 | 2667208.7444 | 1232281.6347
19 | 2667172.5642 | 1232268.723
20 | 2667208.9845 | 1232297.4133
21 | 2667240.2369 | 1232309.5114
22 | 2667246.4943 | 1232252.3998
23 | 2667233.9605 | 1232332.9803
24 | 2667243.8428 | 1232208.8746
25 | 2667203.8442 | 1232446.1017
26 | 2667150.7224 | 1232399.4851
27 | 2667167.7985 | 1232398.8293
28 | 2667343.5931 | 1231606.0765
29 | 2667331.0689 | 1231600.1802
30 | 2667315.7991 | 1231594.8524
31 | 2667330.1756 | 1231629.6642
32 | 2667362.8708 | 1231668.1853
33 | 2667356.1827 | 1231660.3054
34 | 2667299.9626 | 1231587.7309
35 | 2667332.2782 | 1231632.1413
36 | 2667345.766 | 1231648.0326
37 | 2667414.1519 | 1231558.8675
38 | 2667462.2379 | 1231570.8269
39 | 2667487.1425 | 1231575.7248
40 | 2667515.7931 | 1231582.3689
41 | 2667532.3798 | 1231305.7233
42 | 2667174.0346 | 1232399.9395
43 | 2667162.7271 | 1232657.8222
44 | 2667283.561 | 1231611.4657
45 | 2667342.7382 | 1231644.4653
46 | 2667162.7495 | 1232667.16
47 | 2667162.7416 | 1232663.8461
48 | 2667183.8442 | 1232682.6883
49 | 2667520.4575 | 1231241.0041
50 | 2667183.6671 | 1232698.3544
51 | 2667425.3725 | 1231688.1846

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1