## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4227-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4227-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4227-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4227-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4227-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4227-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4227-2_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4227-2_0_3_node_101 | 0.4 | n |  | TRUE
8 | bus_LV_4227-2_0_3_node_93 | 0.4 | n |  | TRUE
9 | bus_LV_4227-2_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_4227-2_0_3_node_129 | 0.4 | n |  | TRUE
11 | bus_LV_4227-2_0_3_node_92 | 0.4 | n |  | TRUE
12 | bus_LV_4227-2_0_3_node_94 | 0.4 | n |  | TRUE
13 | bus_LV_4227-2_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4227-2_0_3_node_130 | 0.4 | n |  | TRUE
15 | bus_LV_4227-2_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4227-2_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4227-2_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4227-2_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4227-2_0_3_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_4227-2_0_3_node_103 | 0.4 | n |  | TRUE
21 | bus_LV_4227-2_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_4227-2_0_3_node_102 | 0.4 | n |  | TRUE
23 | bus_LV_4227-2_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4227-2_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4227-2_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4227-2_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4227-2_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4227-2_0_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_4227-2_0_3_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_4227-2_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4227-2_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_4227-2_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4227-2_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_4227-2_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4227-2_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4227-2_0_3_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_4227-2_0_3_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_4227-2_0_3_node_137 | 0.4 | n |  | TRUE
39 | bus_LV_4227-2_0_3_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_4227-2_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_4227-2_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4227-2_0_3_node_99 | 0.4 | n |  | TRUE
43 | bus_LV_4227-2_0_3_node_98 | 0.4 | n |  | TRUE
44 | bus_LV_4227-2_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_4227-2_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_4227-2_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_4227-2_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4227-2_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4227-2_0_3_node_97 | 0.4 | n |  | TRUE
50 | bus_LV_4227-2_0_3_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_4227-2_0_3_node_118 | 0.4 | n |  | TRUE
52 | bus_LV_4227-2_0_3_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_4227-2_0_3_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_4227-2_0_3_node_117 | 0.4 | n |  | TRUE
55 | bus_LV_4227-2_0_3_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_4227-2_0_3_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_4227-2_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_4227-2_0_3_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_4227-2_0_3_node_105 | 0.4 | n |  | TRUE
60 | bus_LV_4227-2_0_3_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_4227-2_0_3_node_88 | 0.4 | n |  | TRUE
62 | bus_LV_4227-2_0_3_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_4227-2_0_3_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4227-2_0_3_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_4227-2_0_3_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_4227-2_0_3_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_4227-2_0_3_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_4227-2_0_3_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_4227-2_0_3_node_114 | 0.4 | n |  | TRUE
70 | bus_LV_4227-2_0_3_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_4227-2_0_3_node_89 | 0.4 | n |  | TRUE
72 | bus_LV_4227-2_0_3_node_115 | 0.4 | n |  | TRUE
73 | bus_LV_4227-2_0_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_4227-2_0_3_node_45 | 0.4 | n |  | TRUE
75 | bus_LV_4227-2_0_3_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_4227-2_0_3_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_4227-2_0_3_node_48 | 0.4 | n |  | TRUE
78 | bus_LV_4227-2_0_3_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_4227-2_0_3_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_4227-2_0_3_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_4227-2_0_3_node_49 | 0.4 | n |  | TRUE
82 | bus_LV_4227-2_0_3_node_146 | 0.4 | n |  | TRUE
83 | bus_LV_4227-2_0_3_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_4227-2_0_3_node_52 | 0.4 | n |  | TRUE
85 | bus_LV_4227-2_0_3_node_53 | 0.4 | n |  | TRUE
86 | bus_LV_4227-2_0_3_node_54 | 0.4 | n |  | TRUE
87 | bus_LV_4227-2_0_3_node_55 | 0.4 | n |  | TRUE
88 | bus_LV_4227-2_0_3_node_56 | 0.4 | n |  | TRUE
89 | bus_LV_4227-2_0_3_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_4227-2_0_3_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_4227-2_0_3_node_57 | 0.4 | n |  | TRUE
92 | bus_LV_4227-2_0_3_node_58 | 0.4 | n |  | TRUE
93 | bus_LV_4227-2_0_3_node_62 | 0.4 | n |  | TRUE
94 | bus_LV_4227-2_0_3_node_132 | 0.4 | n |  | TRUE
95 | bus_LV_4227-2_0_3_node_133 | 0.4 | n |  | TRUE
96 | bus_LV_4227-2_0_3_node_134 | 0.4 | n |  | TRUE
97 | bus_LV_4227-2_0_3_node_131 | 0.4 | n |  | TRUE
98 | bus_LV_4227-2_0_3_node_140 | 0.4 | n |  | TRUE
99 | bus_LV_4227-2_0_3_node_135 | 0.4 | n |  | TRUE
100 | bus_LV_4227-2_0_3_node_63 | 0.4 | n |  | TRUE
101 | bus_LV_4227-2_0_3_node_64 | 0.4 | n |  | TRUE
102 | bus_LV_4227-2_0_3_node_65 | 0.4 | n |  | TRUE
103 | bus_LV_4227-2_0_3_node_66 | 0.4 | n |  | TRUE
104 | bus_LV_4227-2_0_3_node_126 | 0.4 | n |  | TRUE
105 | bus_LV_4227-2_0_3_node_86 | 0.4 | n |  | TRUE
106 | bus_LV_4227-2_0_3_node_161 | 0.4 | n |  | TRUE
107 | bus_LV_4227-2_0_3_node_84 | 0.4 | n |  | TRUE
108 | bus_LV_4227-2_0_3_node_69 | 0.4 | n |  | TRUE
109 | bus_LV_4227-2_0_3_node_100 | 0.4 | n |  | TRUE
110 | bus_LV_4227-2_0_3_node_112 | 0.4 | n |  | TRUE
111 | bus_LV_4227-2_0_3_node_113 | 0.4 | n |  | TRUE
112 | bus_LV_4227-2_0_3_node_72 | 0.4 | n |  | TRUE
113 | bus_LV_4227-2_0_3_node_77 | 0.4 | n |  | TRUE
114 | bus_LV_4227-2_0_3_node_178 | 0.4 | n |  | TRUE
115 | bus_LV_4227-2_0_3_node_78 | 0.4 | n |  | TRUE
116 | bus_LV_4227-2_0_3_node_79 | 0.4 | n |  | TRUE
117 | bus_LV_4227-2_0_3_node_81 | 0.4 | n |  | TRUE
118 | bus_LV_4227-2_0_3_node_80 | 0.4 | n |  | TRUE
119 | bus_LV_4227-2_0_3_node_82 | 0.4 | n |  | TRUE
120 | bus_LV_4227-2_0_3_node_128 | 0.4 | n |  | TRUE
121 | bus_LV_4227-2_0_3_node_122 | 0.4 | n |  | TRUE
122 | bus_LV_4227-2_0_3_node_83 | 0.4 | n |  | TRUE
123 | bus_LV_4227-2_0_3_node_85 | 0.4 | n |  | TRUE
124 | bus_LV_4227-2_0_3_node_87 | 0.4 | n |  | TRUE
125 | bus_LV_4227-2_0_3_node_108 | 0.4 | n |  | TRUE
126 | bus_LV_4227-2_0_3_node_107 | 0.4 | n |  | TRUE
127 | bus_LV_4227-2_0_3_node_91 | 0.4 | n |  | TRUE
128 | bus_LV_4227-2_0_3_node_127 | 0.4 | n |  | TRUE
129 | bus_LV_4227-2_0_3_node_109 | 0.4 | n |  | TRUE
130 | bus_LV_4227-2_0_3_node_110 | 0.4 | n |  | TRUE
131 | bus_LV_4227-2_0_3_node_111 | 0.4 | n |  | TRUE
132 | bus_LV_4227-2_0_3_node_116 | 0.4 | n |  | TRUE
133 | bus_LV_4227-2_0_3_node_124 | 0.4 | n |  | TRUE
134 | bus_LV_4227-2_0_3_node_125 | 0.4 | n |  | TRUE
135 | bus_LV_4227-2_0_3_node_154 | 0.4 | n |  | TRUE
136 | bus_LV_4227-2_0_3_node_152 | 0.4 | n |  | TRUE
137 | bus_LV_4227-2_0_3_node_119 | 0.4 | n |  | TRUE
138 | bus_LV_4227-2_0_3_node_120 | 0.4 | n |  | TRUE
139 | bus_LV_4227-2_0_3_node_121 | 0.4 | n |  | TRUE
140 | bus_LV_4227-2_0_3_node_123 | 0.4 | n |  | TRUE
141 | bus_LV_4227-2_0_3_node_163 | 0.4 | n |  | TRUE
142 | bus_LV_4227-2_0_3_node_162 | 0.4 | n |  | TRUE
143 | bus_LV_4227-2_0_3_node_138 | 0.4 | n |  | TRUE
144 | bus_LV_4227-2_0_3_node_139 | 0.4 | n |  | TRUE
145 | bus_LV_4227-2_0_3_node_141 | 0.4 | n |  | TRUE
146 | bus_LV_4227-2_0_3_node_143 | 0.4 | n |  | TRUE
147 | bus_LV_4227-2_0_3_node_142 | 0.4 | n |  | TRUE
148 | bus_LV_4227-2_0_3_node_144 | 0.4 | n |  | TRUE
149 | bus_LV_4227-2_0_3_node_145 | 0.4 | n |  | TRUE
150 | bus_LV_4227-2_0_3_node_155 | 0.4 | n |  | TRUE
151 | bus_LV_4227-2_0_3_node_156 | 0.4 | n |  | TRUE
152 | bus_LV_4227-2_0_3_node_157 | 0.4 | n |  | TRUE
153 | bus_LV_4227-2_0_3_node_158 | 0.4 | n |  | TRUE
154 | bus_LV_4227-2_0_3_node_159 | 0.4 | n |  | TRUE
155 | bus_MV_470_0_node_278 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4227-2_0_3_load_0 | 0 | 0.0011154 | 0.00027955 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4227-2_0_3_load_1 | 1 | 0.00089888 | 0.00022528 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4227-2_0_3_load_3 | 3 | 0.00067409 | 0.00016894 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4227-2_0_3_load_4 | 4 | 0.00078906 | 0.00019776 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4227-2_0_3_load_5 | 5 | 0.0020969 | 0.00052552 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4227-2_0_3_load_6 | 6 | 0.0012938 | 0.00032425 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4227-2_0_3_load_101 | 7 | 0.0011302 | 0.00028325 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4227-2_0_3_load_93 | 8 | 0.00092004 | 0.00023058 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4227-2_0_3_load_10 | 9 | 0.00087867 | 0.00022022 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4227-2_0_3_load_129 | 10 | 0.0016669 | 0.00041776 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4227-2_0_3_load_92 | 11 | 0.0024947 | 0.00062523 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4227-2_0_3_load_94 | 12 | 0.0020103 | 0.00050384 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4227-2_0_3_load_8 | 13 | 0.00098418 | 0.00024666 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4227-2_0_3_load_130 | 14 | 0.0011595 | 0.00029061 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4227-2_0_3_load_7 | 15 | 0.0013979 | 0.00035035 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4227-2_0_3_load_11 | 17 | 0.0010005 | 0.00025075 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4227-2_0_3_load_12 | 18 | 0.0018481 | 0.00046317 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4227-2_0_3_load_26 | 19 | 0.001155 | 0.00028947 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4227-2_0_3_load_103 | 20 | 0.0014033 | 0.0003517 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4227-2_0_3_load_24 | 21 | 0.00048105 | 0.00012056 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4227-2_0_3_load_102 | 22 | 0.0011618 | 0.00029119 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4227-2_0_3_load_13 | 23 | 0.0031128 | 0.00078015 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4227-2_0_3_load_14 | 24 | 0.0028405 | 0.0007119 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4227-2_0_3_load_15 | 25 | 0.0025335 | 0.00063494 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4227-2_0_3_load_16 | 26 | 0.0012851 | 0.00032208 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4227-2_0_3_load_17 | 27 | 0.0019634 | 0.00049208 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4227-2_0_3_load_37 | 28 | 0.0037829 | 0.00094807 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4227-2_0_3_load_35 | 29 | 0.0014257 | 0.00035731 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4227-2_0_3_load_18 | 30 | 0.0030312 | 0.00075969 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4227-2_0_3_load_19 | 31 | 0.0012029 | 0.00030147 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4227-2_0_3_load_21 | 33 | 0.002974 | 0.00074534 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4227-2_0_3_load_22 | 34 | 0.002827 | 0.00070852 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4227-2_0_3_load_23 | 35 | 0.0033119 | 0.00083003 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4227-2_0_3_load_76 | 37 | 0.0041068 | 0.0010293 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4227-2_0_3_load_25 | 40 | 0.0029051 | 0.00072809 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4227-2_0_3_load_27 | 41 | 0.0011959 | 0.00029972 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4227-2_0_3_load_99 | 42 | 0.0024748 | 0.00062025 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4227-2_0_3_load_98 | 43 | 0.0013487 | 0.00033802 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4227-2_0_3_load_28 | 44 | 0.00032047 | 8.0317e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4227-2_0_3_load_29 | 45 | 0.00058995 | 0.00014786 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4227-2_0_3_load_30 | 46 | 0.00075543 | 0.00018933 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4227-2_0_3_load_32 | 48 | 0.0011744 | 0.00029434 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4227-2_0_3_load_97 | 49 | 0.00063151 | 0.00015827 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4227-2_0_3_load_95 | 50 | 0.0006008 | 0.00015057 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4227-2_0_3_load_118 | 51 | 0.0023048 | 0.00057763 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4227-2_0_3_load_60 | 52 | 0.0011 | 0.00027569 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4227-2_0_3_load_96 | 53 | 0.00069492 | 0.00017416 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4227-2_0_3_load_117 | 54 | 0.0032246 | 0.00080817 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4227-2_0_3_load_33 | 55 | 0.0045157 | 0.0011317 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4227-2_0_3_load_34 | 56 | 0.0046994 | 0.0011778 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4227-2_0_3_load_36 | 57 | 0.0034936 | 0.00087558 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4227-2_0_3_load_38 | 58 | 0.0043995 | 0.0011026 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4227-2_0_3_load_106 | 60 | 0.0011828 | 0.00029644 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4227-2_0_3_load_88 | 61 | 0.001023 | 0.00025639 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4227-2_0_3_load_39 | 62 | 0.0045412 | 0.0011381 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4227-2_0_3_load_40 | 64 | 0.00090533 | 0.0002269 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4227-2_0_3_load_42 | 65 | 0.0023377 | 0.00058589 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4227-2_0_3_load_43 | 66 | 0.0011392 | 0.00028551 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4227-2_0_3_load_44 | 67 | 0.0039179 | 0.00098193 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4227-2_0_3_load_90 | 68 | 0.0010547 | 0.00026434 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4227-2_0_3_load_114 | 69 | 0.00091216 | 0.00022861 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4227-2_0_3_load_74 | 70 | 0.00072708 | 0.00018222 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4227-2_0_3_load_89 | 71 | 0.00067097 | 0.00016816 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4227-2_0_3_load_115 | 72 | 0.0021237 | 0.00053224 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4227-2_0_3_load_73 | 73 | 0.001673 | 0.0004193 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4227-2_0_3_load_45 | 74 | 0.0013973 | 0.00035021 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4227-2_0_3_load_48 | 77 | 0.00050068 | 0.00012548 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4227-2_0_3_load_50 | 78 | 0.00043983 | 0.00011023 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4227-2_0_3_load_67 | 80 | 0.0021317 | 0.00053427 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4227-2_0_3_load_49 | 81 | 0.001323 | 0.00033157 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4227-2_0_3_load_146 | 82 | 0.00062946 | 0.00015776 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4227-2_0_3_load_68 | 83 | 0.0011911 | 0.00029852 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4227-2_0_3_load_52 | 84 | 0.0037595 | 0.00094222 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4227-2_0_3_load_53 | 85 | 0.0025666 | 0.00064325 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4227-2_0_3_load_54 | 86 | 0.001393 | 0.00034911 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4227-2_0_3_load_55 | 87 | 0.0039865 | 0.00099912 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4227-2_0_3_load_56 | 88 | 0.001301 | 0.00032606 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4227-2_0_3_load_70 | 89 | 0.0021903 | 0.00054895 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4227-2_0_3_load_71 | 90 | 0.0032757 | 0.00082097 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4227-2_0_3_load_57 | 91 | 0.00027739 | 6.9519e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4227-2_0_3_load_58 | 92 | 0.00044204 | 0.00011079 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4227-2_0_3_load_133 | 95 | 0.0017938 | 0.00044956 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4227-2_0_3_load_140 | 98 | 0.00024472 | 6.1332e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4227-2_0_3_load_135 | 99 | 0.00065899 | 0.00016516 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4227-2_0_3_load_63 | 100 | 0.0014564 | 0.00036501 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4227-2_0_3_load_64 | 101 | 0.0014252 | 0.00035719 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4227-2_0_3_load_65 | 102 | 0.00063896 | 0.00016014 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4227-2_0_3_load_86 | 105 | 0.0014089 | 0.0003531 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4227-2_0_3_load_161 | 106 | 0.00095992 | 0.00024058 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4227-2_0_3_load_84 | 107 | 0.0013581 | 0.00034036 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4227-2_0_3_load_100 | 109 | 0.0024979 | 0.00062602 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4227-2_0_3_load_112 | 110 | 0.0030824 | 0.00077253 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4227-2_0_3_load_72 | 112 | 0.0010177 | 0.00025505 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4227-2_0_3_load_178 | 114 | 0.0018973 | 0.0004755 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4227-2_0_3_load_78 | 115 | 0.0036711 | 0.00092006 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4227-2_0_3_load_79 | 116 | 0.00082913 | 0.0002078 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4227-2_0_3_load_81 | 117 | 0.0021666 | 0.00054301 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4227-2_0_3_load_80 | 118 | 0.00082694 | 0.00020725 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4227-2_0_3_load_82 | 119 | 0.0021247 | 0.00053249 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4227-2_0_3_load_128 | 120 | 0.00093134 | 0.00023342 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4227-2_0_3_load_122 | 121 | 0.00070908 | 0.00017771 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4227-2_0_3_load_83 | 122 | 0.0023218 | 0.00058191 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4227-2_0_3_load_85 | 123 | 0.0030126 | 0.00075503 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4227-2_0_3_load_87 | 124 | 0.0008404 | 0.00021062 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4227-2_0_3_load_108 | 125 | 0.0023018 | 0.00057688 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4227-2_0_3_load_107 | 126 | 0.0007162 | 0.0001795 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4227-2_0_3_load_91 | 127 | 0.00096534 | 0.00024194 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4227-2_0_3_load_127 | 128 | 0.0018857 | 0.0004726 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4227-2_0_3_load_110 | 130 | 0.0014186 | 0.00035553 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4227-2_0_3_load_111 | 131 | 0.0027836 | 0.00069764 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4227-2_0_3_load_116 | 132 | 0.00055798 | 0.00013984 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4227-2_0_3_load_124 | 133 | 0.0067919 | 0.0017022 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4227-2_0_3_load_125 | 134 | 0.0043305 | 0.0010853 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4227-2_0_3_load_152 | 136 | 0.0034354 | 0.00086099 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4227-2_0_3_load_119 | 137 | 0.00067313 | 0.0001687 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4227-2_0_3_load_120 | 138 | 0.0022921 | 0.00057446 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4227-2_0_3_load_121 | 139 | 0.0010134 | 0.00025399 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4227-2_0_3_load_123 | 140 | 0.0014153 | 0.00035471 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4227-2_0_3_load_163 | 141 | 0.00098431 | 0.00024669 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4227-2_0_3_load_162 | 142 | 0.00096042 | 0.0002407 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4227-2_0_3_load_138 | 143 | 0.00087148 | 0.00021841 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4227-2_0_3_load_139 | 144 | 0.00080811 | 0.00020253 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4227-2_0_3_load_141 | 145 | 0.00042959 | 0.00010767 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4227-2_0_3_load_143 | 146 | 0.00046063 | 0.00011545 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4227-2_0_3_load_142 | 147 | 0.0020218 | 0.0005067 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4227-2_0_3_load_155 | 150 | 0.00058453 | 0.0001465 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4227-2_0_3_load_156 | 151 | 0.0001407 | 3.5262e-05 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4227-2_0_3_load_157 | 152 | 0.0012261 | 0.0003073 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4227-2_0_3_load_159 | 154 | 0.00086584 | 0.000217 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4227-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0065887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4227-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.051712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4227-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0065789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4227-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4227-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.016014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4227-2_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.019367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_4227-2_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.0076375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4227-2_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.013899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4227-2_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0044717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4227-2_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.00084641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_4227-2_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0034235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4227-2_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.01977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4227-2_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.02677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4227-2_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.024229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4227-2_0_3_line_14 | NAYY 4x150 SE | 11 | 127 | 0.0036372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4227-2_0_3_line_15 | NAYY 4x150 SE | 12 | 26 | 0.015918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4227-2_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.004232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4227-2_0_3_line_17 | NAYY 4x150 SE | 14 | 104 | 0.015905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4227-2_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.01766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4227-2_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.027265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4227-2_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.0073808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4227-2_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0041424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4227-2_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.030917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4227-2_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.024286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4227-2_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.0032408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4227-2_0_3_line_25 | NAYY 4x150 SE | 21 | 40 | 0.0075494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4227-2_0_3_line_26 | NAYY 4x150 SE | 22 | 112 | 0.021618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4227-2_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.014859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4227-2_0_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.0067709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4227-2_0_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.005344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4227-2_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.018181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4227-2_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.00068412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4227-2_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.01075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4227-2_0_3_line_33 | NAYY 4x150 SE | 29 | 55 | 0.013607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4227-2_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.004036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4227-2_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.019305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4227-2_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.018135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4227-2_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.018311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4227-2_0_3_line_38 | NAYY 4x150 SE | 32 | 35 | 0.057579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4227-2_0_3_line_39 | NAYY 4x150 SE | 33 | 36 | 0.0071241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4227-2_0_3_line_40 | NAYY 4x150 SE | 34 | 37 | 0.029226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4227-2_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.020607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4227-2_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.028825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4227-2_0_3_line_43 | NAYY 4x150 SE | 38 | 128 | 0.0070834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4227-2_0_3_line_44 | NAYY 4x150 SE | 39 | 113 | 0.089135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4227-2_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.00097615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4227-2_0_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.025889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4227-2_0_3_line_47 | NAYY 4x150 SE | 42 | 43 | 0.004265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4227-2_0_3_line_48 | NAYY 4x150 SE | 43 | 109 | 0.023189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4227-2_0_3_line_49 | NAYY 4x150 SE | 44 | 45 | 0.0028679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4227-2_0_3_line_50 | NAYY 4x150 SE | 44 | 46 | 0.019073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4227-2_0_3_line_51 | NAYY 4x150 SE | 45 | 47 | 0.013142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4227-2_0_3_line_52 | NAYY 4x150 SE | 46 | 48 | 0.0052558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4227-2_0_3_line_53 | NAYY 4x150 SE | 47 | 49 | 0.016228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4227-2_0_3_line_54 | NAYY 4x150 SE | 47 | 50 | 0.045106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4227-2_0_3_line_55 | NAYY 4x150 SE | 48 | 51 | 0.015719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4227-2_0_3_line_56 | NAYY 4x150 SE | 49 | 52 | 0.020442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4227-2_0_3_line_57 | NAYY 4x150 SE | 50 | 53 | 0.020215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4227-2_0_3_line_58 | NAYY 4x150 SE | 51 | 54 | 0.044983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4227-2_0_3_line_59 | NAYY 4x150 SE | 52 | 92 | 0.046464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4227-2_0_3_line_60 | NAYY 4x150 SE | 53 | 93 | 0.066125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4227-2_0_3_line_61 | NAYY 4x150 SE | 54 | 132 | 0.049224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4227-2_0_3_line_62 | NAYY 4x150 SE | 55 | 56 | 0.0011085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4227-2_0_3_line_63 | NAYY 4x150 SE | 56 | 57 | 0.020913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4227-2_0_3_line_64 | NAYY 4x150 SE | 57 | 58 | 0.00019351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4227-2_0_3_line_65 | NAYY 4x150 SE | 58 | 59 | 0.020884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4227-2_0_3_line_66 | NAYY 4x150 SE | 59 | 60 | 0.019632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4227-2_0_3_line_67 | NAYY 4x150 SE | 59 | 61 | 0.010516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4227-2_0_3_line_68 | NAYY 4x150 SE | 60 | 81 | 0.01798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4227-2_0_3_line_69 | NAYY 4x150 SE | 61 | 117 | 0.018666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4227-2_0_3_line_70 | NAYY 4x150 SE | 62 | 63 | 0.024691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4227-2_0_3_line_71 | NAYY 4x150 SE | 63 | 66 | 0.005927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4227-2_0_3_line_72 | NAYY 4x150 SE | 63 | 67 | 0.014083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4227-2_0_3_line_73 | NAYY 4x150 SE | 64 | 65 | 0.0047941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4227-2_0_3_line_74 | NAYY 4x150 SE | 65 | 68 | 0.0059075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4227-2_0_3_line_75 | NAYY 4x150 SE | 66 | 69 | 0.015036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4227-2_0_3_line_76 | NAYY 4x150 SE | 67 | 70 | 0.019372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4227-2_0_3_line_77 | NAYY 4x150 SE | 68 | 71 | 0.0071622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4227-2_0_3_line_78 | NAYY 4x150 SE | 69 | 72 | 0.0011312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4227-2_0_3_line_79 | NAYY 4x150 SE | 70 | 73 | 0.0030985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4227-2_0_3_line_80 | NAYY 4x150 SE | 71 | 127 | 0.0066533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4227-2_0_3_line_81 | NAYY 4x150 SE | 72 | 88 | 0.0085476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4227-2_0_3_line_82 | NAYY 4x150 SE | 74 | 75 | 0.020649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4227-2_0_3_line_83 | NAYY 4x150 SE | 74 | 76 | 0.05487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4227-2_0_3_line_84 | NAYY 4x150 SE | 75 | 77 | 0.029074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4227-2_0_3_line_85 | NAYY 4x150 SE | 76 | 78 | 0.033725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4227-2_0_3_line_86 | NAYY 4x150 SE | 76 | 79 | 0.3446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4227-2_0_3_line_87 | NAYY 4x150 SE | 77 | 80 | 0.006811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4227-2_0_3_line_88 | NAYY 4x150 SE | 79 | 82 | 0.035372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4227-2_0_3_line_89 | NAYY 4x150 SE | 80 | 83 | 0.032399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4227-2_0_3_line_90 | NAYY 4x150 SE | 83 | 108 | 0.0025399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4227-2_0_3_line_91 | NAYY 4x150 SE | 84 | 85 | 0.0093168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4227-2_0_3_line_92 | NAYY 4x150 SE | 84 | 86 | 0.0067583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4227-2_0_3_line_93 | NAYY 4x150 SE | 85 | 87 | 0.0018212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4227-2_0_3_line_94 | NAYY 4x150 SE | 86 | 88 | 0.0089986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4227-2_0_3_line_95 | NAYY 4x150 SE | 87 | 89 | 0.028435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4227-2_0_3_line_96 | NAYY 4x150 SE | 89 | 90 | 0.0028648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4227-2_0_3_line_97 | NAYY 4x150 SE | 90 | 112 | 0.018962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4227-2_0_3_line_98 | NAYY 4x150 SE | 91 | 92 | 0.026623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4227-2_0_3_line_99 | NAYY 4x150 SE | 93 | 94 | 0.13148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4227-2_0_3_line_100 | NAYY 4x150 SE | 94 | 99 | 0.049418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4227-2_0_3_line_101 | NAYY 4x150 SE | 94 | 97 | 0.020658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4227-2_0_3_line_102 | NAYY 4x150 SE | 95 | 96 | 0.040298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4227-2_0_3_line_103 | NAYY 4x150 SE | 96 | 97 | 0.22033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4227-2_0_3_line_104 | NAYY 4x150 SE | 97 | 98 | 0.10081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4227-2_0_3_line_105 | NAYY 4x150 SE | 98 | 143 | 0.010475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4227-2_0_3_line_106 | NAYY 4x150 SE | 100 | 101 | 0.0092204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4227-2_0_3_line_107 | NAYY 4x150 SE | 100 | 102 | 0.031837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4227-2_0_3_line_108 | NAYY 4x150 SE | 101 | 103 | 0.013443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_4227-2_0_3_line_109 | NAYY 4x150 SE | 103 | 104 | 0.003238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4227-2_0_3_line_110 | NAYY 4x150 SE | 103 | 105 | 0.015159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_4227-2_0_3_line_111 | NAYY 4x150 SE | 104 | 106 | 0.032172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_4227-2_0_3_line_112 | NAYY 4x150 SE | 105 | 107 | 0.028668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_4227-2_0_3_line_113 | NAYY 4x150 SE | 106 | 142 | 0.0041337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_4227-2_0_3_line_114 | NAYY 4x150 SE | 107 | 122 | 0.00073217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_4227-2_0_3_line_115 | NAYY 4x150 SE | 108 | 109 | 0.0025452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_4227-2_0_3_line_116 | NAYY 4x150 SE | 108 | 110 | 0.021803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_4227-2_0_3_line_117 | NAYY 4x150 SE | 110 | 111 | 0.19446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_4227-2_0_3_line_118 | NAYY 4x150 SE | 111 | 135 | 0.32824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_4227-2_0_3_line_119 | NAYY 4x150 SE | 113 | 114 | 0.048798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_4227-2_0_3_line_120 | NAYY 4x150 SE | 115 | 116 | 0.0081662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_4227-2_0_3_line_121 | NAYY 4x150 SE | 116 | 117 | 0.021759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_4227-2_0_3_line_122 | NAYY 4x150 SE | 118 | 119 | 0.019842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_4227-2_0_3_line_123 | NAYY 4x150 SE | 119 | 120 | 0.0004426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_4227-2_0_3_line_124 | NAYY 4x150 SE | 120 | 121 | 0.024811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_4227-2_0_3_line_125 | NAYY 4x150 SE | 121 | 138 | 0.0061152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_4227-2_0_3_line_126 | NAYY 4x150 SE | 122 | 123 | 0.024225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_4227-2_0_3_line_127 | NAYY 4x150 SE | 123 | 124 | 0.00066712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_4227-2_0_3_line_128 | NAYY 4x150 SE | 124 | 125 | 0.012003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_4227-2_0_3_line_129 | NAYY 4x150 SE | 125 | 126 | 0.011226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_4227-2_0_3_line_130 | NAYY 4x150 SE | 126 | 129 | 0.01476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_4227-2_0_3_line_131 | NAYY 4x150 SE | 128 | 134 | 0.025651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_4227-2_0_3_line_132 | NAYY 4x150 SE | 129 | 130 | 0.0051177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_4227-2_0_3_line_133 | NAYY 4x150 SE | 129 | 131 | 0.015351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_4227-2_0_3_line_134 | NAYY 4x150 SE | 130 | 132 | 0.012623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_4227-2_0_3_line_135 | NAYY 4x150 SE | 131 | 133 | 0.031721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_4227-2_0_3_line_136 | NAYY 4x150 SE | 133 | 134 | 0.0024637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_4227-2_0_3_line_137 | NAYY 4x150 SE | 135 | 136 | 0.024013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_4227-2_0_3_line_138 | NAYY 4x150 SE | 137 | 138 | 0.018889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_4227-2_0_3_line_139 | NAYY 4x150 SE | 137 | 139 | 0.0087505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_4227-2_0_3_line_140 | NAYY 4x150 SE | 139 | 140 | 0.024548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_4227-2_0_3_line_141 | NAYY 4x150 SE | 140 | 141 | 0.0033205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_4227-2_0_3_line_142 | NAYY 4x150 SE | 141 | 142 | 0.014723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_4227-2_0_3_line_143 | NAYY 4x150 SE | 143 | 144 | 0.018548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_4227-2_0_3_line_144 | NAYY 4x150 SE | 144 | 145 | 0.025026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_4227-2_0_3_line_145 | NAYY 4x150 SE | 145 | 146 | 0.033459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_4227-2_0_3_line_146 | NAYY 4x150 SE | 146 | 147 | 0.0014303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_4227-2_0_3_line_147 | NAYY 4x150 SE | 147 | 148 | 0.23067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_4227-2_0_3_line_148 | NAYY 4x150 SE | 148 | 149 | 0.26961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
149 | LV_4227-2_0_3_line_149 | NAYY 4x150 SE | 149 | 150 | 0.15511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
150 | LV_4227-2_0_3_line_150 | NAYY 4x150 SE | 150 | 151 | 0.013226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
151 | LV_4227-2_0_3_line_151 | NAYY 4x150 SE | 151 | 152 | 0.022506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
152 | LV_4227-2_0_3_line_152 | NAYY 4x150 SE | 152 | 153 | 0.017309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
153 | LV_4227-2_0_3_line_153 | NAYY 4x150 SE | 153 | 154 | 0.041214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4227-2_0_3_trafo_129 | 0.25 MVA 20/0.4 kV | 155 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2662830.1151 | 1237909.0782 | 2662828.5673 | 1237915.4825
1 | 2662839.5871 | 1237858.2442 | 2662830.5815 | 1237907.1484 | 2662830.1151 | 1237909.0782
2 | 2662828.5673 | 1237915.4825 | 2662827.0219 | 1237921.8773
3 | 2662839.5871 | 1237858.2442 | 2662842.678 | 1237845.5
4 | 2662839.5871 | 1237858.2442 | 2662823.6269 | 1237856.9318
5 | 2662839.5871 | 1237858.2442 | 2662858.2306 | 1237863.487
6 | 2662825.2277 | 1237929.3011 | 2662827.0219 | 1237921.8773
7 | 2662845.9541 | 1237831.9921 | 2662842.678 | 1237845.5
8 | 2662823.6269 | 1237856.9318 | 2662819.1702 | 1237856.5653
9 | 2662859.0454 | 1237863.7162 | 2662858.2306 | 1237863.487
10 | 2662825.2277 | 1237929.3011 | 2662824.4235 | 1237932.6288
11 | 2662845.9541 | 1237831.9921 | 2662850.614 | 1237812.7789
12 | 2662819.1702 | 1237856.5653 | 2662804.674 | 1237855.3732 | 2662792.8045 | 1237852.4468
13 | 2662882.3694 | 1237870.2752 | 2662859.0454 | 1237863.7162
14 | 2662824.4235 | 1237932.6288 | 2662823.569 | 1237936.1643
15 | 2662850.614 | 1237812.7789 | 2662854.3659 | 1237797.3095
16 | 2662788.6955 | 1237851.4338 | 2662792.8045 | 1237852.4468
17 | 2662897.6809 | 1237874.581 | 2662882.3694 | 1237870.2752
18 | 2662771.5493 | 1237847.2065 | 2662788.6955 | 1237851.4338
19 | 2662771.5493 | 1237847.2065 | 2662776.8844 | 1237820.4687
20 | 2662771.5493 | 1237847.2065 | 2662770.1701 | 1237854.4573
21 | 2662777.695 | 1237816.4064 | 2662776.8844 | 1237820.4687
22 | 2662770.1701 | 1237854.4573 | 2662764.393 | 1237884.8297
23 | 2662782.4472 | 1237792.5899 | 2662777.695 | 1237816.4064
24 | 2662763.7875 | 1237888.0134 | 2662764.393 | 1237884.8297
25 | 2662782.4472 | 1237792.5899 | 2662783.9245 | 1237785.1864
26 | 2662759.748 | 1237909.2502 | 2662763.7875 | 1237888.0134
27 | 2662859.1276 | 1237777.6761 | 2662855.6255 | 1237792.1161
28 | 2662860.7235 | 1237771.096 | 2662859.1276 | 1237777.6761
29 | 2662854.3659 | 1237797.3095 | 2662855.6255 | 1237792.1161
30 | 2662860.7235 | 1237771.096 | 2662865.0089 | 1237753.4271
31 | 2662865.1701 | 1237752.7622 | 2662865.0089 | 1237753.4271
32 | 2662867.7038 | 1237742.3154 | 2662865.1701 | 1237752.7622
33 | 2662867.7038 | 1237742.3154 | 2662870.911 | 1237729.0919
34 | 2662806.298 | 1238047.7706 | 2662810.3339 | 1238047.7391
35 | 2662787.0304 | 1238048.6827 | 2662796.4046 | 1238047.8479 | 2662806.298 | 1238047.7706
36 | 2662828.4638 | 1238047.3942 | 2662822.3998 | 1238047.6448 | 2662810.3339 | 1238047.7391
37 | 2662787.0304 | 1238048.6827 | 2662779.5378 | 1238050.4269 | 2662770.055 | 1238055.2045
38 | 2662804.752 | 1237993.9 | 2662788.9817 | 1238041.5764 | 2662787.0304 | 1238048.6827
39 | 2662835.4431 | 1238046.0817 | 2662830.1118 | 1238047.3261 | 2662828.4638 | 1238047.3942
40 | 2662770.055 | 1238055.2045 | 2662763.9315 | 1238058.2895 | 2662745.3436 | 1238070.7344
41 | 2662835.4431 | 1238046.0817 | 2662841.6464 | 1238043.9347 | 2662847.8306 | 1238041.4429 | 2662854.0689 | 1238037.4173
42 | 2662718.3132 | 1238079.244 | 2662730.4313 | 1238077.8933 | 2662740.5037 | 1238073.9748 | 2662745.3436 | 1238070.7344
43 | 2662854.0689 | 1238037.4173 | 2662859.7585 | 1238033.198
44 | 2662701.3907 | 1238144.4202 | 2662699.0055 | 1238141.0483 | 2662689.0593 | 1238134.4611 | 2662685.6981 | 1238131.1123 | 2662685.8764 | 1238124.9656 | 2662706.3926 | 1238079.0848 | 2662718.3132 | 1238079.244
45 | 2662783.9245 | 1237785.1864 | 2662784.1155 | 1237784.2291
46 | 2662789.1815 | 1237758.8401 | 2662784.1155 | 1237784.2291
47 | 2662790.016 | 1237754.6575 | 2662789.1815 | 1237758.8401
48 | 2662790.016 | 1237754.6575 | 2662794.5537 | 1237731.9166
49 | 2663041.0846 | 1237903.9476 | 2663038.2848 | 1237904.5692
50 | 2663019.6652 | 1237908.7029 | 2663038.2848 | 1237904.5692
51 | 2663053.9145 | 1237901.0992 | 2663041.0846 | 1237903.9476
52 | 2663019.6652 | 1237908.7029 | 2663014.5343 | 1237909.8421
53 | 2663053.9145 | 1237901.0992 | 2663053.3585 | 1237893.6216 | 2663054.6214 | 1237884.9841
54 | 2663053.9145 | 1237901.0992 | 2663077.9147 | 1237895.7726 | 2663097.5687 | 1237889.8695
55 | 2662999.4298 | 1237914.118 | 2663007.6963 | 1237911.3602 | 2663014.5343 | 1237909.8421
56 | 2663057.5787 | 1237864.7577 | 2663054.6214 | 1237884.9841
57 | 2663097.5687 | 1237889.8695 | 2663102.9064 | 1237888.2663 | 2663116.1013 | 1237881.9196
58 | 2662958.3678 | 1237932.1802 | 2662982.696 | 1237919.7007 | 2662999.4298 | 1237914.118
59 | 2663076.307 | 1237822.6131 | 2663070.6454 | 1237837.3007 | 2663058.4162 | 1237859.0299 | 2663057.5787 | 1237864.7577
60 | 2663171.7485 | 1237846.3698 | 2663125.7032 | 1237877.3011 | 2663116.1013 | 1237881.9196
61 | 2662958.3678 | 1237932.1802 | 2662956.1722 | 1237933.3065 | 2662931.8364 | 1237951.0605 | 2662919.8974 | 1237962.6409
62 | 2662870.911 | 1237729.0919 | 2662871.1722 | 1237728.0147
63 | 2662876.1015 | 1237707.6906 | 2662871.1722 | 1237728.0147
64 | 2662876.1471 | 1237707.5025 | 2662876.1015 | 1237707.6906
65 | 2662878.8949 | 1237686.8677 | 2662877.9533 | 1237700.0555 | 2662876.1471 | 1237707.5025
66 | 2662878.8949 | 1237686.8677 | 2662860.5982 | 1237679.7501
67 | 2662878.8949 | 1237686.8677 | 2662889.368 | 1237685.9226
68 | 2662843.8416 | 1237673.2316 | 2662860.5982 | 1237679.7501
69 | 2662889.368 | 1237685.9226 | 2662907.9582 | 1237684.2451
70 | 2662747.4243 | 1238016.1092 | 2662754.0601 | 1238014.556 | 2662766.7598 | 1238001.9762
71 | 2662747.4243 | 1238016.1092 | 2662747.686 | 1238010.188
72 | 2662747.4243 | 1238016.1092 | 2662745.4318 | 1238024.9829 | 2662743.028 | 1238029.3544
73 | 2662818.9359 | 1237955.3353 | 2662816.3662 | 1237959.3826
74 | 2662820.3236 | 1237949.5931 | 2662818.9359 | 1237955.3353 | 2662818.9359 | 1237955.3353
75 | 2662748.3498 | 1237995.1662 | 2662747.686 | 1238010.188
76 | 2662733.6941 | 1238046.3294 | 2662743.028 | 1238029.3544
77 | 2662822.0061 | 1237942.6314 | 2662820.3236 | 1237949.5931
78 | 2662748.3498 | 1237995.1662 | 2662748.3997 | 1237994.0361
79 | 2662732.2011 | 1238049.0445 | 2662733.6941 | 1238046.3294
80 | 2662822.0061 | 1237942.6314 | 2662823.569 | 1237936.1643
81 | 2662748.3997 | 1237994.0361 | 2662748.777 | 1237985.4969
82 | 2662812.4643 | 1237661.0256 | 2662819.9537 | 1237644.616 | 2662821.7918 | 1237642.7614
83 | 2662869.3628 | 1237616.82 | 2662861.29 | 1237619.0027 | 2662829.1684 | 1237635.3183 | 2662821.7918 | 1237642.7614
84 | 2662812.4643 | 1237661.0256 | 2662803.1284 | 1237688.5595
85 | 2662869.3628 | 1237616.82 | 2662896.8415 | 1237630.2976 | 2662899.9253 | 1237630.7651
86 | 2662869.3628 | 1237616.82 | 2662881.033 | 1237604.2685 | 2662897.9249 | 1237580.8761 | 2662919.3107 | 1237536.0725 | 2662928.0003 | 1237518.5306 | 2662937.3621 | 1237487.5424 | 2662941.3034 | 1237458.3202 | 2662944.101 | 1237377.1178 | 2662946.3982 | 1237328.1316 | 2662950.936 | 1237291.1772
87 | 2662800.9413 | 1237695.0098 | 2662803.1284 | 1237688.5595
88 | 2662950.936 | 1237291.1772 | 2662959.0632 | 1237256.7517
89 | 2662800.9413 | 1237695.0098 | 2662800.2745 | 1237696.9763 | 2662795.4554 | 1237726.913
90 | 2662795.0517 | 1237729.4206 | 2662795.4554 | 1237726.913
91 | 2662749.4726 | 1237969.7553 | 2662749.4726 | 1237969.7553 | 2662750.6004 | 1237960.507
92 | 2662749.4726 | 1237969.7553 | 2662749.1743 | 1237976.5071
93 | 2662750.6004 | 1237960.507 | 2662750.8209 | 1237958.6993
94 | 2662749.1743 | 1237976.5071 | 2662748.777 | 1237985.4969
95 | 2662755.6695 | 1237930.6926 | 2662751.6758 | 1237951.6887 | 2662750.8209 | 1237958.6993
96 | 2662755.6695 | 1237930.6926 | 2662756.2048 | 1237927.8783
97 | 2662759.748 | 1237909.2502 | 2662756.2048 | 1237927.8783
98 | 2663082.9633 | 1237796.9346 | 2663079.7242 | 1237813.748 | 2663076.307 | 1237822.6131
99 | 2663171.7485 | 1237846.3698 | 2663243.57 | 1237793.3205 | 2663270.5727 | 1237773.2279 | 2663276.2273 | 1237766.5281
100 | 2663276.2273 | 1237766.5281 | 2663308.6784 | 1237803.7987
101 | 2663288.2684 | 1237749.7562 | 2663280.4643 | 1237761.5143 | 2663276.2273 | 1237766.5281
102 | 2663369.5408 | 1237545.7637 | 2663354.4287 | 1237547.5259 | 2663336.383 | 1237530.1036
103 | 2663288.2684 | 1237749.7562 | 2663295.7751 | 1237729.0001 | 2663301.4669 | 1237703.199 | 2663311.0045 | 1237671.4905 | 2663322.2315 | 1237642.4129 | 2663337.3082 | 1237610.6079 | 2663369.5408 | 1237545.7637
104 | 2663288.2684 | 1237749.7562 | 2663297.4707 | 1237752.3226 | 2663358.5147 | 1237711.9574 | 2663374.2684 | 1237703.1052
105 | 2663374.2684 | 1237703.1052 | 2663383.4 | 1237697.974
106 | 2662921.1898 | 1237880.48 | 2662912.1835 | 1237878.5045
107 | 2662952.2874 | 1237887.3012 | 2662921.1898 | 1237880.48
108 | 2662898.9202 | 1237877.5739 | 2662905.5226 | 1237877.0434 | 2662912.1835 | 1237878.5045
109 | 2662897.6809 | 1237874.581 | 2662898.9202 | 1237877.5739
110 | 2662898.9202 | 1237877.5739 | 2662898.5414 | 1237881.9061 | 2662896.1133 | 1237892.4402
111 | 2662897.6809 | 1237874.581 | 2662905.1879 | 1237843.2968
112 | 2662896.1133 | 1237892.4402 | 2662889.6742 | 1237920.3756
113 | 2662905.1879 | 1237843.2968 | 2662906.1525 | 1237839.2772
114 | 2662889.6742 | 1237920.3756 | 2662889.5097 | 1237921.089
115 | 2662795.0517 | 1237729.4206 | 2662794.5537 | 1237731.9166
116 | 2662795.0517 | 1237729.4206 | 2662773.7872 | 1237724.6067
117 | 2662593.6578 | 1237736.3668 | 2662612.1348 | 1237728.2339 | 2662632.2333 | 1237709.8223 | 2662650.6743 | 1237700.8218 | 2662659.0421 | 1237698.6197 | 2662671.9763 | 1237699.5789 | 2662706.3863 | 1237709.3485 | 2662773.7872 | 1237724.6067
118 | 2662593.6578 | 1237736.3668 | 2662484.6694 | 1237426.7463
119 | 2662726.6979 | 1238109.0525 | 2662717.041 | 1238140.2381 | 2662701.3907 | 1238144.4202
120 | 2662936.5291 | 1237690.0401 | 2662933.8416 | 1237687.6389 | 2662929.3749 | 1237686.7103
121 | 2662929.3749 | 1237686.7103 | 2662914.6225 | 1237683.6438 | 2662907.9582 | 1237684.2451
122 | 2662934.4894 | 1237721.1877 | 2662929.8594 | 1237740.4823
123 | 2662929.8594 | 1237740.4823 | 2662929.7562 | 1237740.9127
124 | 2662929.7562 | 1237740.9127 | 2662923.9668 | 1237765.0387
125 | 2662923.9668 | 1237765.0387 | 2662922.5399 | 1237770.9851
126 | 2662889.5097 | 1237921.089 | 2662885.0375 | 1237940.4913 | 2662885.3324 | 1237944.7951
127 | 2662885.3324 | 1237944.7951 | 2662885.378 | 1237945.4606
128 | 2662885.378 | 1237945.4606 | 2662885.601 | 1237948.7138 | 2662888.7069 | 1237956.8855
129 | 2662895.9486 | 1237965.397 | 2662893.6906 | 1237963.4649 | 2662888.7069 | 1237956.8855 | 2662888.7069 | 1237956.8855
130 | 2662907.1628 | 1237974.993 | 2662895.9486 | 1237965.397
131 | 2662859.7585 | 1238033.198 | 2662862.7459 | 1238030.9826 | 2662876.3764 | 1238013.8008
132 | 2662907.1628 | 1237974.993 | 2662910.8363 | 1237971.4299
133 | 2662907.1628 | 1237974.993 | 2662897.6221 | 1237987.0196
134 | 2662919.8974 | 1237962.6409 | 2662910.8363 | 1237971.4299
135 | 2662897.6221 | 1237987.0196 | 2662877.9075 | 1238011.8707
136 | 2662876.3764 | 1238013.8008 | 2662877.9075 | 1238011.8707
137 | 2662484.6694 | 1237426.7463 | 2662489.526 | 1237403.2292
138 | 2662918.1325 | 1237789.3522 | 2662922.5399 | 1237770.9851
139 | 2662916.0907 | 1237797.8612 | 2662918.1325 | 1237789.3522
140 | 2662916.0907 | 1237797.8612 | 2662910.3627 | 1237821.7318
141 | 2662909.5879 | 1237824.9607 | 2662910.3627 | 1237821.7318
142 | 2662909.5879 | 1237824.9607 | 2662906.1525 | 1237839.2772
143 | 2663400.2758 | 1237690.3098 | 2663386.1275 | 1237696.4415 | 2663383.4 | 1237697.974
144 | 2663400.2758 | 1237690.3098 | 2663412.8434 | 1237684.8632 | 2663420.6692 | 1237681.7336 | 2663423.4482 | 1237680.9017
145 | 2663423.4482 | 1237680.9017 | 2663450.5801 | 1237672.7802 | 2663455.6373 | 1237671.8741
146 | 2663457.0452 | 1237671.6218 | 2663455.6373 | 1237671.8741
147 | 2663686.8887 | 1237654.1849 | 2663498.8547 | 1237665.7357 | 2663485.1295 | 1237666.5896 | 2663457.0452 | 1237671.6218
148 | 2663784.6928 | 1237402.9324 | 2663775.3305 | 1237422.9787 | 2663735.4258 | 1237524.0515 | 2663686.8887 | 1237654.1849
149 | 2663784.6928 | 1237402.9324 | 2663936.2197 | 1237436.0719
150 | 2663936.2197 | 1237436.0719 | 2663949.1402 | 1237438.8976
151 | 2663971.1263 | 1237443.7061 | 2663949.1402 | 1237438.8976
152 | 2663988.0354 | 1237447.4041 | 2663971.1263 | 1237443.7061
153 | 2663988.0354 | 1237447.4041 | 2664017.2967 | 1237418.3799

## bus_geodata
| x | y | coords
0 | 2662830.1151 | 1237909.0782
1 | 2662828.5673 | 1237915.4825
2 | 2662839.5871 | 1237858.2442
3 | 2662827.0219 | 1237921.8773
4 | 2662842.678 | 1237845.5
5 | 2662823.6269 | 1237856.9318
6 | 2662858.2306 | 1237863.487
7 | 2662825.2277 | 1237929.3011
8 | 2662845.9541 | 1237831.9921
9 | 2662819.1702 | 1237856.5653
10 | 2662859.0454 | 1237863.7162
11 | 2662824.4235 | 1237932.6288
12 | 2662850.614 | 1237812.7789
13 | 2662792.8045 | 1237852.4468
14 | 2662882.3694 | 1237870.2752
15 | 2662788.6955 | 1237851.4338
16 | 2662771.5493 | 1237847.2065
17 | 2662776.8844 | 1237820.4687
18 | 2662770.1701 | 1237854.4573
19 | 2662777.695 | 1237816.4064
20 | 2662764.393 | 1237884.8297
21 | 2662782.4472 | 1237792.5899
22 | 2662763.7875 | 1237888.0134
23 | 2662859.1276 | 1237777.6761
24 | 2662855.6255 | 1237792.1161
25 | 2662860.7235 | 1237771.096
26 | 2662854.3659 | 1237797.3095
27 | 2662865.0089 | 1237753.4271
28 | 2662865.1701 | 1237752.7622
29 | 2662867.7038 | 1237742.3154
30 | 2662806.298 | 1238047.7706
31 | 2662810.3339 | 1238047.7391
32 | 2662787.0304 | 1238048.6827
33 | 2662828.4638 | 1238047.3942
34 | 2662770.055 | 1238055.2045
35 | 2662804.752 | 1237993.9
36 | 2662835.4431 | 1238046.0817
37 | 2662745.3436 | 1238070.7344
38 | 2662854.0689 | 1238037.4173
39 | 2662718.3132 | 1238079.244
40 | 2662783.9245 | 1237785.1864
41 | 2662784.1155 | 1237784.2291
42 | 2662789.1815 | 1237758.8401
43 | 2662790.016 | 1237754.6575
44 | 2663038.2848 | 1237904.5692
45 | 2663041.0846 | 1237903.9476
46 | 2663019.6652 | 1237908.7029
47 | 2663053.9145 | 1237901.0992
48 | 2663014.5343 | 1237909.842
49 | 2663054.6214 | 1237884.9841
50 | 2663097.5687 | 1237889.8694
51 | 2662999.4298 | 1237914.118
52 | 2663057.5787 | 1237864.7577
53 | 2663116.1013 | 1237881.9196
54 | 2662958.3678 | 1237932.1802
55 | 2662870.911 | 1237729.0919
56 | 2662871.1722 | 1237728.0147
57 | 2662876.1015 | 1237707.6906
58 | 2662876.1471 | 1237707.5025
59 | 2662878.8949 | 1237686.8677
60 | 2662860.5982 | 1237679.7501
61 | 2662889.368 | 1237685.9226
62 | 2662766.7598 | 1238001.9762
63 | 2662747.4243 | 1238016.1092
64 | 2662816.3662 | 1237959.3826
65 | 2662818.9359 | 1237955.3353
66 | 2662747.686 | 1238010.188
67 | 2662743.028 | 1238029.3544
68 | 2662820.3236 | 1237949.5931
69 | 2662748.3498 | 1237995.1662
70 | 2662733.6941 | 1238046.3294
71 | 2662822.0061 | 1237942.6314
72 | 2662748.3997 | 1237994.0361
73 | 2662732.2011 | 1238049.0445
74 | 2662821.7918 | 1237642.7614
75 | 2662812.4643 | 1237661.0256
76 | 2662869.3628 | 1237616.82
77 | 2662803.1284 | 1237688.5595
78 | 2662899.9253 | 1237630.7651
79 | 2662950.936 | 1237291.1772
80 | 2662800.9413 | 1237695.0098
81 | 2662843.8416 | 1237673.2316
82 | 2662959.0632 | 1237256.7517
83 | 2662795.4554 | 1237726.913
84 | 2662749.4726 | 1237969.7553
85 | 2662750.6004 | 1237960.507
86 | 2662749.1743 | 1237976.5071
87 | 2662750.8209 | 1237958.6993
88 | 2662748.777 | 1237985.4969
89 | 2662755.6695 | 1237930.6926
90 | 2662756.2048 | 1237927.8783
91 | 2663082.9633 | 1237796.9346
92 | 2663076.307 | 1237822.6131
93 | 2663171.7485 | 1237846.3698
94 | 2663276.2273 | 1237766.5281
95 | 2663336.383 | 1237530.1036
96 | 2663369.5408 | 1237545.7637
97 | 2663288.2684 | 1237749.7562
98 | 2663374.2684 | 1237703.1052
99 | 2663308.6784 | 1237803.7987
100 | 2662921.1898 | 1237880.48
101 | 2662912.1835 | 1237878.5045
102 | 2662952.2874 | 1237887.3012
103 | 2662898.9202 | 1237877.5739
104 | 2662897.6809 | 1237874.581
105 | 2662896.1133 | 1237892.4402
106 | 2662905.1879 | 1237843.2968
107 | 2662889.6742 | 1237920.3756
108 | 2662795.0517 | 1237729.4206
109 | 2662794.5537 | 1237731.9166
110 | 2662773.7872 | 1237724.6067
111 | 2662593.6578 | 1237736.3668
112 | 2662759.748 | 1237909.2502
113 | 2662701.3907 | 1238144.4202
114 | 2662726.6979 | 1238109.0525
115 | 2662936.5291 | 1237690.0401
116 | 2662929.3749 | 1237686.7103
117 | 2662907.9582 | 1237684.2451
118 | 2662934.4894 | 1237721.1877
119 | 2662929.8594 | 1237740.4823
120 | 2662929.7562 | 1237740.9127
121 | 2662923.9668 | 1237765.0387
122 | 2662889.5097 | 1237921.089
123 | 2662885.3324 | 1237944.7951
124 | 2662885.378 | 1237945.4606
125 | 2662888.7069 | 1237956.8855
126 | 2662895.9486 | 1237965.397
127 | 2662823.569 | 1237936.1643
128 | 2662859.7585 | 1238033.198
129 | 2662907.1628 | 1237974.993
130 | 2662910.8363 | 1237971.4299
131 | 2662897.6221 | 1237987.0196
132 | 2662919.8974 | 1237962.6409
133 | 2662877.9075 | 1238011.8707
134 | 2662876.3764 | 1238013.8008
135 | 2662484.6694 | 1237426.7463
136 | 2662489.526 | 1237403.2292
137 | 2662918.1325 | 1237789.3522
138 | 2662922.5399 | 1237770.9851
139 | 2662916.0907 | 1237797.8612
140 | 2662910.3627 | 1237821.7318
141 | 2662909.5879 | 1237824.9607
142 | 2662906.1525 | 1237839.2772
143 | 2663383.4 | 1237697.974
144 | 2663400.2758 | 1237690.3098
145 | 2663423.4482 | 1237680.9017
146 | 2663455.6373 | 1237671.8741
147 | 2663457.0452 | 1237671.6218
148 | 2663686.8887 | 1237654.1849
149 | 2663784.6928 | 1237402.9324
150 | 2663936.2197 | 1237436.0719
151 | 2663949.1402 | 1237438.8976
152 | 2663971.1263 | 1237443.7061
153 | 2663988.0354 | 1237447.4041
154 | 2664017.2967 | 1237418.3799
155 | 2662839.5871 | 1237858.2442

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1