## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4228-1_1_4_node_15 | 0.4 | n |  | TRUE
1 | bus_LV_4228-1_1_4_node_96 | 0.4 | n |  | TRUE
2 | bus_LV_4228-1_1_4_node_93 | 0.4 | n |  | TRUE
3 | bus_LV_4228-1_1_4_node_92 | 0.4 | n |  | TRUE
4 | bus_LV_4228-1_1_4_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_4228-1_1_4_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_4228-1_1_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_4228-1_1_4_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_4228-1_1_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_4228-1_1_4_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_4228-1_1_4_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_4228-1_1_4_node_101 | 0.4 | n |  | TRUE
12 | bus_LV_4228-1_1_4_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_4228-1_1_4_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_4228-1_1_4_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_4228-1_1_4_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_4228-1_1_4_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_4228-1_1_4_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_4228-1_1_4_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_4228-1_1_4_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_4228-1_1_4_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_4228-1_1_4_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_4228-1_1_4_node_102 | 0.4 | n |  | TRUE
23 | bus_LV_4228-1_1_4_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_4228-1_1_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_4228-1_1_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_4228-1_1_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_4228-1_1_4_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_4228-1_1_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_4228-1_1_4_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_4228-1_1_4_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_4228-1_1_4_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_4228-1_1_4_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_4228-1_1_4_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_4228-1_1_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_4228-1_1_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_4228-1_1_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_4228-1_1_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_4228-1_1_4_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_4228-1_1_4_node_83 | 0.4 | n |  | TRUE
40 | bus_LV_4228-1_1_4_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_4228-1_1_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_4228-1_1_4_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_4228-1_1_4_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_4228-1_1_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_4228-1_1_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_4228-1_1_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_4228-1_1_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_4228-1_1_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_4228-1_1_4_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_4228-1_1_4_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_4228-1_1_4_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_4228-1_1_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_4228-1_1_4_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_4228-1_1_4_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_4228-1_1_4_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_4228-1_1_4_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_4228-1_1_4_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_4228-1_1_4_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_4228-1_1_4_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_4228-1_1_4_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_4228-1_1_4_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_4228-1_1_4_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_4228-1_1_4_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_4228-1_1_4_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_4228-1_1_4_node_94 | 0.4 | n |  | TRUE
66 | bus_LV_4228-1_1_4_node_95 | 0.4 | n |  | TRUE
67 | bus_LV_4228-1_1_4_node_97 | 0.4 | n |  | TRUE
68 | bus_LV_4228-1_1_4_node_98 | 0.4 | n |  | TRUE
69 | bus_LV_4228-1_1_4_node_99 | 0.4 | n |  | TRUE
70 | bus_MV_426_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4228-1_1_4_load_96 | 1 | 0.0023498 | 0.00058891 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4228-1_1_4_load_93 | 2 | 0.0024873 | 0.00062338 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4228-1_1_4_load_92 | 3 | 0.0019327 | 0.00048439 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4228-1_1_4_load_20 | 4 | 0.0017915 | 0.00044899 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4228-1_1_4_load_21 | 5 | 0.0013806 | 0.00034602 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4228-1_1_4_load_36 | 8 | 0.0020906 | 0.00052396 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4228-1_1_4_load_61 | 10 | 0.0011585 | 0.00029034 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4228-1_1_4_load_44 | 13 | 0.0020069 | 0.00050298 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4228-1_1_4_load_41 | 14 | 0.0024457 | 0.00061295 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4228-1_1_4_load_34 | 16 | 0.0017418 | 0.00043655 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4228-1_1_4_load_72 | 19 | 0.0027163 | 0.00068076 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4228-1_1_4_load_70 | 20 | 0.0036816 | 0.0009227 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4228-1_1_4_load_102 | 22 | 0.00995 | 0.0024937 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4228-1_1_4_load_42 | 23 | 0.0021165 | 0.00053044 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4228-1_1_4_load_26 | 24 | 0.0026534 | 0.000665 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4228-1_1_4_load_27 | 25 | 0.0026845 | 0.00067281 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4228-1_1_4_load_28 | 26 | 0.0028267 | 0.00070843 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4228-1_1_4_load_30 | 27 | 0.0023044 | 0.00057753 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4228-1_1_4_load_51 | 29 | 0.0027324 | 0.00068481 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4228-1_1_4_load_54 | 30 | 0.002247 | 0.00056315 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4228-1_1_4_load_49 | 31 | 0.0028488 | 0.00071397 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4228-1_1_4_load_53 | 32 | 0.0030533 | 0.00076523 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4228-1_1_4_load_55 | 33 | 0.0026319 | 0.00065961 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4228-1_1_4_load_31 | 34 | 0.0020885 | 0.00052342 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4228-1_1_4_load_32 | 35 | 0.0027211 | 0.00068196 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4228-1_1_4_load_33 | 36 | 0.0020938 | 0.00052477 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4228-1_1_4_load_35 | 37 | 0.0019734 | 0.00049458 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4228-1_1_4_load_56 | 38 | 0.0047065 | 0.0011796 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4228-1_1_4_load_83 | 39 | 0.002921 | 0.00073207 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4228-1_1_4_load_74 | 40 | 0.0013595 | 0.00034071 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4228-1_1_4_load_50 | 41 | 0.0027316 | 0.00068461 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4228-1_1_4_load_71 | 42 | 0.0015478 | 0.00038791 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4228-1_1_4_load_69 | 43 | 0.0023697 | 0.00059389 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4228-1_1_4_load_43 | 44 | 0.0012531 | 0.00031406 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4228-1_1_4_load_45 | 45 | 0.0014908 | 0.00037364 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4228-1_1_4_load_46 | 46 | 0.0023371 | 0.00058573 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4228-1_1_4_load_57 | 48 | 0.0015009 | 0.00037616 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4228-1_1_4_load_58 | 49 | 0.0023378 | 0.00058591 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4228-1_1_4_load_59 | 50 | 0.0018074 | 0.00045297 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4228-1_1_4_load_62 | 51 | 0.0045401 | 0.0011379 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4228-1_1_4_load_48 | 52 | 0.0032372 | 0.00081132 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4228-1_1_4_load_77 | 53 | 0.002981 | 0.0007471 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4228-1_1_4_load_68 | 54 | 0.0017509 | 0.00043882 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4228-1_1_4_load_64 | 56 | 0.0036058 | 0.0009037 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4228-1_1_4_load_65 | 57 | 0.0024659 | 0.00061801 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4228-1_1_4_load_76 | 59 | 0.0026949 | 0.00067541 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4228-1_1_4_load_66 | 60 | 0.0027385 | 0.00068634 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4228-1_1_4_load_67 | 61 | 0.0013955 | 0.00034973 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4228-1_1_4_load_73 | 62 | 0.0026227 | 0.00065732 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4228-1_1_4_load_81 | 63 | 0.0016305 | 0.00040864 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4228-1_1_4_load_82 | 64 | 0.0010243 | 0.0002567 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4228-1_1_4_load_94 | 65 | 0.0023515 | 0.00058935 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4228-1_1_4_load_99 | 69 | 0.0073111 | 0.0018323 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4228-1_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4228-1_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.11181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4228-1_1_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0076652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4228-1_1_4_line_3 | NAYY 4x150 SE | 3 | 65 | 0.010565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4228-1_1_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.02725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4228-1_1_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.036165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4228-1_1_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.005517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4228-1_1_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4228-1_1_4_line_8 | NAYY 4x150 SE | 7 | 15 | 0.021953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4228-1_1_4_line_9 | NAYY 4x150 SE | 7 | 16 | 0.030266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4228-1_1_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.042262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_4228-1_1_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.7742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_4228-1_1_4_line_12 | NAYY 4x150 SE | 10 | 21 | 0.077971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_4228-1_1_4_line_13 | NAYY 4x150 SE | 11 | 22 | 0.22936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_4228-1_1_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.016502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4228-1_1_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.010797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4228-1_1_4_line_16 | NAYY 4x150 SE | 14 | 23 | 0.028055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4228-1_1_4_line_17 | NAYY 4x150 SE | 15 | 39 | 0.017125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4228-1_1_4_line_18 | NAYY 4x150 SE | 15 | 40 | 0.013444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4228-1_1_4_line_19 | NAYY 4x150 SE | 15 | 41 | 0.034731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4228-1_1_4_line_20 | NAYY 4x150 SE | 16 | 35 | 0.0448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4228-1_1_4_line_21 | NAYY 4x150 SE | 17 | 18 | 0.060127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4228-1_1_4_line_22 | NAYY 4x150 SE | 17 | 19 | 0.032936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4228-1_1_4_line_23 | NAYY 4x150 SE | 18 | 20 | 0.016104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4228-1_1_4_line_24 | NAYY 4x150 SE | 19 | 42 | 0.010819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4228-1_1_4_line_25 | NAYY 4x150 SE | 20 | 43 | 0.01562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4228-1_1_4_line_26 | NAYY 4x150 SE | 21 | 50 | 0.09926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_4228-1_1_4_line_27 | NAYY 4x150 SE | 22 | 68 | 0.12069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4228-1_1_4_line_28 | NAYY 4x150 SE | 23 | 44 | 0.0067221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4228-1_1_4_line_29 | NAYY 4x150 SE | 24 | 25 | 0.027559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4228-1_1_4_line_30 | NAYY 4x150 SE | 24 | 26 | 0.028731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4228-1_1_4_line_31 | NAYY 4x150 SE | 26 | 27 | 0.027611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4228-1_1_4_line_32 | NAYY 4x150 SE | 27 | 28 | 0.029296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4228-1_1_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.03579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4228-1_1_4_line_34 | NAYY 4x150 SE | 28 | 30 | 0.01489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4228-1_1_4_line_35 | NAYY 4x150 SE | 29 | 31 | 0.018472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4228-1_1_4_line_36 | NAYY 4x150 SE | 30 | 32 | 0.0026182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4228-1_1_4_line_37 | NAYY 4x150 SE | 31 | 52 | 0.0051066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4228-1_1_4_line_38 | NAYY 4x150 SE | 32 | 33 | 0.014069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4228-1_1_4_line_39 | NAYY 4x150 SE | 34 | 35 | 0.023243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4228-1_1_4_line_40 | NAYY 4x150 SE | 34 | 36 | 0.020376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4228-1_1_4_line_41 | NAYY 4x150 SE | 36 | 37 | 0.01954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4228-1_1_4_line_42 | NAYY 4x150 SE | 37 | 38 | 0.023165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4228-1_1_4_line_43 | NAYY 4x150 SE | 39 | 53 | 0.013876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4228-1_1_4_line_44 | NAYY 4x150 SE | 40 | 54 | 0.0011716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4228-1_1_4_line_45 | NAYY 4x150 SE | 41 | 52 | 0.014349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4228-1_1_4_line_46 | NAYY 4x150 SE | 42 | 62 | 0.005235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4228-1_1_4_line_47 | NAYY 4x150 SE | 43 | 56 | 0.012204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4228-1_1_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.036543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4228-1_1_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.034221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4228-1_1_4_line_50 | NAYY 4x150 SE | 46 | 47 | 0.023672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4228-1_1_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.016618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_4228-1_1_4_line_52 | NAYY 4x150 SE | 47 | 49 | 0.025445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4228-1_1_4_line_53 | NAYY 4x150 SE | 48 | 50 | 0.0098952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_4228-1_1_4_line_54 | NAYY 4x150 SE | 49 | 51 | 0.022216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4228-1_1_4_line_55 | NAYY 4x150 SE | 51 | 55 | 0.013447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4228-1_1_4_line_56 | NAYY 4x150 SE | 53 | 58 | 0.0056512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4228-1_1_4_line_57 | NAYY 4x150 SE | 54 | 61 | 0.015583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4228-1_1_4_line_58 | NAYY 4x150 SE | 55 | 56 | 0.013375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4228-1_1_4_line_59 | NAYY 4x150 SE | 55 | 57 | 0.01613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4228-1_1_4_line_60 | NAYY 4x150 SE | 57 | 58 | 0.038513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4228-1_1_4_line_61 | NAYY 4x150 SE | 58 | 59 | 0.017513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4228-1_1_4_line_62 | NAYY 4x150 SE | 59 | 63 | 0.024024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4228-1_1_4_line_63 | NAYY 4x150 SE | 60 | 61 | 0.026336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4228-1_1_4_line_64 | NAYY 4x150 SE | 63 | 64 | 0.016428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4228-1_1_4_line_65 | NAYY 4x150 SE | 65 | 66 | 0.068077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4228-1_1_4_line_66 | NAYY 4x150 SE | 66 | 67 | 0.02466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4228-1_1_4_line_67 | NAYY 4x150 SE | 66 | 68 | 0.020615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4228-1_1_4_line_68 | NAYY 4x150 SE | 67 | 69 | 0.032856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4228-1_1_4_trafo_59 | 0.25 MVA 20/0.4 kV | 70 | 50 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2666000.2721 | 1238138.2813 | 2665972.4982 | 1238134.4814 | 2665960.6713 | 1238132.8622
1 | 2666000.2721 | 1238138.2813 | 2665997.2518 | 1238179.9648 | 2665997.1924 | 1238226.818 | 2665999.5021 | 1238249.8692
2 | 2666000.2664 | 1238257.4962 | 2665999.5021 | 1238249.8692
3 | 2666000.2664 | 1238257.4962 | 2666001.2098 | 1238266.912 | 2666001.3598 | 1238268.0034
4 | 2666663.1022 | 1238515.653 | 2666649.1635 | 1238539.0681
5 | 2666630.6645 | 1238570.1438 | 2666649.1635 | 1238539.0681
6 | 2666630.6645 | 1238570.1438 | 2666626.1235 | 1238566.9908
7 | 2666630.6645 | 1238570.1438 | 2666646.9476 | 1238580.3171
8 | 2666607.2561 | 1238555.6938 | 2666614.1122 | 1238560.1626 | 2666626.1235 | 1238566.9908
9 | 2666626.1235 | 1238566.9908 | 2666641.5864 | 1238540.9726
10 | 2666513.6033 | 1238263.8691 | 2666501.0158 | 1238304.2133
11 | 2666089.4138 | 1238684.1859 | 2666146.1613 | 1238739.088 | 2666174.7825 | 1238684.2586 | 2666186.3796 | 1238662.4397 | 2666244.7744 | 1238581.1911 | 2666258.7149 | 1238549.3917 | 2666293.8272 | 1238487.208 | 2666333.2775 | 1238442.3736 | 2666350.7673 | 1238417.2742 | 2666363.035 | 1238373.4704 | 2666367.9971 | 1238334.922 | 2666383.0548 | 1238284.5006 | 2666408.1191 | 1238230.1884 | 2666420.8706 | 1238223.671 | 2666513.6033 | 1238263.8691
12 | 2666477.7926 | 1238378.6459 | 2666501.0158 | 1238304.2133
13 | 2666089.4138 | 1238684.1859 | 2666082.4002 | 1238673.4562 | 2666074.184 | 1238657.9543 | 2666065.0322 | 1238616.4133 | 2666055.041 | 1238587.7494 | 2666038.9053 | 1238557.9276 | 2666014.7754 | 1238526.5938 | 2666005.0148 | 1238507.0944 | 2666002.9108 | 1238476.3242
14 | 2666603.17 | 1238351.5208 | 2666617.916 | 1238358.9289
15 | 2666603.17 | 1238351.5208 | 2666599.2879 | 1238361.5952
16 | 2666599.2879 | 1238361.5952 | 2666589.2003 | 1238387.7738
17 | 2666607.2561 | 1238555.6938 | 2666592.8624 | 1238546.4151
18 | 2666607.2561 | 1238555.6938 | 2666600.5807 | 1238567.3632
19 | 2666607.2561 | 1238555.6938 | 2666622.7047 | 1238524.5872
20 | 2666641.5864 | 1238540.9726 | 2666656.3776 | 1238516.0846 | 2666663.7111 | 1238502.0352
21 | 2666494.1979 | 1238585.5029 | 2666544.6382 | 1238618.4567
22 | 2666544.6382 | 1238618.4567 | 2666547.9907 | 1238613.591 | 2666560.163 | 1238589.4604
23 | 2666494.1979 | 1238585.5029 | 2666502.0151 | 1238571.4231
24 | 2666565.0356 | 1238579.8008 | 2666560.163 | 1238589.4604
25 | 2666502.0151 | 1238571.4231 | 2666509.5973 | 1238557.7664
26 | 2666477.7926 | 1238378.6459 | 2666484.4668 | 1238403.4374 | 2666502.1803 | 1238426.6402 | 2666514.4651 | 1238442.1661 | 2666529.7607 | 1238455.6576 | 2666532.5731 | 1238458.7785
27 | 2666010.7554 | 1238356.1339 | 2666011.025 | 1238360.462 | 2666009.3123 | 1238389.318 | 2666003.8429 | 1238424.0363 | 2666002.8091 | 1238474.8369 | 2666002.9108 | 1238476.3242
28 | 2666589.2003 | 1238387.7738 | 2666586.7832 | 1238394.0464
29 | 2666624.2541 | 1238436.5013 | 2666636.3534 | 1238411.7404
30 | 2666659.0331 | 1238411.028 | 2666644.7303 | 1238404.0558 | 2666639.7987 | 1238404.6898 | 2666636.3534 | 1238411.7404
31 | 2666659.0331 | 1238411.028 | 2666670.2948 | 1238416.5177 | 2666664.2522 | 1238430.3373
32 | 2666652.5154 | 1238457.1791 | 2666664.2522 | 1238430.3373
33 | 2666652.5154 | 1238457.1791 | 2666638.2744 | 1238490.0136
34 | 2666652.5154 | 1238457.1791 | 2666638.8782 | 1238451.2011
35 | 2666630.924 | 1238506.9607 | 2666638.2744 | 1238490.0136
36 | 2666636.4802 | 1238450.15 | 2666638.8782 | 1238451.2011
37 | 2666628.8921 | 1238511.6457 | 2666630.924 | 1238506.9607
38 | 2666636.4802 | 1238450.15 | 2666623.5949 | 1238444.5016 | 2666623.5949 | 1238444.5016
39 | 2666663.7111 | 1238502.0352 | 2666674.1893 | 1238481.9613 | 2666674.433 | 1238481.4137
40 | 2666682.7179 | 1238462.7977 | 2666674.433 | 1238481.4137
41 | 2666691.4841 | 1238445.3589 | 2666686.6757 | 1238453.9047 | 2666682.7179 | 1238462.7977
42 | 2666691.4841 | 1238445.3589 | 2666699.5195 | 1238431.0779 | 2666703.0627 | 1238425.2997
43 | 2666581.1996 | 1238538.8969 | 2666592.8624 | 1238546.4151
44 | 2666599.999 | 1238568.3802 | 2666600.5807 | 1238567.3632
45 | 2666628.8921 | 1238511.6457 | 2666627.2389 | 1238515.4573 | 2666622.7047 | 1238524.5872
46 | 2666567.3933 | 1238575.1268 | 2666565.0356 | 1238579.8008
47 | 2666515.5212 | 1238547.0964 | 2666509.5973 | 1238557.7664
48 | 2666572.8461 | 1238427.8045 | 2666577.9025 | 1238417.093 | 2666586.7832 | 1238394.0464
49 | 2666572.8461 | 1238427.8045 | 2666558.2378 | 1238458.7507
50 | 2666548.1325 | 1238480.1577 | 2666558.2378 | 1238458.7507
51 | 2666548.1325 | 1238480.1577 | 2666539.057 | 1238466.2373
52 | 2666548.1325 | 1238480.1577 | 2666537.2567 | 1238503.1616
53 | 2666532.5731 | 1238458.7785 | 2666538.4352 | 1238465.2835 | 2666539.057 | 1238466.2373
54 | 2666527.7611 | 1238523.246 | 2666537.2567 | 1238503.1616
55 | 2666522.0136 | 1238535.4026 | 2666527.7611 | 1238523.246
56 | 2666576.4498 | 1238535.835 | 2666581.1996 | 1238538.8969
57 | 2666599.999 | 1238568.3802 | 2666592.2614 | 1238581.9066
58 | 2666522.0136 | 1238535.4026 | 2666515.5212 | 1238547.0964
59 | 2666522.0136 | 1238535.4026 | 2666527.6475 | 1238536.9001 | 2666537.946 | 1238536.6753
60 | 2666576.4498 | 1238535.835 | 2666537.946 | 1238536.6753
61 | 2666576.4498 | 1238535.835 | 2666583.3791 | 1238519.7511
62 | 2666592.8845 | 1238497.688 | 2666583.3791 | 1238519.7511
63 | 2666579.1844 | 1238604.7669 | 2666592.2614 | 1238581.9066
64 | 2666599.3846 | 1238482.6004 | 2666592.8845 | 1238497.688
65 | 2666009.4788 | 1238335.5613 | 2666008.5162 | 1238320.0846 | 2666001.3598 | 1238268.0034
66 | 2666009.4788 | 1238335.5613 | 2666030.3328 | 1238339.7959 | 2666033.4791 | 1238341.2097
67 | 2666009.4788 | 1238335.5613 | 2666010.7554 | 1238356.1339
68 | 2666033.4791 | 1238341.2097 | 2666042.1215 | 1238333.4116 | 2666055.5307 | 1238316.9707

## bus_geodata
| x | y | coords
0 | 2666000.2721 | 1238138.2813
1 | 2665960.6713 | 1238132.8622
2 | 2665999.5021 | 1238249.8692
3 | 2666000.2664 | 1238257.4962
4 | 2666663.1022 | 1238515.653
5 | 2666649.1635 | 1238539.0681
6 | 2666630.6645 | 1238570.1438
7 | 2666626.1235 | 1238566.9908
8 | 2666646.9476 | 1238580.3171
9 | 2666513.6033 | 1238263.8691
10 | 2666501.0158 | 1238304.2133
11 | 2666089.4138 | 1238684.1859
12 | 2666603.17 | 1238351.5208
13 | 2666617.916 | 1238358.9289
14 | 2666599.2879 | 1238361.5952
15 | 2666607.2561 | 1238555.6938
16 | 2666641.5864 | 1238540.9726
17 | 2666544.6382 | 1238618.4567
18 | 2666494.1979 | 1238585.5029
19 | 2666560.163 | 1238589.4604
20 | 2666502.0151 | 1238571.4231
21 | 2666477.7926 | 1238378.6459
22 | 2666002.9108 | 1238476.3242
23 | 2666589.2003 | 1238387.7738
24 | 2666636.3534 | 1238411.7404
25 | 2666624.2541 | 1238436.5013
26 | 2666659.0331 | 1238411.028
27 | 2666664.2522 | 1238430.3373
28 | 2666652.5154 | 1238457.1791
29 | 2666638.2744 | 1238490.0136
30 | 2666638.8782 | 1238451.2011
31 | 2666630.924 | 1238506.9607
32 | 2666636.4802 | 1238450.15
33 | 2666623.5949 | 1238444.5016
34 | 2666674.433 | 1238481.4137
35 | 2666663.7111 | 1238502.0352
36 | 2666682.7179 | 1238462.7977
37 | 2666691.4841 | 1238445.3589
38 | 2666703.0627 | 1238425.2997
39 | 2666592.8624 | 1238546.4151
40 | 2666600.5807 | 1238567.3632
41 | 2666622.7047 | 1238524.5872
42 | 2666565.0356 | 1238579.8008
43 | 2666509.5973 | 1238557.7664
44 | 2666586.7832 | 1238394.0464
45 | 2666572.8461 | 1238427.8045
46 | 2666558.2378 | 1238458.7507
47 | 2666548.1325 | 1238480.1577
48 | 2666539.057 | 1238466.2373
49 | 2666537.2567 | 1238503.1616
50 | 2666532.5731 | 1238458.7785
51 | 2666527.7611 | 1238523.246
52 | 2666628.8921 | 1238511.6457
53 | 2666581.1996 | 1238538.8969
54 | 2666599.999 | 1238568.3802
55 | 2666522.0136 | 1238535.4026
56 | 2666515.5212 | 1238547.0964
57 | 2666537.946 | 1238536.6753
58 | 2666576.4498 | 1238535.835
59 | 2666583.3791 | 1238519.7511
60 | 2666579.1844 | 1238604.7669
61 | 2666592.2614 | 1238581.9066
62 | 2666567.3933 | 1238575.1268
63 | 2666592.8845 | 1238497.688
64 | 2666599.3846 | 1238482.6004
65 | 2666001.3598 | 1238268.0034
66 | 2666009.4788 | 1238335.5613
67 | 2666033.4791 | 1238341.2097
68 | 2666010.7554 | 1238356.1339
69 | 2666055.5307 | 1238316.9707
70 | 2666532.5731 | 1238458.7785

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1