## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4228-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4228-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4228-4_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_4228-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4228-4_0_4_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_4228-4_0_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_4228-4_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4228-4_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_4228-4_0_4_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_4228-4_0_4_node_71 | 0.4 | n |  | TRUE
10 | bus_LV_4228-4_0_4_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_4228-4_0_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_4228-4_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_4228-4_0_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_4228-4_0_4_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_4228-4_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_4228-4_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_4228-4_0_4_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_4228-4_0_4_node_73 | 0.4 | n |  | TRUE
19 | bus_LV_4228-4_0_4_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_4228-4_0_4_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_4228-4_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_4228-4_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_4228-4_0_4_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_4228-4_0_4_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_4228-4_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_4228-4_0_4_node_7 | 0.4 | n |  | TRUE
27 | bus_LV_4228-4_0_4_node_8 | 0.4 | n |  | TRUE
28 | bus_LV_4228-4_0_4_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_4228-4_0_4_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_4228-4_0_4_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_4228-4_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_4228-4_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4228-4_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_4228-4_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_4228-4_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_4228-4_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_4228-4_0_4_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_4228-4_0_4_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_4228-4_0_4_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_4228-4_0_4_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_4228-4_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_4228-4_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_4228-4_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_4228-4_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_4228-4_0_4_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_4228-4_0_4_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_4228-4_0_4_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_4228-4_0_4_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_4228-4_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_4228-4_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_4228-4_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_4228-4_0_4_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_4228-4_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_4228-4_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_4228-4_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_4228-4_0_4_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_4228-4_0_4_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_4228-4_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_4228-4_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_4228-4_0_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_4228-4_0_4_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_4228-4_0_4_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_4228-4_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_4228-4_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_4228-4_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_MV_426_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4228-4_0_4_load_0 | 0 | 0.011269 | 0.0028242 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4228-4_0_4_load_22 | 5 | 0.0068823 | 0.0017249 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4228-4_0_4_load_72 | 8 | 0.0014438 | 0.00036186 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4228-4_0_4_load_71 | 9 | 0.0033544 | 0.00084069 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4228-4_0_4_load_28 | 11 | 0.010262 | 0.0025718 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4228-4_0_4_load_27 | 13 | 0.0017899 | 0.00044858 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4228-4_0_4_load_23 | 14 | 0.026388 | 0.0066135 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4228-4_0_4_load_16 | 15 | 0.00084771 | 0.00021246 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4228-4_0_4_load_14 | 16 | 0.0009268 | 0.00023228 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4228-4_0_4_load_41 | 17 | 0.0024924 | 0.00062465 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4228-4_0_4_load_73 | 18 | 0.0020298 | 0.00050871 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4228-4_0_4_load_70 | 19 | 0.0051226 | 0.0012839 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4228-4_0_4_load_34 | 21 | 0.0065433 | 0.0016399 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4228-4_0_4_load_31 | 22 | 0.0088409 | 0.0022157 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4228-4_0_4_load_42 | 24 | 0.0021852 | 0.00054767 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4228-4_0_4_load_24 | 25 | 0.03484 | 0.0087318 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4228-4_0_4_load_7 | 26 | 0.0032146 | 0.00080564 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4228-4_0_4_load_8 | 27 | 0.0074475 | 0.0018665 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4228-4_0_4_load_12 | 29 | 0.0084198 | 0.0021102 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4228-4_0_4_load_11 | 30 | 0.0050269 | 0.0012599 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4228-4_0_4_load_40 | 31 | 0.0048621 | 0.0012186 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4228-4_0_4_load_20 | 32 | 0.0048749 | 0.0012218 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4228-4_0_4_load_18 | 33 | 0.0015113 | 0.00037876 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4228-4_0_4_load_32 | 35 | 0.0016728 | 0.00041924 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4228-4_0_4_load_66 | 37 | 0.0041736 | 0.001046 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4228-4_0_4_load_63 | 39 | 0.0023377 | 0.00058589 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4228-4_0_4_load_53 | 40 | 0.0013419 | 0.00033631 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4228-4_0_4_load_35 | 41 | 0.0012076 | 0.00030267 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4228-4_0_4_load_38 | 43 | 0.0012161 | 0.00030478 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4228-4_0_4_load_39 | 44 | 0.0011456 | 0.00028711 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4228-4_0_4_load_56 | 45 | 0.0012972 | 0.00032511 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4228-4_0_4_load_57 | 47 | 0.0010636 | 0.00026655 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4228-4_0_4_load_59 | 48 | 0.0013435 | 0.00033671 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4228-4_0_4_load_43 | 50 | 0.0064391 | 0.0016138 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4228-4_0_4_load_44 | 51 | 0.0012426 | 0.00031143 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4228-4_0_4_load_69 | 52 | 0.0019134 | 0.00047955 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4228-4_0_4_load_47 | 53 | 0.0019739 | 0.00049472 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4228-4_0_4_load_48 | 54 | 0.0017234 | 0.00043192 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4228-4_0_4_load_50 | 55 | 0.0016015 | 0.00040138 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4228-4_0_4_load_64 | 56 | 0.0015452 | 0.00038726 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4228-4_0_4_load_65 | 57 | 0.0016217 | 0.00040645 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4228-4_0_4_load_52 | 58 | 0.0014612 | 0.0003662 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4228-4_0_4_load_54 | 59 | 0.0019459 | 0.0004877 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4228-4_0_4_load_55 | 60 | 0.0013683 | 0.00034293 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4228-4_0_4_load_67 | 61 | 0.0014151 | 0.00035465 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4228-4_0_4_load_68 | 62 | 0.001562 | 0.00039148 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4228-4_0_4_load_62 | 63 | 0.0012894 | 0.00032316 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4228-4_0_4_load_60 | 64 | 0.0015645 | 0.00039211 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4228-4_0_4_load_61 | 65 | 0.0014488 | 0.0003631 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4228-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4228-4_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.076061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4228-4_0_4_line_2 | NAYY 4x150 SE | 2 | 9 | 0.0032053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4228-4_0_4_line_3 | NAYY 4x150 SE | 2 | 3 | 0.043715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4228-4_0_4_line_4 | NAYY 4x150 SE | 3 | 4 | 0.038483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_4228-4_0_4_line_5 | NAYY 4x150 SE | 3 | 5 | 0.015071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_4228-4_0_4_line_6 | NAYY 4x150 SE | 4 | 13 | 0.015753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_4228-4_0_4_line_7 | NAYY 4x150 SE | 5 | 14 | 0.048128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_4228-4_0_4_line_8 | NAYY 4x150 SE | 6 | 7 | 0.046042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4228-4_0_4_line_9 | NAYY 4x150 SE | 6 | 8 | 0.025376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4228-4_0_4_line_10 | NAYY 4x150 SE | 7 | 15 | 0.032418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4228-4_0_4_line_11 | NAYY 4x150 SE | 7 | 12 | 0.01749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4228-4_0_4_line_12 | NAYY 4x150 SE | 7 | 16 | 0.020398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4228-4_0_4_line_13 | NAYY 4x150 SE | 8 | 18 | 0.012938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4228-4_0_4_line_14 | NAYY 4x150 SE | 9 | 19 | 0.0083566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4228-4_0_4_line_15 | NAYY 4x150 SE | 10 | 11 | 0.016663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_4228-4_0_4_line_16 | NAYY 4x150 SE | 10 | 12 | 0.021719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_4228-4_0_4_line_17 | NAYY 4x150 SE | 11 | 13 | 0.0071673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_4228-4_0_4_line_18 | NAYY 4x150 SE | 12 | 17 | 0.0057492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_4228-4_0_4_line_19 | NAYY 4x150 SE | 14 | 25 | 0.045711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_4228-4_0_4_line_20 | NAYY 4x150 SE | 15 | 31 | 0.010097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4228-4_0_4_line_21 | NAYY 4x150 SE | 16 | 30 | 0.00096491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4228-4_0_4_line_22 | NAYY 4x150 SE | 17 | 24 | 0.017841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_4228-4_0_4_line_23 | NAYY 4x150 SE | 19 | 29 | 0.0030515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4228-4_0_4_line_24 | NAYY 4x150 SE | 20 | 21 | 0.037658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4228-4_0_4_line_25 | NAYY 4x150 SE | 20 | 22 | 0.023124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_4228-4_0_4_line_26 | NAYY 4x150 SE | 20 | 23 | 0.042122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_4228-4_0_4_line_27 | NAYY 4x150 SE | 22 | 35 | 0.02758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_4228-4_0_4_line_28 | NAYY 4x150 SE | 23 | 24 | 0.019172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_4228-4_0_4_line_29 | NAYY 4x150 SE | 26 | 27 | 0.068686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4228-4_0_4_line_30 | NAYY 4x150 SE | 27 | 28 | 0.068419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4228-4_0_4_line_31 | NAYY 4x150 SE | 28 | 29 | 0.04864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4228-4_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.02573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4228-4_0_4_line_33 | NAYY 4x150 SE | 32 | 34 | 0.00011864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4228-4_0_4_line_34 | NAYY 4x150 SE | 33 | 34 | 0.017792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4228-4_0_4_line_35 | NAYY 4x150 SE | 35 | 36 | 0.017433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_4228-4_0_4_line_36 | NAYY 4x150 SE | 36 | 37 | 0.029582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_4228-4_0_4_line_37 | NAYY 4x150 SE | 36 | 38 | 0.061024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4228-4_0_4_line_38 | NAYY 4x150 SE | 37 | 39 | 0.032958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_4228-4_0_4_line_39 | NAYY 4x150 SE | 38 | 40 | 0.070952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4228-4_0_4_line_40 | NAYY 4x150 SE | 39 | 65 | 0.021682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_4228-4_0_4_line_41 | NAYY 4x150 SE | 40 | 58 | 0.024007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4228-4_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.036236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4228-4_0_4_line_43 | NAYY 4x150 SE | 42 | 43 | 0.040279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4228-4_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.017511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4228-4_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.022605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4228-4_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.052675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4228-4_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.023012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4228-4_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.046468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4228-4_0_4_line_49 | NAYY 4x150 SE | 46 | 49 | 0.007269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4228-4_0_4_line_50 | NAYY 4x150 SE | 47 | 63 | 0.02329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4228-4_0_4_line_51 | NAYY 4x150 SE | 48 | 57 | 0.05314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4228-4_0_4_line_52 | NAYY 4x150 SE | 49 | 52 | 0.027009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4228-4_0_4_line_53 | NAYY 4x150 SE | 49 | 51 | 0.022018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4228-4_0_4_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0051085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4228-4_0_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.024842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4228-4_0_4_line_56 | NAYY 4x150 SE | 54 | 55 | 0.0064171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4228-4_0_4_line_57 | NAYY 4x150 SE | 55 | 56 | 0.019009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4228-4_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0043037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4228-4_0_4_line_59 | NAYY 4x150 SE | 58 | 59 | 0.024084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4228-4_0_4_line_60 | NAYY 4x150 SE | 59 | 60 | 0.026369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4228-4_0_4_line_61 | NAYY 4x150 SE | 60 | 61 | 0.021527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4228-4_0_4_line_62 | NAYY 4x150 SE | 61 | 62 | 0.013424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4228-4_0_4_line_63 | NAYY 4x150 SE | 63 | 64 | 0.022333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4228-4_0_4_line_64 | NAYY 4x150 SE | 64 | 65 | 0.02255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4228-4_0_4_trafo_24 | 0.25 MVA 20/0.4 kV | 66 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2666055.0965 | 1239505.1274 | 2666047.0334 | 1239501.8022 | 2666045.9139 | 1239502.9331
1 | 2666095.4849 | 1239456.1212 | 2666080.7913 | 1239450.5317 | 2666064.3907 | 1239485.5064 | 2666055.0965 | 1239505.1274
2 | 2666095.4849 | 1239456.1212 | 2666098.017 | 1239458.0865
3 | 2666054.8527 | 1239440.0472 | 2666065.6742 | 1239444.9375 | 2666080.7913 | 1239450.5317 | 2666095.4849 | 1239456.1212
4 | 2666061.553 | 1239404.7755 | 2666065.0913 | 1239410.3298 | 2666065.2278 | 1239416.4132 | 2666057.8596 | 1239433.5429 | 2666054.8527 | 1239440.0472
5 | 2666054.8527 | 1239440.0472 | 2666044.4224 | 1239450.9262
6 | 2666061.553 | 1239404.7755 | 2666069.9871 | 1239391.4701
7 | 2666004.4178 | 1239457.3427 | 2666004.4178 | 1239457.3427 | 2666029.6546 | 1239466.3293 | 2666044.4224 | 1239450.9262
8 | 2666090.7082 | 1239413.0388 | 2666097.9132 | 1239372.536 | 2666098.8366 | 1239367.7207
9 | 2666090.7082 | 1239413.0388 | 2666115.5885 | 1239418.0281
10 | 2666098.8366 | 1239367.7207 | 2666105.1438 | 1239335.9224
11 | 2666086.1335 | 1239368.1019 | 2666097.9132 | 1239372.536 | 2666098.8366 | 1239367.7207
12 | 2666098.8366 | 1239367.7207 | 2666116.7135 | 1239371.3666 | 2666118.8642 | 1239371.2577
13 | 2666115.5885 | 1239418.0281 | 2666128.2736 | 1239420.5718
14 | 2666098.017 | 1239458.0865 | 2666104.6186 | 1239463.2102
15 | 2666089.214 | 1239388.9614 | 2666074.4864 | 1239384.3722 | 2666073.8244 | 1239385.4166
16 | 2666086.1335 | 1239368.1019 | 2666090.2919 | 1239378.4218 | 2666089.214 | 1239388.9614
17 | 2666069.9871 | 1239391.4701 | 2666073.8244 | 1239385.4166
18 | 2666086.1335 | 1239368.1019 | 2666081.0195 | 1239365.4753
19 | 2666004.4178 | 1239457.3427 | 2666007.5808 | 1239427.9579 | 2666011.1754 | 1239414.8556 | 2666010.2495 | 1239412.4587
20 | 2666107.0648 | 1239326.0112 | 2666106.906 | 1239327.0385 | 2666105.1438 | 1239335.9224
21 | 2666119.8279 | 1239371.2089 | 2666118.8642 | 1239371.2577
22 | 2666081.0195 | 1239365.4753 | 2666065.1496 | 1239357.3245
23 | 2666107.0292 | 1239465.0811 | 2666104.6186 | 1239463.2102
24 | 2666012.2359 | 1239326.2962 | 2666016.6341 | 1239316.4273 | 2666012.3589 | 1239299.5906 | 2666015.8657 | 1239290.7804
25 | 2666012.2359 | 1239326.2962 | 2665992.5916 | 1239314.0974
26 | 2666048.0956 | 1239348.5655 | 2666012.2359 | 1239326.2962
27 | 2665992.5916 | 1239314.0974 | 2665969.1618 | 1239299.5478
28 | 2666048.0956 | 1239348.5655 | 2666065.1496 | 1239357.3245
29 | 2666197.4313 | 1239376.5866 | 2666195.6696 | 1239389.4472 | 2666194.7195 | 1239412.2521 | 2666188.8348 | 1239418.3907 | 2666183.1945 | 1239419.5842 | 2666179.6194 | 1239420.0558 | 2666175.4757 | 1239422.6781 | 2666172.6578 | 1239427.1386 | 2666170.8721 | 1239431.6218
30 | 2666145.454 | 1239494.9038 | 2666164.8898 | 1239452.2914 | 2666167.2688 | 1239441.0658 | 2666170.2768 | 1239433.1161 | 2666170.8721 | 1239431.6218
31 | 2666145.454 | 1239494.9038 | 2666107.0292 | 1239465.0811
32 | 2666110.9957 | 1239300.5834 | 2666107.0648 | 1239326.0112
33 | 2666110.9957 | 1239300.5834 | 2666111.0139 | 1239300.4662
34 | 2666111.0139 | 1239300.4662 | 2666128.6601 | 1239302.7398
35 | 2665954.3519 | 1239290.351 | 2665969.1618 | 1239299.5478
36 | 2665954.3519 | 1239290.351 | 2665939.2837 | 1239313.6662 | 2665938.5078 | 1239315.3139
37 | 2665901.859 | 1239259.2695 | 2665919.2105 | 1239268.7129 | 2665954.3519 | 1239290.351
38 | 2665938.5078 | 1239315.3139 | 2665924.4664 | 1239345.1306
39 | 2665901.859 | 1239259.2695 | 2665875.7534 | 1239325.2447
40 | 2665915.434 | 1239364.8336 | 2665916.4484 | 1239362.1568 | 2665924.4664 | 1239345.1306
41 | 2665866.9205 | 1239347.5676 | 2665875.7534 | 1239325.2447
42 | 2665860.8406 | 1239508.9061 | 2665893.9088 | 1239523.7227
43 | 2665860.8406 | 1239508.9061 | 2665875.1132 | 1239471.2406
44 | 2665860.8406 | 1239508.9061 | 2665844.9279 | 1239501.5977
45 | 2665875.1132 | 1239471.2406 | 2665883.1231 | 1239450.1025
46 | 2665797.0602 | 1239479.6127 | 2665844.9279 | 1239501.5977
47 | 2665883.1231 | 1239450.1025 | 2665891.2773 | 1239428.5834
48 | 2665797.0602 | 1239479.6127 | 2665810.7355 | 1239441.9942 | 2665812.7652 | 1239435.8817
49 | 2665790.4383 | 1239476.5706 | 2665797.0602 | 1239479.6127
50 | 2665899.53 | 1239406.8045 | 2665891.2773 | 1239428.5834
51 | 2665825.334 | 1239384.7666 | 2665822.0327 | 1239393.0863 | 2665822.4643 | 1239399.8623 | 2665819.9684 | 1239414.1888 | 2665812.7652 | 1239435.8817
52 | 2665790.4383 | 1239476.5706 | 2665784.2818 | 1239467.7075 | 2665782.9756 | 1239459.3096 | 2665785.3179 | 1239451.9553
53 | 2665790.4383 | 1239476.5706 | 2665791.6019 | 1239482.1317 | 2665785.4722 | 1239497.2746
54 | 2665783.5554 | 1239502.0099 | 2665785.4722 | 1239497.2746
55 | 2665845.5403 | 1239334.0734 | 2665836.3331 | 1239357.1465
56 | 2665833.9547 | 1239363.1066 | 2665836.3331 | 1239357.1465
57 | 2665833.9547 | 1239363.1066 | 2665829.3155 | 1239374.7323 | 2665826.9213 | 1239380.7663
58 | 2665825.334 | 1239384.7666 | 2665826.9213 | 1239380.7663
59 | 2665866.9205 | 1239347.5676 | 2665858.059 | 1239369.9626
60 | 2665858.059 | 1239369.9626 | 2665848.3571 | 1239394.4818
61 | 2665848.3571 | 1239394.4818 | 2665840.4368 | 1239414.4983
62 | 2665835.4976 | 1239426.9807 | 2665840.4368 | 1239414.4983
63 | 2665907.4437 | 1239385.9202 | 2665899.53 | 1239406.8045
64 | 2665907.4437 | 1239385.9202 | 2665915.434 | 1239364.8336

## bus_geodata
| x | y | coords
0 | 2666045.9139 | 1239502.9331
1 | 2666055.0965 | 1239505.1274
2 | 2666095.4849 | 1239456.1212
3 | 2666054.8527 | 1239440.0472
4 | 2666061.553 | 1239404.7755
5 | 2666044.4224 | 1239450.9262
6 | 2666090.7082 | 1239413.0388
7 | 2666098.8366 | 1239367.7207
8 | 2666115.5885 | 1239418.0281
9 | 2666098.017 | 1239458.0865
10 | 2666089.214 | 1239388.9614
11 | 2666073.8244 | 1239385.4166
12 | 2666086.1335 | 1239368.1019
13 | 2666069.9871 | 1239391.4701
14 | 2666004.4178 | 1239457.3427
15 | 2666105.1438 | 1239335.9224
16 | 2666118.8642 | 1239371.2577
17 | 2666081.0195 | 1239365.4753
18 | 2666128.2736 | 1239420.5718
19 | 2666104.6186 | 1239463.2102
20 | 2666012.2359 | 1239326.2962
21 | 2666015.8657 | 1239290.7804
22 | 2665992.5916 | 1239314.0974
23 | 2666048.0956 | 1239348.5655
24 | 2666065.1496 | 1239357.3245
25 | 2666010.2495 | 1239412.4587
26 | 2666197.4313 | 1239376.5866
27 | 2666170.8721 | 1239431.6218
28 | 2666145.454 | 1239494.9038
29 | 2666107.0292 | 1239465.0811
30 | 2666119.8279 | 1239371.2089
31 | 2666107.0648 | 1239326.0112
32 | 2666110.9957 | 1239300.5834
33 | 2666128.6601 | 1239302.7398
34 | 2666111.0139 | 1239300.4662
35 | 2665969.1618 | 1239299.5478
36 | 2665954.3519 | 1239290.351
37 | 2665938.5078 | 1239315.3139
38 | 2665901.859 | 1239259.2695
39 | 2665924.4664 | 1239345.1306
40 | 2665875.7534 | 1239325.2447
41 | 2665893.9088 | 1239523.7227
42 | 2665860.8406 | 1239508.9061
43 | 2665875.1132 | 1239471.2406
44 | 2665844.9279 | 1239501.5977
45 | 2665883.1231 | 1239450.1025
46 | 2665797.0602 | 1239479.6127
47 | 2665891.2773 | 1239428.5834
48 | 2665812.7652 | 1239435.8817
49 | 2665790.4383 | 1239476.5706
50 | 2665783.5554 | 1239502.0099
51 | 2665785.4722 | 1239497.2746
52 | 2665785.3179 | 1239451.9553
53 | 2665845.5403 | 1239334.0734
54 | 2665836.3331 | 1239357.1465
55 | 2665833.9547 | 1239363.1066
56 | 2665826.9213 | 1239380.7663
57 | 2665825.334 | 1239384.7666
58 | 2665866.9205 | 1239347.5676
59 | 2665858.059 | 1239369.9626
60 | 2665848.3571 | 1239394.4818
61 | 2665840.4368 | 1239414.4983
62 | 2665835.4976 | 1239426.9807
63 | 2665899.53 | 1239406.8045
64 | 2665907.4437 | 1239385.9202
65 | 2665915.434 | 1239364.8336
66 | 2665995.2076 | 1239373.5168

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1