## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4228-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4228-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4228-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4228-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4228-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4228-7_0_3_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_4228-7_0_3_node_63 | 0.4 | n |  | TRUE
7 | bus_LV_4228-7_0_3_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_4228-7_0_3_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_4228-7_0_3_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_4228-7_0_3_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_4228-7_0_3_node_81 | 0.4 | n |  | TRUE
12 | bus_LV_4228-7_0_3_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_4228-7_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_4228-7_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4228-7_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4228-7_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4228-7_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4228-7_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4228-7_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4228-7_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4228-7_0_3_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_4228-7_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4228-7_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4228-7_0_3_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_4228-7_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_4228-7_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_4228-7_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_4228-7_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4228-7_0_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_4228-7_0_3_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_4228-7_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_4228-7_0_3_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_4228-7_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_4228-7_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_4228-7_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_4228-7_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_4228-7_0_3_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_4228-7_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4228-7_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_4228-7_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_4228-7_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4228-7_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_4228-7_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_4228-7_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_4228-7_0_3_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_4228-7_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_4228-7_0_3_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_4228-7_0_3_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_4228-7_0_3_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_4228-7_0_3_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_4228-7_0_3_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_4228-7_0_3_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_4228-7_0_3_node_23 | 0.4 | n |  | TRUE
54 | bus_LV_4228-7_0_3_node_24 | 0.4 | n |  | TRUE
55 | bus_LV_4228-7_0_3_node_26 | 0.4 | n |  | TRUE
56 | bus_LV_4228-7_0_3_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_4228-7_0_3_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_4228-7_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4228-7_0_3_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_4228-7_0_3_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_4228-7_0_3_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_4228-7_0_3_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_4228-7_0_3_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_4228-7_0_3_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_4228-7_0_3_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4228-7_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_4228-7_0_3_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_4228-7_0_3_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4228-7_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_4228-7_0_3_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_4228-7_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_4228-7_0_3_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_4228-7_0_3_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_4228-7_0_3_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_4228-7_0_3_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_4228-7_0_3_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_4228-7_0_3_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_4228-7_0_3_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_4228-7_0_3_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_4228-7_0_3_node_80 | 0.4 | n |  | TRUE
81 | bus_MV_426_0_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4228-7_0_3_load_0 | 0 | 0.0036288 | 0.00090946 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4228-7_0_3_load_3 | 3 | 0.0011132 | 0.000279 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4228-7_0_3_load_4 | 4 | 0.00023094 | 5.788e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4228-7_0_3_load_63 | 6 | 0.0061079 | 0.0015308 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4228-7_0_3_load_64 | 7 | 0.0037241 | 0.00093335 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4228-7_0_3_load_69 | 8 | 0.005455 | 0.0013672 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4228-7_0_3_load_70 | 9 | 0.0039076 | 0.00097934 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4228-7_0_3_load_81 | 11 | 0.0031966 | 0.00080115 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4228-7_0_3_load_78 | 12 | 0.0006594 | 0.00016526 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4228-7_0_3_load_6 | 13 | 0.0010954 | 0.00027454 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4228-7_0_3_load_7 | 14 | 0.00072887 | 0.00018267 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4228-7_0_3_load_9 | 15 | 0.00033259 | 8.3356e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4228-7_0_3_load_10 | 17 | 0.0030016 | 0.00075226 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4228-7_0_3_load_11 | 18 | 0.0015911 | 0.00039877 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4228-7_0_3_load_12 | 19 | 0.0020171 | 0.00050552 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4228-7_0_3_load_14 | 20 | 0.0014128 | 0.00035407 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4228-7_0_3_load_57 | 21 | 0.00356 | 0.00089223 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4228-7_0_3_load_15 | 23 | 0.0024789 | 0.00062127 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4228-7_0_3_load_31 | 24 | 0.0057155 | 0.0014324 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4228-7_0_3_load_30 | 25 | 0.0016833 | 0.00042188 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4228-7_0_3_load_28 | 27 | 0.0063507 | 0.0015916 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4228-7_0_3_load_47 | 30 | 0.0011569 | 0.00028994 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4228-7_0_3_load_39 | 31 | 0.0074603 | 0.0018697 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4228-7_0_3_load_17 | 33 | 0.0014756 | 0.00036981 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4228-7_0_3_load_18 | 35 | 0.0018849 | 0.00047239 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4228-7_0_3_load_20 | 36 | 0.0045943 | 0.0011514 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4228-7_0_3_load_38 | 42 | 0.0041682 | 0.0010447 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4228-7_0_3_load_35 | 43 | 0.0038345 | 0.00096101 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4228-7_0_3_load_33 | 44 | 0.0019387 | 0.00048588 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4228-7_0_3_load_51 | 45 | 0.0089806 | 0.0022508 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4228-7_0_3_load_48 | 46 | 0.0036047 | 0.00090341 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4228-7_0_3_load_74 | 48 | 0.002156 | 0.00054036 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4228-7_0_3_load_71 | 49 | 0.0042306 | 0.0010603 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4228-7_0_3_load_82 | 51 | 0.010145 | 0.0025425 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4228-7_0_3_load_27 | 52 | 0.0041679 | 0.0010446 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4228-7_0_3_load_23 | 53 | 0.001721 | 0.00043132 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4228-7_0_3_load_24 | 54 | 0.0021058 | 0.00052777 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4228-7_0_3_load_29 | 56 | 0.002925 | 0.00073308 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4228-7_0_3_load_42 | 57 | 0.0016154 | 0.00040485 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4228-7_0_3_load_45 | 58 | 0.0013638 | 0.00034181 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4228-7_0_3_load_76 | 60 | 0.0047414 | 0.0011883 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4228-7_0_3_load_77 | 61 | 0.0092229 | 0.0023115 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4228-7_0_3_load_49 | 62 | 0.0085341 | 0.0021388 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4228-7_0_3_load_37 | 63 | 0.0025383 | 0.00063615 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4228-7_0_3_load_43 | 64 | 0.00076801 | 0.00019248 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4228-7_0_3_load_44 | 65 | 0.00036373 | 9.1159e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4228-7_0_3_load_50 | 66 | 0.0045678 | 0.0011448 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4228-7_0_3_load_52 | 67 | 0.001749 | 0.00043833 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4228-7_0_3_load_56 | 69 | 0.017399 | 0.0043607 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4228-7_0_3_load_54 | 70 | 0.0078986 | 0.0019796 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4228-7_0_3_load_62 | 71 | 0.0036912 | 0.00092511 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4228-7_0_3_load_58 | 73 | 0.0057097 | 0.001431 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4228-7_0_3_load_65 | 75 | 0.0040128 | 0.0010057 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4228-7_0_3_load_83 | 76 | 0.018714 | 0.0046901 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4228-7_0_3_load_60 | 79 | 0.0040479 | 0.0010145 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4228-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4228-7_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.03212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4228-7_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4228-7_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.028232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4228-7_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.11831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4228-7_0_3_line_5 | NAYY 4x150 SE | 5 | 11 | 0.012143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4228-7_0_3_line_6 | NAYY 4x150 SE | 5 | 12 | 0.010878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4228-7_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.016148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4228-7_0_3_line_8 | NAYY 4x150 SE | 7 | 50 | 0.012687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4228-7_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.012955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4228-7_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.017856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4228-7_0_3_line_11 | NAYY 4x150 SE | 10 | 78 | 0.009688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4228-7_0_3_line_12 | NAYY 4x150 SE | 11 | 50 | 0.016207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4228-7_0_3_line_13 | NAYY 4x150 SE | 12 | 80 | 0.020975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4228-7_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.019928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4228-7_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.024813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4228-7_0_3_line_16 | NAYY 4x150 SE | 15 | 19 | 0.015408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4228-7_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.0094285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4228-7_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0030516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4228-7_0_3_line_19 | NAYY 4x150 SE | 17 | 20 | 0.0039969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4228-7_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.039694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4228-7_0_3_line_21 | NAYY 4x150 SE | 19 | 22 | 0.037272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4228-7_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.01742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4228-7_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.010209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4228-7_0_3_line_24 | NAYY 4x150 SE | 22 | 25 | 0.012191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4228-7_0_3_line_25 | NAYY 4x150 SE | 23 | 28 | 0.021401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4228-7_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.015918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4228-7_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0062213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4228-7_0_3_line_28 | NAYY 4x150 SE | 26 | 44 | 0.02501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_4228-7_0_3_line_29 | NAYY 4x150 SE | 26 | 40 | 0.039248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4228-7_0_3_line_30 | NAYY 4x150 SE | 27 | 55 | 0.031372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4228-7_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.041308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4228-7_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.015483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4228-7_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.024998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4228-7_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.01032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4228-7_0_3_line_35 | NAYY 4x150 SE | 32 | 65 | 0.012569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4228-7_0_3_line_36 | NAYY 4x150 SE | 32 | 64 | 0.029143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4228-7_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.0076761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4228-7_0_3_line_38 | NAYY 4x150 SE | 34 | 38 | 0.045539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4228-7_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.010941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4228-7_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.016135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4228-7_0_3_line_41 | NAYY 4x150 SE | 36 | 39 | 0.03028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4228-7_0_3_line_42 | NAYY 4x150 SE | 37 | 40 | 0.033372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4228-7_0_3_line_43 | NAYY 4x150 SE | 38 | 41 | 0.007996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4228-7_0_3_line_44 | NAYY 4x150 SE | 38 | 42 | 0.020315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4228-7_0_3_line_45 | NAYY 4x150 SE | 39 | 43 | 0.014725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4228-7_0_3_line_46 | NAYY 4x150 SE | 40 | 45 | 0.023408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4228-7_0_3_line_47 | NAYY 4x150 SE | 40 | 46 | 0.0056678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4228-7_0_3_line_48 | NAYY 4x150 SE | 41 | 52 | 0.025091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4228-7_0_3_line_49 | NAYY 4x150 SE | 41 | 53 | 0.010939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4228-7_0_3_line_50 | NAYY 4x150 SE | 43 | 63 | 0.023754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4228-7_0_3_line_51 | NAYY 4x150 SE | 44 | 60 | 0.02086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_4228-7_0_3_line_52 | NAYY 4x150 SE | 45 | 51 | 0.0093269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4228-7_0_3_line_53 | NAYY 4x150 SE | 46 | 62 | 0.035089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4228-7_0_3_line_54 | NAYY 4x150 SE | 47 | 48 | 0.020605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4228-7_0_3_line_55 | NAYY 4x150 SE | 47 | 49 | 0.017698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4228-7_0_3_line_56 | NAYY 4x150 SE | 48 | 80 | 0.015607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4228-7_0_3_line_57 | NAYY 4x150 SE | 50 | 51 | 0.019458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4228-7_0_3_line_58 | NAYY 4x150 SE | 52 | 57 | 0.031402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4228-7_0_3_line_59 | NAYY 4x150 SE | 53 | 54 | 0.028696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4228-7_0_3_line_60 | NAYY 4x150 SE | 54 | 55 | 0.017632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4228-7_0_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.01585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4228-7_0_3_line_62 | NAYY 4x150 SE | 56 | 58 | 0.0018267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4228-7_0_3_line_63 | NAYY 4x150 SE | 57 | 59 | 0.018923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4228-7_0_3_line_64 | NAYY 4x150 SE | 59 | 64 | 0.001921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4228-7_0_3_line_65 | NAYY 4x150 SE | 60 | 61 | 0.01322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_4228-7_0_3_line_66 | NAYY 4x150 SE | 62 | 66 | 0.0041385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4228-7_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.012989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4228-7_0_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.030686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4228-7_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.030152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4228-7_0_3_line_70 | NAYY 4x150 SE | 68 | 70 | 0.0060141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4228-7_0_3_line_71 | NAYY 4x150 SE | 69 | 71 | 0.019588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4228-7_0_3_line_72 | NAYY 4x150 SE | 70 | 72 | 0.017224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4228-7_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.012381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4228-7_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.038875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4228-7_0_3_line_75 | NAYY 4x150 SE | 73 | 75 | 0.0026621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4228-7_0_3_line_76 | NAYY 4x150 SE | 74 | 76 | 0.028224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4228-7_0_3_line_77 | NAYY 4x150 SE | 74 | 77 | 0.005112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4228-7_0_3_line_78 | NAYY 4x150 SE | 75 | 78 | 0.021337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4228-7_0_3_line_79 | NAYY 4x150 SE | 77 | 79 | 0.020306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4228-7_0_3_trafo_77 | 0.25 MVA 20/0.4 kV | 81 | 61 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2666057.6263 | 1238993.7086 | 2666046.8439 | 1239022.5702
1 | 2666035.6028 | 1239052.6593 | 2666046.8439 | 1239022.5702
2 | 2666057.6263 | 1238993.7086 | 2666052.0468 | 1238990.7557 | 2666044.4564 | 1238977.6387
3 | 2666057.6263 | 1238993.7086 | 2666075.7859 | 1238972.0917
4 | 2666063.3979 | 1239167.6574 | 2666035.6028 | 1239052.6593
5 | 2666063.3979 | 1239167.6574 | 2666068.7901 | 1239175.8674 | 2666070.4487 | 1239177.49
6 | 2666063.3979 | 1239167.6574 | 2666058.5358 | 1239170.2607 | 2666054.0452 | 1239173.1917
7 | 2666081.3306 | 1239176.1561 | 2666081.0254 | 1239170.6555 | 2666082.9965 | 1239162.7721 | 2666084.5469 | 1239160.795
8 | 2666082.0334 | 1239188.8235 | 2666081.3306 | 1239176.1561
9 | 2666187.6136 | 1239078.3096 | 2666188.0861 | 1239077.2064 | 2666192.1555 | 1239075.8397 | 2666195.1588 | 1239077.8301 | 2666197.3063 | 1239081.0361
10 | 2666180.5843 | 1239094.7236 | 2666187.6136 | 1239078.3096
11 | 2666187.8723 | 1239101.1313 | 2666180.5843 | 1239094.7236
12 | 2666082.0334 | 1239188.8235 | 2666070.4487 | 1239177.49
13 | 2666037.2839 | 1239185.7348 | 2666042.8748 | 1239180.8492 | 2666046.2922 | 1239178.2522 | 2666054.0452 | 1239173.1917
14 | 2666240.0936 | 1239227.8121 | 2666235.5086 | 1239232.596 | 2666224.1377 | 1239239.4978
15 | 2666206.0303 | 1239230.1879 | 2666207.931 | 1239232.0214 | 2666213.3754 | 1239240.9549 | 2666219.4637 | 1239242.3348 | 2666224.1377 | 1239239.4978
16 | 2666206.0303 | 1239230.1879 | 2666206.0303 | 1239230.1879 | 2666202.5284 | 1239230.8604 | 2666192.6338 | 1239237.3664
17 | 2666264.3369 | 1239190.9337 | 2666271.2164 | 1239197.3811
18 | 2666264.3369 | 1239190.9337 | 2666262.1444 | 1239188.8111
19 | 2666271.2164 | 1239197.3811 | 2666274.1327 | 1239200.1142
20 | 2666233.6256 | 1239161.2012 | 2666262.1444 | 1239188.8111
21 | 2666161.4907 | 1239257.8437 | 2666192.6338 | 1239237.3664
22 | 2666286.8436 | 1239212.0266 | 2666274.1327 | 1239200.1142
23 | 2666161.4907 | 1239257.8437 | 2666155.1848 | 1239249.8154
24 | 2666161.4907 | 1239257.8437 | 2666169.3467 | 1239267.1657
25 | 2666302.459 | 1239226.6611 | 2666286.8436 | 1239212.0266
26 | 2666144.4354 | 1239238.1293 | 2666150.7069 | 1239244.1143 | 2666155.1848 | 1239249.8154
27 | 2666173.3558 | 1239271.9229 | 2666169.3467 | 1239267.1657
28 | 2666144.4354 | 1239238.1293 | 2666155.6752 | 1239225.8684 | 2666162.266 | 1239231.0393
29 | 2666128.7626 | 1239211.7591 | 2666123.741 | 1239225.9684 | 2666137.8857 | 1239232.6749 | 2666144.4354 | 1239238.1293
30 | 2666193.6962 | 1239295.795 | 2666192.611 | 1239294.7711 | 2666173.3558 | 1239271.9229
31 | 2666302.459 | 1239226.6611 | 2666334.0481 | 1239253.3875
32 | 2666302.459 | 1239226.6611 | 2666299.7137 | 1239228.6652 | 2666295.9797 | 1239229.8131 | 2666292.3297 | 1239230.8842 | 2666290.4478 | 1239232.7868 | 2666289.1796 | 1239233.9152
33 | 2666334.0481 | 1239253.3875 | 2666331.9433 | 1239263.7266 | 2666332.9802 | 1239265.0168 | 2666325.8506 | 1239275.6376
34 | 2666284.2266 | 1239242.624 | 2666284.7947 | 1239239.8396 | 2666286.9184 | 1239235.9273 | 2666289.1796 | 1239233.9152
35 | 2666284.2266 | 1239242.624 | 2666277.5801 | 1239239.0808 | 2666273.7605 | 1239242.3639
36 | 2666284.2266 | 1239242.624 | 2666283.5387 | 1239245.9742 | 2666284.0022 | 1239257.9764 | 2666284.0947 | 1239262.5694 | 2666279.2356 | 1239270.2846
37 | 2666201.5479 | 1239350.653 | 2666196.8974 | 1239344.546
38 | 2666201.5479 | 1239350.653 | 2666223.444 | 1239354.0216 | 2666226.3881 | 1239353.8432 | 2666229.2046 | 1239352.2291 | 2666232.6002 | 1239348.8647 | 2666241.5545 | 1239340.1253
39 | 2666116.6647 | 1239259.6347 | 2666115.1649 | 1239270.4724
40 | 2666116.6647 | 1239259.6347 | 2666119.2398 | 1239243.7081
41 | 2666111.0139 | 1239300.4662 | 2666115.1649 | 1239270.4724
42 | 2666119.2398 | 1239243.7081 | 2666123.741 | 1239225.9684 | 2666128.7626 | 1239211.7591
43 | 2666236.0451 | 1239334.3154 | 2666241.5545 | 1239340.1253
44 | 2666241.5545 | 1239340.1253 | 2666250.9211 | 1239350.0031 | 2666257.4377 | 1239351.5686
45 | 2666111.0139 | 1239300.4662 | 2666125.6181 | 1239302.3478
46 | 2666128.7626 | 1239211.7591 | 2666111.5816 | 1239205.3524 | 2666107.1553 | 1239202.8764
47 | 2666128.7626 | 1239211.7591 | 2666131.0312 | 1239206.5652
48 | 2666236.0451 | 1239334.3154 | 2666249.7842 | 1239313.32
49 | 2666236.0451 | 1239334.3154 | 2666227.7076 | 1239327.2344
50 | 2666149.177 | 1239305.3833 | 2666125.6181 | 1239302.3478
51 | 2666162.266 | 1239231.0393 | 2666163.3231 | 1239231.8687 | 2666170.5435 | 1239225.3336 | 2666177.3934 | 1239218.3571
52 | 2666099.0154 | 1239198.323 | 2666107.1553 | 1239202.8764
53 | 2666131.0312 | 1239206.5652 | 2666136.7803 | 1239193.4026 | 2666138.4332 | 1239190.9972 | 2666144.7297 | 1239181.8499 | 2666149.2639 | 1239176.9146
54 | 2666062.048 | 1239212.1504 | 2666047.8639 | 1239197.2052
55 | 2666062.048 | 1239212.1504 | 2666054.2221 | 1239228.0237
56 | 2666037.2839 | 1239185.7348 | 2666041.1978 | 1239190.1814 | 2666047.8639 | 1239197.2052
57 | 2666082.0334 | 1239188.8235 | 2666099.0154 | 1239198.323
58 | 2666266.9786 | 1239287.0444 | 2666249.7842 | 1239313.32
59 | 2666227.7076 | 1239327.2344 | 2666219.914 | 1239320.6152 | 2666206.5005 | 1239307.9167
60 | 2666193.6962 | 1239295.795 | 2666206.5005 | 1239307.9167
61 | 2666193.6962 | 1239295.795 | 2666200.6738 | 1239290.0021 | 2666205.4151 | 1239285.1541
62 | 2666206.6923 | 1239283.8481 | 2666205.4151 | 1239285.1541
63 | 2666278.2119 | 1239271.9101 | 2666276.9106 | 1239273.9748 | 2666272.587 | 1239278.474 | 2666266.9786 | 1239287.0444
64 | 2666278.2119 | 1239271.9101 | 2666279.2356 | 1239270.2846
65 | 2666186.6552 | 1239208.9242 | 2666177.3934 | 1239218.3571
66 | 2666152.0638 | 1239173.8671 | 2666149.2639 | 1239176.9146
67 | 2666152.0638 | 1239173.8671 | 2666154.8209 | 1239170.866 | 2666161.2036 | 1239164.6441
68 | 2666184.8031 | 1239145.0714 | 2666165.7709 | 1239160.1918 | 2666161.2036 | 1239164.6441
69 | 2666184.8031 | 1239145.0714 | 2666176.9206 | 1239135.6883 | 2666170.6887 | 1239134.2846 | 2666161.0816 | 1239127.9459
70 | 2666184.8031 | 1239145.0714 | 2666189.9083 | 1239141.8924
71 | 2666144.0855 | 1239134.195 | 2666158.45 | 1239126.2095 | 2666161.0816 | 1239127.9459
72 | 2666204.8265 | 1239133.3199 | 2666199.0993 | 1239136.1691 | 2666189.9083 | 1239141.8924
73 | 2666204.8265 | 1239133.3199 | 2666199.0565 | 1239122.3651
74 | 2666240.9399 | 1239118.6681 | 2666204.8265 | 1239133.3199
75 | 2666199.0565 | 1239122.3651 | 2666197.8159 | 1239120.0098
76 | 2666240.9399 | 1239118.6681 | 2666260.0783 | 1239139.4624
77 | 2666245.6887 | 1239116.742 | 2666240.9399 | 1239118.6681
78 | 2666187.8723 | 1239101.1313 | 2666197.8159 | 1239120.0098
79 | 2666245.6887 | 1239116.742 | 2666238.6432 | 1239097.6976

## bus_geodata
| x | y | coords
0 | 2666046.8439 | 1239022.5702
1 | 2666057.6263 | 1238993.7086
2 | 2666035.6028 | 1239052.6593
3 | 2666044.4564 | 1238977.6387
4 | 2666075.7859 | 1238972.0917
5 | 2666063.3979 | 1239167.6574
6 | 2666084.5469 | 1239160.795
7 | 2666081.3306 | 1239176.1561
8 | 2666187.6136 | 1239078.3096
9 | 2666197.3063 | 1239081.0361
10 | 2666180.5843 | 1239094.7236
11 | 2666070.4487 | 1239177.49
12 | 2666054.0452 | 1239173.1917
13 | 2666240.0936 | 1239227.8121
14 | 2666224.1377 | 1239239.4978
15 | 2666206.0303 | 1239230.1879
16 | 2666264.3369 | 1239190.9337
17 | 2666271.2164 | 1239197.3811
18 | 2666262.1444 | 1239188.8111
19 | 2666192.6338 | 1239237.3664
20 | 2666274.1327 | 1239200.1142
21 | 2666233.6256 | 1239161.2012
22 | 2666161.4907 | 1239257.8437
23 | 2666286.8436 | 1239212.0266
24 | 2666155.1848 | 1239249.8154
25 | 2666169.3467 | 1239267.1657
26 | 2666144.4354 | 1239238.1293
27 | 2666173.3558 | 1239271.9229
28 | 2666302.459 | 1239226.6611
29 | 2666334.0481 | 1239253.3875
30 | 2666289.1796 | 1239233.9152
31 | 2666325.8506 | 1239275.6376
32 | 2666284.2266 | 1239242.624
33 | 2666196.8974 | 1239344.546
34 | 2666201.5479 | 1239350.653
35 | 2666116.6647 | 1239259.6347
36 | 2666115.1649 | 1239270.4724
37 | 2666119.2398 | 1239243.7081
38 | 2666241.5545 | 1239340.1253
39 | 2666111.0139 | 1239300.4662
40 | 2666128.7626 | 1239211.7591
41 | 2666236.0451 | 1239334.3154
42 | 2666257.4377 | 1239351.5686
43 | 2666125.6181 | 1239302.3478
44 | 2666162.266 | 1239231.0393
45 | 2666107.1553 | 1239202.8764
46 | 2666131.0312 | 1239206.5652
47 | 2666062.048 | 1239212.1504
48 | 2666047.8639 | 1239197.2052
49 | 2666054.2221 | 1239228.0237
50 | 2666082.0334 | 1239188.8235
51 | 2666099.0154 | 1239198.323
52 | 2666249.7842 | 1239313.32
53 | 2666227.7076 | 1239327.2344
54 | 2666206.5005 | 1239307.9167
55 | 2666193.6962 | 1239295.795
56 | 2666205.4151 | 1239285.1541
57 | 2666266.9786 | 1239287.0444
58 | 2666206.6923 | 1239283.8481
59 | 2666278.2119 | 1239271.9101
60 | 2666177.3935 | 1239218.3571
61 | 2666186.6552 | 1239208.9242
62 | 2666149.2639 | 1239176.9146
63 | 2666149.177 | 1239305.3833
64 | 2666279.2356 | 1239270.2846
65 | 2666273.7605 | 1239242.3639
66 | 2666152.0638 | 1239173.8671
67 | 2666161.2036 | 1239164.6441
68 | 2666184.8031 | 1239145.0714
69 | 2666161.0816 | 1239127.9459
70 | 2666189.9083 | 1239141.8924
71 | 2666144.0855 | 1239134.195
72 | 2666204.8265 | 1239133.3199
73 | 2666199.0565 | 1239122.3652
74 | 2666240.9399 | 1239118.6681
75 | 2666197.8159 | 1239120.0098
76 | 2666260.0783 | 1239139.4624
77 | 2666245.6887 | 1239116.742
78 | 2666187.8723 | 1239101.1313
79 | 2666238.6432 | 1239097.6976
80 | 2666037.2839 | 1239185.7348
81 | 2666144.4354 | 1239238.1293

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1