## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4228-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4228-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4228-8_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4228-8_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4228-8_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4228-8_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4228-8_0_2_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_4228-8_0_2_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_4228-8_0_2_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_4228-8_0_2_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_4228-8_0_2_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_4228-8_0_2_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_4228-8_0_2_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_4228-8_0_2_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_4228-8_0_2_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4228-8_0_2_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4228-8_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4228-8_0_2_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4228-8_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4228-8_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4228-8_0_2_node_113 | 0.4 | n |  | TRUE
21 | bus_LV_4228-8_0_2_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_4228-8_0_2_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_4228-8_0_2_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_4228-8_0_2_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_4228-8_0_2_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_4228-8_0_2_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_4228-8_0_2_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_4228-8_0_2_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_4228-8_0_2_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_4228-8_0_2_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_4228-8_0_2_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_4228-8_0_2_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_4228-8_0_2_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_4228-8_0_2_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_4228-8_0_2_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_4228-8_0_2_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_4228-8_0_2_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_4228-8_0_2_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_4228-8_0_2_node_112 | 0.4 | n |  | TRUE
40 | bus_LV_4228-8_0_2_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_4228-8_0_2_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_4228-8_0_2_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_4228-8_0_2_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_4228-8_0_2_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_4228-8_0_2_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_4228-8_0_2_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_4228-8_0_2_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_4228-8_0_2_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_4228-8_0_2_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_4228-8_0_2_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_4228-8_0_2_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_4228-8_0_2_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_4228-8_0_2_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_4228-8_0_2_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_4228-8_0_2_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_4228-8_0_2_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_4228-8_0_2_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_4228-8_0_2_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_4228-8_0_2_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_4228-8_0_2_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_4228-8_0_2_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_4228-8_0_2_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_4228-8_0_2_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_4228-8_0_2_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_4228-8_0_2_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_4228-8_0_2_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_4228-8_0_2_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_4228-8_0_2_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_4228-8_0_2_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_4228-8_0_2_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_4228-8_0_2_node_111 | 0.4 | n |  | TRUE
72 | bus_LV_4228-8_0_2_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_4228-8_0_2_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_4228-8_0_2_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_4228-8_0_2_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_4228-8_0_2_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_4228-8_0_2_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_4228-8_0_2_node_51 | 0.4 | n |  | TRUE
79 | bus_LV_4228-8_0_2_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_4228-8_0_2_node_53 | 0.4 | n |  | TRUE
81 | bus_LV_4228-8_0_2_node_114 | 0.4 | n |  | TRUE
82 | bus_LV_4228-8_0_2_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_4228-8_0_2_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_4228-8_0_2_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_4228-8_0_2_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_4228-8_0_2_node_96 | 0.4 | n |  | TRUE
87 | bus_LV_4228-8_0_2_node_97 | 0.4 | n |  | TRUE
88 | bus_LV_4228-8_0_2_node_98 | 0.4 | n |  | TRUE
89 | bus_LV_4228-8_0_2_node_110 | 0.4 | n |  | TRUE
90 | bus_LV_4228-8_0_2_node_103 | 0.4 | n |  | TRUE
91 | bus_LV_4228-8_0_2_node_109 | 0.4 | n |  | TRUE
92 | bus_LV_4228-8_0_2_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_4228-8_0_2_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_4228-8_0_2_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_4228-8_0_2_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_4228-8_0_2_node_107 | 0.4 | n |  | TRUE
97 | bus_LV_4228-8_0_2_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_4228-8_0_2_node_106 | 0.4 | n |  | TRUE
99 | bus_LV_4228-8_0_2_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_4228-8_0_2_node_88 | 0.4 | n |  | TRUE
101 | bus_LV_4228-8_0_2_node_89 | 0.4 | n |  | TRUE
102 | bus_LV_4228-8_0_2_node_91 | 0.4 | n |  | TRUE
103 | bus_LV_4228-8_0_2_node_92 | 0.4 | n |  | TRUE
104 | bus_LV_4228-8_0_2_node_95 | 0.4 | n |  | TRUE
105 | bus_LV_4228-8_0_2_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_4228-8_0_2_node_108 | 0.4 | n |  | TRUE
107 | bus_LV_4228-8_0_2_node_99 | 0.4 | n |  | TRUE
108 | bus_LV_4228-8_0_2_node_100 | 0.4 | n |  | TRUE
109 | bus_LV_4228-8_0_2_node_101 | 0.4 | n |  | TRUE
110 | bus_LV_4228-8_0_2_node_102 | 0.4 | n |  | TRUE
111 | bus_LV_4228-8_0_2_node_105 | 0.4 | n |  | TRUE
112 | bus_MV_426_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4228-8_0_2_load_0 | 0 | 0.0009122 | 0.00022862 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4228-8_0_2_load_1 | 1 | 0.0013899 | 0.00034834 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4228-8_0_2_load_3 | 3 | 0.002983 | 0.00074762 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4228-8_0_2_load_4 | 4 | 0.0013961 | 0.0003499 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4228-8_0_2_load_5 | 5 | 0.0005559 | 0.00013932 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4228-8_0_2_load_13 | 6 | 0.00083989 | 0.0002105 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4228-8_0_2_load_14 | 9 | 0.0016177 | 0.00040544 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4228-8_0_2_load_18 | 11 | 0.0034032 | 0.00085293 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4228-8_0_2_load_46 | 12 | 0.0012982 | 0.00032536 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4228-8_0_2_load_42 | 13 | 0.0010411 | 0.00026093 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4228-8_0_2_load_6 | 14 | 0.00023579 | 5.9094e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4228-8_0_2_load_9 | 16 | 0.00030065 | 7.5351e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4228-8_0_2_load_11 | 18 | 0.00072482 | 0.00018166 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4228-8_0_2_load_12 | 19 | 0.0032126 | 0.00080514 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4228-8_0_2_load_113 | 20 | 0.0022026 | 0.00055203 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4228-8_0_2_load_56 | 21 | 0.0046422 | 0.0011635 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4228-8_0_2_load_36 | 25 | 0.0011802 | 0.00029579 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4228-8_0_2_load_54 | 27 | 0.0017609 | 0.00044132 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4228-8_0_2_load_57 | 28 | 0.0014872 | 0.00037273 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4228-8_0_2_load_34 | 29 | 0.0021648 | 0.00054254 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4228-8_0_2_load_35 | 30 | 0.00023635 | 5.9235e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4228-8_0_2_load_58 | 31 | 0.0019892 | 0.00049854 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4228-8_0_2_load_15 | 32 | 0.0024493 | 0.00061386 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4228-8_0_2_load_19 | 35 | 0.002093 | 0.00052456 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4228-8_0_2_load_20 | 36 | 0.00188 | 0.00047118 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4228-8_0_2_load_21 | 37 | 0.0016918 | 0.000424 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4228-8_0_2_load_112 | 39 | 0.0024812 | 0.00062185 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4228-8_0_2_load_60 | 42 | 0.0060563 | 0.0015179 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4228-8_0_2_load_55 | 43 | 0.0038305 | 0.00096001 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4228-8_0_2_load_68 | 44 | 0.0012917 | 0.00032374 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4228-8_0_2_load_66 | 45 | 0.0015284 | 0.00038305 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4228-8_0_2_load_24 | 46 | 0.0044076 | 0.0011047 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4228-8_0_2_load_26 | 48 | 0.0011405 | 0.00028583 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4228-8_0_2_load_48 | 50 | 0.0022238 | 0.00055733 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4228-8_0_2_load_47 | 51 | 0.0053289 | 0.0013356 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4228-8_0_2_load_28 | 52 | 0.0015053 | 0.00037727 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4228-8_0_2_load_29 | 53 | 0.0019398 | 0.00048615 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4228-8_0_2_load_30 | 54 | 0.0019933 | 0.00049957 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4228-8_0_2_load_31 | 55 | 0.0019166 | 0.00048036 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4228-8_0_2_load_32 | 56 | 0.0011762 | 0.00029478 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4228-8_0_2_load_63 | 57 | 0.003199 | 0.00080176 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4228-8_0_2_load_38 | 58 | 0.0013837 | 0.00034678 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4228-8_0_2_load_69 | 61 | 0.00070328 | 0.00017626 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4228-8_0_2_load_70 | 62 | 0.00014307 | 3.5858e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4228-8_0_2_load_72 | 63 | 0.00055809 | 0.00013987 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4228-8_0_2_load_74 | 64 | 0.00033212 | 8.3236e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4228-8_0_2_load_75 | 65 | 0.00068887 | 0.00017265 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4228-8_0_2_load_76 | 66 | 0.00010846 | 2.7182e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4228-8_0_2_load_77 | 67 | 0.00024081 | 6.0353e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4228-8_0_2_load_78 | 70 | 0.0038843 | 0.0009735 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4228-8_0_2_load_111 | 71 | 0.0022473 | 0.00056322 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4228-8_0_2_load_79 | 72 | 0.0010027 | 0.0002513 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4228-8_0_2_load_43 | 74 | 0.00095288 | 0.00023881 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4228-8_0_2_load_45 | 75 | 0.00057052 | 0.00014299 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4228-8_0_2_load_49 | 76 | 0.0018816 | 0.00047157 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4228-8_0_2_load_50 | 77 | 0.0012949 | 0.00032452 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4228-8_0_2_load_51 | 78 | 0.001041 | 0.0002609 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4228-8_0_2_load_52 | 79 | 0.0021359 | 0.00053531 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4228-8_0_2_load_53 | 80 | 0.0015578 | 0.00039042 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4228-8_0_2_load_114 | 81 | 0.0045182 | 0.0011324 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4228-8_0_2_load_64 | 83 | 0.0013777 | 0.0003453 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4228-8_0_2_load_96 | 86 | 0.0033423 | 0.00083765 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4228-8_0_2_load_110 | 89 | 0.011353 | 0.0028454 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4228-8_0_2_load_103 | 90 | 0.0016124 | 0.00040411 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4228-8_0_2_load_109 | 91 | 0.0012093 | 0.00030309 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4228-8_0_2_load_82 | 93 | 0.0034367 | 0.00086132 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4228-8_0_2_load_83 | 94 | 0.00154 | 0.00038596 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4228-8_0_2_load_86 | 95 | 0.0016102 | 0.00040354 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4228-8_0_2_load_107 | 96 | 0.0010706 | 0.00026832 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4228-8_0_2_load_93 | 97 | 0.0022099 | 0.00055386 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4228-8_0_2_load_106 | 98 | 0.0018548 | 0.00046486 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4228-8_0_2_load_88 | 100 | 0.0019454 | 0.00048757 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4228-8_0_2_load_89 | 101 | 0.0017694 | 0.00044346 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4228-8_0_2_load_91 | 102 | 0.0010323 | 0.00025872 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4228-8_0_2_load_95 | 104 | 0.0021483 | 0.00053841 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4228-8_0_2_load_94 | 105 | 0.0021889 | 0.00054859 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4228-8_0_2_load_108 | 106 | 0.0015334 | 0.00038431 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4228-8_0_2_load_99 | 107 | 0.0016857 | 0.00042247 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4228-8_0_2_load_100 | 108 | 0.0015781 | 0.0003955 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4228-8_0_2_load_101 | 109 | 0.0015781 | 0.00039551 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4228-8_0_2_load_102 | 110 | 0.0018789 | 0.0004709 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4228-8_0_2_load_105 | 111 | 0.0011242 | 0.00028174 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4228-8_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4228-8_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4228-8_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.027007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4228-8_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4228-8_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4228-8_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.026373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4228-8_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.019178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4228-8_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.025079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4228-8_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0024624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4228-8_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.028809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4228-8_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.018354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4228-8_0_2_line_11 | NAYY 4x150 SE | 8 | 12 | 0.019087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4228-8_0_2_line_12 | NAYY 4x150 SE | 8 | 13 | 0.025657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4228-8_0_2_line_13 | NAYY 4x150 SE | 9 | 31 | 0.011434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4228-8_0_2_line_14 | NAYY 4x150 SE | 10 | 44 | 0.053432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4228-8_0_2_line_15 | NAYY 4x150 SE | 11 | 33 | 0.028816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4228-8_0_2_line_16 | NAYY 4x150 SE | 13 | 74 | 0.013782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4228-8_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.01833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4228-8_0_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.017305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4228-8_0_2_line_19 | NAYY 4x150 SE | 16 | 23 | 0.020091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4228-8_0_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.018615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4228-8_0_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.040246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4228-8_0_2_line_22 | NAYY 4x150 SE | 18 | 26 | 0.02356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4228-8_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.024132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4228-8_0_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.15316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4228-8_0_2_line_25 | NAYY 4x150 SE | 21 | 27 | 0.078341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4228-8_0_2_line_26 | NAYY 4x150 SE | 22 | 60 | 0.04572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4228-8_0_2_line_27 | NAYY 4x150 SE | 23 | 28 | 0.010984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4228-8_0_2_line_28 | NAYY 4x150 SE | 23 | 24 | 0.028163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4228-8_0_2_line_29 | NAYY 4x150 SE | 24 | 25 | 0.0077091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4228-8_0_2_line_30 | NAYY 4x150 SE | 26 | 29 | 0.052119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4228-8_0_2_line_31 | NAYY 4x150 SE | 26 | 30 | 0.040679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4228-8_0_2_line_32 | NAYY 4x150 SE | 27 | 79 | 0.055533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4228-8_0_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.0031239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4228-8_0_2_line_34 | NAYY 4x150 SE | 29 | 60 | 0.10381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4228-8_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4228-8_0_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.017156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_4228-8_0_2_line_37 | NAYY 4x150 SE | 33 | 35 | 0.029769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4228-8_0_2_line_38 | NAYY 4x150 SE | 34 | 36 | 0.025461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_4228-8_0_2_line_39 | NAYY 4x150 SE | 34 | 37 | 0.0017975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4228-8_0_2_line_40 | NAYY 4x150 SE | 35 | 38 | 0.054857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4228-8_0_2_line_41 | NAYY 4x150 SE | 36 | 39 | 0.011957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_4228-8_0_2_line_42 | NAYY 4x150 SE | 37 | 40 | 0.016936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4228-8_0_2_line_43 | NAYY 4x150 SE | 38 | 41 | 0.053471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4228-8_0_2_line_44 | NAYY 4x150 SE | 40 | 42 | 0.021664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4228-8_0_2_line_45 | NAYY 4x150 SE | 40 | 43 | 0.024411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4228-8_0_2_line_46 | NAYY 4x150 SE | 41 | 73 | 0.003888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4228-8_0_2_line_47 | NAYY 4x150 SE | 41 | 81 | 0.034344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4228-8_0_2_line_48 | NAYY 4x150 SE | 42 | 49 | 0.013492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4228-8_0_2_line_49 | NAYY 4x150 SE | 43 | 80 | 0.010602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4228-8_0_2_line_50 | NAYY 4x150 SE | 44 | 45 | 0.022469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4228-8_0_2_line_51 | NAYY 4x150 SE | 45 | 84 | 0.05492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4228-8_0_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.015465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4228-8_0_2_line_53 | NAYY 4x150 SE | 46 | 48 | 0.012982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4228-8_0_2_line_54 | NAYY 4x150 SE | 47 | 49 | 0.004593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4228-8_0_2_line_55 | NAYY 4x150 SE | 49 | 50 | 0.025284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4228-8_0_2_line_56 | NAYY 4x150 SE | 50 | 51 | 0.012939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4228-8_0_2_line_57 | NAYY 4x150 SE | 52 | 53 | 0.0078299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4228-8_0_2_line_58 | NAYY 4x150 SE | 52 | 54 | 0.0099823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4228-8_0_2_line_59 | NAYY 4x150 SE | 53 | 55 | 0.018774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4228-8_0_2_line_60 | NAYY 4x150 SE | 54 | 56 | 0.0069348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4228-8_0_2_line_61 | NAYY 4x150 SE | 55 | 57 | 0.010005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4228-8_0_2_line_62 | NAYY 4x150 SE | 56 | 58 | 0.0081677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4228-8_0_2_line_63 | NAYY 4x150 SE | 58 | 59 | 0.0074562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4228-8_0_2_line_64 | NAYY 4x150 SE | 59 | 68 | 0.053083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4228-8_0_2_line_65 | NAYY 4x150 SE | 60 | 61 | 0.012105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4228-8_0_2_line_66 | NAYY 4x150 SE | 61 | 62 | 0.016321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4228-8_0_2_line_67 | NAYY 4x150 SE | 62 | 63 | 0.021446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4228-8_0_2_line_68 | NAYY 4x150 SE | 63 | 64 | 0.021052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4228-8_0_2_line_69 | NAYY 4x150 SE | 64 | 65 | 0.021938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4228-8_0_2_line_70 | NAYY 4x150 SE | 65 | 66 | 0.0058755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4228-8_0_2_line_71 | NAYY 4x150 SE | 66 | 67 | 0.018428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4228-8_0_2_line_72 | NAYY 4x150 SE | 68 | 71 | 0.024943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4228-8_0_2_line_73 | NAYY 4x150 SE | 68 | 69 | 0.015866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4228-8_0_2_line_74 | NAYY 4x150 SE | 69 | 70 | 0.014249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4228-8_0_2_line_75 | NAYY 4x150 SE | 70 | 72 | 0.031729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4228-8_0_2_line_76 | NAYY 4x150 SE | 71 | 73 | 0.032494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4228-8_0_2_line_77 | NAYY 4x150 SE | 73 | 82 | 0.002544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4228-8_0_2_line_78 | NAYY 4x150 SE | 74 | 75 | 0.0053898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4228-8_0_2_line_79 | NAYY 4x150 SE | 75 | 76 | 0.010563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4228-8_0_2_line_80 | NAYY 4x150 SE | 76 | 77 | 0.0076064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4228-8_0_2_line_81 | NAYY 4x150 SE | 77 | 78 | 0.011443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4228-8_0_2_line_82 | NAYY 4x150 SE | 79 | 80 | 0.014998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4228-8_0_2_line_83 | NAYY 4x150 SE | 82 | 95 | 0.019649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4228-8_0_2_line_84 | NAYY 4x150 SE | 82 | 93 | 0.016443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4228-8_0_2_line_85 | NAYY 4x150 SE | 83 | 84 | 0.024132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4228-8_0_2_line_86 | NAYY 4x150 SE | 85 | 86 | 0.033547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4228-8_0_2_line_87 | NAYY 4x150 SE | 85 | 87 | 0.049139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4228-8_0_2_line_88 | NAYY 4x150 SE | 85 | 88 | 0.027625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4228-8_0_2_line_89 | NAYY 4x150 SE | 86 | 89 | 0.023753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4228-8_0_2_line_90 | NAYY 4x150 SE | 87 | 90 | 0.025633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4228-8_0_2_line_91 | NAYY 4x150 SE | 88 | 91 | 0.020088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4228-8_0_2_line_92 | NAYY 4x150 SE | 88 | 92 | 0.02517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4228-8_0_2_line_93 | NAYY 4x150 SE | 91 | 106 | 0.024919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4228-8_0_2_line_94 | NAYY 4x150 SE | 92 | 96 | 0.013941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4228-8_0_2_line_95 | NAYY 4x150 SE | 92 | 94 | 0.025672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4228-8_0_2_line_96 | NAYY 4x150 SE | 93 | 94 | 0.0071711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4228-8_0_2_line_97 | NAYY 4x150 SE | 95 | 97 | 0.025753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4228-8_0_2_line_98 | NAYY 4x150 SE | 96 | 98 | 0.0075232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4228-8_0_2_line_99 | NAYY 4x150 SE | 97 | 99 | 0.035653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4228-8_0_2_line_100 | NAYY 4x150 SE | 98 | 111 | 0.015482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4228-8_0_2_line_101 | NAYY 4x150 SE | 99 | 103 | 0.050044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4228-8_0_2_line_102 | NAYY 4x150 SE | 99 | 100 | 0.018522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4228-8_0_2_line_103 | NAYY 4x150 SE | 100 | 101 | 0.0033495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4228-8_0_2_line_104 | NAYY 4x150 SE | 101 | 102 | 0.019299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4228-8_0_2_line_105 | NAYY 4x150 SE | 103 | 104 | 0.016745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4228-8_0_2_line_106 | NAYY 4x150 SE | 104 | 105 | 0.0020738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4228-8_0_2_line_107 | NAYY 4x150 SE | 107 | 108 | 0.0079215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4228-8_0_2_line_108 | NAYY 4x150 SE | 107 | 109 | 0.029518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_4228-8_0_2_line_109 | NAYY 4x150 SE | 108 | 110 | 0.017703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4228-8_0_2_line_110 | NAYY 4x150 SE | 110 | 111 | 0.0090917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4228-8_0_2_trafo_112 | 0.25 MVA 20/0.4 kV | 112 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2665695.3436 | 1239245.6541 | 2665690.8153 | 1239258.0659
1 | 2665699.8699 | 1239233.2476 | 2665695.3436 | 1239245.6541
2 | 2665690.8153 | 1239258.0659 | 2665681.5592 | 1239283.4367
3 | 2665699.8699 | 1239233.2476 | 2665691.4071 | 1239227.1992
4 | 2665699.8699 | 1239233.2476 | 2665710.563 | 1239239.1055
5 | 2665681.5592 | 1239283.4367 | 2665676.4854 | 1239297.3436 | 2665667.5527 | 1239304.6954
6 | 2665675.8042 | 1239216.0476 | 2665691.4071 | 1239227.1992
7 | 2665732.5577 | 1239251.1547 | 2665710.563 | 1239239.1055
8 | 2665665.6514 | 1239306.2602 | 2665667.5527 | 1239304.6954
9 | 2665675.8042 | 1239216.0476 | 2665663.4607 | 1239237.2255 | 2665661.2039 | 1239240.903
10 | 2665675.8042 | 1239216.0476 | 2665685.4688 | 1239200.4448
11 | 2665732.5577 | 1239251.1547 | 2665749.3399 | 1239260.2468
12 | 2665732.5577 | 1239251.1547 | 2665723.3822 | 1239275.1151
13 | 2665656.8231 | 1239313.526 | 2665665.6514 | 1239306.2602
14 | 2665661.2039 | 1239240.903 | 2665653.4323 | 1239253.5702 | 2665640.8905 | 1239269.4423 | 2665626.913 | 1239281.3188
15 | 2665702.9668 | 1239177.5886 | 2665688.1644 | 1239196.093 | 2665685.4688 | 1239200.4448
16 | 2665723.3822 | 1239275.1151 | 2665718.4534 | 1239287.9861
17 | 2665664.5846 | 1238752.0317 | 2665675.1827 | 1238766.9873
18 | 2665664.5846 | 1238752.0317 | 2665651.7027 | 1238761.6291 | 2665651.1847 | 1238762.7565
19 | 2665637.2259 | 1238776.6015 | 2665649.0597 | 1238767.3816 | 2665651.1847 | 1238762.7565
20 | 2665701.0116 | 1238803.4359 | 2665684.8149 | 1238812.6104
21 | 2665701.0116 | 1238803.4359 | 2665709.8818 | 1238815.9536 | 2665724.0298 | 1238836.4486
22 | 2665664.3155 | 1238824.222 | 2665684.8149 | 1238812.6104
23 | 2665584.6362 | 1239042.2937 | 2665577.0187 | 1239041.3268 | 2665564.9032 | 1239035.0221 | 2665562.9823 | 1239032.9912
24 | 2665562.9823 | 1239032.9912 | 2665510.4888 | 1238889.1119
25 | 2665642.1816 | 1239087.0576 | 2665633.1774 | 1239078.4499 | 2665628.3367 | 1239068.1784 | 2665619.0649 | 1239055.0671 | 2665607.7394 | 1239045.0352 | 2665600.2558 | 1239043.2624 | 2665592.9466 | 1239042.8147 | 2665585.0779 | 1239042.3498 | 2665584.6362 | 1239042.2937
26 | 2665510.4888 | 1238889.1119 | 2665516.58 | 1238878.6275 | 2665518.8731 | 1238867.5564 | 2665517.2351 | 1238845.3233
27 | 2665637.2259 | 1238776.6015 | 2665642.6568 | 1238786.1484
28 | 2665637.2259 | 1238776.6015 | 2665620.9528 | 1238753.5839
29 | 2665620.9528 | 1238753.5839 | 2665619.3878 | 1238761.1325
30 | 2665664.3155 | 1238824.222 | 2665656.5476 | 1238835.8217 | 2665641.8712 | 1238844.2319 | 2665620.9908 | 1238848.682
31 | 2665664.3155 | 1238824.222 | 2665644.2014 | 1238788.8637
32 | 2665687.5339 | 1239118.3175 | 2665671.0336 | 1239110.579 | 2665653.4754 | 1239097.854 | 2665642.1816 | 1239087.0576
33 | 2665644.2014 | 1238788.8637 | 2665642.6568 | 1238786.1484
34 | 2665620.9908 | 1238848.682 | 2665517.2351 | 1238845.3233
35 | 2665702.9668 | 1239177.5886 | 2665710.1647 | 1239168.4912
36 | 2665720.8094 | 1239155.0374 | 2665710.1647 | 1239168.4912
37 | 2665702.9668 | 1239177.5886 | 2665727.7849 | 1239194.0279
38 | 2665720.8094 | 1239155.0374 | 2665729.8613 | 1239159.2849 | 2665743.8552 | 1239165.8603
39 | 2665720.8094 | 1239155.0374 | 2665721.9245 | 1239153.6276
40 | 2665778.1735 | 1239213.5676 | 2665745.7126 | 1239205.903 | 2665727.7849 | 1239194.0279
41 | 2665754.6768 | 1239170.9452 | 2665743.8552 | 1239165.8603
42 | 2665732.4309 | 1239140.3449 | 2665721.9245 | 1239153.6276
43 | 2665778.1735 | 1239213.5676 | 2665831.3184 | 1239220.739
44 | 2665732.4309 | 1239140.3449 | 2665746.2026 | 1239123.622
45 | 2665732.4309 | 1239140.3449 | 2665710.57 | 1239129.4813
46 | 2665831.3184 | 1239220.739 | 2665835.1853 | 1239221.2377
47 | 2665844.1742 | 1239188.8821 | 2665831.3184 | 1239220.739
48 | 2665754.7794 | 1239113.2072 | 2665746.2026 | 1239123.622
49 | 2665710.57 | 1239129.4813 | 2665701.0754 | 1239124.763
50 | 2665626.913 | 1239281.3188 | 2665619.3441 | 1239287.75 | 2665608.9673 | 1239294.7849
51 | 2665563.5089 | 1239325.6035 | 2665608.9673 | 1239294.7849
52 | 2665757.648 | 1239109.6143 | 2665748.1749 | 1239101.0481 | 2665746.0832 | 1239099.3514
53 | 2665736.0009 | 1239091.1733 | 2665746.0832 | 1239099.3514
54 | 2665757.648 | 1239109.6143 | 2665754.7794 | 1239113.2072
55 | 2665754.7794 | 1239113.2072 | 2665759.8333 | 1239118.5446 | 2665763.8191 | 1239123.3475 | 2665767.4756 | 1239125.1003 | 2665772.3491 | 1239127.6004 | 2665774.4773 | 1239127.2341
56 | 2665786.9337 | 1239126.7015 | 2665782.4195 | 1239125.2659 | 2665778.3585 | 1239126.5662 | 2665774.4773 | 1239127.2341
57 | 2665809.5162 | 1239158.1486 | 2665806.4651 | 1239165.3596
58 | 2665812.9831 | 1239148.7902 | 2665810.2253 | 1239156.4728 | 2665809.5162 | 1239158.1486
59 | 2665799.1492 | 1239182.65 | 2665806.4651 | 1239165.3596
60 | 2665812.9831 | 1239148.7902 | 2665815.3262 | 1239142.2632
61 | 2665795.2504 | 1239191.8642 | 2665799.1492 | 1239182.65
62 | 2665819.284 | 1239135.2737 | 2665816.7968 | 1239138.1665 | 2665815.3262 | 1239142.2632
63 | 2665824.1451 | 1239129.6199 | 2665819.284 | 1239135.2737
64 | 2665824.1451 | 1239129.6199 | 2665826.8054 | 1239135.9426 | 2665830.3087 | 1239139.9174 | 2665859.0906 | 1239169.0118
65 | 2665517.2351 | 1238845.3233 | 2665511.3171 | 1238845.5916 | 2665505.3439 | 1238844.0024
66 | 2665505.3439 | 1238844.0024 | 2665499.0122 | 1238838.5845 | 2665495.0343 | 1238831.6582
67 | 2665484.8902 | 1238812.9835 | 2665489.5496 | 1238818.7001 | 2665495.0343 | 1238831.6582
68 | 2665484.8902 | 1238812.9835 | 2665482.6911 | 1238810.2854 | 2665475.7418 | 1238804.6161 | 2665467.715 | 1238801.5225
69 | 2665446.0619 | 1238798.2372 | 2665456.8927 | 1238799.7718 | 2665466.3569 | 1238800.9991 | 2665467.715 | 1238801.5225
70 | 2665440.4135 | 1238796.7175 | 2665443.8727 | 1238797.9271 | 2665446.0619 | 1238798.2372
71 | 2665440.4135 | 1238796.7175 | 2665430.7392 | 1238793.3348 | 2665423.4877 | 1238789.5515
72 | 2665859.0906 | 1239169.0118 | 2665848.7092 | 1239191.6921
73 | 2665859.0906 | 1239169.0118 | 2665860.7137 | 1239170.6531 | 2665868.5019 | 1239181.7692
74 | 2665868.5019 | 1239181.7692 | 2665876.1406 | 1239193.7977
75 | 2665876.1406 | 1239193.7977 | 2665893.1498 | 1239220.5818
76 | 2665835.1853 | 1239221.2377 | 2665848.7092 | 1239191.6921
77 | 2665837.7155 | 1239221.566 | 2665835.1853 | 1239221.2377
78 | 2665718.4534 | 1239287.9861 | 2665716.5259 | 1239293.0195
79 | 2665716.5259 | 1239293.0195 | 2665712.7485 | 1239302.8836
80 | 2665710.0283 | 1239309.987 | 2665712.7485 | 1239302.8836
81 | 2665710.0283 | 1239309.987 | 2665705.9363 | 1239320.6728
82 | 2665687.5339 | 1239118.3175 | 2665697.6932 | 1239123.0822 | 2665701.0754 | 1239124.763
83 | 2665837.7155 | 1239221.566 | 2665829.8317 | 1239239.5643
84 | 2665837.7155 | 1239221.566 | 2665852.1938 | 1239229.3606
85 | 2665563.5089 | 1239325.6035 | 2665573.859 | 1239335.5578 | 2665578.0245 | 1239342.5752 | 2665578.444 | 1239344.131
86 | 2665915.5516 | 1239261.7454 | 2665930.0327 | 1239231.4844
87 | 2665915.5516 | 1239261.7454 | 2665919.2105 | 1239268.7129 | 2665954.3519 | 1239290.351
88 | 2665901.859 | 1239259.2695 | 2665919.2105 | 1239268.7129 | 2665915.5516 | 1239261.7454
89 | 2665940.7079 | 1239210.285 | 2665938.0611 | 1239214.7078 | 2665930.0327 | 1239231.4844
90 | 2665954.3519 | 1239290.351 | 2665962.173 | 1239278.0518 | 2665964.4895 | 1239270.3834 | 2665964.4224 | 1239267.3375
91 | 2665901.859 | 1239259.2695 | 2665894.4678 | 1239277.9487
92 | 2665881.1127 | 1239244.9297 | 2665901.859 | 1239259.2695
93 | 2665885.2994 | 1239301.1195 | 2665894.4678 | 1239277.9487
94 | 2665881.1127 | 1239244.9297 | 2665875.9459 | 1239257.8777
95 | 2665881.1127 | 1239244.9297 | 2665858.508 | 1239232.76
96 | 2665852.1938 | 1239229.3606 | 2665858.508 | 1239232.76
97 | 2665829.8317 | 1239239.5643 | 2665819.4988 | 1239263.1538
98 | 2665873.1576 | 1239264.8651 | 2665875.9459 | 1239257.8777
99 | 2665805.1937 | 1239295.8115 | 2665819.4988 | 1239263.1538
100 | 2665873.1576 | 1239264.8651 | 2665867.4195 | 1239279.2445
101 | 2665805.1937 | 1239295.8115 | 2665785.5555 | 1239341.8585
102 | 2665805.1937 | 1239295.8115 | 2665822.2576 | 1239303.015
103 | 2665822.2576 | 1239303.015 | 2665825.3434 | 1239304.3176
104 | 2665825.3434 | 1239304.3176 | 2665839.221 | 1239310.1761 | 2665837.5899 | 1239314.0844
105 | 2665785.5555 | 1239341.8585 | 2665800.8099 | 1239348.7654
106 | 2665802.6991 | 1239349.6208 | 2665800.8099 | 1239348.7654
107 | 2665854.5529 | 1239311.488 | 2665857.4888 | 1239304.1307
108 | 2665854.5529 | 1239311.488 | 2665843.6129 | 1239338.9035
109 | 2665864.0499 | 1239287.6888 | 2665857.4888 | 1239304.1307
110 | 2665864.0499 | 1239287.6888 | 2665867.4195 | 1239279.2445

## bus_geodata
| x | y | coords
0 | 2665695.3436 | 1239245.6541
1 | 2665690.8153 | 1239258.0659
2 | 2665699.8699 | 1239233.2476
3 | 2665681.5592 | 1239283.4367
4 | 2665691.4071 | 1239227.1992
5 | 2665710.563 | 1239239.1055
6 | 2665667.5527 | 1239304.6954
7 | 2665675.8042 | 1239216.0476
8 | 2665732.5577 | 1239251.1547
9 | 2665665.6514 | 1239306.2602
10 | 2665661.2039 | 1239240.903
11 | 2665685.4688 | 1239200.4448
12 | 2665749.3399 | 1239260.2468
13 | 2665723.3822 | 1239275.1151
14 | 2665675.1827 | 1238766.9873
15 | 2665664.5846 | 1238752.0317
16 | 2665651.1847 | 1238762.7565
17 | 2665701.0116 | 1238803.4359
18 | 2665684.8149 | 1238812.6104
19 | 2665724.0298 | 1238836.4486
20 | 2665562.9823 | 1239032.9912
21 | 2665584.6362 | 1239042.2937
22 | 2665510.4888 | 1238889.1119
23 | 2665637.2259 | 1238776.6015
24 | 2665620.9528 | 1238753.5839
25 | 2665619.3878 | 1238761.1325
26 | 2665664.3155 | 1238824.222
27 | 2665642.1816 | 1239087.0576
28 | 2665642.6568 | 1238786.1484
29 | 2665620.9908 | 1238848.682
30 | 2665644.2014 | 1238788.8637
31 | 2665656.8231 | 1239313.526
32 | 2665710.1647 | 1239168.4912
33 | 2665702.9668 | 1239177.5886
34 | 2665720.8094 | 1239155.0374
35 | 2665727.7849 | 1239194.0279
36 | 2665743.8552 | 1239165.8603
37 | 2665721.9245 | 1239153.6276
38 | 2665778.1735 | 1239213.5676
39 | 2665754.6768 | 1239170.9452
40 | 2665732.4309 | 1239140.3449
41 | 2665831.3184 | 1239220.739
42 | 2665746.2026 | 1239123.622
43 | 2665710.57 | 1239129.4813
44 | 2665626.913 | 1239281.3188
45 | 2665608.9673 | 1239294.7849
46 | 2665746.0832 | 1239099.3514
47 | 2665757.648 | 1239109.6143
48 | 2665736.0009 | 1239091.1733
49 | 2665754.7794 | 1239113.2072
50 | 2665774.4773 | 1239127.2341
51 | 2665786.9337 | 1239126.7015
52 | 2665809.5162 | 1239158.1486
53 | 2665806.4651 | 1239165.3596
54 | 2665812.9831 | 1239148.7902
55 | 2665799.1492 | 1239182.65
56 | 2665815.3262 | 1239142.2632
57 | 2665795.2504 | 1239191.8642
58 | 2665819.284 | 1239135.2737
59 | 2665824.1451 | 1239129.6199
60 | 2665517.2351 | 1238845.3233
61 | 2665505.3439 | 1238844.0024
62 | 2665495.0343 | 1238831.6582
63 | 2665484.8902 | 1238812.9835
64 | 2665467.715 | 1238801.5225
65 | 2665446.0619 | 1238798.2372
66 | 2665440.4135 | 1238796.7175
67 | 2665423.4877 | 1238789.5515
68 | 2665859.0906 | 1239169.0118
69 | 2665868.5019 | 1239181.7692
70 | 2665876.1406 | 1239193.7977
71 | 2665848.7092 | 1239191.6921
72 | 2665893.1498 | 1239220.5818
73 | 2665835.1853 | 1239221.2377
74 | 2665718.4534 | 1239287.9861
75 | 2665716.5259 | 1239293.0195
76 | 2665712.7485 | 1239302.8836
77 | 2665710.0283 | 1239309.987
78 | 2665705.9363 | 1239320.6728
79 | 2665687.5339 | 1239118.3175
80 | 2665701.0754 | 1239124.763
81 | 2665844.1742 | 1239188.8821
82 | 2665837.7155 | 1239221.566
83 | 2665578.444 | 1239344.131
84 | 2665563.5089 | 1239325.6035
85 | 2665915.5516 | 1239261.7454
86 | 2665930.0327 | 1239231.4844
87 | 2665954.3519 | 1239290.351
88 | 2665901.859 | 1239259.2695
89 | 2665940.7079 | 1239210.285
90 | 2665964.4224 | 1239267.3375
91 | 2665894.4678 | 1239277.9487
92 | 2665881.1127 | 1239244.9297
93 | 2665852.1938 | 1239229.3606
94 | 2665858.508 | 1239232.76
95 | 2665829.8317 | 1239239.5643
96 | 2665875.9459 | 1239257.8777
97 | 2665819.4988 | 1239263.1538
98 | 2665873.1576 | 1239264.8651
99 | 2665805.1937 | 1239295.8115
100 | 2665822.2576 | 1239303.015
101 | 2665825.3434 | 1239304.3176
102 | 2665837.5899 | 1239314.0844
103 | 2665785.5555 | 1239341.8585
104 | 2665800.8099 | 1239348.7654
105 | 2665802.6991 | 1239349.6208
106 | 2665885.2994 | 1239301.1195
107 | 2665854.5529 | 1239311.488
108 | 2665857.4888 | 1239304.1307
109 | 2665843.6129 | 1239338.9035
110 | 2665864.0499 | 1239287.6888
111 | 2665867.4195 | 1239279.2445
112 | 2665720.8094 | 1239155.0374

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1