## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4230-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4230-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4230-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4230-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4230-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4230-2_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4230-2_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_4230-2_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4230-2_0_4_node_99 | 0.4 | n |  | TRUE
9 | bus_LV_4230-2_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_4230-2_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4230-2_0_4_node_100 | 0.4 | n |  | TRUE
12 | bus_LV_4230-2_0_4_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_4230-2_0_4_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_4230-2_0_4_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_4230-2_0_4_node_97 | 0.4 | n |  | TRUE
16 | bus_LV_4230-2_0_4_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_4230-2_0_4_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_4230-2_0_4_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_4230-2_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4230-2_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4230-2_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4230-2_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4230-2_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_4230-2_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_4230-2_0_4_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_4230-2_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_4230-2_0_4_node_73 | 0.4 | n |  | TRUE
28 | bus_LV_4230-2_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_4230-2_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_4230-2_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4230-2_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4230-2_0_4_node_93 | 0.4 | n |  | TRUE
33 | bus_LV_4230-2_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_4230-2_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_4230-2_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_4230-2_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_4230-2_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_4230-2_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4230-2_0_4_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_4230-2_0_4_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_4230-2_0_4_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_4230-2_0_4_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_4230-2_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_4230-2_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_4230-2_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_4230-2_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_4230-2_0_4_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_4230-2_0_4_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_4230-2_0_4_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_4230-2_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4230-2_0_4_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_4230-2_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_4230-2_0_4_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_4230-2_0_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_4230-2_0_4_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_4230-2_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_4230-2_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_4230-2_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_4230-2_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_4230-2_0_4_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_4230-2_0_4_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_4230-2_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_4230-2_0_4_node_96 | 0.4 | n |  | TRUE
64 | bus_LV_4230-2_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_4230-2_0_4_node_88 | 0.4 | n |  | TRUE
66 | bus_LV_4230-2_0_4_node_94 | 0.4 | n |  | TRUE
67 | bus_LV_4230-2_0_4_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_4230-2_0_4_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_4230-2_0_4_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_4230-2_0_4_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_4230-2_0_4_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_4230-2_0_4_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_4230-2_0_4_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_4230-2_0_4_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_4230-2_0_4_node_47 | 0.4 | n |  | TRUE
76 | bus_LV_4230-2_0_4_node_48 | 0.4 | n |  | TRUE
77 | bus_LV_4230-2_0_4_node_92 | 0.4 | n |  | TRUE
78 | bus_LV_4230-2_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_4230-2_0_4_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_4230-2_0_4_node_50 | 0.4 | n |  | TRUE
81 | bus_LV_4230-2_0_4_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_4230-2_0_4_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_4230-2_0_4_node_54 | 0.4 | n |  | TRUE
84 | bus_LV_4230-2_0_4_node_55 | 0.4 | n |  | TRUE
85 | bus_LV_4230-2_0_4_node_56 | 0.4 | n |  | TRUE
86 | bus_LV_4230-2_0_4_node_57 | 0.4 | n |  | TRUE
87 | bus_LV_4230-2_0_4_node_58 | 0.4 | n |  | TRUE
88 | bus_LV_4230-2_0_4_node_59 | 0.4 | n |  | TRUE
89 | bus_LV_4230-2_0_4_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_4230-2_0_4_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_4230-2_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_4230-2_0_4_node_67 | 0.4 | n |  | TRUE
93 | bus_LV_4230-2_0_4_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_4230-2_0_4_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_4230-2_0_4_node_107 | 0.4 | n |  | TRUE
96 | bus_LV_4230-2_0_4_node_104 | 0.4 | n |  | TRUE
97 | bus_LV_4230-2_0_4_node_105 | 0.4 | n |  | TRUE
98 | bus_LV_4230-2_0_4_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_4230-2_0_4_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_4230-2_0_4_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_4230-2_0_4_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_4230-2_0_4_node_103 | 0.4 | n |  | TRUE
103 | bus_MV_350_1_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4230-2_0_4_load_0 | 0 | 0.0085017 | 0.0021307 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4230-2_0_4_load_1 | 1 | 0.0046533 | 0.0011662 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4230-2_0_4_load_3 | 3 | 0.0038744 | 0.00097102 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4230-2_0_4_load_4 | 4 | 0.0031299 | 0.00078442 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4230-2_0_4_load_5 | 5 | 0.0028296 | 0.00070918 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4230-2_0_4_load_8 | 6 | 0.0044709 | 0.0011205 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4230-2_0_4_load_99 | 8 | 0.0025911 | 0.00064939 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4230-2_0_4_load_9 | 9 | 0.0027372 | 0.000686 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4230-2_0_4_load_100 | 11 | 0.0022308 | 0.0005591 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4230-2_0_4_load_64 | 13 | 0.0012184 | 0.00030535 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4230-2_0_4_load_75 | 14 | 0.0027834 | 0.00069759 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4230-2_0_4_load_83 | 17 | 0.002222 | 0.00055688 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4230-2_0_4_load_82 | 18 | 0.0043419 | 0.0010882 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4230-2_0_4_load_10 | 19 | 0.0023621 | 0.000592 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4230-2_0_4_load_11 | 20 | 0.0017519 | 0.00043907 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4230-2_0_4_load_12 | 21 | 0.0022676 | 0.00056832 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4230-2_0_4_load_13 | 22 | 0.0015861 | 0.00039751 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4230-2_0_4_load_14 | 23 | 0.0016311 | 0.0004088 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4230-2_0_4_load_37 | 24 | 0.0013872 | 0.00034767 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4230-2_0_4_load_72 | 25 | 0.0025551 | 0.00064037 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4230-2_0_4_load_38 | 26 | 0.0015228 | 0.00038164 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4230-2_0_4_load_73 | 27 | 0.0024105 | 0.00060412 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4230-2_0_4_load_15 | 28 | 0.0017298 | 0.00043353 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4230-2_0_4_load_16 | 29 | 0.0020998 | 0.00052626 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4230-2_0_4_load_17 | 30 | 0.0044103 | 0.0011053 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4230-2_0_4_load_93 | 32 | 0.0036237 | 0.0009082 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4230-2_0_4_load_28 | 34 | 0.001637 | 0.00041028 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4230-2_0_4_load_19 | 35 | 0.0011953 | 0.00029957 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4230-2_0_4_load_76 | 39 | 0.0018844 | 0.00047228 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4230-2_0_4_load_49 | 40 | 0.0052835 | 0.0013242 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4230-2_0_4_load_23 | 42 | 0.0042493 | 0.001065 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4230-2_0_4_load_24 | 43 | 0.0040526 | 0.0010157 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4230-2_0_4_load_26 | 45 | 0.0065294 | 0.0016364 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4230-2_0_4_load_27 | 46 | 0.0041603 | 0.0010427 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4230-2_0_4_load_81 | 47 | 0.0044918 | 0.0011257 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4230-2_0_4_load_98 | 48 | 0.0045033 | 0.0011286 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4230-2_0_4_load_80 | 49 | 0.0044311 | 0.0011105 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4230-2_0_4_load_42 | 50 | 0.003958 | 0.00099197 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4230-2_0_4_load_29 | 51 | 0.0014386 | 0.00036054 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4230-2_0_4_load_31 | 52 | 0.0096051 | 0.0024073 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4230-2_0_4_load_62 | 54 | 0.011177 | 0.0028011 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4230-2_0_4_load_63 | 55 | 0.0049791 | 0.0012479 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4230-2_0_4_load_60 | 56 | 0.00067488 | 0.00016914 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4230-2_0_4_load_32 | 57 | 0.00106 | 0.00026566 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4230-2_0_4_load_33 | 58 | 0.0013785 | 0.00034549 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4230-2_0_4_load_34 | 59 | 0.0011842 | 0.00029678 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4230-2_0_4_load_35 | 60 | 0.0011065 | 0.00027731 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4230-2_0_4_load_52 | 62 | 0.0010136 | 0.00025404 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4230-2_0_4_load_53 | 64 | 0.0011548 | 0.00028942 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4230-2_0_4_load_88 | 65 | 0.0016378 | 0.00041047 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4230-2_0_4_load_94 | 66 | 0.001328 | 0.00033284 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4230-2_0_4_load_87 | 67 | 0.0035405 | 0.00088734 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4230-2_0_4_load_39 | 68 | 0.0028271 | 0.00070854 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4230-2_0_4_load_40 | 69 | 0.002398 | 0.000601 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4230-2_0_4_load_41 | 70 | 0.0024559 | 0.00061551 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4230-2_0_4_load_43 | 71 | 0.0018843 | 0.00047225 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4230-2_0_4_load_44 | 72 | 0.0019082 | 0.00047823 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4230-2_0_4_load_45 | 73 | 0.0031043 | 0.000778 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4230-2_0_4_load_46 | 74 | 0.0020594 | 0.00051612 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4230-2_0_4_load_47 | 75 | 0.0013252 | 0.00033212 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4230-2_0_4_load_48 | 76 | 0.0066767 | 0.0016733 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4230-2_0_4_load_92 | 77 | 0.0031151 | 0.00078071 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4230-2_0_4_load_74 | 78 | 0.0066391 | 0.0016639 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4230-2_0_4_load_68 | 79 | 0.0029053 | 0.00072813 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4230-2_0_4_load_50 | 80 | 0.001189 | 0.000298 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4230-2_0_4_load_91 | 81 | 0.0029141 | 0.00073035 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4230-2_0_4_load_90 | 82 | 0.0013034 | 0.00032665 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4230-2_0_4_load_54 | 83 | 0.0024 | 0.00060149 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4230-2_0_4_load_55 | 84 | 0.001696 | 0.00042505 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4230-2_0_4_load_56 | 85 | 0.0030883 | 0.000774 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4230-2_0_4_load_57 | 86 | 0.0021291 | 0.0005336 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4230-2_0_4_load_58 | 87 | 0.0021644 | 0.00054245 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4230-2_0_4_load_59 | 88 | 0.0021902 | 0.00054892 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4230-2_0_4_load_84 | 89 | 0.0024971 | 0.00062583 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4230-2_0_4_load_85 | 90 | 0.0016247 | 0.00040718 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4230-2_0_4_load_86 | 91 | 0.0020511 | 0.00051406 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4230-2_0_4_load_67 | 92 | 0.0022929 | 0.00057466 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4230-2_0_4_load_95 | 93 | 0.0013298 | 0.00033328 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4230-2_0_4_load_107 | 95 | 0.003528 | 0.0008842 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4230-2_0_4_load_104 | 96 | 0.00093295 | 0.00023382 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4230-2_0_4_load_79 | 98 | 0.0014205 | 0.00035602 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4230-2_0_4_load_89 | 99 | 0.0018371 | 0.00046041 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4230-2_0_4_load_101 | 100 | 0.0011657 | 0.00029216 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4230-2_0_4_load_103 | 102 | 0.001619 | 0.00040577 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4230-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0029653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4230-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4230-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.024848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4230-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.012445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_4230-2_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.03153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4230-2_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.011238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4230-2_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.017628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_4230-2_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0049286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4230-2_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.013941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4230-2_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.025289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_4230-2_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.010888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4230-2_0_4_line_11 | NAYY 4x150 SE | 9 | 17 | 0.0017167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4230-2_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.022305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_4230-2_0_4_line_13 | NAYY 4x150 SE | 10 | 13 | 0.013445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4230-2_0_4_line_14 | NAYY 4x150 SE | 11 | 100 | 0.017969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4230-2_0_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.01688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4230-2_0_4_line_16 | NAYY 4x150 SE | 12 | 15 | 0.014487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_4230-2_0_4_line_17 | NAYY 4x150 SE | 13 | 16 | 0.015114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4230-2_0_4_line_18 | NAYY 4x150 SE | 14 | 78 | 0.0059526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4230-2_0_4_line_19 | NAYY 4x150 SE | 15 | 93 | 0.024257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4230-2_0_4_line_20 | NAYY 4x150 SE | 15 | 89 | 0.036043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_4230-2_0_4_line_21 | NAYY 4x150 SE | 16 | 92 | 0.010511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4230-2_0_4_line_22 | NAYY 4x150 SE | 17 | 18 | 0.01239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4230-2_0_4_line_23 | NAYY 4x150 SE | 18 | 49 | 0.010065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4230-2_0_4_line_24 | NAYY 4x150 SE | 19 | 20 | 0.030633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4230-2_0_4_line_25 | NAYY 4x150 SE | 19 | 21 | 0.022517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4230-2_0_4_line_26 | NAYY 4x150 SE | 20 | 22 | 0.0062285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4230-2_0_4_line_27 | NAYY 4x150 SE | 21 | 23 | 0.0069446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4230-2_0_4_line_28 | NAYY 4x150 SE | 22 | 24 | 0.010307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4230-2_0_4_line_29 | NAYY 4x150 SE | 23 | 25 | 0.019319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4230-2_0_4_line_30 | NAYY 4x150 SE | 24 | 26 | 0.010402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4230-2_0_4_line_31 | NAYY 4x150 SE | 25 | 27 | 0.018199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4230-2_0_4_line_32 | NAYY 4x150 SE | 27 | 71 | 0.029813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4230-2_0_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.0024078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4230-2_0_4_line_34 | NAYY 4x150 SE | 28 | 30 | 0.020614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4230-2_0_4_line_35 | NAYY 4x150 SE | 30 | 31 | 0.028528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4230-2_0_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.027865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4230-2_0_4_line_37 | NAYY 4x150 SE | 31 | 33 | 0.02752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4230-2_0_4_line_38 | NAYY 4x150 SE | 33 | 34 | 0.026735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4230-2_0_4_line_39 | NAYY 4x150 SE | 34 | 51 | 0.034415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4230-2_0_4_line_40 | NAYY 4x150 SE | 35 | 36 | 0.050825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4230-2_0_4_line_41 | NAYY 4x150 SE | 36 | 37 | 0.033257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4230-2_0_4_line_42 | NAYY 4x150 SE | 36 | 38 | 0.038641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4230-2_0_4_line_43 | NAYY 4x150 SE | 37 | 39 | 0.060418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4230-2_0_4_line_44 | NAYY 4x150 SE | 38 | 40 | 0.033079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4230-2_0_4_line_45 | NAYY 4x150 SE | 39 | 41 | 0.019811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4230-2_0_4_line_46 | NAYY 4x150 SE | 41 | 98 | 0.026621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4230-2_0_4_line_47 | NAYY 4x150 SE | 41 | 94 | 0.044057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4230-2_0_4_line_48 | NAYY 4x150 SE | 42 | 43 | 0.0010277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4230-2_0_4_line_49 | NAYY 4x150 SE | 42 | 44 | 0.017658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4230-2_0_4_line_50 | NAYY 4x150 SE | 44 | 45 | 0.034438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4230-2_0_4_line_51 | NAYY 4x150 SE | 44 | 46 | 0.012669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4230-2_0_4_line_52 | NAYY 4x150 SE | 45 | 47 | 0.0014313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4230-2_0_4_line_53 | NAYY 4x150 SE | 46 | 48 | 0.011979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4230-2_0_4_line_54 | NAYY 4x150 SE | 47 | 49 | 0.016137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4230-2_0_4_line_55 | NAYY 4x150 SE | 48 | 50 | 0.0094953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4230-2_0_4_line_56 | NAYY 4x150 SE | 50 | 69 | 0.01517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4230-2_0_4_line_57 | NAYY 4x150 SE | 51 | 52 | 0.029821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4230-2_0_4_line_58 | NAYY 4x150 SE | 52 | 53 | 0.068441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4230-2_0_4_line_59 | NAYY 4x150 SE | 53 | 54 | 0.046516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4230-2_0_4_line_60 | NAYY 4x150 SE | 53 | 55 | 0.031244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4230-2_0_4_line_61 | NAYY 4x150 SE | 53 | 56 | 0.028775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4230-2_0_4_line_62 | NAYY 4x150 SE | 54 | 81 | 0.002521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4230-2_0_4_line_63 | NAYY 4x150 SE | 55 | 61 | 0.010136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4230-2_0_4_line_64 | NAYY 4x150 SE | 57 | 58 | 0.0043917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4230-2_0_4_line_65 | NAYY 4x150 SE | 57 | 59 | 0.0072459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4230-2_0_4_line_66 | NAYY 4x150 SE | 58 | 60 | 0.020903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4230-2_0_4_line_67 | NAYY 4x150 SE | 59 | 61 | 0.015266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4230-2_0_4_line_68 | NAYY 4x150 SE | 60 | 62 | 0.013839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4230-2_0_4_line_69 | NAYY 4x150 SE | 61 | 63 | 0.022865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4230-2_0_4_line_70 | NAYY 4x150 SE | 62 | 64 | 0.0044772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4230-2_0_4_line_71 | NAYY 4x150 SE | 63 | 65 | 0.012248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4230-2_0_4_line_72 | NAYY 4x150 SE | 63 | 66 | 0.0035936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4230-2_0_4_line_73 | NAYY 4x150 SE | 64 | 83 | 0.0048426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4230-2_0_4_line_74 | NAYY 4x150 SE | 65 | 67 | 0.011416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4230-2_0_4_line_75 | NAYY 4x150 SE | 66 | 93 | 0.022513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4230-2_0_4_line_76 | NAYY 4x150 SE | 68 | 69 | 0.007078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4230-2_0_4_line_77 | NAYY 4x150 SE | 68 | 70 | 0.024354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4230-2_0_4_line_78 | NAYY 4x150 SE | 70 | 71 | 0.0012054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4230-2_0_4_line_79 | NAYY 4x150 SE | 72 | 73 | 0.0055309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4230-2_0_4_line_80 | NAYY 4x150 SE | 72 | 74 | 0.0081868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4230-2_0_4_line_81 | NAYY 4x150 SE | 73 | 75 | 0.010718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4230-2_0_4_line_82 | NAYY 4x150 SE | 74 | 76 | 0.016769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4230-2_0_4_line_83 | NAYY 4x150 SE | 75 | 77 | 0.0060564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4230-2_0_4_line_84 | NAYY 4x150 SE | 76 | 78 | 0.047724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4230-2_0_4_line_85 | NAYY 4x150 SE | 76 | 79 | 0.068454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4230-2_0_4_line_86 | NAYY 4x150 SE | 80 | 81 | 0.077227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4230-2_0_4_line_87 | NAYY 4x150 SE | 81 | 82 | 0.039896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4230-2_0_4_line_88 | NAYY 4x150 SE | 82 | 99 | 0.013041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4230-2_0_4_line_89 | NAYY 4x150 SE | 84 | 85 | 0.02256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4230-2_0_4_line_90 | NAYY 4x150 SE | 84 | 86 | 0.00093563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4230-2_0_4_line_91 | NAYY 4x150 SE | 85 | 87 | 0.00057287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4230-2_0_4_line_92 | NAYY 4x150 SE | 86 | 88 | 0.012278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4230-2_0_4_line_93 | NAYY 4x150 SE | 87 | 89 | 0.023268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4230-2_0_4_line_94 | NAYY 4x150 SE | 88 | 90 | 0.014419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4230-2_0_4_line_95 | NAYY 4x150 SE | 90 | 91 | 0.0025845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4230-2_0_4_line_96 | NAYY 4x150 SE | 94 | 95 | 0.069375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4230-2_0_4_line_97 | NAYY 4x150 SE | 96 | 97 | 0.02507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4230-2_0_4_line_98 | NAYY 4x150 SE | 97 | 100 | 0.073838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4230-2_0_4_line_99 | NAYY 4x150 SE | 98 | 99 | 0.037194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4230-2_0_4_line_100 | NAYY 4x150 SE | 100 | 101 | 0.0085653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4230-2_0_4_line_101 | NAYY 4x150 SE | 101 | 102 | 0.015144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4230-2_0_4_trafo_84 | 0.25 MVA 20/0.4 kV | 103 | 89 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2666137.1464 | 1235456.1746 | 2666138.5699 | 1235453.5733
1 | 2666130.9068 | 1235466.3266 | 2666134.8404 | 1235460.3886 | 2666137.1464 | 1235456.1746
2 | 2666150.228 | 1235431.6574 | 2666149.6811 | 1235433.2689 | 2666138.5699 | 1235453.5733
3 | 2666130.9068 | 1235466.3266 | 2666132.0009 | 1235473.4213 | 2666133.1658 | 1235478.5569
4 | 2666130.9068 | 1235466.3266 | 2666122.5754 | 1235465.5333 | 2666113.3643 | 1235460.8166 | 2666102.2802 | 1235454.3899
5 | 2666150.228 | 1235431.6574 | 2666153.8395 | 1235421.0155
6 | 2666137.0653 | 1235495.7481 | 2666133.1658 | 1235478.5569
7 | 2666102.2802 | 1235454.3899 | 2666098.0164 | 1235451.9177 | 2666098.0164 | 1235451.9177
8 | 2666153.8395 | 1235421.0155 | 2666156.7707 | 1235412.3783 | 2666157.242 | 1235407.5819
9 | 2666137.0653 | 1235495.7481 | 2666149.5508 | 1235494.5752 | 2666157.3131 | 1235494.8284 | 2666162.2906 | 1235495.7177
10 | 2666090.1644 | 1235444.3912 | 2666091.2217 | 1235445.6491 | 2666098.0164 | 1235451.9177
11 | 2666157.4099 | 1235405.8735 | 2666157.242 | 1235407.5819
12 | 2666184.3162 | 1235499.6211 | 2666162.2906 | 1235495.7177
13 | 2666162.2906 | 1235495.7177 | 2666159.877 | 1235508.9447
14 | 2666090.1644 | 1235444.3912 | 2666084.4768 | 1235437.6243 | 2666081.642 | 1235428.9458
15 | 2666184.3162 | 1235499.6211 | 2666178.7185 | 1235515.5463
16 | 2666184.3162 | 1235499.6211 | 2666198.1626 | 1235504.0116
17 | 2666159.4644 | 1235523.8718 | 2666158.5023 | 1235516.4783 | 2666159.877 | 1235508.9447
18 | 2666176.7445 | 1235521.1621 | 2666178.7185 | 1235515.5463
19 | 2666198.1626 | 1235504.0116 | 2666214.5703 | 1235511.4994 | 2666220.0356 | 1235514.4726
20 | 2666198.1626 | 1235504.0116 | 2666203.7746 | 1235483.9718 | 2666207.9655 | 1235469.3278
21 | 2666159.4644 | 1235523.8718 | 2666160.8241 | 1235534.2939
22 | 2666157.4099 | 1235405.8735 | 2666158.2048 | 1235397.7845 | 2666158.9012 | 1235393.5798
23 | 2666160.5461 | 1235383.6499 | 2666158.9012 | 1235393.5798
24 | 2666275.4309 | 1235411.1645 | 2666268.5215 | 1235437.1398 | 2666267.5969 | 1235440.779
25 | 2666275.4309 | 1235411.1645 | 2666281.2192 | 1235389.4039
26 | 2666267.5969 | 1235440.779 | 2666266.0631 | 1235446.8157
27 | 2666283.0044 | 1235382.6927 | 2666281.2192 | 1235389.4039
28 | 2666263.525 | 1235456.8051 | 2666266.0631 | 1235446.8157
29 | 2666285.5971 | 1235363.77 | 2666285.5971 | 1235363.77 | 2666286.1759 | 1235368.8688 | 2666284.321 | 1235377.7429 | 2666283.0044 | 1235382.6927
30 | 2666260.9634 | 1235466.8872 | 2666263.525 | 1235456.8051
31 | 2666285.5971 | 1235363.77 | 2666280.0783 | 1235358.4716 | 2666269.8262 | 1235355.9864
32 | 2666240.6942 | 1235349.6703 | 2666260.8459 | 1235353.8096 | 2666269.8262 | 1235355.9864
33 | 2666326.6754 | 1235407.0238 | 2666326.017 | 1235409.3397
34 | 2666332.3128 | 1235387.1957 | 2666326.6754 | 1235407.0238
35 | 2666360.0205 | 1235393.9874 | 2666332.3128 | 1235387.1957 | 2666332.3128 | 1235387.1957
36 | 2666360.0205 | 1235393.9874 | 2666361.7054 | 1235389.5032 | 2666369.0358 | 1235367.6235
37 | 2666360.0205 | 1235393.9874 | 2666350.3629 | 1235419.7635
38 | 2666350.3629 | 1235419.7635 | 2666340.9825 | 1235444.7985
39 | 2666328.8187 | 1235476.9913 | 2666330.0884 | 1235473.8734 | 2666340.9825 | 1235444.7985
40 | 2666236.3883 | 1235793.2423 | 2666237.8096 | 1235801.5192 | 2666251.2935 | 1235809.8417 | 2666276.039 | 1235819.5496
41 | 2666236.3883 | 1235793.2423 | 2666203.0842 | 1235795.0835
42 | 2666236.3883 | 1235793.2423 | 2666246.5597 | 1235792.5552 | 2666258.3509 | 1235789.7959 | 2666270.5005 | 1235784.7724 | 2666272.8869 | 1235782.5086
43 | 2666203.0842 | 1235795.0835 | 2666203.7021 | 1235784.4611 | 2666218.6443 | 1235750.2379 | 2666222.9129 | 1235738.5589
44 | 2666272.8869 | 1235782.5086 | 2666280.7881 | 1235775.0251 | 2666289.3013 | 1235762.2003 | 2666292.4167 | 1235756.1523
45 | 2666229.7134 | 1235719.9521 | 2666222.9129 | 1235738.5589
46 | 2666229.7134 | 1235719.9521 | 2666236.4915 | 1235699.1693 | 2666238.6801 | 1235694.9409
47 | 2666229.7134 | 1235719.9521 | 2666196.5082 | 1235710.1645 | 2666187.3905 | 1235707.2944
48 | 2666148.2159 | 1235326.192 | 2666149.191 | 1235326.5166
49 | 2666165.9449 | 1235332.0934 | 2666149.191 | 1235326.5166
50 | 2666165.9449 | 1235332.0934 | 2666163.7745 | 1235341.4422 | 2666162.49 | 1235356.2044 | 2666162.3783 | 1235366.2266
51 | 2666165.9449 | 1235332.0934 | 2666171.4269 | 1235326.4395 | 2666176.1987 | 1235325.9823
52 | 2666162.3624 | 1235367.6578 | 2666162.3783 | 1235366.2266
53 | 2666187.5822 | 1235328.5241 | 2666180.3672 | 1235325.583 | 2666176.1987 | 1235325.9823
54 | 2666160.5461 | 1235383.6499 | 2666162.3023 | 1235373.0469 | 2666162.3624 | 1235367.6578
55 | 2666196.3519 | 1235332.1599 | 2666195.594 | 1235331.79 | 2666187.5822 | 1235328.5241
56 | 2666196.3519 | 1235332.1599 | 2666209.9854 | 1235338.8135
57 | 2666328.8187 | 1235476.9913 | 2666317.5713 | 1235504.6095
58 | 2666292.0729 | 1235568.1234 | 2666314.9298 | 1235511.0958 | 2666317.5713 | 1235504.6095
59 | 2666292.0729 | 1235568.1234 | 2666280.0402 | 1235613.0559
60 | 2666292.0729 | 1235568.1234 | 2666279.1207 | 1235556.8715 | 2666269.4426 | 1235546.6355
61 | 2666292.0729 | 1235568.1234 | 2666318.8027 | 1235578.7774
62 | 2666279.388 | 1235615.4911 | 2666280.0402 | 1235613.0559
63 | 2666261.8115 | 1235539.9783 | 2666268.3047 | 1235545.4321 | 2666269.4426 | 1235546.6355
64 | 2666252.7665 | 1235565.3156 | 2666254.243 | 1235561.1796
65 | 2666256.6791 | 1235554.3555 | 2666254.243 | 1235561.1796
66 | 2666245.7387 | 1235585.0023 | 2666252.7665 | 1235565.3156
67 | 2666261.8115 | 1235539.9783 | 2666256.6791 | 1235554.3555
68 | 2666241.0861 | 1235598.0353 | 2666245.7387 | 1235585.0023
69 | 2666242.9682 | 1235526.9484 | 2666248.2244 | 1235530.6761 | 2666261.8115 | 1235539.9783
70 | 2666241.0861 | 1235598.0353 | 2666239.5809 | 1235602.2519
71 | 2666242.9682 | 1235526.9484 | 2666246.9257 | 1235515.3572
72 | 2666242.9682 | 1235526.9484 | 2666239.8115 | 1235525.2311
73 | 2666237.9528 | 1235606.8126 | 2666239.5809 | 1235602.2519
74 | 2666250.6141 | 1235504.554 | 2666246.9257 | 1235515.3572
75 | 2666239.8115 | 1235525.2311 | 2666220.0356 | 1235514.4726
76 | 2666216.405 | 1235341.7756 | 2666215.2483 | 1235341.382 | 2666209.9854 | 1235338.8135
77 | 2666216.405 | 1235341.7756 | 2666237.9508 | 1235349.1068 | 2666239.5135 | 1235349.4278
78 | 2666240.6942 | 1235349.6703 | 2666239.5135 | 1235349.4278
79 | 2666193.0502 | 1235580.08 | 2666198.0542 | 1235582.4359
80 | 2666193.0502 | 1235580.08 | 2666185.6432 | 1235576.5927
81 | 2666198.0542 | 1235582.4359 | 2666207.7512 | 1235587.0014
82 | 2666185.6432 | 1235576.5927 | 2666178.5687 | 1235573.262 | 2666172.9246 | 1235566.3167 | 2666172.9246 | 1235566.3167
83 | 2666213.2307 | 1235589.5812 | 2666207.7512 | 1235587.0014
84 | 2666176.7445 | 1235521.1621 | 2666169.1454 | 1235542.7811 | 2666167.5834 | 1235547.1222 | 2666168.4927 | 1235556.5275 | 2666172.9246 | 1235566.3167
85 | 2666172.9246 | 1235566.3167 | 2666129.3646 | 1235619.1228
86 | 2666279.388 | 1235615.4911 | 2666345.6477 | 1235655.1603
87 | 2666279.388 | 1235615.4911 | 2666273.2933 | 1235638.2499 | 2666263.9155 | 1235651.6256
88 | 2666256.4291 | 1235662.3036 | 2666263.9155 | 1235651.6256
89 | 2666219.6584 | 1235424.4692 | 2666217.737 | 1235435.1836 | 2666214.5249 | 1235446.4076
90 | 2666219.8235 | 1235423.5483 | 2666219.6584 | 1235424.4692
91 | 2666214.5249 | 1235446.4076 | 2666214.3673 | 1235446.9583
92 | 2666221.9907 | 1235411.4631 | 2666219.8235 | 1235423.5483
93 | 2666207.9655 | 1235469.3278 | 2666214.3673 | 1235446.9583
94 | 2666224.5359 | 1235397.2702 | 2666221.9907 | 1235411.4631
95 | 2666224.9921 | 1235394.7262 | 2666224.5359 | 1235397.2702
96 | 2666187.3905 | 1235707.2944 | 2666198.0185 | 1235680.5837 | 2666212.5033 | 1235642.6086
97 | 2666015.6141 | 1235461.9975 | 2666020.0653 | 1235470.0746 | 2666024.19 | 1235485.3757
98 | 2666081.642 | 1235428.9458 | 2666015.6141 | 1235461.9975
99 | 2666256.4291 | 1235662.3036 | 2666253.1597 | 1235666.9668 | 2666238.6801 | 1235694.9409
100 | 2666079.693 | 1235420.6709 | 2666079.8438 | 1235423.4411 | 2666081.642 | 1235428.9458
101 | 2666079.693 | 1235420.6709 | 2666079.2033 | 1235411.626 | 2666080.4489 | 1235405.6685

## bus_geodata
| x | y | coords
0 | 2666137.1464 | 1235456.1746
1 | 2666138.5699 | 1235453.5733
2 | 2666130.9068 | 1235466.3266
3 | 2666150.228 | 1235431.6574
4 | 2666133.1658 | 1235478.5569
5 | 2666102.2802 | 1235454.3899
6 | 2666153.8395 | 1235421.0155
7 | 2666137.0653 | 1235495.7481
8 | 2666098.0164 | 1235451.9177
9 | 2666157.242 | 1235407.5819
10 | 2666162.2906 | 1235495.7177
11 | 2666090.1644 | 1235444.3912
12 | 2666184.3162 | 1235499.6211
13 | 2666159.877 | 1235508.9447
14 | 2666178.7185 | 1235515.5463
15 | 2666198.1626 | 1235504.0116
16 | 2666159.4644 | 1235523.8718
17 | 2666157.4099 | 1235405.8735
18 | 2666158.9012 | 1235393.5798
19 | 2666275.4309 | 1235411.1645
20 | 2666267.5969 | 1235440.779
21 | 2666281.2192 | 1235389.4039
22 | 2666266.0631 | 1235446.8157
23 | 2666283.0044 | 1235382.6927
24 | 2666263.525 | 1235456.8051
25 | 2666285.5971 | 1235363.77
26 | 2666260.9634 | 1235466.8872
27 | 2666269.8262 | 1235355.9864
28 | 2666326.6754 | 1235407.0238
29 | 2666326.017 | 1235409.3397
30 | 2666332.3128 | 1235387.1957
31 | 2666360.0205 | 1235393.9874
32 | 2666369.0358 | 1235367.6235
33 | 2666350.3629 | 1235419.7635
34 | 2666340.9825 | 1235444.7985
35 | 2666276.039 | 1235819.5496
36 | 2666236.3883 | 1235793.2423
37 | 2666203.0842 | 1235795.0835
38 | 2666272.8869 | 1235782.5086
39 | 2666222.9129 | 1235738.5589
40 | 2666292.4167 | 1235756.1523
41 | 2666229.7134 | 1235719.9521
42 | 2666149.191 | 1235326.5166
43 | 2666148.2159 | 1235326.192
44 | 2666165.9449 | 1235332.0934
45 | 2666162.3783 | 1235366.2266
46 | 2666176.1987 | 1235325.9823
47 | 2666162.3624 | 1235367.6578
48 | 2666187.5822 | 1235328.5241
49 | 2666160.5461 | 1235383.6499
50 | 2666196.3519 | 1235332.1599
51 | 2666328.8187 | 1235476.9913
52 | 2666317.5713 | 1235504.6095
53 | 2666292.0729 | 1235568.1234
54 | 2666280.0402 | 1235613.0559
55 | 2666269.4426 | 1235546.6355
56 | 2666318.8027 | 1235578.7774
57 | 2666254.243 | 1235561.1796
58 | 2666252.7665 | 1235565.3156
59 | 2666256.6791 | 1235554.3555
60 | 2666245.7387 | 1235585.0023
61 | 2666261.8115 | 1235539.9783
62 | 2666241.0862 | 1235598.0353
63 | 2666242.9682 | 1235526.9484
64 | 2666239.5809 | 1235602.2519
65 | 2666246.9257 | 1235515.3572
66 | 2666239.8115 | 1235525.2311
67 | 2666250.6141 | 1235504.554
68 | 2666216.405 | 1235341.7756
69 | 2666209.9854 | 1235338.8135
70 | 2666239.5135 | 1235349.4278
71 | 2666240.6942 | 1235349.6703
72 | 2666193.0502 | 1235580.08
73 | 2666198.0542 | 1235582.4359
74 | 2666185.6432 | 1235576.5927
75 | 2666207.7512 | 1235587.0014
76 | 2666172.9246 | 1235566.3167
77 | 2666213.2307 | 1235589.5812
78 | 2666176.7445 | 1235521.1621
79 | 2666129.3646 | 1235619.1228
80 | 2666345.6477 | 1235655.1603
81 | 2666279.388 | 1235615.4911
82 | 2666263.9155 | 1235651.6256
83 | 2666237.9528 | 1235606.8126
84 | 2666219.6584 | 1235424.4692
85 | 2666214.5249 | 1235446.4076
86 | 2666219.8235 | 1235423.5483
87 | 2666214.3673 | 1235446.9583
88 | 2666221.9907 | 1235411.4631
89 | 2666207.9655 | 1235469.3278
90 | 2666224.5359 | 1235397.2702
91 | 2666224.9921 | 1235394.7262
92 | 2666160.8241 | 1235534.2939
93 | 2666220.0356 | 1235514.4726
94 | 2666187.3905 | 1235707.2944
95 | 2666212.5033 | 1235642.6086
96 | 2666024.19 | 1235485.3757
97 | 2666015.6141 | 1235461.9975
98 | 2666238.6801 | 1235694.9409
99 | 2666256.4291 | 1235662.3036
100 | 2666081.642 | 1235428.9458
101 | 2666079.693 | 1235420.6709
102 | 2666080.4489 | 1235405.6685
103 | 2666198.1626 | 1235504.0116

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1