## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4236-26_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4236-26_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4236-26_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4236-26_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4236-26_0_4_node_99 | 0.4 | n |  | TRUE
5 | bus_LV_4236-26_0_4_node_96 | 0.4 | n |  | TRUE
6 | bus_LV_4236-26_0_4_node_51 | 0.4 | n |  | TRUE
7 | bus_LV_4236-26_0_4_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_4236-26_0_4_node_101 | 0.4 | n |  | TRUE
9 | bus_LV_4236-26_0_4_node_94 | 0.4 | n |  | TRUE
10 | bus_LV_4236-26_0_4_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_4236-26_0_4_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_4236-26_0_4_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_4236-26_0_4_node_88 | 0.4 | n |  | TRUE
14 | bus_LV_4236-26_0_4_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_4236-26_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_4236-26_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_4236-26_0_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_4236-26_0_4_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_4236-26_0_4_node_90 | 0.4 | n |  | TRUE
20 | bus_LV_4236-26_0_4_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_4236-26_0_4_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_4236-26_0_4_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_4236-26_0_4_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_4236-26_0_4_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_4236-26_0_4_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_4236-26_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_4236-26_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_4236-26_0_4_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_4236-26_0_4_node_85 | 0.4 | n |  | TRUE
30 | bus_LV_4236-26_0_4_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_4236-26_0_4_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_4236-26_0_4_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_4236-26_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_4236-26_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_4236-26_0_4_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_4236-26_0_4_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_4236-26_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_4236-26_0_4_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_4236-26_0_4_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_4236-26_0_4_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_4236-26_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_4236-26_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_4236-26_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_4236-26_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_4236-26_0_4_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_4236-26_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_4236-26_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_4236-26_0_4_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_4236-26_0_4_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_4236-26_0_4_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_4236-26_0_4_node_98 | 0.4 | n |  | TRUE
52 | bus_LV_4236-26_0_4_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_4236-26_0_4_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_4236-26_0_4_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_4236-26_0_4_node_25 | 0.4 | n |  | TRUE
56 | bus_LV_4236-26_0_4_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_4236-26_0_4_node_27 | 0.4 | n |  | TRUE
58 | bus_LV_4236-26_0_4_node_28 | 0.4 | n |  | TRUE
59 | bus_LV_4236-26_0_4_node_29 | 0.4 | n |  | TRUE
60 | bus_LV_4236-26_0_4_node_30 | 0.4 | n |  | TRUE
61 | bus_LV_4236-26_0_4_node_91 | 0.4 | n |  | TRUE
62 | bus_LV_4236-26_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_4236-26_0_4_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_4236-26_0_4_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_4236-26_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_4236-26_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4236-26_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_4236-26_0_4_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_4236-26_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_4236-26_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_4236-26_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_4236-26_0_4_node_37 | 0.4 | n |  | TRUE
73 | bus_LV_4236-26_0_4_node_38 | 0.4 | n |  | TRUE
74 | bus_LV_4236-26_0_4_node_39 | 0.4 | n |  | TRUE
75 | bus_LV_4236-26_0_4_node_42 | 0.4 | n |  | TRUE
76 | bus_LV_4236-26_0_4_node_44 | 0.4 | n |  | TRUE
77 | bus_LV_4236-26_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_4236-26_0_4_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_4236-26_0_4_node_87 | 0.4 | n |  | TRUE
80 | bus_LV_4236-26_0_4_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_4236-26_0_4_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_4236-26_0_4_node_52 | 0.4 | n |  | TRUE
83 | bus_LV_4236-26_0_4_node_55 | 0.4 | n |  | TRUE
84 | bus_LV_4236-26_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_4236-26_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_4236-26_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_4236-26_0_4_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_4236-26_0_4_node_59 | 0.4 | n |  | TRUE
89 | bus_LV_4236-26_0_4_node_62 | 0.4 | n |  | TRUE
90 | bus_LV_4236-26_0_4_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_4236-26_0_4_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_4236-26_0_4_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_4236-26_0_4_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_4236-26_0_4_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_4236-26_0_4_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_4236-26_0_4_node_97 | 0.4 | n |  | TRUE
97 | bus_MV_350_1_node_135 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4236-26_0_4_load_0 | 0 | 0.0098971 | 0.0024804 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4236-26_0_4_load_96 | 5 | 0.0018089 | 0.00045334 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4236-26_0_4_load_89 | 7 | 0.003115 | 0.00078069 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4236-26_0_4_load_101 | 8 | 0.0020475 | 0.00051316 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4236-26_0_4_load_94 | 9 | 0.001554 | 0.00038947 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4236-26_0_4_load_53 | 10 | 0.0018204 | 0.00045623 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4236-26_0_4_load_54 | 11 | 0.0016831 | 0.00042181 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4236-26_0_4_load_50 | 12 | 0.0012047 | 0.00030194 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4236-26_0_4_load_88 | 13 | 0.003583 | 0.00089797 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4236-26_0_4_load_5 | 14 | 0.00010233 | 2.5646e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4236-26_0_4_load_7 | 16 | 0.00017242 | 4.3213e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4236-26_0_4_load_36 | 17 | 0.0026732 | 0.00066996 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4236-26_0_4_load_68 | 20 | 0.0010576 | 0.00026506 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4236-26_0_4_load_35 | 21 | 0.013055 | 0.003272 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4236-26_0_4_load_8 | 22 | 0.0030581 | 0.00076643 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4236-26_0_4_load_9 | 23 | 0.0028205 | 0.00070688 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4236-26_0_4_load_10 | 24 | 0.0023673 | 0.00059331 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4236-26_0_4_load_11 | 25 | 0.003034 | 0.00076039 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4236-26_0_4_load_18 | 26 | 0.0036766 | 0.00092145 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4236-26_0_4_load_19 | 27 | 0.0044159 | 0.0011067 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4236-26_0_4_load_86 | 28 | 0.0035604 | 0.00089231 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4236-26_0_4_load_85 | 29 | 0.0039025 | 0.00097805 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4236-26_0_4_load_13 | 30 | 0.0031874 | 0.00079884 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4236-26_0_4_load_14 | 31 | 0.00058909 | 0.00014764 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4236-26_0_4_load_16 | 33 | 0.00029014 | 7.2716e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4236-26_0_4_load_17 | 34 | 0.00078681 | 0.00019719 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4236-26_0_4_load_43 | 35 | 0.0020532 | 0.00051459 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4236-26_0_4_load_66 | 36 | 0.0028275 | 0.00070864 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4236-26_0_4_load_41 | 37 | 0.0020511 | 0.00051406 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4236-26_0_4_load_61 | 38 | 0.0034748 | 0.00087087 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4236-26_0_4_load_60 | 40 | 0.003958 | 0.00099197 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4236-26_0_4_load_33 | 41 | 0.00085883 | 0.00021524 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4236-26_0_4_load_31 | 42 | 0.0031024 | 0.00077755 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4236-26_0_4_load_34 | 43 | 0.00033996 | 8.5203e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4236-26_0_4_load_32 | 44 | 0.0014056 | 0.00035227 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4236-26_0_4_load_20 | 45 | 0.0034018 | 0.00085257 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4236-26_0_4_load_46 | 46 | 0.0034354 | 0.00086098 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4236-26_0_4_load_47 | 47 | 0.0027449 | 0.00068795 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4236-26_0_4_load_21 | 48 | 0.0036572 | 0.00091659 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4236-26_0_4_load_22 | 49 | 0.0035661 | 0.00089374 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4236-26_0_4_load_24 | 50 | 0.004081 | 0.0010228 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4236-26_0_4_load_98 | 51 | 0.0015839 | 0.00039697 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4236-26_0_4_load_100 | 52 | 0.0019214 | 0.00048155 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4236-26_0_4_load_73 | 53 | 0.001459 | 0.00036566 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4236-26_0_4_load_72 | 54 | 0.0015409 | 0.00038619 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4236-26_0_4_load_25 | 55 | 0.00021202 | 5.3137e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4236-26_0_4_load_28 | 58 | 5.3218e-05 | 1.3338e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4236-26_0_4_load_29 | 59 | 0.00015925 | 3.9911e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4236-26_0_4_load_30 | 60 | 0.0013232 | 0.00033164 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4236-26_0_4_load_91 | 61 | 0.00026812 | 6.7197e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4236-26_0_4_load_40 | 64 | 0.0014681 | 0.00036794 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4236-26_0_4_load_48 | 65 | 0.0013331 | 0.0003341 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4236-26_0_4_load_58 | 66 | 0.0032961 | 0.00082609 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4236-26_0_4_load_45 | 67 | 0.0010611 | 0.00026595 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4236-26_0_4_load_71 | 68 | 0.0023819 | 0.00059696 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4236-26_0_4_load_64 | 69 | 0.0017105 | 0.0004287 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4236-26_0_4_load_56 | 70 | 0.00065696 | 0.00016465 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4236-26_0_4_load_65 | 71 | 0.00027508 | 6.8943e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4236-26_0_4_load_38 | 73 | 0.0055493 | 0.0013908 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4236-26_0_4_load_39 | 74 | 0.011745 | 0.0029436 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4236-26_0_4_load_42 | 75 | 0.00042652 | 0.0001069 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4236-26_0_4_load_44 | 76 | 0.00013112 | 3.2861e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4236-26_0_4_load_67 | 77 | 0.00066936 | 0.00016776 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4236-26_0_4_load_92 | 78 | 0.00073685 | 0.00018467 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4236-26_0_4_load_87 | 79 | 0.0012998 | 0.00032575 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4236-26_0_4_load_57 | 80 | 0.00025417 | 6.3701e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4236-26_0_4_load_84 | 81 | 0.0022326 | 0.00055955 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4236-26_0_4_load_55 | 83 | 0.0028588 | 0.00071648 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4236-26_0_4_load_80 | 84 | 0.0017685 | 0.00044322 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4236-26_0_4_load_77 | 85 | 0.0028179 | 0.00070624 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4236-26_0_4_load_81 | 86 | 0.0019955 | 0.00050011 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4236-26_0_4_load_75 | 87 | 0.0032207 | 0.00080718 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4236-26_0_4_load_59 | 88 | 0.00034849 | 8.7339e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4236-26_0_4_load_62 | 89 | 0.0051337 | 0.0012866 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4236-26_0_4_load_78 | 90 | 0.0015033 | 0.00037677 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4236-26_0_4_load_79 | 91 | 0.0028978 | 0.00072627 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4236-26_0_4_load_74 | 92 | 0.0024995 | 0.00062643 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4236-26_0_4_load_82 | 93 | 0.0031941 | 0.00080053 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4236-26_0_4_load_93 | 94 | 0.0023568 | 0.00059068 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4236-26_0_4_load_97 | 96 | 0.0036871 | 0.00092408 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4236-26_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.053385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4236-26_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.008717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4236-26_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.037233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4236-26_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.048771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4236-26_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.011876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4236-26_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.047162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4236-26_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.022172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4236-26_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.016106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4236-26_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0083507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4236-26_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.017686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4236-26_0_4_line_10 | NAYY 4x150 SE | 6 | 11 | 0.020006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_4236-26_0_4_line_11 | NAYY 4x150 SE | 6 | 12 | 0.04654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4236-26_0_4_line_12 | NAYY 4x150 SE | 7 | 13 | 0.017937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4236-26_0_4_line_13 | NAYY 4x150 SE | 8 | 52 | 0.0055423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4236-26_0_4_line_14 | NAYY 4x150 SE | 9 | 94 | 0.013122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4236-26_0_4_line_15 | NAYY 4x150 SE | 10 | 84 | 0.024129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4236-26_0_4_line_16 | NAYY 4x150 SE | 11 | 79 | 0.020195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_4236-26_0_4_line_17 | NAYY 4x150 SE | 12 | 82 | 0.023813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4236-26_0_4_line_18 | NAYY 4x150 SE | 13 | 81 | 0.022237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4236-26_0_4_line_19 | NAYY 4x150 SE | 14 | 15 | 0.051564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_4236-26_0_4_line_20 | NAYY 4x150 SE | 14 | 16 | 0.004962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_4236-26_0_4_line_21 | NAYY 4x150 SE | 15 | 17 | 0.48756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_4236-26_0_4_line_22 | NAYY 4x150 SE | 16 | 18 | 0.13129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_4236-26_0_4_line_23 | NAYY 4x150 SE | 17 | 21 | 0.024377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_4236-26_0_4_line_24 | NAYY 4x150 SE | 18 | 19 | 0.047728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_4236-26_0_4_line_25 | NAYY 4x150 SE | 18 | 20 | 0.013996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4236-26_0_4_line_26 | NAYY 4x150 SE | 19 | 78 | 0.077861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_4236-26_0_4_line_27 | NAYY 4x150 SE | 20 | 77 | 0.033463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4236-26_0_4_line_28 | NAYY 4x150 SE | 21 | 72 | 0.031309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_4236-26_0_4_line_29 | NAYY 4x150 SE | 22 | 23 | 0.02109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4236-26_0_4_line_30 | NAYY 4x150 SE | 22 | 24 | 0.00050921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4236-26_0_4_line_31 | NAYY 4x150 SE | 23 | 25 | 0.010759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4236-26_0_4_line_32 | NAYY 4x150 SE | 25 | 29 | 0.01383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4236-26_0_4_line_33 | NAYY 4x150 SE | 26 | 27 | 0.012616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4236-26_0_4_line_34 | NAYY 4x150 SE | 26 | 28 | 0.021337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4236-26_0_4_line_35 | NAYY 4x150 SE | 27 | 45 | 0.014132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4236-26_0_4_line_36 | NAYY 4x150 SE | 28 | 29 | 0.011919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4236-26_0_4_line_37 | NAYY 4x150 SE | 30 | 31 | 0.0038474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4236-26_0_4_line_38 | NAYY 4x150 SE | 30 | 32 | 0.0031542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4236-26_0_4_line_39 | NAYY 4x150 SE | 31 | 33 | 0.01693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4236-26_0_4_line_40 | NAYY 4x150 SE | 32 | 34 | 0.0010901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4236-26_0_4_line_41 | NAYY 4x150 SE | 33 | 41 | 0.011618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4236-26_0_4_line_42 | NAYY 4x150 SE | 34 | 42 | 0.013526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4236-26_0_4_line_43 | NAYY 4x150 SE | 35 | 36 | 0.14233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4236-26_0_4_line_44 | NAYY 4x150 SE | 35 | 37 | 0.0122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4236-26_0_4_line_45 | NAYY 4x150 SE | 36 | 71 | 0.013242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4236-26_0_4_line_46 | NAYY 4x150 SE | 37 | 75 | 0.028655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4236-26_0_4_line_47 | NAYY 4x150 SE | 38 | 39 | 0.036257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4236-26_0_4_line_48 | NAYY 4x150 SE | 38 | 40 | 0.027236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4236-26_0_4_line_49 | NAYY 4x150 SE | 39 | 68 | 0.010609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4236-26_0_4_line_50 | NAYY 4x150 SE | 39 | 69 | 0.02136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4236-26_0_4_line_51 | NAYY 4x150 SE | 40 | 89 | 0.015698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4236-26_0_4_line_52 | NAYY 4x150 SE | 41 | 43 | 0.007795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4236-26_0_4_line_53 | NAYY 4x150 SE | 42 | 44 | 0.0010371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4236-26_0_4_line_54 | NAYY 4x150 SE | 43 | 71 | 0.020036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4236-26_0_4_line_55 | NAYY 4x150 SE | 44 | 66 | 0.0060976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4236-26_0_4_line_56 | NAYY 4x150 SE | 45 | 46 | 0.011595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4236-26_0_4_line_57 | NAYY 4x150 SE | 46 | 47 | 0.0097979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4236-26_0_4_line_58 | NAYY 4x150 SE | 47 | 81 | 0.016727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4236-26_0_4_line_59 | NAYY 4x150 SE | 48 | 49 | 0.02219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4236-26_0_4_line_60 | NAYY 4x150 SE | 49 | 50 | 0.0036177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4236-26_0_4_line_61 | NAYY 4x150 SE | 50 | 54 | 0.018865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4236-26_0_4_line_62 | NAYY 4x150 SE | 51 | 52 | 0.0153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4236-26_0_4_line_63 | NAYY 4x150 SE | 51 | 53 | 0.032278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4236-26_0_4_line_64 | NAYY 4x150 SE | 53 | 54 | 0.00018331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4236-26_0_4_line_65 | NAYY 4x150 SE | 55 | 56 | 0.058332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_4236-26_0_4_line_66 | NAYY 4x150 SE | 55 | 57 | 0.003675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_4236-26_0_4_line_67 | NAYY 4x150 SE | 56 | 58 | 0.058618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_4236-26_0_4_line_68 | NAYY 4x150 SE | 57 | 59 | 0.027482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4236-26_0_4_line_69 | NAYY 4x150 SE | 57 | 60 | 0.043696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_4236-26_0_4_line_70 | NAYY 4x150 SE | 58 | 61 | 0.021745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_4236-26_0_4_line_71 | NAYY 4x150 SE | 60 | 62 | 0.022502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_4236-26_0_4_line_72 | NAYY 4x150 SE | 61 | 63 | 0.026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_4236-26_0_4_line_73 | NAYY 4x150 SE | 62 | 64 | 0.098252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4236-26_0_4_line_74 | NAYY 4x150 SE | 62 | 65 | 0.03446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_4236-26_0_4_line_75 | NAYY 4x150 SE | 63 | 78 | 0.021321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_4236-26_0_4_line_76 | NAYY 4x150 SE | 63 | 67 | 0.015652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4236-26_0_4_line_77 | NAYY 4x150 SE | 65 | 76 | 0.070186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_4236-26_0_4_line_78 | NAYY 4x150 SE | 66 | 70 | 0.014723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4236-26_0_4_line_79 | NAYY 4x150 SE | 68 | 90 | 0.0057187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4236-26_0_4_line_80 | NAYY 4x150 SE | 69 | 73 | 0.021532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4236-26_0_4_line_81 | NAYY 4x150 SE | 70 | 80 | 0.018921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4236-26_0_4_line_82 | NAYY 4x150 SE | 72 | 73 | 0.013147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_4236-26_0_4_line_83 | NAYY 4x150 SE | 72 | 74 | 0.017317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_4236-26_0_4_line_84 | NAYY 4x150 SE | 74 | 79 | 0.0057331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_4236-26_0_4_line_85 | NAYY 4x150 SE | 75 | 76 | 0.052255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4236-26_0_4_line_86 | NAYY 4x150 SE | 80 | 88 | 0.0028642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4236-26_0_4_line_87 | NAYY 4x150 SE | 82 | 83 | 0.0066604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4236-26_0_4_line_88 | NAYY 4x150 SE | 83 | 85 | 0.025873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4236-26_0_4_line_89 | NAYY 4x150 SE | 84 | 86 | 0.019086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4236-26_0_4_line_90 | NAYY 4x150 SE | 85 | 87 | 0.024815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4236-26_0_4_line_91 | NAYY 4x150 SE | 86 | 93 | 0.030471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4236-26_0_4_line_92 | NAYY 4x150 SE | 87 | 92 | 0.026331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4236-26_0_4_line_93 | NAYY 4x150 SE | 90 | 91 | 0.0096488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4236-26_0_4_line_94 | NAYY 4x150 SE | 94 | 95 | 0.027691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4236-26_0_4_line_95 | NAYY 4x150 SE | 95 | 96 | 0.009826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4236-26_0_4_trafo_38 | 0.25 MVA 20/0.4 kV | 97 | 73 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2667832.8233 | 1236609.5102 | 2667838.1045 | 1236618.1652 | 2667877.4377 | 1236636.1413
1 | 2667832.8233 | 1236609.5102 | 2667839.3218 | 1236603.6804
2 | 2667832.8233 | 1236609.5102 | 2667815.0386 | 1236624.3061 | 2667805.1625 | 1236634.3668
3 | 2667875.8023 | 1236571.1973 | 2667839.3218 | 1236603.6804
4 | 2667839.3218 | 1236603.6804 | 2667831.2949 | 1236594.9273
5 | 2667772.0383 | 1236667.8671 | 2667782.812 | 1236654.7367 | 2667805.1625 | 1236634.3668
6 | 2667805.1625 | 1236634.3668 | 2667791.9513 | 1236619.7395 | 2667790.2014 | 1236618.0075
7 | 2667875.8023 | 1236571.1973 | 2667865.291 | 1236558.9944
8 | 2667824.8889 | 1236600.2843 | 2667831.2949 | 1236594.9273 | 2667831.2949 | 1236594.9273
9 | 2667772.0383 | 1236667.8671 | 2667788.6841 | 1236673.8426
10 | 2667772.0383 | 1236667.8671 | 2667762.2791 | 1236685.3313
11 | 2667772.0383 | 1236667.8671 | 2667744.1445 | 1236656.1522 | 2667729.0034 | 1236650.1542
12 | 2667775.1668 | 1236610.1866 | 2667783.1894 | 1236611.0671 | 2667790.2014 | 1236618.0075
13 | 2667861.6738 | 1236554.7952 | 2667865.291 | 1236558.9944
14 | 2667815.061 | 1236604.9232 | 2667816.9319 | 1236606.9382 | 2667824.8889 | 1236600.2843
15 | 2667811.4563 | 1236681.7987 | 2667808.987 | 1236681.1309 | 2667788.6841 | 1236673.8426
16 | 2667752.3812 | 1236702.9346 | 2667755.5233 | 1236697.4209 | 2667762.2791 | 1236685.3313
17 | 2667706.8646 | 1236641.3841 | 2667729.0034 | 1236650.1542
18 | 2667753.6503 | 1236605.8452 | 2667756.0423 | 1236607.4995 | 2667762.7239 | 1236608.821 | 2667775.1668 | 1236610.1866
19 | 2667823.7249 | 1237225.845 | 2667828.8955 | 1237228.239 | 2667847.5061 | 1237270.1597
20 | 2667849.5195 | 1237274.6948 | 2667847.5061 | 1237270.1597
21 | 2667794.2425 | 1236739.1739 | 2667823.7249 | 1237225.845
22 | 2667732.8971 | 1237334.9939 | 2667849.5195 | 1237274.6948
23 | 2667794.2425 | 1236739.1739 | 2667770.9213 | 1236732.0766
24 | 2667695.7158 | 1237365.046 | 2667731.1093 | 1237336.519 | 2667732.8971 | 1237334.9939
25 | 2667732.8971 | 1237334.9939 | 2667728.7332 | 1237332.5781 | 2667720.1216 | 1237329.3913
26 | 2667695.7158 | 1237365.046 | 2667673.5257 | 1237385.5627 | 2667658.4724 | 1237400.5792 | 2667640.0043 | 1237419.4122
27 | 2667688.7383 | 1237317.7773 | 2667720.1216 | 1237329.3913
28 | 2667740.9685 | 1236722.9611 | 2667770.9213 | 1236732.0766
29 | 2667764.904 | 1236472.5357 | 2667758.4649 | 1236492.6191
30 | 2667764.904 | 1236472.5357 | 2667765.0595 | 1236472.0508
31 | 2667755.1801 | 1236502.8644 | 2667758.4649 | 1236492.6191
32 | 2667755.1801 | 1236502.8644 | 2667750.9577 | 1236516.0339
33 | 2667740.9404 | 1236547.7457 | 2667740.7201 | 1236548.396 | 2667737.993 | 1236555.959 | 2667736.8248 | 1236559.6691
34 | 2667740.9404 | 1236547.7457 | 2667747.3187 | 1236527.3841
35 | 2667735.7458 | 1236573.5682 | 2667735.283 | 1236571.3051 | 2667735.6768 | 1236563.3153 | 2667736.8248 | 1236559.6691
36 | 2667747.3187 | 1236527.3841 | 2667750.9577 | 1236516.0339
37 | 2667485.6137 | 1237329.5939 | 2667483.1274 | 1237332.53
38 | 2667487.652 | 1237327.1868 | 2667485.6137 | 1237329.5939
39 | 2667472.1867 | 1237345.4502 | 2667483.1274 | 1237332.53
40 | 2667487.652 | 1237327.1868 | 2667488.3813 | 1237326.3766
41 | 2667464.6788 | 1237354.3164 | 2667472.1867 | 1237345.4502
42 | 2667497.2594 | 1237316.1743 | 2667492.219 | 1237322.113 | 2667488.3813 | 1237326.3766
43 | 2667546.9479 | 1237477.4025 | 2667438.1366 | 1237385.6608
44 | 2667542.4357 | 1237488.7378 | 2667546.9479 | 1237477.4025
45 | 2667446.6938 | 1237375.5553 | 2667438.1366 | 1237385.6608
46 | 2667542.4357 | 1237488.7378 | 2667531.8382 | 1237515.3606
47 | 2667687.2369 | 1236707.0492 | 2667652.403 | 1236696.9906
48 | 2667626.2357 | 1236689.4345 | 2667652.403 | 1236696.9906
49 | 2667687.2369 | 1236707.0492 | 2667691.1716 | 1236697.1969
50 | 2667687.2369 | 1236707.0492 | 2667707.7174 | 1236713.1143
51 | 2667611.1535 | 1236685.0793 | 2667626.2357 | 1236689.4345
52 | 2667459.6415 | 1237360.2652 | 2667464.6788 | 1237354.3164
53 | 2667497.2594 | 1237316.1743 | 2667497.9305 | 1237315.3836
54 | 2667459.6415 | 1237360.2652 | 2667446.6938 | 1237375.5553
55 | 2667501.8761 | 1237310.7347 | 2667497.9305 | 1237315.3836
56 | 2667735.7458 | 1236573.5682 | 2667736.8168 | 1236578.8054 | 2667738.7304 | 1236584.755
57 | 2667738.7304 | 1236584.755 | 2667739.6595 | 1236587.6438 | 2667742.1225 | 1236593.9428
58 | 2667753.6503 | 1236605.8452 | 2667749.1278 | 1236602.7174 | 2667742.1225 | 1236593.9428 | 2667742.1225 | 1236593.9428
59 | 2667805.0017 | 1236521.3941 | 2667809.1106 | 1236509.939 | 2667812.1852 | 1236500.4019
60 | 2667803.7802 | 1236524.7993 | 2667805.0017 | 1236521.3941
61 | 2667803.7802 | 1236524.7993 | 2667803.7802 | 1236524.7993 | 2667821.2665 | 1236531.8789
62 | 2667861.6738 | 1236554.7952 | 2667851.6885 | 1236543.203
63 | 2667851.6885 | 1236543.203 | 2667821.4364 | 1236531.9477
64 | 2667821.4364 | 1236531.9477 | 2667821.2665 | 1236531.8789
65 | 2667697.9632 | 1237509.0135 | 2667695.6373 | 1237533.1812 | 2667686.5298 | 1237556.2708 | 2667682.318 | 1237564.4857
66 | 2667680.6414 | 1237567.756 | 2667682.318 | 1237564.4857
67 | 2667697.9632 | 1237509.0135 | 2667691.6568 | 1237492.7862 | 2667680.6359 | 1237478.64 | 2667662.602 | 1237463.9242
68 | 2667680.6414 | 1237567.756 | 2667702.4428 | 1237584.4877
69 | 2667680.6414 | 1237567.756 | 2667673.1511 | 1237582.3805 | 2667657.5982 | 1237604.7741
70 | 2667644.973 | 1237451.2086 | 2667659.452 | 1237461.3537 | 2667662.602 | 1237463.9242
71 | 2667641.5384 | 1237620.5353 | 2667657.5982 | 1237604.7741
72 | 2667625.1794 | 1237434.7344 | 2667629.3683 | 1237440.2747 | 2667644.973 | 1237451.2086
73 | 2667641.5384 | 1237620.5353 | 2667713.4877 | 1237687.4435
74 | 2667641.5384 | 1237620.5353 | 2667616.6439 | 1237596.7076
75 | 2667625.1794 | 1237434.7344 | 2667629.7029 | 1237430.1606 | 2667637.4677 | 1237421.999 | 2667640.0043 | 1237419.4122
76 | 2667625.1794 | 1237434.7344 | 2667616.8801 | 1237436.0297 | 2667609.863 | 1237437.8603
77 | 2667563.4219 | 1237551.071 | 2667569.9071 | 1237555.4094 | 2667576.7999 | 1237561.3474 | 2667606.1165 | 1237586.6314 | 2667616.6439 | 1237596.7076
78 | 2667511.4032 | 1237299.5095 | 2667501.8761 | 1237310.7347
79 | 2667693.2926 | 1236691.886 | 2667691.1716 | 1236697.1969
80 | 2667728.3627 | 1236719.2281 | 2667707.7174 | 1236713.1143
81 | 2667511.4032 | 1237299.5095 | 2667523.647 | 1237285.0835
82 | 2667740.9685 | 1236722.9611 | 2667728.3627 | 1236719.2281
83 | 2667740.9685 | 1236722.9611 | 2667749.5426 | 1236707.9156
84 | 2667749.5426 | 1236707.9156 | 2667752.3812 | 1236702.9346
85 | 2667563.4219 | 1237551.071 | 2667534.5869 | 1237531.7807 | 2667530.7899 | 1237525.7113 | 2667531.8382 | 1237515.3606 | 2667531.8382 | 1237515.3606
86 | 2667525.5003 | 1237282.8998 | 2667523.647 | 1237285.0835
87 | 2667706.8646 | 1236641.3841 | 2667700.4435 | 1236639.615
88 | 2667700.4435 | 1236639.615 | 2667675.4997 | 1236632.7428
89 | 2667811.4563 | 1236681.7987 | 2667829.8803 | 1236686.7807
90 | 2667651.4737 | 1236626.5346 | 2667674.4064 | 1236632.4416 | 2667675.4997 | 1236632.7428
91 | 2667829.8803 | 1236686.7807 | 2667859.2948 | 1236694.7348
92 | 2667626.0722 | 1236619.6062 | 2667641.8434 | 1236624.0541 | 2667651.4737 | 1236626.5346
93 | 2667693.2926 | 1236691.886 | 2667696.8713 | 1236682.9254
94 | 2667796.2188 | 1236584.6312 | 2667815.061 | 1236604.9232
95 | 2667796.2188 | 1236584.6312 | 2667789.5287 | 1236577.4167

## bus_geodata
| x | y | coords
0 | 2667877.4377 | 1236636.1413
1 | 2667832.8233 | 1236609.5102
2 | 2667839.3218 | 1236603.6804
3 | 2667805.1625 | 1236634.3668
4 | 2667875.8023 | 1236571.1973
5 | 2667831.2949 | 1236594.9273
6 | 2667772.0383 | 1236667.8671
7 | 2667790.2014 | 1236618.0075
8 | 2667865.291 | 1236558.9944
9 | 2667824.8889 | 1236600.2843
10 | 2667788.6841 | 1236673.8426
11 | 2667762.2791 | 1236685.3313
12 | 2667729.0034 | 1236650.1542
13 | 2667775.1668 | 1236610.1866
14 | 2667847.5061 | 1237270.1597
15 | 2667823.7249 | 1237225.845
16 | 2667849.5195 | 1237274.6948
17 | 2667794.2425 | 1236739.1739
18 | 2667732.8971 | 1237334.9939
19 | 2667695.7158 | 1237365.046
20 | 2667720.1216 | 1237329.3913
21 | 2667770.9213 | 1236732.0766
22 | 2667764.904 | 1236472.5357
23 | 2667758.4649 | 1236492.6191
24 | 2667765.0595 | 1236472.0508
25 | 2667755.1801 | 1236502.8644
26 | 2667740.9404 | 1236547.7457
27 | 2667736.8248 | 1236559.6691
28 | 2667747.3187 | 1236527.3841
29 | 2667750.9577 | 1236516.0339
30 | 2667485.6137 | 1237329.5939
31 | 2667483.1274 | 1237332.53
32 | 2667487.652 | 1237327.1868
33 | 2667472.1867 | 1237345.4502
34 | 2667488.3813 | 1237326.3766
35 | 2667546.9479 | 1237477.4025
36 | 2667438.1366 | 1237385.6608
37 | 2667542.4357 | 1237488.7378
38 | 2667652.403 | 1236696.9906
39 | 2667687.2369 | 1236707.0492
40 | 2667626.2357 | 1236689.4345
41 | 2667464.6788 | 1237354.3164
42 | 2667497.2594 | 1237316.1743
43 | 2667459.6415 | 1237360.2652
44 | 2667497.9305 | 1237315.3836
45 | 2667735.7458 | 1236573.5682
46 | 2667738.7304 | 1236584.755
47 | 2667742.1225 | 1236593.9428
48 | 2667812.1852 | 1236500.4019
49 | 2667805.0017 | 1236521.3941
50 | 2667803.7802 | 1236524.7993
51 | 2667851.6885 | 1236543.203
52 | 2667861.6738 | 1236554.7952
53 | 2667821.4364 | 1236531.9477
54 | 2667821.2665 | 1236531.8789
55 | 2667682.318 | 1237564.4857
56 | 2667697.9632 | 1237509.0135
57 | 2667680.6414 | 1237567.756
58 | 2667662.602 | 1237463.9242
59 | 2667702.4428 | 1237584.4877
60 | 2667657.5982 | 1237604.7741
61 | 2667644.973 | 1237451.2086
62 | 2667641.5384 | 1237620.5353
63 | 2667625.1794 | 1237434.7344
64 | 2667713.4877 | 1237687.4435
65 | 2667616.6439 | 1237596.7076
66 | 2667501.8761 | 1237310.7347
67 | 2667609.863 | 1237437.8603
68 | 2667691.1716 | 1236697.1969
69 | 2667707.7174 | 1236713.1143
70 | 2667511.4032 | 1237299.5095
71 | 2667446.6938 | 1237375.5553
72 | 2667740.9685 | 1236722.9611
73 | 2667728.3627 | 1236719.2281
74 | 2667749.5426 | 1236707.9156
75 | 2667531.8382 | 1237515.3606
76 | 2667563.4219 | 1237551.071
77 | 2667688.7383 | 1237317.7773
78 | 2667640.0043 | 1237419.4122
79 | 2667752.3812 | 1236702.9346
80 | 2667523.647 | 1237285.0835
81 | 2667753.6503 | 1236605.8452
82 | 2667706.8646 | 1236641.3841
83 | 2667700.4435 | 1236639.615
84 | 2667811.4563 | 1236681.7987
85 | 2667675.4997 | 1236632.7428
86 | 2667829.8803 | 1236686.7807
87 | 2667651.4737 | 1236626.5346
88 | 2667525.5003 | 1237282.8998
89 | 2667611.1535 | 1236685.0793
90 | 2667693.2926 | 1236691.886
91 | 2667696.8713 | 1236682.9254
92 | 2667626.0722 | 1236619.6062
93 | 2667859.2948 | 1236694.7348
94 | 2667815.061 | 1236604.9232
95 | 2667796.2188 | 1236584.6312
96 | 2667789.5287 | 1236577.4167
97 | 2667740.9685 | 1236722.9611

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1