## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4236-30_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4236-30_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4236-30_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4236-30_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4236-30_0_4_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_4236-30_0_4_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_4236-30_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4236-30_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4236-30_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_4236-30_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_4236-30_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4236-30_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_4236-30_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_4236-30_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_4236-30_0_4_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_4236-30_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_4236-30_0_4_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_4236-30_0_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_4236-30_0_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_4236-30_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_4236-30_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_4236-30_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_4236-30_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_4236-30_0_4_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_4236-30_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_4236-30_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_4236-30_0_4_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_4236-30_0_4_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_4236-30_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_4236-30_0_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_4236-30_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_4236-30_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_4236-30_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_4236-30_0_4_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_4236-30_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_4236-30_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_4236-30_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_4236-30_0_4_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_4236-30_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_4236-30_0_4_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_4236-30_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_4236-30_0_4_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_4236-30_0_4_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_4236-30_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_4236-30_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_4236-30_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_4236-30_0_4_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_4236-30_0_4_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_4236-30_0_4_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_4236-30_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_4236-30_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_4236-30_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_4236-30_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_4236-30_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_4236-30_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_4236-30_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_4236-30_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_4236-30_0_4_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_4236-30_0_4_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_4236-30_0_4_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_4236-30_0_4_node_89 | 0.4 | n |  | TRUE
61 | bus_LV_4236-30_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_4236-30_0_4_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_4236-30_0_4_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_4236-30_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_4236-30_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_4236-30_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_4236-30_0_4_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_4236-30_0_4_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_4236-30_0_4_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_4236-30_0_4_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_4236-30_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_4236-30_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_4236-30_0_4_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_4236-30_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_4236-30_0_4_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_4236-30_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_4236-30_0_4_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_4236-30_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_4236-30_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_4236-30_0_4_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_4236-30_0_4_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_4236-30_0_4_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_4236-30_0_4_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_4236-30_0_4_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_4236-30_0_4_node_87 | 0.4 | n |  | TRUE
86 | bus_MV_350_1_node_143 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4236-30_0_4_load_0 | 0 | 0.0083095 | 0.0020825 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4236-30_0_4_load_4 | 3 | 0.013321 | 0.0033385 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4236-30_0_4_load_43 | 4 | 0.013539 | 0.0033932 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4236-30_0_4_load_6 | 6 | 0.0018435 | 0.00046202 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4236-30_0_4_load_10 | 8 | 0.0011534 | 0.00028908 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4236-30_0_4_load_9 | 10 | 0.0019941 | 0.00049978 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4236-30_0_4_load_14 | 11 | 0.0062889 | 0.0015761 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4236-30_0_4_load_12 | 13 | 0.0010985 | 0.00027532 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4236-30_0_4_load_20 | 14 | 0.0028462 | 0.00071332 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4236-30_0_4_load_13 | 15 | 0.00049239 | 0.00012341 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4236-30_0_4_load_41 | 16 | 0.0017782 | 0.00044566 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4236-30_0_4_load_21 | 17 | 0.012521 | 0.0031381 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4236-30_0_4_load_19 | 18 | 0.0012948 | 0.00032452 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4236-30_0_4_load_16 | 19 | 0.006219 | 0.0015586 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4236-30_0_4_load_17 | 20 | 0.00096322 | 0.0002414 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4236-30_0_4_load_18 | 21 | 0.0023154 | 0.00058028 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4236-30_0_4_load_26 | 23 | 0.0010195 | 0.00025551 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4236-30_0_4_load_61 | 27 | 0.00088861 | 0.00022271 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4236-30_0_4_load_25 | 28 | 0.0033591 | 0.00084187 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4236-30_0_4_load_33 | 29 | 0.0042589 | 0.0010674 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4236-30_0_4_load_29 | 30 | 0.002403 | 0.00060224 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4236-30_0_4_load_27 | 31 | 0.0010313 | 0.00025846 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4236-30_0_4_load_28 | 32 | 0.0019987 | 0.00050093 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4236-30_0_4_load_34 | 33 | 0.0032831 | 0.00082281 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4236-30_0_4_load_35 | 34 | 0.0016409 | 0.00041124 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4236-30_0_4_load_30 | 35 | 0.0056371 | 0.0014128 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4236-30_0_4_load_32 | 36 | 0.0034276 | 0.00085903 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4236-30_0_4_load_76 | 37 | 0.0023094 | 0.00057879 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4236-30_0_4_load_36 | 38 | 0.0036425 | 0.00091289 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4236-30_0_4_load_77 | 39 | 0.0031674 | 0.00079382 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4236-30_0_4_load_37 | 40 | 0.0061868 | 0.0015505 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4236-30_0_4_load_55 | 41 | 0.0019772 | 0.00049554 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4236-30_0_4_load_56 | 42 | 0.0023203 | 0.00058152 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4236-30_0_4_load_39 | 44 | 0.0041423 | 0.0010382 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4236-30_0_4_load_40 | 45 | 0.0048245 | 0.0012091 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4236-30_0_4_load_84 | 47 | 0.0020155 | 0.00050513 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4236-30_0_4_load_45 | 50 | 0.0056003 | 0.0014036 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4236-30_0_4_load_48 | 51 | 0.0074068 | 0.0018563 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4236-30_0_4_load_47 | 52 | 0.010201 | 0.0025565 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4236-30_0_4_load_49 | 53 | 0.0054627 | 0.0013691 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4236-30_0_4_load_50 | 54 | 0.0071532 | 0.0017928 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4236-30_0_4_load_51 | 55 | 0.010326 | 0.0025881 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4236-30_0_4_load_53 | 57 | 0.00086374 | 0.00021647 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4236-30_0_4_load_54 | 58 | 0.002363 | 0.00059222 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4236-30_0_4_load_63 | 61 | 0.00072246 | 0.00018107 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4236-30_0_4_load_64 | 62 | 0.0011734 | 0.00029408 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4236-30_0_4_load_88 | 63 | 0.0032396 | 0.00081191 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4236-30_0_4_load_58 | 64 | 0.0034291 | 0.00085942 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4236-30_0_4_load_59 | 65 | 0.0029268 | 0.00073352 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4236-30_0_4_load_60 | 66 | 0.0028256 | 0.00070816 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4236-30_0_4_load_75 | 69 | 0.00081876 | 0.0002052 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4236-30_0_4_load_74 | 70 | 0.00064631 | 0.00016198 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4236-30_0_4_load_65 | 71 | 0.0020847 | 0.00052248 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4236-30_0_4_load_66 | 72 | 0.0026862 | 0.00067323 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4236-30_0_4_load_67 | 73 | 0.0034106 | 0.00085477 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4236-30_0_4_load_68 | 74 | 0.00057139 | 0.0001432 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4236-30_0_4_load_69 | 75 | 0.003275 | 0.0008208 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4236-30_0_4_load_70 | 76 | 0.0010618 | 0.00026612 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4236-30_0_4_load_80 | 77 | 0.0016825 | 0.00042167 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4236-30_0_4_load_73 | 78 | 0.0018237 | 0.00045706 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4236-30_0_4_load_78 | 79 | 0.0014899 | 0.00037339 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4236-30_0_4_load_79 | 80 | 0.0026426 | 0.00066231 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4236-30_0_4_load_86 | 82 | 0.0032258 | 0.00080846 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4236-30_0_4_load_83 | 83 | 0.0029498 | 0.0007393 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4236-30_0_4_load_90 | 84 | 0.0020348 | 0.00050998 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4236-30_0_4_load_87 | 85 | 0.0021944 | 0.00054996 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4236-30_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4236-30_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.025131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4236-30_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0088431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4236-30_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4236-30_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.023944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4236-30_0_4_line_5 | NAYY 4x150 SE | 5 | 49 | 0.029422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4236-30_0_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.012777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4236-30_0_4_line_7 | NAYY 4x150 SE | 7 | 8 | 0.038227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4236-30_0_4_line_8 | NAYY 4x150 SE | 8 | 9 | 0.009665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4236-30_0_4_line_9 | NAYY 4x150 SE | 9 | 15 | 0.027798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4236-30_0_4_line_10 | NAYY 4x150 SE | 9 | 13 | 0.024378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4236-30_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.0031093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4236-30_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.022719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4236-30_0_4_line_13 | NAYY 4x150 SE | 12 | 19 | 0.025281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4236-30_0_4_line_14 | NAYY 4x150 SE | 12 | 20 | 0.023269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4236-30_0_4_line_15 | NAYY 4x150 SE | 13 | 14 | 0.02533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4236-30_0_4_line_16 | NAYY 4x150 SE | 14 | 17 | 0.026459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4236-30_0_4_line_17 | NAYY 4x150 SE | 14 | 18 | 0.0384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4236-30_0_4_line_18 | NAYY 4x150 SE | 15 | 16 | 0.013833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4236-30_0_4_line_19 | NAYY 4x150 SE | 17 | 24 | 0.059078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4236-30_0_4_line_20 | NAYY 4x150 SE | 18 | 21 | 8.9482e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4236-30_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.032808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4236-30_0_4_line_22 | NAYY 4x150 SE | 22 | 23 | 0.015824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4236-30_0_4_line_23 | NAYY 4x150 SE | 22 | 24 | 0.027424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4236-30_0_4_line_24 | NAYY 4x150 SE | 23 | 28 | 0.0047158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4236-30_0_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.005631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4236-30_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.02673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4236-30_0_4_line_27 | NAYY 4x150 SE | 25 | 27 | 0.012938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4236-30_0_4_line_28 | NAYY 4x150 SE | 26 | 29 | 0.019073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_4236-30_0_4_line_29 | NAYY 4x150 SE | 26 | 30 | 0.012926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_4236-30_0_4_line_30 | NAYY 4x150 SE | 28 | 31 | 0.0077068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4236-30_0_4_line_31 | NAYY 4x150 SE | 29 | 38 | 0.0060831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_4236-30_0_4_line_32 | NAYY 4x150 SE | 30 | 35 | 0.0025927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_4236-30_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.015682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4236-30_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.01746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4236-30_0_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0082412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4236-30_0_4_line_36 | NAYY 4x150 SE | 34 | 41 | 0.029699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4236-30_0_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.023469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_4236-30_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.024045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_4236-30_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 8.6007e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4236-30_0_4_line_40 | NAYY 4x150 SE | 38 | 40 | 0.015809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_4236-30_0_4_line_41 | NAYY 4x150 SE | 39 | 67 | 0.019757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_4236-30_0_4_line_42 | NAYY 4x150 SE | 40 | 43 | 0.016872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4236-30_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.028691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4236-30_0_4_line_44 | NAYY 4x150 SE | 43 | 44 | 0.016662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4236-30_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.013102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4236-30_0_4_line_46 | NAYY 4x150 SE | 45 | 46 | 0.020277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4236-30_0_4_line_47 | NAYY 4x150 SE | 46 | 47 | 0.014702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4236-30_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.025058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4236-30_0_4_line_49 | NAYY 4x150 SE | 47 | 83 | 0.020115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4236-30_0_4_line_50 | NAYY 4x150 SE | 48 | 49 | 0.044229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4236-30_0_4_line_51 | NAYY 4x150 SE | 50 | 51 | 0.020656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4236-30_0_4_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0069877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4236-30_0_4_line_53 | NAYY 4x150 SE | 52 | 53 | 0.024055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4236-30_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.020713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4236-30_0_4_line_55 | NAYY 4x150 SE | 54 | 55 | 0.0066456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4236-30_0_4_line_56 | NAYY 4x150 SE | 55 | 56 | 0.021157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4236-30_0_4_line_57 | NAYY 4x150 SE | 56 | 57 | 0.035566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4236-30_0_4_line_58 | NAYY 4x150 SE | 56 | 58 | 0.0059316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4236-30_0_4_line_59 | NAYY 4x150 SE | 57 | 59 | 0.0043076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4236-30_0_4_line_60 | NAYY 4x150 SE | 58 | 60 | 0.037841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4236-30_0_4_line_61 | NAYY 4x150 SE | 59 | 61 | 0.0042534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4236-30_0_4_line_62 | NAYY 4x150 SE | 59 | 62 | 0.037098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4236-30_0_4_line_63 | NAYY 4x150 SE | 60 | 63 | 0.024459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4236-30_0_4_line_64 | NAYY 4x150 SE | 61 | 69 | 0.0075166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4236-30_0_4_line_65 | NAYY 4x150 SE | 63 | 85 | 0.030698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4236-30_0_4_line_66 | NAYY 4x150 SE | 64 | 65 | 0.034178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4236-30_0_4_line_67 | NAYY 4x150 SE | 65 | 66 | 0.012263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4236-30_0_4_line_68 | NAYY 4x150 SE | 66 | 67 | 0.018796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4236-30_0_4_line_69 | NAYY 4x150 SE | 67 | 68 | 0.018589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_4236-30_0_4_line_70 | NAYY 4x150 SE | 68 | 78 | 0.022469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4236-30_0_4_line_71 | NAYY 4x150 SE | 68 | 76 | 0.0266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_4236-30_0_4_line_72 | NAYY 4x150 SE | 69 | 70 | 0.0057897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4236-30_0_4_line_73 | NAYY 4x150 SE | 70 | 74 | 0.008145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4236-30_0_4_line_74 | NAYY 4x150 SE | 71 | 72 | 0.01462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_4236-30_0_4_line_75 | NAYY 4x150 SE | 71 | 73 | 8.7259e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_4236-30_0_4_line_76 | NAYY 4x150 SE | 72 | 74 | 0.030891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_4236-30_0_4_line_77 | NAYY 4x150 SE | 73 | 75 | 0.026958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_4236-30_0_4_line_78 | NAYY 4x150 SE | 74 | 76 | 0.0059667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_4236-30_0_4_line_79 | NAYY 4x150 SE | 75 | 77 | 0.019141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4236-30_0_4_line_80 | NAYY 4x150 SE | 78 | 79 | 0.0016967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4236-30_0_4_line_81 | NAYY 4x150 SE | 79 | 80 | 0.026329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4236-30_0_4_line_82 | NAYY 4x150 SE | 80 | 81 | 0.020531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4236-30_0_4_line_83 | NAYY 4x150 SE | 81 | 82 | 0.0057957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4236-30_0_4_line_84 | NAYY 4x150 SE | 82 | 84 | 0.028826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4236-30_0_4_trafo_69 | 0.25 MVA 20/0.4 kV | 86 | 75 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2668313.8733 | 1235921.4565 | 2668327.0437 | 1235924.9717
1 | 2668314.2504 | 1235946.5667 | 2668313.639 | 1235924.7227 | 2668313.8733 | 1235921.4565
2 | 2668313.8733 | 1235921.4565 | 2668314.5124 | 1235912.6365
3 | 2668314.2504 | 1235946.5667 | 2668307.6251 | 1235945.5565 | 2668295.0626 | 1235941.7437
4 | 2668271.4332 | 1235938.5692 | 2668276.2775 | 1235938.4915 | 2668283.0581 | 1235939.1587 | 2668293.6509 | 1235941.3152 | 2668295.0626 | 1235941.7437
5 | 2668242.0488 | 1235939.121 | 2668247.5399 | 1235940.0513 | 2668260.8303 | 1235939.2701 | 2668271.4332 | 1235938.5692
6 | 2668053.8615 | 1236076.4778 | 2668041.6288 | 1236072.7884
7 | 2668053.8615 | 1236076.4778 | 2668063.8043 | 1236039.5661
8 | 2668066.3181 | 1236030.2338 | 2668063.8043 | 1236039.5661
9 | 2668066.3181 | 1236030.2338 | 2668067.7149 | 1236025.8913 | 2668069.4588 | 1236022.9537 | 2668074.122 | 1236021.5062 | 2668089.0532 | 1236021.9219
10 | 2668066.3181 | 1236030.2338 | 2668063.2832 | 1236028.2755 | 2668063.3951 | 1236022.4728 | 2668068.5162 | 1236008.4145
11 | 2667977.904 | 1235995.7588 | 2667978.5348 | 1235992.7142
12 | 2667982.2012 | 1235970.2972 | 2667979.3965 | 1235988.5552 | 2667978.5348 | 1235992.7142
13 | 2667982.2012 | 1235970.2972 | 2668007.0353 | 1235975.0284
14 | 2667982.2012 | 1235970.2972 | 2667985.7394 | 1235947.2986
15 | 2668068.5162 | 1236008.4145 | 2668073.9668 | 1235993.4521 | 2668077.1536 | 1235984.6028
16 | 2668085.8645 | 1235959.6212 | 2668082.7994 | 1235968.9257 | 2668077.1536 | 1235984.6028
17 | 2668077.1536 | 1235984.6028 | 2668038.7711 | 1235983.4465
18 | 2668102.8483 | 1236022.7514 | 2668097.8844 | 1236022.1677 | 2668089.0532 | 1236021.9219
19 | 2668099.0695 | 1235902.3117 | 2668099.2349 | 1235909.0069 | 2668089.8089 | 1235947.6472 | 2668085.8645 | 1235959.6212
20 | 2668038.7711 | 1235983.4465 | 2668038.686 | 1235983.4188
21 | 2668007.0353 | 1235975.0284 | 2668021.1958 | 1235977.7262 | 2668038.686 | 1235983.4188
22 | 2668071.5918 | 1235903.5421 | 2668072.8126 | 1235887.7652
23 | 2668099.0695 | 1235902.3117 | 2668071.5918 | 1235903.5421
24 | 2668073.1764 | 1235883.0634 | 2668072.8126 | 1235887.7652
25 | 2668099.0695 | 1235902.3117 | 2668104.6423 | 1235901.3971
26 | 2668131.2327 | 1235900.9905 | 2668126.4709 | 1235899.8129 | 2668107.9027 | 1235900.8563 | 2668104.6423 | 1235901.3971
27 | 2668104.6423 | 1235901.3971 | 2668103.9632 | 1235888.4771
28 | 2668131.2327 | 1235900.9905 | 2668130.4827 | 1235920.0484
29 | 2668131.2327 | 1235900.9905 | 2668133.6652 | 1235893.4466 | 2668135.073 | 1235888.6492
30 | 2668073.1764 | 1235883.0634 | 2668073.771 | 1235875.3796
31 | 2668130.4827 | 1235920.0484 | 2668130.4743 | 1235920.2615 | 2668131.9178 | 1235925.9511
32 | 2668135.073 | 1235888.6492 | 2668135.803 | 1235886.1613
33 | 2668073.771 | 1235875.3796 | 2668074.9808 | 1235859.7445
34 | 2668074.9808 | 1235859.7445 | 2668076.3278 | 1235842.3363
35 | 2668076.9635 | 1235834.1197 | 2668076.3278 | 1235842.3363
36 | 2668076.9635 | 1235834.1197 | 2668048.7292 | 1235824.9071
37 | 2668135.803 | 1235886.1613 | 2668142.4109 | 1235863.6419
38 | 2668149.7142 | 1235840.7655 | 2668147.9756 | 1235844.6779 | 2668142.4109 | 1235863.6419
39 | 2668149.7491 | 1235840.6869 | 2668149.7142 | 1235840.7655
40 | 2668135.8055 | 1235941.2742 | 2668131.9178 | 1235925.9511
41 | 2668158.3661 | 1235822.9268 | 2668154.6021 | 1235829.766 | 2668149.7491 | 1235840.6869
42 | 2668142.8627 | 1235956.5391 | 2668136.4693 | 1235943.8906 | 2668135.8055 | 1235941.2742
43 | 2668048.7292 | 1235824.9071 | 2668052.2801 | 1235823.5115 | 2668055.7754 | 1235820.3049 | 2668058.5361 | 1235815.8224 | 2668061.2494 | 1235807.5479 | 2668062.8777 | 1235801.6068
44 | 2668142.8627 | 1235956.5391 | 2668148.0577 | 1235972.3708
45 | 2668142.8627 | 1235956.5391 | 2668155.8078 | 1235954.5187
46 | 2668175.8694 | 1235951.5921 | 2668170.5345 | 1235952.2202 | 2668155.8078 | 1235954.5187
47 | 2668175.8694 | 1235951.5921 | 2668174.8304 | 1235936.9273
48 | 2668200.8448 | 1235948.799 | 2668175.8694 | 1235951.5921
49 | 2668173.4088 | 1235916.8625 | 2668174.8304 | 1235936.9273
50 | 2668200.8448 | 1235948.799 | 2668229.9329 | 1235946.3645 | 2668236.9466 | 1235945.1887 | 2668242.0488 | 1235939.121
51 | 2668270.3631 | 1235866.9378 | 2668270.6717 | 1235887.5911
52 | 2668270.2588 | 1235859.9508 | 2668270.3631 | 1235866.9378
53 | 2668270.2588 | 1235859.9508 | 2668269.8994 | 1235835.8986
54 | 2668269.59 | 1235815.1875 | 2668269.8994 | 1235835.8986
55 | 2668269.4908 | 1235808.5426 | 2668269.59 | 1235815.1875
56 | 2668267.4798 | 1235788.0668 | 2668267.6981 | 1235801.3338 | 2668269.4103 | 1235803.1547 | 2668269.4908 | 1235808.5426
57 | 2668267.4798 | 1235788.0668 | 2668247.9106 | 1235795.1802 | 2668233.6697 | 1235799.0005
58 | 2668267.4798 | 1235788.0668 | 2668272.8297 | 1235785.5052
59 | 2668229.5092 | 1235800.1167 | 2668233.6697 | 1235799.0005
60 | 2668306.9598 | 1235769.1633 | 2668272.8297 | 1235785.5052
61 | 2668229.5092 | 1235800.1167 | 2668225.3442 | 1235800.9795
62 | 2668229.5092 | 1235800.1167 | 2668229.6322 | 1235805.8775 | 2668230.2931 | 1235837.2061
63 | 2668306.9598 | 1235769.1633 | 2668305.0051 | 1235763.4258 | 2668310.0127 | 1235745.723
64 | 2668225.3442 | 1235800.9795 | 2668217.9839 | 1235802.5044
65 | 2668318.3681 | 1235716.1845 | 2668310.0127 | 1235745.723
66 | 2668133.6883 | 1235766.3287 | 2668134.2468 | 1235772.1716 | 2668132.5628 | 1235782.4036 | 2668140.8614 | 1235798.308
67 | 2668140.8614 | 1235798.308 | 2668146.5342 | 1235809.1801
68 | 2668158.3661 | 1235822.9268 | 2668151.4903 | 1235818.6784 | 2668146.5342 | 1235809.1801
69 | 2668172.2691 | 1235811.0005 | 2668166.034 | 1235814.22 | 2668158.3661 | 1235822.9268
70 | 2668172.2691 | 1235811.0005 | 2668171.6285 | 1235803.5103 | 2668175.2056 | 1235795.8239 | 2668178.52 | 1235790.2636
71 | 2668172.2691 | 1235811.0005 | 2668198.4633 | 1235806.3699
72 | 2668217.9839 | 1235802.5044 | 2668212.3146 | 1235803.6789
73 | 2668204.3389 | 1235805.3313 | 2668212.3146 | 1235803.6789
74 | 2668201.9385 | 1235850.7793 | 2668202.7096 | 1235836.1794
75 | 2668201.9381 | 1235850.788 | 2668201.9385 | 1235850.7793
76 | 2668204.3389 | 1235805.3313 | 2668202.7096 | 1235836.1794
77 | 2668201.9381 | 1235850.788 | 2668201.0606 | 1235867.4021 | 2668201.2372 | 1235877.7217
78 | 2668204.3389 | 1235805.3313 | 2668198.4633 | 1235806.3699
79 | 2668201.5069 | 1235896.8599 | 2668201.5316 | 1235894.9261 | 2668201.2372 | 1235877.7217
80 | 2668178.52 | 1235790.2636 | 2668179.3887 | 1235788.8062
81 | 2668192.0583 | 1235765.7404 | 2668185.2834 | 1235778.917 | 2668179.3887 | 1235788.8062
82 | 2668201.4463 | 1235747.4813 | 2668192.0583 | 1235765.7404
83 | 2668201.4463 | 1235747.4813 | 2668204.6275 | 1235742.6368
84 | 2668212.5521 | 1235714.9214 | 2668204.6275 | 1235742.6368 | 2668204.6275 | 1235742.6368

## bus_geodata
| x | y | coords
0 | 2668327.0437 | 1235924.9717
1 | 2668313.8733 | 1235921.4565
2 | 2668314.2504 | 1235946.5667
3 | 2668314.5124 | 1235912.6365
4 | 2668295.0626 | 1235941.7437
5 | 2668271.4332 | 1235938.5692
6 | 2668041.6288 | 1236072.7884
7 | 2668053.8615 | 1236076.4778
8 | 2668063.8043 | 1236039.5661
9 | 2668066.3181 | 1236030.2338
10 | 2667977.904 | 1235995.7588
11 | 2667978.5348 | 1235992.7142
12 | 2667982.2012 | 1235970.2972
13 | 2668068.5162 | 1236008.4145
14 | 2668077.1536 | 1235984.6028
15 | 2668089.0532 | 1236021.9219
16 | 2668102.8483 | 1236022.7514
17 | 2668085.8645 | 1235959.6212
18 | 2668038.7711 | 1235983.4465
19 | 2668007.0353 | 1235975.0284
20 | 2667985.7394 | 1235947.2986
21 | 2668038.686 | 1235983.4188
22 | 2668071.5918 | 1235903.5421
23 | 2668072.8126 | 1235887.7652
24 | 2668099.0695 | 1235902.3117
25 | 2668104.6423 | 1235901.3971
26 | 2668131.2327 | 1235900.9905
27 | 2668103.9632 | 1235888.4771
28 | 2668073.1764 | 1235883.0634
29 | 2668130.4827 | 1235920.0484
30 | 2668135.073 | 1235888.6492
31 | 2668073.771 | 1235875.3796
32 | 2668074.9808 | 1235859.7445
33 | 2668076.3278 | 1235842.3363
34 | 2668076.9635 | 1235834.1197
35 | 2668135.803 | 1235886.1614
36 | 2668142.4109 | 1235863.6419
37 | 2668149.7142 | 1235840.7655
38 | 2668131.9178 | 1235925.9511
39 | 2668149.7491 | 1235840.6869
40 | 2668135.8055 | 1235941.2742
41 | 2668048.7292 | 1235824.9071
42 | 2668062.8777 | 1235801.6068
43 | 2668142.8627 | 1235956.5391
44 | 2668148.0577 | 1235972.3708
45 | 2668155.8078 | 1235954.5187
46 | 2668175.8694 | 1235951.5921
47 | 2668174.8304 | 1235936.9273
48 | 2668200.8448 | 1235948.799
49 | 2668242.0488 | 1235939.121
50 | 2668270.6717 | 1235887.5911
51 | 2668270.3631 | 1235866.9378
52 | 2668270.2588 | 1235859.9508
53 | 2668269.8994 | 1235835.8986
54 | 2668269.59 | 1235815.1875
55 | 2668269.4908 | 1235808.5426
56 | 2668267.4798 | 1235788.0668
57 | 2668233.6697 | 1235799.0005
58 | 2668272.8297 | 1235785.5052
59 | 2668229.5092 | 1235800.1167
60 | 2668306.9598 | 1235769.1633
61 | 2668225.3442 | 1235800.9795
62 | 2668230.2931 | 1235837.2061
63 | 2668310.0127 | 1235745.723
64 | 2668133.6883 | 1235766.3287
65 | 2668140.8614 | 1235798.308
66 | 2668146.5342 | 1235809.1801
67 | 2668158.3661 | 1235822.9268
68 | 2668172.2691 | 1235811.0005
69 | 2668217.9839 | 1235802.5044
70 | 2668212.3146 | 1235803.6789
71 | 2668201.9385 | 1235850.7793
72 | 2668202.7096 | 1235836.1794
73 | 2668201.9381 | 1235850.788
74 | 2668204.3389 | 1235805.3313
75 | 2668201.2372 | 1235877.7217
76 | 2668198.4633 | 1235806.3699
77 | 2668201.5069 | 1235896.8599
78 | 2668178.52 | 1235790.2636
79 | 2668179.3887 | 1235788.8062
80 | 2668192.0583 | 1235765.7404
81 | 2668201.4463 | 1235747.4813
82 | 2668204.6275 | 1235742.6368
83 | 2668173.4088 | 1235916.8625
84 | 2668212.5521 | 1235714.9214
85 | 2668318.3681 | 1235716.1845
86 | 2668200.8448 | 1235948.799

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1