## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4236-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4236-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4236-3_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4236-3_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4236-3_0_3_node_39 | 0.4 | n |  | TRUE
5 | bus_LV_4236-3_0_3_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_4236-3_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4236-3_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4236-3_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4236-3_0_3_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_4236-3_0_3_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_4236-3_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4236-3_0_3_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_4236-3_0_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_4236-3_0_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_4236-3_0_3_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_4236-3_0_3_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_4236-3_0_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_4236-3_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_4236-3_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4236-3_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4236-3_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4236-3_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4236-3_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4236-3_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4236-3_0_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_4236-3_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_4236-3_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4236-3_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4236-3_0_3_node_83 | 0.4 | n |  | TRUE
30 | bus_LV_4236-3_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4236-3_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_4236-3_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_4236-3_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4236-3_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_4236-3_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4236-3_0_3_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_4236-3_0_3_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_4236-3_0_3_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_4236-3_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4236-3_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_4236-3_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_4236-3_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_4236-3_0_3_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_4236-3_0_3_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_4236-3_0_3_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_4236-3_0_3_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_4236-3_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4236-3_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4236-3_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_4236-3_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4236-3_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_4236-3_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_4236-3_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_4236-3_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_4236-3_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_4236-3_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_4236-3_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_4236-3_0_3_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_4236-3_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_4236-3_0_3_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_4236-3_0_3_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_4236-3_0_3_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_4236-3_0_3_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_4236-3_0_3_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_4236-3_0_3_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_4236-3_0_3_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_4236-3_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_4236-3_0_3_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_4236-3_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_4236-3_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_4236-3_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_4236-3_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_4236-3_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_4236-3_0_3_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_4236-3_0_3_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_4236-3_0_3_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_4236-3_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_4236-3_0_3_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_4236-3_0_3_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_4236-3_0_3_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_4236-3_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_4236-3_0_3_node_76 | 0.4 | n |  | TRUE
83 | bus_MV_350_1_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4236-3_0_3_load_0 | 0 | 0.0043724 | 0.0010958 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4236-3_0_3_load_1 | 1 | 0.0058406 | 0.0014638 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4236-3_0_3_load_39 | 4 | 0.0018374 | 0.0004605 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4236-3_0_3_load_37 | 5 | 0.0045833 | 0.0011487 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4236-3_0_3_load_5 | 6 | 0.0042576 | 0.001067 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4236-3_0_3_load_6 | 7 | 0.010769 | 0.0026989 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4236-3_0_3_load_31 | 9 | 0.0035081 | 0.00087922 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4236-3_0_3_load_64 | 10 | 0.008627 | 0.0021621 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4236-3_0_3_load_9 | 11 | 0.0020743 | 0.00051986 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4236-3_0_3_load_34 | 13 | 0.0042275 | 0.0010595 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4236-3_0_3_load_65 | 15 | 0.0015713 | 0.00039381 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4236-3_0_3_load_41 | 16 | 0.0072649 | 0.0018208 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4236-3_0_3_load_33 | 17 | 0.00089688 | 0.00022478 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4236-3_0_3_load_10 | 18 | 0.0006214 | 0.00015574 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4236-3_0_3_load_13 | 21 | 0.0012841 | 0.00032183 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4236-3_0_3_load_14 | 22 | 0.00024412 | 6.1182e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4236-3_0_3_load_15 | 23 | 0.0014439 | 0.00036187 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4236-3_0_3_load_32 | 25 | 0.0039284 | 0.00098455 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4236-3_0_3_load_17 | 26 | 0.0035139 | 0.00088068 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4236-3_0_3_load_18 | 27 | 0.0077027 | 0.0019305 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4236-3_0_3_load_20 | 28 | 0.0046555 | 0.0011668 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4236-3_0_3_load_83 | 29 | 0.003644 | 0.00091327 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4236-3_0_3_load_19 | 30 | 0.0023096 | 0.00057883 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4236-3_0_3_load_29 | 31 | 0.0035677 | 0.00089416 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4236-3_0_3_load_21 | 32 | 0.0024767 | 0.00062072 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4236-3_0_3_load_22 | 33 | 0.0019293 | 0.00048353 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4236-3_0_3_load_23 | 34 | 0.0011028 | 0.00027638 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4236-3_0_3_load_78 | 36 | 0.0030497 | 0.00076432 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4236-3_0_3_load_77 | 37 | 0.0023564 | 0.00059057 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4236-3_0_3_load_25 | 39 | 0.0021279 | 0.00053329 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4236-3_0_3_load_28 | 41 | 0.0020077 | 0.00050317 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4236-3_0_3_load_30 | 42 | 0.0060849 | 0.001525 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4236-3_0_3_load_71 | 43 | 0.0096828 | 0.0024267 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4236-3_0_3_load_53 | 45 | 0.0049631 | 0.0012439 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4236-3_0_3_load_54 | 46 | 0.00156 | 0.00039098 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4236-3_0_3_load_36 | 47 | 0.0015443 | 0.00038704 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4236-3_0_3_load_38 | 48 | 0.0015102 | 0.0003785 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4236-3_0_3_load_40 | 49 | 0.0015659 | 0.00039245 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4236-3_0_3_load_44 | 51 | 0.0080247 | 0.0020112 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4236-3_0_3_load_45 | 52 | 0.0027457 | 0.00068813 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4236-3_0_3_load_46 | 53 | 0.0015152 | 0.00037974 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4236-3_0_3_load_47 | 54 | 0.0015401 | 0.00038599 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4236-3_0_3_load_48 | 55 | 0.0014817 | 0.00037135 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4236-3_0_3_load_49 | 56 | 0.0014933 | 0.00037425 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4236-3_0_3_load_50 | 57 | 0.00065762 | 0.00016481 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4236-3_0_3_load_72 | 58 | 0.001815 | 0.00045489 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4236-3_0_3_load_51 | 59 | 0.0026961 | 0.00067572 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4236-3_0_3_load_61 | 60 | 0.0019683 | 0.00049329 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4236-3_0_3_load_79 | 62 | 0.0012129 | 0.00030399 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4236-3_0_3_load_81 | 64 | 0.0032743 | 0.00082062 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4236-3_0_3_load_82 | 65 | 0.0042604 | 0.0010678 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4236-3_0_3_load_85 | 66 | 0.0046502 | 0.0011655 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4236-3_0_3_load_69 | 68 | 0.0038055 | 0.00095375 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4236-3_0_3_load_56 | 69 | 0.0028288 | 0.00070896 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4236-3_0_3_load_57 | 70 | 0.0057479 | 0.0014406 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4236-3_0_3_load_70 | 71 | 0.0029276 | 0.00073372 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4236-3_0_3_load_58 | 72 | 0.0024549 | 0.00061525 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4236-3_0_3_load_59 | 73 | 0.0030777 | 0.00077133 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4236-3_0_3_load_62 | 75 | 0.0075159 | 0.0018837 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4236-3_0_3_load_74 | 77 | 0.0030058 | 0.00075332 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4236-3_0_3_load_66 | 78 | 0.0027326 | 0.00068485 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4236-3_0_3_load_67 | 79 | 0.00066771 | 0.00016734 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4236-3_0_3_load_68 | 80 | 0.0030254 | 0.00075824 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4236-3_0_3_load_76 | 82 | 0.002778 | 0.00069624 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4236-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4236-3_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.014967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4236-3_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.003953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4236-3_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.03436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4236-3_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.015482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4236-3_0_3_line_5 | NAYY 4x150 SE | 5 | 47 | 0.015229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4236-3_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.00088285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4236-3_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.030464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4236-3_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.01054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4236-3_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.022117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4236-3_0_3_line_10 | NAYY 4x150 SE | 9 | 14 | 0.022993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4236-3_0_3_line_11 | NAYY 4x150 SE | 10 | 15 | 0.011581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4236-3_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.026483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4236-3_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.029712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4236-3_0_3_line_14 | NAYY 4x150 SE | 12 | 16 | 0.0092948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4236-3_0_3_line_15 | NAYY 4x150 SE | 13 | 17 | 0.019668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4236-3_0_3_line_16 | NAYY 4x150 SE | 14 | 42 | 0.018157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_4236-3_0_3_line_17 | NAYY 4x150 SE | 14 | 39 | 0.03301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_4236-3_0_3_line_18 | NAYY 4x150 SE | 15 | 49 | 0.0065242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4236-3_0_3_line_19 | NAYY 4x150 SE | 16 | 50 | 0.018735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4236-3_0_3_line_20 | NAYY 4x150 SE | 17 | 25 | 0.0068998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4236-3_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.016168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4236-3_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.010693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4236-3_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.028352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4236-3_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.025162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4236-3_0_3_line_25 | NAYY 4x150 SE | 20 | 23 | 0.014755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4236-3_0_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.026035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4236-3_0_3_line_27 | NAYY 4x150 SE | 22 | 25 | 0.027748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4236-3_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.017169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4236-3_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.0012736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4236-3_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.027488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4236-3_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.0266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4236-3_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.034566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4236-3_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.00054436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4236-3_0_3_line_34 | NAYY 4x150 SE | 31 | 40 | 0.03447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4236-3_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0059045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4236-3_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.0053732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4236-3_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.011223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4236-3_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.010931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4236-3_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.013632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4236-3_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.023291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4236-3_0_3_line_41 | NAYY 4x150 SE | 38 | 43 | 0.016327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4236-3_0_3_line_42 | NAYY 4x150 SE | 38 | 74 | 0.026157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4236-3_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.016262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_4236-3_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.023481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4236-3_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.0057897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4236-3_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.010858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_4236-3_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.011882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4236-3_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.025483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_4236-3_0_3_line_49 | NAYY 4x150 SE | 45 | 67 | 0.0097064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4236-3_0_3_line_50 | NAYY 4x150 SE | 46 | 68 | 0.022618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4236-3_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.0067312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4236-3_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.0063774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4236-3_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.004379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4236-3_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.008012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4236-3_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.011898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4236-3_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.011684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4236-3_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.011862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4236-3_0_3_line_58 | NAYY 4x150 SE | 55 | 57 | 0.0050208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4236-3_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.01073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4236-3_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.016364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4236-3_0_3_line_61 | NAYY 4x150 SE | 58 | 60 | 0.021354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4236-3_0_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.078224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4236-3_0_3_line_63 | NAYY 4x150 SE | 60 | 74 | 0.03871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4236-3_0_3_line_64 | NAYY 4x150 SE | 61 | 66 | 0.015186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4236-3_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.019459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4236-3_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.018442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4236-3_0_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.019663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4236-3_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.0079655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4236-3_0_3_line_69 | NAYY 4x150 SE | 67 | 69 | 0.027292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4236-3_0_3_line_70 | NAYY 4x150 SE | 67 | 70 | 0.040458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4236-3_0_3_line_71 | NAYY 4x150 SE | 68 | 71 | 0.028214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4236-3_0_3_line_72 | NAYY 4x150 SE | 71 | 76 | 0.024676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4236-3_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.028068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4236-3_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.019509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4236-3_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.018014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4236-3_0_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.017007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4236-3_0_3_line_77 | NAYY 4x150 SE | 77 | 81 | 0.040966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4236-3_0_3_line_78 | NAYY 4x150 SE | 78 | 79 | 0.0076019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4236-3_0_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.047919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4236-3_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.018751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4236-3_0_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.020922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4236-3_0_3_trafo_54 | 0.25 MVA 20/0.4 kV | 83 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2668280.0649 | 1235089.0095 | 2668275.8556 | 1235098.9104 | 2668272.3681 | 1235108.6324 | 2668271.5436 | 1235112.2303
1 | 2668268.2006 | 1235126.819 | 2668271.5436 | 1235112.2303
2 | 2668271.7917 | 1235128.4947 | 2668268.2006 | 1235126.819
3 | 2668271.7917 | 1235128.4947 | 2668274.5463 | 1235130.5055 | 2668279.6051 | 1235134.8665 | 2668284.1614 | 1235138.1655 | 2668295.7207 | 1235145.9146 | 2668299.5865 | 1235148.6374
4 | 2668299.5865 | 1235148.6374 | 2668303.071 | 1235151.0915 | 2668305.9267 | 1235153.5259 | 2668308.2755 | 1235155.9434 | 2668310.9616 | 1235159.0368
5 | 2668320.0657 | 1235171.2448 | 2668311.0841 | 1235159.1779 | 2668310.9616 | 1235159.0368
6 | 2668357.8002 | 1235229.4913 | 2668357.9871 | 1235228.6285
7 | 2668364.5772 | 1235198.8863 | 2668358.6064 | 1235225.769 | 2668357.9871 | 1235228.6285
8 | 2668364.5772 | 1235198.8863 | 2668374.8768 | 1235201.1228
9 | 2668364.5772 | 1235198.8863 | 2668351.5129 | 1235194.3441 | 2668345.7141 | 1235191.809 | 2668343.9774 | 1235190.9078
10 | 2668397.5856 | 1235204.6922 | 2668377.6082 | 1235201.7159 | 2668374.8768 | 1235201.1228
11 | 2668343.9774 | 1235190.9078 | 2668339.9735 | 1235188.8299 | 2668334.6928 | 1235185.3446 | 2668334.1121 | 1235184.8809
12 | 2668398.3345 | 1235280.3072 | 2668381.2301 | 1235281.5668 | 2668376.3999 | 1235281.6891 | 2668371.9176 | 1235281.2854
13 | 2668371.9176 | 1235281.2854 | 2668384.6109 | 1235308.1499
14 | 2668398.3345 | 1235280.3072 | 2668397.3636 | 1235272.602 | 2668397.1384 | 1235271.7877 | 2668396.6443 | 1235271.3151
15 | 2668384.6109 | 1235308.1499 | 2668403.7552 | 1235312.6563
16 | 2668397.5856 | 1235204.6922 | 2668399.1011 | 1235186.5989
17 | 2668397.5856 | 1235204.6922 | 2668430.2396 | 1235209.5257
18 | 2668329.0797 | 1235180.7327 | 2668330.2154 | 1235181.7685 | 2668334.1121 | 1235184.8809
19 | 2668387.3358 | 1235258.0879 | 2668387.855 | 1235259.6728 | 2668388.6111 | 1235261.049 | 2668389.573 | 1235262.3054 | 2668390.1428 | 1235262.7789 | 2668390.3058 | 1235263.081 | 2668390.2976 | 1235263.7925 | 2668390.2769 | 1235268.2175 | 2668390.4719 | 1235269.0314 | 2668390.8653 | 1235269.703 | 2668391.4653 | 1235270.1769 | 2668392.4452 | 1235270.5329 | 2668396.6443 | 1235271.3151
20 | 2668410.5529 | 1235313.7174 | 2668409.4695 | 1235313.6801 | 2668406.892 | 1235313.3946 | 2668403.7552 | 1235312.6563
21 | 2668482.7976 | 1235325.8216 | 2668466.7401 | 1235327.7111
22 | 2668456.1201 | 1235328.9608 | 2668466.7401 | 1235327.7111
23 | 2668482.7976 | 1235325.8216 | 2668473.521 | 1235307.2244 | 2668470.4653 | 1235300.2986
24 | 2668456.1201 | 1235328.9608 | 2668441.9491 | 1235329.8538 | 2668440.688 | 1235329.6057 | 2668439.9525 | 1235329.0636 | 2668439.4256 | 1235328.1569 | 2668438.8297 | 1235326.6712 | 2668437.4154 | 1235320.6731
25 | 2668453.3733 | 1235314.4638 | 2668456.1201 | 1235328.9608
26 | 2668461.2184 | 1235276.0283 | 2668463.6742 | 1235284.9071 | 2668470.4653 | 1235300.2986
27 | 2668437.4154 | 1235320.6731 | 2668410.5529 | 1235313.7174
28 | 2668461.2184 | 1235276.0283 | 2668466.006 | 1235275.005 | 2668469.2717 | 1235274.0309 | 2668478.0681 | 1235272.9266
29 | 2668461.2184 | 1235276.0283 | 2668460.8768 | 1235274.8014
30 | 2668505.3709 | 1235272.8298 | 2668497.4105 | 1235271.5201 | 2668487.7659 | 1235271.7091 | 2668478.0681 | 1235272.9266
31 | 2668455.5329 | 1235248.7444 | 2668456.7376 | 1235255.0293 | 2668460.8768 | 1235274.8014 | 2668460.8768 | 1235274.8014
32 | 2668539.1785 | 1235279.8331 | 2668525.1725 | 1235276.0876 | 2668505.3709 | 1235272.8298
33 | 2668455.4304 | 1235248.2098 | 2668455.5329 | 1235248.7444
34 | 2668444.827 | 1235216.0659 | 2668448.6596 | 1235220.4129 | 2668449.7664 | 1235222.894 | 2668450.5616 | 1235225.4716 | 2668453.0465 | 1235235.7738 | 2668455.4304 | 1235248.2098
35 | 2668501.7774 | 1235195.9423 | 2668501.5454 | 1235201.8422
36 | 2668501.3342 | 1235207.2112 | 2668501.5454 | 1235201.8422
37 | 2668502.2185 | 1235184.7282 | 2668501.7774 | 1235195.9423
38 | 2668502.2185 | 1235184.7282 | 2668500.8839 | 1235182.9783 | 2668499.6333 | 1235181.8187 | 2668498.0152 | 1235181.0217 | 2668496.1819 | 1235180.5114 | 2668492.8641 | 1235180.4556
39 | 2668502.2185 | 1235184.7282 | 2668507.4638 | 1235185.3669 | 2668515.7992 | 1235185.8276
40 | 2668469.7466 | 1235178.3386 | 2668476.2928 | 1235179.715 | 2668481.4181 | 1235180.2633 | 2668492.8641 | 1235180.4556
41 | 2668469.7466 | 1235178.3386 | 2668467.1757 | 1235185.3471 | 2668465.8398 | 1235188.3003 | 2668464.4103 | 1235190.8411 | 2668462.9378 | 1235193.1107
42 | 2668469.7466 | 1235178.3386 | 2668478.4475 | 1235153.6667
43 | 2668444.827 | 1235216.0659 | 2668439.9482 | 1235212.5184 | 2668437.4506 | 1235211.1999 | 2668434.9605 | 1235210.5486 | 2668430.5743 | 1235209.5752 | 2668430.2396 | 1235209.5257
44 | 2668444.827 | 1235216.0659 | 2668451.4135 | 1235207.3803 | 2668458.469 | 1235199.3673 | 2668459.6209 | 1235197.8511
45 | 2668459.6209 | 1235197.8511 | 2668461.2742 | 1235195.6749 | 2668462.9378 | 1235193.1107
46 | 2668400.0075 | 1235175.7784 | 2668399.1011 | 1235186.5989
47 | 2668400.0075 | 1235175.7784 | 2668391.1633 | 1235167.8436
48 | 2668400.0075 | 1235175.7784 | 2668410.3266 | 1235166.9801 | 2668413.6782 | 1235163.1606 | 2668415.1165 | 1235160.5087 | 2668415.9825 | 1235156.9496 | 2668415.9996 | 1235156.7894
49 | 2668383.9385 | 1235161.3616 | 2668391.1633 | 1235167.8436
50 | 2668415.9996 | 1235156.7894 | 2668416.6355 | 1235150.853 | 2668418.0717 | 1235134.2677
51 | 2668320.0657 | 1235171.2448 | 2668320.0657 | 1235171.2448 | 2668324.474 | 1235176.3315
52 | 2668324.474 | 1235176.3315 | 2668325.3019 | 1235177.2868 | 2668329.0797 | 1235180.7327
53 | 2668387.3358 | 1235258.0879 | 2668387.3089 | 1235257.1425 | 2668387.5829 | 1235253.7212
54 | 2668381.852 | 1235263.0504 | 2668382.6168 | 1235261.0467 | 2668383.5107 | 1235259.6561 | 2668384.4967 | 1235258.8224 | 2668385.879 | 1235258.4047 | 2668387.3358 | 1235258.0879
55 | 2668503.3955 | 1235062.471 | 2668500.5263 | 1235074.0175
56 | 2668503.3955 | 1235062.471 | 2668506.2133 | 1235051.1313
57 | 2668500.5263 | 1235074.0175 | 2668500.3459 | 1235074.7438 | 2668497.4729 | 1235085.4799
58 | 2668507.4241 | 1235046.2587 | 2668506.2133 | 1235051.1313
59 | 2668494.6992 | 1235095.8452 | 2668497.4729 | 1235085.4799
60 | 2668507.4241 | 1235046.2587 | 2668508.0212 | 1235043.8559 | 2668509.0949 | 1235038.6981 | 2668510.2744 | 1235030.1591
61 | 2668494.6992 | 1235095.8452 | 2668490.9729 | 1235109.7704 | 2668489.0689 | 1235116.4429
62 | 2668510.2744 | 1235030.1591 | 2668541.8692 | 1234958.5999
63 | 2668478.4475 | 1235153.6667 | 2668489.0689 | 1235116.4429
64 | 2668541.8692 | 1234958.5999 | 2668544.6664 | 1234954.9519 | 2668546.3665 | 1234951.2691 | 2668547.3748 | 1234947.8562 | 2668547.7219 | 1234944.9027
65 | 2668547.9621 | 1234917.298 | 2668535.9088 | 1234911.6774 | 2668530.3062 | 1234909.1172
66 | 2668547.9621 | 1234917.298 | 2668547.1067 | 1234898.8758
67 | 2668547.9621 | 1234917.298 | 2668548.2574 | 1234936.959
68 | 2668547.7219 | 1234944.9027 | 2668547.9791 | 1234942.7152 | 2668548.2574 | 1234936.959
69 | 2668383.9385 | 1235161.3616 | 2668385.6266 | 1235155.4214 | 2668385.4531 | 1235134.3055
70 | 2668351.4062 | 1235137.1822 | 2668383.9385 | 1235161.3616
71 | 2668418.0717 | 1235134.2677 | 2668418.5823 | 1235128.3714 | 2668419.5034 | 1235121.3439 | 2668419.5935 | 1235118.1206 | 2668419.4951 | 1235112.2044 | 2668419.7978 | 1235110.2399 | 2668420.3048 | 1235108.9337 | 2668421.3579 | 1235108.1898 | 2668422.7302 | 1235107.9832 | 2668422.7302 | 1235107.9832
72 | 2668445.5036 | 1235102.1749 | 2668438.6107 | 1235105.2642 | 2668434.403 | 1235108.4957 | 2668430.7927 | 1235109.1546 | 2668422.7302 | 1235107.9832
73 | 2668497.5561 | 1235155.6008 | 2668510.6231 | 1235155.5721 | 2668525.6047 | 1235156.3392
74 | 2668478.4475 | 1235153.6667 | 2668483.0796 | 1235155.6325 | 2668497.5561 | 1235155.6008
75 | 2668445.5036 | 1235102.1749 | 2668447.2385 | 1235105.9752 | 2668448.641 | 1235108.4041 | 2668451.708 | 1235113.5206 | 2668454.4855 | 1235117.7576
76 | 2668445.5036 | 1235102.1749 | 2668443.4143 | 1235097.6033 | 2668441.2998 | 1235093.9098 | 2668438.1242 | 1235089.6815 | 2668436.9867 | 1235088.5565 | 2668436.287 | 1235088.0976
77 | 2668414.0618 | 1235063.4869 | 2668413.9688 | 1235064.3308 | 2668412.1808 | 1235073.0272 | 2668412.0695 | 1235074.8049 | 2668412.2149 | 1235076.63 | 2668412.9064 | 1235078.3725 | 2668413.7409 | 1235079.5162 | 2668414.9092 | 1235080.597 | 2668416.5793 | 1235081.4835 | 2668419.4292 | 1235082.4503 | 2668433.5052 | 1235086.5706 | 2668435.4166 | 1235087.5266 | 2668436.287 | 1235088.0976
78 | 2668451.6911 | 1235026.1617 | 2668453.0586 | 1235033.6396
79 | 2668432.7835 | 1235062.4327 | 2668449.9615 | 1235061.4655 | 2668452.0417 | 1235060.9224 | 2668453.3372 | 1235060.159 | 2668454.4291 | 1235058.6706 | 2668454.8786 | 1235057.1081 | 2668454.9697 | 1235055.1078 | 2668454.0852 | 1235039.2536 | 2668453.0586 | 1235033.6396
80 | 2668414.0618 | 1235063.4869 | 2668432.7835 | 1235062.4327
81 | 2668411.7268 | 1235042.7794 | 2668413.4766 | 1235053.1732 | 2668414.183 | 1235058.218 | 2668414.3243 | 1235061.066 | 2668414.0618 | 1235063.4869

## bus_geodata
| x | y | coords
0 | 2668280.0649 | 1235089.0095
1 | 2668271.5436 | 1235112.2303
2 | 2668268.2006 | 1235126.819
3 | 2668271.7917 | 1235128.4947
4 | 2668299.5865 | 1235148.6374
5 | 2668310.9616 | 1235159.0368
6 | 2668357.8002 | 1235229.4913
7 | 2668357.9871 | 1235228.6285
8 | 2668364.5772 | 1235198.8863
9 | 2668374.8768 | 1235201.1228
10 | 2668343.9774 | 1235190.9078
11 | 2668371.9176 | 1235281.2854
12 | 2668398.3345 | 1235280.3072
13 | 2668384.6109 | 1235308.1499
14 | 2668397.5856 | 1235204.6922
15 | 2668334.1121 | 1235184.8809
16 | 2668396.6443 | 1235271.3151
17 | 2668403.7552 | 1235312.6563
18 | 2668466.7401 | 1235327.7111
19 | 2668482.7976 | 1235325.8216
20 | 2668456.1201 | 1235328.9608
21 | 2668470.4653 | 1235300.2986
22 | 2668437.4154 | 1235320.6731
23 | 2668453.3733 | 1235314.4638
24 | 2668461.2184 | 1235276.0283
25 | 2668410.5529 | 1235313.7174
26 | 2668478.0681 | 1235272.9266
27 | 2668460.8768 | 1235274.8014
28 | 2668505.3709 | 1235272.8298
29 | 2668455.5329 | 1235248.7444
30 | 2668539.1785 | 1235279.8331
31 | 2668455.4304 | 1235248.2098
32 | 2668501.5454 | 1235201.8422
33 | 2668501.7774 | 1235195.9423
34 | 2668501.3342 | 1235207.2112
35 | 2668502.2185 | 1235184.7282
36 | 2668492.8641 | 1235180.4556
37 | 2668515.7992 | 1235185.8276
38 | 2668469.7466 | 1235178.3386
39 | 2668430.2396 | 1235209.5257
40 | 2668444.827 | 1235216.0659
41 | 2668459.6209 | 1235197.8511
42 | 2668399.1011 | 1235186.5989
43 | 2668462.9379 | 1235193.1107
44 | 2668400.0075 | 1235175.7784
45 | 2668391.1633 | 1235167.8436
46 | 2668415.9996 | 1235156.7894
47 | 2668320.0657 | 1235171.2448
48 | 2668324.474 | 1235176.3315
49 | 2668329.0797 | 1235180.7327
50 | 2668387.3358 | 1235258.0879
51 | 2668387.5829 | 1235253.7212
52 | 2668381.852 | 1235263.0504
53 | 2668503.3955 | 1235062.471
54 | 2668500.5263 | 1235074.0175
55 | 2668506.2133 | 1235051.1313
56 | 2668497.4729 | 1235085.4799
57 | 2668507.4241 | 1235046.2587
58 | 2668494.6992 | 1235095.8452
59 | 2668510.2744 | 1235030.1591
60 | 2668489.0689 | 1235116.4429
61 | 2668541.8692 | 1234958.5999
62 | 2668530.3062 | 1234909.1172
63 | 2668547.9621 | 1234917.298
64 | 2668547.1067 | 1234898.8758
65 | 2668548.2574 | 1234936.959
66 | 2668547.7219 | 1234944.9027
67 | 2668383.9385 | 1235161.3616
68 | 2668418.0717 | 1235134.2677
69 | 2668385.4531 | 1235134.3055
70 | 2668351.4062 | 1235137.1822
71 | 2668422.7302 | 1235107.9832
72 | 2668497.5561 | 1235155.6008
73 | 2668525.6047 | 1235156.3392
74 | 2668478.4475 | 1235153.6667
75 | 2668454.4855 | 1235117.7576
76 | 2668445.5036 | 1235102.1749
77 | 2668436.287 | 1235088.0976
78 | 2668451.6911 | 1235026.1617
79 | 2668453.0586 | 1235033.6396
80 | 2668432.7835 | 1235062.4327
81 | 2668414.0618 | 1235063.4869
82 | 2668411.7268 | 1235042.7794
83 | 2668400.0075 | 1235175.7784

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1