## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4275-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4275-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4275-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4275-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4275-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4275-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4275-3_0_3_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_4275-3_0_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_4275-3_0_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_4275-3_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_4275-3_0_3_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_4275-3_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4275-3_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4275-3_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4275-3_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4275-3_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4275-3_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4275-3_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4275-3_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_4275-3_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_4275-3_0_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_4275-3_0_3_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_4275-3_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_4275-3_0_3_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_4275-3_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4275-3_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4275-3_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4275-3_0_3_node_88 | 0.4 | n |  | TRUE
28 | bus_LV_4275-3_0_3_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_4275-3_0_3_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_4275-3_0_3_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_4275-3_0_3_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_4275-3_0_3_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_4275-3_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_4275-3_0_3_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_4275-3_0_3_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_4275-3_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_4275-3_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_4275-3_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_4275-3_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4275-3_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4275-3_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_4275-3_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_4275-3_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_4275-3_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_4275-3_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_4275-3_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_4275-3_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_4275-3_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4275-3_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4275-3_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_4275-3_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_4275-3_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_4275-3_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_4275-3_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_4275-3_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_4275-3_0_3_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_4275-3_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_4275-3_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_4275-3_0_3_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_4275-3_0_3_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_4275-3_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_4275-3_0_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_4275-3_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_4275-3_0_3_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_4275-3_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_4275-3_0_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_4275-3_0_3_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_4275-3_0_3_node_92 | 0.4 | n |  | TRUE
69 | bus_LV_4275-3_0_3_node_90 | 0.4 | n |  | TRUE
70 | bus_LV_4275-3_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_4275-3_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_4275-3_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_4275-3_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_4275-3_0_3_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_4275-3_0_3_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_4275-3_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_4275-3_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_4275-3_0_3_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_4275-3_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_4275-3_0_3_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_4275-3_0_3_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_4275-3_0_3_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_4275-3_0_3_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_4275-3_0_3_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_4275-3_0_3_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_4275-3_0_3_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_4275-3_0_3_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_4275-3_0_3_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_4275-3_0_3_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_4275-3_0_3_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_4275-3_0_3_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_4275-3_0_3_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_4275-3_0_3_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_4275-3_0_3_node_98 | 0.4 | n |  | TRUE
95 | bus_LV_4275-3_0_3_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_4275-3_0_3_node_91 | 0.4 | n |  | TRUE
97 | bus_LV_4275-3_0_3_node_97 | 0.4 | n |  | TRUE
98 | bus_MV_418_0_node_188 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4275-3_0_3_load_0 | 0 | 0.00048295 | 0.00012104 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4275-3_0_3_load_1 | 1 | 0.0045138 | 0.0011313 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4275-3_0_3_load_3 | 3 | 0.00076227 | 0.00019104 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4275-3_0_3_load_5 | 5 | 0.00078315 | 0.00019627 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4275-3_0_3_load_44 | 6 | 0.00074499 | 0.00018671 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4275-3_0_3_load_17 | 7 | 0.00071456 | 0.00017909 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4275-3_0_3_load_21 | 8 | 0.0013179 | 0.0003303 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4275-3_0_3_load_18 | 9 | 0.0014101 | 0.0003534 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4275-3_0_3_load_22 | 10 | 0.0035279 | 0.00088419 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4275-3_0_3_load_6 | 11 | 0.002844 | 0.00071276 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4275-3_0_3_load_7 | 12 | 0.0017795 | 0.00044598 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4275-3_0_3_load_20 | 18 | 0.0047667 | 0.0011946 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4275-3_0_3_load_19 | 19 | 0.0014551 | 0.00036469 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4275-3_0_3_load_29 | 20 | 0.0017231 | 0.00043184 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4275-3_0_3_load_59 | 21 | 0.00056778 | 0.0001423 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4275-3_0_3_load_58 | 23 | 0.00092788 | 0.00023255 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4275-3_0_3_load_13 | 24 | 0.00040273 | 0.00010093 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4275-3_0_3_load_14 | 25 | 0.0013447 | 0.00033701 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4275-3_0_3_load_16 | 26 | 0.0023353 | 0.00058529 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4275-3_0_3_load_89 | 28 | 0.0004215 | 0.00010564 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4275-3_0_3_load_56 | 31 | 0.0032376 | 0.00081142 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4275-3_0_3_load_62 | 32 | 0.0015994 | 0.00040084 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4275-3_0_3_load_23 | 33 | 0.0013733 | 0.00034417 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4275-3_0_3_load_24 | 36 | 0.0018527 | 0.00046433 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4275-3_0_3_load_25 | 37 | 0.014681 | 0.0036794 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4275-3_0_3_load_26 | 38 | 0.0055398 | 0.0013884 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4275-3_0_3_load_27 | 39 | 0.0015111 | 0.00037872 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4275-3_0_3_load_28 | 40 | 0.001912 | 0.00047919 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4275-3_0_3_load_35 | 41 | 0.011868 | 0.0029744 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4275-3_0_3_load_36 | 42 | 0.01411 | 0.0035363 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4275-3_0_3_load_32 | 44 | 0.0046876 | 0.0011748 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4275-3_0_3_load_34 | 45 | 0.0024943 | 0.00062513 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4275-3_0_3_load_37 | 46 | 0.01844 | 0.0046215 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4275-3_0_3_load_33 | 47 | 0.011973 | 0.0030007 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4275-3_0_3_load_38 | 48 | 0.0010035 | 0.0002515 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4275-3_0_3_load_39 | 49 | 0.0020788 | 0.00052099 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4275-3_0_3_load_41 | 51 | 0.0026465 | 0.00066329 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4275-3_0_3_load_42 | 52 | 0.0022766 | 0.00057056 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4275-3_0_3_load_43 | 53 | 0.001646 | 0.00041252 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4275-3_0_3_load_51 | 55 | 0.0012557 | 0.0003147 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4275-3_0_3_load_54 | 56 | 0.0020836 | 0.00052219 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4275-3_0_3_load_50 | 57 | 0.0024462 | 0.00061307 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4275-3_0_3_load_52 | 59 | 0.0029765 | 0.00074597 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4275-3_0_3_load_55 | 60 | 0.0014813 | 0.00037125 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4275-3_0_3_load_46 | 61 | 0.0017845 | 0.00044724 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4275-3_0_3_load_47 | 62 | 0.0019046 | 0.00047734 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4275-3_0_3_load_57 | 63 | 0.004139 | 0.0010373 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4275-3_0_3_load_60 | 64 | 0.00094929 | 0.00023792 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4275-3_0_3_load_61 | 65 | 0.0011631 | 0.00029149 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4275-3_0_3_load_63 | 66 | 0.0022438 | 0.00056234 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4275-3_0_3_load_65 | 67 | 0.00055945 | 0.00014021 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4275-3_0_3_load_92 | 68 | 0.00062846 | 0.00015751 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4275-3_0_3_load_90 | 69 | 0.00040324 | 0.00010106 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4275-3_0_3_load_66 | 70 | 0.0016769 | 0.00042027 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4275-3_0_3_load_67 | 71 | 0.00049406 | 0.00012382 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4275-3_0_3_load_68 | 72 | 0.001708 | 0.00042806 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4275-3_0_3_load_69 | 73 | 0.00070912 | 0.00017772 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4275-3_0_3_load_86 | 74 | 0.00036268 | 9.0896e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4275-3_0_3_load_85 | 75 | 0.00063987 | 0.00016037 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4275-3_0_3_load_71 | 76 | 0.0011443 | 0.0002868 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4275-3_0_3_load_72 | 77 | 0.0016242 | 0.00040706 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4275-3_0_3_load_73 | 78 | 0.00050491 | 0.00012654 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4275-3_0_3_load_74 | 79 | 0.0018485 | 0.00046327 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4275-3_0_3_load_87 | 81 | 0.0014083 | 0.00035296 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4275-3_0_3_load_84 | 82 | 0.00058016 | 0.0001454 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4275-3_0_3_load_94 | 83 | 0.0016845 | 0.00042217 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4275-3_0_3_load_83 | 84 | 0.0004358 | 0.00010922 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4275-3_0_3_load_76 | 85 | 0.0007631 | 0.00019125 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4275-3_0_3_load_79 | 88 | 0.0010999 | 0.00027566 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4275-3_0_3_load_80 | 89 | 0.0016346 | 0.00040967 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4275-3_0_3_load_81 | 90 | 0.00091663 | 0.00022973 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4275-3_0_3_load_82 | 91 | 0.0027174 | 0.00068106 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4275-3_0_3_load_93 | 93 | 0.0020127 | 0.00050443 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4275-3_0_3_load_98 | 94 | 0.0019899 | 0.00049871 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4275-3_0_3_load_96 | 95 | 0.0014469 | 0.00036264 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4275-3_0_3_load_91 | 96 | 0.00099226 | 0.00024868 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4275-3_0_3_load_97 | 97 | 0.001348 | 0.00033784 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4275-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.030195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4275-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0057377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4275-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.032835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4275-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.030552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4275-3_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4275-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.032138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4275-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.020543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4275-3_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.028031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4275-3_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.048056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4275-3_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.014877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4275-3_0_3_line_10 | NAYY 4x150 SE | 9 | 17 | 0.035578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4275-3_0_3_line_11 | NAYY 4x150 SE | 10 | 33 | 0.0045774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4275-3_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.031381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4275-3_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.016332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4275-3_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.015631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4275-3_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.010556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4275-3_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.032644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4275-3_0_3_line_17 | NAYY 4x150 SE | 13 | 17 | 0.031883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_4275-3_0_3_line_18 | NAYY 4x150 SE | 14 | 18 | 0.018605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4275-3_0_3_line_19 | NAYY 4x150 SE | 14 | 19 | 0.013117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4275-3_0_3_line_20 | NAYY 4x150 SE | 15 | 20 | 0.010934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4275-3_0_3_line_21 | NAYY 4x150 SE | 16 | 21 | 0.04463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4275-3_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.02883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4275-3_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.003624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4275-3_0_3_line_24 | NAYY 4x150 SE | 22 | 43 | 0.017567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4275-3_0_3_line_25 | NAYY 4x150 SE | 22 | 44 | 0.009599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4275-3_0_3_line_26 | NAYY 4x150 SE | 23 | 64 | 0.022388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4275-3_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.03938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4275-3_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.036954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4275-3_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.016582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4275-3_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.033722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4275-3_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.011797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4275-3_0_3_line_32 | NAYY 4x150 SE | 28 | 69 | 0.023279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4275-3_0_3_line_33 | NAYY 4x150 SE | 29 | 74 | 0.0035984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4275-3_0_3_line_34 | NAYY 4x150 SE | 29 | 72 | 0.020199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4275-3_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.029684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4275-3_0_3_line_36 | NAYY 4x150 SE | 30 | 32 | 0.016769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4275-3_0_3_line_37 | NAYY 4x150 SE | 31 | 63 | 0.019747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4275-3_0_3_line_38 | NAYY 4x150 SE | 32 | 65 | 0.021031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4275-3_0_3_line_39 | NAYY 4x150 SE | 33 | 34 | 0.014126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4275-3_0_3_line_40 | NAYY 4x150 SE | 34 | 35 | 0.032584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4275-3_0_3_line_41 | NAYY 4x150 SE | 35 | 62 | 0.013001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4275-3_0_3_line_42 | NAYY 4x150 SE | 36 | 37 | 0.028473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4275-3_0_3_line_43 | NAYY 4x150 SE | 36 | 38 | 0.0062054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4275-3_0_3_line_44 | NAYY 4x150 SE | 37 | 39 | 0.0099658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4275-3_0_3_line_45 | NAYY 4x150 SE | 39 | 40 | 0.02279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4275-3_0_3_line_46 | NAYY 4x150 SE | 40 | 41 | 0.040735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4275-3_0_3_line_47 | NAYY 4x150 SE | 41 | 42 | 0.0059279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4275-3_0_3_line_48 | NAYY 4x150 SE | 42 | 46 | 0.031242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4275-3_0_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.01824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4275-3_0_3_line_50 | NAYY 4x150 SE | 43 | 46 | 0.026044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4275-3_0_3_line_51 | NAYY 4x150 SE | 45 | 47 | 0.010093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4275-3_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.03405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4275-3_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.018343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4275-3_0_3_line_54 | NAYY 4x150 SE | 49 | 51 | 0.010302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4275-3_0_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.037241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4275-3_0_3_line_56 | NAYY 4x150 SE | 50 | 53 | 0.019846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4275-3_0_3_line_57 | NAYY 4x150 SE | 51 | 54 | 0.017158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4275-3_0_3_line_58 | NAYY 4x150 SE | 52 | 55 | 0.01472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4275-3_0_3_line_59 | NAYY 4x150 SE | 53 | 56 | 0.0024722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4275-3_0_3_line_60 | NAYY 4x150 SE | 54 | 57 | 0.042113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4275-3_0_3_line_61 | NAYY 4x150 SE | 54 | 58 | 0.004871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4275-3_0_3_line_62 | NAYY 4x150 SE | 55 | 59 | 0.0046817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4275-3_0_3_line_63 | NAYY 4x150 SE | 56 | 60 | 0.0085954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4275-3_0_3_line_64 | NAYY 4x150 SE | 58 | 61 | 0.042742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4275-3_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.023192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4275-3_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.015177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4275-3_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.016948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4275-3_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.017676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4275-3_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.01802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4275-3_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.020804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4275-3_0_3_line_71 | NAYY 4x150 SE | 69 | 96 | 0.023572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4275-3_0_3_line_72 | NAYY 4x150 SE | 70 | 71 | 0.0081699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4275-3_0_3_line_73 | NAYY 4x150 SE | 70 | 72 | 0.021711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4275-3_0_3_line_74 | NAYY 4x150 SE | 71 | 73 | 0.02653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4275-3_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.032302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4275-3_0_3_line_76 | NAYY 4x150 SE | 75 | 80 | 0.019463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4275-3_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.027028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4275-3_0_3_line_78 | NAYY 4x150 SE | 76 | 78 | 0.031155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4275-3_0_3_line_79 | NAYY 4x150 SE | 77 | 79 | 0.020637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4275-3_0_3_line_80 | NAYY 4x150 SE | 78 | 80 | 0.025074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4275-3_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.027314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4275-3_0_3_line_82 | NAYY 4x150 SE | 80 | 82 | 0.0088219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4275-3_0_3_line_83 | NAYY 4x150 SE | 81 | 83 | 0.022322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4275-3_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.026183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4275-3_0_3_line_85 | NAYY 4x150 SE | 83 | 92 | 0.013924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4275-3_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.017654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4275-3_0_3_line_87 | NAYY 4x150 SE | 86 | 90 | 0.012614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4275-3_0_3_line_88 | NAYY 4x150 SE | 86 | 91 | 0.011055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4275-3_0_3_line_89 | NAYY 4x150 SE | 87 | 88 | 0.016012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4275-3_0_3_line_90 | NAYY 4x150 SE | 87 | 89 | 0.042606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4275-3_0_3_line_91 | NAYY 4x150 SE | 89 | 92 | 0.036635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4275-3_0_3_line_92 | NAYY 4x150 SE | 90 | 93 | 0.019805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4275-3_0_3_line_93 | NAYY 4x150 SE | 91 | 94 | 0.010845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4275-3_0_3_line_94 | NAYY 4x150 SE | 92 | 95 | 0.016428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4275-3_0_3_line_95 | NAYY 4x150 SE | 93 | 96 | 0.0049851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4275-3_0_3_line_96 | NAYY 4x150 SE | 95 | 97 | 0.015181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4275-3_0_3_trafo_12 | 0.25 MVA 20/0.4 kV | 98 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2647257.6942 | 1236216.7435 | 2647237.3916 | 1236210.0543 | 2647228.6555 | 1236208.8491
1 | 2647263.0264 | 1236218.8526 | 2647259.1424 | 1236217.2207 | 2647257.6942 | 1236216.7435
2 | 2647228.6555 | 1236208.8491 | 2647222.1686 | 1236207.9543 | 2647216.0568 | 1236209.5734 | 2647212.2034 | 1236214.5682 | 2647206.0232 | 1236226.7452
3 | 2647263.0264 | 1236218.8526 | 2647291.2392 | 1236230.7735
4 | 2647263.0264 | 1236218.8526 | 2647268.0907 | 1236207.8726
5 | 2647206.0232 | 1236226.7452 | 2647202.7558 | 1236233.1829 | 2647190.6122 | 1236254.9428
6 | 2647291.2392 | 1236230.7735 | 2647283.1503 | 1236249.6567
7 | 2647268.0907 | 1236207.8726 | 2647279.8309 | 1236182.4184
8 | 2647283.1503 | 1236249.6567 | 2647272.9509 | 1236273.4665 | 2647264.0438 | 1236293.7509
9 | 2647279.8309 | 1236182.4184 | 2647286.0617 | 1236168.9095
10 | 2647249.7393 | 1236326.327 | 2647264.0438 | 1236293.7509
11 | 2647286.0617 | 1236168.9095 | 2647286.6723 | 1236167.5855 | 2647287.7877 | 1236164.6723
12 | 2647224.6009 | 1236367.1412 | 2647210.2899 | 1236384.9067 | 2647204.36 | 1236391.0914
13 | 2647234.8515 | 1236354.4267 | 2647226.8427 | 1236364.3583 | 2647224.6009 | 1236367.1412
14 | 2647193.5423 | 1236402.3738 | 2647204.36 | 1236391.0914
15 | 2647234.8515 | 1236354.4267 | 2647240.7896 | 1236356.553 | 2647245.0463 | 1236356.976
16 | 2647213.0681 | 1236339.0549 | 2647237.8712 | 1236349.6031 | 2647234.8515 | 1236354.4267
17 | 2647234.8515 | 1236354.4267 | 2647237.8712 | 1236349.6031 | 2647243.4355 | 1236340.6861 | 2647249.7393 | 1236326.327
18 | 2647181.0536 | 1236416.1946 | 2647193.5423 | 1236402.3738
19 | 2647193.5423 | 1236402.3738 | 2647202.596 | 1236411.8652
20 | 2647245.0463 | 1236356.976 | 2647251.0359 | 1236356.4343 | 2647255.7671 | 1236355.0859
21 | 2647213.0681 | 1236339.0549 | 2647192.3347 | 1236329.5953 | 2647181.9581 | 1236328.0231 | 2647171.3564 | 1236332.0633
22 | 2647283.561 | 1236347.4539 | 2647278.9295 | 1236348.4843 | 2647255.7671 | 1236355.0859
23 | 2647168.8568 | 1236334.6872 | 2647171.3552 | 1236332.0637 | 2647171.3564 | 1236332.0633
24 | 2647283.561 | 1236347.4539 | 2647300.7602 | 1236343.6438
25 | 2647283.3876 | 1236337.8574 | 2647283.561 | 1236347.4539
26 | 2647168.8568 | 1236334.6872 | 2647153.4171 | 1236350.8997
27 | 2647086.6549 | 1236513.7135 | 2647075.0285 | 1236511.8822 | 2647064.1958 | 1236506.782 | 2647050.3652 | 1236499.4867
28 | 2647022.6681 | 1236475.4765 | 2647026.9388 | 1236479.9589 | 2647036.2627 | 1236490.2281 | 2647047.0762 | 1236497.7518 | 2647050.3652 | 1236499.4867
29 | 2647010.7972 | 1236463.9654 | 2647013.7464 | 1236466.1123 | 2647022.6681 | 1236475.4765
30 | 2647010.7972 | 1236463.9654 | 2647028.8922 | 1236435.5095
31 | 2647001.2351 | 1236457.0187 | 2647010.7972 | 1236463.9654
32 | 2647041.3838 | 1236415.8654 | 2647028.8922 | 1236435.5095
33 | 2647001.2351 | 1236457.0187 | 2646998.1638 | 1236455.1437
34 | 2647001.2351 | 1236457.0187 | 2646986.4374 | 1236459.57 | 2646982.0514 | 1236462.3317
35 | 2647134.1577 | 1236410.2077 | 2647142.6821 | 1236381.7739
36 | 2647134.1577 | 1236410.2077 | 2647124.4383 | 1236423.8733
37 | 2647142.6821 | 1236381.7739 | 2647154.6012 | 1236366.0301
38 | 2647107.9331 | 1236436.4864 | 2647110.2965 | 1236435.4681 | 2647118.0077 | 1236430.5927 | 2647123.0547 | 1236425.8186 | 2647124.4383 | 1236423.8733
39 | 2647292.8389 | 1236151.4798 | 2647287.7877 | 1236164.6723
40 | 2647261.284 | 1236143.0012 | 2647292.8389 | 1236151.4798
41 | 2647261.284 | 1236143.0012 | 2647248.8012 | 1236139.3678
42 | 2647463.6024 | 1236316.9664 | 2647453.266 | 1236320.1441 | 2647435.8526 | 1236323.0777
43 | 2647463.6024 | 1236316.9664 | 2647469.5339 | 1236315.1429
44 | 2647435.8526 | 1236323.0777 | 2647426.0253 | 1236324.7333
45 | 2647426.0253 | 1236324.7333 | 2647416.9725 | 1236326.2584 | 2647403.4783 | 1236328.0257
46 | 2647363.1161 | 1236333.5236 | 2647390.5672 | 1236329.7167 | 2647403.4783 | 1236328.0257
47 | 2647363.1161 | 1236333.5236 | 2647357.2443 | 1236334.3379
48 | 2647357.2443 | 1236334.3379 | 2647326.2986 | 1236338.6295
49 | 2647300.7602 | 1236343.6438 | 2647303.6359 | 1236361.656
50 | 2647300.7602 | 1236343.6438 | 2647318.5431 | 1236339.705 | 2647326.2986 | 1236338.6295
51 | 2647307.337 | 1236368.8929 | 2647305.9543 | 1236361.2742 | 2647303.6359 | 1236361.656 | 2647303.6359 | 1236361.656
52 | 2647150.6547 | 1236163.3997 | 2647156.9211 | 1236165.776 | 2647164.7994 | 1236167.5396 | 2647168.5038 | 1236164.1669 | 2647174.8871 | 1236151.4094
53 | 2647133.5038 | 1236156.8957 | 2647150.6547 | 1236163.3997
54 | 2647174.8871 | 1236151.4094 | 2647177.3307 | 1236146.5256 | 2647178.7279 | 1236141.8908
55 | 2647133.5038 | 1236156.8957 | 2647098.687 | 1236143.678
56 | 2647133.5038 | 1236156.8957 | 2647125.8532 | 1236175.2075
57 | 2647183.6802 | 1236125.4625 | 2647178.7279 | 1236141.8908
58 | 2647100.1873 | 1236129.4309 | 2647097.9508 | 1236136.323 | 2647097.791 | 1236140.2576 | 2647098.687 | 1236143.678
59 | 2647124.9001 | 1236177.4886 | 2647125.8532 | 1236175.2075
60 | 2647183.6802 | 1236125.4625 | 2647156.1152 | 1236117.6388 | 2647153.7427 | 1236118.1425 | 2647152.5373 | 1236121.2794 | 2647149.7749 | 1236128.4379
61 | 2647185.4943 | 1236120.9407 | 2647183.6802 | 1236125.4625
62 | 2647100.1873 | 1236129.4309 | 2647101.6323 | 1236124.9778
63 | 2647121.5866 | 1236185.4195 | 2647124.9001 | 1236177.4886
64 | 2647185.4943 | 1236120.9407 | 2647226.5331 | 1236132.8861
65 | 2647226.5331 | 1236132.8861 | 2647248.8012 | 1236139.3678
66 | 2647153.4171 | 1236350.8997 | 2647154.6012 | 1236366.0301
67 | 2647107.9331 | 1236436.4864 | 2647103.9112 | 1236438.2193 | 2647091.3978 | 1236439.3977
68 | 2647091.3978 | 1236439.3977 | 2647083.875 | 1236440.1062 | 2647075.1417 | 1236434.9923
69 | 2647059.5916 | 1236425.8867 | 2647075.1417 | 1236434.9923
70 | 2647041.3838 | 1236415.8654 | 2647046.4577 | 1236418.1959 | 2647059.5916 | 1236425.8867
71 | 2647041.3838 | 1236415.8654 | 2647053.8542 | 1236395.8622
72 | 2646963.7321 | 1236473.9802 | 2646956.9859 | 1236478.5885
73 | 2646963.7321 | 1236473.9802 | 2646965.8599 | 1236472.5268 | 2646982.0514 | 1236462.3317
74 | 2646956.9859 | 1236478.5885 | 2646935.0795 | 1236493.5528 | 2646935.0795 | 1236493.5528
75 | 2646970.3297 | 1236438.7558 | 2646988.2455 | 1236449.0887 | 2646998.1638 | 1236455.1437
76 | 2646954.5091 | 1236427.6417 | 2646959.8263 | 1236432.6981 | 2646970.3297 | 1236438.7558
77 | 2646939.6373 | 1236373.4225 | 2646937.319 | 1236365.2326 | 2646937.037 | 1236359.738 | 2646946.6718 | 1236350.989
78 | 2646939.6373 | 1236373.4225 | 2646948.123 | 1236403.3995
79 | 2646946.6718 | 1236350.989 | 2646961.9498 | 1236337.1156
80 | 2646954.5091 | 1236427.6417 | 2646951.6807 | 1236415.9675 | 2646948.123 | 1236403.3995
81 | 2646954.5091 | 1236427.6417 | 2646958.8052 | 1236418.2919 | 2646968.9172 | 1236404.5964
82 | 2646954.5091 | 1236427.6417 | 2646946.0477 | 1236425.1458
83 | 2646968.9172 | 1236404.5964 | 2646982.1764 | 1236386.6385
84 | 2646920.7355 | 1236418.4705 | 2646938.1655 | 1236422.8207 | 2646946.0477 | 1236425.1458
85 | 2646990.4473 | 1236375.4367 | 2646982.1764 | 1236386.6385
86 | 2647073.4449 | 1236364.1305 | 2647072.9905 | 1236357.5004 | 2647070.1006 | 1236350.7398 | 2647067.864 | 1236347.8477
87 | 2647073.4449 | 1236364.1305 | 2647072.5666 | 1236367.0698 | 2647069.1642 | 1236372.4686 | 2647067.3955 | 1236375.1007
88 | 2647073.4449 | 1236364.1305 | 2647081.1281 | 1236364.7028 | 2647084.0408 | 1236366.3591
89 | 2647037.5173 | 1236311.6903 | 2647025.6749 | 1236300.9138
90 | 2647037.5173 | 1236311.6903 | 2647012.209 | 1236345.965
91 | 2646990.4473 | 1236375.4367 | 2647012.209 | 1236345.965
92 | 2647067.3955 | 1236375.1007 | 2647058.8271 | 1236387.8855 | 2647056.4915 | 1236391.6318
93 | 2647084.0408 | 1236366.3591 | 2647093.4683 | 1236371.72
94 | 2646990.4473 | 1236375.4367 | 2646978.2249 | 1236364.4591
95 | 2647053.8542 | 1236395.8622 | 2647056.4915 | 1236391.6318
96 | 2646966.9305 | 1236354.3151 | 2646978.2249 | 1236364.4591

## bus_geodata
| x | y | coords
0 | 2647257.6942 | 1236216.7435
1 | 2647228.6555 | 1236208.8491
2 | 2647263.0264 | 1236218.8526
3 | 2647206.0232 | 1236226.7452
4 | 2647291.2392 | 1236230.7735
5 | 2647268.0907 | 1236207.8726
6 | 2647190.6122 | 1236254.9428
7 | 2647283.1503 | 1236249.6567
8 | 2647279.8309 | 1236182.4184
9 | 2647264.0438 | 1236293.7509
10 | 2647286.0617 | 1236168.9095
11 | 2647224.6009 | 1236367.1412
12 | 2647204.36 | 1236391.0914
13 | 2647234.8515 | 1236354.4267
14 | 2647193.5424 | 1236402.3738
15 | 2647245.0463 | 1236356.976
16 | 2647213.0681 | 1236339.0549
17 | 2647249.7393 | 1236326.327
18 | 2647181.0536 | 1236416.1946
19 | 2647202.596 | 1236411.8652
20 | 2647255.7671 | 1236355.0859
21 | 2647171.3564 | 1236332.0633
22 | 2647283.561 | 1236347.4539
23 | 2647168.8568 | 1236334.6872
24 | 2647086.6549 | 1236513.7135
25 | 2647050.3652 | 1236499.4867
26 | 2647022.6681 | 1236475.4765
27 | 2647010.7972 | 1236463.9654
28 | 2647028.8922 | 1236435.5095
29 | 2647001.2351 | 1236457.0187
30 | 2647134.1577 | 1236410.2077
31 | 2647142.6821 | 1236381.7739
32 | 2647124.4383 | 1236423.8733
33 | 2647287.7877 | 1236164.6723
34 | 2647292.8389 | 1236151.4798
35 | 2647261.284 | 1236143.0012
36 | 2647463.6024 | 1236316.9664
37 | 2647435.8526 | 1236323.0777
38 | 2647469.5339 | 1236315.1429
39 | 2647426.0253 | 1236324.7333
40 | 2647403.4783 | 1236328.0257
41 | 2647363.1161 | 1236333.5236
42 | 2647357.2444 | 1236334.3379
43 | 2647300.7602 | 1236343.6438
44 | 2647283.3876 | 1236337.8574
45 | 2647303.6359 | 1236361.656
46 | 2647326.2986 | 1236338.6295
47 | 2647307.337 | 1236368.8929
48 | 2647150.6547 | 1236163.3997
49 | 2647174.8871 | 1236151.4094
50 | 2647133.5038 | 1236156.8957
51 | 2647178.7279 | 1236141.8908
52 | 2647098.687 | 1236143.678
53 | 2647125.8532 | 1236175.2075
54 | 2647183.6802 | 1236125.4625
55 | 2647100.1873 | 1236129.4309
56 | 2647124.9001 | 1236177.4886
57 | 2647149.7749 | 1236128.4379
58 | 2647185.4943 | 1236120.9407
59 | 2647101.6323 | 1236124.9778
60 | 2647121.5866 | 1236185.4195
61 | 2647226.5331 | 1236132.8861
62 | 2647248.8012 | 1236139.3678
63 | 2647154.6012 | 1236366.0301
64 | 2647153.4171 | 1236350.8997
65 | 2647107.9331 | 1236436.4864
66 | 2647091.3978 | 1236439.3977
67 | 2647075.1417 | 1236434.9923
68 | 2647059.5916 | 1236425.8867
69 | 2647041.3838 | 1236415.8654
70 | 2646963.7321 | 1236473.9802
71 | 2646956.9859 | 1236478.5885
72 | 2646982.0514 | 1236462.3317
73 | 2646935.0795 | 1236493.5528
74 | 2646998.1638 | 1236455.1437
75 | 2646970.3297 | 1236438.7558
76 | 2646939.6373 | 1236373.4225
77 | 2646946.6718 | 1236350.989
78 | 2646948.123 | 1236403.3995
79 | 2646961.9498 | 1236337.1156
80 | 2646954.5091 | 1236427.6417
81 | 2646968.9172 | 1236404.5964
82 | 2646946.0477 | 1236425.1458
83 | 2646982.1764 | 1236386.6385
84 | 2646920.7355 | 1236418.4705
85 | 2647067.864 | 1236347.8477
86 | 2647073.4449 | 1236364.1305
87 | 2647037.5173 | 1236311.6903
88 | 2647025.6749 | 1236300.9138
89 | 2647012.209 | 1236345.965
90 | 2647067.3955 | 1236375.1007
91 | 2647084.0408 | 1236366.3591
92 | 2646990.4473 | 1236375.4367
93 | 2647056.4915 | 1236391.6318
94 | 2647093.4683 | 1236371.72
95 | 2646978.2249 | 1236364.4591
96 | 2647053.8542 | 1236395.8622
97 | 2646966.9305 | 1236354.3151
98 | 2647237.8712 | 1236349.6031

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1