## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4277-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4277-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4277-3_0_3_node_39 | 0.4 | n |  | TRUE
3 | bus_LV_4277-3_0_3_node_37 | 0.4 | n |  | TRUE
4 | bus_LV_4277-3_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4277-3_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4277-3_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4277-3_0_3_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_4277-3_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_4277-3_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4277-3_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_4277-3_0_3_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_4277-3_0_3_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_4277-3_0_3_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_4277-3_0_3_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_4277-3_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4277-3_0_3_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_4277-3_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_4277-3_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_4277-3_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_4277-3_0_3_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_4277-3_0_3_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_4277-3_0_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_4277-3_0_3_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_4277-3_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_4277-3_0_3_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_4277-3_0_3_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_4277-3_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_4277-3_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_4277-3_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_4277-3_0_3_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_4277-3_0_3_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_4277-3_0_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_4277-3_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_4277-3_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_4277-3_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_4277-3_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_4277-3_0_3_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_4277-3_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_4277-3_0_3_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_4277-3_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_4277-3_0_3_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_4277-3_0_3_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_4277-3_0_3_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_4277-3_0_3_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_4277-3_0_3_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_4277-3_0_3_node_97 | 0.4 | n |  | TRUE
47 | bus_LV_4277-3_0_3_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_4277-3_0_3_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_4277-3_0_3_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_4277-3_0_3_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_4277-3_0_3_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_4277-3_0_3_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_4277-3_0_3_node_95 | 0.4 | n |  | TRUE
54 | bus_LV_4277-3_0_3_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_4277-3_0_3_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_4277-3_0_3_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_4277-3_0_3_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_4277-3_0_3_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_4277-3_0_3_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_4277-3_0_3_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_4277-3_0_3_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_4277-3_0_3_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_4277-3_0_3_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_4277-3_0_3_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_4277-3_0_3_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_4277-3_0_3_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_4277-3_0_3_node_91 | 0.4 | n |  | TRUE
68 | bus_LV_4277-3_0_3_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_4277-3_0_3_node_90 | 0.4 | n |  | TRUE
70 | bus_LV_4277-3_0_3_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_4277-3_0_3_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_4277-3_0_3_node_96 | 0.4 | n |  | TRUE
73 | bus_LV_4277-3_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_4277-3_0_3_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_4277-3_0_3_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_4277-3_0_3_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_4277-3_0_3_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_4277-3_0_3_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_4277-3_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_4277-3_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_4277-3_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_4277-3_0_3_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_4277-3_0_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_4277-3_0_3_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_4277-3_0_3_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_4277-3_0_3_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_4277-3_0_3_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_4277-3_0_3_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_4277-3_0_3_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_4277-3_0_3_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_4277-3_0_3_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_4277-3_0_3_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_4277-3_0_3_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_4277-3_0_3_node_79 | 0.4 | n |  | TRUE
95 | bus_MV_472_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4277-3_0_3_load_0 | 0 | 0.00071511 | 0.00017922 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4277-3_0_3_load_1 | 1 | 0.0010938 | 0.00027414 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4277-3_0_3_load_39 | 2 | 0.0020018 | 0.00050169 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4277-3_0_3_load_37 | 3 | 0.001403 | 0.00035161 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4277-3_0_3_load_3 | 4 | 0.00085084 | 0.00021324 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4277-3_0_3_load_4 | 5 | 0.00062282 | 0.00015609 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4277-3_0_3_load_5 | 6 | 0.0015678 | 0.00039292 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4277-3_0_3_load_61 | 7 | 0.00039316 | 9.8535e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4277-3_0_3_load_13 | 8 | 0.0015028 | 0.00037664 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4277-3_0_3_load_15 | 10 | 0.0026878 | 0.00067361 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4277-3_0_3_load_50 | 11 | 0.0012238 | 0.0003067 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4277-3_0_3_load_42 | 13 | 0.0016031 | 0.00040178 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4277-3_0_3_load_46 | 14 | 0.0012197 | 0.00030568 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4277-3_0_3_load_51 | 16 | 0.00099454 | 0.00024926 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4277-3_0_3_load_7 | 17 | 0.0004022 | 0.0001008 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4277-3_0_3_load_8 | 18 | 0.00076067 | 0.00019064 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4277-3_0_3_load_9 | 19 | 0.0020211 | 0.00050653 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4277-3_0_3_load_48 | 20 | 0.0016223 | 0.00040658 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4277-3_0_3_load_49 | 21 | 0.0018828 | 0.00047187 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4277-3_0_3_load_33 | 23 | 0.0020604 | 0.00051638 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4277-3_0_3_load_29 | 24 | 0.0014493 | 0.00036324 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4277-3_0_3_load_10 | 25 | 0.00036949 | 9.2603e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4277-3_0_3_load_14 | 27 | 0.0006832 | 0.00017123 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4277-3_0_3_load_28 | 28 | 0.0011238 | 0.00028165 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4277-3_0_3_load_26 | 29 | 0.00039725 | 9.9561e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4277-3_0_3_load_45 | 30 | 0.0024787 | 0.00062123 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4277-3_0_3_load_47 | 31 | 0.0011642 | 0.00029178 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4277-3_0_3_load_43 | 32 | 0.0022164 | 0.00055548 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4277-3_0_3_load_16 | 33 | 0.00061621 | 0.00015444 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4277-3_0_3_load_17 | 34 | 0.0022624 | 0.00056702 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4277-3_0_3_load_18 | 35 | 0.0015867 | 0.00039767 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4277-3_0_3_load_21 | 37 | 0.0024617 | 0.00061697 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4277-3_0_3_load_23 | 38 | 0.0015432 | 0.00038676 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4277-3_0_3_load_20 | 39 | 0.00090446 | 0.00022668 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4277-3_0_3_load_22 | 40 | 0.0028415 | 0.00071215 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4277-3_0_3_load_67 | 41 | 0.0012942 | 0.00032435 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4277-3_0_3_load_55 | 42 | 0.0016575 | 0.00041542 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4277-3_0_3_load_68 | 43 | 0.0052152 | 0.0013071 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4277-3_0_3_load_53 | 44 | 0.0027891 | 0.00069902 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4277-3_0_3_load_98 | 45 | 0.0019713 | 0.00049406 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4277-3_0_3_load_97 | 46 | 0.0021267 | 0.00053301 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4277-3_0_3_load_24 | 47 | 0.0019251 | 0.00048247 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4277-3_0_3_load_25 | 48 | 0.0015745 | 0.0003946 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4277-3_0_3_load_66 | 49 | 0.00061343 | 0.00015374 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4277-3_0_3_load_27 | 50 | 0.00056019 | 0.0001404 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4277-3_0_3_load_65 | 51 | 0.0011633 | 0.00029155 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4277-3_0_3_load_95 | 53 | 0.0019118 | 0.00047914 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4277-3_0_3_load_64 | 54 | 0.0018806 | 0.00047133 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4277-3_0_3_load_80 | 55 | 0.0012786 | 0.00032044 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4277-3_0_3_load_63 | 56 | 0.0017472 | 0.00043788 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4277-3_0_3_load_30 | 57 | 0.0006753 | 0.00016925 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4277-3_0_3_load_32 | 58 | 0.0012856 | 0.00032221 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4277-3_0_3_load_34 | 59 | 0.00076389 | 0.00019145 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4277-3_0_3_load_35 | 60 | 0.0010241 | 0.00025666 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4277-3_0_3_load_36 | 61 | 0.00073991 | 0.00018544 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4277-3_0_3_load_52 | 62 | 0.0015861 | 0.00039753 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4277-3_0_3_load_38 | 63 | 0.0028017 | 0.00070218 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4277-3_0_3_load_40 | 64 | 0.0013736 | 0.00034425 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4277-3_0_3_load_41 | 65 | 0.0023907 | 0.00059916 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4277-3_0_3_load_44 | 66 | 0.0019311 | 0.00048398 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4277-3_0_3_load_87 | 68 | 0.0016754 | 0.00041989 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4277-3_0_3_load_90 | 69 | 0.0024693 | 0.00061886 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4277-3_0_3_load_54 | 70 | 0.0010276 | 0.00025755 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4277-3_0_3_load_96 | 72 | 0.001496 | 0.00037494 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4277-3_0_3_load_59 | 73 | 0.0010068 | 0.00025232 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4277-3_0_3_load_58 | 74 | 0.001141 | 0.00028597 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4277-3_0_3_load_57 | 75 | 0.0016838 | 0.000422 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4277-3_0_3_load_77 | 76 | 0.0015854 | 0.00039734 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4277-3_0_3_load_94 | 77 | 0.0014919 | 0.00037389 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4277-3_0_3_load_92 | 78 | 0.001631 | 0.00040876 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4277-3_0_3_load_76 | 79 | 0.0015643 | 0.00039205 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4277-3_0_3_load_69 | 80 | 0.0021377 | 0.00053576 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4277-3_0_3_load_70 | 81 | 0.0019118 | 0.00047914 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4277-3_0_3_load_71 | 82 | 0.0021624 | 0.00054195 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4277-3_0_3_load_89 | 84 | 0.0024238 | 0.00060745 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4277-3_0_3_load_85 | 85 | 0.0023053 | 0.00057777 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4277-3_0_3_load_73 | 86 | 0.0012451 | 0.00031205 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4277-3_0_3_load_84 | 87 | 0.002888 | 0.00072381 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4277-3_0_3_load_74 | 88 | 0.0019892 | 0.00049854 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4277-3_0_3_load_83 | 89 | 0.0022498 | 0.00056385 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4277-3_0_3_load_75 | 90 | 0.00096253 | 0.00024123 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4277-3_0_3_load_81 | 91 | 0.0019449 | 0.00048744 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4277-3_0_3_load_93 | 92 | 0.0021169 | 0.00053054 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4277-3_0_3_load_78 | 93 | 0.0016689 | 0.00041828 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4277-3_0_3_load_79 | 94 | 0.0021073 | 0.00052813 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4277-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4277-3_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.034231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4277-3_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.00683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4277-3_0_3_line_3 | NAYY 4x150 SE | 3 | 63 | 0.013233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4277-3_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0069592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4277-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.019186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4277-3_0_3_line_6 | NAYY 4x150 SE | 6 | 9 | 0.0051878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4277-3_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.030628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4277-3_0_3_line_8 | NAYY 4x150 SE | 8 | 26 | 0.03042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4277-3_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.021585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4277-3_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.024676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4277-3_0_3_line_11 | NAYY 4x150 SE | 10 | 15 | 0.018764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4277-3_0_3_line_12 | NAYY 4x150 SE | 11 | 16 | 0.0079122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4277-3_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.024748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4277-3_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.01189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4277-3_0_3_line_15 | NAYY 4x150 SE | 13 | 65 | 0.016175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4277-3_0_3_line_16 | NAYY 4x150 SE | 14 | 66 | 0.028095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4277-3_0_3_line_17 | NAYY 4x150 SE | 15 | 27 | 0.030365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4277-3_0_3_line_18 | NAYY 4x150 SE | 15 | 25 | 0.0053365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4277-3_0_3_line_19 | NAYY 4x150 SE | 16 | 62 | 0.023488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4277-3_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0034294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4277-3_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.027648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4277-3_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.021942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4277-3_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.04951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4277-3_0_3_line_24 | NAYY 4x150 SE | 21 | 67 | 0.02137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4277-3_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.0055918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4277-3_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.032424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4277-3_0_3_line_27 | NAYY 4x150 SE | 24 | 57 | 0.001598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4277-3_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.030563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4277-3_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.02589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4277-3_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0047028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4277-3_0_3_line_31 | NAYY 4x150 SE | 29 | 47 | 0.026231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4277-3_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.012635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4277-3_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.026954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4277-3_0_3_line_34 | NAYY 4x150 SE | 31 | 56 | 0.011289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_4277-3_0_3_line_35 | NAYY 4x150 SE | 32 | 66 | 0.010055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4277-3_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.033125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4277-3_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.0036699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4277-3_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.005254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4277-3_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.044567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4277-3_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.021987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4277-3_0_3_line_41 | NAYY 4x150 SE | 36 | 39 | 0.013909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4277-3_0_3_line_42 | NAYY 4x150 SE | 37 | 40 | 0.0068633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4277-3_0_3_line_43 | NAYY 4x150 SE | 38 | 42 | 0.013059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4277-3_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.025414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4277-3_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.0047374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4277-3_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.019876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4277-3_0_3_line_47 | NAYY 4x150 SE | 43 | 76 | 0.02316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4277-3_0_3_line_48 | NAYY 4x150 SE | 44 | 70 | 0.0067599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4277-3_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.025823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4277-3_0_3_line_50 | NAYY 4x150 SE | 46 | 72 | 0.029342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4277-3_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.015139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4277-3_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.025856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4277-3_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.018795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4277-3_0_3_line_54 | NAYY 4x150 SE | 49 | 52 | 0.075467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4277-3_0_3_line_55 | NAYY 4x150 SE | 49 | 51 | 0.004822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4277-3_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.014768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4277-3_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.011125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_4277-3_0_3_line_58 | NAYY 4x150 SE | 52 | 55 | 0.0060657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_4277-3_0_3_line_59 | NAYY 4x150 SE | 53 | 92 | 0.017614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4277-3_0_3_line_60 | NAYY 4x150 SE | 54 | 56 | 0.010747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_4277-3_0_3_line_61 | NAYY 4x150 SE | 55 | 93 | 0.026899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_4277-3_0_3_line_62 | NAYY 4x150 SE | 57 | 58 | 0.013267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4277-3_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.014745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4277-3_0_3_line_64 | NAYY 4x150 SE | 59 | 60 | 0.013735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4277-3_0_3_line_65 | NAYY 4x150 SE | 60 | 61 | 0.0047576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4277-3_0_3_line_66 | NAYY 4x150 SE | 61 | 62 | 0.0013498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4277-3_0_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.012521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4277-3_0_3_line_68 | NAYY 4x150 SE | 64 | 65 | 0.0089859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4277-3_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.030792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_4277-3_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.015366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_4277-3_0_3_line_71 | NAYY 4x150 SE | 68 | 82 | 0.05322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_4277-3_0_3_line_72 | NAYY 4x150 SE | 69 | 84 | 0.017656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_4277-3_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.015892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4277-3_0_3_line_74 | NAYY 4x150 SE | 71 | 73 | 0.012925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4277-3_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.076407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4277-3_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.014443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4277-3_0_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.007044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4277-3_0_3_line_78 | NAYY 4x150 SE | 76 | 79 | 0.0011015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4277-3_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.014515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4277-3_0_3_line_80 | NAYY 4x150 SE | 78 | 92 | 0.0094872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4277-3_0_3_line_81 | NAYY 4x150 SE | 79 | 90 | 0.021183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4277-3_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.024338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4277-3_0_3_line_83 | NAYY 4x150 SE | 80 | 82 | 0.026043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4277-3_0_3_line_84 | NAYY 4x150 SE | 81 | 83 | 0.038403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4277-3_0_3_line_85 | NAYY 4x150 SE | 83 | 86 | 0.0054976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4277-3_0_3_line_86 | NAYY 4x150 SE | 84 | 85 | 0.0019473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_4277-3_0_3_line_87 | NAYY 4x150 SE | 85 | 87 | 0.020654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
88 | LV_4277-3_0_3_line_88 | NAYY 4x150 SE | 86 | 88 | 0.0076744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4277-3_0_3_line_89 | NAYY 4x150 SE | 87 | 89 | 0.021422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_4277-3_0_3_line_90 | NAYY 4x150 SE | 88 | 90 | 0.018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4277-3_0_3_line_91 | NAYY 4x150 SE | 89 | 91 | 0.0018445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_4277-3_0_3_line_92 | NAYY 4x150 SE | 91 | 94 | 0.022633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
93 | LV_4277-3_0_3_line_93 | NAYY 4x150 SE | 93 | 94 | 0.0072436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4277-3_0_3_trafo_47 | 0.25 MVA 20/0.4 kV | 95 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2647317.5108 | 1235253.7531 | 2647321.9464 | 1235242.4634 | 2647322.5659 | 1235242.5693
1 | 2647315.2795 | 1235209.1223 | 2647322.5659 | 1235242.5693
2 | 2647315.2795 | 1235209.1223 | 2647316.0734 | 1235202.3387
3 | 2647317.6115 | 1235189.1957 | 2647316.0734 | 1235202.3387
4 | 2647509.9329 | 1235238.7561 | 2647508.3809 | 1235245.5401
5 | 2647509.9329 | 1235238.7561 | 2647512.8948 | 1235225.8088 | 2647514.7604 | 1235220.2076
6 | 2647516.3998 | 1235215.2856 | 2647514.7604 | 1235220.2076
7 | 2647434.6572 | 1235239.3873 | 2647442.2442 | 1235209.714
8 | 2647449.913 | 1235180.2768 | 2647443.8788 | 1235203.3211 | 2647442.2442 | 1235209.714
9 | 2647516.3998 | 1235215.2856 | 2647497.7445 | 1235206.7311 | 2647496.9988 | 1235205.9757
10 | 2647516.3998 | 1235215.2856 | 2647530.3884 | 1235194.9571
11 | 2647483.1301 | 1235193.5059 | 2647486.8137 | 1235195.6589 | 2647496.9988 | 1235205.9757
12 | 2647530.3884 | 1235194.9571 | 2647530.8795 | 1235194.2435 | 2647535.7865 | 1235189.1871
13 | 2647356.0931 | 1235161.8282 | 2647332.8416 | 1235158.263 | 2647331.6344 | 1235158.4691
14 | 2647356.0931 | 1235161.8282 | 2647358.8773 | 1235150.2686
15 | 2647331.6344 | 1235158.4691 | 2647325.3768 | 1235159.5377 | 2647320.1113 | 1235167.8344 | 2647320.1113 | 1235167.8344
16 | 2647365.4561 | 1235122.9545 | 2647358.8773 | 1235150.2686
17 | 2647483.1301 | 1235193.5059 | 2647487.034 | 1235163.3926
18 | 2647483.1301 | 1235193.5059 | 2647478.5195 | 1235190.8187
19 | 2647535.7865 | 1235189.1871 | 2647545.0123 | 1235179.6805 | 2647553.9113 | 1235174.6133
20 | 2647649.4993 | 1235118.947 | 2647648.7425 | 1235122.2918
21 | 2647644.152 | 1235149.4866 | 2647645.2087 | 1235146.5391 | 2647647.9404 | 1235125.8366 | 2647648.7425 | 1235122.2918
22 | 2647634.1083 | 1235168.92 | 2647642.2515 | 1235154.7873 | 2647644.152 | 1235149.4866
23 | 2647496.6058 | 1234987.1314 | 2647496.3483 | 1234948.6886 | 2647495.7778 | 1234937.6367
24 | 2647474.434 | 1234938.6961 | 2647495.7778 | 1234937.6367
25 | 2647634.1083 | 1235168.92 | 2647639.4371 | 1235170.6146
26 | 2647634.1083 | 1235168.92 | 2647610.3193 | 1235168.2402 | 2647601.7087 | 1235167.7385
27 | 2647600.1134 | 1235167.6455 | 2647601.7087 | 1235167.7385
28 | 2647449.913 | 1235180.2768 | 2647474.8135 | 1235188.6587 | 2647478.5195 | 1235190.8187
29 | 2647491.4348 | 1235137.8849 | 2647487.6628 | 1235158.542 | 2647487.034 | 1235163.3926
30 | 2647491.4348 | 1235137.8849 | 2647492.2796 | 1235133.2586
31 | 2647492.2796 | 1235133.2586 | 2647494.6831 | 1235120.0958 | 2647497.1348 | 1235107.4808
32 | 2647393.0198 | 1235082.8037 | 2647385.4932 | 1235092.9521
33 | 2647367.8105 | 1235113.1793 | 2647367.8105 | 1235113.1793 | 2647377.4517 | 1235103.7946 | 2647385.4932 | 1235092.9521
34 | 2647393.0198 | 1235082.8037 | 2647399.7449 | 1235073.7361
35 | 2647367.8105 | 1235113.1793 | 2647365.4561 | 1235122.9545
36 | 2647283.5341 | 1235094.512 | 2647267.9254 | 1235123.7292
37 | 2647285.2634 | 1235091.275 | 2647283.5341 | 1235094.512
38 | 2647265.4497 | 1235128.3634 | 2647267.9254 | 1235123.7292
39 | 2647285.2634 | 1235091.275 | 2647299.8997 | 1235049.1795
40 | 2647265.4497 | 1235128.3634 | 2647264.336 | 1235137.0712 | 2647263.7153 | 1235150.2654
41 | 2647265.4497 | 1235128.3634 | 2647266.1357 | 1235122.9988 | 2647268.1617 | 1235114.7432
42 | 2647305.5989 | 1235045.375 | 2647303.2258 | 1235047.1898 | 2647299.8997 | 1235049.1795
43 | 2647263.1016 | 1235163.3099 | 2647263.7153 | 1235150.2654
44 | 2647305.5989 | 1235045.375 | 2647315.7444 | 1235037.6166 | 2647324.0522 | 1235028.0872
45 | 2647324.0522 | 1235028.0872 | 2647327.1654 | 1235024.5163
46 | 2647262.1676 | 1235183.1639 | 2647263.1016 | 1235163.3099
47 | 2647340.8817 | 1235005.873 | 2647329.5772 | 1235021.7499 | 2647327.1654 | 1235024.5163
48 | 2647262.1676 | 1235183.1639 | 2647261.8499 | 1235189.9163
49 | 2647183.6085 | 1235171.5454 | 2647182.1901 | 1235145.7618
50 | 2647185.2202 | 1235200.8432 | 2647183.6085 | 1235171.5454
51 | 2647497.1348 | 1235107.4808 | 2647500.023 | 1235092.6202
52 | 2647497.1348 | 1235107.4808 | 2647471.5953 | 1235103.4486
53 | 2647500.7306 | 1235073.9287 | 2647501.0606 | 1235087.2813 | 2647500.023 | 1235092.6202
54 | 2647412.7745 | 1235056.168 | 2647471.5953 | 1235103.4486
55 | 2647470.2816 | 1235108.0881 | 2647471.5953 | 1235103.4486
56 | 2647412.7745 | 1235056.168 | 2647399.0587 | 1235050.6936
57 | 2647412.7745 | 1235056.168 | 2647406.1472 | 1235065.1038
58 | 2647412.7745 | 1235056.168 | 2647414.9016 | 1235050.4874
59 | 2647382.1013 | 1235046.5062 | 2647391.3712 | 1235047.6252 | 2647399.0587 | 1235050.6936
60 | 2647399.7449 | 1235073.7361 | 2647406.1472 | 1235065.1038
61 | 2647424.334 | 1235025.2964 | 2647414.9016 | 1235050.4874
62 | 2647600.1134 | 1235167.6455 | 2647586.8687 | 1235166.8738
63 | 2647586.8687 | 1235166.8738 | 2647586.8687 | 1235166.8738 | 2647572.1735 | 1235168.0901
64 | 2647559.2186 | 1235171.5912 | 2647564.2095 | 1235168.7492 | 2647572.1735 | 1235168.0901
65 | 2647555.0843 | 1235173.9453 | 2647559.2186 | 1235171.5912
66 | 2647555.0843 | 1235173.9453 | 2647553.9113 | 1235174.6133
67 | 2647319.0669 | 1235176.7594 | 2647317.6115 | 1235189.1957
68 | 2647319.0669 | 1235176.7594 | 2647320.1113 | 1235167.8344
69 | 2647474.434 | 1234938.6961 | 2647472.6136 | 1234907.9578
70 | 2647474.434 | 1234938.6961 | 2647459.3784 | 1234941.7667
71 | 2647472.6136 | 1234907.9578 | 2647421.1782 | 1234894.2927
72 | 2647446.538 | 1234953.1523 | 2647451.42 | 1234946.0504 | 2647459.3784 | 1234941.7667
73 | 2647261.4659 | 1235205.8034 | 2647261.7949 | 1235191.0855 | 2647261.8499 | 1235189.9163
74 | 2647261.4659 | 1235205.8034 | 2647261.3631 | 1235218.7275
75 | 2647261.4659 | 1235205.8034 | 2647185.2202 | 1235200.8432
76 | 2647261.3631 | 1235218.7275 | 2647261.2483 | 1235233.1704
77 | 2647261.1922 | 1235240.2142 | 2647261.2483 | 1235233.1704
78 | 2647341.5206 | 1235004.9756 | 2647340.8817 | 1235005.873
79 | 2647367.1855 | 1235065.3105 | 2647376.2055 | 1235053.939
80 | 2647376.2055 | 1235053.939 | 2647382.1013 | 1235046.5062 | 2647382.1013 | 1235046.5062
81 | 2647341.5206 | 1235004.9756 | 2647345.3598 | 1234999.5836 | 2647350.5753 | 1234985.9859
82 | 2647402.3517 | 1234912.2874 | 2647384.7577 | 1234929.104
83 | 2647402.3517 | 1234912.2874 | 2647421.1782 | 1234894.2927
84 | 2647356.867 | 1234955.5027 | 2647384.0614 | 1234929.7696 | 2647384.7577 | 1234929.104
85 | 2647356.867 | 1234955.5027 | 2647355.9708 | 1234960.9267
86 | 2647446.538 | 1234953.1523 | 2647445.4349 | 1234954.757
87 | 2647445.4349 | 1234954.757 | 2647444.1837 | 1234956.5772 | 2647438.8244 | 1234971.8441 | 2647438.2545 | 1234974.0364
88 | 2647355.9708 | 1234960.9267 | 2647354.7197 | 1234968.4985
89 | 2647432.8644 | 1234994.7689 | 2647438.2545 | 1234974.0364
90 | 2647350.5753 | 1234985.9859 | 2647351.3884 | 1234983.866 | 2647354.2269 | 1234971.4807 | 2647354.7197 | 1234968.4985
91 | 2647432.8644 | 1234994.7689 | 2647432.4003 | 1234996.5541
92 | 2647432.4003 | 1234996.5541 | 2647426.7053 | 1235018.4594
93 | 2647424.334 | 1235025.2964 | 2647426.2767 | 1235020.1082 | 2647426.7053 | 1235018.4594

## bus_geodata
| x | y | coords
0 | 2647317.5108 | 1235253.7531
1 | 2647322.5659 | 1235242.5693
2 | 2647315.2795 | 1235209.1223
3 | 2647316.0734 | 1235202.3387
4 | 2647509.9329 | 1235238.7561
5 | 2647508.3809 | 1235245.5401
6 | 2647514.7604 | 1235220.2076
7 | 2647434.6572 | 1235239.3873
8 | 2647442.2442 | 1235209.714
9 | 2647516.3998 | 1235215.2856
10 | 2647496.9988 | 1235205.9757
11 | 2647530.3884 | 1235194.9571
12 | 2647356.0931 | 1235161.8282
13 | 2647331.6344 | 1235158.4691
14 | 2647358.8773 | 1235150.2686
15 | 2647483.1301 | 1235193.5059
16 | 2647535.7865 | 1235189.1871
17 | 2647649.4993 | 1235118.947
18 | 2647648.7425 | 1235122.2918
19 | 2647644.152 | 1235149.4866
20 | 2647496.6058 | 1234987.1314
21 | 2647495.7778 | 1234937.6367
22 | 2647634.1083 | 1235168.92
23 | 2647639.4371 | 1235170.6146
24 | 2647601.7087 | 1235167.7385
25 | 2647478.5195 | 1235190.8187
26 | 2647449.913 | 1235180.2768
27 | 2647487.034 | 1235163.3926
28 | 2647491.4348 | 1235137.8849
29 | 2647492.2796 | 1235133.2586
30 | 2647385.4932 | 1235092.9521
31 | 2647393.0198 | 1235082.8037
32 | 2647367.8105 | 1235113.1793
33 | 2647283.5341 | 1235094.512
34 | 2647267.9254 | 1235123.7292
35 | 2647285.2634 | 1235091.275
36 | 2647265.4497 | 1235128.3634
37 | 2647299.8997 | 1235049.1795
38 | 2647263.7153 | 1235150.2654
39 | 2647268.1617 | 1235114.7432
40 | 2647305.5989 | 1235045.375
41 | 2647324.0522 | 1235028.0872
42 | 2647263.1016 | 1235163.3099
43 | 2647327.1654 | 1235024.5163
44 | 2647262.1676 | 1235183.1639
45 | 2647182.1901 | 1235145.7618
46 | 2647183.6085 | 1235171.5454
47 | 2647497.1348 | 1235107.4808
48 | 2647500.023 | 1235092.6202
49 | 2647471.5953 | 1235103.4486
50 | 2647500.7306 | 1235073.9287
51 | 2647470.2816 | 1235108.0881
52 | 2647412.7745 | 1235056.168
53 | 2647399.0587 | 1235050.6936
54 | 2647406.1472 | 1235065.1038
55 | 2647414.9016 | 1235050.4874
56 | 2647399.7449 | 1235073.7361
57 | 2647600.1134 | 1235167.6455
58 | 2647586.8687 | 1235166.8738
59 | 2647572.1735 | 1235168.0901
60 | 2647559.2186 | 1235171.5912
61 | 2647555.0843 | 1235173.9453
62 | 2647553.9113 | 1235174.6133
63 | 2647317.6115 | 1235189.1957
64 | 2647319.0669 | 1235176.7594
65 | 2647320.1113 | 1235167.8344
66 | 2647365.4561 | 1235122.9545
67 | 2647474.434 | 1234938.6961
68 | 2647472.6136 | 1234907.9578
69 | 2647459.3784 | 1234941.7667
70 | 2647261.8499 | 1235189.9163
71 | 2647261.4659 | 1235205.8034
72 | 2647185.2202 | 1235200.8432
73 | 2647261.3631 | 1235218.7275
74 | 2647261.2483 | 1235233.1704
75 | 2647261.1922 | 1235240.2142
76 | 2647340.8817 | 1235005.873
77 | 2647367.1855 | 1235065.3105
78 | 2647376.2055 | 1235053.939
79 | 2647341.5206 | 1235004.9757
80 | 2647402.3517 | 1234912.2874
81 | 2647384.7577 | 1234929.104
82 | 2647421.1782 | 1234894.2927
83 | 2647356.867 | 1234955.5027
84 | 2647446.538 | 1234953.1523
85 | 2647445.4349 | 1234954.757
86 | 2647355.9708 | 1234960.9267
87 | 2647438.2545 | 1234974.0364
88 | 2647354.7197 | 1234968.4985
89 | 2647432.8644 | 1234994.7689
90 | 2647350.5753 | 1234985.9859
91 | 2647432.4003 | 1234996.5541
92 | 2647382.1013 | 1235046.5062
93 | 2647424.334 | 1235025.2964
94 | 2647426.7053 | 1235018.4594
95 | 2647412.7745 | 1235056.168

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1