## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4277-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4277-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4277-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4277-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4277-4_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_4277-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4277-4_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4277-4_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4277-4_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_4277-4_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4277-4_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4277-4_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_4277-4_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4277-4_0_3_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_4277-4_0_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_4277-4_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_4277-4_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_4277-4_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4277-4_0_3_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_4277-4_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_4277-4_0_3_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_4277-4_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_4277-4_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_4277-4_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_4277-4_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_4277-4_0_3_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_4277-4_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_4277-4_0_3_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_4277-4_0_3_node_76 | 0.4 | n |  | TRUE
29 | bus_LV_4277-4_0_3_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_4277-4_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_4277-4_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4277-4_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_4277-4_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_4277-4_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_4277-4_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_4277-4_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_4277-4_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_4277-4_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_4277-4_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_4277-4_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_4277-4_0_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_4277-4_0_3_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_4277-4_0_3_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_4277-4_0_3_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_4277-4_0_3_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_4277-4_0_3_node_78 | 0.4 | n |  | TRUE
47 | bus_LV_4277-4_0_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_4277-4_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_4277-4_0_3_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_4277-4_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_4277-4_0_3_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_4277-4_0_3_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_4277-4_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_4277-4_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_4277-4_0_3_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_4277-4_0_3_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_4277-4_0_3_node_96 | 0.4 | n |  | TRUE
58 | bus_LV_4277-4_0_3_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_4277-4_0_3_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_4277-4_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4277-4_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_4277-4_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_4277-4_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_4277-4_0_3_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_4277-4_0_3_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_4277-4_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_4277-4_0_3_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_4277-4_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_4277-4_0_3_node_87 | 0.4 | n |  | TRUE
70 | bus_LV_4277-4_0_3_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_4277-4_0_3_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_4277-4_0_3_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_4277-4_0_3_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_4277-4_0_3_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_4277-4_0_3_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_4277-4_0_3_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_4277-4_0_3_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_4277-4_0_3_node_98 | 0.4 | n |  | TRUE
79 | bus_LV_4277-4_0_3_node_89 | 0.4 | n |  | TRUE
80 | bus_LV_4277-4_0_3_node_99 | 0.4 | n |  | TRUE
81 | bus_LV_4277-4_0_3_node_97 | 0.4 | n |  | TRUE
82 | bus_LV_4277-4_0_3_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_4277-4_0_3_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_4277-4_0_3_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_4277-4_0_3_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_4277-4_0_3_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_4277-4_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_4277-4_0_3_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_4277-4_0_3_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_4277-4_0_3_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_4277-4_0_3_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_4277-4_0_3_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_4277-4_0_3_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_4277-4_0_3_node_100 | 0.4 | n |  | TRUE
95 | bus_LV_4277-4_0_3_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_4277-4_0_3_node_94 | 0.4 | n |  | TRUE
97 | bus_MV_472_0_node_180 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4277-4_0_3_load_0 | 0 | 0.00073382 | 0.00018391 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4277-4_0_3_load_1 | 1 | 0.0021728 | 0.00054456 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4277-4_0_3_load_2 | 2 | 0.0029592 | 0.00074164 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4277-4_0_3_load_3 | 3 | 0.0032619 | 0.00081752 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4277-4_0_3_load_7 | 4 | 0.0015109 | 0.00037868 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4277-4_0_3_load_4 | 6 | 0.00075071 | 0.00018815 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4277-4_0_3_load_9 | 8 | 0.00094173 | 0.00023602 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4277-4_0_3_load_8 | 9 | 0.010494 | 0.0026301 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4277-4_0_3_load_12 | 12 | 0.00092353 | 0.00023146 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4277-4_0_3_load_77 | 13 | 0.0029929 | 0.00075008 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4277-4_0_3_load_18 | 14 | 0.003036 | 0.00076088 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4277-4_0_3_load_16 | 15 | 0.0003548 | 8.8922e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4277-4_0_3_load_13 | 16 | 0.0012199 | 0.00030573 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4277-4_0_3_load_14 | 17 | 0.0012269 | 0.00030748 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4277-4_0_3_load_15 | 21 | 0.00042359 | 0.00010616 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4277-4_0_3_load_20 | 24 | 0.00046936 | 0.00011763 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4277-4_0_3_load_26 | 26 | 0.00066448 | 0.00016653 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4277-4_0_3_load_92 | 27 | 0.0015402 | 0.00038601 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4277-4_0_3_load_75 | 29 | 0.0059587 | 0.0014934 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4277-4_0_3_load_25 | 30 | 0.00064718 | 0.0001622 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4277-4_0_3_load_21 | 31 | 0.0013665 | 0.00034249 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4277-4_0_3_load_22 | 32 | 0.0014101 | 0.00035341 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4277-4_0_3_load_24 | 33 | 0.00037848 | 9.4857e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4277-4_0_3_load_35 | 34 | 0.0011787 | 0.00029541 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4277-4_0_3_load_36 | 35 | 0.00117 | 0.00029324 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4277-4_0_3_load_29 | 36 | 0.0012999 | 0.0003258 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4277-4_0_3_load_30 | 37 | 0.00034882 | 8.7422e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4277-4_0_3_load_31 | 38 | 0.00034055 | 8.535e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4277-4_0_3_load_32 | 39 | 0.0013768 | 0.00034505 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4277-4_0_3_load_57 | 41 | 0.00041941 | 0.00010511 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4277-4_0_3_load_67 | 42 | 0.00089881 | 0.00022526 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4277-4_0_3_load_58 | 43 | 0.00044493 | 0.00011151 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4277-4_0_3_load_65 | 44 | 0.00039371 | 9.8673e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4277-4_0_3_load_81 | 45 | 0.00071155 | 0.00017833 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4277-4_0_3_load_78 | 46 | 0.0013482 | 0.0003379 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4277-4_0_3_load_55 | 48 | 0.002087 | 0.00052304 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4277-4_0_3_load_56 | 49 | 0.00042054 | 0.0001054 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4277-4_0_3_load_51 | 50 | 0.00041552 | 0.00010414 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4277-4_0_3_load_37 | 51 | 0.00088148 | 0.00022092 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4277-4_0_3_load_38 | 52 | 0.0011363 | 0.00028477 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4277-4_0_3_load_39 | 53 | 0.0014005 | 0.000351 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4277-4_0_3_load_40 | 54 | 0.0012146 | 0.00030442 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4277-4_0_3_load_64 | 55 | 0.001395 | 0.00034963 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4277-4_0_3_load_96 | 57 | 0.0014742 | 0.00036948 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4277-4_0_3_load_83 | 58 | 0.0013625 | 0.00034148 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4277-4_0_3_load_49 | 59 | 0.008306 | 0.0020817 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4277-4_0_3_load_42 | 60 | 0.00055117 | 0.00013814 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4277-4_0_3_load_46 | 61 | 0.0018912 | 0.00047399 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4277-4_0_3_load_48 | 62 | 0.0061454 | 0.0015402 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4277-4_0_3_load_47 | 63 | 0.0059316 | 0.0014866 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4277-4_0_3_load_50 | 64 | 0.0012848 | 0.00032199 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4277-4_0_3_load_66 | 66 | 0.00044401 | 0.00011128 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4277-4_0_3_load_52 | 67 | 0.0026948 | 0.00067539 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4277-4_0_3_load_54 | 68 | 0.002422 | 0.00060702 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4277-4_0_3_load_87 | 69 | 0.0015823 | 0.00039656 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4277-4_0_3_load_84 | 70 | 0.0014415 | 0.00036128 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4277-4_0_3_load_74 | 71 | 0.0033699 | 0.00084457 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4277-4_0_3_load_59 | 72 | 0.0035578 | 0.00089168 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4277-4_0_3_load_60 | 73 | 0.0010102 | 0.00025319 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4277-4_0_3_load_62 | 75 | 0.0011601 | 0.00029076 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4277-4_0_3_load_63 | 76 | 0.0016634 | 0.00041688 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4277-4_0_3_load_88 | 77 | 0.00092342 | 0.00023143 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4277-4_0_3_load_98 | 78 | 0.0012323 | 0.00030884 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4277-4_0_3_load_89 | 79 | 0.0013228 | 0.00033153 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4277-4_0_3_load_99 | 80 | 0.0013339 | 0.0003343 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4277-4_0_3_load_97 | 81 | 0.011911 | 0.0029853 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4277-4_0_3_load_69 | 82 | 0.0096301 | 0.0024135 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4277-4_0_3_load_70 | 83 | 0.0012098 | 0.0003032 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4277-4_0_3_load_72 | 85 | 0.0024007 | 0.00060168 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4277-4_0_3_load_73 | 86 | 0.0011646 | 0.00029187 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4277-4_0_3_load_85 | 87 | 0.0006678 | 0.00016737 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4277-4_0_3_load_79 | 89 | 0.00061879 | 0.00015508 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4277-4_0_3_load_80 | 90 | 0.0011245 | 0.00028183 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4277-4_0_3_load_91 | 92 | 0.00069333 | 0.00017377 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4277-4_0_3_load_95 | 93 | 0.0011507 | 0.00028839 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4277-4_0_3_load_100 | 94 | 0.0010402 | 0.00026069 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4277-4_0_3_load_93 | 95 | 0.0012823 | 0.00032138 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4277-4_0_3_load_94 | 96 | 0.0017166 | 0.00043022 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4277-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4277-4_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4277-4_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.026691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4277-4_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0035549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4277-4_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.014104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4277-4_0_3_line_5 | NAYY 4x150 SE | 5 | 7 | 0.035074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4277-4_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.035462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4277-4_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0067404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4277-4_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.02032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4277-4_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.015754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4277-4_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.017475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4277-4_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.025578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4277-4_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.037519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4277-4_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.023363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4277-4_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.012752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4277-4_0_3_line_15 | NAYY 4x150 SE | 15 | 21 | 0.0011866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4277-4_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.031406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4277-4_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.018339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4277-4_0_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.042707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4277-4_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.038154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4277-4_0_3_line_20 | NAYY 4x150 SE | 19 | 56 | 0.016485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_4277-4_0_3_line_21 | NAYY 4x150 SE | 19 | 53 | 0.016362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_4277-4_0_3_line_22 | NAYY 4x150 SE | 20 | 60 | 0.056108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4277-4_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0087474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4277-4_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.032419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4277-4_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.048794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4277-4_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.014166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4277-4_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.0058324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4277-4_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.046901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4277-4_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.035285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4277-4_0_3_line_30 | NAYY 4x150 SE | 25 | 29 | 0.022053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4277-4_0_3_line_31 | NAYY 4x150 SE | 26 | 30 | 0.03003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4277-4_0_3_line_32 | NAYY 4x150 SE | 28 | 45 | 0.029281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4277-4_0_3_line_33 | NAYY 4x150 SE | 28 | 46 | 0.011183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4277-4_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.033057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4277-4_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.016722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4277-4_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.020825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4277-4_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0089197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4277-4_0_3_line_38 | NAYY 4x150 SE | 35 | 47 | 0.028326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4277-4_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.021652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4277-4_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.035093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4277-4_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.008983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4277-4_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.021999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4277-4_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.010864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4277-4_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.036743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4277-4_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.0091426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4277-4_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.01966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4277-4_0_3_line_47 | NAYY 4x150 SE | 43 | 49 | 0.026719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4277-4_0_3_line_48 | NAYY 4x150 SE | 44 | 66 | 0.018954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4277-4_0_3_line_49 | NAYY 4x150 SE | 46 | 89 | 0.035855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_4277-4_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.023459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_4277-4_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.017307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4277-4_0_3_line_52 | NAYY 4x150 SE | 47 | 50 | 0.023867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_4277-4_0_3_line_53 | NAYY 4x150 SE | 48 | 70 | 0.028881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_4277-4_0_3_line_54 | NAYY 4x150 SE | 50 | 67 | 0.017897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_4277-4_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.011645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_4277-4_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.0049124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_4277-4_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.012408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_4277-4_0_3_line_58 | NAYY 4x150 SE | 54 | 55 | 0.0014499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_4277-4_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.0018003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_4277-4_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.0080846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_4277-4_0_3_line_61 | NAYY 4x150 SE | 56 | 59 | 0.025604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4277-4_0_3_line_62 | NAYY 4x150 SE | 57 | 81 | 0.014003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_4277-4_0_3_line_63 | NAYY 4x150 SE | 58 | 70 | 0.017772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_4277-4_0_3_line_64 | NAYY 4x150 SE | 59 | 63 | 0.03026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4277-4_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.0098732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4277-4_0_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.0089707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4277-4_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.019283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4277-4_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.061713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4277-4_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0089462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_4277-4_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.0051681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_4277-4_0_3_line_71 | NAYY 4x150 SE | 69 | 71 | 0.023677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_4277-4_0_3_line_72 | NAYY 4x150 SE | 71 | 84 | 0.045908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_4277-4_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.014771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4277-4_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.018731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4277-4_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.021435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_4277-4_0_3_line_76 | NAYY 4x150 SE | 74 | 76 | 0.018889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_4277-4_0_3_line_77 | NAYY 4x150 SE | 75 | 77 | 0.0097109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_4277-4_0_3_line_78 | NAYY 4x150 SE | 76 | 78 | 0.0012641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_4277-4_0_3_line_79 | NAYY 4x150 SE | 77 | 79 | 0.0023284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_4277-4_0_3_line_80 | NAYY 4x150 SE | 78 | 80 | 0.022621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_4277-4_0_3_line_81 | NAYY 4x150 SE | 79 | 91 | 0.021898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_4277-4_0_3_line_82 | NAYY 4x150 SE | 80 | 94 | 0.021902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_4277-4_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.019667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4277-4_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.013626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4277-4_0_3_line_85 | NAYY 4x150 SE | 83 | 85 | 0.027028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4277-4_0_3_line_86 | NAYY 4x150 SE | 84 | 86 | 0.021891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_4277-4_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.0088542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_4277-4_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.024711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_4277-4_0_3_line_89 | NAYY 4x150 SE | 88 | 93 | 0.026051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4277-4_0_3_line_90 | NAYY 4x150 SE | 88 | 94 | 0.02071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
91 | LV_4277-4_0_3_line_91 | NAYY 4x150 SE | 89 | 90 | 0.0051387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
92 | LV_4277-4_0_3_line_92 | NAYY 4x150 SE | 90 | 91 | 0.0062541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
93 | LV_4277-4_0_3_line_93 | NAYY 4x150 SE | 91 | 92 | 0.027759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4277-4_0_3_line_94 | NAYY 4x150 SE | 93 | 95 | 0.032498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4277-4_0_3_line_95 | NAYY 4x150 SE | 95 | 96 | 0.0016025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4277-4_0_3_trafo_97 | 0.25 MVA 20/0.4 kV | 97 | 81 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2647159.3457 | 1235412.837 | 2647156.3506 | 1235398.7117
1 | 2647159.3457 | 1235412.837 | 2647162.4626 | 1235427.5367
2 | 2647187.8518 | 1235427.0848 | 2647169.0867 | 1235431.0692 | 2647162.4626 | 1235427.5367 | 2647162.4626 | 1235427.5367
3 | 2647187.8518 | 1235427.0848 | 2647191.3292 | 1235426.3464
4 | 2647205.1253 | 1235423.417 | 2647191.3292 | 1235426.3464
5 | 2647205.1253 | 1235423.417 | 2647206.0615 | 1235434.1758 | 2647203.4973 | 1235448.2978 | 2647200.3349 | 1235457.7009
6 | 2647205.1253 | 1235423.417 | 2647199.6502 | 1235388.3806
7 | 2647200.3349 | 1235457.7009 | 2647197.9037 | 1235463.9876
8 | 2647194.691 | 1235483.9066 | 2647196.1085 | 1235468.6299 | 2647197.9037 | 1235463.9876
9 | 2647189.9822 | 1235498.656 | 2647194.0725 | 1235490.5722 | 2647194.691 | 1235483.9066
10 | 2647189.9822 | 1235498.656 | 2647205.0239 | 1235507.6256
11 | 2647189.9822 | 1235498.656 | 2647176.9575 | 1235490.1472 | 2647168.6136 | 1235484.5987
12 | 2647205.0239 | 1235507.6256 | 2647218.9519 | 1235513.8846 | 2647239.9881 | 1235521.132
13 | 2647205.0239 | 1235507.6256 | 2647199.8245 | 1235524.8175 | 2647199.0352 | 1235530.1616
14 | 2647197.1802 | 1235542.7775 | 2647197.1772 | 1235542.7413 | 2647199.0352 | 1235530.1616
15 | 2647197.1802 | 1235542.7775 | 2647197.2798 | 1235543.9599
16 | 2647071.0163 | 1235419.9407 | 2647076.7864 | 1235423.7331 | 2647097.2642 | 1235437.1851
17 | 2647055.691 | 1235409.8683 | 2647071.0163 | 1235419.9407
18 | 2647055.691 | 1235409.8683 | 2647031.7233 | 1235445.2569
19 | 2647055.691 | 1235409.8683 | 2647023.8308 | 1235388.7361
20 | 2647031.7233 | 1235445.2569 | 2647020.856 | 1235457.6788
21 | 2647031.7233 | 1235445.2569 | 2647045.1094 | 1235454.6653
22 | 2647023.8308 | 1235388.7361 | 2647019.9382 | 1235386.2148 | 2647000.1436 | 1235373.3724 | 2646977.078 | 1235357.7205
23 | 2647198.014 | 1235552.6765 | 2647197.2798 | 1235543.9599
24 | 2647198.014 | 1235552.6765 | 2647198.2561 | 1235555.5358 | 2647201.4301 | 1235564.6779 | 2647211.9437 | 1235581.5611
25 | 2647198.014 | 1235552.6765 | 2647161.5573 | 1235569.2533 | 2647153.6403 | 1235565.5367
26 | 2647211.9437 | 1235581.5611 | 2647200.8698 | 1235590.4344
27 | 2647211.9437 | 1235581.5611 | 2647217.4582 | 1235579.662
28 | 2647111.1849 | 1235545.6056 | 2647153.6403 | 1235565.5367
29 | 2647200.8698 | 1235590.4344 | 2647200.3017 | 1235595.2552 | 2647194.421 | 1235611.53 | 2647187.175 | 1235622.4906
30 | 2647200.8698 | 1235590.4344 | 2647194.1955 | 1235596.0961 | 2647184.681 | 1235600.1566 | 2647181.8632 | 1235601.0501
31 | 2647246.52 | 1235572.4175 | 2647244.3212 | 1235572.6237 | 2647227.8795 | 1235576.073 | 2647217.4582 | 1235579.662
32 | 2647187.175 | 1235622.4906 | 2647204.826 | 1235645.8901
33 | 2647187.175 | 1235622.4906 | 2647181.009 | 1235631.8205
34 | 2646939.7683 | 1235622.3343 | 2646942.4667 | 1235606.3544 | 2646946.1974 | 1235589.9214
35 | 2646949.8995 | 1235573.6144 | 2646949.8995 | 1235573.6144 | 2646946.1974 | 1235589.9214
36 | 2646949.8995 | 1235573.6144 | 2646958.6076 | 1235554.6979
37 | 2646958.6076 | 1235554.6979 | 2646960.4099 | 1235550.7828 | 2646962.9289 | 1235546.9224
38 | 2646979.3825 | 1235523.9378 | 2646973.6473 | 1235530.4966 | 2646962.9289 | 1235546.9224
39 | 2646886.7414 | 1235504.4608 | 2646907.8802 | 1235509.1477
40 | 2646886.7414 | 1235504.4608 | 2646852.4805 | 1235496.8645
41 | 2646916.6812 | 1235510.946 | 2646908.5277 | 1235509.2912 | 2646907.8802 | 1235509.1477
42 | 2646831.0026 | 1235492.1025 | 2646852.4805 | 1235496.8645
43 | 2646916.6812 | 1235510.946 | 2646922.1505 | 1235512.056 | 2646927.3237 | 1235513.13
44 | 2646831.0026 | 1235492.1025 | 2646845.3451 | 1235458.2748
45 | 2646927.3237 | 1235513.13 | 2646936.2754 | 1235514.9885
46 | 2646852.5 | 1235439.965 | 2646846.6948 | 1235455.0914 | 2646845.3451 | 1235458.2748
47 | 2646962.437 | 1235520.4198 | 2646936.2754 | 1235514.9885
48 | 2646852.5 | 1235439.965 | 2646859.2911 | 1235422.2698
49 | 2647181.009 | 1235631.8205 | 2647179.3392 | 1235634.3471 | 2647162.5432 | 1235650.9801 | 2647154.9243 | 1235656.1167
50 | 2646979.3825 | 1235523.9378 | 2646991.1962 | 1235503.6706
51 | 2646979.3825 | 1235523.9378 | 2646962.437 | 1235520.4198
52 | 2646979.3825 | 1235523.9378 | 2647002.6391 | 1235529.299
53 | 2646991.1962 | 1235503.6706 | 2646995.923 | 1235495.5615 | 2647006.6405 | 1235479.2775
54 | 2647002.6391 | 1235529.299 | 2647020.0791 | 1235533.3194
55 | 2647049.1285 | 1235457.4901 | 2647058.6556 | 1235464.1862
56 | 2647049.1285 | 1235457.4901 | 2647045.1094 | 1235454.6653
57 | 2647058.6556 | 1235464.1862 | 2647068.8067 | 1235471.3209
58 | 2647068.8067 | 1235471.3209 | 2647069.9929 | 1235472.1546 | 2647069.9929 | 1235472.1546
59 | 2647069.9929 | 1235472.1546 | 2647071.5025 | 1235473.1356
60 | 2647020.856 | 1235457.6788 | 2647016.4113 | 1235464.432
61 | 2647020.856 | 1235457.6788 | 2646999.6181 | 1235443.3779
62 | 2647083.244 | 1235480.7651 | 2647071.5025 | 1235473.1356
63 | 2647016.4113 | 1235464.432 | 2647006.6405 | 1235479.2775
64 | 2646999.6181 | 1235443.3779 | 2646974.5184 | 1235426.4766
65 | 2646919.9637 | 1235389.5619 | 2646911.7997 | 1235384.0095
66 | 2646904.3819 | 1235378.9647 | 2646911.7997 | 1235384.0095
67 | 2646888.4367 | 1235368.1204 | 2646904.3819 | 1235378.9647
68 | 2646888.4367 | 1235368.1204 | 2646874.843 | 1235388.4707 | 2646863.3921 | 1235411.5841 | 2646859.2911 | 1235422.2698
69 | 2647020.0791 | 1235533.3194 | 2647020.1362 | 1235533.3326 | 2647027.7311 | 1235535.6497 | 2647028.47 | 1235536.2421
70 | 2647028.47 | 1235536.2421 | 2647032.5023 | 1235539.4746
71 | 2647032.5023 | 1235539.4746 | 2647035.6872 | 1235542.0278 | 2647045.1606 | 1235559.1809
72 | 2647070.7393 | 1235596.6957 | 2647063.6662 | 1235590.6247 | 2647055.2603 | 1235578.9396 | 2647046.8933 | 1235562.3183 | 2647045.1606 | 1235559.1809
73 | 2647092.6851 | 1235714.0352 | 2647083.2014 | 1235725.3593
74 | 2647104.7115 | 1235699.675 | 2647092.6851 | 1235714.0352
75 | 2647104.7115 | 1235699.675 | 2647112.8175 | 1235689.9886 | 2647119.2515 | 1235683.9791
76 | 2647104.7115 | 1235699.675 | 2647090.5338 | 1235687.1935
77 | 2647126.4229 | 1235677.4371 | 2647125.3057 | 1235678.3245 | 2647119.2515 | 1235683.9791
78 | 2647090.5338 | 1235687.1935 | 2647089.585 | 1235686.3583
79 | 2647126.4229 | 1235677.4371 | 2647128.2462 | 1235675.9889
80 | 2647072.606 | 1235671.4108 | 2647089.585 | 1235686.3583
81 | 2647145.4778 | 1235662.4854 | 2647144.0019 | 1235663.4744 | 2647128.2462 | 1235675.9889
82 | 2647072.606 | 1235671.4108 | 2647056.1665 | 1235656.9382
83 | 2647083.698 | 1235600.9062 | 2647099.3245 | 1235605.9835 | 2647102.5135 | 1235606.5324
84 | 2647070.7393 | 1235596.6957 | 2647083.698 | 1235600.9062
85 | 2647129.2618 | 1235609.8335 | 2647121.5355 | 1235609.8064 | 2647102.5135 | 1235606.5324
86 | 2647070.7393 | 1235596.6957 | 2647059.0658 | 1235615.2144
87 | 2647059.0658 | 1235615.2144 | 2647057.9635 | 1235616.963 | 2647054.261 | 1235622.6513
88 | 2647040.6222 | 1235643.2537 | 2647043.6071 | 1235639.0191 | 2647054.261 | 1235622.6513
89 | 2647040.6222 | 1235643.2537 | 2647036.3485 | 1235648.7457 | 2647025.0697 | 1235657.7289 | 2647021.6249 | 1235660.8861
90 | 2647040.6222 | 1235643.2537 | 2647056.1665 | 1235656.9382
91 | 2647150.6634 | 1235658.9893 | 2647154.9243 | 1235656.1167
92 | 2647145.4778 | 1235662.4854 | 2647150.6634 | 1235658.9893
93 | 2647145.4778 | 1235662.4854 | 2647150.0085 | 1235668.4919 | 2647163.447 | 1235683.6209
94 | 2647003.4231 | 1235687.438 | 2647009.1638 | 1235675.759 | 2647016.9514 | 1235665.1694 | 2647021.6249 | 1235660.8861
95 | 2647003.4231 | 1235687.438 | 2647002.7162 | 1235688.8762

## bus_geodata
| x | y | coords
0 | 2647159.3457 | 1235412.837
1 | 2647156.3506 | 1235398.7117
2 | 2647162.4626 | 1235427.5367
3 | 2647187.8518 | 1235427.0848
4 | 2647191.3292 | 1235426.3464
5 | 2647205.1253 | 1235423.417
6 | 2647199.6502 | 1235388.3806
7 | 2647200.3349 | 1235457.7009
8 | 2647197.9037 | 1235463.9876
9 | 2647194.691 | 1235483.9066
10 | 2647189.9822 | 1235498.656
11 | 2647205.0239 | 1235507.6256
12 | 2647168.6136 | 1235484.5987
13 | 2647239.9881 | 1235521.132
14 | 2647199.0352 | 1235530.1616
15 | 2647197.1802 | 1235542.7775
16 | 2647097.2642 | 1235437.1851
17 | 2647071.0163 | 1235419.9407
18 | 2647055.691 | 1235409.8683
19 | 2647031.7233 | 1235445.2569
20 | 2647023.8308 | 1235388.7361
21 | 2647197.2798 | 1235543.9599
22 | 2647198.014 | 1235552.6765
23 | 2647211.9437 | 1235581.5611
24 | 2647153.6403 | 1235565.5367
25 | 2647200.8698 | 1235590.4344
26 | 2647217.4582 | 1235579.662
27 | 2647111.1849 | 1235545.6056
28 | 2647187.175 | 1235622.4906
29 | 2647181.8632 | 1235601.0501
30 | 2647246.52 | 1235572.4175
31 | 2646939.7683 | 1235622.3343
32 | 2646946.1974 | 1235589.9214
33 | 2646949.8995 | 1235573.6144
34 | 2646958.6076 | 1235554.6979
35 | 2646962.9289 | 1235546.9224
36 | 2646886.7414 | 1235504.4608
37 | 2646907.8802 | 1235509.1477
38 | 2646852.4805 | 1235496.8645
39 | 2646916.6812 | 1235510.946
40 | 2646831.0026 | 1235492.1025
41 | 2646927.3237 | 1235513.13
42 | 2646845.3451 | 1235458.2748
43 | 2646936.2754 | 1235514.9885
44 | 2646852.5 | 1235439.965
45 | 2647204.826 | 1235645.8901
46 | 2647181.009 | 1235631.8205
47 | 2646979.3825 | 1235523.9378
48 | 2646991.1962 | 1235503.6706
49 | 2646962.437 | 1235520.4198
50 | 2647002.6391 | 1235529.299
51 | 2647049.1285 | 1235457.4901
52 | 2647058.6556 | 1235464.1862
53 | 2647045.1094 | 1235454.6653
54 | 2647068.8067 | 1235471.3209
55 | 2647069.9929 | 1235472.1546
56 | 2647020.856 | 1235457.6788
57 | 2647071.5025 | 1235473.1356
58 | 2647016.4113 | 1235464.432
59 | 2646999.6181 | 1235443.3779
60 | 2646977.078 | 1235357.7205
61 | 2646919.9637 | 1235389.5619
62 | 2646911.7997 | 1235384.0095
63 | 2646974.5184 | 1235426.4766
64 | 2646904.3819 | 1235378.9647
65 | 2646888.4367 | 1235368.1204
66 | 2646859.2911 | 1235422.2698
67 | 2647020.0791 | 1235533.3194
68 | 2647028.47 | 1235536.2421
69 | 2647032.5023 | 1235539.4746
70 | 2647006.6405 | 1235479.2775
71 | 2647045.1606 | 1235559.1809
72 | 2647092.6851 | 1235714.0352
73 | 2647083.2014 | 1235725.3593
74 | 2647104.7115 | 1235699.675
75 | 2647119.2515 | 1235683.9791
76 | 2647090.5338 | 1235687.1935
77 | 2647126.4229 | 1235677.4371
78 | 2647089.585 | 1235686.3583
79 | 2647128.2462 | 1235675.9889
80 | 2647072.606 | 1235671.4108
81 | 2647083.244 | 1235480.7651
82 | 2647083.698 | 1235600.9062
83 | 2647102.5135 | 1235606.5324
84 | 2647070.7393 | 1235596.6957
85 | 2647129.2618 | 1235609.8335
86 | 2647059.0658 | 1235615.2144
87 | 2647054.261 | 1235622.6513
88 | 2647040.6222 | 1235643.2537
89 | 2647154.9243 | 1235656.1167
90 | 2647150.6634 | 1235658.9893
91 | 2647145.4778 | 1235662.4854
92 | 2647163.447 | 1235683.6209
93 | 2647021.6249 | 1235660.8861
94 | 2647056.1665 | 1235656.9382
95 | 2647003.4231 | 1235687.438
96 | 2647002.7162 | 1235688.8762
97 | 2647031.7233 | 1235445.2569

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1