## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4282-21_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4282-21_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4282-21_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4282-21_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4282-21_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4282-21_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4282-21_0_4_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_4282-21_0_4_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_4282-21_0_4_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_4282-21_0_4_node_86 | 0.4 | n |  | TRUE
10 | bus_LV_4282-21_0_4_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_4282-21_0_4_node_85 | 0.4 | n |  | TRUE
12 | bus_LV_4282-21_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_4282-21_0_4_node_87 | 0.4 | n |  | TRUE
14 | bus_LV_4282-21_0_4_node_88 | 0.4 | n |  | TRUE
15 | bus_LV_4282-21_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_4282-21_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_4282-21_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4282-21_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4282-21_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4282-21_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4282-21_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_4282-21_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4282-21_0_4_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_4282-21_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4282-21_0_4_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_4282-21_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_4282-21_0_4_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_4282-21_0_4_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_4282-21_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_4282-21_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_4282-21_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_4282-21_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_4282-21_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_4282-21_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4282-21_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4282-21_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4282-21_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_4282-21_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_4282-21_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_4282-21_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_4282-21_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_4282-21_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_4282-21_0_4_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_4282-21_0_4_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_4282-21_0_4_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_4282-21_0_4_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_4282-21_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4282-21_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_4282-21_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4282-21_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4282-21_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_4282-21_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_4282-21_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_4282-21_0_4_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_4282-21_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_4282-21_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_4282-21_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_4282-21_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_4282-21_0_4_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_4282-21_0_4_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_4282-21_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_4282-21_0_4_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_4282-21_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_4282-21_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_4282-21_0_4_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_4282-21_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_4282-21_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_4282-21_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_4282-21_0_4_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_4282-21_0_4_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_4282-21_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_4282-21_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_4282-21_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_4282-21_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_4282-21_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_4282-21_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_4282-21_0_4_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_4282-21_0_4_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_4282-21_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_4282-21_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_4282-21_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_4282-21_0_4_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_4282-21_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_4282-21_0_4_node_94 | 0.4 | n |  | TRUE
85 | bus_LV_4282-21_0_4_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_4282-21_0_4_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_4282-21_0_4_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_4282-21_0_4_node_91 | 0.4 | n |  | TRUE
89 | bus_MV_397_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4282-21_0_4_load_0 | 0 | 0.0018783 | 0.00047075 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4282-21_0_4_load_1 | 1 | 0.0013909 | 0.00034859 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4282-21_0_4_load_3 | 3 | 0.0014908 | 0.00037363 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4282-21_0_4_load_5 | 5 | 0.00099675 | 0.00024981 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4282-21_0_4_load_29 | 6 | 0.004095 | 0.0010263 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4282-21_0_4_load_30 | 7 | 0.0055078 | 0.0013804 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4282-21_0_4_load_20 | 8 | 0.0040434 | 0.0010134 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4282-21_0_4_load_28 | 10 | 0.0019122 | 0.00047924 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4282-21_0_4_load_85 | 11 | 0.0016058 | 0.00040246 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4282-21_0_4_load_19 | 12 | 0.0033824 | 0.00084772 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4282-21_0_4_load_88 | 14 | 0.0010453 | 0.00026198 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4282-21_0_4_load_6 | 15 | 0.0057675 | 0.0014455 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4282-21_0_4_load_7 | 16 | 0.0020707 | 0.00051897 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4282-21_0_4_load_9 | 18 | 0.0038187 | 0.00095706 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4282-21_0_4_load_11 | 20 | 0.0037977 | 0.0009518 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4282-21_0_4_load_24 | 21 | 0.0073444 | 0.0018407 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4282-21_0_4_load_13 | 22 | 0.0019281 | 0.00048323 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4282-21_0_4_load_16 | 24 | 0.0017827 | 0.00044679 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4282-21_0_4_load_26 | 25 | 0.0018593 | 0.00046598 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4282-21_0_4_load_12 | 26 | 0.0025235 | 0.00063246 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4282-21_0_4_load_80 | 27 | 0.0039806 | 0.00099762 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4282-21_0_4_load_75 | 28 | 0.002675 | 0.00067042 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4282-21_0_4_load_14 | 29 | 0.0019725 | 0.00049435 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4282-21_0_4_load_27 | 31 | 0.0012126 | 0.0003039 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4282-21_0_4_load_17 | 32 | 0.0011033 | 0.0002765 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4282-21_0_4_load_18 | 33 | 0.0010801 | 0.00027069 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4282-21_0_4_load_23 | 35 | 0.025973 | 0.0065094 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4282-21_0_4_load_22 | 36 | 0.0015508 | 0.00038866 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4282-21_0_4_load_25 | 37 | 0.0016435 | 0.0004119 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4282-21_0_4_load_31 | 38 | 0.0020989 | 0.00052604 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4282-21_0_4_load_32 | 39 | 0.0019046 | 0.00047734 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4282-21_0_4_load_33 | 40 | 0.0012043 | 0.00030183 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4282-21_0_4_load_34 | 41 | 0.0018983 | 0.00047575 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4282-21_0_4_load_55 | 43 | 0.0018983 | 0.00047575 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4282-21_0_4_load_56 | 45 | 0.0014003 | 0.00035095 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4282-21_0_4_load_81 | 46 | 0.0023427 | 0.00058714 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4282-21_0_4_load_36 | 47 | 0.0025033 | 0.00062739 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4282-21_0_4_load_37 | 48 | 0.0039843 | 0.00099857 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4282-21_0_4_load_39 | 50 | 0.0018118 | 0.00045407 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4282-21_0_4_load_48 | 51 | 0.0027137 | 0.00068013 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4282-21_0_4_load_50 | 52 | 0.0046945 | 0.0011766 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4282-21_0_4_load_47 | 53 | 0.0037804 | 0.00094746 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4282-21_0_4_load_53 | 54 | 0.0012587 | 0.00031546 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4282-21_0_4_load_54 | 55 | 0.004438 | 0.0011123 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4282-21_0_4_load_46 | 56 | 0.002465 | 0.00061779 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4282-21_0_4_load_51 | 57 | 0.0036715 | 0.00092016 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4282-21_0_4_load_43 | 58 | 0.0036573 | 0.00091662 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4282-21_0_4_load_40 | 59 | 0.0049911 | 0.0012509 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4282-21_0_4_load_41 | 60 | 0.0038848 | 0.00097362 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4282-21_0_4_load_60 | 64 | 0.0036224 | 0.00090785 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4282-21_0_4_load_78 | 65 | 0.002181 | 0.0005466 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4282-21_0_4_load_61 | 66 | 0.0030405 | 0.00076203 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4282-21_0_4_load_49 | 67 | 0.0037084 | 0.00092941 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4282-21_0_4_load_58 | 68 | 0.0026291 | 0.00065892 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4282-21_0_4_load_79 | 69 | 0.0017114 | 0.00042892 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4282-21_0_4_load_71 | 70 | 0.0022207 | 0.00055657 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4282-21_0_4_load_57 | 72 | 0.0036551 | 0.00091604 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4282-21_0_4_load_72 | 73 | 0.002568 | 0.00064359 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4282-21_0_4_load_62 | 74 | 0.0037105 | 0.00092994 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4282-21_0_4_load_63 | 75 | 0.0011394 | 0.00028556 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4282-21_0_4_load_65 | 77 | 0.0018072 | 0.00045293 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4282-21_0_4_load_66 | 78 | 0.0028038 | 0.0007027 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4282-21_0_4_load_67 | 80 | 0.010945 | 0.0027432 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4282-21_0_4_load_68 | 81 | 0.0024048 | 0.00060271 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4282-21_0_4_load_70 | 82 | 0.0019818 | 0.00049668 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4282-21_0_4_load_73 | 83 | 0.0026196 | 0.00065654 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4282-21_0_4_load_94 | 84 | 0.00071764 | 0.00017986 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4282-21_0_4_load_93 | 85 | 0.0023995 | 0.00060138 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4282-21_0_4_load_89 | 86 | 0.0014317 | 0.00035882 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4282-21_0_4_load_90 | 87 | 0.0008868 | 0.00022225 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4282-21_0_4_load_91 | 88 | 0.0015474 | 0.00038781 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4282-21_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4282-21_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.049293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4282-21_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0056911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4282-21_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4282-21_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.015181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4282-21_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.003499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4282-21_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.013068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4282-21_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.030421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4282-21_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.03127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4282-21_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.033855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4282-21_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.024737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4282-21_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.024568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4282-21_0_4_line_12 | NAYY 4x150 SE | 9 | 13 | 0.054414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4282-21_0_4_line_13 | NAYY 4x150 SE | 9 | 14 | 0.015037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4282-21_0_4_line_14 | NAYY 4x150 SE | 10 | 31 | 0.021755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4282-21_0_4_line_15 | NAYY 4x150 SE | 12 | 34 | 0.017143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4282-21_0_4_line_16 | NAYY 4x150 SE | 13 | 84 | 0.022531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4282-21_0_4_line_17 | NAYY 4x150 SE | 13 | 85 | 0.020267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4282-21_0_4_line_18 | NAYY 4x150 SE | 14 | 86 | 0.014807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4282-21_0_4_line_19 | NAYY 4x150 SE | 15 | 16 | 0.010648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4282-21_0_4_line_20 | NAYY 4x150 SE | 15 | 17 | 0.027876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4282-21_0_4_line_21 | NAYY 4x150 SE | 16 | 18 | 0.017615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4282-21_0_4_line_22 | NAYY 4x150 SE | 17 | 19 | 0.01342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4282-21_0_4_line_23 | NAYY 4x150 SE | 17 | 20 | 0.042724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4282-21_0_4_line_24 | NAYY 4x150 SE | 18 | 21 | 0.029546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4282-21_0_4_line_25 | NAYY 4x150 SE | 19 | 22 | 0.0094402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_4282-21_0_4_line_26 | NAYY 4x150 SE | 19 | 23 | 0.014591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_4282-21_0_4_line_27 | NAYY 4x150 SE | 20 | 24 | 0.042549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4282-21_0_4_line_28 | NAYY 4x150 SE | 21 | 25 | 0.010229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4282-21_0_4_line_29 | NAYY 4x150 SE | 22 | 26 | 0.0092184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4282-21_0_4_line_30 | NAYY 4x150 SE | 23 | 27 | 0.029818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_4282-21_0_4_line_31 | NAYY 4x150 SE | 23 | 28 | 0.018096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4282-21_0_4_line_32 | NAYY 4x150 SE | 25 | 37 | 0.031417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4282-21_0_4_line_33 | NAYY 4x150 SE | 26 | 29 | 0.020021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4282-21_0_4_line_34 | NAYY 4x150 SE | 27 | 46 | 0.020682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_4282-21_0_4_line_35 | NAYY 4x150 SE | 28 | 77 | 0.0029312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4282-21_0_4_line_36 | NAYY 4x150 SE | 29 | 30 | 0.043197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_4282-21_0_4_line_37 | NAYY 4x150 SE | 30 | 31 | 0.017503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_4282-21_0_4_line_38 | NAYY 4x150 SE | 32 | 33 | 0.010819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4282-21_0_4_line_39 | NAYY 4x150 SE | 33 | 34 | 0.035985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4282-21_0_4_line_40 | NAYY 4x150 SE | 34 | 35 | 0.044958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4282-21_0_4_line_41 | NAYY 4x150 SE | 36 | 37 | 0.036835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4282-21_0_4_line_42 | NAYY 4x150 SE | 38 | 39 | 0.020636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4282-21_0_4_line_43 | NAYY 4x150 SE | 38 | 40 | 0.024115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4282-21_0_4_line_44 | NAYY 4x150 SE | 39 | 41 | 0.005827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4282-21_0_4_line_45 | NAYY 4x150 SE | 40 | 42 | 0.038495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4282-21_0_4_line_46 | NAYY 4x150 SE | 41 | 43 | 0.027896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4282-21_0_4_line_47 | NAYY 4x150 SE | 42 | 44 | 0.032332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_4282-21_0_4_line_48 | NAYY 4x150 SE | 43 | 45 | 0.0033289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4282-21_0_4_line_49 | NAYY 4x150 SE | 44 | 46 | 0.032111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_4282-21_0_4_line_50 | NAYY 4x150 SE | 45 | 68 | 0.02305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4282-21_0_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.016836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4282-21_0_4_line_52 | NAYY 4x150 SE | 47 | 49 | 0.0014981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4282-21_0_4_line_53 | NAYY 4x150 SE | 49 | 50 | 0.020691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4282-21_0_4_line_54 | NAYY 4x150 SE | 50 | 56 | 0.055472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4282-21_0_4_line_55 | NAYY 4x150 SE | 51 | 52 | 0.0024228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4282-21_0_4_line_56 | NAYY 4x150 SE | 51 | 53 | 0.02236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4282-21_0_4_line_57 | NAYY 4x150 SE | 52 | 54 | 0.010613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4282-21_0_4_line_58 | NAYY 4x150 SE | 53 | 67 | 0.029701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4282-21_0_4_line_59 | NAYY 4x150 SE | 54 | 55 | 0.020073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4282-21_0_4_line_60 | NAYY 4x150 SE | 56 | 57 | 0.033577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4282-21_0_4_line_61 | NAYY 4x150 SE | 56 | 58 | 0.0058654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4282-21_0_4_line_62 | NAYY 4x150 SE | 57 | 71 | 0.0084139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4282-21_0_4_line_63 | NAYY 4x150 SE | 58 | 60 | 0.029284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4282-21_0_4_line_64 | NAYY 4x150 SE | 59 | 60 | 0.0011569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4282-21_0_4_line_65 | NAYY 4x150 SE | 59 | 61 | 0.017733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4282-21_0_4_line_66 | NAYY 4x150 SE | 61 | 62 | 0.004656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4282-21_0_4_line_67 | NAYY 4x150 SE | 61 | 63 | 0.03142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4282-21_0_4_line_68 | NAYY 4x150 SE | 62 | 64 | 0.028315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4282-21_0_4_line_69 | NAYY 4x150 SE | 62 | 65 | 0.016415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4282-21_0_4_line_70 | NAYY 4x150 SE | 63 | 66 | 0.0019649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4282-21_0_4_line_71 | NAYY 4x150 SE | 63 | 67 | 0.016955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4282-21_0_4_line_72 | NAYY 4x150 SE | 64 | 68 | 0.014666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4282-21_0_4_line_73 | NAYY 4x150 SE | 65 | 69 | 0.048754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4282-21_0_4_line_74 | NAYY 4x150 SE | 66 | 70 | 0.023433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4282-21_0_4_line_75 | NAYY 4x150 SE | 70 | 73 | 0.02467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4282-21_0_4_line_76 | NAYY 4x150 SE | 71 | 72 | 0.021173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4282-21_0_4_line_77 | NAYY 4x150 SE | 73 | 83 | 0.01986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4282-21_0_4_line_78 | NAYY 4x150 SE | 74 | 75 | 0.0097773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4282-21_0_4_line_79 | NAYY 4x150 SE | 74 | 76 | 0.03703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4282-21_0_4_line_80 | NAYY 4x150 SE | 76 | 77 | 0.05717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4282-21_0_4_line_81 | NAYY 4x150 SE | 76 | 78 | 0.04293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4282-21_0_4_line_82 | NAYY 4x150 SE | 78 | 79 | 0.030626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4282-21_0_4_line_83 | NAYY 4x150 SE | 79 | 80 | 0.067464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4282-21_0_4_line_84 | NAYY 4x150 SE | 80 | 81 | 0.028947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4282-21_0_4_line_85 | NAYY 4x150 SE | 81 | 82 | 0.035656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4282-21_0_4_line_86 | NAYY 4x150 SE | 86 | 87 | 0.017913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4282-21_0_4_line_87 | NAYY 4x150 SE | 87 | 88 | 0.014835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4282-21_0_4_trafo_81 | 0.25 MVA 20/0.4 kV | 89 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2633398.2268 | 1238878.9738 | 2633381.4061 | 1238866.035 | 2633371.7167 | 1238853.7757
1 | 2633442.9646 | 1238899.4465 | 2633433.5403 | 1238895.5132 | 2633400.873 | 1238881.0094 | 2633398.2268 | 1238878.9738
2 | 2633371.7167 | 1238853.7757 | 2633368.1878 | 1238849.3108
3 | 2633442.9646 | 1238899.4465 | 2633459.4739 | 1238910.4019
4 | 2633442.9646 | 1238899.4465 | 2633448.5735 | 1238885.3396
5 | 2633366.0181 | 1238846.5657 | 2633368.1878 | 1238849.3108
6 | 2633459.4739 | 1238910.4019 | 2633470.2452 | 1238917.8012
7 | 2633459.4739 | 1238910.4019 | 2633434.0096 | 1238927.045
8 | 2633460.1266 | 1238856.2824 | 2633448.5735 | 1238885.3396
9 | 2633366.0181 | 1238846.5657 | 2633358.6511 | 1238837.2447 | 2633345.0299 | 1238820.0009
10 | 2633489.2231 | 1238933.6634 | 2633470.7826 | 1238918.1704 | 2633470.2452 | 1238917.8012
11 | 2633434.0096 | 1238927.045 | 2633413.4446 | 1238940.486
12 | 2633460.1266 | 1238856.2824 | 2633478.4736 | 1238813.581 | 2633481.3366 | 1238806.1591
13 | 2633460.1266 | 1238856.2824 | 2633474.0668 | 1238861.9193
14 | 2633332.1849 | 1238802.4483 | 2633341.8813 | 1238816.015 | 2633345.0299 | 1238820.0009
15 | 2633399.0944 | 1238949.8651 | 2633413.4446 | 1238940.486
16 | 2633481.3366 | 1238806.1591 | 2633488.4468 | 1238810.0571 | 2633501.6718 | 1238815.81
17 | 2633481.3366 | 1238806.1591 | 2633487.2386 | 1238788.2365 | 2633487.9854 | 1238787.055
18 | 2633474.0668 | 1238861.9193 | 2633483.9118 | 1238865.9002 | 2633487.4575 | 1238868.1287
19 | 2633264.6009 | 1238860.1876 | 2633266.6655 | 1238870.6336
20 | 2633259.1956 | 1238832.8404 | 2633264.6009 | 1238860.1876
21 | 2633270.081 | 1238887.9138 | 2633266.6655 | 1238870.6336
22 | 2633259.1956 | 1238832.8404 | 2633251.5276 | 1238821.8128
23 | 2633259.1956 | 1238832.8404 | 2633291.966 | 1238860.2527
24 | 2633270.081 | 1238887.9138 | 2633270.081 | 1238887.9138 | 2633292.4577 | 1238907.207
25 | 2633251.5276 | 1238821.8128 | 2633260.0467 | 1238817.7456
26 | 2633238.7138 | 1238828.8567 | 2633245.3755 | 1238825.0804 | 2633251.5276 | 1238821.8128
27 | 2633291.966 | 1238860.2527 | 2633324.6022 | 1238887.5527
28 | 2633300.2048 | 1238913.8864 | 2633292.4577 | 1238907.207
29 | 2633268.3656 | 1238813.7739 | 2633260.0467 | 1238817.7456
30 | 2633238.7138 | 1238828.8567 | 2633228.6749 | 1238834.6931 | 2633220.74 | 1238841.631 | 2633216.2335 | 1238847.8318
31 | 2633238.7138 | 1238828.8567 | 2633230.389 | 1238812.7892
32 | 2633300.2048 | 1238913.8864 | 2633323.9989 | 1238934.4016
33 | 2633268.3656 | 1238813.7739 | 2633286.433 | 1238805.1482
34 | 2633216.2335 | 1238847.8318 | 2633212.8132 | 1238852.538 | 2633210.8652 | 1238867.2742
35 | 2633229.0406 | 1238810.1867 | 2633230.389 | 1238812.7892
36 | 2633325.4149 | 1238786.5374 | 2633286.433 | 1238805.1482
37 | 2633325.4149 | 1238786.5374 | 2633328.7411 | 1238797.6298 | 2633332.1849 | 1238802.4483
38 | 2633371.493 | 1238926.7767 | 2633363.1946 | 1238919.8351
39 | 2633399.0944 | 1238949.8651 | 2633371.493 | 1238926.7767
40 | 2633399.0944 | 1238949.8651 | 2633433.6224 | 1238978.6584
41 | 2633323.9989 | 1238934.4016 | 2633351.8961 | 1238958.4545
42 | 2633170.9614 | 1238890.8569 | 2633153.8581 | 1238879.3112
43 | 2633170.9614 | 1238890.8569 | 2633190.9486 | 1238904.3495
44 | 2633149.0285 | 1238876.051 | 2633153.8581 | 1238879.3112
45 | 2633218.2501 | 1238931.2181 | 2633202.4009 | 1238913.0403 | 2633191.7445 | 1238904.8868 | 2633190.9486 | 1238904.3495
46 | 2633149.0285 | 1238876.051 | 2633125.9076 | 1238860.443
47 | 2633213.5052 | 1238899.238 | 2633218.2501 | 1238931.2181
48 | 2633125.9076 | 1238860.443 | 2633123.1485 | 1238858.5805
49 | 2633213.5052 | 1238899.238 | 2633211.8158 | 1238886.2093 | 2633210.76 | 1238868.0697 | 2633210.8652 | 1238867.2742
50 | 2633104.0444 | 1238845.6841 | 2633123.1485 | 1238858.5805
51 | 2632944.9019 | 1238847.967 | 2632957.8158 | 1238858.769
52 | 2632958.9649 | 1238859.7301 | 2632957.8158 | 1238858.769
53 | 2632958.9649 | 1238859.7301 | 2632976.3101 | 1238871.012
54 | 2633030.9407 | 1238861.3872 | 2632976.3101 | 1238871.012
55 | 2632988.6286 | 1238810.1444 | 2632990.6187 | 1238811.5262
56 | 2633008.9853 | 1238824.2783 | 2632990.6187 | 1238811.5262
57 | 2632988.6286 | 1238810.1444 | 2632979.9112 | 1238804.0919
58 | 2633008.9853 | 1238824.2783 | 2633018.2934 | 1238830.741 | 2633028.702 | 1238815.6045
59 | 2632963.4229 | 1238792.644 | 2632979.9112 | 1238804.0919
60 | 2633030.9407 | 1238861.3872 | 2633026.9975 | 1238866.3562 | 2633045.9531 | 1238882.2938 | 2633047.1779 | 1238884.4363
61 | 2633030.9407 | 1238861.3872 | 2633034.5868 | 1238856.7927
62 | 2633051.3537 | 1238891.7409 | 2633047.1779 | 1238884.4363
63 | 2633052.7901 | 1238833.8541 | 2633034.5868 | 1238856.7927
64 | 2633053.5092 | 1238832.9479 | 2633052.7901 | 1238833.8541
65 | 2633064.5324 | 1238819.0572 | 2633053.5092 | 1238832.9479
66 | 2633068.4207 | 1238821.636 | 2633064.5324 | 1238819.0572
67 | 2633038.3089 | 1238801.6338 | 2633064.5324 | 1238819.0572
68 | 2633068.4207 | 1238821.636 | 2633091.8891 | 1238837.4785
69 | 2633068.4207 | 1238821.636 | 2633077.7504 | 1238808.13
70 | 2633038.3089 | 1238801.6338 | 2633036.6857 | 1238800.5265
71 | 2633038.3089 | 1238801.6338 | 2633028.702 | 1238815.6045
72 | 2633104.0444 | 1238845.6841 | 2633091.8891 | 1238837.4785
73 | 2633115.7871 | 1238805.8341 | 2633101.8848 | 1238796.4841 | 2633095.4604 | 1238792.9683 | 2633088.7908 | 1238794.0986 | 2633084.1125 | 1238798.92 | 2633077.7504 | 1238808.13
74 | 2633017.3279 | 1238787.3209 | 2633036.6857 | 1238800.5265
75 | 2633017.3279 | 1238787.3209 | 2632996.9486 | 1238773.4186
76 | 2633051.3537 | 1238891.7409 | 2633068.9687 | 1238903.488
77 | 2632996.9486 | 1238773.4186 | 2632980.5429 | 1238762.2269
78 | 2633172.7142 | 1238801.654 | 2633167.7837 | 1238810.0971
79 | 2633191.3879 | 1238769.6772 | 2633172.7142 | 1238801.654
80 | 2633191.3879 | 1238769.6772 | 2633216.6102 | 1238786.1951 | 2633229.0406 | 1238810.1867
81 | 2633191.3879 | 1238769.6772 | 2633165.5474 | 1238752.7668 | 2633155.7999 | 1238745.6857
82 | 2633159.1682 | 1238715.4076 | 2633155.4729 | 1238735.155 | 2633155.7999 | 1238745.6857
83 | 2633159.1682 | 1238715.4076 | 2633142.6919 | 1238724.0879 | 2633132.8338 | 1238728.6914 | 2633096.0157 | 1238737.9363
84 | 2633096.0157 | 1238737.9363 | 2633086.0945 | 1238740.4275 | 2633075.7783 | 1238740.3701 | 2633067.6828 | 1238738.1236
85 | 2633067.6828 | 1238738.1236 | 2633067.6828 | 1238738.1236 | 2633039.0305 | 1238716.9007
86 | 2633502.6241 | 1238877.6611 | 2633487.4575 | 1238868.1287
87 | 2633502.6241 | 1238877.6611 | 2633509.3477 | 1238881.8869 | 2633514.6495 | 1238886.2923

## bus_geodata
| x | y | coords
0 | 2633398.2268 | 1238878.9738
1 | 2633371.7167 | 1238853.7757
2 | 2633442.9646 | 1238899.4465
3 | 2633368.1878 | 1238849.3108
4 | 2633459.4739 | 1238910.4019
5 | 2633448.5735 | 1238885.3396
6 | 2633366.0181 | 1238846.5657
7 | 2633470.2452 | 1238917.8012
8 | 2633434.0096 | 1238927.045
9 | 2633460.1266 | 1238856.2824
10 | 2633345.0299 | 1238820.0009
11 | 2633489.2231 | 1238933.6634
12 | 2633413.4446 | 1238940.486
13 | 2633481.3366 | 1238806.1591
14 | 2633474.0668 | 1238861.9193
15 | 2633264.6009 | 1238860.1876
16 | 2633266.6655 | 1238870.6336
17 | 2633259.1956 | 1238832.8404
18 | 2633270.081 | 1238887.9138
19 | 2633251.5276 | 1238821.8128
20 | 2633291.966 | 1238860.2527
21 | 2633292.4577 | 1238907.207
22 | 2633260.0467 | 1238817.7456
23 | 2633238.7138 | 1238828.8567
24 | 2633324.6022 | 1238887.5527
25 | 2633300.2048 | 1238913.8864
26 | 2633268.3656 | 1238813.7739
27 | 2633216.2335 | 1238847.8318
28 | 2633230.389 | 1238812.7892
29 | 2633286.433 | 1238805.1482
30 | 2633325.4149 | 1238786.5374
31 | 2633332.1849 | 1238802.4483
32 | 2633363.1946 | 1238919.8351
33 | 2633371.493 | 1238926.7767
34 | 2633399.0944 | 1238949.8651
35 | 2633433.6224 | 1238978.6584
36 | 2633351.8961 | 1238958.4545
37 | 2633323.9989 | 1238934.4016
38 | 2633170.9614 | 1238890.8569
39 | 2633153.8581 | 1238879.3112
40 | 2633190.9486 | 1238904.3495
41 | 2633149.0285 | 1238876.051
42 | 2633218.2501 | 1238931.2181
43 | 2633125.9076 | 1238860.443
44 | 2633213.5052 | 1238899.238
45 | 2633123.1485 | 1238858.5805
46 | 2633210.8652 | 1238867.2742
47 | 2632957.8158 | 1238858.769
48 | 2632944.9019 | 1238847.967
49 | 2632958.9649 | 1238859.7301
50 | 2632976.3101 | 1238871.012
51 | 2632990.6187 | 1238811.5262
52 | 2632988.6286 | 1238810.1444
53 | 2633008.9853 | 1238824.2783
54 | 2632979.9112 | 1238804.0919
55 | 2632963.4229 | 1238792.644
56 | 2633030.9407 | 1238861.3872
57 | 2633047.1779 | 1238884.4363
58 | 2633034.5868 | 1238856.7927
59 | 2633053.5092 | 1238832.9479
60 | 2633052.7901 | 1238833.8541
61 | 2633064.5324 | 1238819.0572
62 | 2633068.4207 | 1238821.636
63 | 2633038.3089 | 1238801.6338
64 | 2633091.8891 | 1238837.4785
65 | 2633077.7504 | 1238808.13
66 | 2633036.6857 | 1238800.5265
67 | 2633028.702 | 1238815.6045
68 | 2633104.0444 | 1238845.6841
69 | 2633115.7871 | 1238805.8341
70 | 2633017.3279 | 1238787.3209
71 | 2633051.3537 | 1238891.7409
72 | 2633068.9687 | 1238903.488
73 | 2632996.9486 | 1238773.4186
74 | 2633172.7142 | 1238801.654
75 | 2633167.7837 | 1238810.0971
76 | 2633191.3879 | 1238769.6772
77 | 2633229.0406 | 1238810.1867
78 | 2633155.7999 | 1238745.6857
79 | 2633159.1682 | 1238715.4076
80 | 2633096.0157 | 1238737.9363
81 | 2633067.6828 | 1238738.1236
82 | 2633039.0305 | 1238716.9007
83 | 2632980.5429 | 1238762.2269
84 | 2633501.6718 | 1238815.81
85 | 2633487.9854 | 1238787.055
86 | 2633487.4575 | 1238868.1287
87 | 2633502.6241 | 1238877.6611
88 | 2633514.6495 | 1238886.2923
89 | 2633213.5052 | 1238899.238

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1