## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4282-40_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4282-40_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4282-40_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4282-40_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4282-40_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4282-40_0_2_node_57 | 0.4 | n |  | TRUE
6 | bus_LV_4282-40_0_2_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_4282-40_0_2_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_4282-40_0_2_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_4282-40_0_2_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_4282-40_0_2_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_4282-40_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4282-40_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4282-40_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4282-40_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4282-40_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4282-40_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_4282-40_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4282-40_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_4282-40_0_2_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_4282-40_0_2_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4282-40_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4282-40_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4282-40_0_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_4282-40_0_2_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4282-40_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4282-40_0_2_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_4282-40_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_4282-40_0_2_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_4282-40_0_2_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_4282-40_0_2_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_4282-40_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_4282-40_0_2_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_4282-40_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_4282-40_0_2_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_4282-40_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4282-40_0_2_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4282-40_0_2_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_4282-40_0_2_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_4282-40_0_2_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_4282-40_0_2_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_4282-40_0_2_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_4282-40_0_2_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_4282-40_0_2_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_4282-40_0_2_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_4282-40_0_2_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_4282-40_0_2_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_4282-40_0_2_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_4282-40_0_2_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_4282-40_0_2_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4282-40_0_2_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_4282-40_0_2_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4282-40_0_2_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_4282-40_0_2_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_4282-40_0_2_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_4282-40_0_2_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_4282-40_0_2_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_4282-40_0_2_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_4282-40_0_2_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_4282-40_0_2_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_4282-40_0_2_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_4282-40_0_2_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_4282-40_0_2_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_4282-40_0_2_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_4282-40_0_2_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_4282-40_0_2_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_4282-40_0_2_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_4282-40_0_2_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_4282-40_0_2_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_4282-40_0_2_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_4282-40_0_2_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_4282-40_0_2_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_4282-40_0_2_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_4282-40_0_2_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_4282-40_0_2_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_4282-40_0_2_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_4282-40_0_2_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_4282-40_0_2_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_4282-40_0_2_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_4282-40_0_2_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_4282-40_0_2_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_4282-40_0_2_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_4282-40_0_2_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_4282-40_0_2_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_4282-40_0_2_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_4282-40_0_2_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_4282-40_0_2_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_4282-40_0_2_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_4282-40_0_2_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_4282-40_0_2_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_4282-40_0_2_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_4282-40_0_2_node_91 | 0.4 | n |  | TRUE
92 | bus_MV_436_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4282-40_0_2_load_0 | 0 | 0.00148 | 0.00037092 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4282-40_0_2_load_1 | 1 | 0.0026212 | 0.00065693 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4282-40_0_2_load_2 | 2 | 0.0014751 | 0.00036969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4282-40_0_2_load_3 | 3 | 0.0018072 | 0.00045293 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4282-40_0_2_load_4 | 4 | 0.0022491 | 0.00056367 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4282-40_0_2_load_57 | 5 | 0.0042612 | 0.001068 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4282-40_0_2_load_56 | 6 | 0.0033291 | 0.00083435 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4282-40_0_2_load_25 | 7 | 0.0016517 | 0.00041394 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4282-40_0_2_load_21 | 8 | 0.0020802 | 0.00052135 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4282-40_0_2_load_23 | 9 | 0.001997 | 0.00050049 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4282-40_0_2_load_20 | 10 | 0.0017739 | 0.00044458 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4282-40_0_2_load_5 | 11 | 0.0024628 | 0.00061724 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4282-40_0_2_load_6 | 12 | 0.00090759 | 0.00022746 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4282-40_0_2_load_7 | 13 | 0.0022203 | 0.00055646 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4282-40_0_2_load_8 | 14 | 0.002418 | 0.000606 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4282-40_0_2_load_9 | 15 | 0.0023713 | 0.0005943 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4282-40_0_2_load_17 | 16 | 0.0033281 | 0.00083409 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4282-40_0_2_load_11 | 17 | 0.0032207 | 0.00080719 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4282-40_0_2_load_15 | 18 | 0.0022985 | 0.00057605 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4282-40_0_2_load_54 | 19 | 0.0039727 | 0.00099565 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4282-40_0_2_load_10 | 20 | 0.0015532 | 0.00038928 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4282-40_0_2_load_12 | 21 | 0.002538 | 0.00063608 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4282-40_0_2_load_13 | 22 | 0.0031145 | 0.00078056 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4282-40_0_2_load_22 | 23 | 0.002002 | 0.00050175 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4282-40_0_2_load_14 | 24 | 0.0037047 | 0.00092847 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4282-40_0_2_load_18 | 26 | 0.0015776 | 0.00039539 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4282-40_0_2_load_19 | 27 | 0.0045328 | 0.001136 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4282-40_0_2_load_61 | 28 | 0.0041401 | 0.0010376 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4282-40_0_2_load_55 | 30 | 0.0029144 | 0.00073043 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4282-40_0_2_load_28 | 31 | 0.0026103 | 0.0006542 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4282-40_0_2_load_27 | 32 | 0.0018012 | 0.00045142 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4282-40_0_2_load_24 | 33 | 0.0018464 | 0.00046276 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4282-40_0_2_load_26 | 34 | 0.0022626 | 0.00056705 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4282-40_0_2_load_30 | 36 | 0.0024061 | 0.00060304 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4282-40_0_2_load_31 | 37 | 0.0016361 | 0.00041005 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4282-40_0_2_load_32 | 38 | 0.0038496 | 0.00096481 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4282-40_0_2_load_47 | 39 | 0.0031962 | 0.00080104 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4282-40_0_2_load_48 | 40 | 0.0032203 | 0.00080709 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4282-40_0_2_load_33 | 41 | 0.0076149 | 0.0019085 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4282-40_0_2_load_34 | 42 | 0.00064685 | 0.00016212 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4282-40_0_2_load_35 | 43 | 0.0052426 | 0.0013139 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4282-40_0_2_load_37 | 45 | 0.0054697 | 0.0013708 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4282-40_0_2_load_49 | 46 | 0.001535 | 0.00038471 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4282-40_0_2_load_42 | 47 | 0.00087051 | 0.00021817 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4282-40_0_2_load_38 | 50 | 0.0045772 | 0.0011471 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4282-40_0_2_load_40 | 51 | 0.0074901 | 0.0018772 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4282-40_0_2_load_78 | 54 | 0.0010586 | 0.0002653 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4282-40_0_2_load_62 | 55 | 0.0022355 | 0.00056026 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4282-40_0_2_load_43 | 57 | 0.0026501 | 0.00066417 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4282-40_0_2_load_45 | 59 | 0.0015634 | 0.00039183 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4282-40_0_2_load_46 | 60 | 0.0018461 | 0.00046267 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4282-40_0_2_load_58 | 61 | 0.00066931 | 0.00016774 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4282-40_0_2_load_67 | 63 | 0.0018881 | 0.0004732 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4282-40_0_2_load_51 | 64 | 0.0017589 | 0.00044082 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4282-40_0_2_load_50 | 65 | 0.0018245 | 0.00045727 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4282-40_0_2_load_60 | 66 | 0.0038085 | 0.00095449 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4282-40_0_2_load_64 | 67 | 0.0037999 | 0.00095234 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4282-40_0_2_load_65 | 68 | 0.001363 | 0.00034159 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4282-40_0_2_load_73 | 69 | 0.0020016 | 0.00050164 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4282-40_0_2_load_68 | 71 | 0.0025155 | 0.00063045 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4282-40_0_2_load_69 | 72 | 0.0014723 | 0.00036899 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4282-40_0_2_load_70 | 73 | 0.00098695 | 0.00024735 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4282-40_0_2_load_74 | 74 | 0.0027932 | 0.00070004 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4282-40_0_2_load_75 | 75 | 0.0020091 | 0.00050352 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4282-40_0_2_load_76 | 76 | 0.0016227 | 0.00040668 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4282-40_0_2_load_77 | 77 | 0.0013385 | 0.00033547 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4282-40_0_2_load_85 | 79 | 0.0013991 | 0.00035065 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4282-40_0_2_load_81 | 81 | 0.0020397 | 0.00051119 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4282-40_0_2_load_88 | 82 | 0.0013527 | 0.00033902 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4282-40_0_2_load_89 | 83 | 0.0010467 | 0.00026233 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4282-40_0_2_load_86 | 85 | 0.0012676 | 0.00031768 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4282-40_0_2_load_90 | 86 | 0.0012869 | 0.00032254 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4282-40_0_2_load_83 | 87 | 0.0018571 | 0.00046544 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4282-40_0_2_load_84 | 88 | 0.0017099 | 0.00042853 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4282-40_0_2_load_92 | 89 | 0.0011882 | 0.0002978 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4282-40_0_2_load_93 | 90 | 0.0038933 | 0.00097576 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4282-40_0_2_load_91 | 91 | 0.0037458 | 0.0009388 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4282-40_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4282-40_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0049173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4282-40_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.00054083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4282-40_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4282-40_0_2_line_4 | NAYY 4x150 SE | 3 | 7 | 0.011916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4282-40_0_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.0001334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4282-40_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0053106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4282-40_0_2_line_7 | NAYY 4x150 SE | 6 | 19 | 0.023823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4282-40_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0096975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4282-40_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0067326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4282-40_0_2_line_10 | NAYY 4x150 SE | 9 | 33 | 0.0017376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4282-40_0_2_line_11 | NAYY 4x150 SE | 10 | 23 | 0.011693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4282-40_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0010402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4282-40_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.00098957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4282-40_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0093328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4282-40_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0025388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4282-40_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.017904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4282-40_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.014646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4282-40_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0021039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4282-40_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.013461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4282-40_0_2_line_20 | NAYY 4x150 SE | 18 | 24 | 0.014463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4282-40_0_2_line_21 | NAYY 4x150 SE | 19 | 30 | 0.0080723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4282-40_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.00016436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4282-40_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0076105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4282-40_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0097011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4282-40_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0031695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4282-40_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.024923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4282-40_0_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.019799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4282-40_0_2_line_28 | NAYY 4x150 SE | 26 | 31 | 0.014429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4282-40_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.035244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4282-40_0_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.039474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4282-40_0_2_line_31 | NAYY 4x150 SE | 29 | 55 | 0.0051244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4282-40_0_2_line_32 | NAYY 4x150 SE | 29 | 64 | 0.026107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4282-40_0_2_line_33 | NAYY 4x150 SE | 30 | 45 | 0.012009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4282-40_0_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.006732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4282-40_0_2_line_35 | NAYY 4x150 SE | 32 | 35 | 0.0087339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4282-40_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0095333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4282-40_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0039172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4282-40_0_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.020198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4282-40_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.010518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4282-40_0_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.023677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4282-40_0_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.0024297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4282-40_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0069132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4282-40_0_2_line_43 | NAYY 4x150 SE | 41 | 43 | 0.021256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4282-40_0_2_line_44 | NAYY 4x150 SE | 42 | 44 | 0.021042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4282-40_0_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.011392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4282-40_0_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0098895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4282-40_0_2_line_47 | NAYY 4x150 SE | 44 | 47 | 0.018533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4282-40_0_2_line_48 | NAYY 4x150 SE | 46 | 48 | 0.042388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4282-40_0_2_line_49 | NAYY 4x150 SE | 47 | 49 | 0.010691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4282-40_0_2_line_50 | NAYY 4x150 SE | 48 | 66 | 0.013546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4282-40_0_2_line_51 | NAYY 4x150 SE | 48 | 61 | 0.014496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4282-40_0_2_line_52 | NAYY 4x150 SE | 49 | 52 | 0.018585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_4282-40_0_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.012836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_4282-40_0_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.018589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_4282-40_0_2_line_55 | NAYY 4x150 SE | 52 | 53 | 0.015941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4282-40_0_2_line_56 | NAYY 4x150 SE | 52 | 54 | 0.027814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4282-40_0_2_line_57 | NAYY 4x150 SE | 53 | 55 | 0.0028097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4282-40_0_2_line_58 | NAYY 4x150 SE | 54 | 56 | 0.03091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4282-40_0_2_line_59 | NAYY 4x150 SE | 56 | 80 | 0.004198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4282-40_0_2_line_60 | NAYY 4x150 SE | 56 | 81 | 0.025247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4282-40_0_2_line_61 | NAYY 4x150 SE | 57 | 58 | 0.032089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4282-40_0_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.0058638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4282-40_0_2_line_63 | NAYY 4x150 SE | 58 | 60 | 0.0092494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4282-40_0_2_line_64 | NAYY 4x150 SE | 59 | 61 | 0.014042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4282-40_0_2_line_65 | NAYY 4x150 SE | 60 | 62 | 0.026744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4282-40_0_2_line_66 | NAYY 4x150 SE | 62 | 63 | 0.010849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4282-40_0_2_line_67 | NAYY 4x150 SE | 64 | 65 | 0.030011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4282-40_0_2_line_68 | NAYY 4x150 SE | 66 | 67 | 0.039661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4282-40_0_2_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0041788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4282-40_0_2_line_70 | NAYY 4x150 SE | 68 | 69 | 0.033037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4282-40_0_2_line_71 | NAYY 4x150 SE | 69 | 70 | 0.0074321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4282-40_0_2_line_72 | NAYY 4x150 SE | 70 | 74 | 0.020243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4282-40_0_2_line_73 | NAYY 4x150 SE | 70 | 72 | 0.012192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4282-40_0_2_line_74 | NAYY 4x150 SE | 71 | 72 | 0.0083182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4282-40_0_2_line_75 | NAYY 4x150 SE | 71 | 73 | 0.02468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4282-40_0_2_line_76 | NAYY 4x150 SE | 75 | 76 | 0.020772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4282-40_0_2_line_77 | NAYY 4x150 SE | 76 | 77 | 0.027398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4282-40_0_2_line_78 | NAYY 4x150 SE | 77 | 78 | 0.018579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4282-40_0_2_line_79 | NAYY 4x150 SE | 78 | 79 | 0.019715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4282-40_0_2_line_80 | NAYY 4x150 SE | 79 | 85 | 0.018312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4282-40_0_2_line_81 | NAYY 4x150 SE | 80 | 82 | 0.0079453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4282-40_0_2_line_82 | NAYY 4x150 SE | 80 | 83 | 0.035062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4282-40_0_2_line_83 | NAYY 4x150 SE | 81 | 84 | 0.024152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4282-40_0_2_line_84 | NAYY 4x150 SE | 82 | 85 | 0.010224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4282-40_0_2_line_85 | NAYY 4x150 SE | 83 | 86 | 0.0079711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4282-40_0_2_line_86 | NAYY 4x150 SE | 84 | 87 | 0.014913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4282-40_0_2_line_87 | NAYY 4x150 SE | 84 | 88 | 0.010629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4282-40_0_2_line_88 | NAYY 4x150 SE | 86 | 91 | 0.018355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4282-40_0_2_line_89 | NAYY 4x150 SE | 87 | 89 | 0.023789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4282-40_0_2_line_90 | NAYY 4x150 SE | 88 | 90 | 0.025979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4282-40_0_2_trafo_40 | 0.25 MVA 20/0.4 kV | 92 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2635391.4658 | 1239022.281 | 2635374.5902 | 1239013.9196
1 | 2635391.4658 | 1239022.281 | 2635395.8719 | 1239024.4641
2 | 2635374.1056 | 1239013.6795 | 2635374.5902 | 1239013.9196
3 | 2635404.1485 | 1239030.3838 | 2635395.8719 | 1239024.4641 | 2635395.8719 | 1239024.4641
4 | 2635374.1056 | 1239013.6795 | 2635363.4283 | 1239008.3892
5 | 2635404.1485 | 1239030.3838 | 2635404.1485 | 1239030.3838 | 2635404.1637 | 1239030.5163
6 | 2635421.4617 | 1239139.9181 | 2635424.9957 | 1239135.9542
7 | 2635405.6078 | 1239157.7003 | 2635421.4617 | 1239139.9181
8 | 2635354.739 | 1239004.0838 | 2635363.4283 | 1239008.3892
9 | 2635403.8493 | 1239037.0289 | 2635404.7022 | 1239035.2013 | 2635404.1637 | 1239030.5163
10 | 2635354.739 | 1239004.0838 | 2635353.1821 | 1239003.3124
11 | 2635398.9051 | 1239047.6249 | 2635403.8493 | 1239037.0289
12 | 2635378.1384 | 1239092.1302 | 2635377.6986 | 1239093.0728
13 | 2635378.5569 | 1239091.2334 | 2635378.1384 | 1239092.1302
14 | 2635377.6986 | 1239093.0728 | 2635373.7523 | 1239101.5302
15 | 2635379.6304 | 1239088.9328 | 2635378.5569 | 1239091.2334
16 | 2635365.4754 | 1239117.3919 | 2635370.6192 | 1239108.2447 | 2635373.7523 | 1239101.5302
17 | 2635379.6304 | 1239088.9328 | 2635385.8235 | 1239075.6603
18 | 2635365.4754 | 1239117.3919 | 2635365.2914 | 1239117.719 | 2635363.6286 | 1239118.1913
19 | 2635391.5155 | 1239063.4617 | 2635385.8235 | 1239075.6603
20 | 2635349.6674 | 1239117.7619 | 2635357.7383 | 1239119.8644 | 2635363.6286 | 1239118.1913
21 | 2635405.6078 | 1239157.7003 | 2635400.2359 | 1239163.7256
22 | 2635391.585 | 1239063.3127 | 2635391.5155 | 1239063.4617
23 | 2635391.585 | 1239063.3127 | 2635394.803 | 1239056.4161
24 | 2635398.9051 | 1239047.6249 | 2635394.803 | 1239056.4161
25 | 2635346.6002 | 1239116.963 | 2635349.6674 | 1239117.7619
26 | 2635346.6002 | 1239116.963 | 2635323.6022 | 1239107.3585
27 | 2635346.6002 | 1239116.963 | 2635335.3377 | 1239133.2471
28 | 2635323.6022 | 1239107.3585 | 2635310.2873 | 1239101.7979
29 | 2635312.8834 | 1239160.4124 | 2635335.3377 | 1239133.2471
30 | 2635286.2115 | 1239189.2723 | 2635291.4641 | 1239180.9649 | 2635294.5774 | 1239177.5924 | 2635312.8834 | 1239160.4124
31 | 2635286.2115 | 1239189.2723 | 2635290.7597 | 1239191.6331
32 | 2635286.2115 | 1239189.2723 | 2635263.033 | 1239177.2592
33 | 2635400.2359 | 1239163.7256 | 2635392.2441 | 1239172.6894
34 | 2635304.0753 | 1239099.2037 | 2635310.2873 | 1239101.7979
35 | 2635296.016 | 1239095.8379 | 2635304.0753 | 1239099.2037
36 | 2635344.6398 | 1238999.08 | 2635353.1821 | 1239003.3124
37 | 2635296.016 | 1239095.8379 | 2635292.5061 | 1239094.0985
38 | 2635296.016 | 1239095.8379 | 2635286.8455 | 1239113.8341
39 | 2635292.5061 | 1239094.0985 | 2635283.0821 | 1239089.4281
40 | 2635286.8455 | 1239113.8341 | 2635276.0956 | 1239134.9298
41 | 2635276.0956 | 1239134.9298 | 2635274.9924 | 1239137.0946
42 | 2635370.5174 | 1239197.0588 | 2635365.9168 | 1239202.219
43 | 2635370.5174 | 1239197.0588 | 2635384.663 | 1239181.1927
44 | 2635351.9137 | 1239217.9253 | 2635365.9168 | 1239202.219
45 | 2635392.2441 | 1239172.6894 | 2635384.663 | 1239181.1927
46 | 2635351.9137 | 1239217.9253 | 2635361.0876 | 1239221.6187
47 | 2635351.9137 | 1239217.9253 | 2635334.6736 | 1239211.1244
48 | 2635399.2428 | 1239239.3649 | 2635395.6181 | 1239235.919 | 2635391.1842 | 1239233.7356 | 2635361.0876 | 1239221.6187
49 | 2635324.7286 | 1239207.2013 | 2635334.6736 | 1239211.1244
50 | 2635399.2428 | 1239239.3649 | 2635401.7677 | 1239247.1738 | 2635401.9023 | 1239252.5113
51 | 2635399.2428 | 1239239.3649 | 2635404.3823 | 1239231.0347 | 2635407.002 | 1239227.1235
52 | 2635307.3973 | 1239200.3607 | 2635324.7286 | 1239207.2013
53 | 2635324.7286 | 1239207.2013 | 2635331.5369 | 1239196.3198
54 | 2635341.3967 | 1239180.5613 | 2635331.5369 | 1239196.3198
55 | 2635293.2535 | 1239192.9276 | 2635307.3973 | 1239200.3607
56 | 2635307.3973 | 1239200.3607 | 2635294.1436 | 1239224.8137
57 | 2635293.2535 | 1239192.9276 | 2635290.7597 | 1239191.6331
58 | 2635279.5766 | 1239252.0728 | 2635281.544 | 1239248.0597 | 2635294.1436 | 1239224.8137
59 | 2635279.5766 | 1239252.0728 | 2635277.724 | 1239255.842
60 | 2635279.5766 | 1239252.0728 | 2635259.9115 | 1239236.2388
61 | 2635421.3825 | 1239213.4359 | 2635437.5503 | 1239195.9545 | 2635443.7696 | 1239190.4918
62 | 2635421.3825 | 1239213.4359 | 2635417.0395 | 1239217.3757
63 | 2635421.3825 | 1239213.4359 | 2635430.4494 | 1239215.2642
64 | 2635407.002 | 1239227.1235 | 2635408.0984 | 1239225.4866 | 2635417.0395 | 1239217.3757
65 | 2635456.6662 | 1239220.5507 | 2635430.4494 | 1239215.2642
66 | 2635456.6662 | 1239220.5507 | 2635455.963 | 1239231.3767
67 | 2635236.4636 | 1239163.3059 | 2635255.05 | 1239173.1217 | 2635263.033 | 1239177.2592
68 | 2635401.9023 | 1239252.5113 | 2635401.9023 | 1239252.5113 | 2635400.5982 | 1239258.1405 | 2635387.5837 | 1239284.6243 | 2635385.9704 | 1239288.6903
69 | 2635385.9704 | 1239288.6903 | 2635384.4292 | 1239292.5745
70 | 2635384.4292 | 1239292.5745 | 2635372.2451 | 1239323.2824
71 | 2635369.5927 | 1239330.2239 | 2635370.5386 | 1239327.5834 | 2635372.2451 | 1239323.2824
72 | 2635369.5927 | 1239330.2239 | 2635362.7541 | 1239349.2773
73 | 2635369.5927 | 1239330.2239 | 2635380.7454 | 1239335.1507
74 | 2635388.8633 | 1239336.3732 | 2635382.8077 | 1239336.0618 | 2635380.7454 | 1239335.1507
75 | 2635388.8633 | 1239336.3732 | 2635403.5912 | 1239337.1307 | 2635413.4471 | 1239338.3587
76 | 2635305.4906 | 1239340.4564 | 2635287.9755 | 1239329.2903
77 | 2635264.9814 | 1239314.3929 | 2635284.6363 | 1239327.1616 | 2635287.9755 | 1239329.2903
78 | 2635249.4014 | 1239304.2714 | 2635264.9814 | 1239314.3929
79 | 2635249.4014 | 1239304.2714 | 2635260.118 | 1239287.7233
80 | 2635260.118 | 1239287.7233 | 2635268.2007 | 1239275.2422 | 2635269.7175 | 1239272.1523
81 | 2635277.724 | 1239255.842 | 2635274.2229 | 1239262.9743
82 | 2635277.724 | 1239255.842 | 2635309.9578 | 1239269.6386
83 | 2635241.0993 | 1239221.0916 | 2635259.9115 | 1239236.2388
84 | 2635269.7175 | 1239272.1523 | 2635274.2229 | 1239262.9743
85 | 2635309.9578 | 1239269.6386 | 2635315.1553 | 1239271.8633 | 2635317.2976 | 1239272.7472
86 | 2635241.0993 | 1239221.0916 | 2635230.3962 | 1239231.4759
87 | 2635241.0993 | 1239221.0916 | 2635248.2279 | 1239213.2069
88 | 2635334.265 | 1239279.7485 | 2635317.2976 | 1239272.7472
89 | 2635213.3227 | 1239248.0409 | 2635230.3962 | 1239231.4759
90 | 2635248.2279 | 1239213.2069 | 2635226.1316 | 1239199.5448

## bus_geodata
| x | y | coords
0 | 2635391.4658 | 1239022.281
1 | 2635374.5902 | 1239013.9196
2 | 2635395.8719 | 1239024.4641
3 | 2635374.1056 | 1239013.6795
4 | 2635404.1485 | 1239030.3838
5 | 2635424.9957 | 1239135.9542
6 | 2635421.4617 | 1239139.9181
7 | 2635363.4283 | 1239008.3892
8 | 2635404.1637 | 1239030.5163
9 | 2635354.739 | 1239004.0838
10 | 2635403.8493 | 1239037.0289
11 | 2635378.1384 | 1239092.1302
12 | 2635377.6986 | 1239093.0728
13 | 2635378.5569 | 1239091.2334
14 | 2635373.7523 | 1239101.5302
15 | 2635379.6304 | 1239088.9328
16 | 2635365.4754 | 1239117.3919
17 | 2635385.8235 | 1239075.6603
18 | 2635363.6286 | 1239118.1913
19 | 2635405.6078 | 1239157.7003
20 | 2635391.5155 | 1239063.4617
21 | 2635391.585 | 1239063.3127
22 | 2635394.803 | 1239056.4161
23 | 2635398.9051 | 1239047.6249
24 | 2635349.6674 | 1239117.7619
25 | 2635346.6002 | 1239116.963
26 | 2635323.6022 | 1239107.3585
27 | 2635335.3377 | 1239133.2471
28 | 2635312.8834 | 1239160.4124
29 | 2635286.2115 | 1239189.2723
30 | 2635400.2359 | 1239163.7256
31 | 2635310.2873 | 1239101.7979
32 | 2635304.0753 | 1239099.2037
33 | 2635353.1821 | 1239003.3124
34 | 2635344.6398 | 1238999.08
35 | 2635296.016 | 1239095.8379
36 | 2635292.5061 | 1239094.0985
37 | 2635286.8455 | 1239113.8341
38 | 2635283.0821 | 1239089.4281
39 | 2635276.0956 | 1239134.9298
40 | 2635274.9924 | 1239137.0946
41 | 2635370.5174 | 1239197.0588
42 | 2635365.9168 | 1239202.219
43 | 2635384.663 | 1239181.1927
44 | 2635351.9137 | 1239217.9253
45 | 2635392.2441 | 1239172.6895
46 | 2635361.0876 | 1239221.6187
47 | 2635334.6736 | 1239211.1244
48 | 2635399.2428 | 1239239.3649
49 | 2635324.7286 | 1239207.2013
50 | 2635331.5369 | 1239196.3198
51 | 2635341.3967 | 1239180.5613
52 | 2635307.3973 | 1239200.3607
53 | 2635293.2535 | 1239192.9276
54 | 2635294.1436 | 1239224.8137
55 | 2635290.7597 | 1239191.6331
56 | 2635279.5766 | 1239252.0728
57 | 2635443.7696 | 1239190.4918
58 | 2635421.3825 | 1239213.4359
59 | 2635417.0395 | 1239217.3757
60 | 2635430.4494 | 1239215.2642
61 | 2635407.002 | 1239227.1235
62 | 2635456.6662 | 1239220.5507
63 | 2635455.963 | 1239231.3767
64 | 2635263.033 | 1239177.2592
65 | 2635236.4636 | 1239163.3059
66 | 2635401.9023 | 1239252.5113
67 | 2635385.9704 | 1239288.6903
68 | 2635384.4292 | 1239292.5745
69 | 2635372.2451 | 1239323.2824
70 | 2635369.5927 | 1239330.2239
71 | 2635388.8633 | 1239336.3732
72 | 2635380.7454 | 1239335.1507
73 | 2635413.4471 | 1239338.3587
74 | 2635362.7541 | 1239349.2773
75 | 2635305.4906 | 1239340.4564
76 | 2635287.9755 | 1239329.2903
77 | 2635264.9814 | 1239314.3929
78 | 2635249.4014 | 1239304.2714
79 | 2635260.118 | 1239287.7233
80 | 2635277.724 | 1239255.842
81 | 2635259.9115 | 1239236.2388
82 | 2635274.2229 | 1239262.9743
83 | 2635309.9578 | 1239269.6386
84 | 2635241.0993 | 1239221.0916
85 | 2635269.7175 | 1239272.1523
86 | 2635317.2976 | 1239272.7472
87 | 2635230.3962 | 1239231.4759
88 | 2635248.2279 | 1239213.2069
89 | 2635213.3227 | 1239248.0409
90 | 2635226.1316 | 1239199.5448
91 | 2635334.265 | 1239279.7485
92 | 2635324.7286 | 1239207.2013

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1