## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4311-4_1_2_node_129 | 0.4 | n |  | TRUE
1 | bus_LV_4311-4_1_2_node_100 | 0.4 | n |  | TRUE
2 | bus_LV_4311-4_1_2_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_4311-4_1_2_node_131 | 0.4 | n |  | TRUE
4 | bus_LV_4311-4_1_2_node_135 | 0.4 | n |  | TRUE
5 | bus_LV_4311-4_1_2_node_132 | 0.4 | n |  | TRUE
6 | bus_LV_4311-4_1_2_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_4311-4_1_2_node_133 | 0.4 | n |  | TRUE
8 | bus_LV_4311-4_1_2_node_134 | 0.4 | n |  | TRUE
9 | bus_LV_4311-4_1_2_node_136 | 0.4 | n |  | TRUE
10 | bus_LV_4311-4_1_2_node_137 | 0.4 | n |  | TRUE
11 | bus_LV_4311-4_1_2_node_138 | 0.4 | n |  | TRUE
12 | bus_LV_4311-4_1_2_node_74 | 0.4 | n |  | TRUE
13 | bus_LV_4311-4_1_2_node_139 | 0.4 | n |  | TRUE
14 | bus_LV_4311-4_1_2_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_4311-4_1_2_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_4311-4_1_2_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_4311-4_1_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_4311-4_1_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_4311-4_1_2_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_4311-4_1_2_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_4311-4_1_2_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_4311-4_1_2_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_4311-4_1_2_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_4311-4_1_2_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_4311-4_1_2_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_4311-4_1_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_4311-4_1_2_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_4311-4_1_2_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_4311-4_1_2_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_4311-4_1_2_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_4311-4_1_2_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_4311-4_1_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_4311-4_1_2_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_4311-4_1_2_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_4311-4_1_2_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_4311-4_1_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_4311-4_1_2_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_4311-4_1_2_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_4311-4_1_2_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_4311-4_1_2_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_4311-4_1_2_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_4311-4_1_2_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_4311-4_1_2_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_4311-4_1_2_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_4311-4_1_2_node_68 | 0.4 | n |  | TRUE
46 | bus_LV_4311-4_1_2_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_4311-4_1_2_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_4311-4_1_2_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_4311-4_1_2_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_4311-4_1_2_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_4311-4_1_2_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_4311-4_1_2_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_4311-4_1_2_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_4311-4_1_2_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_4311-4_1_2_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_4311-4_1_2_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_4311-4_1_2_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_4311-4_1_2_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_4311-4_1_2_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_4311-4_1_2_node_97 | 0.4 | n |  | TRUE
61 | bus_LV_4311-4_1_2_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_4311-4_1_2_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_4311-4_1_2_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_4311-4_1_2_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_4311-4_1_2_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_4311-4_1_2_node_78 | 0.4 | n |  | TRUE
67 | bus_MV_302_0_node_125 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4311-4_1_2_load_129 | 0 | 0.00073259 | 0.0001836 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4311-4_1_2_load_100 | 1 | 0.001903 | 0.00047695 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4311-4_1_2_load_130 | 2 | 0.0016451 | 0.0004123 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4311-4_1_2_load_131 | 3 | 0.00073977 | 0.0001854 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4311-4_1_2_load_132 | 5 | 0.0032759 | 0.00082101 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4311-4_1_2_load_133 | 7 | 0.0073603 | 0.0018447 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4311-4_1_2_load_134 | 8 | 0.00082109 | 0.00020579 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4311-4_1_2_load_136 | 9 | 0.0016453 | 0.00041235 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4311-4_1_2_load_137 | 10 | 0.0051241 | 0.0012842 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4311-4_1_2_load_138 | 11 | 0.0016448 | 0.00041223 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4311-4_1_2_load_74 | 12 | 0.0028163 | 0.00070584 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4311-4_1_2_load_139 | 13 | 0.00075307 | 0.00018874 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4311-4_1_2_load_75 | 14 | 0.0012603 | 0.00031585 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4311-4_1_2_load_21 | 15 | 0.00069204 | 0.00017344 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4311-4_1_2_load_22 | 16 | 0.00051091 | 0.00012805 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4311-4_1_2_load_24 | 18 | 0.0016212 | 0.0004063 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4311-4_1_2_load_26 | 20 | 0.0013141 | 0.00032934 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4311-4_1_2_load_48 | 21 | 0.00025068 | 6.2826e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4311-4_1_2_load_36 | 22 | 0.0015151 | 0.00037973 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4311-4_1_2_load_43 | 23 | 0.00063178 | 0.00015834 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4311-4_1_2_load_49 | 24 | 0.001063 | 0.00026642 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4311-4_1_2_load_27 | 25 | 0.00085089 | 0.00021325 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4311-4_1_2_load_28 | 26 | 0.0008938 | 0.00022401 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4311-4_1_2_load_29 | 27 | 0.00077655 | 0.00019462 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4311-4_1_2_load_30 | 28 | 0.0011396 | 0.0002856 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4311-4_1_2_load_31 | 29 | 0.00070691 | 0.00017717 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4311-4_1_2_load_40 | 30 | 0.00097696 | 0.00024485 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4311-4_1_2_load_34 | 31 | 0.00076793 | 0.00019246 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4311-4_1_2_load_35 | 32 | 0.0012564 | 0.00031489 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4311-4_1_2_load_37 | 33 | 0.00071981 | 0.0001804 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4311-4_1_2_load_46 | 34 | 0.0015744 | 0.00039459 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4311-4_1_2_load_41 | 35 | 0.00085633 | 0.00021462 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4311-4_1_2_load_45 | 38 | 0.00037621 | 9.4288e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4311-4_1_2_load_47 | 39 | 0.00038116 | 9.5529e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4311-4_1_2_load_76 | 40 | 0.0019226 | 0.00048185 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4311-4_1_2_load_50 | 42 | 0.0010459 | 0.00026212 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4311-4_1_2_load_51 | 43 | 0.0010958 | 0.00027464 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4311-4_1_2_load_53 | 44 | 0.0015647 | 0.00039216 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4311-4_1_2_load_68 | 45 | 0.0043754 | 0.0010966 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4311-4_1_2_load_54 | 46 | 0.0020254 | 0.00050761 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4311-4_1_2_load_55 | 47 | 0.0020989 | 0.00052605 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4311-4_1_2_load_56 | 48 | 0.0034818 | 0.00087263 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4311-4_1_2_load_57 | 49 | 0.0026775 | 0.00067105 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4311-4_1_2_load_58 | 50 | 0.0023247 | 0.00058262 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4311-4_1_2_load_67 | 51 | 0.0019458 | 0.00048765 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4311-4_1_2_load_63 | 52 | 0.0012655 | 0.00031716 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4311-4_1_2_load_59 | 53 | 0.00069964 | 0.00017535 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4311-4_1_2_load_60 | 54 | 0.0010968 | 0.00027488 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4311-4_1_2_load_61 | 55 | 0.0023263 | 0.00058302 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4311-4_1_2_load_62 | 56 | 0.0023256 | 0.00058286 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4311-4_1_2_load_64 | 57 | 0.0013301 | 0.00033335 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4311-4_1_2_load_65 | 58 | 0.0011938 | 0.00029919 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4311-4_1_2_load_97 | 60 | 0.0011262 | 0.00028226 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4311-4_1_2_load_69 | 61 | 0.0050523 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4311-4_1_2_load_70 | 62 | 0.0013153 | 0.00032964 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4311-4_1_2_load_77 | 65 | 0.0030311 | 0.00075966 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4311-4_1_2_load_78 | 66 | 0.0012807 | 0.00032097 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4311-4_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.003055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4311-4_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.027614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4311-4_1_2_line_2 | NAYY 4x150 SE | 1 | 59 | 0.026139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4311-4_1_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.016988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4311-4_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.026173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4311-4_1_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.016941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4311-4_1_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.025776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4311-4_1_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.016126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4311-4_1_2_line_8 | NAYY 4x150 SE | 6 | 63 | 0.02525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4311-4_1_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.052639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4311-4_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0035974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4311-4_1_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.03293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4311-4_1_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.034774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4311-4_1_2_line_13 | NAYY 4x150 SE | 12 | 63 | 0.00095536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4311-4_1_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.01224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4311-4_1_2_line_15 | NAYY 4x150 SE | 14 | 64 | 0.021091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4311-4_1_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.038087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4311-4_1_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0036655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4311-4_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0090866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4311-4_1_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.023087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4311-4_1_2_line_20 | NAYY 4x150 SE | 17 | 20 | 0.008122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4311-4_1_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.0124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4311-4_1_2_line_22 | NAYY 4x150 SE | 19 | 22 | 0.011164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4311-4_1_2_line_23 | NAYY 4x150 SE | 19 | 23 | 0.026871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4311-4_1_2_line_24 | NAYY 4x150 SE | 20 | 24 | 0.036237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4311-4_1_2_line_25 | NAYY 4x150 SE | 21 | 41 | 0.019252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4311-4_1_2_line_26 | NAYY 4x150 SE | 22 | 31 | 0.02086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4311-4_1_2_line_27 | NAYY 4x150 SE | 23 | 37 | 0.021532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4311-4_1_2_line_28 | NAYY 4x150 SE | 24 | 42 | 0.040643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4311-4_1_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.0008428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4311-4_1_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.02519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4311-4_1_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.0095457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4311-4_1_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.0099765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4311-4_1_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.025289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4311-4_1_2_line_34 | NAYY 4x150 SE | 30 | 35 | 0.028763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4311-4_1_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.015782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4311-4_1_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.022267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4311-4_1_2_line_37 | NAYY 4x150 SE | 33 | 34 | 0.012623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4311-4_1_2_line_38 | NAYY 4x150 SE | 34 | 40 | 0.011578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4311-4_1_2_line_39 | NAYY 4x150 SE | 35 | 36 | 0.033902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4311-4_1_2_line_40 | NAYY 4x150 SE | 36 | 37 | 0.027634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4311-4_1_2_line_41 | NAYY 4x150 SE | 37 | 38 | 0.016258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4311-4_1_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.029267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4311-4_1_2_line_43 | NAYY 4x150 SE | 40 | 65 | 0.011787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4311-4_1_2_line_44 | NAYY 4x150 SE | 41 | 44 | 0.025199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4311-4_1_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.0179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4311-4_1_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.017822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4311-4_1_2_line_47 | NAYY 4x150 SE | 45 | 51 | 0.021164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4311-4_1_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.023963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4311-4_1_2_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0036853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4311-4_1_2_line_50 | NAYY 4x150 SE | 47 | 49 | 0.0097238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4311-4_1_2_line_51 | NAYY 4x150 SE | 48 | 50 | 0.023252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4311-4_1_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.023289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4311-4_1_2_line_53 | NAYY 4x150 SE | 50 | 52 | 0.0047894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4311-4_1_2_line_54 | NAYY 4x150 SE | 52 | 55 | 0.019237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4311-4_1_2_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0099956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4311-4_1_2_line_56 | NAYY 4x150 SE | 53 | 55 | 0.0014045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4311-4_1_2_line_57 | NAYY 4x150 SE | 54 | 56 | 0.011405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4311-4_1_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.01483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4311-4_1_2_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0098399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4311-4_1_2_line_60 | NAYY 4x150 SE | 58 | 59 | 0.014768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4311-4_1_2_line_61 | NAYY 4x150 SE | 59 | 60 | 0.018306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4311-4_1_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.037946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4311-4_1_2_line_63 | NAYY 4x150 SE | 61 | 63 | 0.019772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4311-4_1_2_line_64 | NAYY 4x150 SE | 62 | 64 | 0.022847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4311-4_1_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.0092073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4311-4_1_2_trafo_56 | 0.25 MVA 20/0.4 kV | 67 | 48 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2655315.568 | 1271407.6403 | 2655318.5646 | 1271408.2347
1 | 2655345.6515 | 1271413.6063 | 2655335.2334 | 1271411.541 | 2655318.5646 | 1271408.2347
2 | 2655289.9287 | 1271402.5546 | 2655315.568 | 1271407.6403
3 | 2655345.6515 | 1271413.6063 | 2655353.4258 | 1271415.1475 | 2655355.881 | 1271415.6375 | 2655362.3142 | 1271416.9144
4 | 2655387.986 | 1271422.0098 | 2655362.3142 | 1271416.9144
5 | 2655387.986 | 1271422.0098 | 2655379.4195 | 1271436.6254
6 | 2655334.9593 | 1271545.9399 | 2655329.393 | 1271571.1073
7 | 2655325.9105 | 1271586.8528 | 2655329.393 | 1271571.1073
8 | 2655334.9593 | 1271545.9399 | 2655310.2172 | 1271540.5486
9 | 2655379.4195 | 1271436.6254 | 2655351.0232 | 1271480.948
10 | 2655351.0232 | 1271480.948 | 2655349.0597 | 1271483.9623
11 | 2655330.307 | 1271511.0188 | 2655341.4024 | 1271495.7179 | 2655349.0597 | 1271483.9623
12 | 2655310.7342 | 1271539.7453 | 2655320.6594 | 1271524.323 | 2655330.307 | 1271511.0188
13 | 2655310.7342 | 1271539.7453 | 2655310.2172 | 1271540.5486
14 | 2655303.1339 | 1271619.0709 | 2655291.2731 | 1271616.0458
15 | 2655270.836 | 1271610.8332 | 2655291.2731 | 1271616.0458
16 | 2655189.0105 | 1271533.3719 | 2655194.6354 | 1271571.0415
17 | 2655188.4692 | 1271529.7466 | 2655189.0105 | 1271533.3719
18 | 2655194.6354 | 1271571.0415 | 2655195.9773 | 1271580.0285
19 | 2655188.4692 | 1271529.7466 | 2655186.4952 | 1271506.7441
20 | 2655188.4692 | 1271529.7466 | 2655195.7603 | 1271528.6917 | 2655196.11 | 1271528.0227
21 | 2655197.8086 | 1271592.2925 | 2655195.9773 | 1271580.0285
22 | 2655186.4952 | 1271506.7441 | 2655185.8757 | 1271495.5978
23 | 2655186.4952 | 1271506.7441 | 2655177.3901 | 1271508.7272 | 2655169.0249 | 1271512.8189 | 2655162.6101 | 1271517.9909
24 | 2655209.6311 | 1271494.4545 | 2655199.7277 | 1271521.1008 | 2655196.11 | 1271528.0227
25 | 2655200.6518 | 1271611.3331 | 2655197.8086 | 1271592.2925
26 | 2655184.718 | 1271474.77 | 2655184.718 | 1271474.77 | 2655185.8757 | 1271495.5978
27 | 2655145.848 | 1271531.5055 | 2655162.6101 | 1271517.9909
28 | 2655209.6311 | 1271494.4545 | 2655218.8947 | 1271469.5298 | 2655223.6236 | 1271456.2966
29 | 2655125.9054 | 1271427.6991 | 2655125.7615 | 1271428.5296
30 | 2655123.0259 | 1271453.5347 | 2655123.9661 | 1271438.887 | 2655125.7615 | 1271428.5296
31 | 2655127.5358 | 1271418.2937 | 2655125.9054 | 1271427.6991
32 | 2655123.0259 | 1271453.5347 | 2655122.3869 | 1271463.4908
33 | 2655122.3869 | 1271463.4908 | 2655120.767 | 1271488.7281
34 | 2655120.767 | 1271488.7281 | 2655120.7092 | 1271489.6283 | 2655119.2438 | 1271517.4508
35 | 2655184.718 | 1271474.77 | 2655185.5906 | 1271464.3036 | 2655187.4569 | 1271459.3654
36 | 2655187.4569 | 1271459.3654 | 2655193.0489 | 1271444.5695 | 2655195.5422 | 1271438.6208
37 | 2655195.5422 | 1271438.6208 | 2655200.4216 | 1271426.9788
38 | 2655204.8867 | 1271416.2974 | 2655204.8588 | 1271416.3919 | 2655200.4216 | 1271426.9788
39 | 2655124.7767 | 1271549.4558 | 2655119.4541 | 1271542.6899 | 2655118.5333 | 1271530.9392 | 2655119.2438 | 1271517.4508
40 | 2655124.7767 | 1271549.4558 | 2655145.848 | 1271531.5055
41 | 2655145.848 | 1271531.5055 | 2655146.0933 | 1271547.7614
42 | 2655146.5348 | 1271577.0247 | 2655146.0933 | 1271547.7614
43 | 2655204.8867 | 1271416.2974 | 2655208.2205 | 1271404.9918
44 | 2655200.6518 | 1271611.3331 | 2655205.8486 | 1271609.8138 | 2655209.8223 | 1271606.3706 | 2655215.7725 | 1271593.4609 | 2655215.8952 | 1271593.1748
45 | 2655229.6469 | 1271439.4409 | 2655223.6236 | 1271456.2966
46 | 2655215.8952 | 1271593.1748 | 2655222.9211 | 1271576.7956
47 | 2655222.9211 | 1271576.7956 | 2655231.2642 | 1271557.3456
48 | 2655246.2351 | 1271505.8648 | 2655237.0953 | 1271528.0163
49 | 2655247.6407 | 1271502.4581 | 2655246.2351 | 1271505.8648
50 | 2655239.077 | 1271535.4126 | 2655235.2146 | 1271532.5744 | 2655237.0953 | 1271528.0163
51 | 2655247.6407 | 1271502.4581 | 2655252.3395 | 1271491.0698 | 2655255.9893 | 1271489.2915 | 2655258.492 | 1271482.8913
52 | 2655239.077 | 1271535.4126 | 2655239.077 | 1271535.4126 | 2655232.2668 | 1271555.0082 | 2655231.2642 | 1271557.3456
53 | 2655258.492 | 1271482.8913 | 2655260.2363 | 1271478.4308
54 | 2655267.2448 | 1271460.5165 | 2655263.1333 | 1271471.0223 | 2655260.2363 | 1271478.4308
55 | 2655267.7567 | 1271459.2085 | 2655271.3995 | 1271449.9004
56 | 2655267.2448 | 1271460.5165 | 2655267.7567 | 1271459.2085
57 | 2655275.5559 | 1271439.2801 | 2655271.3995 | 1271449.9004
58 | 2655275.5559 | 1271439.2801 | 2655280.9605 | 1271425.4703
59 | 2655280.9605 | 1271425.4703 | 2655284.5465 | 1271416.3072
60 | 2655289.9287 | 1271402.5546 | 2655284.5465 | 1271416.3072
61 | 2655289.9287 | 1271402.5546 | 2655271.8016 | 1271400.0053 | 2655271.8016 | 1271400.0053
62 | 2655300.5523 | 1271557.7978 | 2655282.0038 | 1271590.9018
63 | 2655310.2172 | 1271540.5486 | 2655300.5523 | 1271557.7978
64 | 2655270.836 | 1271610.8332 | 2655282.0038 | 1271590.9018
65 | 2655208.2205 | 1271404.9918 | 2655210.1104 | 1271398.5831 | 2655210.7948 | 1271396.1518

## bus_geodata
| x | y | coords
0 | 2655318.5646 | 1271408.2347
1 | 2655315.568 | 1271407.6403
2 | 2655345.6515 | 1271413.6063
3 | 2655362.3142 | 1271416.9144
4 | 2655387.986 | 1271422.0098
5 | 2655329.393 | 1271571.1073
6 | 2655334.9593 | 1271545.9399
7 | 2655325.9105 | 1271586.8528
8 | 2655379.4195 | 1271436.6254
9 | 2655351.0232 | 1271480.948
10 | 2655349.0597 | 1271483.9623
11 | 2655330.307 | 1271511.0188
12 | 2655310.7342 | 1271539.7453
13 | 2655303.1339 | 1271619.0709
14 | 2655291.2731 | 1271616.0458
15 | 2655189.0105 | 1271533.3719
16 | 2655194.6354 | 1271571.0415
17 | 2655188.4692 | 1271529.7466
18 | 2655195.9773 | 1271580.0285
19 | 2655186.4952 | 1271506.7441
20 | 2655196.11 | 1271528.0227
21 | 2655197.8086 | 1271592.2925
22 | 2655185.8757 | 1271495.5978
23 | 2655162.6101 | 1271517.9909
24 | 2655209.6311 | 1271494.4545
25 | 2655125.7615 | 1271428.5296
26 | 2655125.9054 | 1271427.6991
27 | 2655123.0259 | 1271453.5347
28 | 2655127.5358 | 1271418.2937
29 | 2655122.3869 | 1271463.4908
30 | 2655120.767 | 1271488.7281
31 | 2655184.718 | 1271474.77
32 | 2655187.4569 | 1271459.3654
33 | 2655195.5422 | 1271438.6208
34 | 2655200.4216 | 1271426.9788
35 | 2655119.2438 | 1271517.4508
36 | 2655124.7767 | 1271549.4558
37 | 2655145.848 | 1271531.5055
38 | 2655146.0933 | 1271547.7614
39 | 2655146.5348 | 1271577.0247
40 | 2655204.8867 | 1271416.2974
41 | 2655200.6518 | 1271611.3331
42 | 2655223.6236 | 1271456.2966
43 | 2655229.6469 | 1271439.4409
44 | 2655215.8952 | 1271593.1748
45 | 2655222.9211 | 1271576.7956
46 | 2655246.2351 | 1271505.8648
47 | 2655237.0953 | 1271528.0163
48 | 2655247.6407 | 1271502.4581
49 | 2655239.077 | 1271535.4126
50 | 2655258.492 | 1271482.8913
51 | 2655231.2642 | 1271557.3456
52 | 2655260.2363 | 1271478.4308
53 | 2655267.7567 | 1271459.2085
54 | 2655271.3995 | 1271449.9004
55 | 2655267.2448 | 1271460.5165
56 | 2655275.5559 | 1271439.2801
57 | 2655280.9605 | 1271425.4703
58 | 2655284.5465 | 1271416.3072
59 | 2655289.9287 | 1271402.5546
60 | 2655271.8016 | 1271400.0053
61 | 2655300.5523 | 1271557.7978
62 | 2655282.0038 | 1271590.9018
63 | 2655310.2172 | 1271540.5486
64 | 2655270.836 | 1271610.8332
65 | 2655208.2205 | 1271404.9918
66 | 2655210.7948 | 1271396.1518
67 | 2655289.9287 | 1271402.5546

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1