## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4313-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4313-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4313-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4313-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4313-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4313-11_0_3_node_109 | 0.4 | n |  | TRUE
6 | bus_LV_4313-11_0_3_node_107 | 0.4 | n |  | TRUE
7 | bus_LV_4313-11_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_4313-11_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4313-11_0_3_node_106 | 0.4 | n |  | TRUE
10 | bus_LV_4313-11_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4313-11_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4313-11_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4313-11_0_3_node_111 | 0.4 | n |  | TRUE
14 | bus_LV_4313-11_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4313-11_0_3_node_105 | 0.4 | n |  | TRUE
16 | bus_LV_4313-11_0_3_node_110 | 0.4 | n |  | TRUE
17 | bus_LV_4313-11_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4313-11_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4313-11_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4313-11_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4313-11_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_4313-11_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_4313-11_0_3_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_4313-11_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_4313-11_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4313-11_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_4313-11_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4313-11_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4313-11_0_3_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_4313-11_0_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_4313-11_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4313-11_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_4313-11_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_4313-11_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_4313-11_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4313-11_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_4313-11_0_3_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_4313-11_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_4313-11_0_3_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_4313-11_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_4313-11_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_4313-11_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_4313-11_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_4313-11_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_4313-11_0_3_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_4313-11_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_4313-11_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_4313-11_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_4313-11_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_4313-11_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4313-11_0_3_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_4313-11_0_3_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_4313-11_0_3_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_4313-11_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_4313-11_0_3_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_4313-11_0_3_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_4313-11_0_3_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_4313-11_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_4313-11_0_3_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_4313-11_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_4313-11_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_4313-11_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_4313-11_0_3_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_4313-11_0_3_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_4313-11_0_3_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_4313-11_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_4313-11_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_4313-11_0_3_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_4313-11_0_3_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_4313-11_0_3_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_4313-11_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_4313-11_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_4313-11_0_3_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_4313-11_0_3_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_4313-11_0_3_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_4313-11_0_3_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_4313-11_0_3_node_87 | 0.4 | n |  | TRUE
78 | bus_LV_4313-11_0_3_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_4313-11_0_3_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_4313-11_0_3_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_4313-11_0_3_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_4313-11_0_3_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_4313-11_0_3_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_4313-11_0_3_node_104 | 0.4 | n |  | TRUE
85 | bus_LV_4313-11_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_4313-11_0_3_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_4313-11_0_3_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_4313-11_0_3_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_4313-11_0_3_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_4313-11_0_3_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_4313-11_0_3_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_4313-11_0_3_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_4313-11_0_3_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_4313-11_0_3_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_4313-11_0_3_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_4313-11_0_3_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_4313-11_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_4313-11_0_3_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_4313-11_0_3_node_92 | 0.4 | n |  | TRUE
100 | bus_LV_4313-11_0_3_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_4313-11_0_3_node_97 | 0.4 | n |  | TRUE
102 | bus_LV_4313-11_0_3_node_95 | 0.4 | n |  | TRUE
103 | bus_LV_4313-11_0_3_node_96 | 0.4 | n |  | TRUE
104 | bus_LV_4313-11_0_3_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_4313-11_0_3_node_99 | 0.4 | n |  | TRUE
106 | bus_LV_4313-11_0_3_node_100 | 0.4 | n |  | TRUE
107 | bus_LV_4313-11_0_3_node_102 | 0.4 | n |  | TRUE
108 | bus_LV_4313-11_0_3_node_103 | 0.4 | n |  | TRUE
109 | bus_LV_4313-11_0_3_node_108 | 0.4 | n |  | TRUE
110 | bus_MV_486_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4313-11_0_3_load_0 | 0 | 0.00049441 | 0.00012391 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4313-11_0_3_load_1 | 1 | 0.00085144 | 0.00021339 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4313-11_0_3_load_2 | 2 | 0.00037181 | 9.3185e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4313-11_0_3_load_3 | 3 | 0.00041166 | 0.00010317 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4313-11_0_3_load_4 | 4 | 0.00026572 | 6.6596e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4313-11_0_3_load_109 | 5 | 0.00069042 | 0.00017304 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4313-11_0_3_load_107 | 6 | 0.00043702 | 0.00010953 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4313-11_0_3_load_10 | 7 | 0.0012243 | 0.00030684 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4313-11_0_3_load_5 | 8 | 0.00065187 | 0.00016337 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4313-11_0_3_load_106 | 9 | 0.00058486 | 0.00014658 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4313-11_0_3_load_6 | 10 | 0.0012269 | 0.00030749 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4313-11_0_3_load_7 | 11 | 0.00026268 | 6.5835e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4313-11_0_3_load_8 | 12 | 0.00035864 | 8.9883e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4313-11_0_3_load_111 | 13 | 0.00057732 | 0.00014469 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4313-11_0_3_load_9 | 14 | 0.0011035 | 0.00027657 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4313-11_0_3_load_110 | 16 | 0.00083139 | 0.00020837 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4313-11_0_3_load_11 | 17 | 0.0024322 | 0.00060958 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4313-11_0_3_load_14 | 20 | 0.0023551 | 0.00059024 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4313-11_0_3_load_15 | 21 | 0.0024911 | 0.00062433 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4313-11_0_3_load_26 | 22 | 0.00073023 | 0.00018301 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4313-11_0_3_load_47 | 23 | 0.0026592 | 0.00066646 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4313-11_0_3_load_16 | 25 | 0.00037279 | 9.343e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4313-11_0_3_load_17 | 26 | 0.0012399 | 0.00031075 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4313-11_0_3_load_18 | 27 | 0.0013489 | 0.00033807 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4313-11_0_3_load_34 | 29 | 0.0013135 | 0.00032918 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4313-11_0_3_load_21 | 31 | 0.00064334 | 0.00016124 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4313-11_0_3_load_22 | 32 | 0.0026424 | 0.00066225 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4313-11_0_3_load_23 | 33 | 0.002591 | 0.00064938 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4313-11_0_3_load_25 | 34 | 0.0010402 | 0.00026069 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4313-11_0_3_load_27 | 35 | 0.0014455 | 0.00036227 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4313-11_0_3_load_28 | 36 | 0.0014613 | 0.00036625 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4313-11_0_3_load_53 | 37 | 0.0028192 | 0.00070657 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4313-11_0_3_load_29 | 38 | 0.00098449 | 0.00024674 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4313-11_0_3_load_54 | 39 | 0.0021213 | 0.00053165 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4313-11_0_3_load_31 | 40 | 0.00047165 | 0.00011821 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4313-11_0_3_load_30 | 41 | 0.00062288 | 0.00015611 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4313-11_0_3_load_32 | 42 | 0.00045348 | 0.00011365 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4313-11_0_3_load_33 | 43 | 0.00053053 | 0.00013296 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4313-11_0_3_load_36 | 44 | 0.00063911 | 0.00016018 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4313-11_0_3_load_80 | 45 | 0.0014898 | 0.00037338 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4313-11_0_3_load_37 | 46 | 0.0014025 | 0.0003515 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4313-11_0_3_load_39 | 48 | 0.002135 | 0.00053509 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4313-11_0_3_load_40 | 49 | 0.0028194 | 0.0007066 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4313-11_0_3_load_41 | 50 | 0.0021139 | 0.0005298 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4313-11_0_3_load_75 | 51 | 0.0031088 | 0.00077913 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4313-11_0_3_load_88 | 52 | 0.0023378 | 0.00058592 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4313-11_0_3_load_52 | 54 | 0.0021021 | 0.00052683 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4313-11_0_3_load_89 | 55 | 0.0012383 | 0.00031034 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4313-11_0_3_load_82 | 56 | 0.0013206 | 0.00033098 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4313-11_0_3_load_42 | 58 | 0.0032974 | 0.0008264 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4313-11_0_3_load_43 | 59 | 0.0010841 | 0.00027171 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4313-11_0_3_load_44 | 60 | 0.0036248 | 0.00090845 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4313-11_0_3_load_45 | 61 | 0.0010171 | 0.00025492 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4313-11_0_3_load_46 | 62 | 0.0031863 | 0.00079855 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4313-11_0_3_load_86 | 63 | 0.003161 | 0.00079221 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4313-11_0_3_load_48 | 65 | 0.0020365 | 0.00051038 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4313-11_0_3_load_49 | 66 | 0.0032336 | 0.00081041 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4313-11_0_3_load_50 | 67 | 0.0046551 | 0.0011667 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4313-11_0_3_load_51 | 68 | 0.0028385 | 0.00071138 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4313-11_0_3_load_85 | 70 | 0.0024639 | 0.00061752 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4313-11_0_3_load_69 | 71 | 0.0027702 | 0.00069429 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4313-11_0_3_load_55 | 73 | 0.0025512 | 0.00063939 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4313-11_0_3_load_56 | 74 | 0.0021495 | 0.00053871 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4313-11_0_3_load_66 | 75 | 0.0015939 | 0.00039946 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4313-11_0_3_load_59 | 76 | 0.0025861 | 0.00064814 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4313-11_0_3_load_87 | 77 | 0.0028517 | 0.00071471 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4313-11_0_3_load_67 | 78 | 0.0020794 | 0.00052114 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4313-11_0_3_load_60 | 79 | 0.00066205 | 0.00016592 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4313-11_0_3_load_61 | 80 | 0.0008439 | 0.0002115 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4313-11_0_3_load_65 | 82 | 0.0012276 | 0.00030767 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4313-11_0_3_load_77 | 83 | 0.00081895 | 0.00020525 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4313-11_0_3_load_104 | 84 | 0.0010632 | 0.00026646 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4313-11_0_3_load_78 | 85 | 0.00051353 | 0.0001287 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4313-11_0_3_load_68 | 86 | 0.0020942 | 0.00052485 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4313-11_0_3_load_76 | 87 | 0.0019008 | 0.00047638 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4313-11_0_3_load_74 | 88 | 0.0031232 | 0.00078274 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4313-11_0_3_load_70 | 89 | 0.00056473 | 0.00014153 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4313-11_0_3_load_71 | 90 | 0.00069541 | 0.00017429 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4313-11_0_3_load_72 | 91 | 0.0012819 | 0.00032127 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4313-11_0_3_load_73 | 92 | 0.00054601 | 0.00013684 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4313-11_0_3_load_81 | 93 | 0.0010017 | 0.00025105 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4313-11_0_3_load_79 | 94 | 0.00098562 | 0.00024702 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4313-11_0_3_load_93 | 95 | 0.0022063 | 0.00055296 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4313-11_0_3_load_94 | 96 | 0.0027796 | 0.00069663 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4313-11_0_3_load_90 | 97 | 0.00032877 | 8.2397e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4313-11_0_3_load_98 | 100 | 0.0015552 | 0.00038976 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4313-11_0_3_load_97 | 101 | 0.0011841 | 0.00029677 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4313-11_0_3_load_95 | 102 | 0.0019961 | 0.00050026 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4313-11_0_3_load_96 | 103 | 0.001095 | 0.00027442 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4313-11_0_3_load_101 | 104 | 0.0019054 | 0.00047753 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4313-11_0_3_load_99 | 105 | 0.0017905 | 0.00044874 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4313-11_0_3_load_102 | 107 | 0.001576 | 0.00039499 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4313-11_0_3_load_103 | 108 | 0.0060101 | 0.0015063 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4313-11_0_3_load_108 | 109 | 0.0012042 | 0.00030181 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4313-11_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4313-11_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0054074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4313-11_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.026405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4313-11_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4313-11_0_3_line_4 | NAYY 4x150 SE | 3 | 7 | 0.0077887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4313-11_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.039397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4313-11_0_3_line_6 | NAYY 4x150 SE | 4 | 8 | 0.0010325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4313-11_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.0013203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4313-11_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.023381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4313-11_0_3_line_9 | NAYY 4x150 SE | 9 | 109 | 0.0054848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4313-11_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.0060323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4313-11_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0060298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4313-11_0_3_line_12 | NAYY 4x150 SE | 12 | 14 | 0.006319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4313-11_0_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.046367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4313-11_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.016297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4313-11_0_3_line_15 | NAYY 4x150 SE | 13 | 16 | 0.028405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4313-11_0_3_line_16 | NAYY 4x150 SE | 15 | 84 | 0.014865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4313-11_0_3_line_17 | NAYY 4x150 SE | 16 | 109 | 0.014009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4313-11_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.039659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4313-11_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.013913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4313-11_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.027497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4313-11_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.041777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4313-11_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0063722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4313-11_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.025537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4313-11_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.01089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4313-11_0_3_line_25 | NAYY 4x150 SE | 24 | 35 | 0.0073681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4313-11_0_3_line_26 | NAYY 4x150 SE | 24 | 32 | 0.018069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4313-11_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.002668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4313-11_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.010354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4313-11_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0040599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4313-11_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0056403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4313-11_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.038044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4313-11_0_3_line_32 | NAYY 4x150 SE | 30 | 44 | 0.019066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4313-11_0_3_line_33 | NAYY 4x150 SE | 30 | 43 | 0.01611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4313-11_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.01695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4313-11_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.015389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4313-11_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0054906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4313-11_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.023433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4313-11_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.024815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4313-11_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0057033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4313-11_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.0053348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4313-11_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.026197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4313-11_0_3_line_42 | NAYY 4x150 SE | 39 | 71 | 0.022368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4313-11_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.0010612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4313-11_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.027579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4313-11_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.0061674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4313-11_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.014176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4313-11_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.028061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4313-11_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.017481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4313-11_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.040706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4313-11_0_3_line_50 | NAYY 4x150 SE | 47 | 50 | 0.032104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4313-11_0_3_line_51 | NAYY 4x150 SE | 48 | 51 | 0.00092352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4313-11_0_3_line_52 | NAYY 4x150 SE | 49 | 52 | 0.0030537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4313-11_0_3_line_53 | NAYY 4x150 SE | 50 | 53 | 0.0071334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4313-11_0_3_line_54 | NAYY 4x150 SE | 51 | 54 | 0.018426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4313-11_0_3_line_55 | NAYY 4x150 SE | 52 | 55 | 0.024467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4313-11_0_3_line_56 | NAYY 4x150 SE | 53 | 56 | 0.020022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_4313-11_0_3_line_57 | NAYY 4x150 SE | 53 | 57 | 0.017583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_4313-11_0_3_line_58 | NAYY 4x150 SE | 54 | 67 | 0.0032104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4313-11_0_3_line_59 | NAYY 4x150 SE | 55 | 97 | 0.00058244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4313-11_0_3_line_60 | NAYY 4x150 SE | 56 | 61 | 0.025763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_4313-11_0_3_line_61 | NAYY 4x150 SE | 57 | 82 | 0.017072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4313-11_0_3_line_62 | NAYY 4x150 SE | 57 | 79 | 0.020654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4313-11_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.029209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4313-11_0_3_line_64 | NAYY 4x150 SE | 58 | 60 | 0.012999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4313-11_0_3_line_65 | NAYY 4x150 SE | 59 | 61 | 0.026972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_4313-11_0_3_line_66 | NAYY 4x150 SE | 60 | 62 | 0.018162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4313-11_0_3_line_67 | NAYY 4x150 SE | 62 | 63 | 0.0025522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4313-11_0_3_line_68 | NAYY 4x150 SE | 63 | 64 | 0.016032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4313-11_0_3_line_69 | NAYY 4x150 SE | 64 | 77 | 0.0082912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4313-11_0_3_line_70 | NAYY 4x150 SE | 65 | 66 | 0.0068912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4313-11_0_3_line_71 | NAYY 4x150 SE | 65 | 67 | 0.016007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4313-11_0_3_line_72 | NAYY 4x150 SE | 66 | 68 | 0.023409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4313-11_0_3_line_73 | NAYY 4x150 SE | 68 | 69 | 0.00037058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4313-11_0_3_line_74 | NAYY 4x150 SE | 69 | 70 | 0.024471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4313-11_0_3_line_75 | NAYY 4x150 SE | 70 | 95 | 0.00043662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4313-11_0_3_line_76 | NAYY 4x150 SE | 71 | 72 | 0.0076727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4313-11_0_3_line_77 | NAYY 4x150 SE | 72 | 75 | 0.017696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4313-11_0_3_line_78 | NAYY 4x150 SE | 72 | 74 | 0.021179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4313-11_0_3_line_79 | NAYY 4x150 SE | 73 | 74 | 0.015625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4313-11_0_3_line_80 | NAYY 4x150 SE | 75 | 78 | 0.01726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4313-11_0_3_line_81 | NAYY 4x150 SE | 76 | 77 | 0.026322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4313-11_0_3_line_82 | NAYY 4x150 SE | 78 | 86 | 3.4152e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4313-11_0_3_line_83 | NAYY 4x150 SE | 79 | 80 | 0.012004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4313-11_0_3_line_84 | NAYY 4x150 SE | 80 | 81 | 0.0031607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4313-11_0_3_line_85 | NAYY 4x150 SE | 81 | 83 | 0.023914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4313-11_0_3_line_86 | NAYY 4x150 SE | 82 | 84 | 0.017657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4313-11_0_3_line_87 | NAYY 4x150 SE | 83 | 85 | 0.010588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4313-11_0_3_line_88 | NAYY 4x150 SE | 85 | 94 | 0.0040494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4313-11_0_3_line_89 | NAYY 4x150 SE | 86 | 87 | 0.020463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4313-11_0_3_line_90 | NAYY 4x150 SE | 87 | 88 | 0.0058206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4313-11_0_3_line_91 | NAYY 4x150 SE | 88 | 91 | 0.009716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4313-11_0_3_line_92 | NAYY 4x150 SE | 89 | 90 | 0.0056657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4313-11_0_3_line_93 | NAYY 4x150 SE | 89 | 91 | 0.0083749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4313-11_0_3_line_94 | NAYY 4x150 SE | 90 | 92 | 0.016259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4313-11_0_3_line_95 | NAYY 4x150 SE | 92 | 93 | 0.0047605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4313-11_0_3_line_96 | NAYY 4x150 SE | 93 | 94 | 0.013634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4313-11_0_3_line_97 | NAYY 4x150 SE | 95 | 96 | 0.015366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4313-11_0_3_line_98 | NAYY 4x150 SE | 96 | 102 | 0.0064056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4313-11_0_3_line_99 | NAYY 4x150 SE | 97 | 98 | 0.039908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4313-11_0_3_line_100 | NAYY 4x150 SE | 98 | 99 | 0.021928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4313-11_0_3_line_101 | NAYY 4x150 SE | 99 | 100 | 0.030816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4313-11_0_3_line_102 | NAYY 4x150 SE | 100 | 101 | 0.021896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4313-11_0_3_line_103 | NAYY 4x150 SE | 101 | 105 | 0.012535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4313-11_0_3_line_104 | NAYY 4x150 SE | 102 | 103 | 0.021511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4313-11_0_3_line_105 | NAYY 4x150 SE | 103 | 104 | 1.514e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4313-11_0_3_line_106 | NAYY 4x150 SE | 105 | 106 | 0.019095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4313-11_0_3_line_107 | NAYY 4x150 SE | 106 | 107 | 0.01755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4313-11_0_3_line_108 | NAYY 4x150 SE | 107 | 108 | 0.045385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4313-11_0_3_trafo_43 | 0.25 MVA 20/0.4 kV | 110 | 59 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2658862.2613 | 1270822.3407 | 2658861.9139 | 1270824.3965 | 2658857.8562 | 1270838.59
1 | 2658862.2613 | 1270822.3407 | 2658863.1624 | 1270817.0089
2 | 2658857.8562 | 1270838.59 | 2658857.3461 | 1270840.3742 | 2658850.3051 | 1270860.7084 | 2658849.2697 | 1270863.5562
3 | 2658865.9755 | 1270801.6335 | 2658864.5121 | 1270809.0218 | 2658863.1624 | 1270817.0089
4 | 2658846.6084 | 1270870.8761 | 2658849.2697 | 1270863.5562
5 | 2658887.234 | 1270874.0836 | 2658849.2697 | 1270863.5562
6 | 2658866.1761 | 1270800.6207 | 2658865.9755 | 1270801.6335
7 | 2658887.234 | 1270874.0836 | 2658887.6413 | 1270872.8278
8 | 2658880.0204 | 1270896.3235 | 2658887.234 | 1270874.0836
9 | 2658880.0204 | 1270896.3235 | 2658878.3282 | 1270901.5407
10 | 2658816.2349 | 1270935.175 | 2658819.2526 | 1270929.9518 | 2658819.2526 | 1270929.9518
11 | 2658822.1079 | 1270924.6408 | 2658819.2526 | 1270929.9518
12 | 2658822.1079 | 1270924.6408 | 2658825.1 | 1270919.0751
13 | 2658865.4408 | 1270941.9331 | 2658825.1 | 1270919.0751
14 | 2658862.8913 | 1270958.0298 | 2658865.4408 | 1270941.9331
15 | 2658874.0061 | 1270914.866 | 2658865.6449 | 1270940.6441 | 2658865.4408 | 1270941.9331
16 | 2658862.8913 | 1270958.0298 | 2658877.5654 | 1270960.403
17 | 2658874.0061 | 1270914.866 | 2658878.3282 | 1270901.5407
18 | 2659123.1849 | 1270860.788 | 2659158.0307 | 1270879.7241
19 | 2659170.2556 | 1270886.3674 | 2659158.0307 | 1270879.7241
20 | 2659123.1849 | 1270860.788 | 2659109.8282 | 1270884.8228
21 | 2659170.2556 | 1270886.3674 | 2659167.5916 | 1270893.2126 | 2659159.7222 | 1270926.7326
22 | 2659106.7328 | 1270890.3928 | 2659109.8282 | 1270884.8228
23 | 2659159.7222 | 1270926.7326 | 2659153.8856 | 1270951.5939
24 | 2659101.4431 | 1270899.9113 | 2659106.7328 | 1270890.3928
25 | 2659101.4431 | 1270899.9113 | 2659098.2777 | 1270906.5648
26 | 2659101.4431 | 1270899.9113 | 2659084.7472 | 1270896.4083 | 2659083.7568 | 1270896.2153
27 | 2658960.6006 | 1270812.8147 | 2658959.7615 | 1270815.3473
28 | 2658956.5051 | 1270825.1763 | 2658959.7615 | 1270815.3473
29 | 2658955.2282 | 1270829.0302 | 2658956.5051 | 1270825.1763
30 | 2658955.2282 | 1270829.0302 | 2658953.5388 | 1270834.4116
31 | 2658942.1434 | 1270870.7091 | 2658953.5388 | 1270834.4116
32 | 2658942.1434 | 1270870.7091 | 2658936.1728 | 1270888.816
33 | 2658942.1434 | 1270870.7091 | 2658955.2395 | 1270873.1082 | 2658957.9771 | 1270873.6755
34 | 2659083.7568 | 1270896.2153 | 2659067.1195 | 1270892.9737
35 | 2659052.0143 | 1270890.0306 | 2659067.1195 | 1270892.9737
36 | 2659046.625 | 1270888.9805 | 2659052.0143 | 1270890.0306
37 | 2659046.625 | 1270888.9805 | 2659030.4247 | 1270885.824 | 2659023.6127 | 1270884.559
38 | 2659098.2777 | 1270906.5648 | 2659087.6167 | 1270928.9734
39 | 2659018.0053 | 1270883.5176 | 2659023.6127 | 1270884.559
40 | 2659087.6167 | 1270928.9734 | 2659086.4429 | 1270931.4408 | 2659085.6881 | 1270933.9313
41 | 2659018.0053 | 1270883.5176 | 2659007.327 | 1270881.5345 | 2658995.3291 | 1270881.4146 | 2658992.0606 | 1270880.7374
42 | 2659085.6881 | 1270933.9313 | 2659079.2004 | 1270955.338
43 | 2658991.0215 | 1270880.5221 | 2658992.0606 | 1270880.7374
44 | 2658991.0215 | 1270880.5221 | 2658964.0162 | 1270874.9267
45 | 2658957.9771 | 1270873.6755 | 2658964.0162 | 1270874.9267
46 | 2658931.7336 | 1270902.2786 | 2658936.1728 | 1270888.816
47 | 2658892.8172 | 1271021.3761 | 2658874.9974 | 1271019.7084 | 2658864.8371 | 1271019.4545
48 | 2658892.8172 | 1271021.3761 | 2658909.96 | 1271024.8002
49 | 2658892.8172 | 1271021.3761 | 2658890.1305 | 1271044.8672 | 2658889.0035 | 1271061.8917
50 | 2658892.8172 | 1271021.3761 | 2658902.8388 | 1270991.8425 | 2658903.2401 | 1270991.0185
51 | 2658909.96 | 1271024.8002 | 2658910.8656 | 1271024.9811
52 | 2658889.0035 | 1271061.8917 | 2658888.8018 | 1271064.9387
53 | 2658906.3639 | 1270984.6054 | 2658903.2401 | 1270991.0185
54 | 2658910.8656 | 1271024.9811 | 2658912.9156 | 1271025.3906 | 2658928.9546 | 1271028.4883
55 | 2658888.8018 | 1271064.9387 | 2658887.9251 | 1271078.1816 | 2658886.7018 | 1271089.3096
56 | 2658906.3639 | 1270984.6054 | 2658926.1491 | 1270987.6771
57 | 2658911.3543 | 1270967.7424 | 2658906.3639 | 1270984.6054
58 | 2658928.9546 | 1271028.4883 | 2658932.1068 | 1271029.0971
59 | 2658886.6381 | 1271089.8886 | 2658886.7018 | 1271089.3096
60 | 2658926.1491 | 1270987.6771 | 2658951.6067 | 1270991.6293
61 | 2658911.3543 | 1270967.7424 | 2658903.4116 | 1270964.583 | 2658894.9964 | 1270963.2221
62 | 2658911.3543 | 1270967.7424 | 2658917.1911 | 1270947.9307
63 | 2659006.7447 | 1271002.3794 | 2658978.104 | 1270996.6433
64 | 2659006.7447 | 1271002.3794 | 2659014.4992 | 1271003.9324 | 2659018.0816 | 1271007.5487 | 2659018.0816 | 1271007.5487
65 | 2658951.6067 | 1270991.6293 | 2658958.1084 | 1270992.6387 | 2658978.104 | 1270996.6433
66 | 2659016.0128 | 1271025.4826 | 2659018.313 | 1271013.7446 | 2659018.0816 | 1271007.5487
67 | 2659016.0128 | 1271025.4826 | 2659015.522 | 1271027.9872
68 | 2659012.4391 | 1271043.7198 | 2659015.522 | 1271027.9872
69 | 2659012.4391 | 1271043.7198 | 2659020.5879 | 1271045.2494
70 | 2658947.8233 | 1271032.1326 | 2658954.5895 | 1271033.4394
71 | 2658947.8233 | 1271032.1326 | 2658932.1068 | 1271029.0971
72 | 2658977.5734 | 1271037.8785 | 2658954.5895 | 1271033.4394
73 | 2658977.5734 | 1271037.8785 | 2658977.9372 | 1271037.9488
74 | 2658977.9372 | 1271037.9488 | 2658972.5168 | 1271061.8118
75 | 2658972.5168 | 1271061.8118 | 2658972.4201 | 1271062.2376
76 | 2659076.975 | 1270962.6809 | 2659079.2004 | 1270955.338
77 | 2659076.975 | 1270962.6809 | 2659059.5868 | 1270959.3922
78 | 2659076.975 | 1270962.6809 | 2659073.6666 | 1270983.6002
79 | 2659071.2259 | 1270999.0331 | 2659073.6666 | 1270983.6002
80 | 2659059.5868 | 1270959.3922 | 2659042.6278 | 1270956.1846
81 | 2659046.4586 | 1271050.1052 | 2659020.5879 | 1271045.2494
82 | 2659042.5943 | 1270956.1782 | 2659042.6278 | 1270956.1846
83 | 2658917.1911 | 1270947.9307 | 2658920.5836 | 1270936.4158
84 | 2658921.4768 | 1270933.3839 | 2658920.5836 | 1270936.4158
85 | 2658921.4768 | 1270933.3839 | 2658944.985 | 1270937.7685
86 | 2658894.9964 | 1270963.2221 | 2658877.5654 | 1270960.403
87 | 2658944.985 | 1270937.7685 | 2658955.3933 | 1270939.7098
88 | 2658959.3741 | 1270940.4522 | 2658955.3933 | 1270939.7098
89 | 2659042.5943 | 1270956.1782 | 2659022.4881 | 1270952.3754
90 | 2659016.769 | 1270951.2937 | 2659022.4881 | 1270952.3754
91 | 2659016.769 | 1270951.2937 | 2659007.2222 | 1270949.488
92 | 2658998.9932 | 1270947.9316 | 2658993.4262 | 1270946.8787
93 | 2658998.9932 | 1270947.9316 | 2659007.2222 | 1270949.488
94 | 2658977.4506 | 1270943.8571 | 2658993.4262 | 1270946.8787
95 | 2658977.4506 | 1270943.8571 | 2658972.7731 | 1270942.9724
96 | 2658959.3741 | 1270940.4522 | 2658964.7506 | 1270941.455 | 2658972.7731 | 1270942.9724
97 | 2658972.4201 | 1271062.2376 | 2658969.0164 | 1271077.2217
98 | 2658969.0164 | 1271077.2217 | 2658967.5976 | 1271083.4682
99 | 2658877.2827 | 1271128.5026 | 2658881.6014 | 1271117.8709 | 2658886.6345 | 1271089.9221 | 2658886.6381 | 1271089.8886
100 | 2658877.2827 | 1271128.5026 | 2658890.5985 | 1271133.706 | 2658897.8802 | 1271135.9914
101 | 2658897.8802 | 1271135.9914 | 2658927.2884 | 1271145.1986
102 | 2658948.1839 | 1271151.7407 | 2658927.2884 | 1271145.1986
103 | 2658948.1839 | 1271151.7407 | 2658960.1462 | 1271155.4859
104 | 2658962.8327 | 1271104.4449 | 2658967.5976 | 1271083.4682
105 | 2658962.8327 | 1271104.4449 | 2658962.8294 | 1271104.4596
106 | 2658978.3687 | 1271161.1911 | 2658960.1462 | 1271155.4859
107 | 2658978.3687 | 1271161.1911 | 2658981.1917 | 1271152.7017 | 2658983.1092 | 1271144.3142
108 | 2658990.6111 | 1271099.889 | 2658991.3394 | 1271108.3138 | 2658983.1092 | 1271144.3142

## bus_geodata
| x | y | coords
0 | 2658862.2613 | 1270822.3407
1 | 2658857.8562 | 1270838.59
2 | 2658863.1624 | 1270817.0089
3 | 2658849.2697 | 1270863.5562
4 | 2658865.9755 | 1270801.6335
5 | 2658887.6413 | 1270872.8278
6 | 2658887.234 | 1270874.0836
7 | 2658846.6084 | 1270870.8761
8 | 2658866.1761 | 1270800.6207
9 | 2658880.0204 | 1270896.3235
10 | 2658816.2349 | 1270935.175
11 | 2658819.2526 | 1270929.9518
12 | 2658822.1079 | 1270924.6408
13 | 2658865.4408 | 1270941.9331
14 | 2658825.1 | 1270919.0751
15 | 2658862.8913 | 1270958.0298
16 | 2658874.0061 | 1270914.866
17 | 2659158.0307 | 1270879.7241
18 | 2659123.1849 | 1270860.788
19 | 2659170.2556 | 1270886.3674
20 | 2659109.8282 | 1270884.8228
21 | 2659159.7222 | 1270926.7326
22 | 2659106.7328 | 1270890.3928
23 | 2659153.8856 | 1270951.5939
24 | 2659101.4431 | 1270899.9113
25 | 2658959.7615 | 1270815.3473
26 | 2658960.6006 | 1270812.8147
27 | 2658956.5051 | 1270825.1763
28 | 2658955.2282 | 1270829.0302
29 | 2658953.5388 | 1270834.4116
30 | 2658942.1434 | 1270870.7091
31 | 2659067.1195 | 1270892.9737
32 | 2659083.7568 | 1270896.2153
33 | 2659052.0143 | 1270890.0306
34 | 2659046.625 | 1270888.9805
35 | 2659098.2777 | 1270906.5648
36 | 2659023.6127 | 1270884.559
37 | 2659087.6167 | 1270928.9734
38 | 2659018.0053 | 1270883.5176
39 | 2659085.6881 | 1270933.9313
40 | 2658992.0606 | 1270880.7374
41 | 2658991.0215 | 1270880.5221
42 | 2658964.0162 | 1270874.9267
43 | 2658957.9771 | 1270873.6755
44 | 2658936.1728 | 1270888.816
45 | 2658931.7336 | 1270902.2786
46 | 2658864.8371 | 1271019.4545
47 | 2658892.8172 | 1271021.3761
48 | 2658909.96 | 1271024.8002
49 | 2658889.0035 | 1271061.8917
50 | 2658903.2401 | 1270991.0185
51 | 2658910.8656 | 1271024.9811
52 | 2658888.8018 | 1271064.9387
53 | 2658906.3639 | 1270984.6054
54 | 2658928.9546 | 1271028.4883
55 | 2658886.7018 | 1271089.3096
56 | 2658926.1491 | 1270987.6771
57 | 2658911.3543 | 1270967.7424
58 | 2659006.7447 | 1271002.3794
59 | 2658978.104 | 1270996.6433
60 | 2659018.0816 | 1271007.5487
61 | 2658951.6067 | 1270991.6293
62 | 2659016.0128 | 1271025.4826
63 | 2659015.522 | 1271027.9872
64 | 2659012.4391 | 1271043.7198
65 | 2658947.8233 | 1271032.1326
66 | 2658954.5895 | 1271033.4394
67 | 2658932.1068 | 1271029.0971
68 | 2658977.5734 | 1271037.8785
69 | 2658977.9372 | 1271037.9488
70 | 2658972.5168 | 1271061.8118
71 | 2659079.2004 | 1270955.338
72 | 2659076.975 | 1270962.6809
73 | 2659071.2259 | 1270999.0331
74 | 2659073.6666 | 1270983.6002
75 | 2659059.5868 | 1270959.3922
76 | 2659046.4586 | 1271050.1052
77 | 2659020.5879 | 1271045.2494
78 | 2659042.6278 | 1270956.1846
79 | 2658917.1911 | 1270947.9307
80 | 2658920.5836 | 1270936.4158
81 | 2658921.4768 | 1270933.3839
82 | 2658894.9964 | 1270963.2221
83 | 2658944.985 | 1270937.7685
84 | 2658877.5654 | 1270960.403
85 | 2658955.3933 | 1270939.7098
86 | 2659042.5943 | 1270956.1782
87 | 2659022.4881 | 1270952.3754
88 | 2659016.769 | 1270951.2937
89 | 2658998.9932 | 1270947.9316
90 | 2658993.4262 | 1270946.8787
91 | 2659007.2222 | 1270949.488
92 | 2658977.4506 | 1270943.8571
93 | 2658972.7731 | 1270942.9724
94 | 2658959.3741 | 1270940.4522
95 | 2658972.4201 | 1271062.2376
96 | 2658969.0164 | 1271077.2217
97 | 2658886.6381 | 1271089.8886
98 | 2658877.2827 | 1271128.5026
99 | 2658897.8802 | 1271135.9914
100 | 2658927.2884 | 1271145.1986
101 | 2658948.1839 | 1271151.7407
102 | 2658967.5976 | 1271083.4682
103 | 2658962.8327 | 1271104.4449
104 | 2658962.8294 | 1271104.4596
105 | 2658960.1462 | 1271155.4859
106 | 2658978.3687 | 1271161.1911
107 | 2658983.1092 | 1271144.3142
108 | 2658990.6111 | 1271099.889
109 | 2658878.3282 | 1270901.5407
110 | 2658906.3639 | 1270984.6054

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1