## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4313-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4313-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4313-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4313-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4313-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4313-12_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4313-12_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4313-12_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_4313-12_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4313-12_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4313-12_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4313-12_0_3_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_4313-12_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4313-12_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4313-12_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4313-12_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_4313-12_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_4313-12_0_3_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_4313-12_0_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_4313-12_0_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_4313-12_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4313-12_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_4313-12_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4313-12_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_4313-12_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_4313-12_0_3_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_4313-12_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_4313-12_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_4313-12_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_4313-12_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_4313-12_0_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_4313-12_0_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_4313-12_0_3_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_4313-12_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_4313-12_0_3_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_4313-12_0_3_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_4313-12_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_4313-12_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_4313-12_0_3_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_4313-12_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_4313-12_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_4313-12_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_4313-12_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_4313-12_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_4313-12_0_3_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_4313-12_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_4313-12_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_4313-12_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_4313-12_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_4313-12_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_4313-12_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_4313-12_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_4313-12_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_4313-12_0_3_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_4313-12_0_3_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_4313-12_0_3_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_4313-12_0_3_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_4313-12_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_4313-12_0_3_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_4313-12_0_3_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_4313-12_0_3_node_92 | 0.4 | n |  | TRUE
61 | bus_LV_4313-12_0_3_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_4313-12_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_4313-12_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_4313-12_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_4313-12_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_4313-12_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_4313-12_0_3_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_4313-12_0_3_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_4313-12_0_3_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_4313-12_0_3_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_4313-12_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_4313-12_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_4313-12_0_3_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_4313-12_0_3_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_4313-12_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_4313-12_0_3_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_4313-12_0_3_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_4313-12_0_3_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_4313-12_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_4313-12_0_3_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_4313-12_0_3_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_4313-12_0_3_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_4313-12_0_3_node_88 | 0.4 | n |  | TRUE
84 | bus_LV_4313-12_0_3_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_4313-12_0_3_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_4313-12_0_3_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_4313-12_0_3_node_97 | 0.4 | n |  | TRUE
88 | bus_LV_4313-12_0_3_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_4313-12_0_3_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_4313-12_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_4313-12_0_3_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_4313-12_0_3_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_4313-12_0_3_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_4313-12_0_3_node_98 | 0.4 | n |  | TRUE
95 | bus_LV_4313-12_0_3_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_4313-12_0_3_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_4313-12_0_3_node_100 | 0.4 | n |  | TRUE
98 | bus_LV_4313-12_0_3_node_102 | 0.4 | n |  | TRUE
99 | bus_LV_4313-12_0_3_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_4313-12_0_3_node_104 | 0.4 | n |  | TRUE
101 | bus_MV_486_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4313-12_0_3_load_0 | 0 | 0.002277 | 0.00057066 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4313-12_0_3_load_1 | 1 | 0.0016567 | 0.0004152 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4313-12_0_3_load_3 | 3 | 0.0012132 | 0.00030406 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4313-12_0_3_load_8 | 5 | 0.0015076 | 0.00037783 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4313-12_0_3_load_5 | 6 | 0.0015912 | 0.0003988 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4313-12_0_3_load_26 | 7 | 0.0028992 | 0.0007266 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4313-12_0_3_load_6 | 8 | 0.0014556 | 0.00036481 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4313-12_0_3_load_7 | 9 | 0.0017055 | 0.00042743 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4313-12_0_3_load_9 | 10 | 0.0018443 | 0.00046222 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4313-12_0_3_load_10 | 12 | 0.0038176 | 0.00095679 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4313-12_0_3_load_11 | 13 | 0.0035391 | 0.00088699 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4313-12_0_3_load_12 | 14 | 0.0022977 | 0.00057587 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4313-12_0_3_load_13 | 15 | 0.0027499 | 0.00068919 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4313-12_0_3_load_14 | 16 | 0.0029893 | 0.00074919 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4313-12_0_3_load_24 | 17 | 0.0019392 | 0.000486 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4313-12_0_3_load_32 | 18 | 0.0027114 | 0.00067953 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4313-12_0_3_load_25 | 19 | 0.0018679 | 0.00046813 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4313-12_0_3_load_15 | 20 | 0.0025124 | 0.00062967 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4313-12_0_3_load_16 | 21 | 0.0013686 | 0.000343 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4313-12_0_3_load_18 | 22 | 0.00060512 | 0.00015166 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4313-12_0_3_load_27 | 24 | 0.001168 | 0.00029273 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4313-12_0_3_load_28 | 25 | 0.002748 | 0.0006887 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4313-12_0_3_load_19 | 26 | 0.0016957 | 0.00042498 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4313-12_0_3_load_20 | 27 | 0.0012361 | 0.0003098 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4313-12_0_3_load_30 | 29 | 0.0026018 | 0.00065206 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4313-12_0_3_load_39 | 30 | 0.0024368 | 0.00061072 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4313-12_0_3_load_38 | 31 | 0.0022949 | 0.00057516 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4313-12_0_3_load_65 | 32 | 0.00327 | 0.00081954 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4313-12_0_3_load_33 | 33 | 0.0017634 | 0.00044196 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4313-12_0_3_load_37 | 34 | 0.003379 | 0.00084685 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4313-12_0_3_load_31 | 36 | 0.002852 | 0.00071479 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4313-12_0_3_load_34 | 37 | 0.0023299 | 0.00058393 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4313-12_0_3_load_50 | 38 | 0.0062578 | 0.0015684 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4313-12_0_3_load_40 | 39 | 0.0030495 | 0.00076428 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4313-12_0_3_load_35 | 40 | 0.00048682 | 0.00012201 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4313-12_0_3_load_51 | 41 | 0.0037203 | 0.00093239 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4313-12_0_3_load_36 | 42 | 0.0019638 | 0.00049217 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4313-12_0_3_load_48 | 43 | 0.0013667 | 0.00034253 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4313-12_0_3_load_49 | 44 | 0.0034925 | 0.00087531 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4313-12_0_3_load_41 | 45 | 0.00084151 | 0.0002109 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4313-12_0_3_load_42 | 46 | 0.0016445 | 0.00041215 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4313-12_0_3_load_44 | 48 | 0.0011816 | 0.00029612 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4313-12_0_3_load_45 | 49 | 0.0014267 | 0.00035756 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4313-12_0_3_load_46 | 50 | 0.0018312 | 0.00045895 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4313-12_0_3_load_47 | 52 | 0.0010801 | 0.00027069 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4313-12_0_3_load_55 | 54 | 0.00064207 | 0.00016092 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4313-12_0_3_load_52 | 55 | 0.0026588 | 0.00066635 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4313-12_0_3_load_53 | 56 | 0.0023858 | 0.00059795 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4313-12_0_3_load_54 | 57 | 0.0037553 | 0.00094118 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4313-12_0_3_load_68 | 58 | 0.0023924 | 0.00059959 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4313-12_0_3_load_92 | 60 | 0.001908 | 0.0004782 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4313-12_0_3_load_86 | 61 | 0.0033815 | 0.00084748 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4313-12_0_3_load_57 | 62 | 0.0024799 | 0.00062151 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4313-12_0_3_load_58 | 63 | 0.00067934 | 0.00017026 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4313-12_0_3_load_59 | 64 | 0.00078493 | 0.00019672 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4313-12_0_3_load_60 | 65 | 0.00048764 | 0.00012221 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4313-12_0_3_load_61 | 66 | 0.0020905 | 0.00052393 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4313-12_0_3_load_66 | 67 | 0.0014463 | 0.00036248 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4313-12_0_3_load_74 | 68 | 0.0041078 | 0.0010295 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4313-12_0_3_load_73 | 70 | 0.0011703 | 0.00029331 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4313-12_0_3_load_62 | 71 | 0.00056395 | 0.00014134 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4313-12_0_3_load_67 | 72 | 0.0015602 | 0.00039103 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4313-12_0_3_load_70 | 73 | 0.0040491 | 0.0010148 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4313-12_0_3_load_71 | 74 | 0.0013728 | 0.00034406 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4313-12_0_3_load_72 | 75 | 0.0012571 | 0.00031507 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4313-12_0_3_load_75 | 76 | 0.0019041 | 0.00047721 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4313-12_0_3_load_82 | 77 | 0.0013348 | 0.00033452 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4313-12_0_3_load_80 | 78 | 0.0070708 | 0.0017721 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4313-12_0_3_load_76 | 79 | 0.0025108 | 0.00062926 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4313-12_0_3_load_77 | 80 | 0.0030273 | 0.0007587 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4313-12_0_3_load_78 | 81 | 0.0034537 | 0.00086557 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4313-12_0_3_load_88 | 83 | 0.00086779 | 0.00021749 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4313-12_0_3_load_89 | 84 | 0.0013922 | 0.00034891 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4313-12_0_3_load_87 | 85 | 0.0030781 | 0.00077144 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4313-12_0_3_load_97 | 87 | 0.0007903 | 0.00019807 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4313-12_0_3_load_84 | 88 | 0.00085613 | 0.00021457 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4313-12_0_3_load_83 | 89 | 0.00066357 | 0.00016631 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4313-12_0_3_load_85 | 90 | 0.0010183 | 0.00025521 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4313-12_0_3_load_91 | 91 | 0.00089468 | 0.00022423 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4313-12_0_3_load_94 | 92 | 0.0011016 | 0.0002761 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4313-12_0_3_load_95 | 93 | 0.00082935 | 0.00020785 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4313-12_0_3_load_98 | 94 | 0.00049341 | 0.00012366 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4313-12_0_3_load_96 | 95 | 0.0012826 | 0.00032144 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4313-12_0_3_load_99 | 96 | 0.00042787 | 0.00010723 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4313-12_0_3_load_103 | 99 | 0.0020861 | 0.00052283 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4313-12_0_3_load_104 | 100 | 0.0051707 | 0.0012959 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4313-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4313-12_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4313-12_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.051643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4313-12_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.038164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4313-12_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0088171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4313-12_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.054697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4313-12_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.050302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4313-12_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.034802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4313-12_0_3_line_8 | NAYY 4x150 SE | 7 | 11 | 0.018674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4313-12_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.02279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4313-12_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.018507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4313-12_0_3_line_11 | NAYY 4x150 SE | 11 | 33 | 0.012512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4313-12_0_3_line_12 | NAYY 4x150 SE | 11 | 18 | 0.015516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4313-12_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.00073585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4313-12_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.00076544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4313-12_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.024275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4313-12_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.026173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4313-12_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0004444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4313-12_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0057265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4313-12_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0084584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4313-12_0_3_line_20 | NAYY 4x150 SE | 19 | 28 | 0.022088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4313-12_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.00062626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4313-12_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.01112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4313-12_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.069174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4313-12_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.034743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4313-12_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.022976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4313-12_0_3_line_26 | NAYY 4x150 SE | 24 | 31 | 0.0069305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4313-12_0_3_line_27 | NAYY 4x150 SE | 25 | 32 | 0.028277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4313-12_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.00012582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4313-12_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.038893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4313-12_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0013564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4313-12_0_3_line_31 | NAYY 4x150 SE | 30 | 39 | 0.010864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4313-12_0_3_line_32 | NAYY 4x150 SE | 31 | 34 | 0.0029873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4313-12_0_3_line_33 | NAYY 4x150 SE | 32 | 35 | 0.012987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4313-12_0_3_line_34 | NAYY 4x150 SE | 33 | 38 | 0.015215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4313-12_0_3_line_35 | NAYY 4x150 SE | 34 | 42 | 5.6498e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4313-12_0_3_line_36 | NAYY 4x150 SE | 35 | 71 | 0.0065429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4313-12_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.01535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4313-12_0_3_line_38 | NAYY 4x150 SE | 37 | 40 | 0.019254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4313-12_0_3_line_39 | NAYY 4x150 SE | 38 | 41 | 0.0026213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4313-12_0_3_line_40 | NAYY 4x150 SE | 39 | 43 | 0.026745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4313-12_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.003197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4313-12_0_3_line_42 | NAYY 4x150 SE | 41 | 57 | 0.00068251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4313-12_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.011183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4313-12_0_3_line_44 | NAYY 4x150 SE | 44 | 55 | 0.00028896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4313-12_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.02718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4313-12_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.017997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4313-12_0_3_line_47 | NAYY 4x150 SE | 46 | 48 | 0.01139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4313-12_0_3_line_48 | NAYY 4x150 SE | 47 | 49 | 0.014523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4313-12_0_3_line_49 | NAYY 4x150 SE | 47 | 50 | 0.0088802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4313-12_0_3_line_50 | NAYY 4x150 SE | 48 | 51 | 0.0098694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4313-12_0_3_line_51 | NAYY 4x150 SE | 49 | 52 | 0.036766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4313-12_0_3_line_52 | NAYY 4x150 SE | 51 | 53 | 0.005665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4313-12_0_3_line_53 | NAYY 4x150 SE | 51 | 54 | 0.012973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4313-12_0_3_line_54 | NAYY 4x150 SE | 53 | 60 | 0.034395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4313-12_0_3_line_55 | NAYY 4x150 SE | 53 | 61 | 0.013043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4313-12_0_3_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0061039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4313-12_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.025034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4313-12_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.022094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_4313-12_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.008295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_4313-12_0_3_line_60 | NAYY 4x150 SE | 59 | 70 | 0.019594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4313-12_0_3_line_61 | NAYY 4x150 SE | 59 | 73 | 0.0075572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4313-12_0_3_line_62 | NAYY 4x150 SE | 60 | 87 | 0.025582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4313-12_0_3_line_63 | NAYY 4x150 SE | 61 | 88 | 0.0012344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4313-12_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0045521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4313-12_0_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.01969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4313-12_0_3_line_66 | NAYY 4x150 SE | 63 | 65 | 0.010345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4313-12_0_3_line_67 | NAYY 4x150 SE | 64 | 66 | 0.0080667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4313-12_0_3_line_68 | NAYY 4x150 SE | 65 | 67 | 0.019647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4313-12_0_3_line_69 | NAYY 4x150 SE | 66 | 68 | 0.0082169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4313-12_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.010288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4313-12_0_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.0026938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4313-12_0_3_line_72 | NAYY 4x150 SE | 69 | 72 | 0.033074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4313-12_0_3_line_73 | NAYY 4x150 SE | 69 | 71 | 0.024666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4313-12_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.018222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4313-12_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.0061047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4313-12_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0030226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4313-12_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.01244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4313-12_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0029597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4313-12_0_3_line_79 | NAYY 4x150 SE | 78 | 81 | 0.018994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4313-12_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.024844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4313-12_0_3_line_81 | NAYY 4x150 SE | 79 | 81 | 0.0080025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4313-12_0_3_line_82 | NAYY 4x150 SE | 80 | 82 | 0.0071938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4313-12_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.013259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4313-12_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.014745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4313-12_0_3_line_85 | NAYY 4x150 SE | 83 | 85 | 0.0091577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4313-12_0_3_line_86 | NAYY 4x150 SE | 84 | 86 | 0.019247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4313-12_0_3_line_87 | NAYY 4x150 SE | 85 | 90 | 0.00054487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4313-12_0_3_line_88 | NAYY 4x150 SE | 86 | 91 | 0.010502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4313-12_0_3_line_89 | NAYY 4x150 SE | 87 | 94 | 0.00076296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4313-12_0_3_line_90 | NAYY 4x150 SE | 88 | 89 | 0.018477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4313-12_0_3_line_91 | NAYY 4x150 SE | 89 | 90 | 0.011816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4313-12_0_3_line_92 | NAYY 4x150 SE | 91 | 92 | 0.025251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4313-12_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.025338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4313-12_0_3_line_94 | NAYY 4x150 SE | 93 | 95 | 0.029069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4313-12_0_3_line_95 | NAYY 4x150 SE | 94 | 96 | 0.012178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4313-12_0_3_line_96 | NAYY 4x150 SE | 96 | 97 | 0.0215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4313-12_0_3_line_97 | NAYY 4x150 SE | 97 | 98 | 0.043676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4313-12_0_3_line_98 | NAYY 4x150 SE | 98 | 99 | 0.058561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4313-12_0_3_line_99 | NAYY 4x150 SE | 99 | 100 | 0.0095822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4313-12_0_3_trafo_54 | 0.25 MVA 20/0.4 kV | 101 | 57 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2659198.5231 | 1270925.8265 | 2659193.6542 | 1270946.4121
1 | 2659203.2988 | 1270905.6352 | 2659198.5231 | 1270925.8265
2 | 2659193.6542 | 1270946.4121 | 2659183.4314 | 1270989.6333 | 2659181.8155 | 1270996.6795
3 | 2659170.2556 | 1270886.3674 | 2659203.2988 | 1270905.6352
4 | 2659179.8445 | 1271005.2735 | 2659181.8155 | 1270996.6795
5 | 2659170.2556 | 1270886.3674 | 2659167.5916 | 1270893.2126 | 2659156.7693 | 1270939.3108
6 | 2659179.8445 | 1271005.2735 | 2659173.4959 | 1271032.9556 | 2659168.6413 | 1271054.3115
7 | 2659156.7693 | 1270939.3108 | 2659153.5253 | 1270953.1284 | 2659148.9889 | 1270973.2316
8 | 2659165.4174 | 1271072.6494 | 2659165.7207 | 1271067.1593 | 2659168.6413 | 1271054.3115
9 | 2659143.9723 | 1270995.4625 | 2659148.9889 | 1270973.2316
10 | 2659139.8984 | 1271013.5156 | 2659143.9723 | 1270995.4625
11 | 2659165.4174 | 1271072.6494 | 2659166.3188 | 1271085.1288
12 | 2659165.4174 | 1271072.6494 | 2659150.1738 | 1271069.756
13 | 2659118.082 | 1271063.6648 | 2659117.359 | 1271063.5276
14 | 2659118.834 | 1271063.8075 | 2659118.082 | 1271063.6648
15 | 2659093.5095 | 1271059.0008 | 2659117.359 | 1271063.5276
16 | 2659118.834 | 1271063.8075 | 2659144.5478 | 1271068.6882
17 | 2659093.5095 | 1271059.0008 | 2659093.0729 | 1271058.9179
18 | 2659144.5478 | 1271068.6882 | 2659150.1738 | 1271069.756
19 | 2659084.7628 | 1271057.3406 | 2659093.0729 | 1271058.9179
20 | 2659063.0623 | 1271053.2217 | 2659084.7628 | 1271057.3406
21 | 2659325.0276 | 1271007.891 | 2659324.9585 | 1271008.5134
22 | 2659323.7313 | 1271019.5656 | 2659324.9585 | 1271008.5134
23 | 2659316.9244 | 1271088.4025 | 2659322.1109 | 1271034.1578 | 2659323.7313 | 1271019.5656
24 | 2659316.9244 | 1271088.4025 | 2659282.3734 | 1271084.7519
25 | 2659316.9244 | 1271088.4025 | 2659313.7974 | 1271111.1648
26 | 2659282.3734 | 1271084.7519 | 2659275.4813 | 1271084.0237
27 | 2659313.7974 | 1271111.1648 | 2659313.3777 | 1271114.2199 | 2659308.3294 | 1271135.2519 | 2659306.6279 | 1271138.3833
28 | 2659068.7607 | 1271014.6214 | 2659068.741 | 1271014.7457
29 | 2659063.0623 | 1271053.2217 | 2659068.4542 | 1271016.5589 | 2659068.741 | 1271014.7457
30 | 2659058.1619 | 1271088.6898 | 2659057.9763 | 1271090.0334
31 | 2659056.4894 | 1271100.7954 | 2659057.9763 | 1271090.0334
32 | 2659272.5105 | 1271083.7098 | 2659275.4813 | 1271084.0237
33 | 2659300.4275 | 1271149.7947 | 2659306.6279 | 1271138.3833
34 | 2659166.3188 | 1271085.1288 | 2659167.4148 | 1271100.3045
35 | 2659272.4543 | 1271083.7039 | 2659272.5105 | 1271083.7098
36 | 2659300.4275 | 1271149.7947 | 2659294.9862 | 1271153.4283
37 | 2659234.8811 | 1271079.5647 | 2659250.1384 | 1271081.2469
38 | 2659269.2762 | 1271083.357 | 2659250.1384 | 1271081.2469
39 | 2659167.4148 | 1271100.3045 | 2659167.4918 | 1271101.3697 | 2659167.6146 | 1271102.9181
40 | 2659056.4894 | 1271100.7954 | 2659052.8289 | 1271127.2891
41 | 2659269.2762 | 1271083.357 | 2659271.6859 | 1271083.6227 | 2659272.4543 | 1271083.7039
42 | 2659167.6686 | 1271103.5985 | 2659167.6146 | 1271102.9181
43 | 2659051.012 | 1271138.3225 | 2659052.4871 | 1271129.7631 | 2659052.8289 | 1271127.2891
44 | 2659050.963 | 1271138.6072 | 2659051.012 | 1271138.3225
45 | 2658995.4941 | 1271166.724 | 2659021.3578 | 1271175.08
46 | 2658978.3687 | 1271161.1911 | 2658995.4941 | 1271166.724
47 | 2659032.196 | 1271178.5816 | 2659021.3578 | 1271175.08
48 | 2658978.3687 | 1271161.1911 | 2658981.1917 | 1271152.7017 | 2658982.4345 | 1271147.2658
49 | 2658978.3687 | 1271161.1911 | 2658969.8942 | 1271158.5379
50 | 2659041.5874 | 1271181.6158 | 2659032.196 | 1271178.5816
51 | 2658982.4345 | 1271147.2658 | 2658990.6282 | 1271111.4245
52 | 2659041.5874 | 1271181.6158 | 2659046.986 | 1271183.3822
53 | 2659041.5874 | 1271181.6158 | 2659044.0453 | 1271174.2903 | 2659045.5264 | 1271169.2579
54 | 2659046.986 | 1271183.3822 | 2659044.3601 | 1271193.2078 | 2659038.4893 | 1271203.3124 | 2659031.8974 | 1271213.9778
55 | 2659046.986 | 1271183.3822 | 2659052.9717 | 1271185.8661 | 2659058.8242 | 1271188.8358
56 | 2659046.7114 | 1271163.2771 | 2659045.8987 | 1271167.9929 | 2659045.5264 | 1271169.2579
57 | 2659050.963 | 1271138.6072 | 2659046.7114 | 1271163.2771
58 | 2659167.6686 | 1271103.5985 | 2659168.6539 | 1271116.0147 | 2659170.8882 | 1271124.2656 | 2659171.3689 | 1271125.2449
59 | 2659175.024 | 1271132.6912 | 2659171.3689 | 1271125.2449
60 | 2659175.024 | 1271132.6912 | 2659184.2963 | 1271132.2504 | 2659194.4729 | 1271133.9129
61 | 2659175.024 | 1271132.6912 | 2659170.9898 | 1271138.1549 | 2659170.8024 | 1271138.8971
62 | 2659031.8974 | 1271213.9778 | 2659029.398 | 1271218.0217 | 2659018.4579 | 1271235.7454
63 | 2659059.9249 | 1271189.3944 | 2659058.8242 | 1271188.8358
64 | 2659231.0763 | 1271146.0208 | 2659235.2273 | 1271147.8892
65 | 2659231.0763 | 1271146.0208 | 2659222.6818 | 1271142.2426 | 2659212.8058 | 1271138.7234
66 | 2659235.2273 | 1271147.8892 | 2659244.6605 | 1271152.135
67 | 2659212.8058 | 1271138.7234 | 2659209.774 | 1271137.6431 | 2659205.0826 | 1271136.42
68 | 2659262.5765 | 1271160.1988 | 2659244.6605 | 1271152.135
69 | 2659205.0826 | 1271136.42 | 2659197.1314 | 1271134.3472 | 2659197.1314 | 1271134.3472
70 | 2659272.5331 | 1271162.5912 | 2659264.5516 | 1271161.0878 | 2659262.5765 | 1271160.1988
71 | 2659194.4729 | 1271133.9129 | 2659197.1314 | 1271134.3472
72 | 2659272.5331 | 1271162.5912 | 2659267.4434 | 1271169.7679 | 2659247.8088 | 1271184.0443
73 | 2659272.5331 | 1271162.5912 | 2659279.2376 | 1271161.6467 | 2659286.6969 | 1271158.9639 | 2659294.9862 | 1271153.4283
74 | 2659170.8024 | 1271138.8971 | 2659166.3418 | 1271156.5642
75 | 2659166.3418 | 1271156.5642 | 2659164.8473 | 1271162.4832
76 | 2659164.8473 | 1271162.4832 | 2659164.1074 | 1271165.4138
77 | 2659160.7012 | 1271177.3595 | 2659161.7932 | 1271174.5794 | 2659164.1074 | 1271165.4138
78 | 2659159.6191 | 1271180.1143 | 2659160.7012 | 1271177.3595
79 | 2659159.6191 | 1271180.1143 | 2659159.3307 | 1271180.8484 | 2659151.7946 | 1271189.713 | 2659146.0838 | 1271192.9614
80 | 2659139.0578 | 1271196.7867 | 2659134.0659 | 1271199.2762 | 2659122.0675 | 1271203.7818 | 2659115.8457 | 1271205.4778
81 | 2659139.0578 | 1271196.7867 | 2659141.4977 | 1271195.57 | 2659146.0838 | 1271192.9614
82 | 2659108.8184 | 1271206.9739 | 2659112.7819 | 1271206.313 | 2659115.8457 | 1271205.4778
83 | 2659108.8184 | 1271206.9739 | 2659104.9982 | 1271207.6028 | 2659095.6388 | 1271206.8802
84 | 2659108.8184 | 1271206.9739 | 2659108.5306 | 1271221.7159
85 | 2659086.9177 | 1271204.2187 | 2659094.2418 | 1271206.7724 | 2659095.6388 | 1271206.8802
86 | 2659108.1547 | 1271240.9597 | 2659108.5306 | 1271221.7159
87 | 2659086.4032 | 1271204.0393 | 2659086.9177 | 1271204.2187
88 | 2659108.1547 | 1271240.9597 | 2659100.6997 | 1271248.357
89 | 2659018.0571 | 1271236.3947 | 2659018.4579 | 1271235.7454
90 | 2659075.9907 | 1271198.5172 | 2659061.3768 | 1271190.1311 | 2659059.9249 | 1271189.3944
91 | 2659075.9907 | 1271198.5172 | 2659084.3916 | 1271203.3379 | 2659086.4032 | 1271204.0393
92 | 2659082.775 | 1271266.1427 | 2659100.6997 | 1271248.357
93 | 2659082.775 | 1271266.1427 | 2659064.7888 | 1271283.9895
94 | 2659044.7927 | 1271305.0864 | 2659063.122 | 1271285.6434 | 2659064.7888 | 1271283.9895
95 | 2659018.0571 | 1271236.3947 | 2659014.6635 | 1271241.8926 | 2659011.6931 | 1271246.7771
96 | 2659000.522 | 1271265.1469 | 2659011.6931 | 1271246.7771
97 | 2658966.7374 | 1271281.8445 | 2658986.9738 | 1271284.0037 | 2658990.6994 | 1271277.0245 | 2659000.522 | 1271265.1469
98 | 2658966.7374 | 1271281.8445 | 2658968.4059 | 1271273.7105 | 2658970.7954 | 1271261.9254 | 2658979.0059 | 1271224.5844
99 | 2658981.0636 | 1271215.2258 | 2658979.0059 | 1271224.5844

## bus_geodata
| x | y | coords
0 | 2659198.5231 | 1270925.8265
1 | 2659193.6542 | 1270946.4121
2 | 2659203.2988 | 1270905.6352
3 | 2659181.8155 | 1270996.6795
4 | 2659170.2556 | 1270886.3674
5 | 2659179.8445 | 1271005.2735
6 | 2659156.7693 | 1270939.3108
7 | 2659168.6413 | 1271054.3115
8 | 2659148.9889 | 1270973.2316
9 | 2659143.9723 | 1270995.4625
10 | 2659139.8984 | 1271013.5156
11 | 2659165.4174 | 1271072.6494
12 | 2659118.082 | 1271063.6648
13 | 2659117.359 | 1271063.5276
14 | 2659118.834 | 1271063.8075
15 | 2659093.5095 | 1271059.0008
16 | 2659144.5478 | 1271068.6882
17 | 2659093.0729 | 1271058.9179
18 | 2659150.1738 | 1271069.756
19 | 2659084.7628 | 1271057.3406
20 | 2659325.0276 | 1271007.891
21 | 2659324.9585 | 1271008.5134
22 | 2659323.7313 | 1271019.5656
23 | 2659316.9244 | 1271088.4025
24 | 2659282.3734 | 1271084.7519
25 | 2659313.7974 | 1271111.1648
26 | 2659068.7607 | 1271014.6215
27 | 2659068.741 | 1271014.7457
28 | 2659063.0623 | 1271053.2217
29 | 2659058.1619 | 1271088.6898
30 | 2659057.9763 | 1271090.0334
31 | 2659275.4813 | 1271084.0237
32 | 2659306.6279 | 1271138.3833
33 | 2659166.3188 | 1271085.1288
34 | 2659272.5105 | 1271083.7098
35 | 2659300.4275 | 1271149.7947
36 | 2659234.8811 | 1271079.5647
37 | 2659250.1384 | 1271081.2469
38 | 2659167.4148 | 1271100.3045
39 | 2659056.4894 | 1271100.7954
40 | 2659269.2762 | 1271083.357
41 | 2659167.6146 | 1271102.9181
42 | 2659272.4543 | 1271083.7039
43 | 2659052.8289 | 1271127.2891
44 | 2659051.012 | 1271138.3225
45 | 2658995.4941 | 1271166.724
46 | 2659021.3578 | 1271175.08
47 | 2658978.3687 | 1271161.1911
48 | 2659032.196 | 1271178.5816
49 | 2658982.4345 | 1271147.2658
50 | 2658969.8942 | 1271158.5379
51 | 2659041.5874 | 1271181.6158
52 | 2658990.6282 | 1271111.4245
53 | 2659046.986 | 1271183.3822
54 | 2659045.5264 | 1271169.2579
55 | 2659050.963 | 1271138.6072
56 | 2659046.7114 | 1271163.2771
57 | 2659167.6686 | 1271103.5985
58 | 2659171.3689 | 1271125.2449
59 | 2659175.024 | 1271132.6912
60 | 2659031.8974 | 1271213.9778
61 | 2659058.8242 | 1271188.8358
62 | 2659231.0763 | 1271146.0208
63 | 2659235.2273 | 1271147.8892
64 | 2659212.8058 | 1271138.7234
65 | 2659244.6605 | 1271152.135
66 | 2659205.0826 | 1271136.42
67 | 2659262.5765 | 1271160.1988
68 | 2659197.1314 | 1271134.3472
69 | 2659272.5331 | 1271162.5912
70 | 2659194.4729 | 1271133.9129
71 | 2659294.9862 | 1271153.4283
72 | 2659247.8088 | 1271184.0443
73 | 2659170.8024 | 1271138.8971
74 | 2659166.3418 | 1271156.5642
75 | 2659164.8473 | 1271162.4832
76 | 2659164.1074 | 1271165.4138
77 | 2659160.7012 | 1271177.3595
78 | 2659159.6191 | 1271180.1143
79 | 2659139.0578 | 1271196.7867
80 | 2659115.8457 | 1271205.4778
81 | 2659146.0838 | 1271192.9614
82 | 2659108.8184 | 1271206.9739
83 | 2659095.6388 | 1271206.8802
84 | 2659108.5306 | 1271221.7159
85 | 2659086.9177 | 1271204.2187
86 | 2659108.1547 | 1271240.9597
87 | 2659018.4579 | 1271235.7454
88 | 2659059.9249 | 1271189.3944
89 | 2659075.9907 | 1271198.5172
90 | 2659086.4032 | 1271204.0393
91 | 2659100.6997 | 1271248.357
92 | 2659082.775 | 1271266.1427
93 | 2659064.7888 | 1271283.9895
94 | 2659018.0571 | 1271236.3947
95 | 2659044.7927 | 1271305.0864
96 | 2659011.6931 | 1271246.7771
97 | 2659000.522 | 1271265.1469
98 | 2658966.7374 | 1271281.8445
99 | 2658979.0059 | 1271224.5844
100 | 2658981.0636 | 1271215.2258
101 | 2659175.024 | 1271132.6912

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1