## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4313-1_1_4_node_163 | 0.4 | n |  | TRUE
1 | bus_LV_4313-1_1_4_node_165 | 0.4 | n |  | TRUE
2 | bus_LV_4313-1_1_4_node_161 | 0.4 | n |  | TRUE
3 | bus_LV_4313-1_1_4_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_4313-1_1_4_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_4313-1_1_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_4313-1_1_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_4313-1_1_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_4313-1_1_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_4313-1_1_4_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_4313-1_1_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_4313-1_1_4_node_129 | 0.4 | n |  | TRUE
12 | bus_LV_4313-1_1_4_node_128 | 0.4 | n |  | TRUE
13 | bus_LV_4313-1_1_4_node_127 | 0.4 | n |  | TRUE
14 | bus_LV_4313-1_1_4_node_126 | 0.4 | n |  | TRUE
15 | bus_LV_4313-1_1_4_node_186 | 0.4 | n |  | TRUE
16 | bus_LV_4313-1_1_4_node_189 | 0.4 | n |  | TRUE
17 | bus_LV_4313-1_1_4_node_185 | 0.4 | n |  | TRUE
18 | bus_LV_4313-1_1_4_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_4313-1_1_4_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_4313-1_1_4_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_4313-1_1_4_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_4313-1_1_4_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_4313-1_1_4_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_4313-1_1_4_node_118 | 0.4 | n |  | TRUE
25 | bus_LV_4313-1_1_4_node_93 | 0.4 | n |  | TRUE
26 | bus_LV_4313-1_1_4_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_4313-1_1_4_node_117 | 0.4 | n |  | TRUE
28 | bus_LV_4313-1_1_4_node_94 | 0.4 | n |  | TRUE
29 | bus_LV_4313-1_1_4_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_4313-1_1_4_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_4313-1_1_4_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_4313-1_1_4_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_4313-1_1_4_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_4313-1_1_4_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_4313-1_1_4_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_4313-1_1_4_node_95 | 0.4 | n |  | TRUE
37 | bus_LV_4313-1_1_4_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_4313-1_1_4_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_4313-1_1_4_node_198 | 0.4 | n |  | TRUE
40 | bus_LV_4313-1_1_4_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_4313-1_1_4_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_4313-1_1_4_node_85 | 0.4 | n |  | TRUE
43 | bus_LV_4313-1_1_4_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_4313-1_1_4_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_4313-1_1_4_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_4313-1_1_4_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_4313-1_1_4_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_4313-1_1_4_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_4313-1_1_4_node_97 | 0.4 | n |  | TRUE
50 | bus_LV_4313-1_1_4_node_107 | 0.4 | n |  | TRUE
51 | bus_LV_4313-1_1_4_node_138 | 0.4 | n |  | TRUE
52 | bus_LV_4313-1_1_4_node_98 | 0.4 | n |  | TRUE
53 | bus_LV_4313-1_1_4_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_4313-1_1_4_node_108 | 0.4 | n |  | TRUE
55 | bus_LV_4313-1_1_4_node_109 | 0.4 | n |  | TRUE
56 | bus_LV_4313-1_1_4_node_139 | 0.4 | n |  | TRUE
57 | bus_LV_4313-1_1_4_node_140 | 0.4 | n |  | TRUE
58 | bus_LV_4313-1_1_4_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_4313-1_1_4_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_4313-1_1_4_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_4313-1_1_4_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_4313-1_1_4_node_184 | 0.4 | n |  | TRUE
63 | bus_LV_4313-1_1_4_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_4313-1_1_4_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_4313-1_1_4_node_100 | 0.4 | n |  | TRUE
66 | bus_LV_4313-1_1_4_node_106 | 0.4 | n |  | TRUE
67 | bus_LV_4313-1_1_4_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_4313-1_1_4_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_4313-1_1_4_node_91 | 0.4 | n |  | TRUE
70 | bus_LV_4313-1_1_4_node_92 | 0.4 | n |  | TRUE
71 | bus_LV_4313-1_1_4_node_141 | 0.4 | n |  | TRUE
72 | bus_LV_4313-1_1_4_node_142 | 0.4 | n |  | TRUE
73 | bus_LV_4313-1_1_4_node_101 | 0.4 | n |  | TRUE
74 | bus_LV_4313-1_1_4_node_102 | 0.4 | n |  | TRUE
75 | bus_LV_4313-1_1_4_node_135 | 0.4 | n |  | TRUE
76 | bus_LV_4313-1_1_4_node_137 | 0.4 | n |  | TRUE
77 | bus_LV_4313-1_1_4_node_133 | 0.4 | n |  | TRUE
78 | bus_LV_4313-1_1_4_node_143 | 0.4 | n |  | TRUE
79 | bus_LV_4313-1_1_4_node_105 | 0.4 | n |  | TRUE
80 | bus_LV_4313-1_1_4_node_200 | 0.4 | n |  | TRUE
81 | bus_LV_4313-1_1_4_node_199 | 0.4 | n |  | TRUE
82 | bus_LV_4313-1_1_4_node_144 | 0.4 | n |  | TRUE
83 | bus_LV_4313-1_1_4_node_110 | 0.4 | n |  | TRUE
84 | bus_LV_4313-1_1_4_node_147 | 0.4 | n |  | TRUE
85 | bus_LV_4313-1_1_4_node_111 | 0.4 | n |  | TRUE
86 | bus_LV_4313-1_1_4_node_149 | 0.4 | n |  | TRUE
87 | bus_LV_4313-1_1_4_node_145 | 0.4 | n |  | TRUE
88 | bus_LV_4313-1_1_4_node_112 | 0.4 | n |  | TRUE
89 | bus_LV_4313-1_1_4_node_113 | 0.4 | n |  | TRUE
90 | bus_LV_4313-1_1_4_node_114 | 0.4 | n |  | TRUE
91 | bus_LV_4313-1_1_4_node_115 | 0.4 | n |  | TRUE
92 | bus_LV_4313-1_1_4_node_116 | 0.4 | n |  | TRUE
93 | bus_LV_4313-1_1_4_node_136 | 0.4 | n |  | TRUE
94 | bus_LV_4313-1_1_4_node_123 | 0.4 | n |  | TRUE
95 | bus_LV_4313-1_1_4_node_134 | 0.4 | n |  | TRUE
96 | bus_LV_4313-1_1_4_node_121 | 0.4 | n |  | TRUE
97 | bus_LV_4313-1_1_4_node_119 | 0.4 | n |  | TRUE
98 | bus_LV_4313-1_1_4_node_120 | 0.4 | n |  | TRUE
99 | bus_LV_4313-1_1_4_node_122 | 0.4 | n |  | TRUE
100 | bus_LV_4313-1_1_4_node_124 | 0.4 | n |  | TRUE
101 | bus_LV_4313-1_1_4_node_125 | 0.4 | n |  | TRUE
102 | bus_LV_4313-1_1_4_node_131 | 0.4 | n |  | TRUE
103 | bus_LV_4313-1_1_4_node_130 | 0.4 | n |  | TRUE
104 | bus_LV_4313-1_1_4_node_132 | 0.4 | n |  | TRUE
105 | bus_LV_4313-1_1_4_node_192 | 0.4 | n |  | TRUE
106 | bus_LV_4313-1_1_4_node_193 | 0.4 | n |  | TRUE
107 | bus_LV_4313-1_1_4_node_194 | 0.4 | n |  | TRUE
108 | bus_LV_4313-1_1_4_node_146 | 0.4 | n |  | TRUE
109 | bus_LV_4313-1_1_4_node_148 | 0.4 | n |  | TRUE
110 | bus_LV_4313-1_1_4_node_151 | 0.4 | n |  | TRUE
111 | bus_LV_4313-1_1_4_node_150 | 0.4 | n |  | TRUE
112 | bus_LV_4313-1_1_4_node_152 | 0.4 | n |  | TRUE
113 | bus_LV_4313-1_1_4_node_153 | 0.4 | n |  | TRUE
114 | bus_LV_4313-1_1_4_node_154 | 0.4 | n |  | TRUE
115 | bus_LV_4313-1_1_4_node_155 | 0.4 | n |  | TRUE
116 | bus_LV_4313-1_1_4_node_156 | 0.4 | n |  | TRUE
117 | bus_LV_4313-1_1_4_node_157 | 0.4 | n |  | TRUE
118 | bus_LV_4313-1_1_4_node_158 | 0.4 | n |  | TRUE
119 | bus_LV_4313-1_1_4_node_159 | 0.4 | n |  | TRUE
120 | bus_LV_4313-1_1_4_node_162 | 0.4 | n |  | TRUE
121 | bus_LV_4313-1_1_4_node_164 | 0.4 | n |  | TRUE
122 | bus_LV_4313-1_1_4_node_176 | 0.4 | n |  | TRUE
123 | bus_LV_4313-1_1_4_node_187 | 0.4 | n |  | TRUE
124 | bus_LV_4313-1_1_4_node_182 | 0.4 | n |  | TRUE
125 | bus_LV_4313-1_1_4_node_166 | 0.4 | n |  | TRUE
126 | bus_LV_4313-1_1_4_node_167 | 0.4 | n |  | TRUE
127 | bus_LV_4313-1_1_4_node_168 | 0.4 | n |  | TRUE
128 | bus_LV_4313-1_1_4_node_169 | 0.4 | n |  | TRUE
129 | bus_LV_4313-1_1_4_node_170 | 0.4 | n |  | TRUE
130 | bus_LV_4313-1_1_4_node_183 | 0.4 | n |  | TRUE
131 | bus_LV_4313-1_1_4_node_180 | 0.4 | n |  | TRUE
132 | bus_LV_4313-1_1_4_node_178 | 0.4 | n |  | TRUE
133 | bus_LV_4313-1_1_4_node_171 | 0.4 | n |  | TRUE
134 | bus_LV_4313-1_1_4_node_172 | 0.4 | n |  | TRUE
135 | bus_LV_4313-1_1_4_node_173 | 0.4 | n |  | TRUE
136 | bus_LV_4313-1_1_4_node_174 | 0.4 | n |  | TRUE
137 | bus_LV_4313-1_1_4_node_175 | 0.4 | n |  | TRUE
138 | bus_LV_4313-1_1_4_node_190 | 0.4 | n |  | TRUE
139 | bus_LV_4313-1_1_4_node_177 | 0.4 | n |  | TRUE
140 | bus_LV_4313-1_1_4_node_191 | 0.4 | n |  | TRUE
141 | bus_LV_4313-1_1_4_node_179 | 0.4 | n |  | TRUE
142 | bus_LV_4313-1_1_4_node_181 | 0.4 | n |  | TRUE
143 | bus_LV_4313-1_1_4_node_196 | 0.4 | n |  | TRUE
144 | bus_LV_4313-1_1_4_node_204 | 0.4 | n |  | TRUE
145 | bus_LV_4313-1_1_4_node_195 | 0.4 | n |  | TRUE
146 | bus_LV_4313-1_1_4_node_202 | 0.4 | n |  | TRUE
147 | bus_LV_4313-1_1_4_node_201 | 0.4 | n |  | TRUE
148 | bus_LV_4313-1_1_4_node_203 | 0.4 | n |  | TRUE
149 | bus_MV_486_1_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4313-1_1_4_load_161 | 2 | 0.0067982 | 0.0017038 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4313-1_1_4_load_14 | 3 | 0.0011834 | 0.00029658 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4313-1_1_4_load_16 | 6 | 0.00032197 | 8.0694e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4313-1_1_4_load_19 | 8 | 0.0012334 | 0.00030912 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4313-1_1_4_load_20 | 9 | 0.0013995 | 0.00035076 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4313-1_1_4_load_21 | 10 | 0.0001955 | 4.8997e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4313-1_1_4_load_129 | 11 | 0.0013562 | 0.00033989 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4313-1_1_4_load_128 | 12 | 0.001342 | 0.00033635 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4313-1_1_4_load_127 | 13 | 0.00034737 | 8.7059e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4313-1_1_4_load_126 | 14 | 0.0006479 | 0.00016238 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4313-1_1_4_load_189 | 16 | 0.0016708 | 0.00041873 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4313-1_1_4_load_185 | 17 | 0.0013889 | 0.00034809 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4313-1_1_4_load_60 | 18 | 0.00062968 | 0.00015781 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4313-1_1_4_load_64 | 22 | 0.00050924 | 0.00012763 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4313-1_1_4_load_65 | 23 | 0.00030921 | 7.7495e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4313-1_1_4_load_118 | 24 | 0.0051448 | 0.0012894 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4313-1_1_4_load_86 | 26 | 0.00017702 | 4.4365e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4313-1_1_4_load_117 | 27 | 0.00041956 | 0.00010515 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4313-1_1_4_load_94 | 28 | 0.0013172 | 0.00033013 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4313-1_1_4_load_67 | 29 | 0.010746 | 0.0026931 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4313-1_1_4_load_70 | 32 | 0.0010786 | 0.00027032 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4313-1_1_4_load_71 | 33 | 0.0013897 | 0.0003483 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4313-1_1_4_load_72 | 34 | 0.0014052 | 0.00035218 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4313-1_1_4_load_87 | 35 | 0.0028767 | 0.00072096 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4313-1_1_4_load_84 | 37 | 0.001049 | 0.00026289 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4313-1_1_4_load_198 | 39 | 0.0032193 | 0.00080683 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4313-1_1_4_load_88 | 40 | 0.0028823 | 0.00072238 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4313-1_1_4_load_96 | 41 | 0.0023804 | 0.00059659 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4313-1_1_4_load_85 | 42 | 0.0064442 | 0.0016151 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4313-1_1_4_load_74 | 43 | 0.010035 | 0.002515 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4313-1_1_4_load_75 | 44 | 0.00036033 | 9.0308e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4313-1_1_4_load_77 | 45 | 0.0023044 | 0.00057753 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4313-1_1_4_load_78 | 47 | 0.00011739 | 2.942e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4313-1_1_4_load_79 | 48 | 0.0029932 | 0.00075017 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4313-1_1_4_load_98 | 52 | 0.00062153 | 0.00015577 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4313-1_1_4_load_99 | 53 | 0.001644 | 0.00041203 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4313-1_1_4_load_108 | 54 | 0.001076 | 0.00026968 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4313-1_1_4_load_109 | 55 | 0.0022626 | 0.00056706 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4313-1_1_4_load_139 | 56 | 0.0012827 | 0.00032149 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4313-1_1_4_load_140 | 57 | 0.0055095 | 0.0013808 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4313-1_1_4_load_80 | 58 | 0.0026277 | 0.00065856 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4313-1_1_4_load_82 | 60 | 0.0028652 | 0.0007181 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4313-1_1_4_load_83 | 61 | 0.00087869 | 0.00022022 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4313-1_1_4_load_184 | 62 | 0.00029975 | 7.5126e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4313-1_1_4_load_104 | 63 | 0.0026869 | 0.0006734 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4313-1_1_4_load_106 | 66 | 0.0011793 | 0.00029556 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4313-1_1_4_load_89 | 67 | 0.00073093 | 0.00018319 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4313-1_1_4_load_91 | 69 | 0.00040772 | 0.00010219 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4313-1_1_4_load_92 | 70 | 0.00052579 | 0.00013177 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4313-1_1_4_load_141 | 71 | 0.00066214 | 0.00016595 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4313-1_1_4_load_142 | 72 | 0.00067949 | 0.0001703 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4313-1_1_4_load_101 | 73 | 0.0010891 | 0.00027295 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4313-1_1_4_load_102 | 74 | 0.0018658 | 0.00046761 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4313-1_1_4_load_137 | 76 | 0.00065043 | 0.00016301 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4313-1_1_4_load_133 | 77 | 0.00076461 | 0.00019163 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4313-1_1_4_load_143 | 78 | 0.0017243 | 0.00043215 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4313-1_1_4_load_105 | 79 | 0.0032585 | 0.00081666 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4313-1_1_4_load_200 | 80 | 0.0017804 | 0.00044622 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4313-1_1_4_load_199 | 81 | 0.002727 | 0.00068345 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4313-1_1_4_load_144 | 82 | 0.0071684 | 0.0017966 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4313-1_1_4_load_110 | 83 | 0.000827 | 0.00020727 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4313-1_1_4_load_111 | 85 | 0.00078436 | 0.00019658 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4313-1_1_4_load_149 | 86 | 0.00024257 | 6.0793e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4313-1_1_4_load_145 | 87 | 0.0032645 | 0.00081817 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4313-1_1_4_load_112 | 88 | 0.00080328 | 0.00020132 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4313-1_1_4_load_113 | 89 | 0.00027798 | 6.967e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4313-1_1_4_load_115 | 91 | 0.0028974 | 0.00072615 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4313-1_1_4_load_116 | 92 | 0.00039639 | 9.9346e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4313-1_1_4_load_136 | 93 | 0.00048143 | 0.00012066 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4313-1_1_4_load_123 | 94 | 0.00059904 | 0.00015013 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4313-1_1_4_load_134 | 95 | 0.00060532 | 0.00015171 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4313-1_1_4_load_121 | 96 | 0.0019406 | 0.00048636 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4313-1_1_4_load_119 | 97 | 0.00052518 | 0.00013162 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4313-1_1_4_load_120 | 98 | 0.0015905 | 0.00039862 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4313-1_1_4_load_122 | 99 | 0.0028689 | 0.000719 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4313-1_1_4_load_124 | 100 | 0.00107 | 0.00026818 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4313-1_1_4_load_125 | 101 | 0.00090515 | 0.00022685 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4313-1_1_4_load_131 | 102 | 0.0012268 | 0.00030745 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4313-1_1_4_load_130 | 103 | 0.001319 | 0.00033058 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4313-1_1_4_load_132 | 104 | 0.006052 | 0.0015168 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4313-1_1_4_load_194 | 107 | 0.0025429 | 0.00063732 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4313-1_1_4_load_151 | 110 | 0.0027461 | 0.00068824 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4313-1_1_4_load_150 | 111 | 0.00082465 | 0.00020668 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4313-1_1_4_load_154 | 114 | 0.00020234 | 5.0712e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4313-1_1_4_load_155 | 115 | 0.00011174 | 2.8004e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4313-1_1_4_load_156 | 116 | 0.0007115 | 0.00017832 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4313-1_1_4_load_157 | 117 | 0.00023507 | 5.8914e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4313-1_1_4_load_159 | 119 | 0.00023945 | 6.0011e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4313-1_1_4_load_162 | 120 | 0.0013116 | 0.00032872 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4313-1_1_4_load_164 | 121 | 0.0029501 | 0.00073937 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4313-1_1_4_load_176 | 122 | 0.0071985 | 0.0018041 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4313-1_1_4_load_187 | 123 | 0.0012355 | 0.00030964 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4313-1_1_4_load_182 | 124 | 0.0010923 | 0.00027376 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4313-1_1_4_load_166 | 125 | 0.0080858 | 0.0020265 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4313-1_1_4_load_167 | 126 | 0.00096891 | 0.00024283 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4313-1_1_4_load_168 | 127 | 0.0011047 | 0.00027685 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4313-1_1_4_load_169 | 128 | 0.0014524 | 0.00036401 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4313-1_1_4_load_170 | 129 | 0.0020278 | 0.00050822 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4313-1_1_4_load_183 | 130 | 0.0041202 | 0.0010326 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4313-1_1_4_load_180 | 131 | 0.0014659 | 0.00036738 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4313-1_1_4_load_171 | 133 | 0.00031713 | 7.948e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4313-1_1_4_load_172 | 134 | 0.0010395 | 0.00026052 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4313-1_1_4_load_173 | 135 | 0.0011666 | 0.00029238 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4313-1_1_4_load_174 | 136 | 0.0012522 | 0.00031384 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4313-1_1_4_load_175 | 137 | 0.00065506 | 0.00016417 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4313-1_1_4_load_190 | 138 | 0.0002591 | 6.4936e-05 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4313-1_1_4_load_177 | 139 | 0.00076936 | 0.00019282 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4313-1_1_4_load_191 | 140 | 0.00028109 | 7.0448e-05 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4313-1_1_4_load_181 | 142 | 0.00065021 | 0.00016296 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4313-1_1_4_load_196 | 143 | 0.0047125 | 0.0011811 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4313-1_1_4_load_204 | 144 | 0.0037261 | 0.00093384 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4313-1_1_4_load_195 | 145 | 0.0022807 | 0.0005716 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4313-1_1_4_load_202 | 146 | 0.00076962 | 0.00019288 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4313-1_1_4_load_201 | 147 | 0.0052049 | 0.0013045 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4313-1_1_4_load_203 | 148 | 0.00036279 | 9.0925e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4313-1_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.057681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4313-1_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4313-1_1_4_line_2 | NAYY 4x150 SE | 1 | 123 | 0.007008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4313-1_1_4_line_3 | NAYY 4x150 SE | 2 | 120 | 0.052249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4313-1_1_4_line_4 | NAYY 4x150 SE | 3 | 4 | 0.016493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4313-1_1_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.39854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4313-1_1_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.1316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4313-1_1_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.041403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4313-1_1_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.05762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4313-1_1_4_line_9 | NAYY 4x150 SE | 7 | 9 | 0.049363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4313-1_1_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.032968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4313-1_1_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.040798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4313-1_1_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.02221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4313-1_1_4_line_13 | NAYY 4x150 SE | 12 | 103 | 0.014154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4313-1_1_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0012794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4313-1_1_4_line_15 | NAYY 4x150 SE | 14 | 21 | 0.03255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4313-1_1_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.016954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4313-1_1_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.020357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4313-1_1_4_line_18 | NAYY 4x150 SE | 16 | 142 | 0.026871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4313-1_1_4_line_19 | NAYY 4x150 SE | 17 | 62 | 0.014377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4313-1_1_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.068997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4313-1_1_4_line_21 | NAYY 4x150 SE | 18 | 20 | 0.090148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4313-1_1_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.016021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4313-1_1_4_line_23 | NAYY 4x150 SE | 19 | 22 | 0.036622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4313-1_1_4_line_24 | NAYY 4x150 SE | 20 | 23 | 0.050408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4313-1_1_4_line_25 | NAYY 4x150 SE | 21 | 24 | 0.01026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4313-1_1_4_line_26 | NAYY 4x150 SE | 22 | 25 | 0.024924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4313-1_1_4_line_27 | NAYY 4x150 SE | 23 | 26 | 0.017019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4313-1_1_4_line_28 | NAYY 4x150 SE | 24 | 27 | 0.0083362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4313-1_1_4_line_29 | NAYY 4x150 SE | 25 | 28 | 0.061994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4313-1_1_4_line_30 | NAYY 4x150 SE | 27 | 97 | 0.025856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4313-1_1_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.018863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4313-1_1_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.017604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4313-1_1_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0093774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4313-1_1_4_line_34 | NAYY 4x150 SE | 30 | 33 | 0.019842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4313-1_1_4_line_35 | NAYY 4x150 SE | 31 | 34 | 0.00049503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4313-1_1_4_line_36 | NAYY 4x150 SE | 32 | 35 | 0.026328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4313-1_1_4_line_37 | NAYY 4x150 SE | 33 | 36 | 0.011177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4313-1_1_4_line_38 | NAYY 4x150 SE | 34 | 37 | 0.030155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4313-1_1_4_line_39 | NAYY 4x150 SE | 35 | 40 | 0.0085871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4313-1_1_4_line_40 | NAYY 4x150 SE | 36 | 41 | 0.0095507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4313-1_1_4_line_41 | NAYY 4x150 SE | 36 | 38 | 0.017175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4313-1_1_4_line_42 | NAYY 4x150 SE | 37 | 42 | 0.0081965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4313-1_1_4_line_43 | NAYY 4x150 SE | 38 | 39 | 0.0069385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4313-1_1_4_line_44 | NAYY 4x150 SE | 40 | 67 | 0.0079231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4313-1_1_4_line_45 | NAYY 4x150 SE | 41 | 73 | 0.016161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4313-1_1_4_line_46 | NAYY 4x150 SE | 42 | 65 | 0.030405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4313-1_1_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.018982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4313-1_1_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.0045027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4313-1_1_4_line_49 | NAYY 4x150 SE | 45 | 49 | 0.0085937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4313-1_1_4_line_50 | NAYY 4x150 SE | 46 | 47 | 0.013756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_4313-1_1_4_line_51 | NAYY 4x150 SE | 46 | 48 | 0.0095477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_4313-1_1_4_line_52 | NAYY 4x150 SE | 47 | 50 | 0.01129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_4313-1_1_4_line_53 | NAYY 4x150 SE | 48 | 51 | 0.016222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_4313-1_1_4_line_54 | NAYY 4x150 SE | 49 | 52 | 0.021864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4313-1_1_4_line_55 | NAYY 4x150 SE | 49 | 53 | 0.019062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4313-1_1_4_line_56 | NAYY 4x150 SE | 50 | 54 | 0.02021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_4313-1_1_4_line_57 | NAYY 4x150 SE | 50 | 55 | 0.013101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4313-1_1_4_line_58 | NAYY 4x150 SE | 51 | 56 | 0.020451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_4313-1_1_4_line_59 | NAYY 4x150 SE | 51 | 57 | 0.021723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4313-1_1_4_line_60 | NAYY 4x150 SE | 52 | 75 | 0.006754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4313-1_1_4_line_61 | NAYY 4x150 SE | 53 | 65 | 0.014467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4313-1_1_4_line_62 | NAYY 4x150 SE | 54 | 83 | 0.022606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_4313-1_1_4_line_63 | NAYY 4x150 SE | 55 | 84 | 0.040378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4313-1_1_4_line_64 | NAYY 4x150 SE | 56 | 105 | 0.017961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_4313-1_1_4_line_65 | NAYY 4x150 SE | 58 | 59 | 0.037671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4313-1_1_4_line_66 | NAYY 4x150 SE | 59 | 60 | 0.071221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4313-1_1_4_line_67 | NAYY 4x150 SE | 59 | 61 | 0.0033657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4313-1_1_4_line_68 | NAYY 4x150 SE | 60 | 62 | 0.041476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4313-1_1_4_line_69 | NAYY 4x150 SE | 61 | 63 | 0.02354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4313-1_1_4_line_70 | NAYY 4x150 SE | 63 | 64 | 0.028804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_4313-1_1_4_line_71 | NAYY 4x150 SE | 64 | 79 | 0.028597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_4313-1_1_4_line_72 | NAYY 4x150 SE | 65 | 66 | 0.013989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4313-1_1_4_line_73 | NAYY 4x150 SE | 66 | 78 | 0.006198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4313-1_1_4_line_74 | NAYY 4x150 SE | 67 | 68 | 0.0077789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4313-1_1_4_line_75 | NAYY 4x150 SE | 68 | 69 | 0.0093788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4313-1_1_4_line_76 | NAYY 4x150 SE | 68 | 70 | 0.025539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4313-1_1_4_line_77 | NAYY 4x150 SE | 69 | 71 | 0.0086645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4313-1_1_4_line_78 | NAYY 4x150 SE | 71 | 72 | 0.014536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4313-1_1_4_line_79 | NAYY 4x150 SE | 73 | 74 | 0.0045547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4313-1_1_4_line_80 | NAYY 4x150 SE | 75 | 76 | 0.025467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_4313-1_1_4_line_81 | NAYY 4x150 SE | 75 | 77 | 0.052334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_4313-1_1_4_line_82 | NAYY 4x150 SE | 76 | 85 | 0.00060215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_4313-1_1_4_line_83 | NAYY 4x150 SE | 77 | 104 | 0.046281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_4313-1_1_4_line_84 | NAYY 4x150 SE | 78 | 82 | 0.013186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4313-1_1_4_line_85 | NAYY 4x150 SE | 79 | 80 | 0.023644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_4313-1_1_4_line_86 | NAYY 4x150 SE | 80 | 81 | 0.020473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_4313-1_1_4_line_87 | NAYY 4x150 SE | 81 | 106 | 0.018775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
88 | LV_4313-1_1_4_line_88 | NAYY 4x150 SE | 82 | 98 | 0.043667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4313-1_1_4_line_89 | NAYY 4x150 SE | 83 | 85 | 0.013225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_4313-1_1_4_line_90 | NAYY 4x150 SE | 84 | 86 | 0.0050869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4313-1_1_4_line_91 | NAYY 4x150 SE | 84 | 87 | 0.056623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4313-1_1_4_line_92 | NAYY 4x150 SE | 87 | 108 | 0.20976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4313-1_1_4_line_93 | NAYY 4x150 SE | 88 | 89 | 0.033478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4313-1_1_4_line_94 | NAYY 4x150 SE | 88 | 90 | 0.0056568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4313-1_1_4_line_95 | NAYY 4x150 SE | 89 | 91 | 0.001651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4313-1_1_4_line_96 | NAYY 4x150 SE | 90 | 92 | 0.036151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4313-1_1_4_line_97 | NAYY 4x150 SE | 91 | 93 | 0.039521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
98 | LV_4313-1_1_4_line_98 | NAYY 4x150 SE | 92 | 94 | 0.028522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4313-1_1_4_line_99 | NAYY 4x150 SE | 93 | 95 | 0.021465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
100 | LV_4313-1_1_4_line_100 | NAYY 4x150 SE | 94 | 96 | 0.061872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4313-1_1_4_line_101 | NAYY 4x150 SE | 95 | 104 | 0.02246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
102 | LV_4313-1_1_4_line_102 | NAYY 4x150 SE | 96 | 99 | 0.042135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4313-1_1_4_line_103 | NAYY 4x150 SE | 97 | 98 | 0.038109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4313-1_1_4_line_104 | NAYY 4x150 SE | 99 | 100 | 0.070397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4313-1_1_4_line_105 | NAYY 4x150 SE | 100 | 101 | 0.024785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4313-1_1_4_line_106 | NAYY 4x150 SE | 101 | 102 | 0.01856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4313-1_1_4_line_107 | NAYY 4x150 SE | 102 | 103 | 0.02069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4313-1_1_4_line_108 | NAYY 4x150 SE | 105 | 106 | 0.005398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
109 | LV_4313-1_1_4_line_109 | NAYY 4x150 SE | 105 | 107 | 0.016485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4313-1_1_4_line_110 | NAYY 4x150 SE | 106 | 143 | 0.0183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_4313-1_1_4_line_111 | NAYY 4x150 SE | 107 | 144 | 0.023669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_4313-1_1_4_line_112 | NAYY 4x150 SE | 108 | 109 | 0.02418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_4313-1_1_4_line_113 | NAYY 4x150 SE | 109 | 110 | 0.10412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_4313-1_1_4_line_114 | NAYY 4x150 SE | 109 | 111 | 0.060875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_4313-1_1_4_line_115 | NAYY 4x150 SE | 110 | 112 | 0.010783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_4313-1_1_4_line_116 | NAYY 4x150 SE | 112 | 113 | 0.12376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_4313-1_1_4_line_117 | NAYY 4x150 SE | 112 | 114 | 0.11897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_4313-1_1_4_line_118 | NAYY 4x150 SE | 113 | 115 | 0.034399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_4313-1_1_4_line_119 | NAYY 4x150 SE | 115 | 116 | 0.060862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_4313-1_1_4_line_120 | NAYY 4x150 SE | 116 | 117 | 0.0014232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_4313-1_1_4_line_121 | NAYY 4x150 SE | 117 | 118 | 0.016061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_4313-1_1_4_line_122 | NAYY 4x150 SE | 118 | 119 | 0.015658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_4313-1_1_4_line_123 | NAYY 4x150 SE | 120 | 121 | 0.020546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_4313-1_1_4_line_124 | NAYY 4x150 SE | 121 | 122 | 0.00063427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_4313-1_1_4_line_125 | NAYY 4x150 SE | 122 | 124 | 0.010543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_4313-1_1_4_line_126 | NAYY 4x150 SE | 124 | 130 | 0.0061824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_4313-1_1_4_line_127 | NAYY 4x150 SE | 125 | 126 | 0.010497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_4313-1_1_4_line_128 | NAYY 4x150 SE | 125 | 127 | 0.0069237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_4313-1_1_4_line_129 | NAYY 4x150 SE | 126 | 128 | 0.0086262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_4313-1_1_4_line_130 | NAYY 4x150 SE | 127 | 129 | 0.011903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_4313-1_1_4_line_131 | NAYY 4x150 SE | 128 | 130 | 0.0044414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_4313-1_1_4_line_132 | NAYY 4x150 SE | 129 | 131 | 0.0039454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_4313-1_1_4_line_133 | NAYY 4x150 SE | 131 | 132 | 0.020181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_4313-1_1_4_line_134 | NAYY 4x150 SE | 132 | 139 | 0.016842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_4313-1_1_4_line_135 | NAYY 4x150 SE | 132 | 136 | 0.055095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_4313-1_1_4_line_136 | NAYY 4x150 SE | 133 | 134 | 0.011281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_4313-1_1_4_line_137 | NAYY 4x150 SE | 133 | 135 | 0.010657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_4313-1_1_4_line_138 | NAYY 4x150 SE | 134 | 136 | 0.0064417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_4313-1_1_4_line_139 | NAYY 4x150 SE | 135 | 137 | 0.0004314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_4313-1_1_4_line_140 | NAYY 4x150 SE | 137 | 138 | 0.020178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_4313-1_1_4_line_141 | NAYY 4x150 SE | 138 | 140 | 0.022118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_4313-1_1_4_line_142 | NAYY 4x150 SE | 139 | 141 | 0.022764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_4313-1_1_4_line_143 | NAYY 4x150 SE | 141 | 142 | 0.010447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_4313-1_1_4_line_144 | NAYY 4x150 SE | 143 | 145 | 0.029077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_4313-1_1_4_line_145 | NAYY 4x150 SE | 144 | 146 | 0.023188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_4313-1_1_4_line_146 | NAYY 4x150 SE | 146 | 147 | 0.0082149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_4313-1_1_4_line_147 | NAYY 4x150 SE | 147 | 148 | 0.030455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4313-1_1_4_trafo_199 | 0.25 MVA 20/0.4 kV | 149 | 81 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2657596.3001 | 1269506.5091 | 2657607.7546 | 1269517.1176 | 2657614.0016 | 1269534.6917 | 2657609.2331 | 1269557.618
1 | 2657596.3001 | 1269506.5091 | 2657583.1669 | 1269515.2766 | 2657581.4995 | 1269516.3061
2 | 2657609.2331 | 1269557.618 | 2657603.571 | 1269561.7475
3 | 2657581.4995 | 1269516.3061 | 2657548.9648 | 1269536.3927 | 2657536.4082 | 1269542.6146
4 | 2656933.4165 | 1270487.503 | 2656932.5627 | 1270500.3711 | 2656934.2546 | 1270503.5452
5 | 2656909.1801 | 1270089.7031 | 2656933.4165 | 1270487.503
6 | 2656909.1801 | 1270089.7031 | 2656913.0799 | 1270066.0228 | 2656920.4942 | 1270033.681 | 2656936.2293 | 1269973.3316 | 2656939.0558 | 1269961.6125
7 | 2656935.6067 | 1269922.4095 | 2656941.2521 | 1269933.0941 | 2656943.132 | 1269939.4504 | 2656943.4162 | 1269943.5339 | 2656939.0558 | 1269961.6125
8 | 2656935.6067 | 1269922.4095 | 2656924.5424 | 1269912.6622 | 2656910.5801 | 1269903.0317 | 2656904.0639 | 1269899.9332 | 2656897.9807 | 1269898.7627 | 2656885.4922 | 1269898.169
9 | 2656935.6067 | 1269922.4095 | 2656951.232 | 1269929.6655 | 2656967.0322 | 1269933.6096 | 2656982.6561 | 1269936.2754
10 | 2656885.4922 | 1269898.169 | 2656876.5692 | 1269897.7447 | 2656852.5398 | 1269898.2472
11 | 2656982.6561 | 1269936.2754 | 2656988.9289 | 1269937.3457 | 2657022.7199 | 1269943.9734
12 | 2657044.3182 | 1269949.0701 | 2657034.4838 | 1269946.2808 | 2657022.7199 | 1269943.9734
13 | 2657044.3182 | 1269949.0701 | 2657057.9354 | 1269952.9323
14 | 2656953.0463 | 1269862.4236 | 2656951.7669 | 1269862.4339
15 | 2656983.2658 | 1269854.4176 | 2656979.4114 | 1269858.528 | 2656973.1578 | 1269860.9696 | 2656962.6257 | 1269862.3469 | 2656953.0463 | 1269862.4236
16 | 2657347.8615 | 1269590.6678 | 2657360.6999 | 1269588.1905 | 2657364.4452 | 1269587.1818
17 | 2657347.8615 | 1269590.6678 | 2657343.4187 | 1269601.8665 | 2657338.5558 | 1269608.6044
18 | 2657390.688 | 1269582.3429 | 2657382.0578 | 1269582.438 | 2657364.4452 | 1269587.1818
19 | 2657329.8335 | 1269620.0195 | 2657332.939 | 1269616.3868 | 2657338.5558 | 1269608.6044
20 | 2656970.4246 | 1269844.7866 | 2656950.8468 | 1269831.499 | 2656932.6921 | 1269817.3246 | 2656916.7842 | 1269801.693
21 | 2656851.7581 | 1269739.487 | 2656876.5884 | 1269759.8079 | 2656896.7222 | 1269780.2503 | 2656913.4243 | 1269798.3914 | 2656916.7842 | 1269801.693
22 | 2656970.4246 | 1269844.7866 | 2656983.2658 | 1269854.4176
23 | 2656970.4246 | 1269844.7866 | 2656984.9571 | 1269826.513 | 2656992.63 | 1269815.6815
24 | 2656851.7581 | 1269739.487 | 2656839.8343 | 1269738.4716 | 2656822.1322 | 1269737.4117 | 2656807.6403 | 1269736.6273 | 2656801.623 | 1269735.1559
25 | 2656983.2658 | 1269854.4176 | 2656992.5147 | 1269858.8591
26 | 2657011.2142 | 1269801.0581 | 2657006.7366 | 1269801.9045 | 2657002.1545 | 1269803.4392 | 2656998.1005 | 1269807.9591 | 2656992.63 | 1269815.6815
27 | 2656801.623 | 1269735.1559 | 2656795.0966 | 1269733.5601 | 2656785.5284 | 1269729.7462
28 | 2657000.0293 | 1269862.4677 | 2656992.5147 | 1269858.8591
29 | 2657011.2142 | 1269801.0581 | 2657006.1538 | 1269794.4599 | 2656977.231 | 1269771.7862 | 2656967.8602 | 1269760.3984 | 2656966.8926 | 1269758.445
30 | 2657000.0293 | 1269862.4677 | 2657023.3373 | 1269873.6605
31 | 2657142.2774 | 1269798.9333 | 2657142.5762 | 1269810.8229 | 2657143.9187 | 1269817.6623
32 | 2657146.3896 | 1269835.078 | 2657145.1434 | 1269823.902 | 2657143.9187 | 1269817.6623
33 | 2657142.2774 | 1269798.9333 | 2657133.4001 | 1269801.9546
34 | 2657142.2774 | 1269798.9333 | 2657151.9287 | 1269796.0689 | 2657157.8085 | 1269794.9472 | 2657161.5962 | 1269795.0176
35 | 2657146.5215 | 1269835.5552 | 2657146.3896 | 1269835.078
36 | 2657133.4001 | 1269801.9546 | 2657126.8697 | 1269804.1772 | 2657109.0499 | 1269811.9224
37 | 2657172.7716 | 1269795.2254 | 2657161.5962 | 1269795.0176
38 | 2657146.5215 | 1269835.5552 | 2657147.4001 | 1269838.735 | 2657144.563 | 1269862.1141 | 2657143.3197 | 1269865.1771
39 | 2657109.0499 | 1269811.9224 | 2657104.0958 | 1269814.0757 | 2657101.1156 | 1269815.2002
40 | 2657172.7716 | 1269795.2254 | 2657173.2494 | 1269793.2841 | 2657177.2765 | 1269786.8961
41 | 2657172.7716 | 1269795.2254 | 2657172.0808 | 1269798.966 | 2657172.9801 | 1269804.0007 | 2657176.2097 | 1269811.6043
42 | 2657143.3197 | 1269865.1771 | 2657140.237 | 1269872.7718
43 | 2657176.2097 | 1269811.6043 | 2657180.0077 | 1269817.4111
44 | 2657093.7026 | 1269817.9972 | 2657101.1156 | 1269815.2002
45 | 2657190.6315 | 1269777.8823 | 2657184.6001 | 1269781.2071 | 2657177.2765 | 1269786.8961
46 | 2657133.7819 | 1269902.4402 | 2657139.2445 | 1269875.2169 | 2657140.237 | 1269872.7718
47 | 2657198.7738 | 1269896.3903 | 2657196.2096 | 1269897.0177 | 2657180.0823 | 1269899.6578
48 | 2657175.6388 | 1269900.3852 | 2657180.0823 | 1269899.6578
49 | 2657167.158 | 1269901.7735 | 2657175.6388 | 1269900.3852
50 | 2657224.1453 | 1269890.1829 | 2657226.6272 | 1269897.279 | 2657228.6857 | 1269903.1679
51 | 2657224.1453 | 1269890.1829 | 2657222.1019 | 1269880.8565
52 | 2657232.411 | 1269913.8252 | 2657228.6857 | 1269903.1679
53 | 2657218.882 | 1269864.9574 | 2657221.926 | 1269880.0538 | 2657222.1019 | 1269880.8565
54 | 2657167.158 | 1269901.7735 | 2657168.6082 | 1269912.8514 | 2657170.2906 | 1269923.41
55 | 2657167.158 | 1269901.7735 | 2657148.1935 | 1269903.7027
56 | 2657232.411 | 1269913.8252 | 2657215.8459 | 1269922.0488 | 2657214.8424 | 1269923.4408
57 | 2657232.411 | 1269913.8252 | 2657235.0284 | 1269920.1331 | 2657237.4344 | 1269925.9248
58 | 2657218.882 | 1269864.9574 | 2657231.5095 | 1269857.7743 | 2657236.5462 | 1269854.6574
59 | 2657218.882 | 1269864.9574 | 2657216.8956 | 1269860.3014 | 2657213.0361 | 1269854.0482 | 2657209.6781 | 1269849.6124 | 2657207.1822 | 1269846.8145
60 | 2657171.3533 | 1269930.0799 | 2657170.2906 | 1269923.41
61 | 2657133.7819 | 1269902.4402 | 2657148.1935 | 1269903.7027
62 | 2657214.8424 | 1269923.4408 | 2657211.1251 | 1269928.5969 | 2657203.9638 | 1269943.183 | 2657203.9638 | 1269943.183
63 | 2657260.2738 | 1269958.74 | 2657255.4179 | 1269954.3786 | 2657248.07 | 1269945.5118 | 2657241.8022 | 1269935.4436 | 2657238.3445 | 1269928.1157 | 2657237.4344 | 1269925.9248
64 | 2657251.8188 | 1269845.206 | 2657236.5462 | 1269854.6574
65 | 2657261.8299 | 1269709.7677 | 2657256.7962 | 1269705.8716 | 2657246.7599 | 1269691.7749 | 2657239.1326 | 1269680.0338
66 | 2657261.8299 | 1269709.7677 | 2657271.1447 | 1269695.0691 | 2657303.8154 | 1269652.2999
67 | 2657261.8299 | 1269709.7677 | 2657259.8373 | 1269712.4802
68 | 2657329.8335 | 1269620.0195 | 2657317.0626 | 1269634.9579 | 2657303.8154 | 1269652.2999
69 | 2657259.8373 | 1269712.4802 | 2657245.9007 | 1269731.4514
70 | 2657228.3364 | 1269754.2768 | 2657233.1913 | 1269747.8968 | 2657242.2261 | 1269736.4535 | 2657245.9007 | 1269731.4514
71 | 2657228.3364 | 1269754.2768 | 2657230.3639 | 1269769.4523 | 2657232.7479 | 1269780.4503 | 2657233.5344 | 1269782.3254
72 | 2657133.7819 | 1269902.4402 | 2657119.9874 | 1269900.1184
73 | 2657113.8754 | 1269899.0897 | 2657113.8754 | 1269899.0897 | 2657119.9874 | 1269900.1184
74 | 2657086.4246 | 1269820.7433 | 2657093.7026 | 1269817.9972
75 | 2657086.4246 | 1269820.7433 | 2657086.6382 | 1269830.1197
76 | 2657086.4246 | 1269820.7433 | 2657073.6257 | 1269821.5425 | 2657066.1046 | 1269821.9925 | 2657060.93 | 1269821.7405
77 | 2657086.6382 | 1269830.1197 | 2657086.8356 | 1269838.782
78 | 2657087.1667 | 1269853.3138 | 2657086.8356 | 1269838.782
79 | 2657190.6315 | 1269777.8823 | 2657194.6203 | 1269775.6834
80 | 2657171.3533 | 1269930.0799 | 2657183.2128 | 1269936.1436 | 2657192.7322 | 1269943.6889
81 | 2657171.3533 | 1269930.0799 | 2657173.4637 | 1269940.586 | 2657180.9398 | 1269961.0848 | 2657189.3778 | 1269978.9951
82 | 2657193.2041 | 1269944.0629 | 2657192.7322 | 1269943.6889
83 | 2657211.1238 | 1270019.8189 | 2657195.7069 | 1269992.4291 | 2657189.3778 | 1269978.9951
84 | 2657113.8754 | 1269899.0897 | 2657100.7572 | 1269897.7544
85 | 2657242.8804 | 1269804.0422 | 2657239.3227 | 1269796.1258 | 2657233.5344 | 1269782.3254
86 | 2657242.8804 | 1269804.0422 | 2657247.4836 | 1269814.2852 | 2657250.154 | 1269823.1345
87 | 2657255.4019 | 1269841.1599 | 2657253.2719 | 1269833.4668 | 2657250.154 | 1269823.1345
88 | 2657100.7572 | 1269897.7544 | 2657082.4929 | 1269895.8952 | 2657064.8744 | 1269891.6886 | 2657058.2021 | 1269888.9977
89 | 2657193.2041 | 1269944.0629 | 2657194.958 | 1269945.4531 | 2657200.8271 | 1269946.9778 | 2657203.9638 | 1269943.183
90 | 2657260.2738 | 1269958.74 | 2657264.9064 | 1269956.6389
91 | 2657260.2738 | 1269958.74 | 2657276.7794 | 1269973.7112 | 2657301.8033 | 1269997.2271
92 | 2657444.9427 | 1270148.4639 | 2657425.6427 | 1270135.4443 | 2657409.0162 | 1270122.94 | 2657395.7813 | 1270110.5911 | 2657389.898 | 1270104.3626 | 2657381.8619 | 1270094.3548 | 2657363.0414 | 1270069.1197 | 2657331.2403 | 1270027.0016 | 2657320.7775 | 1270015.0578 | 2657301.8033 | 1269997.2271
93 | 2657278.1975 | 1270117.5052 | 2657268.2316 | 1270102.5588 | 2657259.1486 | 1270089.9826
94 | 2657281.3357 | 1270122.2117 | 2657278.1975 | 1270117.5052
95 | 2657258.1819 | 1270088.6442 | 2657259.1486 | 1270089.9826
96 | 2657281.3357 | 1270122.2117 | 2657279.2893 | 1270123.7486 | 2657276.7413 | 1270125.8143 | 2657271.1503 | 1270127.4392 | 2657266.6482 | 1270125.4051 | 2657252.7315 | 1270111.6766
97 | 2657258.1819 | 1270088.6442 | 2657236.3666 | 1270058.4391 | 2657235.0689 | 1270056.5865
98 | 2657228.5379 | 1270097.1695 | 2657237.0296 | 1270100.2659 | 2657249.2538 | 1270108.2459 | 2657252.7315 | 1270111.6766
99 | 2657235.0689 | 1270056.5865 | 2657222.7539 | 1270039.0054
100 | 2657174.3888 | 1270070.8113 | 2657176.174 | 1270074.0905 | 2657184.5173 | 1270081.9327 | 2657200.0103 | 1270088.7989 | 2657224.0291 | 1270095.5253 | 2657228.5379 | 1270097.1695
101 | 2657211.1238 | 1270019.8189 | 2657218.5258 | 1270032.9694 | 2657222.7539 | 1270039.0054
102 | 2657174.3888 | 1270070.8113 | 2657173.0765 | 1270068.4007 | 2657167.5375 | 1270053.7805 | 2657162.5384 | 1270037.7868 | 2657160.4604 | 1270031.1035
103 | 2657023.3373 | 1269873.6605 | 2657039.9311 | 1269881.6291 | 2657058.2021 | 1269888.9977
104 | 2657160.4604 | 1270031.1035 | 2657155.6064 | 1270015.4919 | 2657141.1272 | 1269999.4731 | 2657126.4329 | 1269987.0106 | 2657115.9503 | 1269979.0083
105 | 2657115.9503 | 1269979.0083 | 2657113.9076 | 1269977.449 | 2657094.9333 | 1269965.8955
106 | 2657077.6187 | 1269959.2555 | 2657094.1454 | 1269965.4157 | 2657094.9333 | 1269965.8955
107 | 2657077.6187 | 1269959.2555 | 2657069.3076 | 1269956.1577 | 2657057.9354 | 1269952.9323
108 | 2657255.4019 | 1269841.1599 | 2657251.8188 | 1269845.206
109 | 2657251.8188 | 1269845.206 | 2657262.6903 | 1269857.5979
110 | 2657255.4019 | 1269841.1599 | 2657266.8148 | 1269838.9688 | 2657273.4682 | 1269839.5448
111 | 2657262.6903 | 1269857.5979 | 2657267.2758 | 1269862.8245 | 2657283 | 1269868.4975
112 | 2657459.7455 | 1270166.666 | 2657449.2171 | 1270158.4241 | 2657444.9427 | 1270148.4639
113 | 2657459.7455 | 1270166.666 | 2657466.9289 | 1270172.2734 | 2657482.6933 | 1270185.9815 | 2657490.5201 | 1270192.7182 | 2657526.0201 | 1270237.2306 | 2657529.9461 | 1270242.8434
114 | 2657459.7455 | 1270166.666 | 2657456.0302 | 1270185.0771 | 2657455.684 | 1270202.876 | 2657456.6398 | 1270210.58 | 2657462.698 | 1270222.7926 | 2657464.1407 | 1270225.3018
115 | 2657535.2942 | 1270252.1766 | 2657532.2458 | 1270246.1312 | 2657529.9461 | 1270242.8434
116 | 2657520.9965 | 1270374.4964 | 2657535.8341 | 1270276.3 | 2657537.5342 | 1270263.974 | 2657535.2942 | 1270252.1766
117 | 2657535.2942 | 1270252.1766 | 2657550.7807 | 1270256.5307 | 2657581.102 | 1270268.8019 | 2657602.2605 | 1270275.5465 | 2657618.1601 | 1270277.6476 | 2657646.2187 | 1270278.8999 | 2657650.0551 | 1270279.1579
118 | 2657520.9965 | 1270374.4964 | 2657516.9948 | 1270382.1299 | 2657511.3368 | 1270407.2818
119 | 2657511.3368 | 1270407.2818 | 2657497.9796 | 1270466.6595
120 | 2657497.9796 | 1270466.6595 | 2657497.6672 | 1270468.0481
121 | 2657494.1423 | 1270483.7175 | 2657497.6672 | 1270468.0481
122 | 2657494.1423 | 1270483.7175 | 2657490.2188 | 1270498.8763
123 | 2657536.4082 | 1269542.6146 | 2657525.0641 | 1269548.2356 | 2657517.9508 | 1269551.6396
124 | 2657517.3786 | 1269551.9133 | 2657517.9508 | 1269551.6396
125 | 2657507.868 | 1269556.4644 | 2657517.3786 | 1269551.9133
126 | 2657507.868 | 1269556.4644 | 2657502.2912 | 1269559.1331
127 | 2657480.8755 | 1269568.9539 | 2657490.2889 | 1269564.8765 | 2657490.5037 | 1269564.7737
128 | 2657480.8755 | 1269568.9539 | 2657474.5221 | 1269571.7058
129 | 2657498.2849 | 1269561.0502 | 2657490.5037 | 1269564.7737
130 | 2657463.5996 | 1269576.4367 | 2657463.5996 | 1269576.4367 | 2657474.5221 | 1269571.7058
131 | 2657498.2849 | 1269561.0502 | 2657502.2912 | 1269559.1331
132 | 2657463.5996 | 1269576.4367 | 2657459.84 | 1269577.633
133 | 2657440.6087 | 1269583.7521 | 2657459.84 | 1269577.633
134 | 2657440.6087 | 1269583.7521 | 2657423.7871 | 1269584.5874
135 | 2657440.6087 | 1269583.7521 | 2657441.0551 | 1269591.2287 | 2657440.332 | 1269598.2714 | 2657435.5103 | 1269609.7221 | 2657430.842 | 1269616.2261 | 2657424.0985 | 1269621.0308 | 2657415.325 | 1269626.4386 | 2657414.0909 | 1269627.3056
136 | 2657399.5892 | 1269637.494 | 2657408.82 | 1269631.0088
137 | 2657399.5892 | 1269637.494 | 2657399.5892 | 1269637.494 | 2657391.8843 | 1269644.8569
138 | 2657408.82 | 1269631.0088 | 2657414.0909 | 1269627.3056
139 | 2657391.5724 | 1269645.155 | 2657391.8843 | 1269644.8569
140 | 2657391.5724 | 1269645.155 | 2657376.9845 | 1269659.0953
141 | 2657376.9845 | 1269659.0953 | 2657360.9935 | 1269674.3765
142 | 2657401.1219 | 1269582.7566 | 2657421.1332 | 1269584.7192 | 2657423.7871 | 1269584.5874
143 | 2657401.1219 | 1269582.7566 | 2657393.3233 | 1269582.3139 | 2657390.688 | 1269582.3429
144 | 2657296.7426 | 1269856.3305 | 2657295.7621 | 1269855.8732 | 2657285.5246 | 1269849.3579 | 2657280.5947 | 1269843.3167 | 2657273.4682 | 1269839.5448
145 | 2657304.5883 | 1269876.9462 | 2657291.7266 | 1269871.6459 | 2657283 | 1269868.4975
146 | 2657312.1835 | 1269880.0762 | 2657304.5883 | 1269876.9462
147 | 2657312.1835 | 1269880.0762 | 2657335.4703 | 1269889.6726 | 2657340.3644 | 1269891.6218

## bus_geodata
| x | y | coords
0 | 2657596.3001 | 1269506.5091
1 | 2657609.2331 | 1269557.618
2 | 2657581.4995 | 1269516.3061
3 | 2656934.2546 | 1270503.5452
4 | 2656933.4165 | 1270487.503
5 | 2656909.1801 | 1270089.7031
6 | 2656939.0558 | 1269961.6125
7 | 2656935.6067 | 1269922.4095
8 | 2656885.4922 | 1269898.169
9 | 2656982.6561 | 1269936.2754
10 | 2656852.5398 | 1269898.2472
11 | 2657022.7199 | 1269943.9734
12 | 2657044.3182 | 1269949.0701
13 | 2656951.7669 | 1269862.4339
14 | 2656953.0463 | 1269862.4236
15 | 2657347.8615 | 1269590.6678
16 | 2657364.4452 | 1269587.1818
17 | 2657338.5558 | 1269608.6044
18 | 2656916.7842 | 1269801.693
19 | 2656970.4246 | 1269844.7866
20 | 2656851.7581 | 1269739.487
21 | 2656983.2658 | 1269854.4176
22 | 2656992.63 | 1269815.6815
23 | 2656801.623 | 1269735.1559
24 | 2656992.5147 | 1269858.8591
25 | 2657011.2142 | 1269801.0581
26 | 2656785.5284 | 1269729.7462
27 | 2657000.0293 | 1269862.4677
28 | 2656966.8926 | 1269758.445
29 | 2657143.9187 | 1269817.6623
30 | 2657142.2774 | 1269798.9333
31 | 2657146.3896 | 1269835.078
32 | 2657133.4001 | 1269801.9546
33 | 2657161.5962 | 1269795.0176
34 | 2657146.5215 | 1269835.5552
35 | 2657109.0499 | 1269811.9224
36 | 2657172.7716 | 1269795.2254
37 | 2657143.3197 | 1269865.1771
38 | 2657176.2097 | 1269811.6043
39 | 2657180.0077 | 1269817.4111
40 | 2657101.1156 | 1269815.2002
41 | 2657177.2765 | 1269786.8961
42 | 2657140.237 | 1269872.7718
43 | 2657198.7738 | 1269896.3903
44 | 2657180.0823 | 1269899.6578
45 | 2657175.6388 | 1269900.3852
46 | 2657224.1453 | 1269890.1829
47 | 2657228.6857 | 1269903.1679
48 | 2657222.1019 | 1269880.8565
49 | 2657167.158 | 1269901.7735
50 | 2657232.411 | 1269913.8252
51 | 2657218.882 | 1269864.9574
52 | 2657170.2906 | 1269923.41
53 | 2657148.1935 | 1269903.7027
54 | 2657214.8424 | 1269923.4408
55 | 2657237.4344 | 1269925.9248
56 | 2657236.5462 | 1269854.6574
57 | 2657207.1822 | 1269846.8145
58 | 2657239.1326 | 1269680.0338
59 | 2657261.8299 | 1269709.7677
60 | 2657303.8154 | 1269652.2999
61 | 2657259.8373 | 1269712.4802
62 | 2657329.8335 | 1269620.0195
63 | 2657245.9007 | 1269731.4514
64 | 2657228.3364 | 1269754.2768
65 | 2657133.7819 | 1269902.4402
66 | 2657119.9874 | 1269900.1184
67 | 2657093.7026 | 1269817.9972
68 | 2657086.4246 | 1269820.7433
69 | 2657086.6382 | 1269830.1197
70 | 2657060.93 | 1269821.7405
71 | 2657086.8356 | 1269838.782
72 | 2657087.1667 | 1269853.3138
73 | 2657190.6315 | 1269777.8823
74 | 2657194.6203 | 1269775.6834
75 | 2657171.3533 | 1269930.0799
76 | 2657192.7322 | 1269943.6889
77 | 2657189.3778 | 1269978.9951
78 | 2657113.8754 | 1269899.0897
79 | 2657233.5344 | 1269782.3254
80 | 2657242.8804 | 1269804.0422
81 | 2657250.154 | 1269823.1345
82 | 2657100.7572 | 1269897.7544
83 | 2657203.9638 | 1269943.183
84 | 2657260.2738 | 1269958.74
85 | 2657193.2041 | 1269944.0629
86 | 2657264.9064 | 1269956.6389
87 | 2657301.8033 | 1269997.2271
88 | 2657278.1975 | 1270117.5052
89 | 2657259.1486 | 1270089.9826
90 | 2657281.3357 | 1270122.2117
91 | 2657258.1819 | 1270088.6442
92 | 2657252.7315 | 1270111.6766
93 | 2657235.0689 | 1270056.5865
94 | 2657228.5379 | 1270097.1695
95 | 2657222.7539 | 1270039.0054
96 | 2657174.3888 | 1270070.8113
97 | 2657023.3373 | 1269873.6605
98 | 2657058.2021 | 1269888.9977
99 | 2657160.4604 | 1270031.1035
100 | 2657115.9503 | 1269979.0083
101 | 2657094.9333 | 1269965.8955
102 | 2657077.6187 | 1269959.2555
103 | 2657057.9354 | 1269952.9323
104 | 2657211.1238 | 1270019.8189
105 | 2657251.8188 | 1269845.206
106 | 2657255.4019 | 1269841.1599
107 | 2657262.6903 | 1269857.5979
108 | 2657444.9427 | 1270148.4639
109 | 2657459.7455 | 1270166.666
110 | 2657529.9461 | 1270242.8434
111 | 2657464.1407 | 1270225.3018
112 | 2657535.2942 | 1270252.1766
113 | 2657520.9965 | 1270374.4964
114 | 2657650.0551 | 1270279.1579
115 | 2657511.3368 | 1270407.2818
116 | 2657497.9796 | 1270466.6595
117 | 2657497.6672 | 1270468.0481
118 | 2657494.1423 | 1270483.7175
119 | 2657490.2188 | 1270498.8763
120 | 2657536.4082 | 1269542.6146
121 | 2657517.9508 | 1269551.6396
122 | 2657517.3786 | 1269551.9133
123 | 2657603.571 | 1269561.7475
124 | 2657507.868 | 1269556.4644
125 | 2657480.8755 | 1269568.9539
126 | 2657490.5037 | 1269564.7737
127 | 2657474.5221 | 1269571.7058
128 | 2657498.2849 | 1269561.0502
129 | 2657463.5996 | 1269576.4367
130 | 2657502.2912 | 1269559.1331
131 | 2657459.84 | 1269577.633
132 | 2657440.6087 | 1269583.7521
133 | 2657399.5892 | 1269637.494
134 | 2657408.82 | 1269631.0088
135 | 2657391.8843 | 1269644.8569
136 | 2657414.0909 | 1269627.3056
137 | 2657391.5724 | 1269645.155
138 | 2657376.9845 | 1269659.0953
139 | 2657423.7871 | 1269584.5874
140 | 2657360.9935 | 1269674.3765
141 | 2657401.1219 | 1269582.7566
142 | 2657390.688 | 1269582.3429
143 | 2657273.4682 | 1269839.5448
144 | 2657283 | 1269868.4975
145 | 2657296.7426 | 1269856.3305
146 | 2657304.5883 | 1269876.9462
147 | 2657312.1835 | 1269880.0762
148 | 2657340.3644 | 1269891.6218
149 | 2657255.4019 | 1269841.1599

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1