## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4313-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4313-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4313-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4313-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4313-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4313-7_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_4313-7_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_4313-7_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_4313-7_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_4313-7_0_4_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_4313-7_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4313-7_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4313-7_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4313-7_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_4313-7_0_4_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_4313-7_0_4_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_4313-7_0_4_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_4313-7_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_4313-7_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4313-7_0_4_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_4313-7_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4313-7_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_4313-7_0_4_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_4313-7_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_4313-7_0_4_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_4313-7_0_4_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_4313-7_0_4_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_4313-7_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_4313-7_0_4_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_4313-7_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4313-7_0_4_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_4313-7_0_4_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_4313-7_0_4_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_4313-7_0_4_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_4313-7_0_4_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_4313-7_0_4_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_4313-7_0_4_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_4313-7_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_4313-7_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_4313-7_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_4313-7_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_4313-7_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_4313-7_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_4313-7_0_4_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_4313-7_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_4313-7_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_4313-7_0_4_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_4313-7_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_4313-7_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4313-7_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_4313-7_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_4313-7_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_4313-7_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_4313-7_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_4313-7_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_4313-7_0_4_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_4313-7_0_4_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_4313-7_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_4313-7_0_4_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_4313-7_0_4_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_4313-7_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_4313-7_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_4313-7_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_4313-7_0_4_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_4313-7_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_4313-7_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_4313-7_0_4_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_4313-7_0_4_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_4313-7_0_4_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_4313-7_0_4_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_4313-7_0_4_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_4313-7_0_4_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_4313-7_0_4_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_4313-7_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_4313-7_0_4_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_4313-7_0_4_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_4313-7_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_4313-7_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_4313-7_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_4313-7_0_4_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_4313-7_0_4_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_4313-7_0_4_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_4313-7_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_4313-7_0_4_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_4313-7_0_4_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_4313-7_0_4_node_76 | 0.4 | n |  | TRUE
86 | bus_MV_486_1_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4313-7_0_4_load_0 | 0 | 0.0017056 | 0.00042746 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4313-7_0_4_load_1 | 1 | 0.001613 | 0.00040426 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4313-7_0_4_load_3 | 3 | 0.0029215 | 0.00073219 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4313-7_0_4_load_4 | 4 | 0.00096402 | 0.00024161 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4313-7_0_4_load_11 | 8 | 0.0019909 | 0.00049896 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4313-7_0_4_load_64 | 9 | 0.0084467 | 0.0021169 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4313-7_0_4_load_5 | 10 | 0.004566 | 0.0011443 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4313-7_0_4_load_15 | 13 | 0.021543 | 0.0053991 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4313-7_0_4_load_57 | 16 | 0.00091566 | 0.00022949 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4313-7_0_4_load_56 | 19 | 0.002597 | 0.00065087 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4313-7_0_4_load_90 | 22 | 0.0049095 | 0.0012304 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4313-7_0_4_load_83 | 25 | 0.0049574 | 0.0012424 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4313-7_0_4_load_73 | 26 | 0.001405 | 0.00035212 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4313-7_0_4_load_60 | 30 | 0.0022034 | 0.00055223 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4313-7_0_4_load_59 | 31 | 0.00047185 | 0.00011826 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4313-7_0_4_load_55 | 32 | 0.0005197 | 0.00013025 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4313-7_0_4_load_72 | 33 | 0.0018081 | 0.00045315 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4313-7_0_4_load_71 | 34 | 0.0023099 | 0.00057892 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4313-7_0_4_load_75 | 35 | 0.0037604 | 0.00094244 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4313-7_0_4_load_91 | 36 | 0.021977 | 0.0055079 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4313-7_0_4_load_47 | 37 | 0.001044 | 0.00026165 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4313-7_0_4_load_27 | 38 | 0.0041169 | 0.0010318 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4313-7_0_4_load_28 | 39 | 0.0024133 | 0.00060482 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4313-7_0_4_load_29 | 40 | 0.00165 | 0.00041353 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4313-7_0_4_load_30 | 41 | 0.003276 | 0.00082105 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4313-7_0_4_load_31 | 42 | 0.00152 | 0.00038095 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4313-7_0_4_load_61 | 43 | 0.002587 | 0.00064837 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4313-7_0_4_load_48 | 44 | 0.00042266 | 0.00010593 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4313-7_0_4_load_44 | 45 | 0.0015211 | 0.00038123 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4313-7_0_4_load_70 | 46 | 0.0026427 | 0.00066233 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4313-7_0_4_load_32 | 48 | 0.0084524 | 0.0021184 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4313-7_0_4_load_33 | 49 | 0.0054361 | 0.0013624 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4313-7_0_4_load_34 | 50 | 0.00070709 | 0.00017721 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4313-7_0_4_load_36 | 52 | 0.00066641 | 0.00016702 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4313-7_0_4_load_43 | 53 | 0.0012917 | 0.00032373 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4313-7_0_4_load_40 | 54 | 0.0014784 | 0.00037052 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4313-7_0_4_load_66 | 55 | 0.0011034 | 0.00027653 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4313-7_0_4_load_62 | 56 | 0.00088317 | 0.00022134 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4313-7_0_4_load_41 | 57 | 0.0018184 | 0.00045573 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4313-7_0_4_load_65 | 58 | 0.0027529 | 0.00068995 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4313-7_0_4_load_37 | 59 | 0.0014025 | 0.00035151 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4313-7_0_4_load_38 | 60 | 0.00055624 | 0.00013941 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4313-7_0_4_load_39 | 61 | 0.0015779 | 0.00039546 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4313-7_0_4_load_42 | 63 | 0.0024909 | 0.00062428 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4313-7_0_4_load_58 | 64 | 0.0014371 | 0.00036017 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4313-7_0_4_load_63 | 65 | 0.0010608 | 0.00026586 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4313-7_0_4_load_81 | 66 | 0.00097626 | 0.00024467 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4313-7_0_4_load_79 | 67 | 0.00097104 | 0.00024337 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4313-7_0_4_load_85 | 68 | 0.0018663 | 0.00046773 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4313-7_0_4_load_80 | 69 | 0.0010692 | 0.00026796 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4313-7_0_4_load_49 | 70 | 0.0023241 | 0.00058248 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4313-7_0_4_load_52 | 73 | 0.0024327 | 0.00060969 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4313-7_0_4_load_53 | 74 | 0.0040633 | 0.0010184 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4313-7_0_4_load_54 | 75 | 0.002698 | 0.00067619 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4313-7_0_4_load_68 | 77 | 0.0031711 | 0.00079476 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4313-7_0_4_load_69 | 78 | 0.0020608 | 0.00051649 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4313-7_0_4_load_82 | 79 | 0.0036051 | 0.00090352 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4313-7_0_4_load_87 | 80 | 0.00090854 | 0.0002277 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4313-7_0_4_load_88 | 81 | 0.00056936 | 0.00014269 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4313-7_0_4_load_78 | 82 | 0.00056936 | 0.00014269 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4313-7_0_4_load_89 | 83 | 0.0020581 | 0.0005158 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4313-7_0_4_load_74 | 84 | 0.017024 | 0.0042665 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4313-7_0_4_load_76 | 85 | 0.00056965 | 0.00014277 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4313-7_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4313-7_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.034167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4313-7_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.024803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4313-7_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.03379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4313-7_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4313-7_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.010266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4313-7_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.008496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4313-7_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0077365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4313-7_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.023147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4313-7_0_4_line_9 | NAYY 4x150 SE | 7 | 33 | 0.023573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_4313-7_0_4_line_10 | NAYY 4x150 SE | 8 | 20 | 0.023766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4313-7_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.035049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4313-7_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.007557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4313-7_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.033373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4313-7_0_4_line_14 | NAYY 4x150 SE | 13 | 20 | 0.052169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4313-7_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.040796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4313-7_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0028308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4313-7_0_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.067453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4313-7_0_4_line_18 | NAYY 4x150 SE | 15 | 32 | 0.035736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4313-7_0_4_line_19 | NAYY 4x150 SE | 15 | 29 | 0.045963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4313-7_0_4_line_20 | NAYY 4x150 SE | 17 | 21 | 0.040093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4313-7_0_4_line_21 | NAYY 4x150 SE | 17 | 22 | 0.0093027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4313-7_0_4_line_22 | NAYY 4x150 SE | 18 | 19 | 0.014594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4313-7_0_4_line_23 | NAYY 4x150 SE | 18 | 20 | 0.019586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4313-7_0_4_line_24 | NAYY 4x150 SE | 21 | 26 | 0.0073583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4313-7_0_4_line_25 | NAYY 4x150 SE | 23 | 24 | 0.080113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4313-7_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.051677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4313-7_0_4_line_27 | NAYY 4x150 SE | 24 | 36 | 0.030192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4313-7_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.065419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_4313-7_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.026909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_4313-7_0_4_line_30 | NAYY 4x150 SE | 28 | 35 | 0.048551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_4313-7_0_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.02098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4313-7_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.011797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4313-7_0_4_line_33 | NAYY 4x150 SE | 31 | 37 | 0.0041936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4313-7_0_4_line_34 | NAYY 4x150 SE | 33 | 34 | 0.0023845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_4313-7_0_4_line_35 | NAYY 4x150 SE | 34 | 64 | 0.017574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_4313-7_0_4_line_36 | NAYY 4x150 SE | 35 | 84 | 0.010481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_4313-7_0_4_line_37 | NAYY 4x150 SE | 37 | 47 | 0.014181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4313-7_0_4_line_38 | NAYY 4x150 SE | 38 | 39 | 0.019665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_4313-7_0_4_line_39 | NAYY 4x150 SE | 38 | 40 | 0.0031408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4313-7_0_4_line_40 | NAYY 4x150 SE | 39 | 41 | 0.011104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_4313-7_0_4_line_41 | NAYY 4x150 SE | 40 | 42 | 0.026281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_4313-7_0_4_line_42 | NAYY 4x150 SE | 41 | 43 | 0.0076294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_4313-7_0_4_line_43 | NAYY 4x150 SE | 42 | 44 | 0.021653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4313-7_0_4_line_44 | NAYY 4x150 SE | 42 | 45 | 0.022729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_4313-7_0_4_line_45 | NAYY 4x150 SE | 43 | 46 | 0.012824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_4313-7_0_4_line_46 | NAYY 4x150 SE | 45 | 47 | 0.014333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_4313-7_0_4_line_47 | NAYY 4x150 SE | 46 | 75 | 0.027911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_4313-7_0_4_line_48 | NAYY 4x150 SE | 47 | 62 | 0.031405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_4313-7_0_4_line_49 | NAYY 4x150 SE | 47 | 61 | 0.016252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4313-7_0_4_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0032689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_4313-7_0_4_line_51 | NAYY 4x150 SE | 48 | 50 | 0.011586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_4313-7_0_4_line_52 | NAYY 4x150 SE | 49 | 51 | 0.018767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_4313-7_0_4_line_53 | NAYY 4x150 SE | 50 | 52 | 0.0075247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_4313-7_0_4_line_54 | NAYY 4x150 SE | 51 | 53 | 0.014457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4313-7_0_4_line_55 | NAYY 4x150 SE | 51 | 54 | 0.048716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_4313-7_0_4_line_56 | NAYY 4x150 SE | 52 | 55 | 0.02221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_4313-7_0_4_line_57 | NAYY 4x150 SE | 53 | 56 | 0.013414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4313-7_0_4_line_58 | NAYY 4x150 SE | 54 | 57 | 0.0030273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_4313-7_0_4_line_59 | NAYY 4x150 SE | 55 | 58 | 0.010158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_4313-7_0_4_line_60 | NAYY 4x150 SE | 56 | 65 | 0.0060985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4313-7_0_4_line_61 | NAYY 4x150 SE | 57 | 63 | 0.009948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_4313-7_0_4_line_62 | NAYY 4x150 SE | 58 | 73 | 0.011912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_4313-7_0_4_line_63 | NAYY 4x150 SE | 59 | 60 | 0.011609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4313-7_0_4_line_64 | NAYY 4x150 SE | 60 | 61 | 0.010818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4313-7_0_4_line_65 | NAYY 4x150 SE | 62 | 66 | 0.00048299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_4313-7_0_4_line_66 | NAYY 4x150 SE | 62 | 67 | 0.019375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4313-7_0_4_line_67 | NAYY 4x150 SE | 63 | 64 | 0.0023334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_4313-7_0_4_line_68 | NAYY 4x150 SE | 65 | 79 | 0.0043204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4313-7_0_4_line_69 | NAYY 4x150 SE | 66 | 68 | 0.017466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4313-7_0_4_line_70 | NAYY 4x150 SE | 67 | 69 | 0.020238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4313-7_0_4_line_71 | NAYY 4x150 SE | 70 | 71 | 0.01183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_4313-7_0_4_line_72 | NAYY 4x150 SE | 70 | 72 | 0.036506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_4313-7_0_4_line_73 | NAYY 4x150 SE | 71 | 73 | 0.027289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_4313-7_0_4_line_74 | NAYY 4x150 SE | 72 | 74 | 0.020406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_4313-7_0_4_line_75 | NAYY 4x150 SE | 72 | 75 | 0.014149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_4313-7_0_4_line_76 | NAYY 4x150 SE | 74 | 76 | 0.042168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_4313-7_0_4_line_77 | NAYY 4x150 SE | 76 | 77 | 0.036242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_4313-7_0_4_line_78 | NAYY 4x150 SE | 76 | 78 | 0.019497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4313-7_0_4_line_79 | NAYY 4x150 SE | 77 | 80 | 0.064472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_4313-7_0_4_line_80 | NAYY 4x150 SE | 78 | 81 | 0.022066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4313-7_0_4_line_81 | NAYY 4x150 SE | 80 | 82 | 0.023716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_4313-7_0_4_line_82 | NAYY 4x150 SE | 81 | 83 | 0.0020625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4313-7_0_4_line_83 | NAYY 4x150 SE | 82 | 85 | 0.00070406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_4313-7_0_4_line_84 | NAYY 4x150 SE | 84 | 85 | 0.051137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4313-7_0_4_trafo_81 | 0.25 MVA 20/0.4 kV | 86 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2658367.4163 | 1270287.3183 | 2658365.2814 | 1270302.7852
1 | 2658361.3381 | 1270336.7068 | 2658362.0839 | 1270325.9504 | 2658365.2814 | 1270302.7852
2 | 2658361.3381 | 1270336.7068 | 2658375.4898 | 1270334.4448 | 2658385.9153 | 1270333.464
3 | 2658361.3381 | 1270336.7068 | 2658356.2626 | 1270337.9354 | 2658336.9985 | 1270344.3945 | 2658329.5485 | 1270347.9376
4 | 2658402.442 | 1270331.9092 | 2658385.9153 | 1270333.464
5 | 2658320.2777 | 1270352.3466 | 2658329.5485 | 1270347.9376
6 | 2658402.2978 | 1270340.4031 | 2658402.442 | 1270331.9092
7 | 2658402.442 | 1270331.9092 | 2658410.1444 | 1270331.1837
8 | 2658320.2777 | 1270352.3466 | 2658307.6709 | 1270359.6944 | 2658300.3298 | 1270364.0865
9 | 2658402.2978 | 1270340.4031 | 2658399.5678 | 1270347.1368 | 2658390.7916 | 1270360.8802
10 | 2658432.0213 | 1270323.1505 | 2658428.0268 | 1270326.1355 | 2658422.7805 | 1270328.6522 | 2658416.7577 | 1270330.5608 | 2658410.1444 | 1270331.1837
11 | 2658454.327 | 1270235.9274 | 2658419.4889 | 1270232.0922
12 | 2658453.9363 | 1270243.4737 | 2658454.327 | 1270235.9274
13 | 2658453.9363 | 1270243.4737 | 2658452.8956 | 1270254.3605 | 2658451.8459 | 1270266.159 | 2658450.7484 | 1270276.6933
14 | 2658432.0213 | 1270323.1505 | 2658440.7442 | 1270315.2419 | 2658444.418 | 1270309.6963 | 2658446.4592 | 1270304.1345 | 2658447.4295 | 1270300.3634 | 2658449.2687 | 1270290.8967 | 2658450.7484 | 1270276.6933
15 | 2658489.3425 | 1270460.0211 | 2658493.3313 | 1270469.7568 | 2658483.8314 | 1270477.1239 | 2658491.0836 | 1270493.8751
16 | 2658489.3425 | 1270460.0211 | 2658488.2679 | 1270457.4022
17 | 2658489.3425 | 1270460.0211 | 2658495.5361 | 1270456.8022 | 2658509.1911 | 1270449.9766 | 2658504.841 | 1270441.0157 | 2658526.0154 | 1270430.0615 | 2658536.1709 | 1270424.8693
18 | 2658491.0836 | 1270493.8751 | 2658463.5109 | 1270516.6083
19 | 2658461.9727 | 1270494.1539 | 2658483.8314 | 1270477.1239 | 2658491.0836 | 1270493.8751
20 | 2658525.8726 | 1270395.1225 | 2658528.8569 | 1270399.9335 | 2658521.2889 | 1270413.5355 | 2658531.8394 | 1270420.1117 | 2658536.1709 | 1270424.8693
21 | 2658536.1709 | 1270424.8693 | 2658541.454 | 1270417.2123
22 | 2658433.3115 | 1270337.9856 | 2658437.1055 | 1270341.5703 | 2658440.5056 | 1270346.9524 | 2658441.6867 | 1270349.7189
23 | 2658433.3115 | 1270337.9856 | 2658438.9417 | 1270333.171 | 2658432.0213 | 1270323.1505
24 | 2658525.8726 | 1270395.1225 | 2658529.9135 | 1270388.973
25 | 2658576.8978 | 1270455.7517 | 2658585.5584 | 1270456.4048 | 2658591.7432 | 1270456.3549 | 2658595.1454 | 1270453.9201 | 2658600.2238 | 1270452.3916 | 2658602.9167 | 1270453.2078 | 2658606.3615 | 1270457.8454 | 2658611.0168 | 1270464.8414 | 2658617.3761 | 1270469.9527 | 2658618.3661 | 1270472.5423 | 2658620.8648 | 1270481.5406 | 2658623.2897 | 1270486.6129 | 2658626.8443 | 1270490.7958 | 2658628.591 | 1270495.9726 | 2658628.3528 | 1270497.994
26 | 2658576.8978 | 1270455.7517 | 2658561.8439 | 1270465.5544 | 2658548.8713 | 1270473.3651 | 2658550.241 | 1270480.1505 | 2658552.8293 | 1270491.5069
27 | 2658628.3528 | 1270497.994 | 2658625.0159 | 1270501.4301 | 2658620.147 | 1270504.5842 | 2658616.8575 | 1270507.7985 | 2658614.6971 | 1270510.19 | 2658611.3576 | 1270511.6135 | 2658606.7523 | 1270510.9562 | 2658603.4476 | 1270509.6335
28 | 2658526.7309 | 1270529.4216 | 2658544.1144 | 1270521.3765 | 2658564.6632 | 1270512.0286 | 2658552.8293 | 1270491.5069
29 | 2658526.7309 | 1270529.4216 | 2658537.357 | 1270554.1566
30 | 2658537.357 | 1270554.1566 | 2658528.8079 | 1270558.2084 | 2658498.1074 | 1270582.4056
31 | 2658461.9727 | 1270494.1539 | 2658445.4074 | 1270507.0289
32 | 2658461.9727 | 1270494.1539 | 2658454.5652 | 1270484.9719
33 | 2658454.5652 | 1270484.9719 | 2658451.9321 | 1270481.708
34 | 2658390.7916 | 1270360.8802 | 2658389.5083 | 1270362.8899
35 | 2658380.1233 | 1270377.7477 | 2658382.725 | 1270373.5125 | 2658389.5083 | 1270362.8899
36 | 2658489.8761 | 1270588.8933 | 2658498.1074 | 1270582.4056
37 | 2658443.0279 | 1270470.6709 | 2658451.9321 | 1270481.708
38 | 2658375.8353 | 1270524.5533 | 2658391.3276 | 1270512.442
39 | 2658393.7792 | 1270510.4796 | 2658393.1472 | 1270511.0195 | 2658391.3276 | 1270512.442
40 | 2658375.8353 | 1270524.5533 | 2658367.0876 | 1270531.3919
41 | 2658413.7625 | 1270493.4099 | 2658393.7792 | 1270510.4796
42 | 2658367.0876 | 1270531.3919 | 2658361.077 | 1270536.0908
43 | 2658413.7625 | 1270493.4099 | 2658426.9037 | 1270510.6186
44 | 2658413.7625 | 1270493.4099 | 2658431.7101 | 1270479.4648
45 | 2658350.9739 | 1270543.989 | 2658361.077 | 1270536.0908
46 | 2658443.0279 | 1270470.6709 | 2658431.7101 | 1270479.4648
47 | 2658329.1633 | 1270561.4041 | 2658347.1322 | 1270546.9922 | 2658350.9739 | 1270543.989
48 | 2658443.0279 | 1270470.6709 | 2658423.6442 | 1270445.9161
49 | 2658443.0279 | 1270470.6709 | 2658455.2261 | 1270459.9314
50 | 2658336.6994 | 1270448.2374 | 2658334.9731 | 1270451.0133
51 | 2658328.8548 | 1270460.8516 | 2658334.9731 | 1270451.0133
52 | 2658346.6103 | 1270432.3003 | 2658336.6994 | 1270448.2374
53 | 2658324.9919 | 1270467.3058 | 2658325.992 | 1270465.4552 | 2658328.8548 | 1270460.8516
54 | 2658346.6103 | 1270432.3003 | 2658352.9814 | 1270445.2774
55 | 2658346.6103 | 1270432.3003 | 2658372.1101 | 1270390.7916
56 | 2658324.9919 | 1270467.3058 | 2658314.4333 | 1270486.8454
57 | 2658352.9814 | 1270445.2774 | 2658358.8928 | 1270457.3182
58 | 2658372.1101 | 1270390.7916 | 2658373.6947 | 1270388.2121
59 | 2658309.6044 | 1270495.7817 | 2658314.4333 | 1270486.8454
60 | 2658361.5804 | 1270462.7925 | 2658358.8928 | 1270457.3182
61 | 2658373.6947 | 1270388.2121 | 2658378.9019 | 1270379.7359
62 | 2658309.6044 | 1270495.7817 | 2658303.9415 | 1270506.2613
63 | 2658463.3454 | 1270452.783 | 2658472.0584 | 1270445.1118
64 | 2658463.3454 | 1270452.783 | 2658455.2261 | 1270459.9314
65 | 2658423.2683 | 1270446.2194 | 2658423.6442 | 1270445.9161
66 | 2658423.6442 | 1270445.9161 | 2658438.779 | 1270433.82
67 | 2658380.1233 | 1270377.7477 | 2658378.9019 | 1270379.7359
68 | 2658363.4844 | 1270466.6707 | 2658361.5804 | 1270462.7925
69 | 2658409.6744 | 1270457.1865 | 2658423.2683 | 1270446.2194
70 | 2658438.779 | 1270433.82 | 2658444.3546 | 1270429.3639 | 2658444.8927 | 1270425.1661 | 2658441.7693 | 1270416.8665
71 | 2658290.97 | 1270530.2698 | 2658297.6163 | 1270540.0566
72 | 2658318.1257 | 1270570.2568 | 2658297.6163 | 1270540.0566
73 | 2658290.97 | 1270530.2698 | 2658301.0091 | 1270511.6881 | 2658303.9415 | 1270506.2613
74 | 2658318.1257 | 1270570.2568 | 2658329.5856 | 1270587.1412
75 | 2658318.1257 | 1270570.2568 | 2658329.1633 | 1270561.4041
76 | 2658353.267 | 1270622.0318 | 2658329.5856 | 1270587.1412
77 | 2658353.267 | 1270622.0318 | 2658381.6403 | 1270599.4835
78 | 2658353.267 | 1270622.0318 | 2658364.2123 | 1270638.1669
79 | 2658432.3793 | 1270584.109 | 2658424.2173 | 1270574.2856 | 2658420.8009 | 1270572.8507 | 2658412.6106 | 1270574.8713 | 2658381.6403 | 1270599.4835
80 | 2658364.2123 | 1270638.1669 | 2658376.5995 | 1270656.4277
81 | 2658432.3793 | 1270584.109 | 2658447.5354 | 1270602.3504
82 | 2658376.5995 | 1270656.4277 | 2658377.7573 | 1270658.1345
83 | 2658447.9854 | 1270602.8919 | 2658447.5354 | 1270602.3504
84 | 2658489.8761 | 1270588.8933 | 2658468.1023 | 1270606.0548 | 2658462.3181 | 1270608.9664 | 2658455.3533 | 1270608.7974 | 2658452.5363 | 1270608.3692 | 2658447.9854 | 1270602.8919

## bus_geodata
| x | y | coords
0 | 2658365.2814 | 1270302.7852
1 | 2658367.4163 | 1270287.3183
2 | 2658361.3381 | 1270336.7068
3 | 2658385.9153 | 1270333.464
4 | 2658329.5485 | 1270347.9376
5 | 2658402.442 | 1270331.9092
6 | 2658320.2777 | 1270352.3466
7 | 2658402.2978 | 1270340.4031
8 | 2658410.1444 | 1270331.1837
9 | 2658300.3298 | 1270364.0865
10 | 2658419.4889 | 1270232.0922
11 | 2658454.327 | 1270235.9274
12 | 2658453.9363 | 1270243.4737
13 | 2658450.7484 | 1270276.6933
14 | 2658489.3425 | 1270460.0211
15 | 2658491.0836 | 1270493.8751
16 | 2658488.2679 | 1270457.4022
17 | 2658536.1709 | 1270424.8693
18 | 2658433.3115 | 1270337.9856
19 | 2658441.6867 | 1270349.7189
20 | 2658432.0213 | 1270323.1505
21 | 2658525.8726 | 1270395.1225
22 | 2658541.454 | 1270417.2123
23 | 2658576.8978 | 1270455.7517
24 | 2658628.3528 | 1270497.994
25 | 2658552.8293 | 1270491.5069
26 | 2658529.9135 | 1270388.973
27 | 2658526.7309 | 1270529.4216
28 | 2658537.357 | 1270554.1566
29 | 2658461.9727 | 1270494.1539
30 | 2658445.4074 | 1270507.0289
31 | 2658454.5652 | 1270484.9719
32 | 2658463.5109 | 1270516.6083
33 | 2658390.7916 | 1270360.8802
34 | 2658389.5083 | 1270362.8899
35 | 2658498.1074 | 1270582.4056
36 | 2658603.4476 | 1270509.6335
37 | 2658451.9321 | 1270481.708
38 | 2658391.3276 | 1270512.442
39 | 2658375.8353 | 1270524.5533
40 | 2658393.7792 | 1270510.4796
41 | 2658367.0876 | 1270531.3919
42 | 2658413.7625 | 1270493.4099
43 | 2658361.077 | 1270536.0908
44 | 2658426.9037 | 1270510.6186
45 | 2658431.7101 | 1270479.4648
46 | 2658350.9739 | 1270543.989
47 | 2658443.0279 | 1270470.6709
48 | 2658334.9731 | 1270451.0133
49 | 2658336.6994 | 1270448.2374
50 | 2658328.8548 | 1270460.8516
51 | 2658346.6103 | 1270432.3003
52 | 2658324.9919 | 1270467.3058
53 | 2658352.9814 | 1270445.2774
54 | 2658372.1101 | 1270390.7916
55 | 2658314.4333 | 1270486.8454
56 | 2658358.8928 | 1270457.3182
57 | 2658373.6947 | 1270388.2121
58 | 2658309.6044 | 1270495.7817
59 | 2658472.0584 | 1270445.1118
60 | 2658463.3454 | 1270452.783
61 | 2658455.2261 | 1270459.9314
62 | 2658423.6442 | 1270445.9161
63 | 2658378.9019 | 1270379.7359
64 | 2658380.1233 | 1270377.7477
65 | 2658361.5804 | 1270462.7925
66 | 2658423.2683 | 1270446.2194
67 | 2658438.779 | 1270433.82
68 | 2658409.6744 | 1270457.1865
69 | 2658441.7693 | 1270416.8665
70 | 2658297.6163 | 1270540.0566
71 | 2658290.97 | 1270530.2698
72 | 2658318.1257 | 1270570.2568
73 | 2658303.9415 | 1270506.2613
74 | 2658329.5856 | 1270587.1412
75 | 2658329.1633 | 1270561.4041
76 | 2658353.267 | 1270622.0318
77 | 2658381.6403 | 1270599.4835
78 | 2658364.2123 | 1270638.1669
79 | 2658363.4844 | 1270466.6707
80 | 2658432.3793 | 1270584.109
81 | 2658376.5995 | 1270656.4277
82 | 2658447.5354 | 1270602.3504
83 | 2658377.7573 | 1270658.1345
84 | 2658489.8761 | 1270588.8933
85 | 2658447.9854 | 1270602.8919
86 | 2658423.6442 | 1270445.9161

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1