## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4324-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4324-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4324-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4324-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4324-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4324-12_0_3_node_81 | 0.4 | n |  | TRUE
6 | bus_LV_4324-12_0_3_node_72 | 0.4 | n |  | TRUE
7 | bus_LV_4324-12_0_3_node_80 | 0.4 | n |  | TRUE
8 | bus_LV_4324-12_0_3_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_4324-12_0_3_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_4324-12_0_3_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_4324-12_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4324-12_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4324-12_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4324-12_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4324-12_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4324-12_0_3_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_4324-12_0_3_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_4324-12_0_3_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_4324-12_0_3_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_4324-12_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4324-12_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4324-12_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4324-12_0_3_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_4324-12_0_3_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_4324-12_0_3_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_4324-12_0_3_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_4324-12_0_3_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_4324-12_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4324-12_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4324-12_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4324-12_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_4324-12_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4324-12_0_3_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_4324-12_0_3_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_4324-12_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_4324-12_0_3_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_4324-12_0_3_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_4324-12_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_4324-12_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_4324-12_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_4324-12_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4324-12_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4324-12_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_4324-12_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_4324-12_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_4324-12_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_4324-12_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_4324-12_0_3_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_4324-12_0_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_4324-12_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_4324-12_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_4324-12_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_4324-12_0_3_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_4324-12_0_3_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_4324-12_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_4324-12_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_4324-12_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_4324-12_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_4324-12_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_4324-12_0_3_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_4324-12_0_3_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_4324-12_0_3_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_4324-12_0_3_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_4324-12_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_4324-12_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_4324-12_0_3_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_4324-12_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_4324-12_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_4324-12_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_4324-12_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_4324-12_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_4324-12_0_3_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_4324-12_0_3_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_4324-12_0_3_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_4324-12_0_3_node_78 | 0.4 | n |  | TRUE
76 | bus_MV_425_1_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4324-12_0_3_load_0 | 0 | 0.0017167 | 0.00043023 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4324-12_0_3_load_4 | 4 | 0.0026556 | 0.00066556 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4324-12_0_3_load_81 | 5 | 0.027478 | 0.0068867 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4324-12_0_3_load_72 | 6 | 0.0016124 | 0.0004041 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4324-12_0_3_load_79 | 8 | 0.0036148 | 0.00090595 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4324-12_0_3_load_5 | 11 | 0.0024675 | 0.00061842 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4324-12_0_3_load_6 | 12 | 0.0056935 | 0.0014269 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4324-12_0_3_load_7 | 13 | 0.0020937 | 0.00052472 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4324-12_0_3_load_8 | 14 | 0.0015342 | 0.0003845 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4324-12_0_3_load_9 | 15 | 0.0018354 | 0.00045999 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4324-12_0_3_load_31 | 17 | 0.0010186 | 0.00025528 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4324-12_0_3_load_39 | 18 | 0.0022793 | 0.00057124 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4324-12_0_3_load_32 | 19 | 0.0016236 | 0.00040691 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4324-12_0_3_load_10 | 20 | 0.0015842 | 0.00039703 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4324-12_0_3_load_11 | 21 | 0.0011718 | 0.00029368 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4324-12_0_3_load_63 | 24 | 0.0026313 | 0.00065947 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4324-12_0_3_load_61 | 25 | 0.0047359 | 0.0011869 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4324-12_0_3_load_50 | 26 | 0.0021982 | 0.00055091 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4324-12_0_3_load_49 | 27 | 0.0012499 | 0.00031325 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4324-12_0_3_load_16 | 28 | 0.0014391 | 0.00036067 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4324-12_0_3_load_17 | 29 | 0.0017028 | 0.00042677 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4324-12_0_3_load_19 | 30 | 0.0021821 | 0.00054688 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4324-12_0_3_load_65 | 33 | 0.0029979 | 0.00075135 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4324-12_0_3_load_52 | 34 | 0.0025779 | 0.00064608 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4324-12_0_3_load_40 | 35 | 0.0027562 | 0.00069077 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4324-12_0_3_load_58 | 36 | 0.0022691 | 0.00056868 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4324-12_0_3_load_51 | 37 | 0.0023905 | 0.00059912 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4324-12_0_3_load_41 | 38 | 0.0054919 | 0.0013764 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4324-12_0_3_load_23 | 39 | 0.0031472 | 0.00078876 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4324-12_0_3_load_24 | 40 | 0.0030105 | 0.00075451 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4324-12_0_3_load_25 | 41 | 0.0014484 | 0.000363 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4324-12_0_3_load_26 | 42 | 0.0016711 | 0.00041882 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4324-12_0_3_load_27 | 43 | 0.0019082 | 0.00047824 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4324-12_0_3_load_28 | 44 | 0.0023614 | 0.00059182 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4324-12_0_3_load_36 | 45 | 0.0048857 | 0.0012245 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4324-12_0_3_load_29 | 46 | 0.001631 | 0.00040876 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4324-12_0_3_load_34 | 47 | 0.0086128 | 0.0021586 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4324-12_0_3_load_30 | 48 | 0.0016633 | 0.00041685 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4324-12_0_3_load_60 | 49 | 0.002222 | 0.00055688 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4324-12_0_3_load_33 | 50 | 0.0041795 | 0.0010475 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4324-12_0_3_load_35 | 51 | 0.0018459 | 0.00046262 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4324-12_0_3_load_37 | 52 | 0.0021406 | 0.00053648 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4324-12_0_3_load_67 | 53 | 0.0015834 | 0.00039685 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4324-12_0_3_load_66 | 54 | 0.0018222 | 0.00045668 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4324-12_0_3_load_42 | 55 | 0.0024732 | 0.00061985 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4324-12_0_3_load_43 | 57 | 0.0036739 | 0.00092077 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4324-12_0_3_load_46 | 59 | 0.0026258 | 0.00065809 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4324-12_0_3_load_71 | 60 | 0.00327 | 0.00081953 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4324-12_0_3_load_73 | 61 | 0.0053849 | 0.0013496 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4324-12_0_3_load_70 | 62 | 0.0031429 | 0.00078769 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4324-12_0_3_load_53 | 64 | 0.0025253 | 0.00063289 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4324-12_0_3_load_54 | 65 | 0.0023446 | 0.00058762 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4324-12_0_3_load_64 | 66 | 0.010838 | 0.0027164 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4324-12_0_3_load_55 | 67 | 0.0029438 | 0.0007378 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4324-12_0_3_load_59 | 69 | 0.0033975 | 0.0008515 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4324-12_0_3_load_68 | 70 | 0.0014449 | 0.00036213 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4324-12_0_3_load_69 | 71 | 0.0013688 | 0.00034306 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4324-12_0_3_load_75 | 72 | 0.0040154 | 0.0010064 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4324-12_0_3_load_76 | 73 | 0.0035953 | 0.00090107 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4324-12_0_3_load_77 | 74 | 0.0037767 | 0.00094654 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4324-12_0_3_load_78 | 75 | 0.0022965 | 0.00057556 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4324-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0085276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4324-12_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.025913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4324-12_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.08115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4324-12_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4324-12_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.065395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4324-12_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.010434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4324-12_0_3_line_6 | NAYY 4x150 SE | 5 | 9 | 0.056757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4324-12_0_3_line_7 | NAYY 4x150 SE | 6 | 10 | 0.036841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4324-12_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.058546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4324-12_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.019371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4324-12_0_3_line_10 | NAYY 4x150 SE | 10 | 61 | 0.023467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4324-12_0_3_line_11 | NAYY 4x150 SE | 10 | 58 | 0.020729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4324-12_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.009946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4324-12_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.013644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4324-12_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.032002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4324-12_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.01783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4324-12_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0074373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4324-12_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0013318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4324-12_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.025098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4324-12_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.011381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4324-12_0_3_line_20 | NAYY 4x150 SE | 18 | 27 | 0.024397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4324-12_0_3_line_21 | NAYY 4x150 SE | 19 | 48 | 0.010982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4324-12_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0025015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4324-12_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.01448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4324-12_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.006097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4324-12_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.019816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_4324-12_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.034499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_4324-12_0_3_line_27 | NAYY 4x150 SE | 24 | 71 | 0.050628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_4324-12_0_3_line_28 | NAYY 4x150 SE | 25 | 49 | 0.0053456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_4324-12_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.023788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4324-12_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.046405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4324-12_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.021377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4324-12_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.0094719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4324-12_0_3_line_33 | NAYY 4x150 SE | 31 | 35 | 0.011215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4324-12_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.01295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4324-12_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.033985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4324-12_0_3_line_36 | NAYY 4x150 SE | 33 | 36 | 0.025099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4324-12_0_3_line_37 | NAYY 4x150 SE | 34 | 37 | 0.019117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4324-12_0_3_line_38 | NAYY 4x150 SE | 35 | 38 | 0.017292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4324-12_0_3_line_39 | NAYY 4x150 SE | 36 | 68 | 0.024535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4324-12_0_3_line_40 | NAYY 4x150 SE | 37 | 64 | 0.015548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4324-12_0_3_line_41 | NAYY 4x150 SE | 38 | 55 | 0.00022022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4324-12_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0057026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_4324-12_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.0082508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_4324-12_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.018599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_4324-12_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.009897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_4324-12_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 7.4187e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_4324-12_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.0079854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_4324-12_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.01829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_4324-12_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.0067012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_4324-12_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.020992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_4324-12_0_3_line_51 | NAYY 4x150 SE | 47 | 50 | 0.012746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_4324-12_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.025476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_4324-12_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.024587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4324-12_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.0061317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4324-12_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.010905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4324-12_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.013626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4324-12_0_3_line_57 | NAYY 4x150 SE | 54 | 70 | 0.0036613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4324-12_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.018397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4324-12_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.013929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4324-12_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.016202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4324-12_0_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.035849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4324-12_0_3_line_62 | NAYY 4x150 SE | 59 | 60 | 0.0057361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_4324-12_0_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.016988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_4324-12_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.02897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4324-12_0_3_line_65 | NAYY 4x150 SE | 62 | 71 | 0.022229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_4324-12_0_3_line_66 | NAYY 4x150 SE | 63 | 72 | 0.0022708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4324-12_0_3_line_67 | NAYY 4x150 SE | 63 | 73 | 0.0090277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4324-12_0_3_line_68 | NAYY 4x150 SE | 64 | 65 | 0.0021916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4324-12_0_3_line_69 | NAYY 4x150 SE | 65 | 66 | 0.015701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4324-12_0_3_line_70 | NAYY 4x150 SE | 67 | 68 | 0.03907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4324-12_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.040826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4324-12_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.025174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4324-12_0_3_line_73 | NAYY 4x150 SE | 72 | 74 | 0.019253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4324-12_0_3_line_74 | NAYY 4x150 SE | 73 | 75 | 0.01464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4324-12_0_3_trafo_46 | 0.25 MVA 20/0.4 kV | 76 | 59 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2664191.2577 | 1270973.2024 | 2664182.7451 | 1270972.6969
1 | 2664156.8773 | 1270971.1607 | 2664182.7451 | 1270972.6969
2 | 2664191.2577 | 1270973.2024 | 2664207.5982 | 1270974.5254 | 2664225.1648 | 1270975.1724 | 2664224.5963 | 1270981.7935 | 2664222.5888 | 1271005.2008 | 2664222.0274 | 1271022.23
3 | 2664156.8773 | 1270971.1607 | 2664154.0575 | 1270971.0411 | 2664151.7565 | 1270970.9494 | 2664145.3226 | 1270972.6461
4 | 2664222.0274 | 1271022.23 | 2664191.4528 | 1271023.065 | 2664163.3353 | 1271029.698 | 2664159.5768 | 1271034.2719
5 | 2664145.3226 | 1270972.6461 | 2664135.2339 | 1270975.3067 | 2664135.2339 | 1270975.3067
6 | 2664131.4713 | 1271082.059 | 2664159.9678 | 1271041.2148 | 2664159.5768 | 1271034.2719
7 | 2664105.3519 | 1270996.8545 | 2664135.2339 | 1270975.3067
8 | 2664146.5347 | 1271094.2764 | 2664142.697 | 1271097.8374 | 2664139.4625 | 1271098.5028 | 2664101.5608 | 1271131.1258
9 | 2664131.4713 | 1271082.059 | 2664143.9058 | 1271091.8237 | 2664146.5347 | 1271094.2764
10 | 2664105.3519 | 1270996.8545 | 2664107.2757 | 1270973.467
11 | 2664105.3519 | 1270996.8545 | 2664089.4093 | 1271010.1585
12 | 2663979.8637 | 1270885.2635 | 2663971.202 | 1270880.375
13 | 2663979.8637 | 1270885.2635 | 2663983.2398 | 1270887.1689 | 2663991.6394 | 1270892.1534
14 | 2663971.202 | 1270880.375 | 2663964.337 | 1270876.5005 | 2663958.1107 | 1270871.3847 | 2663960.3858 | 1270859.289 | 2663961.4114 | 1270855.6791
15 | 2663991.6394 | 1270892.1534 | 2664006.9724 | 1270901.2524
16 | 2663963.4439 | 1270848.5249 | 2663961.4114 | 1270855.6791
17 | 2664008.1177 | 1270901.9321 | 2664006.9724 | 1270901.2524
18 | 2663963.4439 | 1270848.5249 | 2663983.5638 | 1270833.5221
19 | 2664017.9054 | 1270907.7403 | 2664008.1177 | 1270901.9321
20 | 2664003.728 | 1270819.7964 | 2663986.9177 | 1270831.0212 | 2663983.5638 | 1270833.5221
21 | 2664027.3495 | 1270913.3446 | 2664017.9054 | 1270907.7403
22 | 2664069.471 | 1270849.7821 | 2664069.2535 | 1270852.2742 | 2664069.2535 | 1270852.2742
23 | 2664078.4078 | 1270863.4932 | 2664069.2535 | 1270852.2742
24 | 2664078.4078 | 1270863.4932 | 2664074.6318 | 1270868.2892
25 | 2664074.6318 | 1270868.2892 | 2664073.7361 | 1270873.8727 | 2664072.5881 | 1270887.9872
26 | 2664074.6318 | 1270868.2892 | 2664064.165 | 1270878.8839 | 2664049.8512 | 1270892.2822
27 | 2664072.5881 | 1270887.9872 | 2664070.7758 | 1270910.2686 | 2664068.8302 | 1270938.4744
28 | 2664049.8512 | 1270892.2822 | 2664045.9485 | 1270895.9352
29 | 2664003.728 | 1270819.7964 | 2664014.5622 | 1270812.562 | 2664023.0345 | 1270805.9285
30 | 2663973.5248 | 1271112.2887 | 2663987.4961 | 1271099.0333 | 2664003.9945 | 1271083.6891 | 2664007.5346 | 1271080.7274
31 | 2664023.9307 | 1271067.0107 | 2664007.5346 | 1271080.7274
32 | 2664031.1955 | 1271060.933 | 2664023.9307 | 1271067.0107
33 | 2664031.1955 | 1271060.933 | 2664039.5532 | 1271053.4553
34 | 2663906.3065 | 1271111.8756 | 2663896.2875 | 1271103.6705
35 | 2663906.3065 | 1271111.8756 | 2663923.3155 | 1271089.6425 | 2663927.7579 | 1271085.6215
36 | 2663896.2875 | 1271103.6705 | 2663877.1358 | 1271087.9862 | 2663876.8543 | 1271087.7883
37 | 2663941.9315 | 1271072.7926 | 2663927.7579 | 1271085.6215
38 | 2664039.5532 | 1271053.4553 | 2664052.4402 | 1271041.9253
39 | 2663856.7834 | 1271073.6774 | 2663876.8543 | 1271087.7883
40 | 2663941.9315 | 1271072.7926 | 2663949.1007 | 1271066.3036 | 2663953.1426 | 1271062.0361
41 | 2664052.6043 | 1271041.7784 | 2664052.4402 | 1271041.9253
42 | 2663986.2607 | 1270954.2173 | 2663982.2177 | 1270958.239
43 | 2663976.3682 | 1270964.0578 | 2663982.2177 | 1270958.239
44 | 2663986.2607 | 1270954.2173 | 2663999.4468 | 1270941.1006
45 | 2663969.3515 | 1270971.0375 | 2663976.3682 | 1270964.0578
46 | 2663999.4994 | 1270941.0482 | 2663999.4468 | 1270941.1006
47 | 2663963.5987 | 1270976.573 | 2663965.7567 | 1270974.6134 | 2663969.3515 | 1270971.0375
48 | 2664012.4666 | 1270928.1493 | 2663999.4994 | 1270941.0482
49 | 2663963.5987 | 1270976.573 | 2663958.6377 | 1270981.0779
50 | 2664027.3495 | 1270913.3446 | 2664012.4666 | 1270928.1493
51 | 2663958.6377 | 1270981.0779 | 2663949.2018 | 1270989.6463
52 | 2664027.3495 | 1270913.3446 | 2664045.9485 | 1270895.9352
53 | 2663930.9998 | 1271006.1749 | 2663949.2018 | 1270989.6463
54 | 2663926.4604 | 1271010.2969 | 2663930.9998 | 1271006.1749
55 | 2663926.4604 | 1271010.2969 | 2663918.3873 | 1271017.6278
56 | 2663908.2998 | 1271026.7879 | 2663918.3873 | 1271017.6278
57 | 2663908.2998 | 1271026.7879 | 2663905.5892 | 1271029.2493
58 | 2664066.3146 | 1271029.5118 | 2664052.6043 | 1271041.7784
59 | 2664066.3146 | 1271029.5118 | 2664076.9909 | 1271020.5651
60 | 2664089.4093 | 1271010.1585 | 2664076.9909 | 1271020.5651
61 | 2664089.4093 | 1271010.1585 | 2664070.3564 | 1270991.2039 | 2664066.0333 | 1270983.3399
62 | 2664066.3807 | 1270977.6144 | 2664066.0333 | 1270983.3399 | 2664066.0333 | 1270983.3399
63 | 2664067.4098 | 1270960.6575 | 2664066.3807 | 1270977.6144
64 | 2664109.6508 | 1270944.5944 | 2664107.2757 | 1270973.467
65 | 2664067.4098 | 1270960.6575 | 2664068.2136 | 1270947.4137 | 2664068.8302 | 1270938.4744
66 | 2664109.6508 | 1270944.5944 | 2664111.7242 | 1270945.5203
67 | 2664109.6508 | 1270944.5944 | 2664100.6464 | 1270943.9459
68 | 2663954.6496 | 1271060.4449 | 2663953.1426 | 1271062.0361
69 | 2663965.4467 | 1271049.045 | 2663954.6496 | 1271060.4449
70 | 2663856.7834 | 1271073.6774 | 2663826.3599 | 1271049.1641
71 | 2663856.7834 | 1271073.6774 | 2663878.483 | 1271053.8634 | 2663886.9528 | 1271046.1724
72 | 2663905.5892 | 1271029.2493 | 2663886.9528 | 1271046.1724
73 | 2664130.5602 | 1270949.0517 | 2664114.2701 | 1270946.6572 | 2664111.7242 | 1270945.5203
74 | 2664100.6464 | 1270943.9459 | 2664086.0438 | 1270942.8941

## bus_geodata
| x | y | coords
0 | 2664182.7451 | 1270972.6969
1 | 2664191.2577 | 1270973.2024
2 | 2664156.8773 | 1270971.1607
3 | 2664222.0274 | 1271022.23
4 | 2664145.3226 | 1270972.6461
5 | 2664159.5768 | 1271034.2719
6 | 2664135.2339 | 1270975.3067
7 | 2664146.5347 | 1271094.2764
8 | 2664101.5608 | 1271131.1258
9 | 2664131.4713 | 1271082.059
10 | 2664105.3519 | 1270996.8545
11 | 2663979.8637 | 1270885.2635
12 | 2663971.202 | 1270880.375
13 | 2663991.6394 | 1270892.1534
14 | 2663961.4114 | 1270855.6791
15 | 2664006.9724 | 1270901.2524
16 | 2663963.4439 | 1270848.5249
17 | 2664008.1177 | 1270901.9321
18 | 2663983.5638 | 1270833.5221
19 | 2664017.9054 | 1270907.7403
20 | 2664069.471 | 1270849.7821
21 | 2664069.2535 | 1270852.2742
22 | 2664078.4078 | 1270863.4932
23 | 2664074.6318 | 1270868.2892
24 | 2664072.5881 | 1270887.9872
25 | 2664049.8512 | 1270892.2822
26 | 2664023.0345 | 1270805.9285
27 | 2664003.728 | 1270819.7964
28 | 2663973.5248 | 1271112.2887
29 | 2664007.5346 | 1271080.7274
30 | 2664023.9307 | 1271067.0107
31 | 2664031.1955 | 1271060.933
32 | 2663906.3065 | 1271111.8756
33 | 2663896.2875 | 1271103.6705
34 | 2663927.7579 | 1271085.6215
35 | 2664039.5532 | 1271053.4553
36 | 2663876.8543 | 1271087.7883
37 | 2663941.9315 | 1271072.7926
38 | 2664052.4402 | 1271041.9253
39 | 2663982.2177 | 1270958.239
40 | 2663986.2607 | 1270954.2173
41 | 2663976.3682 | 1270964.0578
42 | 2663999.4468 | 1270941.1006
43 | 2663969.3515 | 1270971.0375
44 | 2663999.4994 | 1270941.0482
45 | 2663963.5987 | 1270976.573
46 | 2664012.4666 | 1270928.1493
47 | 2663958.6377 | 1270981.0779
48 | 2664027.3495 | 1270913.3446
49 | 2664045.9486 | 1270895.9352
50 | 2663949.2018 | 1270989.6463
51 | 2663930.9998 | 1271006.1749
52 | 2663926.4604 | 1271010.2969
53 | 2663918.3873 | 1271017.6278
54 | 2663908.2998 | 1271026.7879
55 | 2664052.6043 | 1271041.7784
56 | 2664066.3146 | 1271029.5118
57 | 2664076.9909 | 1271020.5651
58 | 2664089.4093 | 1271010.1585
59 | 2664066.0333 | 1270983.3399
60 | 2664066.3807 | 1270977.6144
61 | 2664107.2757 | 1270973.467
62 | 2664067.4098 | 1270960.6575
63 | 2664109.6508 | 1270944.5944
64 | 2663953.1426 | 1271062.0361
65 | 2663954.6496 | 1271060.4449
66 | 2663965.4467 | 1271049.045
67 | 2663826.3599 | 1271049.1641
68 | 2663856.7834 | 1271073.6774
69 | 2663886.9528 | 1271046.1724
70 | 2663905.5892 | 1271029.2493
71 | 2664068.8302 | 1270938.4744
72 | 2664111.7242 | 1270945.5203
73 | 2664100.6464 | 1270943.9459
74 | 2664130.5602 | 1270949.0517
75 | 2664086.0438 | 1270942.8941
76 | 2664089.4093 | 1271010.1585

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1