## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4324-16_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4324-16_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4324-16_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4324-16_0_5_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_4324-16_0_5_node_227 | 0.4 | n |  | TRUE
5 | bus_LV_4324-16_0_5_node_226 | 0.4 | n |  | TRUE
6 | bus_LV_4324-16_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4324-16_0_5_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_4324-16_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4324-16_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4324-16_0_5_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_4324-16_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4324-16_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4324-16_0_5_node_70 | 0.4 | n |  | TRUE
14 | bus_LV_4324-16_0_5_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_4324-16_0_5_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_4324-16_0_5_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_4324-16_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4324-16_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4324-16_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4324-16_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4324-16_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4324-16_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4324-16_0_5_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_4324-16_0_5_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_4324-16_0_5_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_4324-16_0_5_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_4324-16_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_4324-16_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4324-16_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4324-16_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4324-16_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4324-16_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_4324-16_0_5_node_220 | 0.4 | n |  | TRUE
34 | bus_LV_4324-16_0_5_node_98 | 0.4 | n |  | TRUE
35 | bus_LV_4324-16_0_5_node_221 | 0.4 | n |  | TRUE
36 | bus_LV_4324-16_0_5_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_4324-16_0_5_node_222 | 0.4 | n |  | TRUE
38 | bus_LV_4324-16_0_5_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_4324-16_0_5_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4324-16_0_5_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_4324-16_0_5_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_4324-16_0_5_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_4324-16_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_4324-16_0_5_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_4324-16_0_5_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_4324-16_0_5_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_4324-16_0_5_node_115 | 0.4 | n |  | TRUE
48 | bus_LV_4324-16_0_5_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_4324-16_0_5_node_118 | 0.4 | n |  | TRUE
50 | bus_LV_4324-16_0_5_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_4324-16_0_5_node_117 | 0.4 | n |  | TRUE
52 | bus_LV_4324-16_0_5_node_228 | 0.4 | n |  | TRUE
53 | bus_LV_4324-16_0_5_node_218 | 0.4 | n |  | TRUE
54 | bus_LV_4324-16_0_5_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_4324-16_0_5_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_4324-16_0_5_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_4324-16_0_5_node_119 | 0.4 | n |  | TRUE
58 | bus_LV_4324-16_0_5_node_229 | 0.4 | n |  | TRUE
59 | bus_LV_4324-16_0_5_node_216 | 0.4 | n |  | TRUE
60 | bus_LV_4324-16_0_5_node_30 | 0.4 | n |  | TRUE
61 | bus_LV_4324-16_0_5_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_4324-16_0_5_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_4324-16_0_5_node_32 | 0.4 | n |  | TRUE
64 | bus_LV_4324-16_0_5_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_4324-16_0_5_node_34 | 0.4 | n |  | TRUE
66 | bus_LV_4324-16_0_5_node_126 | 0.4 | n |  | TRUE
67 | bus_LV_4324-16_0_5_node_141 | 0.4 | n |  | TRUE
68 | bus_LV_4324-16_0_5_node_133 | 0.4 | n |  | TRUE
69 | bus_LV_4324-16_0_5_node_130 | 0.4 | n |  | TRUE
70 | bus_LV_4324-16_0_5_node_110 | 0.4 | n |  | TRUE
71 | bus_LV_4324-16_0_5_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_4324-16_0_5_node_142 | 0.4 | n |  | TRUE
73 | bus_LV_4324-16_0_5_node_131 | 0.4 | n |  | TRUE
74 | bus_LV_4324-16_0_5_node_94 | 0.4 | n |  | TRUE
75 | bus_LV_4324-16_0_5_node_223 | 0.4 | n |  | TRUE
76 | bus_LV_4324-16_0_5_node_224 | 0.4 | n |  | TRUE
77 | bus_LV_4324-16_0_5_node_38 | 0.4 | n |  | TRUE
78 | bus_LV_4324-16_0_5_node_39 | 0.4 | n |  | TRUE
79 | bus_LV_4324-16_0_5_node_40 | 0.4 | n |  | TRUE
80 | bus_LV_4324-16_0_5_node_41 | 0.4 | n |  | TRUE
81 | bus_LV_4324-16_0_5_node_144 | 0.4 | n |  | TRUE
82 | bus_LV_4324-16_0_5_node_134 | 0.4 | n |  | TRUE
83 | bus_LV_4324-16_0_5_node_49 | 0.4 | n |  | TRUE
84 | bus_LV_4324-16_0_5_node_125 | 0.4 | n |  | TRUE
85 | bus_LV_4324-16_0_5_node_44 | 0.4 | n |  | TRUE
86 | bus_LV_4324-16_0_5_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_4324-16_0_5_node_58 | 0.4 | n |  | TRUE
88 | bus_LV_4324-16_0_5_node_45 | 0.4 | n |  | TRUE
89 | bus_LV_4324-16_0_5_node_46 | 0.4 | n |  | TRUE
90 | bus_LV_4324-16_0_5_node_47 | 0.4 | n |  | TRUE
91 | bus_LV_4324-16_0_5_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_4324-16_0_5_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_4324-16_0_5_node_52 | 0.4 | n |  | TRUE
94 | bus_LV_4324-16_0_5_node_68 | 0.4 | n |  | TRUE
95 | bus_LV_4324-16_0_5_node_53 | 0.4 | n |  | TRUE
96 | bus_LV_4324-16_0_5_node_56 | 0.4 | n |  | TRUE
97 | bus_LV_4324-16_0_5_node_57 | 0.4 | n |  | TRUE
98 | bus_LV_4324-16_0_5_node_60 | 0.4 | n |  | TRUE
99 | bus_LV_4324-16_0_5_node_62 | 0.4 | n |  | TRUE
100 | bus_LV_4324-16_0_5_node_63 | 0.4 | n |  | TRUE
101 | bus_LV_4324-16_0_5_node_59 | 0.4 | n |  | TRUE
102 | bus_LV_4324-16_0_5_node_123 | 0.4 | n |  | TRUE
103 | bus_LV_4324-16_0_5_node_231 | 0.4 | n |  | TRUE
104 | bus_LV_4324-16_0_5_node_90 | 0.4 | n |  | TRUE
105 | bus_LV_4324-16_0_5_node_124 | 0.4 | n |  | TRUE
106 | bus_LV_4324-16_0_5_node_132 | 0.4 | n |  | TRUE
107 | bus_LV_4324-16_0_5_node_92 | 0.4 | n |  | TRUE
108 | bus_LV_4324-16_0_5_node_89 | 0.4 | n |  | TRUE
109 | bus_LV_4324-16_0_5_node_66 | 0.4 | n |  | TRUE
110 | bus_LV_4324-16_0_5_node_67 | 0.4 | n |  | TRUE
111 | bus_LV_4324-16_0_5_node_71 | 0.4 | n |  | TRUE
112 | bus_LV_4324-16_0_5_node_72 | 0.4 | n |  | TRUE
113 | bus_LV_4324-16_0_5_node_73 | 0.4 | n |  | TRUE
114 | bus_LV_4324-16_0_5_node_74 | 0.4 | n |  | TRUE
115 | bus_LV_4324-16_0_5_node_139 | 0.4 | n |  | TRUE
116 | bus_LV_4324-16_0_5_node_108 | 0.4 | n |  | TRUE
117 | bus_LV_4324-16_0_5_node_129 | 0.4 | n |  | TRUE
118 | bus_LV_4324-16_0_5_node_106 | 0.4 | n |  | TRUE
119 | bus_LV_4324-16_0_5_node_127 | 0.4 | n |  | TRUE
120 | bus_LV_4324-16_0_5_node_128 | 0.4 | n |  | TRUE
121 | bus_LV_4324-16_0_5_node_76 | 0.4 | n |  | TRUE
122 | bus_LV_4324-16_0_5_node_77 | 0.4 | n |  | TRUE
123 | bus_LV_4324-16_0_5_node_78 | 0.4 | n |  | TRUE
124 | bus_LV_4324-16_0_5_node_79 | 0.4 | n |  | TRUE
125 | bus_LV_4324-16_0_5_node_80 | 0.4 | n |  | TRUE
126 | bus_LV_4324-16_0_5_node_111 | 0.4 | n |  | TRUE
127 | bus_LV_4324-16_0_5_node_112 | 0.4 | n |  | TRUE
128 | bus_LV_4324-16_0_5_node_116 | 0.4 | n |  | TRUE
129 | bus_LV_4324-16_0_5_node_137 | 0.4 | n |  | TRUE
130 | bus_LV_4324-16_0_5_node_84 | 0.4 | n |  | TRUE
131 | bus_LV_4324-16_0_5_node_85 | 0.4 | n |  | TRUE
132 | bus_LV_4324-16_0_5_node_87 | 0.4 | n |  | TRUE
133 | bus_LV_4324-16_0_5_node_103 | 0.4 | n |  | TRUE
134 | bus_LV_4324-16_0_5_node_91 | 0.4 | n |  | TRUE
135 | bus_LV_4324-16_0_5_node_93 | 0.4 | n |  | TRUE
136 | bus_LV_4324-16_0_5_node_104 | 0.4 | n |  | TRUE
137 | bus_LV_4324-16_0_5_node_230 | 0.4 | n |  | TRUE
138 | bus_LV_4324-16_0_5_node_102 | 0.4 | n |  | TRUE
139 | bus_LV_4324-16_0_5_node_95 | 0.4 | n |  | TRUE
140 | bus_LV_4324-16_0_5_node_97 | 0.4 | n |  | TRUE
141 | bus_LV_4324-16_0_5_node_99 | 0.4 | n |  | TRUE
142 | bus_LV_4324-16_0_5_node_101 | 0.4 | n |  | TRUE
143 | bus_LV_4324-16_0_5_node_105 | 0.4 | n |  | TRUE
144 | bus_LV_4324-16_0_5_node_107 | 0.4 | n |  | TRUE
145 | bus_LV_4324-16_0_5_node_109 | 0.4 | n |  | TRUE
146 | bus_LV_4324-16_0_5_node_135 | 0.4 | n |  | TRUE
147 | bus_LV_4324-16_0_5_node_136 | 0.4 | n |  | TRUE
148 | bus_LV_4324-16_0_5_node_120 | 0.4 | n |  | TRUE
149 | bus_LV_4324-16_0_5_node_121 | 0.4 | n |  | TRUE
150 | bus_LV_4324-16_0_5_node_122 | 0.4 | n |  | TRUE
151 | bus_LV_4324-16_0_5_node_143 | 0.4 | n |  | TRUE
152 | bus_LV_4324-16_0_5_node_215 | 0.4 | n |  | TRUE
153 | bus_LV_4324-16_0_5_node_217 | 0.4 | n |  | TRUE
154 | bus_LV_4324-16_0_5_node_219 | 0.4 | n |  | TRUE
155 | bus_LV_4324-16_0_5_node_225 | 0.4 | n |  | TRUE
156 | bus_MV_425_0_node_230 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4324-16_0_5_load_0 | 0 | 0.0019385 | 0.00048583 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4324-16_0_5_load_6 | 3 | 0.00084128 | 0.00021084 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4324-16_0_5_load_227 | 4 | 0.0010876 | 0.00027257 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4324-16_0_5_load_4 | 6 | 0.0039301 | 0.00098499 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4324-16_0_5_load_3 | 7 | 0.00083984 | 0.00021048 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4324-16_0_5_load_5 | 9 | 0.0014039 | 0.00035185 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4324-16_0_5_load_50 | 10 | 0.0019818 | 0.00049669 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4324-16_0_5_load_7 | 11 | 0.0014572 | 0.00036521 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4324-16_0_5_load_70 | 13 | 0.00053222 | 0.00013339 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4324-16_0_5_load_65 | 14 | 0.0015675 | 0.00039285 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4324-16_0_5_load_64 | 16 | 0.0016448 | 0.00041222 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4324-16_0_5_load_10 | 17 | 0.0011557 | 0.00028966 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4324-16_0_5_load_11 | 18 | 0.00052395 | 0.00013131 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4324-16_0_5_load_13 | 20 | 0.0010136 | 0.00025403 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4324-16_0_5_load_15 | 22 | 0.00042559 | 0.00010666 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4324-16_0_5_load_82 | 23 | 0.0011377 | 0.00028515 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4324-16_0_5_load_81 | 24 | 0.00089655 | 0.0002247 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4324-16_0_5_load_83 | 25 | 0.0023224 | 0.00058204 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4324-16_0_5_load_48 | 26 | 0.00089601 | 0.00022456 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4324-16_0_5_load_16 | 27 | 0.0012898 | 0.00032324 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4324-16_0_5_load_19 | 30 | 0.0021928 | 0.00054957 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4324-16_0_5_load_220 | 33 | 0.0088414 | 0.0022159 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4324-16_0_5_load_221 | 35 | 0.00073616 | 0.0001845 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4324-16_0_5_load_42 | 36 | 0.0041223 | 0.0010331 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4324-16_0_5_load_222 | 37 | 0.00058372 | 0.00014629 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4324-16_0_5_load_43 | 39 | 0.0012852 | 0.0003221 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4324-16_0_5_load_22 | 40 | 0.001596 | 0.00040001 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4324-16_0_5_load_23 | 41 | 0.00084044 | 0.00021063 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4324-16_0_5_load_25 | 43 | 0.00131 | 0.00032832 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4324-16_0_5_load_27 | 44 | 0.0018185 | 0.00045577 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4324-16_0_5_load_37 | 46 | 0.0012837 | 0.00032173 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4324-16_0_5_load_115 | 47 | 0.0015874 | 0.00039785 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4324-16_0_5_load_55 | 48 | 0.0013518 | 0.00033878 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4324-16_0_5_load_118 | 49 | 0.0017007 | 0.00042624 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4324-16_0_5_load_117 | 51 | 0.0020574 | 0.00051563 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4324-16_0_5_load_228 | 52 | 0.0016989 | 0.00042579 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4324-16_0_5_load_69 | 55 | 0.0019054 | 0.00047754 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4324-16_0_5_load_54 | 56 | 0.0020857 | 0.00052272 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4324-16_0_5_load_229 | 58 | 0.0010786 | 0.00027032 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4324-16_0_5_load_30 | 60 | 0.00032213 | 8.0732e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4324-16_0_5_load_35 | 64 | 0.0021962 | 0.00055041 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4324-16_0_5_load_126 | 66 | 0.00027488 | 6.8892e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4324-16_0_5_load_141 | 67 | 0.00033525 | 8.4021e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4324-16_0_5_load_130 | 69 | 0.00098819 | 0.00024766 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4324-16_0_5_load_75 | 71 | 0.00084785 | 0.00021249 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4324-16_0_5_load_142 | 72 | 0.0002325 | 5.827e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4324-16_0_5_load_131 | 73 | 0.00025387 | 6.3626e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4324-16_0_5_load_94 | 74 | 0.0021135 | 0.0005297 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4324-16_0_5_load_223 | 75 | 0.00077712 | 0.00019476 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4324-16_0_5_load_224 | 76 | 0.0021677 | 0.00054327 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4324-16_0_5_load_38 | 77 | 0.00020945 | 5.2492e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4324-16_0_5_load_41 | 80 | 0.001846 | 0.00046264 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4324-16_0_5_load_144 | 81 | 0.00042206 | 0.00010578 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4324-16_0_5_load_44 | 85 | 0.00039163 | 9.8152e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4324-16_0_5_load_45 | 88 | 0.00037968 | 9.5157e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4324-16_0_5_load_46 | 89 | 0.00023107 | 5.7913e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4324-16_0_5_load_47 | 90 | 0.0011898 | 0.0002982 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4324-16_0_5_load_88 | 91 | 0.00065076 | 0.0001631 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4324-16_0_5_load_52 | 93 | 0.0024911 | 0.00062432 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4324-16_0_5_load_68 | 94 | 0.0026472 | 0.00066344 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4324-16_0_5_load_53 | 95 | 0.0019885 | 0.00049836 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4324-16_0_5_load_56 | 96 | 0.00083146 | 0.00020838 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4324-16_0_5_load_62 | 99 | 0.00073121 | 0.00018326 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4324-16_0_5_load_59 | 101 | 0.00038994 | 9.7728e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4324-16_0_5_load_123 | 102 | 0.00063117 | 0.00015819 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4324-16_0_5_load_231 | 103 | 0.0022624 | 0.000567 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4324-16_0_5_load_124 | 105 | 0.00017099 | 4.2855e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4324-16_0_5_load_132 | 106 | 0.00024177 | 6.0593e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4324-16_0_5_load_92 | 107 | 0.0022586 | 0.00056606 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4324-16_0_5_load_89 | 108 | 0.00071488 | 0.00017917 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4324-16_0_5_load_66 | 109 | 0.0012043 | 0.00030182 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4324-16_0_5_load_67 | 110 | 0.0014148 | 0.00035458 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4324-16_0_5_load_71 | 111 | 0.00041973 | 0.00010519 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4324-16_0_5_load_72 | 112 | 0.0001725 | 4.3234e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4324-16_0_5_load_73 | 113 | 0.00041117 | 0.00010305 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4324-16_0_5_load_74 | 114 | 0.0003076 | 7.7091e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4324-16_0_5_load_139 | 115 | 0.00036858 | 9.2375e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4324-16_0_5_load_108 | 116 | 0.00010407 | 2.6083e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4324-16_0_5_load_106 | 118 | 0.00015841 | 3.97e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4324-16_0_5_load_127 | 119 | 0.0012355 | 0.00030965 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4324-16_0_5_load_128 | 120 | 0.00031536 | 7.9038e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4324-16_0_5_load_76 | 121 | 0.0015805 | 0.00039612 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4324-16_0_5_load_77 | 122 | 0.00074938 | 0.00018781 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4324-16_0_5_load_78 | 123 | 0.0011853 | 0.00029708 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4324-16_0_5_load_79 | 124 | 0.00069213 | 0.00017346 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4324-16_0_5_load_80 | 125 | 0.0011865 | 0.00029736 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4324-16_0_5_load_111 | 126 | 0.00069653 | 0.00017457 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4324-16_0_5_load_112 | 127 | 0.0023724 | 0.00059459 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4324-16_0_5_load_116 | 128 | 0.00069273 | 0.00017361 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4324-16_0_5_load_137 | 129 | 0.00027111 | 6.7947e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4324-16_0_5_load_84 | 130 | 0.00025717 | 6.4453e-05 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4324-16_0_5_load_85 | 131 | 0.00013563 | 3.3992e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4324-16_0_5_load_87 | 132 | 0.0020048 | 0.00050246 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4324-16_0_5_load_103 | 133 | 0.0016014 | 0.00040135 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4324-16_0_5_load_104 | 136 | 0.00066148 | 0.00016578 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4324-16_0_5_load_230 | 137 | 0.018683 | 0.0046824 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4324-16_0_5_load_102 | 138 | 0.00079581 | 0.00019945 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4324-16_0_5_load_95 | 139 | 0.0021125 | 0.00052945 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4324-16_0_5_load_97 | 140 | 0.0011682 | 0.00029279 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4324-16_0_5_load_99 | 141 | 0.0011797 | 0.00029567 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4324-16_0_5_load_105 | 143 | 0.00019934 | 4.9958e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4324-16_0_5_load_109 | 145 | 0.00044781 | 0.00011223 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4324-16_0_5_load_135 | 146 | 0.0097034 | 0.0024319 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4324-16_0_5_load_136 | 147 | 0.00039086 | 9.7958e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4324-16_0_5_load_120 | 148 | 0.00071619 | 0.00017949 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4324-16_0_5_load_121 | 149 | 0.0018628 | 0.00046687 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4324-16_0_5_load_122 | 150 | 0.0024889 | 0.00062378 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4324-16_0_5_load_143 | 151 | 0.00054482 | 0.00013655 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4324-16_0_5_load_215 | 152 | 0.0018781 | 0.0004707 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4324-16_0_5_load_217 | 153 | 0.0020852 | 0.00052261 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4324-16_0_5_load_225 | 155 | 0.0013985 | 0.0003505 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4324-16_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4324-16_0_5_line_1 | NAYY 4x150 SE | 1 | 2 | 0.032986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4324-16_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.31545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4324-16_0_5_line_3 | NAYY 4x150 SE | 2 | 6 | 0.02277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4324-16_0_5_line_4 | NAYY 4x150 SE | 2 | 7 | 0.035015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4324-16_0_5_line_5 | NAYY 4x150 SE | 3 | 8 | 0.034228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4324-16_0_5_line_6 | NAYY 4x150 SE | 3 | 9 | 0.030047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4324-16_0_5_line_7 | NAYY 4x150 SE | 4 | 5 | 0.039467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4324-16_0_5_line_8 | NAYY 4x150 SE | 5 | 154 | 0.005058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4324-16_0_5_line_9 | NAYY 4x150 SE | 8 | 10 | 0.022189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4324-16_0_5_line_10 | NAYY 4x150 SE | 9 | 11 | 0.02446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4324-16_0_5_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4324-16_0_5_line_12 | NAYY 4x150 SE | 12 | 13 | 0.0062164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4324-16_0_5_line_13 | NAYY 4x150 SE | 12 | 14 | 0.010132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4324-16_0_5_line_14 | NAYY 4x150 SE | 13 | 15 | 0.04143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4324-16_0_5_line_15 | NAYY 4x150 SE | 14 | 16 | 0.014628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4324-16_0_5_line_16 | NAYY 4x150 SE | 15 | 47 | 0.053588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4324-16_0_5_line_17 | NAYY 4x150 SE | 15 | 42 | 0.007393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4324-16_0_5_line_18 | NAYY 4x150 SE | 16 | 109 | 0.016099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4324-16_0_5_line_19 | NAYY 4x150 SE | 17 | 18 | 0.024648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4324-16_0_5_line_20 | NAYY 4x150 SE | 17 | 19 | 0.022783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4324-16_0_5_line_21 | NAYY 4x150 SE | 18 | 20 | 0.03614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4324-16_0_5_line_22 | NAYY 4x150 SE | 19 | 21 | 0.02266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4324-16_0_5_line_23 | NAYY 4x150 SE | 19 | 22 | 0.0092798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4324-16_0_5_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0029794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4324-16_0_5_line_25 | NAYY 4x150 SE | 22 | 24 | 0.015224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4324-16_0_5_line_26 | NAYY 4x150 SE | 23 | 25 | 0.032736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4324-16_0_5_line_27 | NAYY 4x150 SE | 24 | 26 | 0.039579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4324-16_0_5_line_28 | NAYY 4x150 SE | 26 | 89 | 0.00052329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4324-16_0_5_line_29 | NAYY 4x150 SE | 27 | 28 | 0.076255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4324-16_0_5_line_30 | NAYY 4x150 SE | 27 | 29 | 0.063718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4324-16_0_5_line_31 | NAYY 4x150 SE | 28 | 30 | 0.03573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4324-16_0_5_line_32 | NAYY 4x150 SE | 29 | 31 | 0.028773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_4324-16_0_5_line_33 | NAYY 4x150 SE | 29 | 32 | 0.082898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4324-16_0_5_line_34 | NAYY 4x150 SE | 31 | 33 | 0.049779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4324-16_0_5_line_35 | NAYY 4x150 SE | 31 | 34 | 0.10055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_4324-16_0_5_line_36 | NAYY 4x150 SE | 31 | 35 | 0.031763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4324-16_0_5_line_37 | NAYY 4x150 SE | 32 | 36 | 0.024819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_4324-16_0_5_line_38 | NAYY 4x150 SE | 34 | 37 | 0.038266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4324-16_0_5_line_39 | NAYY 4x150 SE | 34 | 38 | 0.037597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_4324-16_0_5_line_40 | NAYY 4x150 SE | 36 | 39 | 0.02679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4324-16_0_5_line_41 | NAYY 4x150 SE | 38 | 74 | 0.019201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4324-16_0_5_line_42 | NAYY 4x150 SE | 38 | 64 | 0.010527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4324-16_0_5_line_43 | NAYY 4x150 SE | 39 | 85 | 0.025182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4324-16_0_5_line_44 | NAYY 4x150 SE | 40 | 41 | 0.019083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4324-16_0_5_line_45 | NAYY 4x150 SE | 40 | 42 | 0.0090382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4324-16_0_5_line_46 | NAYY 4x150 SE | 41 | 43 | 0.034908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4324-16_0_5_line_47 | NAYY 4x150 SE | 42 | 44 | 0.027476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4324-16_0_5_line_48 | NAYY 4x150 SE | 42 | 45 | 0.057387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4324-16_0_5_line_49 | NAYY 4x150 SE | 43 | 46 | 0.011349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4324-16_0_5_line_50 | NAYY 4x150 SE | 44 | 48 | 0.010847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4324-16_0_5_line_51 | NAYY 4x150 SE | 45 | 49 | 0.039476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4324-16_0_5_line_52 | NAYY 4x150 SE | 45 | 50 | 0.051117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4324-16_0_5_line_53 | NAYY 4x150 SE | 45 | 51 | 0.010513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4324-16_0_5_line_54 | NAYY 4x150 SE | 46 | 54 | 0.074817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4324-16_0_5_line_55 | NAYY 4x150 SE | 47 | 55 | 0.012244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4324-16_0_5_line_56 | NAYY 4x150 SE | 48 | 56 | 0.029002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4324-16_0_5_line_57 | NAYY 4x150 SE | 49 | 57 | 0.021094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4324-16_0_5_line_58 | NAYY 4x150 SE | 50 | 52 | 0.031756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4324-16_0_5_line_59 | NAYY 4x150 SE | 50 | 53 | 0.020047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4324-16_0_5_line_60 | NAYY 4x150 SE | 53 | 58 | 0.01684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4324-16_0_5_line_61 | NAYY 4x150 SE | 53 | 59 | 0.035093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4324-16_0_5_line_62 | NAYY 4x150 SE | 54 | 70 | 0.005529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4324-16_0_5_line_63 | NAYY 4x150 SE | 54 | 63 | 0.049792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4324-16_0_5_line_64 | NAYY 4x150 SE | 55 | 94 | 0.0024598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4324-16_0_5_line_65 | NAYY 4x150 SE | 56 | 95 | 0.030953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4324-16_0_5_line_66 | NAYY 4x150 SE | 57 | 148 | 0.015007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4324-16_0_5_line_67 | NAYY 4x150 SE | 57 | 149 | 0.030788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4324-16_0_5_line_68 | NAYY 4x150 SE | 59 | 154 | 0.008448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4324-16_0_5_line_69 | NAYY 4x150 SE | 59 | 152 | 0.017499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4324-16_0_5_line_70 | NAYY 4x150 SE | 60 | 61 | 0.018132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4324-16_0_5_line_71 | NAYY 4x150 SE | 61 | 62 | 0.067869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4324-16_0_5_line_72 | NAYY 4x150 SE | 62 | 65 | 0.038598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4324-16_0_5_line_73 | NAYY 4x150 SE | 62 | 66 | 0.016416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4324-16_0_5_line_74 | NAYY 4x150 SE | 62 | 67 | 0.022772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4324-16_0_5_line_75 | NAYY 4x150 SE | 63 | 64 | 0.032659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4324-16_0_5_line_76 | NAYY 4x150 SE | 65 | 68 | 0.00466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4324-16_0_5_line_77 | NAYY 4x150 SE | 65 | 69 | 0.0099493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4324-16_0_5_line_78 | NAYY 4x150 SE | 66 | 71 | 0.0023893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4324-16_0_5_line_79 | NAYY 4x150 SE | 68 | 72 | 0.016261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4324-16_0_5_line_80 | NAYY 4x150 SE | 69 | 73 | 0.018699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4324-16_0_5_line_81 | NAYY 4x150 SE | 70 | 75 | 0.016968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4324-16_0_5_line_82 | NAYY 4x150 SE | 70 | 76 | 0.018556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4324-16_0_5_line_83 | NAYY 4x150 SE | 71 | 113 | 0.021238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4324-16_0_5_line_84 | NAYY 4x150 SE | 72 | 151 | 0.015665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4324-16_0_5_line_85 | NAYY 4x150 SE | 73 | 106 | 0.010984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4324-16_0_5_line_86 | NAYY 4x150 SE | 73 | 98 | 0.01813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4324-16_0_5_line_87 | NAYY 4x150 SE | 74 | 139 | 0.012894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4324-16_0_5_line_88 | NAYY 4x150 SE | 77 | 78 | 0.030351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4324-16_0_5_line_89 | NAYY 4x150 SE | 78 | 79 | 0.041909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4324-16_0_5_line_90 | NAYY 4x150 SE | 78 | 80 | 0.01843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4324-16_0_5_line_91 | NAYY 4x150 SE | 79 | 81 | 0.042244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4324-16_0_5_line_92 | NAYY 4x150 SE | 80 | 82 | 0.019187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4324-16_0_5_line_93 | NAYY 4x150 SE | 82 | 83 | 0.008453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4324-16_0_5_line_94 | NAYY 4x150 SE | 82 | 84 | 0.016374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4324-16_0_5_line_95 | NAYY 4x150 SE | 83 | 91 | 0.031289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4324-16_0_5_line_96 | NAYY 4x150 SE | 83 | 90 | 0.033529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4324-16_0_5_line_97 | NAYY 4x150 SE | 84 | 105 | 0.0085187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4324-16_0_5_line_98 | NAYY 4x150 SE | 84 | 101 | 0.036983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4324-16_0_5_line_99 | NAYY 4x150 SE | 85 | 86 | 0.0047154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4324-16_0_5_line_100 | NAYY 4x150 SE | 86 | 87 | 0.073526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4324-16_0_5_line_101 | NAYY 4x150 SE | 87 | 99 | 0.015903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4324-16_0_5_line_102 | NAYY 4x150 SE | 87 | 100 | 0.094284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4324-16_0_5_line_103 | NAYY 4x150 SE | 87 | 96 | 0.035481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4324-16_0_5_line_104 | NAYY 4x150 SE | 88 | 89 | 0.015368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4324-16_0_5_line_105 | NAYY 4x150 SE | 88 | 90 | 0.021594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4324-16_0_5_line_106 | NAYY 4x150 SE | 91 | 92 | 0.027961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4324-16_0_5_line_107 | NAYY 4x150 SE | 92 | 130 | 0.016827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4324-16_0_5_line_108 | NAYY 4x150 SE | 93 | 94 | 0.023697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_4324-16_0_5_line_109 | NAYY 4x150 SE | 96 | 97 | 0.0047477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4324-16_0_5_line_110 | NAYY 4x150 SE | 97 | 98 | 0.025487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_4324-16_0_5_line_111 | NAYY 4x150 SE | 99 | 102 | 0.025851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_4324-16_0_5_line_112 | NAYY 4x150 SE | 100 | 103 | 0.023245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_4324-16_0_5_line_113 | NAYY 4x150 SE | 100 | 104 | 0.025296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_4324-16_0_5_line_114 | NAYY 4x150 SE | 102 | 105 | 0.0045648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_4324-16_0_5_line_115 | NAYY 4x150 SE | 104 | 107 | 0.0068881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_4324-16_0_5_line_116 | NAYY 4x150 SE | 104 | 108 | 0.032055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_4324-16_0_5_line_117 | NAYY 4x150 SE | 107 | 136 | 0.019502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_4324-16_0_5_line_118 | NAYY 4x150 SE | 108 | 134 | 0.0073846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_4324-16_0_5_line_119 | NAYY 4x150 SE | 109 | 110 | 0.01461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_4324-16_0_5_line_120 | NAYY 4x150 SE | 111 | 112 | 0.0062399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_4324-16_0_5_line_121 | NAYY 4x150 SE | 111 | 113 | 0.0036908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_4324-16_0_5_line_122 | NAYY 4x150 SE | 112 | 114 | 0.0034608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_4324-16_0_5_line_123 | NAYY 4x150 SE | 113 | 115 | 0.15227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_4324-16_0_5_line_124 | NAYY 4x150 SE | 114 | 116 | 0.0060416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_4324-16_0_5_line_125 | NAYY 4x150 SE | 115 | 117 | 0.043146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_4324-16_0_5_line_126 | NAYY 4x150 SE | 116 | 118 | 0.00093865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_4324-16_0_5_line_127 | NAYY 4x150 SE | 117 | 119 | 0.030978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_4324-16_0_5_line_128 | NAYY 4x150 SE | 118 | 143 | 0.059946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_4324-16_0_5_line_129 | NAYY 4x150 SE | 119 | 120 | 0.035767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_4324-16_0_5_line_130 | NAYY 4x150 SE | 121 | 122 | 0.02127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_4324-16_0_5_line_131 | NAYY 4x150 SE | 121 | 123 | 0.04525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_4324-16_0_5_line_132 | NAYY 4x150 SE | 122 | 124 | 0.0098276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_4324-16_0_5_line_133 | NAYY 4x150 SE | 123 | 125 | 0.0081376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_4324-16_0_5_line_134 | NAYY 4x150 SE | 124 | 126 | 0.0058969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_4324-16_0_5_line_135 | NAYY 4x150 SE | 125 | 127 | 0.021172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_4324-16_0_5_line_136 | NAYY 4x150 SE | 126 | 128 | 0.0059565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_4324-16_0_5_line_137 | NAYY 4x150 SE | 127 | 129 | 0.3885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_4324-16_0_5_line_138 | NAYY 4x150 SE | 128 | 140 | 0.048565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_4324-16_0_5_line_139 | NAYY 4x150 SE | 129 | 146 | 0.0046655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_4324-16_0_5_line_140 | NAYY 4x150 SE | 130 | 131 | 0.043018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_4324-16_0_5_line_141 | NAYY 4x150 SE | 131 | 132 | 0.042088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_4324-16_0_5_line_142 | NAYY 4x150 SE | 132 | 133 | 0.028301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_4324-16_0_5_line_143 | NAYY 4x150 SE | 134 | 135 | 0.061025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_4324-16_0_5_line_144 | NAYY 4x150 SE | 135 | 137 | 0.019437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_4324-16_0_5_line_145 | NAYY 4x150 SE | 136 | 138 | 0.0049991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_4324-16_0_5_line_146 | NAYY 4x150 SE | 138 | 142 | 0.061815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_4324-16_0_5_line_147 | NAYY 4x150 SE | 139 | 140 | 0.023822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_4324-16_0_5_line_148 | NAYY 4x150 SE | 141 | 142 | 0.014126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
149 | LV_4324-16_0_5_line_149 | NAYY 4x150 SE | 143 | 144 | 0.0049194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
150 | LV_4324-16_0_5_line_150 | NAYY 4x150 SE | 144 | 145 | 0.011533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
151 | LV_4324-16_0_5_line_151 | NAYY 4x150 SE | 146 | 147 | 0.020591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
152 | LV_4324-16_0_5_line_152 | NAYY 4x150 SE | 149 | 150 | 0.031594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
153 | LV_4324-16_0_5_line_153 | NAYY 4x150 SE | 152 | 153 | 0.0081162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
154 | LV_4324-16_0_5_line_154 | NAYY 4x150 SE | 154 | 155 | 0.031303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4324-16_0_5_trafo_98 | 0.25 MVA 20/0.4 kV | 156 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2670069.0319 | 1268062.3864 | 2670069.8798 | 1268085.0418
1 | 2670069.0319 | 1268062.3864 | 2670097.971 | 1268078.3752
2 | 2669915.4888 | 1267786.8211 | 2670069.0319 | 1268062.3864
3 | 2670097.971 | 1268078.3752 | 2670092.7553 | 1268100.5415
4 | 2670097.971 | 1268078.3752 | 2670121.7889 | 1268083.1947 | 2670131.9328 | 1268086.6443
5 | 2669946.0492 | 1267771.406 | 2669915.4888 | 1267786.8211
6 | 2669888.6614 | 1267800.3533 | 2669915.4888 | 1267786.8211
7 | 2669761.461 | 1267917.8484 | 2669767.0252 | 1267924.0744 | 2669772.0703 | 1267919.4415 | 2669782.8954 | 1267929.5326 | 2669776.0578 | 1267936.1681
8 | 2669763.7798 | 1267913.3501 | 2669761.461 | 1267917.8484
9 | 2669946.0492 | 1267771.406 | 2669961.7486 | 1267760.8059 | 2669963.6463 | 1267758.1718
10 | 2669867.4033 | 1267812.3826 | 2669876.5421 | 1267806.4665 | 2669888.6614 | 1267800.3533
11 | 2669850.9555 | 1267825.7122 | 2669863.9582 | 1267814.6129 | 2669867.4033 | 1267812.3826
12 | 2669850.9555 | 1267825.7122 | 2669846.03 | 1267821.9196
13 | 2669850.9555 | 1267825.7122 | 2669844.9033 | 1267833.8383
14 | 2669822.168 | 1267791.001 | 2669825.3479 | 1267805.9945 | 2669846.03 | 1267821.9196
15 | 2669836.1656 | 1267845.5702 | 2669844.9033 | 1267833.8383
16 | 2669822.168 | 1267791.001 | 2669864.532 | 1267781.3719 | 2669873.7621 | 1267777.1648
17 | 2669814.9376 | 1267792.639 | 2669822.168 | 1267791.001
18 | 2669836.1656 | 1267845.5702 | 2669826.5491 | 1267858.4819
19 | 2669256.2175 | 1268018.7501 | 2669236.0817 | 1268032.9652
20 | 2669273.6528 | 1268004.2668 | 2669267.8361 | 1268010.5479 | 2669256.2175 | 1268018.7501
21 | 2669206.5574 | 1268053.8081 | 2669236.0817 | 1268032.9652
22 | 2669273.6528 | 1268004.2668 | 2669277.9044 | 1268010.7772 | 2669278.2562 | 1268018.6429 | 2669281.4268 | 1268024.9071
23 | 2669273.6528 | 1268004.2668 | 2669279.9563 | 1267997.4565
24 | 2669281.4268 | 1268024.9071 | 2669283.891 | 1268026.5817
25 | 2669288.394 | 1267984.8179 | 2669281.2686 | 1267996.0386 | 2669279.9563 | 1267997.4565
26 | 2669283.891 | 1268026.5817 | 2669283.891 | 1268026.5817 | 2669290.1642 | 1268025.0207 | 2669304.4682 | 1268002.984
27 | 2669288.394 | 1267984.8179 | 2669290.885 | 1267980.8952 | 2669298.1717 | 1267968.0152 | 2669306.461 | 1267956.9261 | 2669311.1566 | 1267952.7423
28 | 2669311.1566 | 1267952.7423 | 2669311.5473 | 1267952.3942
29 | 2669698.0259 | 1267638.2186 | 2669683.9619 | 1267651.8632 | 2669665.9054 | 1267666.406 | 2669637.8381 | 1267684.6483
30 | 2669585.0439 | 1267720.3172 | 2669598.7056 | 1267710.7596 | 2669601.1039 | 1267709.0866 | 2669633.5079 | 1267687.4627 | 2669637.8381 | 1267684.6483
31 | 2669698.0259 | 1267638.2186 | 2669700.5338 | 1267645.765 | 2669702.0281 | 1267673.504
32 | 2669585.0439 | 1267720.3172 | 2669592.2948 | 1267730.3547 | 2669593.7995 | 1267732.9745 | 2669597.4802 | 1267739.3783 | 2669600.5965 | 1267744.4856
33 | 2669585.0439 | 1267720.3172 | 2669592.2948 | 1267730.3547 | 2669571.2898 | 1267747.9432 | 2669568.6256 | 1267744.7094 | 2669561.0637 | 1267736.7921 | 2669559.4033 | 1267735.2491 | 2669537.2991 | 1267748.3881
34 | 2669600.5965 | 1267744.4856 | 2669612.5356 | 1267775.0607 | 2669615.8103 | 1267782.6941 | 2669620.5876 | 1267789.9337
35 | 2669600.5965 | 1267744.4856 | 2669612.9895 | 1267752.5154 | 2669621.4137 | 1267765.8249 | 2669630.3761 | 1267760.2928 | 2669646.1589 | 1267762.3581 | 2669648.6308 | 1267765.9345 | 2669662.7912 | 1267786.8507 | 2669660.0499 | 1267788.8866 | 2669651.4312 | 1267795.2789
36 | 2669600.5965 | 1267744.4856 | 2669610.7867 | 1267735.6877 | 2669628.3801 | 1267730.3908
37 | 2669537.2991 | 1267748.3881 | 2669525.4999 | 1267755.1322 | 2669516.535 | 1267761.8931
38 | 2669651.4312 | 1267795.2789 | 2669646.8265 | 1267792.5559 | 2669619.9473 | 1267811.6873
39 | 2669651.4312 | 1267795.2789 | 2669678.4073 | 1267821.5503
40 | 2669516.535 | 1267761.8931 | 2669514.9889 | 1267763.0591 | 2669496.1899 | 1267779.3158
41 | 2669678.4073 | 1267821.5503 | 2669693.817 | 1267810.0951
42 | 2669678.4073 | 1267821.5503 | 2669670.4254 | 1267828.4143
43 | 2669479.5053 | 1267798.0488 | 2669490.2512 | 1267784.4514 | 2669496.1899 | 1267779.3158
44 | 2669806.2451 | 1267795.1147 | 2669787.8922 | 1267800.3417
45 | 2669814.9376 | 1267792.639 | 2669806.2451 | 1267795.1147
46 | 2669756.4296 | 1267815.2776 | 2669783.0732 | 1267801.7142 | 2669787.8922 | 1267800.3417
47 | 2669814.9376 | 1267792.639 | 2669819.5018 | 1267779.038 | 2669826.1654 | 1267771.2219 | 2669828.4445 | 1267769.4969
48 | 2669814.9376 | 1267792.639 | 2669810.6177 | 1267809.779 | 2669799.7409 | 1267826.341 | 2669785.8501 | 1267834.8947 | 2669783.0759 | 1267837.1637
49 | 2669746.4255 | 1267820.6293 | 2669750.1547 | 1267818.4719 | 2669756.4296 | 1267815.2776
50 | 2669837.0931 | 1267762.9508 | 2669828.4445 | 1267769.4969
51 | 2669783.0759 | 1267837.1637 | 2669752.5177 | 1267862.1544
52 | 2669783.0759 | 1267837.1637 | 2669785.8501 | 1267834.8947 | 2669799.7409 | 1267826.341 | 2669786.2419 | 1267846.3303 | 2669783.8296 | 1267853.007
53 | 2669783.0759 | 1267837.1637 | 2669776.5037 | 1267828.9585
54 | 2669681.6644 | 1267858.0946 | 2669746.4255 | 1267820.6293
55 | 2669884.9033 | 1267772.0867 | 2669873.7621 | 1267777.1648
56 | 2669837.0931 | 1267762.9508 | 2669860.2182 | 1267745.4476
57 | 2669734.8935 | 1267873.612 | 2669746.525 | 1267867.0553 | 2669752.5177 | 1267862.1544
58 | 2669783.8296 | 1267853.007 | 2669775.4068 | 1267860.013 | 2669763.1867 | 1267876.8928
59 | 2669777.0056 | 1267871.8632 | 2669783.8296 | 1267853.007
60 | 2669777.0056 | 1267871.8632 | 2669781.9067 | 1267872.4214 | 2669786.4688 | 1267871.0854 | 2669792.6765 | 1267867.4448
61 | 2669766.1037 | 1267905.2268 | 2669775.2504 | 1267877.0798 | 2669777.0056 | 1267871.8632
62 | 2669681.6644 | 1267858.0946 | 2669679.999 | 1267863.3679
63 | 2669645.6634 | 1267849.7083 | 2669646.1334 | 1267858.9988 | 2669649.0293 | 1267864.9152 | 2669666.8151 | 1267864.3355 | 2669681.6644 | 1267858.0946
64 | 2669884.9033 | 1267772.0867 | 2669887.1416 | 1267771.0665
65 | 2669884.8984 | 1267726.7673 | 2669860.2182 | 1267745.4476
66 | 2669734.8935 | 1267873.612 | 2669724.0342 | 1267863.2204
67 | 2669734.8935 | 1267873.612 | 2669717.6244 | 1267883.3491 | 2669707.5433 | 1267887.6557
68 | 2669763.7798 | 1267913.3501 | 2669766.1037 | 1267905.2268
69 | 2669766.1037 | 1267905.2268 | 2669775.8541 | 1267908.1664 | 2669782.6748 | 1267905.5226
70 | 2669559.8868 | 1267934.519 | 2669570.1632 | 1267919.5799
71 | 2669506.0428 | 1267965.5095 | 2669511.5347 | 1267958.0683 | 2669513.894 | 1267950.1122 | 2669523.2701 | 1267950.3226 | 2669534.5927 | 1267948.232 | 2669547.9367 | 1267944.5083 | 2669553.3416 | 1267939.9907 | 2669555.4853 | 1267938.2034 | 2669559.8868 | 1267934.519
72 | 2669506.0428 | 1267965.5095 | 2669511.5347 | 1267958.0683 | 2669513.894 | 1267950.1122 | 2669506.9244 | 1267930.2483
73 | 2669506.0428 | 1267965.5095 | 2669498.2637 | 1267976.0594 | 2669496.0387 | 1267978.507
74 | 2669506.0428 | 1267965.5095 | 2669519.0902 | 1267965.8743 | 2669527.8193 | 1267961.6008
75 | 2669645.6634 | 1267849.7083 | 2669670.4254 | 1267828.4143
76 | 2669502.7965 | 1267932.4348 | 2669506.9244 | 1267930.2483
77 | 2669506.9244 | 1267930.2483 | 2669502.3769 | 1267921.3991
78 | 2669496.0387 | 1267978.507 | 2669494.4315 | 1267980.2749
79 | 2669502.7965 | 1267932.4348 | 2669490.9828 | 1267943.6083
80 | 2669491.1797 | 1267906.4226 | 2669502.3769 | 1267921.3991
81 | 2669679.999 | 1267863.3679 | 2669686.39 | 1267863.321 | 2669691.5167 | 1267863.893 | 2669695.6293 | 1267867.4887
82 | 2669669.4369 | 1267878.177 | 2669678.3333 | 1267868.6523 | 2669679.999 | 1267863.3679
83 | 2669480.0065 | 1267995.8588 | 2669483.2108 | 1267992.6174 | 2669494.4315 | 1267980.2749
84 | 2669478.3129 | 1267952.7626 | 2669488.7224 | 1267945.7462 | 2669490.9828 | 1267943.6083
85 | 2669491.1797 | 1267906.4226 | 2669489.9433 | 1267912.9909 | 2669492.1557 | 1267916.6788
86 | 2669478.232 | 1267893.7274 | 2669482.3689 | 1267897.8236 | 2669490.0977 | 1267904.9866 | 2669491.1797 | 1267906.4226
87 | 2669693.817 | 1267810.0951 | 2669704.1653 | 1267802.4025
88 | 2669366.9523 | 1267936.6645 | 2669353.3947 | 1267963.8197
89 | 2669366.9523 | 1267936.6645 | 2669395.8445 | 1267967.1048
90 | 2669366.9523 | 1267936.6645 | 2669369.1106 | 1267932.3421 | 2669370.9498 | 1267918.8686
91 | 2669395.8445 | 1267967.1048 | 2669417.4609 | 1267951.1797 | 2669429.6033 | 1267941.7156
92 | 2669370.3875 | 1267899.8877 | 2669372.0672 | 1267910.6824 | 2669370.9498 | 1267918.8686
93 | 2669370.3875 | 1267899.8877 | 2669363.3323 | 1267904.5752
94 | 2669370.3875 | 1267899.8877 | 2669383.05 | 1267889.4617
95 | 2669363.3323 | 1267904.5752 | 2669347.5072 | 1267877.5836
96 | 2669363.3323 | 1267904.5752 | 2669338.8832 | 1267927.52
97 | 2669383.05 | 1267889.4617 | 2669389.6255 | 1267884.0458
98 | 2669383.05 | 1267889.4617 | 2669398.7953 | 1267903.0236 | 2669407.1977 | 1267900.9095 | 2669413.6416 | 1267896.9993
99 | 2669476.5816 | 1267801.7484 | 2669479.5053 | 1267798.0488
100 | 2669476.5816 | 1267801.7484 | 2669451.2784 | 1267829.6503 | 2669425.3779 | 1267854.5985
101 | 2669425.3779 | 1267854.5985 | 2669413.1027 | 1267864.7089
102 | 2669425.3779 | 1267854.5985 | 2669415.9537 | 1267843.7351 | 2669402.0654 | 1267816.2509 | 2669398.9537 | 1267810.0985 | 2669387.618 | 1267787.6593 | 2669380.0974 | 1267776.2067 | 2669378.2866 | 1267773.3611
103 | 2669425.3779 | 1267854.5985 | 2669449.5377 | 1267872.7074 | 2669453.7679 | 1267875.88
104 | 2669323.0211 | 1267942.1709 | 2669311.5473 | 1267952.3942
105 | 2669323.0211 | 1267942.1709 | 2669327.9798 | 1267937.7526 | 2669338.8832 | 1267927.52
106 | 2669333.365 | 1267853.4622 | 2669347.5072 | 1267877.5836
107 | 2669333.365 | 1267853.4622 | 2669317.3117 | 1267858.5061
108 | 2669907.0657 | 1267758.3957 | 2669892.9953 | 1267768.3984 | 2669887.1416 | 1267771.0665
109 | 2669457.566 | 1267878.7285 | 2669453.7679 | 1267875.88
110 | 2669478.232 | 1267893.7274 | 2669465.4676 | 1267884.6482 | 2669457.566 | 1267878.7285
111 | 2669393.149 | 1267881.1437 | 2669413.1027 | 1267864.7089
112 | 2669356.3138 | 1267781.1314 | 2669378.2866 | 1267773.3611
113 | 2669364.7025 | 1267751.9964 | 2669378.2866 | 1267773.3611
114 | 2669393.149 | 1267881.1437 | 2669389.6255 | 1267884.0458
115 | 2669364.7025 | 1267751.9964 | 2669361.0073 | 1267746.1833
116 | 2669364.7025 | 1267751.9964 | 2669366.511 | 1267751.1947 | 2669373.1054 | 1267753.7074 | 2669384.0308 | 1267752.1344 | 2669387.9873 | 1267752.381 | 2669388.5932 | 1267755.2681 | 2669393.5525 | 1267754.226
117 | 2669361.0073 | 1267746.1833 | 2669350.5451 | 1267729.7248
118 | 2669398.0382 | 1267750.9201 | 2669398.5159 | 1267753.183 | 2669393.5525 | 1267754.226
119 | 2669817.8221 | 1267870.1994 | 2669826.5491 | 1267858.4819
120 | 2669473.0249 | 1268002.9211 | 2669477.4117 | 1267998.4835
121 | 2669480.0065 | 1267995.8588 | 2669477.4117 | 1267998.4835
122 | 2669473.0249 | 1268002.9211 | 2669470.5918 | 1268005.3823
123 | 2669480.0065 | 1267995.8588 | 2669590.1614 | 1268100.9832
124 | 2669470.5918 | 1268005.3823 | 2669466.3444 | 1268009.6788
125 | 2669628.3588 | 1268121.0464 | 2669590.1614 | 1268100.9832
126 | 2669466.3444 | 1268009.6788 | 2669466.216 | 1268009.8087 | 2669465.6686 | 1268010.3301
127 | 2669628.3588 | 1268121.0464 | 2669623.4883 | 1268127.494 | 2669608.6184 | 1268140.0174 | 2669605.6869 | 1268141.8485
128 | 2669465.6686 | 1268010.3301 | 2669448.0078 | 1268027.1525 | 2669427.9661 | 1268044.2413 | 2669420.3424 | 1268049.4227
129 | 2669605.6869 | 1268141.8485 | 2669593.0514 | 1268149.7415 | 2669585.2499 | 1268152.6186 | 2669579.5552 | 1268153.0074 | 2669573.0424 | 1268150.899
130 | 2669796.7296 | 1267733.5928 | 2669779.6596 | 1267746.2822
131 | 2669796.7296 | 1267733.5928 | 2669833.0451 | 1267706.5969
132 | 2669779.6596 | 1267746.2822 | 2669771.7725 | 1267752.1452
133 | 2669833.0451 | 1267706.5969 | 2669839.5759 | 1267701.7421
134 | 2669767.04 | 1267755.6633 | 2669771.7725 | 1267752.1452
135 | 2669856.5676 | 1267689.1109 | 2669839.5759 | 1267701.7421
136 | 2669767.04 | 1267755.6633 | 2669762.2596 | 1267759.2168
137 | 2669856.5676 | 1267689.1109 | 2669930.3868 | 1267307.6928
138 | 2669723.2839 | 1267788.1903 | 2669762.2596 | 1267759.2168
139 | 2669930.0091 | 1267303.0426 | 2669930.3868 | 1267307.6928
140 | 2669317.3117 | 1267858.5061 | 2669307.3684 | 1267861.6302 | 2669299.4771 | 1267869.5772 | 2669291.7856 | 1267882.9528 | 2669289.4379 | 1267888.4387
141 | 2669267.4444 | 1267923.2807 | 2669271.5862 | 1267920.5449 | 2669279.759 | 1267911.0556 | 2669289.4379 | 1267888.4387
142 | 2669243.83 | 1267938.8782 | 2669267.4444 | 1267923.2807
143 | 2669454.1745 | 1267768.9933 | 2669442.037 | 1267757.7754 | 2669432.9853 | 1267756.2012 | 2669425.9995 | 1267756.2414 | 2669411.6981 | 1267753.0154 | 2669398.0382 | 1267750.9201
144 | 2669454.1745 | 1267768.9933 | 2669453.4974 | 1267774.7231 | 2669451.3735 | 1267783.149 | 2669446.6501 | 1267784.7614
145 | 2669350.5451 | 1267729.7248 | 2669347.8632 | 1267725.5059
146 | 2669308.1923 | 1267678.5105 | 2669335.9525 | 1267706.7688 | 2669347.8632 | 1267725.5059
147 | 2669723.2839 | 1267788.1903 | 2669704.1653 | 1267802.4025
148 | 2669308.1923 | 1267678.5105 | 2669318.8932 | 1267669.289
149 | 2669416.2738 | 1268052.1879 | 2669420.3424 | 1268049.4227
150 | 2669416.2738 | 1268052.1879 | 2669405.9449 | 1268057.3193
151 | 2669930.0091 | 1267303.0426 | 2669929.1849 | 1267292.8946 | 2669939.2261 | 1267290.1493
152 | 2669678.4896 | 1267900.0672 | 2669707.5433 | 1267887.6557
153 | 2669788.2542 | 1267899.6284 | 2669782.6748 | 1267905.5226
154 | 2669763.7798 | 1267913.3501 | 2669747.7493 | 1267919.5434 | 2669741.4948 | 1267932.2572

## bus_geodata
| x | y | coords
0 | 2670069.8798 | 1268085.0418
1 | 2670069.0319 | 1268062.3864
2 | 2670097.971 | 1268078.3752
3 | 2669915.4888 | 1267786.8211
4 | 2669776.0578 | 1267936.1681
5 | 2669761.461 | 1267917.8484
6 | 2670092.7553 | 1268100.5415
7 | 2670131.9328 | 1268086.6443
8 | 2669946.0492 | 1267771.406
9 | 2669888.6614 | 1267800.3533
10 | 2669963.6463 | 1267758.1718
11 | 2669867.4033 | 1267812.3826
12 | 2669850.9555 | 1267825.7122
13 | 2669846.03 | 1267821.9196
14 | 2669844.9033 | 1267833.8383
15 | 2669822.168 | 1267791.001
16 | 2669836.1656 | 1267845.5702
17 | 2669256.2175 | 1268018.7501
18 | 2669236.0817 | 1268032.9652
19 | 2669273.6528 | 1268004.2668
20 | 2669206.5574 | 1268053.8081
21 | 2669281.4268 | 1268024.9071
22 | 2669279.9563 | 1267997.4565
23 | 2669283.891 | 1268026.5817
24 | 2669288.394 | 1267984.8179
25 | 2669304.4682 | 1268002.984
26 | 2669311.1566 | 1267952.7423
27 | 2669637.8381 | 1267684.6483
28 | 2669698.0259 | 1267638.2186
29 | 2669585.0439 | 1267720.3172
30 | 2669702.0281 | 1267673.504
31 | 2669600.5965 | 1267744.4856
32 | 2669537.2991 | 1267748.3881
33 | 2669620.5876 | 1267789.9337
34 | 2669651.4312 | 1267795.2789
35 | 2669628.3801 | 1267730.3908
36 | 2669516.535 | 1267761.8931
37 | 2669619.9473 | 1267811.6873
38 | 2669678.4073 | 1267821.5503
39 | 2669496.1899 | 1267779.3158
40 | 2669806.2451 | 1267795.1147
41 | 2669787.8922 | 1267800.3417
42 | 2669814.9376 | 1267792.639
43 | 2669756.4296 | 1267815.2776
44 | 2669828.4445 | 1267769.4969
45 | 2669783.0759 | 1267837.1637
46 | 2669746.4255 | 1267820.6293
47 | 2669873.7621 | 1267777.1648
48 | 2669837.0931 | 1267762.9508
49 | 2669752.5177 | 1267862.1544
50 | 2669783.8296 | 1267853.007
51 | 2669776.5037 | 1267828.9585
52 | 2669763.1867 | 1267876.8928
53 | 2669777.0056 | 1267871.8632
54 | 2669681.6644 | 1267858.0946
55 | 2669884.9033 | 1267772.0867
56 | 2669860.2182 | 1267745.4476
57 | 2669734.8935 | 1267873.612
58 | 2669792.6765 | 1267867.4448
59 | 2669766.1037 | 1267905.2268
60 | 2669570.1632 | 1267919.5799
61 | 2669559.8868 | 1267934.519
62 | 2669506.0428 | 1267965.5095
63 | 2669645.6634 | 1267849.7083
64 | 2669670.4254 | 1267828.4143
65 | 2669506.9244 | 1267930.2483
66 | 2669496.0387 | 1267978.507
67 | 2669527.8193 | 1267961.6008
68 | 2669502.7965 | 1267932.4348
69 | 2669502.3769 | 1267921.3991
70 | 2669679.999 | 1267863.3679
71 | 2669494.4315 | 1267980.2749
72 | 2669490.9828 | 1267943.6083
73 | 2669491.1797 | 1267906.4226
74 | 2669693.817 | 1267810.0951
75 | 2669695.6293 | 1267867.4887
76 | 2669669.4369 | 1267878.177
77 | 2669353.3947 | 1267963.8197
78 | 2669366.9523 | 1267936.6645
79 | 2669395.8445 | 1267967.1048
80 | 2669370.9497 | 1267918.8686
81 | 2669429.6033 | 1267941.7156
82 | 2669370.3875 | 1267899.8877
83 | 2669363.3323 | 1267904.5752
84 | 2669383.05 | 1267889.4617
85 | 2669479.5053 | 1267798.0488
86 | 2669476.5816 | 1267801.7484
87 | 2669425.3779 | 1267854.5985
88 | 2669323.0211 | 1267942.1709
89 | 2669311.5473 | 1267952.3942
90 | 2669338.8832 | 1267927.52
91 | 2669347.5072 | 1267877.5836
92 | 2669333.365 | 1267853.4622
93 | 2669907.0657 | 1267758.3957
94 | 2669887.1416 | 1267771.0665
95 | 2669884.8984 | 1267726.7673
96 | 2669453.7679 | 1267875.88
97 | 2669457.566 | 1267878.7285
98 | 2669478.232 | 1267893.7274
99 | 2669413.1027 | 1267864.7089
100 | 2669378.2866 | 1267773.3611
101 | 2669413.6416 | 1267896.9993
102 | 2669393.149 | 1267881.1437
103 | 2669356.3138 | 1267781.1314
104 | 2669364.7025 | 1267751.9964
105 | 2669389.6255 | 1267884.0458
106 | 2669492.1557 | 1267916.6788
107 | 2669361.0073 | 1267746.1833
108 | 2669393.5525 | 1267754.226
109 | 2669826.549 | 1267858.4819
110 | 2669817.8221 | 1267870.1994
111 | 2669477.4117 | 1267998.4835
112 | 2669473.0249 | 1268002.9211
113 | 2669480.0065 | 1267995.8588
114 | 2669470.5918 | 1268005.3823
115 | 2669590.1614 | 1268100.9832
116 | 2669466.3444 | 1268009.6788
117 | 2669628.3588 | 1268121.0464
118 | 2669465.6686 | 1268010.3301
119 | 2669605.6869 | 1268141.8486
120 | 2669573.0424 | 1268150.899
121 | 2669796.7296 | 1267733.5928
122 | 2669779.6596 | 1267746.2822
123 | 2669833.0451 | 1267706.5969
124 | 2669771.7725 | 1267752.1452
125 | 2669839.5759 | 1267701.7421
126 | 2669767.04 | 1267755.6633
127 | 2669856.5676 | 1267689.1109
128 | 2669762.2596 | 1267759.2168
129 | 2669930.3868 | 1267307.6928
130 | 2669317.3117 | 1267858.5061
131 | 2669289.4379 | 1267888.4387
132 | 2669267.4444 | 1267923.2807
133 | 2669243.83 | 1267938.8782
134 | 2669398.0382 | 1267750.9201
135 | 2669454.1745 | 1267768.9933
136 | 2669350.5451 | 1267729.7248
137 | 2669446.6501 | 1267784.7614
138 | 2669347.8632 | 1267725.5059
139 | 2669704.1653 | 1267802.4025
140 | 2669723.2839 | 1267788.1903
141 | 2669318.8932 | 1267669.289
142 | 2669308.1923 | 1267678.5105
143 | 2669420.3424 | 1268049.4227
144 | 2669416.2738 | 1268052.1879
145 | 2669405.9449 | 1268057.3193
146 | 2669930.0091 | 1267303.0426
147 | 2669939.2261 | 1267290.1493
148 | 2669724.0342 | 1267863.2204
149 | 2669707.5433 | 1267887.6557
150 | 2669678.4896 | 1267900.0672
151 | 2669478.3129 | 1267952.7626
152 | 2669782.6748 | 1267905.5226
153 | 2669788.2542 | 1267899.6284
154 | 2669763.7798 | 1267913.3501
155 | 2669741.4948 | 1267932.2572
156 | 2669678.4073 | 1267821.5503

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1