## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4324-21_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4324-21_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4324-21_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4324-21_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4324-21_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4324-21_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_4324-21_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_4324-21_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_4324-21_0_4_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_4324-21_0_4_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_4324-21_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4324-21_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4324-21_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4324-21_0_4_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_4324-21_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4324-21_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4324-21_0_4_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_4324-21_0_4_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_4324-21_0_4_node_89 | 0.4 | n |  | TRUE
19 | bus_LV_4324-21_0_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_4324-21_0_4_node_90 | 0.4 | n |  | TRUE
21 | bus_LV_4324-21_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_4324-21_0_4_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_4324-21_0_4_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_4324-21_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_4324-21_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4324-21_0_4_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_4324-21_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4324-21_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_4324-21_0_4_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_4324-21_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_4324-21_0_4_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_4324-21_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4324-21_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_4324-21_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_4324-21_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_4324-21_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_4324-21_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_4324-21_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_4324-21_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_4324-21_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_4324-21_0_4_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_4324-21_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_4324-21_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_4324-21_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_4324-21_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_4324-21_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_4324-21_0_4_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_4324-21_0_4_node_96 | 0.4 | n |  | TRUE
49 | bus_LV_4324-21_0_4_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_4324-21_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_4324-21_0_4_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_4324-21_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_4324-21_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_4324-21_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_4324-21_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_4324-21_0_4_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_4324-21_0_4_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_4324-21_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_4324-21_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_4324-21_0_4_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_4324-21_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_4324-21_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_4324-21_0_4_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_4324-21_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_4324-21_0_4_node_87 | 0.4 | n |  | TRUE
66 | bus_LV_4324-21_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_4324-21_0_4_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_4324-21_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_4324-21_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_4324-21_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_4324-21_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_4324-21_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_4324-21_0_4_node_95 | 0.4 | n |  | TRUE
74 | bus_LV_4324-21_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_4324-21_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_4324-21_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_4324-21_0_4_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_4324-21_0_4_node_94 | 0.4 | n |  | TRUE
79 | bus_LV_4324-21_0_4_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_4324-21_0_4_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_4324-21_0_4_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_4324-21_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_4324-21_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_4324-21_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_4324-21_0_4_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_4324-21_0_4_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_4324-21_0_4_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_4324-21_0_4_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_4324-21_0_4_node_83 | 0.4 | n |  | TRUE
90 | bus_MV_425_1_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4324-21_0_4_load_0 | 0 | 0.004078 | 0.001022 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4324-21_0_4_load_1 | 1 | 0.0036151 | 0.00090603 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4324-21_0_4_load_2 | 2 | 0.0048077 | 0.0012049 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4324-21_0_4_load_3 | 3 | 0.0042733 | 0.001071 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4324-21_0_4_load_4 | 4 | 0.003245 | 0.00081327 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4324-21_0_4_load_10 | 5 | 0.0032966 | 0.0008262 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4324-21_0_4_load_55 | 8 | 0.0028981 | 0.00072634 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4324-21_0_4_load_31 | 9 | 0.0016613 | 0.00041635 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4324-21_0_4_load_5 | 10 | 0.0030054 | 0.00075323 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4324-21_0_4_load_6 | 11 | 0.0024101 | 0.00060403 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4324-21_0_4_load_7 | 12 | 0.0034506 | 0.00086481 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4324-21_0_4_load_47 | 13 | 0.0014038 | 0.00035181 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4324-21_0_4_load_8 | 14 | 0.0040055 | 0.0010039 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4324-21_0_4_load_9 | 15 | 0.0045148 | 0.0011315 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4324-21_0_4_load_49 | 16 | 0.0025804 | 0.00064672 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4324-21_0_4_load_46 | 17 | 0.00077147 | 0.00019335 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4324-21_0_4_load_89 | 18 | 0.0025619 | 0.00064207 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4324-21_0_4_load_40 | 19 | 0.002714 | 0.00068019 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4324-21_0_4_load_90 | 20 | 0.003754 | 0.00094085 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4324-21_0_4_load_35 | 22 | 0.004781 | 0.0011982 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4324-21_0_4_load_29 | 23 | 0.0017076 | 0.00042797 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4324-21_0_4_load_12 | 24 | 0.0038335 | 0.00096078 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4324-21_0_4_load_13 | 25 | 0.0035653 | 0.00089355 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4324-21_0_4_load_43 | 26 | 0.0026819 | 0.00067214 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4324-21_0_4_load_17 | 27 | 0.0040321 | 0.0010105 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4324-21_0_4_load_27 | 28 | 0.0028888 | 0.00072401 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4324-21_0_4_load_42 | 29 | 0.0024794 | 0.00062139 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4324-21_0_4_load_15 | 30 | 0.0017379 | 0.00043555 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4324-21_0_4_load_14 | 31 | 0.0018542 | 0.0004647 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4324-21_0_4_load_25 | 32 | 0.0034133 | 0.00085546 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4324-21_0_4_load_18 | 33 | 0.0012533 | 0.0003141 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4324-21_0_4_load_21 | 36 | 0.0013401 | 0.00033586 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4324-21_0_4_load_37 | 40 | 0.0015984 | 0.0004006 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4324-21_0_4_load_72 | 41 | 0.0026624 | 0.00066726 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4324-21_0_4_load_34 | 42 | 0.0014815 | 0.00037129 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4324-21_0_4_load_30 | 43 | 0.0028177 | 0.00070619 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4324-21_0_4_load_38 | 44 | 0.00094018 | 0.00023563 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4324-21_0_4_load_26 | 45 | 0.0029177 | 0.00073124 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4324-21_0_4_load_70 | 47 | 0.00034866 | 8.7383e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4324-21_0_4_load_96 | 48 | 0.002996 | 0.00075086 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4324-21_0_4_load_68 | 49 | 0.0003423 | 8.5789e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4324-21_0_4_load_67 | 50 | 0.00039581 | 9.9198e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4324-21_0_4_load_69 | 51 | 0.00041728 | 0.00010458 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4324-21_0_4_load_36 | 52 | 0.0012818 | 0.00032124 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4324-21_0_4_load_53 | 53 | 0.0015694 | 0.00039333 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4324-21_0_4_load_39 | 54 | 0.0020726 | 0.00051945 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4324-21_0_4_load_41 | 55 | 0.0023519 | 0.00058945 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4324-21_0_4_load_73 | 56 | 0.0018907 | 0.00047385 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4324-21_0_4_load_74 | 57 | 0.0024825 | 0.00062216 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4324-21_0_4_load_44 | 58 | 0.0035534 | 0.00089056 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4324-21_0_4_load_45 | 59 | 0.0033169 | 0.00083129 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4324-21_0_4_load_56 | 60 | 0.0032759 | 0.00082102 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4324-21_0_4_load_57 | 61 | 0.0021311 | 0.00053411 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4324-21_0_4_load_88 | 63 | 0.00089211 | 0.00022358 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4324-21_0_4_load_50 | 64 | 0.0010996 | 0.00027559 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4324-21_0_4_load_87 | 65 | 0.00040304 | 0.00010101 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4324-21_0_4_load_51 | 66 | 0.002617 | 0.00065589 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4324-21_0_4_load_52 | 67 | 0.0032634 | 0.00081789 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4324-21_0_4_load_54 | 68 | 0.0023575 | 0.00059086 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4324-21_0_4_load_58 | 69 | 0.0005631 | 0.00014113 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4324-21_0_4_load_59 | 70 | 0.00057837 | 0.00014495 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4324-21_0_4_load_61 | 72 | 0.00057894 | 0.0001451 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4324-21_0_4_load_95 | 73 | 0.00056986 | 0.00014282 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4324-21_0_4_load_62 | 74 | 0.00055351 | 0.00013872 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4324-21_0_4_load_63 | 75 | 0.00052908 | 0.0001326 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4324-21_0_4_load_64 | 76 | 0.0010245 | 0.00025676 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4324-21_0_4_load_65 | 77 | 0.00096353 | 0.00024148 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4324-21_0_4_load_94 | 78 | 0.00064254 | 0.00016104 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4324-21_0_4_load_84 | 80 | 0.00073099 | 0.0001832 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4324-21_0_4_load_86 | 81 | 0.0015427 | 0.00038665 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4324-21_0_4_load_76 | 82 | 0.00083939 | 0.00021037 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4324-21_0_4_load_77 | 83 | 0.00077684 | 0.00019469 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4324-21_0_4_load_78 | 84 | 0.00063616 | 0.00015944 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4324-21_0_4_load_79 | 85 | 0.00077934 | 0.00019532 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4324-21_0_4_load_80 | 86 | 0.00094364 | 0.0002365 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4324-21_0_4_load_81 | 87 | 0.0015927 | 0.00039918 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4324-21_0_4_load_82 | 88 | 0.0017655 | 0.00044248 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4324-21_0_4_load_83 | 89 | 0.0019559 | 0.00049019 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4324-21_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4324-21_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.008859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4324-21_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0021355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4324-21_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_4324-21_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.026396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4324-21_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.039065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_4324-21_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0034985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4324-21_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.014467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4324-21_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.041901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_4324-21_0_4_line_9 | NAYY 4x150 SE | 7 | 24 | 0.015524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4324-21_0_4_line_10 | NAYY 4x150 SE | 7 | 25 | 0.029947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4324-21_0_4_line_11 | NAYY 4x150 SE | 8 | 53 | 0.004298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4324-21_0_4_line_12 | NAYY 4x150 SE | 9 | 43 | 0.021322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_4324-21_0_4_line_13 | NAYY 4x150 SE | 10 | 11 | 0.029213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_4324-21_0_4_line_14 | NAYY 4x150 SE | 10 | 12 | 0.01818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4324-21_0_4_line_15 | NAYY 4x150 SE | 10 | 13 | 0.055933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_4324-21_0_4_line_16 | NAYY 4x150 SE | 11 | 14 | 0.022691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_4324-21_0_4_line_17 | NAYY 4x150 SE | 12 | 15 | 0.025403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4324-21_0_4_line_18 | NAYY 4x150 SE | 13 | 16 | 0.012387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4324-21_0_4_line_19 | NAYY 4x150 SE | 13 | 17 | 0.020544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_4324-21_0_4_line_20 | NAYY 4x150 SE | 14 | 19 | 0.026867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_4324-21_0_4_line_21 | NAYY 4x150 SE | 16 | 18 | 0.016538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4324-21_0_4_line_22 | NAYY 4x150 SE | 17 | 62 | 0.018822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4324-21_0_4_line_23 | NAYY 4x150 SE | 17 | 63 | 0.058531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_4324-21_0_4_line_24 | NAYY 4x150 SE | 18 | 20 | 0.016408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4324-21_0_4_line_25 | NAYY 4x150 SE | 19 | 21 | 0.033386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_4324-21_0_4_line_26 | NAYY 4x150 SE | 21 | 34 | 0.035289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_4324-21_0_4_line_27 | NAYY 4x150 SE | 22 | 23 | 0.029016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4324-21_0_4_line_28 | NAYY 4x150 SE | 23 | 28 | 0.032117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4324-21_0_4_line_29 | NAYY 4x150 SE | 24 | 26 | 0.0011418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4324-21_0_4_line_30 | NAYY 4x150 SE | 25 | 27 | 0.002556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4324-21_0_4_line_31 | NAYY 4x150 SE | 26 | 29 | 0.023582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4324-21_0_4_line_32 | NAYY 4x150 SE | 27 | 30 | 0.017859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4324-21_0_4_line_33 | NAYY 4x150 SE | 28 | 32 | 0.021335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4324-21_0_4_line_34 | NAYY 4x150 SE | 29 | 58 | 0.00049291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4324-21_0_4_line_35 | NAYY 4x150 SE | 30 | 31 | 0.02393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4324-21_0_4_line_36 | NAYY 4x150 SE | 32 | 45 | 0.024368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4324-21_0_4_line_37 | NAYY 4x150 SE | 33 | 34 | 0.032731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4324-21_0_4_line_38 | NAYY 4x150 SE | 33 | 35 | 0.032789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4324-21_0_4_line_39 | NAYY 4x150 SE | 34 | 36 | 0.015083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4324-21_0_4_line_40 | NAYY 4x150 SE | 35 | 37 | 0.007349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4324-21_0_4_line_41 | NAYY 4x150 SE | 35 | 38 | 0.046742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4324-21_0_4_line_42 | NAYY 4x150 SE | 36 | 39 | 0.021616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_4324-21_0_4_line_43 | NAYY 4x150 SE | 37 | 40 | 0.023746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4324-21_0_4_line_44 | NAYY 4x150 SE | 38 | 41 | 0.11311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4324-21_0_4_line_45 | NAYY 4x150 SE | 39 | 42 | 0.033436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4324-21_0_4_line_46 | NAYY 4x150 SE | 39 | 43 | 0.018787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_4324-21_0_4_line_47 | NAYY 4x150 SE | 40 | 44 | 0.060045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4324-21_0_4_line_48 | NAYY 4x150 SE | 42 | 52 | 0.022562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4324-21_0_4_line_49 | NAYY 4x150 SE | 44 | 54 | 0.056662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4324-21_0_4_line_50 | NAYY 4x150 SE | 45 | 46 | 0.059555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4324-21_0_4_line_51 | NAYY 4x150 SE | 46 | 50 | 0.056902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4324-21_0_4_line_52 | NAYY 4x150 SE | 47 | 48 | 0.033742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4324-21_0_4_line_53 | NAYY 4x150 SE | 47 | 49 | 0.0067235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4324-21_0_4_line_54 | NAYY 4x150 SE | 48 | 70 | 0.039884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4324-21_0_4_line_55 | NAYY 4x150 SE | 49 | 50 | 0.01701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4324-21_0_4_line_56 | NAYY 4x150 SE | 50 | 51 | 0.0077731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4324-21_0_4_line_57 | NAYY 4x150 SE | 53 | 66 | 0.019074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4324-21_0_4_line_58 | NAYY 4x150 SE | 54 | 55 | 0.032272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4324-21_0_4_line_59 | NAYY 4x150 SE | 55 | 56 | 0.030992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4324-21_0_4_line_60 | NAYY 4x150 SE | 56 | 57 | 0.031463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4324-21_0_4_line_61 | NAYY 4x150 SE | 58 | 59 | 0.00051139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4324-21_0_4_line_62 | NAYY 4x150 SE | 59 | 60 | 0.0040997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4324-21_0_4_line_63 | NAYY 4x150 SE | 60 | 61 | 0.015432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4324-21_0_4_line_64 | NAYY 4x150 SE | 62 | 64 | 0.022798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4324-21_0_4_line_65 | NAYY 4x150 SE | 63 | 65 | 0.0026433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_4324-21_0_4_line_66 | NAYY 4x150 SE | 65 | 89 | 0.0027826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_4324-21_0_4_line_67 | NAYY 4x150 SE | 66 | 67 | 0.011995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4324-21_0_4_line_68 | NAYY 4x150 SE | 67 | 68 | 0.01383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4324-21_0_4_line_69 | NAYY 4x150 SE | 69 | 70 | 0.021999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4324-21_0_4_line_70 | NAYY 4x150 SE | 69 | 71 | 0.012978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4324-21_0_4_line_71 | NAYY 4x150 SE | 70 | 72 | 0.027215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4324-21_0_4_line_72 | NAYY 4x150 SE | 70 | 73 | 0.032332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4324-21_0_4_line_73 | NAYY 4x150 SE | 71 | 74 | 0.01268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4324-21_0_4_line_74 | NAYY 4x150 SE | 71 | 75 | 0.013525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4324-21_0_4_line_75 | NAYY 4x150 SE | 72 | 76 | 0.010241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4324-21_0_4_line_76 | NAYY 4x150 SE | 75 | 77 | 0.033872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4324-21_0_4_line_77 | NAYY 4x150 SE | 76 | 78 | 0.026066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4324-21_0_4_line_78 | NAYY 4x150 SE | 78 | 79 | 0.036004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4324-21_0_4_line_79 | NAYY 4x150 SE | 79 | 80 | 0.015197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4324-21_0_4_line_80 | NAYY 4x150 SE | 79 | 85 | 0.013587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4324-21_0_4_line_81 | NAYY 4x150 SE | 80 | 81 | 0.012131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4324-21_0_4_line_82 | NAYY 4x150 SE | 82 | 83 | 0.020267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_4324-21_0_4_line_83 | NAYY 4x150 SE | 82 | 84 | 0.0022607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_4324-21_0_4_line_84 | NAYY 4x150 SE | 83 | 85 | 0.017432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4324-21_0_4_line_85 | NAYY 4x150 SE | 84 | 86 | 0.043117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_4324-21_0_4_line_86 | NAYY 4x150 SE | 86 | 87 | 0.0040666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_4324-21_0_4_line_87 | NAYY 4x150 SE | 87 | 88 | 0.0018944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_4324-21_0_4_line_88 | NAYY 4x150 SE | 88 | 89 | 0.025739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4324-21_0_4_trafo_2 | 0.25 MVA 20/0.4 kV | 90 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2665004.0892 | 1270425.4488 | 2665001.3835 | 1270428.6517 | 2664992.5066 | 1270439.1635
1 | 2665004.0892 | 1270425.4488 | 2665009.8061 | 1270418.6813
2 | 2664992.5066 | 1270439.1635 | 2664991.1287 | 1270440.7951
3 | 2665009.8061 | 1270418.6813 | 2665027.92 | 1270397.2385
4 | 2664974.0949 | 1270460.9593 | 2664981.7618 | 1270451.8871 | 2664991.1287 | 1270440.7951
5 | 2665051.4274 | 1270366.1544 | 2665043.5621 | 1270378.7219 | 2665027.92 | 1270397.2385
6 | 2664971.8368 | 1270463.6314 | 2664974.0949 | 1270460.9593
7 | 2665051.4274 | 1270366.1544 | 2665040.6289 | 1270356.527
8 | 2665051.4274 | 1270366.1544 | 2665059.4256 | 1270349.0404 | 2665065.901 | 1270327.4285 | 2665066.0102 | 1270326.9924
9 | 2664971.8368 | 1270463.6314 | 2664960.3735 | 1270453.1628
10 | 2664971.8368 | 1270463.6314 | 2664952.5715 | 1270486.5589
11 | 2665037.4208 | 1270353.6668 | 2665040.6289 | 1270356.527
12 | 2665066.0102 | 1270326.9924 | 2665071.1903 | 1270306.3089
13 | 2665087.6627 | 1270384.5187 | 2665091.8213 | 1270371.7257 | 2665095.8477 | 1270356.4876
14 | 2665087.6627 | 1270384.5187 | 2665082.0427 | 1270401.8077
15 | 2665087.6627 | 1270384.5187 | 2665140.3306 | 1270403.3506
16 | 2665095.8477 | 1270356.4876 | 2665101.6445 | 1270334.5495
17 | 2665073.87 | 1270425.8519 | 2665075.9341 | 1270420.5994 | 2665082.0427 | 1270401.8077
18 | 2665140.3306 | 1270403.3506 | 2665141.8267 | 1270395.3616 | 2665144.6453 | 1270392.1682
19 | 2665151.9022 | 1270415.5177 | 2665142.7448 | 1270413.0742 | 2665139.9429 | 1270410.6304 | 2665139.6842 | 1270406.8023 | 2665140.3306 | 1270403.3506
20 | 2665108.3525 | 1270308.5344 | 2665105.9773 | 1270318.1517 | 2665101.6445 | 1270334.5495
21 | 2665144.6453 | 1270392.1682 | 2665155.5891 | 1270379.7687
22 | 2665170.0882 | 1270420.3702 | 2665151.9022 | 1270415.5177
23 | 2665120.3778 | 1270464.8341 | 2665151.9022 | 1270415.5177
24 | 2665155.5891 | 1270379.7687 | 2665166.447 | 1270367.4667
25 | 2665116.3572 | 1270276.1227 | 2665108.3525 | 1270308.5344
26 | 2665116.3572 | 1270276.1227 | 2665100.5586 | 1270264.384 | 2665087.6555 | 1270255.4795
27 | 2665031.8136 | 1270514.012 | 2665039.9392 | 1270499.9752 | 2665045.8702 | 1270488.6353
28 | 2665031.8136 | 1270514.012 | 2665023.143 | 1270528.9904 | 2665014.6135 | 1270541.0972
29 | 2664960.3735 | 1270453.1628 | 2664959.5304 | 1270452.3928
30 | 2664950.9273 | 1270488.5158 | 2664952.5715 | 1270486.5589
31 | 2664942.2664 | 1270436.3305 | 2664949.3935 | 1270443.1356 | 2664959.5304 | 1270452.3928
32 | 2664939.4385 | 1270502.1885 | 2664950.9273 | 1270488.5158
33 | 2665014.6135 | 1270541.0972 | 2665002.3261 | 1270558.5381
34 | 2664942.2664 | 1270436.3305 | 2664941.9099 | 1270435.9901
35 | 2664924.0439 | 1270520.5096 | 2664939.4385 | 1270502.1885
36 | 2665002.3261 | 1270558.5381 | 2664995.4219 | 1270568.3379 | 2664987.685 | 1270578.0034
37 | 2665087.6555 | 1270255.4795 | 2665061.5894 | 1270235.6834
38 | 2665035.4773 | 1270215.8524 | 2665061.5894 | 1270235.6834
39 | 2665087.6555 | 1270255.4795 | 2665084.5212 | 1270268.1547 | 2665082.5396 | 1270267.7325
40 | 2665035.4773 | 1270215.8524 | 2665033.6751 | 1270214.1646 | 2665029.1512 | 1270212.2911
41 | 2665068.1017 | 1270208.2946 | 2665052.9466 | 1270195.4846 | 2665045.1956 | 1270203.1162 | 2665035.4773 | 1270215.8524
42 | 2665075.7544 | 1270288.0846 | 2665077.3316 | 1270281.5191 | 2665079.8368 | 1270277.4436 | 2665082.5396 | 1270267.7325
43 | 2665029.1512 | 1270212.2911 | 2665016.3863 | 1270232.3145
44 | 2665068.1017 | 1270208.2946 | 2665085.705 | 1270096.5669
45 | 2665075.7544 | 1270288.0846 | 2665070.2821 | 1270285.5779 | 2665047.0734 | 1270270.9812
46 | 2665075.7544 | 1270288.0846 | 2665071.1903 | 1270306.3089
47 | 2665016.3863 | 1270232.3145 | 2664984.1084 | 1270282.9465
48 | 2665027.975 | 1270258.9696 | 2665047.0734 | 1270270.9812
49 | 2664984.1084 | 1270282.9465 | 2664960.2005 | 1270320.4491 | 2664953.2234 | 1270330.4415
50 | 2664950.4681 | 1270624.4978 | 2664987.685 | 1270578.0034
51 | 2664999.3596 | 1270653.6088 | 2664950.4681 | 1270624.4978
52 | 2665011.4838 | 1270633.206 | 2665045.0476 | 1270629.7423
53 | 2665011.4838 | 1270633.206 | 2665008.049 | 1270638.9861
54 | 2665045.0476 | 1270629.7423 | 2665080.4634 | 1270648.0839
55 | 2664999.3596 | 1270653.6088 | 2665008.049 | 1270638.9861
56 | 2664999.3596 | 1270653.6088 | 2664995.3887 | 1270660.2911
57 | 2665023.1836 | 1270340.9736 | 2665037.4208 | 1270353.6668
58 | 2664953.2234 | 1270330.4415 | 2664934.7476 | 1270356.9017
59 | 2664917.0048 | 1270382.3122 | 2664934.7476 | 1270356.9017
60 | 2664917.0048 | 1270382.3122 | 2664898.9925 | 1270408.1087
61 | 2664941.9099 | 1270435.9901 | 2664941.5401 | 1270435.637
62 | 2664938.5749 | 1270432.8058 | 2664941.5401 | 1270435.637
63 | 2664927.3383 | 1270422.2327 | 2664928.7993 | 1270423.4719 | 2664938.5749 | 1270432.8058
64 | 2665170.0882 | 1270420.3702 | 2665172.1117 | 1270414.2656 | 2665183.3725 | 1270402.3882
65 | 2665120.3778 | 1270464.8341 | 2665119.7623 | 1270467.4048
66 | 2665119.1143 | 1270470.1109 | 2665119.7623 | 1270467.4048
67 | 2665023.1836 | 1270340.9736 | 2665014.23 | 1270332.9911
68 | 2665003.9073 | 1270323.7878 | 2665014.23 | 1270332.9911
69 | 2665071.7928 | 1270668.3026 | 2665080.4634 | 1270648.0839
70 | 2665066.6778 | 1270680.2303 | 2665071.7928 | 1270668.3026
71 | 2665091.1894 | 1270623.0721 | 2665080.4634 | 1270648.0839
72 | 2665080.4634 | 1270648.0839 | 2665105.3849 | 1270668.6812
73 | 2665066.6778 | 1270680.2303 | 2665074.3956 | 1270686.4757 | 2665076.4772 | 1270684.6417
74 | 2665066.6778 | 1270680.2303 | 2665061.2598 | 1270692.6223
75 | 2665095.2256 | 1270613.6603 | 2665091.1894 | 1270623.0721
76 | 2665046.4195 | 1270723.0429 | 2665052.0316 | 1270712.8386 | 2665056.5365 | 1270703.4254 | 2665061.2598 | 1270692.6223
77 | 2665095.2256 | 1270613.6603 | 2665120.8424 | 1270618.4796
78 | 2665123.052 | 1270582.543 | 2665120.8424 | 1270618.4796
79 | 2665123.052 | 1270582.543 | 2665109.9794 | 1270574.793
80 | 2665123.052 | 1270582.543 | 2665126.6209 | 1270569.4329
81 | 2665099.5442 | 1270568.6065 | 2665109.9794 | 1270574.793
82 | 2665135.715 | 1270532.8769 | 2665134.1552 | 1270541.7562 | 2665131.1996 | 1270552.6131
83 | 2665135.715 | 1270532.8769 | 2665136.1062 | 1270530.6503
84 | 2665126.6209 | 1270569.4329 | 2665131.1996 | 1270552.6131
85 | 2665136.1062 | 1270530.6503 | 2665141.2597 | 1270501.3146 | 2665129.0664 | 1270495.9235
86 | 2665125.3921 | 1270494.1835 | 2665127.4086 | 1270495.1905 | 2665129.0664 | 1270495.9235
87 | 2665125.3921 | 1270494.1835 | 2665123.6973 | 1270493.3371 | 2665123.6973 | 1270493.3371
88 | 2665123.6973 | 1270493.3371 | 2665119.8073 | 1270489.2688 | 2665117.3382 | 1270484.6158 | 2665116.6788 | 1270480.283 | 2665119.1143 | 1270470.1109

## bus_geodata
| x | y | coords
0 | 2665004.0892 | 1270425.4488
1 | 2664992.5066 | 1270439.1635
2 | 2665009.8061 | 1270418.6813
3 | 2664991.1287 | 1270440.7951
4 | 2665027.92 | 1270397.2385
5 | 2664974.0949 | 1270460.9593
6 | 2665051.4274 | 1270366.1544
7 | 2664971.8368 | 1270463.6314
8 | 2665040.6289 | 1270356.527
9 | 2665066.0102 | 1270326.9924
10 | 2665087.6627 | 1270384.5187
11 | 2665095.8477 | 1270356.4876
12 | 2665082.0427 | 1270401.8077
13 | 2665140.3306 | 1270403.3506
14 | 2665101.6445 | 1270334.5495
15 | 2665073.87 | 1270425.8519
16 | 2665144.6453 | 1270392.1682
17 | 2665151.9022 | 1270415.5177
18 | 2665155.5891 | 1270379.7687
19 | 2665108.3525 | 1270308.5344
20 | 2665166.447 | 1270367.4667
21 | 2665116.3572 | 1270276.1227
22 | 2665045.8702 | 1270488.6353
23 | 2665031.8136 | 1270514.012
24 | 2664960.3735 | 1270453.1628
25 | 2664952.5715 | 1270486.5589
26 | 2664959.5304 | 1270452.3928
27 | 2664950.9273 | 1270488.5158
28 | 2665014.6135 | 1270541.0972
29 | 2664942.2664 | 1270436.3305
30 | 2664939.4385 | 1270502.1885
31 | 2664924.0439 | 1270520.5096
32 | 2665002.3261 | 1270558.5381
33 | 2665061.5894 | 1270235.6834
34 | 2665087.6555 | 1270255.4795
35 | 2665035.4773 | 1270215.8524
36 | 2665082.5396 | 1270267.7325
37 | 2665029.1512 | 1270212.2911
38 | 2665068.1017 | 1270208.2946
39 | 2665075.7544 | 1270288.0846
40 | 2665016.3863 | 1270232.3145
41 | 2665085.705 | 1270096.5669
42 | 2665047.0734 | 1270270.9812
43 | 2665071.1903 | 1270306.3089
44 | 2664984.1084 | 1270282.9465
45 | 2664987.6851 | 1270578.0034
46 | 2664950.4681 | 1270624.4978
47 | 2665011.4838 | 1270633.206
48 | 2665045.0476 | 1270629.7423
49 | 2665008.049 | 1270638.9861
50 | 2664999.3596 | 1270653.6088
51 | 2664995.3887 | 1270660.2911
52 | 2665027.975 | 1270258.9696
53 | 2665037.4208 | 1270353.6668
54 | 2664953.2234 | 1270330.4415
55 | 2664934.7476 | 1270356.9017
56 | 2664917.0048 | 1270382.3122
57 | 2664898.9925 | 1270408.1087
58 | 2664941.9099 | 1270435.9901
59 | 2664941.5401 | 1270435.637
60 | 2664938.5749 | 1270432.8058
61 | 2664927.3383 | 1270422.2327
62 | 2665170.0882 | 1270420.3702
63 | 2665120.3778 | 1270464.8341
64 | 2665183.3725 | 1270402.3882
65 | 2665119.7623 | 1270467.4048
66 | 2665023.1836 | 1270340.9736
67 | 2665014.23 | 1270332.9911
68 | 2665003.9073 | 1270323.7878
69 | 2665071.7928 | 1270668.3026
70 | 2665080.4634 | 1270648.0839
71 | 2665066.6778 | 1270680.2303
72 | 2665091.1894 | 1270623.0721
73 | 2665105.3849 | 1270668.6812
74 | 2665076.4772 | 1270684.6417
75 | 2665061.2598 | 1270692.6223
76 | 2665095.2256 | 1270613.6603
77 | 2665046.4195 | 1270723.0429
78 | 2665120.8424 | 1270618.4796
79 | 2665123.052 | 1270582.543
80 | 2665109.9794 | 1270574.793
81 | 2665099.5442 | 1270568.6065
82 | 2665135.715 | 1270532.8769
83 | 2665131.1996 | 1270552.6131
84 | 2665136.1062 | 1270530.6503
85 | 2665126.6209 | 1270569.4329
86 | 2665129.0664 | 1270495.9235
87 | 2665125.3921 | 1270494.1835
88 | 2665123.6973 | 1270493.3371
89 | 2665119.1143 | 1270470.1109
90 | 2664971.8368 | 1270463.6314

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1