## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4324-29_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4324-29_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4324-29_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4324-29_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4324-29_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4324-29_0_3_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_4324-29_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_4324-29_0_3_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_4324-29_0_3_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_4324-29_0_3_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_4324-29_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_4324-29_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4324-29_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4324-29_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4324-29_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4324-29_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4324-29_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_4324-29_0_3_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_4324-29_0_3_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_4324-29_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4324-29_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_4324-29_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4324-29_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4324-29_0_3_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_4324-29_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_4324-29_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_4324-29_0_3_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_4324-29_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_4324-29_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4324-29_0_3_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_4324-29_0_3_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_4324-29_0_3_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_4324-29_0_3_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_4324-29_0_3_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_4324-29_0_3_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_4324-29_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_4324-29_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_4324-29_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_4324-29_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_4324-29_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_4324-29_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_4324-29_0_3_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_4324-29_0_3_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_4324-29_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_4324-29_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_4324-29_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_4324-29_0_3_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_4324-29_0_3_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_4324-29_0_3_node_93 | 0.4 | n |  | TRUE
49 | bus_LV_4324-29_0_3_node_94 | 0.4 | n |  | TRUE
50 | bus_LV_4324-29_0_3_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_4324-29_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_4324-29_0_3_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_4324-29_0_3_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_4324-29_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_4324-29_0_3_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_4324-29_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_4324-29_0_3_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_4324-29_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_4324-29_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_4324-29_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_4324-29_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_4324-29_0_3_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_4324-29_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_4324-29_0_3_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_4324-29_0_3_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_4324-29_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_4324-29_0_3_node_95 | 0.4 | n |  | TRUE
68 | bus_LV_4324-29_0_3_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_4324-29_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_4324-29_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_4324-29_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_4324-29_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_4324-29_0_3_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_4324-29_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_4324-29_0_3_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_4324-29_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_4324-29_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_4324-29_0_3_node_103 | 0.4 | n |  | TRUE
79 | bus_LV_4324-29_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_4324-29_0_3_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_4324-29_0_3_node_105 | 0.4 | n |  | TRUE
82 | bus_LV_4324-29_0_3_node_104 | 0.4 | n |  | TRUE
83 | bus_LV_4324-29_0_3_node_101 | 0.4 | n |  | TRUE
84 | bus_LV_4324-29_0_3_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_4324-29_0_3_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_4324-29_0_3_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_4324-29_0_3_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_4324-29_0_3_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_4324-29_0_3_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_4324-29_0_3_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_4324-29_0_3_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_4324-29_0_3_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_4324-29_0_3_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_4324-29_0_3_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_4324-29_0_3_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_4324-29_0_3_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_4324-29_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_4324-29_0_3_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_4324-29_0_3_node_92 | 0.4 | n |  | TRUE
100 | bus_LV_4324-29_0_3_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_4324-29_0_3_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_4324-29_0_3_node_100 | 0.4 | n |  | TRUE
103 | bus_MV_425_1_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4324-29_0_3_load_0 | 0 | 0.0014322 | 0.00035893 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4324-29_0_3_load_1 | 1 | 0.00038887 | 9.746e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4324-29_0_3_load_3 | 3 | 0.0015682 | 0.00039303 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4324-29_0_3_load_5 | 4 | 0.00098595 | 0.0002471 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4324-29_0_3_load_52 | 5 | 0.0021778 | 0.00054581 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4324-29_0_3_load_11 | 6 | 0.0012305 | 0.0003084 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4324-29_0_3_load_53 | 7 | 0.0026687 | 0.00066883 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4324-29_0_3_load_26 | 8 | 0.0010345 | 0.00025927 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4324-29_0_3_load_6 | 11 | 0.006857 | 0.0017185 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4324-29_0_3_load_7 | 12 | 0.0039023 | 0.00097802 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4324-29_0_3_load_8 | 13 | 0.0021155 | 0.00053019 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4324-29_0_3_load_74 | 18 | 0.00077497 | 0.00019423 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4324-29_0_3_load_13 | 19 | 0.0007948 | 0.0001992 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4324-29_0_3_load_19 | 21 | 0.002802 | 0.00070225 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4324-29_0_3_load_15 | 22 | 0.00080173 | 0.00020093 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4324-29_0_3_load_29 | 24 | 0.0037816 | 0.00094777 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4324-29_0_3_load_16 | 27 | 0.0041208 | 0.0010328 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4324-29_0_3_load_64 | 30 | 0.0015037 | 0.00037686 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4324-29_0_3_load_51 | 31 | 0.0016698 | 0.0004185 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4324-29_0_3_load_61 | 32 | 9.4089e-05 | 2.3581e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4324-29_0_3_load_41 | 33 | 0.0002709 | 6.7893e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4324-29_0_3_load_65 | 34 | 0.00094657 | 0.00023723 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4324-29_0_3_load_20 | 35 | 0.0029282 | 0.00073388 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4324-29_0_3_load_21 | 36 | 0.0015547 | 0.00038965 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4324-29_0_3_load_22 | 37 | 0.0033326 | 0.00083523 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4324-29_0_3_load_23 | 38 | 0.001572 | 0.00039397 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4324-29_0_3_load_24 | 39 | 0.0018578 | 0.00046562 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4324-29_0_3_load_25 | 40 | 0.0009629 | 0.00024133 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4324-29_0_3_load_46 | 41 | 0.0033205 | 0.00083221 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4324-29_0_3_load_83 | 42 | 0.0013825 | 0.00034648 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4324-29_0_3_load_39 | 43 | 0.00533 | 0.0013358 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4324-29_0_3_load_37 | 44 | 0.003046 | 0.0007634 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4324-29_0_3_load_45 | 45 | 0.00095334 | 0.00023893 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4324-29_0_3_load_84 | 46 | 0.00048988 | 0.00012278 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4324-29_0_3_load_93 | 48 | 0.0015504 | 0.00038857 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4324-29_0_3_load_96 | 50 | 0.00075436 | 0.00018906 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4324-29_0_3_load_36 | 51 | 0.0057881 | 0.0014506 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4324-29_0_3_load_31 | 52 | 0.0048387 | 0.0012127 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4324-29_0_3_load_32 | 53 | 0.0065982 | 0.0016537 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4324-29_0_3_load_33 | 54 | 0.0021897 | 0.00054878 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4324-29_0_3_load_34 | 55 | 0.0011833 | 0.00029655 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4324-29_0_3_load_50 | 56 | 0.018523 | 0.0046423 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4324-29_0_3_load_97 | 57 | 0.00080626 | 0.00020207 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4324-29_0_3_load_40 | 58 | 0.00021871 | 5.4813e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4324-29_0_3_load_44 | 60 | 0.00021778 | 5.458e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4324-29_0_3_load_48 | 61 | 0.00016369 | 4.1025e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4324-29_0_3_load_59 | 62 | 0.00010362 | 2.5969e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4324-29_0_3_load_49 | 64 | 0.0037232 | 0.00093312 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4324-29_0_3_load_81 | 65 | 0.0034424 | 0.00086274 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4324-29_0_3_load_54 | 66 | 0.0019343 | 0.00048478 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4324-29_0_3_load_55 | 68 | 0.0011209 | 0.00028092 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4324-29_0_3_load_57 | 70 | 0.00038356 | 9.613e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4324-29_0_3_load_72 | 73 | 0.00034694 | 8.6952e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4324-29_0_3_load_68 | 74 | 0.0012362 | 0.00030981 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4324-29_0_3_load_60 | 75 | 0.00010489 | 2.6287e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4324-29_0_3_load_103 | 78 | 0.00067478 | 0.00016912 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4324-29_0_3_load_105 | 81 | 0.00033686 | 8.4426e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4324-29_0_3_load_69 | 84 | 0.0009384 | 0.00023519 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4324-29_0_3_load_73 | 85 | 0.00097984 | 0.00024557 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4324-29_0_3_load_75 | 86 | 0.00070116 | 0.00017573 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4324-29_0_3_load_76 | 87 | 0.00087217 | 0.00021859 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4324-29_0_3_load_77 | 88 | 0.00057782 | 0.00014482 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4324-29_0_3_load_78 | 89 | 0.001974 | 0.00049473 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4324-29_0_3_load_80 | 90 | 0.0012365 | 0.00030988 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4324-29_0_3_load_79 | 91 | 0.002467 | 0.00061829 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4324-29_0_3_load_85 | 92 | 0.0024554 | 0.00061538 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4324-29_0_3_load_86 | 93 | 0.002956 | 0.00074085 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4324-29_0_3_load_87 | 94 | 0.0023424 | 0.00058706 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4324-29_0_3_load_88 | 95 | 0.0023717 | 0.00059441 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4324-29_0_3_load_89 | 96 | 0.0016628 | 0.00041674 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4324-29_0_3_load_90 | 97 | 0.0014011 | 0.00035116 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4324-29_0_3_load_91 | 98 | 0.0015625 | 0.00039159 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4324-29_0_3_load_92 | 99 | 0.0018735 | 0.00046953 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4324-29_0_3_load_98 | 100 | 0.0014443 | 0.00036197 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4324-29_0_3_load_99 | 101 | 0.00042082 | 0.00010547 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4324-29_0_3_load_100 | 102 | 0.0001487 | 3.7267e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4324-29_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0038962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_4324-29_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_4324-29_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0056311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_4324-29_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_4324-29_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_4324-29_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.02947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_4324-29_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.019812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_4324-29_0_3_line_7 | NAYY 4x150 SE | 6 | 10 | 0.02062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_4324-29_0_3_line_8 | NAYY 4x150 SE | 7 | 66 | 0.0026957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_4324-29_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.053729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4324-29_0_3_line_10 | NAYY 4x150 SE | 9 | 47 | 0.01055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4324-29_0_3_line_11 | NAYY 4x150 SE | 10 | 19 | 0.013905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4324-29_0_3_line_12 | NAYY 4x150 SE | 10 | 16 | 0.036822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_4324-29_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0041953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_4324-29_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.020691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_4324-29_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.018889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_4324-29_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.022942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_4324-29_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.025245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_4324-29_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.010962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4324-29_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.018409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4324-29_0_3_line_20 | NAYY 4x150 SE | 17 | 23 | 0.006874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4324-29_0_3_line_21 | NAYY 4x150 SE | 18 | 26 | 0.041876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4324-29_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.012695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4324-29_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.028569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4324-29_0_3_line_24 | NAYY 4x150 SE | 21 | 31 | 0.0331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4324-29_0_3_line_25 | NAYY 4x150 SE | 23 | 31 | 0.031607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4324-29_0_3_line_26 | NAYY 4x150 SE | 23 | 54 | 0.020013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4324-29_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.03329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4324-29_0_3_line_28 | NAYY 4x150 SE | 25 | 43 | 0.010753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4324-29_0_3_line_29 | NAYY 4x150 SE | 25 | 44 | 0.035596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4324-29_0_3_line_30 | NAYY 4x150 SE | 26 | 85 | 0.030711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4324-29_0_3_line_31 | NAYY 4x150 SE | 26 | 84 | 0.0071134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4324-29_0_3_line_32 | NAYY 4x150 SE | 27 | 28 | 0.049995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4324-29_0_3_line_33 | NAYY 4x150 SE | 28 | 29 | 0.038081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4324-29_0_3_line_34 | NAYY 4x150 SE | 28 | 30 | 0.039476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4324-29_0_3_line_35 | NAYY 4x150 SE | 29 | 32 | 0.032601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4324-29_0_3_line_36 | NAYY 4x150 SE | 29 | 33 | 0.028444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4324-29_0_3_line_37 | NAYY 4x150 SE | 30 | 34 | 0.077334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4324-29_0_3_line_38 | NAYY 4x150 SE | 32 | 62 | 0.0062983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4324-29_0_3_line_39 | NAYY 4x150 SE | 33 | 58 | 0.0025606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4324-29_0_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.0024779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_4324-29_0_3_line_41 | NAYY 4x150 SE | 35 | 37 | 0.037172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_4324-29_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.029348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_4324-29_0_3_line_43 | NAYY 4x150 SE | 37 | 39 | 0.036355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4324-29_0_3_line_44 | NAYY 4x150 SE | 37 | 40 | 0.016247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_4324-29_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.010229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4324-29_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.0017484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_4324-29_0_3_line_47 | NAYY 4x150 SE | 41 | 45 | 0.010539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4324-29_0_3_line_48 | NAYY 4x150 SE | 42 | 46 | 0.017176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_4324-29_0_3_line_49 | NAYY 4x150 SE | 43 | 50 | 0.012191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4324-29_0_3_line_50 | NAYY 4x150 SE | 44 | 51 | 0.034546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4324-29_0_3_line_51 | NAYY 4x150 SE | 45 | 63 | 0.023805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4324-29_0_3_line_52 | NAYY 4x150 SE | 46 | 92 | 0.019979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_4324-29_0_3_line_53 | NAYY 4x150 SE | 47 | 48 | 0.063081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4324-29_0_3_line_54 | NAYY 4x150 SE | 48 | 49 | 0.018059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4324-29_0_3_line_55 | NAYY 4x150 SE | 49 | 67 | 0.00565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_4324-29_0_3_line_56 | NAYY 4x150 SE | 49 | 66 | 0.024633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_4324-29_0_3_line_57 | NAYY 4x150 SE | 50 | 57 | 0.012881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4324-29_0_3_line_58 | NAYY 4x150 SE | 52 | 53 | 0.0053475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4324-29_0_3_line_59 | NAYY 4x150 SE | 52 | 54 | 0.040944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4324-29_0_3_line_60 | NAYY 4x150 SE | 53 | 55 | 0.0083455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4324-29_0_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.0052092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4324-29_0_3_line_62 | NAYY 4x150 SE | 57 | 67 | 0.028572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4324-29_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.0090582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4324-29_0_3_line_64 | NAYY 4x150 SE | 59 | 60 | 0.043381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4324-29_0_3_line_65 | NAYY 4x150 SE | 60 | 61 | 0.0046325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4324-29_0_3_line_66 | NAYY 4x150 SE | 61 | 63 | 0.05767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4324-29_0_3_line_67 | NAYY 4x150 SE | 62 | 75 | 0.015839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4324-29_0_3_line_68 | NAYY 4x150 SE | 63 | 64 | 0.038538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4324-29_0_3_line_69 | NAYY 4x150 SE | 64 | 65 | 0.0016827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4324-29_0_3_line_70 | NAYY 4x150 SE | 67 | 99 | 0.01092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_4324-29_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.021763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4324-29_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.057993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4324-29_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.013035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4324-29_0_3_line_74 | NAYY 4x150 SE | 71 | 74 | 0.012266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4324-29_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.015077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4324-29_0_3_line_76 | NAYY 4x150 SE | 72 | 73 | 0.034279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4324-29_0_3_line_77 | NAYY 4x150 SE | 74 | 84 | 0.012776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4324-29_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.14843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4324-29_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.056032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4324-29_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.044047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4324-29_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.10756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4324-29_0_3_line_82 | NAYY 4x150 SE | 79 | 80 | 0.0896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4324-29_0_3_line_83 | NAYY 4x150 SE | 80 | 81 | 0.058356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4324-29_0_3_line_84 | NAYY 4x150 SE | 80 | 82 | 0.13383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4324-29_0_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.081886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4324-29_0_3_line_86 | NAYY 4x150 SE | 83 | 101 | 0.019579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4324-29_0_3_line_87 | NAYY 4x150 SE | 85 | 86 | 0.024004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4324-29_0_3_line_88 | NAYY 4x150 SE | 86 | 87 | 0.010324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4324-29_0_3_line_89 | NAYY 4x150 SE | 87 | 88 | 0.0046459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4324-29_0_3_line_90 | NAYY 4x150 SE | 88 | 89 | 0.01629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4324-29_0_3_line_91 | NAYY 4x150 SE | 89 | 90 | 0.0014971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4324-29_0_3_line_92 | NAYY 4x150 SE | 90 | 91 | 0.012148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4324-29_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.0097617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_4324-29_0_3_line_94 | NAYY 4x150 SE | 93 | 94 | 0.024522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
95 | LV_4324-29_0_3_line_95 | NAYY 4x150 SE | 94 | 95 | 0.015818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
96 | LV_4324-29_0_3_line_96 | NAYY 4x150 SE | 95 | 96 | 0.01484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
97 | LV_4324-29_0_3_line_97 | NAYY 4x150 SE | 96 | 97 | 0.015833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
98 | LV_4324-29_0_3_line_98 | NAYY 4x150 SE | 97 | 98 | 0.010323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_4324-29_0_3_line_99 | NAYY 4x150 SE | 98 | 99 | 0.018664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
100 | LV_4324-29_0_3_line_100 | NAYY 4x150 SE | 100 | 101 | 0.0081576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4324-29_0_3_line_101 | NAYY 4x150 SE | 100 | 102 | 0.016208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4324-29_0_3_trafo_23 | 0.25 MVA 20/0.4 kV | 103 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2666288.3388 | 1269332.0392 | 2666285.7171 | 1269329.157
1 | 2666299.9143 | 1269347.6813 | 2666298.4971 | 1269343.2065 | 2666288.3388 | 1269332.0392
2 | 2666281.9279 | 1269324.9915 | 2666285.7171 | 1269329.157
3 | 2666299.9143 | 1269347.6813 | 2666319.4856 | 1269341.4203
4 | 2666266.8814 | 1269308.4503 | 2666281.9279 | 1269324.9915
5 | 2666347.554 | 1269332.4409 | 2666319.4856 | 1269341.4203
6 | 2666266.8814 | 1269308.4503 | 2666253.5496 | 1269293.7944
7 | 2666366.1243 | 1269323.8729 | 2666357.7721 | 1269329.172 | 2666347.554 | 1269332.4409
8 | 2666253.5496 | 1269293.7944 | 2666251.7357 | 1269291.8003
9 | 2666158.8247 | 1269278.6362 | 2666196.3584 | 1269317.0811
10 | 2666158.2956 | 1269268.1 | 2666158.8247 | 1269278.6362
11 | 2666366.1243 | 1269323.8729 | 2666360.0594 | 1269317.8112 | 2666356.5203 | 1269313.8256
12 | 2666396.7225 | 1269319.769 | 2666390.9455 | 1269316.8796 | 2666383.6945 | 1269317.2651 | 2666373.0312 | 1269327.3198 | 2666370.4816 | 1269327.8693 | 2666366.1243 | 1269323.8729
13 | 2666400.6211 | 1269275.652 | 2666398.6763 | 1269278.5148 | 2666398.3202 | 1269279.1571
14 | 2666400.6211 | 1269275.652 | 2666412.2481 | 1269258.5363
15 | 2666389.1596 | 1269295.6766 | 2666398.3202 | 1269279.1571
16 | 2666426.2997 | 1269240.5183 | 2666423.9804 | 1269242.6606 | 2666420.4612 | 1269246.4462 | 2666412.2481 | 1269258.5363
17 | 2666396.7225 | 1269319.769 | 2666389.1596 | 1269295.6766
18 | 2666420.9923 | 1269231.3405 | 2666422.581 | 1269232.6038 | 2666423.9261 | 1269234.109 | 2666425.1305 | 1269236.0796 | 2666425.934 | 1269238.2458 | 2666426.2997 | 1269240.5183
19 | 2666396.7225 | 1269319.769 | 2666411.751 | 1269330.4015
20 | 2666420.9923 | 1269231.3405 | 2666423.8096 | 1269225.0674
21 | 2666377.2828 | 1269350.7633 | 2666380.6302 | 1269343.5175 | 2666396.5736 | 1269338.3593 | 2666411.751 | 1269330.4015
22 | 2666454.4852 | 1269155.281 | 2666447.486 | 1269161.3514 | 2666446.368 | 1269164.5937
23 | 2666454.4852 | 1269155.281 | 2666451.9274 | 1269147.8465 | 2666447.8514 | 1269142.2519 | 2666444.9443 | 1269139.1169 | 2666442.7211 | 1269136.7234 | 2666437.6221 | 1269133.122
24 | 2666435.3436 | 1269195.8027 | 2666441.3327 | 1269179.1959 | 2666446.368 | 1269164.5937
25 | 2666423.8096 | 1269225.0674 | 2666427.4801 | 1269219.2042 | 2666432.8893 | 1269202.6078 | 2666435.3436 | 1269195.8027
26 | 2666423.8096 | 1269225.0674 | 2666410.7718 | 1269209.8844
27 | 2666308.5921 | 1269260.434 | 2666314.1126 | 1269266.0669 | 2666330.9797 | 1269285.0623
28 | 2666308.5921 | 1269260.434 | 2666298.0001 | 1269262.2892
29 | 2666308.5921 | 1269260.434 | 2666336.1526 | 1269252.7819 | 2666342.9017 | 1269250.9514
30 | 2666377.2828 | 1269350.7633 | 2666373.2315 | 1269349.0053 | 2666365.5517 | 1269348.0405 | 2666360.0833 | 1269347.8345 | 2666355.3357 | 1269349.1044 | 2666347.8859 | 1269352.4518
31 | 2666377.2828 | 1269350.7633 | 2666382.5668 | 1269355.5256
32 | 2666345.6594 | 1269070.3599 | 2666349.6845 | 1269075.1421 | 2666380.1255 | 1269097.1897 | 2666385.3415 | 1269100.4626
33 | 2666325.187 | 1269038.4835 | 2666330.8439 | 1269050.7453 | 2666338.3667 | 1269061.7048 | 2666345.6594 | 1269070.3599
34 | 2666345.6594 | 1269070.3599 | 2666363.9098 | 1269056.1984 | 2666377.6839 | 1269047.3413
35 | 2666325.187 | 1269038.4835 | 2666322.5582 | 1269029.3136 | 2666318.4958 | 1269011.0986 | 2666317.5794 | 1269006.7955
36 | 2666325.187 | 1269038.4835 | 2666308.5659 | 1269041.5883 | 2666297.0365 | 1269041.9685
37 | 2666377.6839 | 1269047.3413 | 2666381.6021 | 1269044.8217 | 2666407.0132 | 1269028.3056 | 2666399.5075 | 1269013.8324 | 2666396.0961 | 1269003.3305 | 2666390.2768 | 1268990.7889 | 2666390.0061 | 1268989.6229
38 | 2666316.2675 | 1269000.6353 | 2666317.5794 | 1269006.7955
39 | 2666294.4773 | 1269042.0529 | 2666297.0365 | 1269041.9685
40 | 2666257.8964 | 1269189.1114 | 2666259.315 | 1269191.143
41 | 2666236.9451 | 1269158.408 | 2666250.0466 | 1269177.8697 | 2666257.8964 | 1269189.1114
42 | 2666259.315 | 1269191.143 | 2666276.117 | 1269215.2052
43 | 2666236.9451 | 1269158.408 | 2666216.6515 | 1269128.244
44 | 2666236.9451 | 1269158.408 | 2666222.3818 | 1269165.6106
45 | 2666216.6515 | 1269128.244 | 2666210.9414 | 1269119.7567
46 | 2666222.3818 | 1269165.6106 | 2666220.8146 | 1269166.3856
47 | 2666205.0585 | 1269111.0125 | 2666210.9414 | 1269119.7567
48 | 2666205.4187 | 1269174 | 2666220.8146 | 1269166.3856
49 | 2666298.0001 | 1269262.2892 | 2666285.992 | 1269264.3925
50 | 2666342.9017 | 1269250.9514 | 2666360.4428 | 1269246.194 | 2666376.1017 | 1269241.4175
51 | 2666191.7705 | 1269091.2615 | 2666205.0585 | 1269111.0125
52 | 2666205.4187 | 1269174 | 2666199.3508 | 1269177.001 | 2666187.5979 | 1269183.0314
53 | 2666158.2956 | 1269268.1 | 2666193.0066 | 1269269.6787 | 2666221.3261 | 1269270.6007
54 | 2666239.375 | 1269271.1883 | 2666221.3261 | 1269270.6007
55 | 2666245.0173 | 1269270.6623 | 2666239.375 | 1269271.1883
56 | 2666239.375 | 1269271.1883 | 2666240.5301 | 1269276.8945 | 2666243.3336 | 1269282.5636 | 2666251.7357 | 1269291.8003
57 | 2666273.2759 | 1269266.4427 | 2666279.8947 | 1269265.4604 | 2666285.992 | 1269264.3925
58 | 2666380.6141 | 1269174.7644 | 2666384.0979 | 1269178.8214
59 | 2666410.7718 | 1269209.8844 | 2666384.0979 | 1269178.8214
60 | 2666375.1772 | 1269168.4329 | 2666380.6141 | 1269174.7644
61 | 2666371.7836 | 1269164.4809 | 2666375.1772 | 1269168.4329
62 | 2666245.0173 | 1269270.6623 | 2666252.2387 | 1269269.5646 | 2666273.2759 | 1269266.4427
63 | 2666285.424 | 1269042.3515 | 2666294.4773 | 1269042.0529
64 | 2666285.424 | 1269042.3515 | 2666280.8809 | 1269044.1575 | 2666246.8509 | 1269062.1459
65 | 2666242.7554 | 1269064.3108 | 2666246.8509 | 1269062.1459
66 | 2666191.7705 | 1269091.2615 | 2666242.7554 | 1269064.3108
67 | 2666316.2675 | 1269000.6353 | 2666314.128 | 1268990.5894 | 2666312.7739 | 1268985.1885
68 | 2666191.7705 | 1269091.2615 | 2666157.561 | 1269109.0059
69 | 2666157.561 | 1269109.0059 | 2666156.0673 | 1269109.7807
70 | 2666245.0173 | 1269270.6623 | 2666243.3796 | 1269264.3724 | 2666241.3467 | 1269260.4466
71 | 2666366.8773 | 1269422.2568 | 2666382.3359 | 1269437.5751
72 | 2666366.8773 | 1269422.2568 | 2666376.9199 | 1269415.8536 | 2666365.4605 | 1269395.6649 | 2666384.822 | 1269383.4952
73 | 2666395.8582 | 1269376.5584 | 2666384.822 | 1269383.4952
74 | 2666395.8582 | 1269376.5584 | 2666390.7998 | 1269367.3278 | 2666389.9161 | 1269365.8283
75 | 2666395.8582 | 1269376.5584 | 2666398.1198 | 1269380.2088 | 2666403.4247 | 1269389.609
76 | 2666403.4247 | 1269389.609 | 2666432.2352 | 1269371.0348
77 | 2666389.9161 | 1269365.8283 | 2666385.2912 | 1269357.981 | 2666382.5668 | 1269355.5256
78 | 2666312.7739 | 1268985.1885 | 2666277.5996 | 1268840.9874
79 | 2666278.5369 | 1268784.9661 | 2666278.3125 | 1268792.8919 | 2666277.5996 | 1268840.9874
80 | 2666278.5369 | 1268784.9661 | 2666278.7656 | 1268776.6512 | 2666279.6933 | 1268740.9343
81 | 2666358.313 | 1268667.527 | 2666279.6933 | 1268740.9343
82 | 2666326.9834 | 1268593.0517 | 2666326.8374 | 1268602.7019 | 2666327.5366 | 1268628.2293 | 2666328.6024 | 1268643.8977 | 2666337.7783 | 1268649.1046 | 2666344.8263 | 1268652.7977 | 2666351.9632 | 1268660.6393 | 2666356.0027 | 1268663.4868 | 2666358.313 | 1268667.527
83 | 2666326.9834 | 1268593.0517 | 2666323.8501 | 1268587.2343 | 2666321.582 | 1268577.4236 | 2666319.6458 | 1268564.2029 | 2666319.0757 | 1268535.886
84 | 2666256.7644 | 1268607.8866 | 2666265.4075 | 1268592.1715 | 2666266.9565 | 1268589.6091 | 2666278.0158 | 1268598.0173 | 2666285.0356 | 1268602.2215 | 2666291.2761 | 1268604.104 | 2666305.1086 | 1268603.4698 | 2666311.8436 | 1268605.547 | 2666316.6198 | 1268611.8387 | 2666322.0052 | 1268624.1863 | 2666327.5366 | 1268628.2293 | 2666326.8374 | 1268602.7019 | 2666326.9834 | 1268593.0517
85 | 2666256.7644 | 1268607.8866 | 2666175.5723 | 1268597.2467
86 | 2666175.5723 | 1268597.2467 | 2666174.7046 | 1268587.3628 | 2666176.1339 | 1268577.8125
87 | 2666347.8859 | 1269352.4518 | 2666344.7849 | 1269353.8452 | 2666329.5466 | 1269367.7132
88 | 2666322.2553 | 1269375.0203 | 2666328.5757 | 1269368.5968 | 2666329.5466 | 1269367.7132
89 | 2666322.2553 | 1269375.0203 | 2666318.9969 | 1269378.332
90 | 2666307.668 | 1269390.0337 | 2666309.3784 | 1269388.1074 | 2666318.9969 | 1269378.332
91 | 2666307.668 | 1269390.0337 | 2666306.674 | 1269391.1531
92 | 2666298.6078 | 1269400.2372 | 2666306.674 | 1269391.1531
93 | 2666187.5979 | 1269183.0314 | 2666182.7448 | 1269185.5216 | 2666179.2919 | 1269188.096 | 2666179.2919 | 1269188.096
94 | 2666179.2919 | 1269188.096 | 2666176.1559 | 1269194.6325 | 2666187.9019 | 1269207.2955
95 | 2666198.6591 | 1269218.8924 | 2666187.9019 | 1269207.2955
96 | 2666198.6591 | 1269218.8924 | 2666199.6072 | 1269219.9145 | 2666209.6255 | 1269228.883
97 | 2666221.4223 | 1269239.4437 | 2666209.6255 | 1269228.883
98 | 2666221.4223 | 1269239.4437 | 2666227.4943 | 1269244.8794 | 2666228.9393 | 1269246.5033
99 | 2666228.9393 | 1269246.5033 | 2666241.3467 | 1269260.4466 | 2666241.3467 | 1269260.4466
100 | 2666177.3413 | 1268569.7448 | 2666176.1339 | 1268577.8125
101 | 2666177.3413 | 1268569.7448 | 2666179.7403 | 1268553.7157

## bus_geodata
| x | y | coords
0 | 2666288.3388 | 1269332.0392
1 | 2666285.7171 | 1269329.157
2 | 2666299.9143 | 1269347.6813
3 | 2666281.9279 | 1269324.9915
4 | 2666319.4856 | 1269341.4203
5 | 2666266.8814 | 1269308.4503
6 | 2666347.554 | 1269332.4409
7 | 2666253.5496 | 1269293.7944
8 | 2666196.3584 | 1269317.0811
9 | 2666158.8247 | 1269278.6362
10 | 2666366.1243 | 1269323.8729
11 | 2666400.6211 | 1269275.652
12 | 2666398.3202 | 1269279.1571
13 | 2666412.2481 | 1269258.5363
14 | 2666389.1596 | 1269295.6766
15 | 2666426.2997 | 1269240.5183
16 | 2666396.7225 | 1269319.769
17 | 2666420.9923 | 1269231.3405
18 | 2666411.751 | 1269330.4015
19 | 2666356.5203 | 1269313.8256
20 | 2666454.4852 | 1269155.281
21 | 2666446.368 | 1269164.5937
22 | 2666437.6221 | 1269133.122
23 | 2666423.8096 | 1269225.0674
24 | 2666330.9797 | 1269285.0623
25 | 2666308.5921 | 1269260.434
26 | 2666377.2828 | 1269350.7633
27 | 2666385.3415 | 1269100.4626
28 | 2666345.6594 | 1269070.3599
29 | 2666325.187 | 1269038.4835
30 | 2666377.6839 | 1269047.3413
31 | 2666435.3436 | 1269195.8027
32 | 2666317.5794 | 1269006.7955
33 | 2666297.0365 | 1269041.9685
34 | 2666390.0061 | 1268989.6229
35 | 2666257.8963 | 1269189.1114
36 | 2666259.315 | 1269191.143
37 | 2666236.9451 | 1269158.408
38 | 2666276.117 | 1269215.2052
39 | 2666216.6515 | 1269128.244
40 | 2666222.3818 | 1269165.6106
41 | 2666210.9414 | 1269119.7567
42 | 2666220.8146 | 1269166.3856
43 | 2666298.0001 | 1269262.2892
44 | 2666342.9017 | 1269250.9514
45 | 2666205.0585 | 1269111.0125
46 | 2666205.4187 | 1269174
47 | 2666158.2956 | 1269268.1
48 | 2666221.3261 | 1269270.6007
49 | 2666239.375 | 1269271.1883
50 | 2666285.992 | 1269264.3925
51 | 2666376.1017 | 1269241.4175
52 | 2666384.0979 | 1269178.8214
53 | 2666380.6141 | 1269174.7644
54 | 2666410.7718 | 1269209.8844
55 | 2666375.1772 | 1269168.4329
56 | 2666371.7836 | 1269164.4809
57 | 2666273.2759 | 1269266.4427
58 | 2666294.4773 | 1269042.0529
59 | 2666285.424 | 1269042.3515
60 | 2666246.8509 | 1269062.1459
61 | 2666242.7554 | 1269064.3108
62 | 2666316.2675 | 1269000.6353
63 | 2666191.7705 | 1269091.2615
64 | 2666157.561 | 1269109.0059
65 | 2666156.0673 | 1269109.7807
66 | 2666251.7357 | 1269291.8003
67 | 2666245.0173 | 1269270.6623
68 | 2666382.3359 | 1269437.5751
69 | 2666366.8773 | 1269422.2568
70 | 2666384.822 | 1269383.4952
71 | 2666395.8582 | 1269376.5584
72 | 2666403.4247 | 1269389.609
73 | 2666432.2352 | 1269371.0348
74 | 2666389.9161 | 1269365.8283
75 | 2666312.7739 | 1268985.1885
76 | 2666277.5996 | 1268840.9874
77 | 2666278.5369 | 1268784.9661
78 | 2666279.6933 | 1268740.9343
79 | 2666358.313 | 1268667.527
80 | 2666326.9834 | 1268593.0517
81 | 2666319.0757 | 1268535.886
82 | 2666256.7644 | 1268607.8866
83 | 2666175.5723 | 1268597.2467
84 | 2666382.5668 | 1269355.5256
85 | 2666347.8859 | 1269352.4518
86 | 2666329.5466 | 1269367.7132
87 | 2666322.2553 | 1269375.0203
88 | 2666318.9969 | 1269378.332
89 | 2666307.668 | 1269390.0337
90 | 2666306.674 | 1269391.1531
91 | 2666298.6078 | 1269400.2372
92 | 2666187.5979 | 1269183.0314
93 | 2666179.2919 | 1269188.096
94 | 2666187.9019 | 1269207.2955
95 | 2666198.6591 | 1269218.8924
96 | 2666209.6255 | 1269228.883
97 | 2666221.4223 | 1269239.4437
98 | 2666228.9393 | 1269246.5033
99 | 2666241.3467 | 1269260.4466
100 | 2666177.3413 | 1268569.7448
101 | 2666176.1339 | 1268577.8125
102 | 2666179.7403 | 1268553.7157
103 | 2666308.5921 | 1269260.434

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1