## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4324-31_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4324-31_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4324-31_0_3_node_25 | 0.4 | n |  | TRUE
3 | bus_LV_4324-31_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4324-31_0_3_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_4324-31_0_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_4324-31_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_4324-31_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_4324-31_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_4324-31_0_3_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_4324-31_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4324-31_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4324-31_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_4324-31_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4324-31_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4324-31_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4324-31_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4324-31_0_3_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_4324-31_0_3_node_107 | 0.4 | n |  | TRUE
19 | bus_LV_4324-31_0_3_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_4324-31_0_3_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_4324-31_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4324-31_0_3_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_4324-31_0_3_node_80 | 0.4 | n |  | TRUE
24 | bus_LV_4324-31_0_3_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_4324-31_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4324-31_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4324-31_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_4324-31_0_3_node_99 | 0.4 | n |  | TRUE
29 | bus_LV_4324-31_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_4324-31_0_3_node_97 | 0.4 | n |  | TRUE
31 | bus_LV_4324-31_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4324-31_0_3_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_4324-31_0_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_4324-31_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4324-31_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4324-31_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4324-31_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_4324-31_0_3_node_109 | 0.4 | n |  | TRUE
39 | bus_LV_4324-31_0_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_4324-31_0_3_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_4324-31_0_3_node_113 | 0.4 | n |  | TRUE
42 | bus_LV_4324-31_0_3_node_111 | 0.4 | n |  | TRUE
43 | bus_LV_4324-31_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_4324-31_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_4324-31_0_3_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_4324-31_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_4324-31_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_4324-31_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_4324-31_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_4324-31_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4324-31_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_4324-31_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_4324-31_0_3_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_4324-31_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_4324-31_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_4324-31_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_4324-31_0_3_node_95 | 0.4 | n |  | TRUE
58 | bus_LV_4324-31_0_3_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_4324-31_0_3_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_4324-31_0_3_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_4324-31_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4324-31_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_4324-31_0_3_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_4324-31_0_3_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_4324-31_0_3_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_4324-31_0_3_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_4324-31_0_3_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_4324-31_0_3_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_4324-31_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_4324-31_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_4324-31_0_3_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_4324-31_0_3_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_4324-31_0_3_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_4324-31_0_3_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_4324-31_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_4324-31_0_3_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_4324-31_0_3_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_4324-31_0_3_node_108 | 0.4 | n |  | TRUE
79 | bus_LV_4324-31_0_3_node_110 | 0.4 | n |  | TRUE
80 | bus_LV_4324-31_0_3_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_4324-31_0_3_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_4324-31_0_3_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_4324-31_0_3_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_4324-31_0_3_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_4324-31_0_3_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_4324-31_0_3_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_4324-31_0_3_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_4324-31_0_3_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_4324-31_0_3_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_4324-31_0_3_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_4324-31_0_3_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_4324-31_0_3_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_4324-31_0_3_node_101 | 0.4 | n |  | TRUE
94 | bus_LV_4324-31_0_3_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_4324-31_0_3_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_4324-31_0_3_node_103 | 0.4 | n |  | TRUE
97 | bus_LV_4324-31_0_3_node_73 | 0.4 | n |  | TRUE
98 | bus_LV_4324-31_0_3_node_74 | 0.4 | n |  | TRUE
99 | bus_LV_4324-31_0_3_node_75 | 0.4 | n |  | TRUE
100 | bus_LV_4324-31_0_3_node_77 | 0.4 | n |  | TRUE
101 | bus_LV_4324-31_0_3_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_4324-31_0_3_node_90 | 0.4 | n |  | TRUE
103 | bus_LV_4324-31_0_3_node_92 | 0.4 | n |  | TRUE
104 | bus_LV_4324-31_0_3_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_4324-31_0_3_node_96 | 0.4 | n |  | TRUE
106 | bus_LV_4324-31_0_3_node_98 | 0.4 | n |  | TRUE
107 | bus_LV_4324-31_0_3_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_4324-31_0_3_node_105 | 0.4 | n |  | TRUE
109 | bus_LV_4324-31_0_3_node_106 | 0.4 | n |  | TRUE
110 | bus_MV_425_1_node_147 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4324-31_0_3_load_0 | 0 | 0.00066089 | 0.00016563 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4324-31_0_3_load_1 | 1 | 0.0014274 | 0.00035774 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4324-31_0_3_load_25 | 2 | 0.0010849 | 0.00027191 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4324-31_0_3_load_3 | 3 | 0.0009636 | 0.0002415 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4324-31_0_3_load_19 | 4 | 0.0010358 | 0.0002596 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4324-31_0_3_load_20 | 6 | 0.00087404 | 0.00021905 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4324-31_0_3_load_16 | 7 | 0.0020127 | 0.00050442 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4324-31_0_3_load_12 | 8 | 0.0021556 | 0.00054024 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4324-31_0_3_load_21 | 9 | 0.0016822 | 0.0004216 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4324-31_0_3_load_6 | 10 | 0.002131 | 0.00053409 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4324-31_0_3_load_5 | 11 | 0.0018823 | 0.00047175 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4324-31_0_3_load_17 | 12 | 0.0024174 | 0.00060586 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4324-31_0_3_load_7 | 13 | 0.0050762 | 0.0012722 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4324-31_0_3_load_9 | 15 | 0.0017135 | 0.00042945 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4324-31_0_3_load_10 | 16 | 0.0029128 | 0.00073002 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4324-31_0_3_load_50 | 17 | 0.002623 | 0.00065739 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4324-31_0_3_load_107 | 18 | 0.00040781 | 0.00010221 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4324-31_0_3_load_51 | 19 | 0.0017623 | 0.00044167 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4324-31_0_3_load_11 | 21 | 0.0037525 | 0.00094047 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4324-31_0_3_load_80 | 23 | 0.0011798 | 0.00029569 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4324-31_0_3_load_54 | 24 | 0.0010838 | 0.00027163 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4324-31_0_3_load_13 | 25 | 0.00083202 | 0.00020852 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4324-31_0_3_load_14 | 26 | 0.00091484 | 0.00022928 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4324-31_0_3_load_31 | 27 | 0.00086956 | 0.00021793 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4324-31_0_3_load_99 | 28 | 0.0011362 | 0.00028475 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4324-31_0_3_load_30 | 29 | 0.001414 | 0.00035437 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4324-31_0_3_load_97 | 30 | 0.0010591 | 0.00026542 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4324-31_0_3_load_18 | 31 | 0.0021587 | 0.00054103 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4324-31_0_3_load_36 | 32 | 0.014434 | 0.0036174 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4324-31_0_3_load_37 | 33 | 0.018264 | 0.0045774 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4324-31_0_3_load_27 | 34 | 0.0013282 | 0.00033287 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4324-31_0_3_load_22 | 35 | 0.0021782 | 0.00054591 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4324-31_0_3_load_23 | 36 | 0.0031118 | 0.0007799 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4324-31_0_3_load_24 | 37 | 0.0022998 | 0.00057638 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4324-31_0_3_load_109 | 38 | 0.0027488 | 0.00068891 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4324-31_0_3_load_61 | 39 | 0.0036599 | 0.00091726 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4324-31_0_3_load_59 | 40 | 0.0035298 | 0.00088466 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4324-31_0_3_load_113 | 41 | 0.00043785 | 0.00010973 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4324-31_0_3_load_111 | 42 | 0.00072765 | 0.00018237 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4324-31_0_3_load_26 | 43 | 0.0015667 | 0.00039264 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4324-31_0_3_load_38 | 44 | 0.013263 | 0.003324 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4324-31_0_3_load_28 | 45 | 0.0057602 | 0.0014436 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4324-31_0_3_load_29 | 46 | 0.0016056 | 0.00040239 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4324-31_0_3_load_35 | 48 | 0.0031579 | 0.00079145 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4324-31_0_3_load_40 | 49 | 0.013503 | 0.0033842 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4324-31_0_3_load_41 | 50 | 0.00079404 | 0.00019901 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4324-31_0_3_load_34 | 51 | 0.0022694 | 0.00056878 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4324-31_0_3_load_32 | 52 | 0.0016025 | 0.00040163 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4324-31_0_3_load_44 | 54 | 0.00086754 | 0.00021743 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4324-31_0_3_load_46 | 55 | 0.0017612 | 0.0004414 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4324-31_0_3_load_42 | 56 | 0.0013679 | 0.00034282 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4324-31_0_3_load_95 | 57 | 0.00081478 | 0.0002042 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4324-31_0_3_load_72 | 58 | 0.00077417 | 0.00019403 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4324-31_0_3_load_83 | 59 | 0.013159 | 0.0032979 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4324-31_0_3_load_82 | 60 | 0.00086659 | 0.00021719 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4324-31_0_3_load_43 | 61 | 0.0008139 | 0.00020398 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4324-31_0_3_load_45 | 62 | 0.00086923 | 0.00021785 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4324-31_0_3_load_85 | 63 | 0.0015296 | 0.00038336 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4324-31_0_3_load_47 | 65 | 0.0025993 | 0.00065145 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4324-31_0_3_load_49 | 67 | 0.003768 | 0.00094434 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4324-31_0_3_load_79 | 68 | 0.0010705 | 0.00026829 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4324-31_0_3_load_62 | 69 | 0.0023757 | 0.00059541 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4324-31_0_3_load_63 | 70 | 0.0015589 | 0.00039069 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4324-31_0_3_load_52 | 71 | 0.0016605 | 0.00041615 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4324-31_0_3_load_53 | 72 | 0.0024687 | 0.00061871 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4324-31_0_3_load_55 | 73 | 0.00085302 | 0.00021379 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4324-31_0_3_load_84 | 74 | 0.00085296 | 0.00021377 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4324-31_0_3_load_57 | 76 | 0.0019384 | 0.00048581 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4324-31_0_3_load_58 | 77 | 0.0028504 | 0.00071439 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4324-31_0_3_load_108 | 78 | 0.00062836 | 0.00015748 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4324-31_0_3_load_64 | 80 | 0.0028045 | 0.00070287 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4324-31_0_3_load_65 | 81 | 0.0028849 | 0.00072304 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4324-31_0_3_load_81 | 82 | 0.00085993 | 0.00021552 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4324-31_0_3_load_86 | 83 | 0.0010357 | 0.00025956 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4324-31_0_3_load_66 | 84 | 0.0012594 | 0.00031563 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4324-31_0_3_load_67 | 85 | 0.00091886 | 0.00023029 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4324-31_0_3_load_71 | 88 | 0.0011022 | 0.00027623 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4324-31_0_3_load_94 | 89 | 0.0010419 | 0.00026111 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4324-31_0_3_load_93 | 90 | 0.0011507 | 0.0002884 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4324-31_0_3_load_91 | 91 | 0.0030492 | 0.0007642 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4324-31_0_3_load_102 | 92 | 0.0012886 | 0.00032296 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4324-31_0_3_load_101 | 93 | 0.0011169 | 0.00027992 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4324-31_0_3_load_88 | 94 | 0.00099006 | 0.00024813 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4324-31_0_3_load_89 | 95 | 0.0015625 | 0.0003916 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4324-31_0_3_load_103 | 96 | 0.0014172 | 0.00035519 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4324-31_0_3_load_73 | 97 | 0.0047861 | 0.0011995 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4324-31_0_3_load_74 | 98 | 0.0034564 | 0.00086627 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4324-31_0_3_load_77 | 100 | 0.0043161 | 0.0010817 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4324-31_0_3_load_87 | 101 | 0.0011789 | 0.00029546 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4324-31_0_3_load_90 | 102 | 0.002523 | 0.00063233 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4324-31_0_3_load_92 | 103 | 0.0014822 | 0.00037148 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4324-31_0_3_load_100 | 104 | 0.0011656 | 0.00029212 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4324-31_0_3_load_96 | 105 | 0.0011388 | 0.00028541 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4324-31_0_3_load_98 | 106 | 0.00083813 | 0.00021005 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4324-31_0_3_load_104 | 107 | 0.00092075 | 0.00023076 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4324-31_0_3_load_105 | 108 | 0.00090991 | 0.00022804 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4324-31_0_3_load_106 | 109 | 0.0014052 | 0.00035217 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4324-31_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4324-31_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.044204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4324-31_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4324-31_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4324-31_0_3_line_4 | NAYY 4x150 SE | 3 | 6 | 0.021564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4324-31_0_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.015275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4324-31_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.011711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4324-31_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.058419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4324-31_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0029604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4324-31_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.036797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4324-31_0_3_line_10 | NAYY 4x150 SE | 7 | 12 | 0.020998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4324-31_0_3_line_11 | NAYY 4x150 SE | 8 | 21 | 0.023846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4324-31_0_3_line_12 | NAYY 4x150 SE | 9 | 32 | 0.029923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4324-31_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.023397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4324-31_0_3_line_14 | NAYY 4x150 SE | 12 | 31 | 0.017627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4324-31_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.014239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4324-31_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.026692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4324-31_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.0098902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4324-31_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.02365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4324-31_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.018855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4324-31_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.01102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4324-31_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.015904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4324-31_0_3_line_22 | NAYY 4x150 SE | 19 | 69 | 0.0031248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4324-31_0_3_line_23 | NAYY 4x150 SE | 20 | 78 | 0.034243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4324-31_0_3_line_24 | NAYY 4x150 SE | 20 | 77 | 0.016066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4324-31_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.01936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_4324-31_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.0077193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_4324-31_0_3_line_27 | NAYY 4x150 SE | 23 | 60 | 0.021785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_4324-31_0_3_line_28 | NAYY 4x150 SE | 24 | 71 | 0.024611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_4324-31_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.0061088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4324-31_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.014809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4324-31_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.018808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4324-31_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.016566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4324-31_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.0053657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4324-31_0_3_line_34 | NAYY 4x150 SE | 30 | 105 | 0.0053741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4324-31_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.026669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4324-31_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.039049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4324-31_0_3_line_37 | NAYY 4x150 SE | 33 | 44 | 0.021116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4324-31_0_3_line_38 | NAYY 4x150 SE | 34 | 43 | 0.016529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4324-31_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.022764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4324-31_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.020872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4324-31_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.030292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4324-31_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.019224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4324-31_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.018878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4324-31_0_3_line_44 | NAYY 4x150 SE | 40 | 76 | 0.019342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4324-31_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.018988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4324-31_0_3_line_46 | NAYY 4x150 SE | 42 | 79 | 0.020663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4324-31_0_3_line_47 | NAYY 4x150 SE | 44 | 47 | 0.043009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4324-31_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0044376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4324-31_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.038666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4324-31_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.03926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4324-31_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.015042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_4324-31_0_3_line_52 | NAYY 4x150 SE | 47 | 50 | 0.035891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4324-31_0_3_line_53 | NAYY 4x150 SE | 48 | 51 | 0.00030621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4324-31_0_3_line_54 | NAYY 4x150 SE | 49 | 59 | 0.0077459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_4324-31_0_3_line_55 | NAYY 4x150 SE | 50 | 57 | 0.016271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4324-31_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.013854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4324-31_0_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.046272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4324-31_0_3_line_58 | NAYY 4x150 SE | 54 | 55 | 0.025711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4324-31_0_3_line_59 | NAYY 4x150 SE | 54 | 56 | 0.024907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4324-31_0_3_line_60 | NAYY 4x150 SE | 55 | 63 | 0.0042963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4324-31_0_3_line_61 | NAYY 4x150 SE | 56 | 61 | 0.029998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4324-31_0_3_line_62 | NAYY 4x150 SE | 57 | 58 | 0.0028333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4324-31_0_3_line_63 | NAYY 4x150 SE | 58 | 62 | 0.055279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4324-31_0_3_line_64 | NAYY 4x150 SE | 59 | 60 | 0.0093576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_4324-31_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.0036749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4324-31_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.022792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4324-31_0_3_line_67 | NAYY 4x150 SE | 64 | 68 | 0.020263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4324-31_0_3_line_68 | NAYY 4x150 SE | 64 | 98 | 0.041314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4324-31_0_3_line_69 | NAYY 4x150 SE | 65 | 66 | 0.0066335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4324-31_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.021442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4324-31_0_3_line_71 | NAYY 4x150 SE | 67 | 68 | 0.016697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4324-31_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.025281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4324-31_0_3_line_73 | NAYY 4x150 SE | 70 | 80 | 0.0083658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4324-31_0_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.0005873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_4324-31_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.023301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_4324-31_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.014743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_4324-31_0_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.017825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4324-31_0_3_line_78 | NAYY 4x150 SE | 75 | 89 | 0.011123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4324-31_0_3_line_79 | NAYY 4x150 SE | 75 | 85 | 0.0069335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4324-31_0_3_line_80 | NAYY 4x150 SE | 76 | 77 | 0.0087524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4324-31_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.017188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4324-31_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.011179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4324-31_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.00082769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4324-31_0_3_line_84 | NAYY 4x150 SE | 82 | 83 | 0.015253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4324-31_0_3_line_85 | NAYY 4x150 SE | 83 | 101 | 0.0069699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4324-31_0_3_line_86 | NAYY 4x150 SE | 84 | 85 | 0.00043695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4324-31_0_3_line_87 | NAYY 4x150 SE | 84 | 86 | 0.024306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4324-31_0_3_line_88 | NAYY 4x150 SE | 86 | 87 | 0.011883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4324-31_0_3_line_89 | NAYY 4x150 SE | 86 | 88 | 0.0051711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4324-31_0_3_line_90 | NAYY 4x150 SE | 87 | 90 | 0.0019646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4324-31_0_3_line_91 | NAYY 4x150 SE | 87 | 91 | 0.014397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4324-31_0_3_line_92 | NAYY 4x150 SE | 88 | 92 | 0.013949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4324-31_0_3_line_93 | NAYY 4x150 SE | 89 | 93 | 0.0051634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4324-31_0_3_line_94 | NAYY 4x150 SE | 90 | 94 | 0.0049204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4324-31_0_3_line_95 | NAYY 4x150 SE | 91 | 95 | 0.00064177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4324-31_0_3_line_96 | NAYY 4x150 SE | 92 | 96 | 0.030888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4324-31_0_3_line_97 | NAYY 4x150 SE | 93 | 104 | 0.0053686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4324-31_0_3_line_98 | NAYY 4x150 SE | 94 | 101 | 0.0052074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4324-31_0_3_line_99 | NAYY 4x150 SE | 95 | 102 | 0.032125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4324-31_0_3_line_100 | NAYY 4x150 SE | 96 | 107 | 0.005292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4324-31_0_3_line_101 | NAYY 4x150 SE | 97 | 98 | 0.015569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4324-31_0_3_line_102 | NAYY 4x150 SE | 97 | 99 | 0.019618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4324-31_0_3_line_103 | NAYY 4x150 SE | 99 | 100 | 0.012095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4324-31_0_3_line_104 | NAYY 4x150 SE | 102 | 103 | 0.0044558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4324-31_0_3_line_105 | NAYY 4x150 SE | 104 | 106 | 0.0066665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4324-31_0_3_line_106 | NAYY 4x150 SE | 105 | 106 | 0.0067532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4324-31_0_3_line_107 | NAYY 4x150 SE | 107 | 108 | 0.0045238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4324-31_0_3_line_108 | NAYY 4x150 SE | 108 | 109 | 0.0057223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4324-31_0_3_trafo_84 | 0.25 MVA 20/0.4 kV | 110 | 74 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2663251.6758 | 1272452.1811 | 2663274.405 | 1272441.3753 | 2663278.0504 | 1272438.9584
1 | 2663251.6758 | 1272452.1811 | 2663219.2219 | 1272422.1685
2 | 2663278.0504 | 1272438.9584 | 2663292.2235 | 1272429.5618
3 | 2663238.3818 | 1272403.4914 | 2663222.44 | 1272419.0795 | 2663219.2219 | 1272422.1685
4 | 2663309.7614 | 1272417.0273 | 2663298.8492 | 1272425.1691 | 2663292.2235 | 1272429.5618
5 | 2663248.9959 | 1272392.5099 | 2663241.2366 | 1272400.6998 | 2663238.3818 | 1272403.4914
6 | 2663248.9959 | 1272392.5099 | 2663257.0491 | 1272384.0073
7 | 2663248.9959 | 1272392.5099 | 2663247.6022 | 1272386.4125 | 2663262.725 | 1272336.4886
8 | 2663312.1341 | 1272415.2569 | 2663309.7614 | 1272417.0273
9 | 2663309.7614 | 1272417.0273 | 2663327.2899 | 1272449.3815
10 | 2663271.4883 | 1272368.7622 | 2663257.0491 | 1272384.0073
11 | 2663262.725 | 1272336.4886 | 2663269.6382 | 1272313.6667
12 | 2663312.1341 | 1272415.2569 | 2663332.156 | 1272400.318 | 2663335.7735 | 1272396.9505
13 | 2663327.2899 | 1272449.3815 | 2663309.9715 | 1272465.1134
14 | 2663271.4883 | 1272368.7622 | 2663283.61 | 1272355.964
15 | 2663403.0415 | 1272025.0891 | 2663404.538 | 1272016.721 | 2663405.507 | 1272011.0653
16 | 2663403.0415 | 1272025.0891 | 2663400.3126 | 1272041.7616 | 2663398.6718 | 1272051.4205
17 | 2663403.0415 | 1272025.0891 | 2663396.2211 | 1272017.9268
18 | 2663398.6718 | 1272051.4205 | 2663394.7109 | 1272074.7364
19 | 2663396.2211 | 1272017.9268 | 2663394.7931 | 1272016.4273 | 2663383.6856 | 1272003.8439
20 | 2663394.7109 | 1272074.7364 | 2663392.8653 | 1272085.6009
21 | 2663373.1608 | 1271991.9207 | 2663383.6856 | 1272003.8439
22 | 2663392.3419 | 1272088.6816 | 2663392.8653 | 1272085.6009
23 | 2663373.1608 | 1271991.9207 | 2663350.0145 | 1271966.6855
24 | 2663373.1608 | 1271991.9207 | 2663361.2042 | 1272002.6519
25 | 2663333.812 | 1272291.5408 | 2663350.3448 | 1272301.6137
26 | 2663333.812 | 1272291.5408 | 2663337.3678 | 1272284.6892
27 | 2663350.3448 | 1272301.6137 | 2663358.0749 | 1272306.3235 | 2663368.949 | 1272312.9489
28 | 2663347.7183 | 1272262.4184 | 2663345.2092 | 1272269.5794 | 2663337.3678 | 1272284.6892
29 | 2663301.2585 | 1272215.0231 | 2663299.2175 | 1272220.7809
30 | 2663306.2063 | 1272201.0651 | 2663301.2585 | 1272215.0231
31 | 2663323.4222 | 1272193.4921 | 2663306.2063 | 1272201.0651
32 | 2663323.4222 | 1272193.4921 | 2663312.4141 | 1272181.1119
33 | 2663328.4699 | 1272195.3118 | 2663323.4222 | 1272193.4921
34 | 2663333.5255 | 1272197.1344 | 2663328.4699 | 1272195.3118
35 | 2663335.7735 | 1272396.9505 | 2663354.2862 | 1272379.7172 | 2663355.2373 | 1272378.7226
36 | 2663335.7735 | 1272396.9505 | 2663363.6014 | 1272424.3451
37 | 2663369.831 | 1272363.461 | 2663355.2373 | 1272378.7226
38 | 2663363.6014 | 1272424.3451 | 2663375.1372 | 1272412.5068
39 | 2663313.646 | 1272045.5647 | 2663311.8525 | 1272024.822 | 2663311.6808 | 1272022.8862
40 | 2663313.646 | 1272045.5647 | 2663315.444 | 1272066.3589
41 | 2663345.7341 | 1272065.9869 | 2663315.444 | 1272066.3589
42 | 2663348.9071 | 1272047.0264 | 2663345.7341 | 1272065.9869
43 | 2663352.023 | 1272028.407 | 2663348.9071 | 1272047.0264
44 | 2663356.1317 | 1272009.6523 | 2663354.7492 | 1272012.1166 | 2663352.023 | 1272028.407
45 | 2663329.0328 | 1271991.0802 | 2663331.3906 | 1271972.2394
46 | 2663338.3963 | 1271954.0187 | 2663332.9019 | 1271959.2527 | 2663332.0109 | 1271967.2827 | 2663331.3906 | 1271972.2394
47 | 2663396.4005 | 1272329.6749 | 2663384.6781 | 1272345.4946 | 2663372.4734 | 1272360.6976 | 2663369.831 | 1272363.461
48 | 2663435.5018 | 1272339.1056 | 2663432.8258 | 1272342.6457
49 | 2663396.4005 | 1272329.6749 | 2663432.8258 | 1272342.6457
50 | 2663435.5018 | 1272339.1056 | 2663450.4539 | 1272319.325 | 2663458.2238 | 1272307.1252
51 | 2663396.4005 | 1272329.6749 | 2663383.5549 | 1272321.8482
52 | 2663396.4005 | 1272329.6749 | 2663406.8016 | 1272314.3414 | 2663415.0432 | 1272299.0595
53 | 2663458.3883 | 1272306.8669 | 2663458.2238 | 1272307.1252
54 | 2663383.5549 | 1272321.8482 | 2663376.9401 | 1272317.8179
55 | 2663415.0432 | 1272299.0595 | 2663422.7666 | 1272284.7387
56 | 2663515.4461 | 1272193.393 | 2663510.7217 | 1272206.4161
57 | 2663471.5518 | 1272178.7506 | 2663515.4461 | 1272193.393
58 | 2663471.5518 | 1272178.7506 | 2663482.4455 | 1272155.461
59 | 2663460.9989 | 1272201.3115 | 2663471.5518 | 1272178.7506
60 | 2663484.2658 | 1272151.5694 | 2663482.4455 | 1272155.461
61 | 2663460.9989 | 1272201.3115 | 2663448.2889 | 1272228.4842
62 | 2663422.7666 | 1272284.7387 | 2663424.1115 | 1272282.2449
63 | 2663446.7319 | 1272231.8129 | 2663445.3842 | 1272234.6942 | 2663425.1121 | 1272280.3895 | 2663424.1115 | 1272282.2449
64 | 2663376.9401 | 1272317.8179 | 2663368.949 | 1272312.9489
65 | 2663448.2889 | 1272228.4842 | 2663446.7319 | 1272231.8129
66 | 2663493.9224 | 1272130.9246 | 2663484.2658 | 1272151.5694
67 | 2663493.9224 | 1272130.9246 | 2663480.6323 | 1272115.6289
68 | 2663493.9224 | 1272130.9246 | 2663512.866 | 1272094.2099
69 | 2663455.6232 | 1272086.8346 | 2663451.2588 | 1272081.839
70 | 2663455.6232 | 1272086.8346 | 2663469.6824 | 1272103.0241
71 | 2663469.6824 | 1272103.0241 | 2663473.8998 | 1272107.8805 | 2663480.6323 | 1272115.6289
72 | 2663388.4022 | 1272113.6536 | 2663391.2959 | 1272094.839 | 2663392.3419 | 1272088.6816
73 | 2663388.4022 | 1272113.6536 | 2663387.1305 | 1272121.9222
74 | 2663347.9125 | 1272261.8642 | 2663347.7183 | 1272262.4184
75 | 2663347.9125 | 1272261.8642 | 2663352.5803 | 1272248.5422 | 2663355.6316 | 1272239.8791
76 | 2663355.6316 | 1272239.8791 | 2663360.5293 | 1272225.9736
77 | 2663366.4511 | 1272209.1606 | 2663360.5293 | 1272225.9736
78 | 2663366.4511 | 1272209.1606 | 2663362.6118 | 1272207.3736 | 2663361.6751 | 1272207.0522 | 2663357.2971 | 1272205.7042 | 2663356.0577 | 1272205.2574
79 | 2663366.4511 | 1272209.1606 | 2663368.7368 | 1272202.6147
80 | 2663356.1317 | 1272009.6523 | 2663358.8977 | 1272004.722 | 2663361.2042 | 1272002.6519
81 | 2663338.3963 | 1271954.0187 | 2663350.0145 | 1271966.6855
82 | 2663387.1305 | 1272121.9222 | 2663385.8459 | 1272130.2745 | 2663385.4261 | 1272132.9703
83 | 2663385.2987 | 1272133.7882 | 2663385.4261 | 1272132.9703
84 | 2663382.6899 | 1272148.8162 | 2663385.0057 | 1272135.6697 | 2663385.2987 | 1272133.7882
85 | 2663382.6899 | 1272148.8162 | 2663381.4808 | 1272155.6804
86 | 2663368.7368 | 1272202.6147 | 2663368.8809 | 1272202.2022
87 | 2663376.3338 | 1272179.0768 | 2663375.3695 | 1272182.7248 | 2663372.8841 | 1272190.7376 | 2663368.8809 | 1272202.2022
88 | 2663379.3829 | 1272167.5895 | 2663376.3338 | 1272179.0768
89 | 2663376.3338 | 1272179.0768 | 2663371.378 | 1272177.6002
90 | 2663379.3829 | 1272167.5895 | 2663379.7238 | 1272165.6547
91 | 2663379.3829 | 1272167.5895 | 2663393.5824 | 1272169.9657
92 | 2663360.524 | 1272181.5695 | 2663367.2179 | 1272183.2711 | 2663369.8863 | 1272179.9305 | 2663371.378 | 1272177.6002 | 2663371.378 | 1272177.6002
93 | 2663356.0577 | 1272205.2574 | 2663351.2003 | 1272203.5063
94 | 2663379.7238 | 1272165.6547 | 2663380.5774 | 1272160.8089
95 | 2663394.2154 | 1272170.0716 | 2663393.5824 | 1272169.9657
96 | 2663360.524 | 1272181.5695 | 2663352.3286 | 1272179.4863 | 2663349.7416 | 1272175.9447 | 2663347.4782 | 1272170.9944 | 2663341.025 | 1272168.868 | 2663341.5083 | 1272163.0798
97 | 2663351.2003 | 1272203.5063 | 2663346.1499 | 1272201.6856
98 | 2663380.5774 | 1272160.8089 | 2663381.4808 | 1272155.6804
99 | 2663394.2154 | 1272170.0716 | 2663425.8995 | 1272175.3738
100 | 2663341.5083 | 1272163.0798 | 2663341.5083 | 1272163.0798 | 2663336.2824 | 1272162.2463
101 | 2663520.0048 | 1272080.3743 | 2663512.866 | 1272094.2099
102 | 2663529.229 | 1272063.0629 | 2663525.6862 | 1272069.363 | 2663520.0048 | 1272080.3743
103 | 2663529.229 | 1272063.0629 | 2663521.9342 | 1272053.4159
104 | 2663430.2941 | 1272176.1092 | 2663425.8995 | 1272175.3738
105 | 2663346.1499 | 1272201.6856 | 2663339.8784 | 1272199.4247
106 | 2663333.5255 | 1272197.1344 | 2663339.8784 | 1272199.4247
107 | 2663336.2824 | 1272162.2463 | 2663331.8151 | 1272161.5337
108 | 2663331.8151 | 1272161.5337 | 2663326.1643 | 1272160.6324

## bus_geodata
| x | y | coords
0 | 2663251.6758 | 1272452.1811
1 | 2663278.0504 | 1272438.9584
2 | 2663219.2219 | 1272422.1685
3 | 2663292.2235 | 1272429.5618
4 | 2663238.3818 | 1272403.4914
5 | 2663248.9959 | 1272392.5099
6 | 2663309.7614 | 1272417.0273
7 | 2663257.0491 | 1272384.0073
8 | 2663262.725 | 1272336.4886
9 | 2663312.1341 | 1272415.2569
10 | 2663327.2899 | 1272449.3815
11 | 2663309.9715 | 1272465.1134
12 | 2663271.4883 | 1272368.7622
13 | 2663405.507 | 1272011.0653
14 | 2663403.0415 | 1272025.0891
15 | 2663398.6718 | 1272051.4205
16 | 2663396.2211 | 1272017.9268
17 | 2663394.7109 | 1272074.7364
18 | 2663383.6856 | 1272003.8439
19 | 2663392.8653 | 1272085.6009
20 | 2663373.1608 | 1271991.9207
21 | 2663269.6382 | 1272313.6667
22 | 2663333.812 | 1272291.5408
23 | 2663350.3448 | 1272301.6137
24 | 2663337.3678 | 1272284.6892
25 | 2663299.2175 | 1272220.7809
26 | 2663301.2585 | 1272215.0231
27 | 2663306.2063 | 1272201.0651
28 | 2663323.4222 | 1272193.4921
29 | 2663312.4141 | 1272181.1119
30 | 2663328.4699 | 1272195.3118
31 | 2663283.61 | 1272355.964
32 | 2663335.7735 | 1272396.9505
33 | 2663355.2373 | 1272378.7226
34 | 2663363.6014 | 1272424.3451
35 | 2663313.646 | 1272045.5647
36 | 2663311.6808 | 1272022.8862
37 | 2663315.444 | 1272066.3589
38 | 2663345.7341 | 1272065.9869
39 | 2663348.9071 | 1272047.0264
40 | 2663352.023 | 1272028.407
41 | 2663329.0328 | 1271991.0802
42 | 2663331.3906 | 1271972.2394
43 | 2663375.1372 | 1272412.5068
44 | 2663369.831 | 1272363.461
45 | 2663432.8258 | 1272342.6457
46 | 2663435.5018 | 1272339.1056
47 | 2663396.4005 | 1272329.6749
48 | 2663458.2238 | 1272307.1252
49 | 2663383.5549 | 1272321.8482
50 | 2663415.0432 | 1272299.0595
51 | 2663458.3883 | 1272306.8669
52 | 2663510.7217 | 1272206.4161
53 | 2663515.4461 | 1272193.393
54 | 2663471.5518 | 1272178.7506
55 | 2663482.4455 | 1272155.461
56 | 2663460.9989 | 1272201.3115
57 | 2663422.7666 | 1272284.7387
58 | 2663424.1115 | 1272282.2449
59 | 2663376.9401 | 1272317.8179
60 | 2663368.949 | 1272312.9489
61 | 2663448.2889 | 1272228.4842
62 | 2663446.7319 | 1272231.8129
63 | 2663484.2658 | 1272151.5694
64 | 2663493.9224 | 1272130.9246
65 | 2663451.2588 | 1272081.839
66 | 2663455.6232 | 1272086.8346
67 | 2663469.6824 | 1272103.0241
68 | 2663480.6323 | 1272115.6289
69 | 2663392.3419 | 1272088.6816
70 | 2663388.4022 | 1272113.6536
71 | 2663347.7183 | 1272262.4184
72 | 2663347.9125 | 1272261.8642
73 | 2663355.6316 | 1272239.8791
74 | 2663360.5293 | 1272225.9736
75 | 2663366.4511 | 1272209.1606
76 | 2663356.1317 | 1272009.6523
77 | 2663361.2042 | 1272002.6519
78 | 2663350.0145 | 1271966.6855
79 | 2663338.3963 | 1271954.0187
80 | 2663387.1305 | 1272121.9222
81 | 2663385.4261 | 1272132.9703
82 | 2663385.2987 | 1272133.7882
83 | 2663382.6899 | 1272148.8162
84 | 2663368.8809 | 1272202.2022
85 | 2663368.7368 | 1272202.6147
86 | 2663376.3338 | 1272179.0768
87 | 2663379.3829 | 1272167.5895
88 | 2663371.378 | 1272177.6002
89 | 2663356.0577 | 1272205.2574
90 | 2663379.7238 | 1272165.6547
91 | 2663393.5824 | 1272169.9657
92 | 2663360.524 | 1272181.5695
93 | 2663351.2003 | 1272203.5063
94 | 2663380.5774 | 1272160.8089
95 | 2663394.2154 | 1272170.0716
96 | 2663341.5083 | 1272163.0798
97 | 2663520.0048 | 1272080.3743
98 | 2663512.866 | 1272094.2099
99 | 2663529.229 | 1272063.0629
100 | 2663521.9342 | 1272053.4159
101 | 2663381.4808 | 1272155.6804
102 | 2663425.8995 | 1272175.3738
103 | 2663430.2941 | 1272176.1092
104 | 2663346.1499 | 1272201.6856
105 | 2663333.5255 | 1272197.1344
106 | 2663339.8784 | 1272199.4247
107 | 2663336.2824 | 1272162.2463
108 | 2663331.8151 | 1272161.5337
109 | 2663326.1643 | 1272160.6324
110 | 2663366.4511 | 1272209.1606

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1