## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4426-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4426-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4426-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4426-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4426-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4426-1_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4426-1_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4426-1_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_4426-1_0_3_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_4426-1_0_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_4426-1_0_3_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_4426-1_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4426-1_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4426-1_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4426-1_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4426-1_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4426-1_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_4426-1_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4426-1_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4426-1_0_3_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_4426-1_0_3_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_4426-1_0_3_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_4426-1_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4426-1_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_4426-1_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_4426-1_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_4426-1_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_4426-1_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_4426-1_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_4426-1_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4426-1_0_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_4426-1_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_4426-1_0_3_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_4426-1_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4426-1_0_3_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_4426-1_0_3_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_4426-1_0_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_4426-1_0_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_4426-1_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_4426-1_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_4426-1_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_4426-1_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_4426-1_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_4426-1_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_4426-1_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_4426-1_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_4426-1_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_4426-1_0_3_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_4426-1_0_3_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_4426-1_0_3_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_4426-1_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_4426-1_0_3_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_4426-1_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_4426-1_0_3_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_4426-1_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_4426-1_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_4426-1_0_3_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_4426-1_0_3_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_4426-1_0_3_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_4426-1_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_4426-1_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_4426-1_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_4426-1_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_4426-1_0_3_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_4426-1_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_4426-1_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_4426-1_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_4426-1_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_4426-1_0_3_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_4426-1_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_4426-1_0_3_node_69 | 0.4 | n |  | TRUE
71 | bus_MV_407_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4426-1_0_3_load_0 | 0 | 0.0011434 | 0.00028656 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4426-1_0_3_load_1 | 1 | 0.002149 | 0.0005386 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4426-1_0_3_load_2 | 2 | 0.0015175 | 0.00038031 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4426-1_0_3_load_3 | 3 | 0.0020147 | 0.00050494 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4426-1_0_3_load_5 | 5 | 0.0017181 | 0.00043059 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4426-1_0_3_load_6 | 6 | 0.0019909 | 0.00049898 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4426-1_0_3_load_18 | 7 | 0.0011646 | 0.00029187 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4426-1_0_3_load_38 | 8 | 0.0017251 | 0.00043236 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4426-1_0_3_load_16 | 9 | 0.0012781 | 0.00032031 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4426-1_0_3_load_39 | 10 | 0.00045299 | 0.00011353 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4426-1_0_3_load_7 | 11 | 0.00070093 | 0.00017567 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4426-1_0_3_load_8 | 12 | 0.00034429 | 8.6288e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4426-1_0_3_load_11 | 15 | 0.0021318 | 0.00053429 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4426-1_0_3_load_13 | 16 | 0.0011862 | 0.00029729 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4426-1_0_3_load_14 | 17 | 0.0011039 | 0.00027665 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4426-1_0_3_load_12 | 18 | 0.00066565 | 0.00016683 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4426-1_0_3_load_70 | 19 | 0.0002226 | 5.579e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4426-1_0_3_load_55 | 20 | 0.0006614 | 0.00016576 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4426-1_0_3_load_56 | 21 | 0.00054391 | 0.00013632 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4426-1_0_3_load_23 | 23 | 0.095472 | 0.023927 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4426-1_0_3_load_20 | 24 | 0.0039186 | 0.0009821 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4426-1_0_3_load_21 | 25 | 0.004124 | 0.0010336 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4426-1_0_3_load_17 | 26 | 0.0021688 | 0.00054355 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4426-1_0_3_load_25 | 29 | 0.002394 | 0.0006 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4426-1_0_3_load_33 | 31 | 0.0052051 | 0.0013045 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4426-1_0_3_load_22 | 33 | 0.00064411 | 0.00016143 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4426-1_0_3_load_45 | 37 | 0.0014975 | 0.00037531 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4426-1_0_3_load_32 | 38 | 0.0019607 | 0.00049139 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4426-1_0_3_load_41 | 40 | 0.00029991 | 7.5165e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4426-1_0_3_load_26 | 41 | 0.00079438 | 0.00019909 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4426-1_0_3_load_27 | 42 | 0.003509 | 0.00087945 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4426-1_0_3_load_29 | 44 | 0.0020665 | 0.00051793 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4426-1_0_3_load_30 | 45 | 0.00078354 | 0.00019637 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4426-1_0_3_load_31 | 46 | 0.0025556 | 0.0006405 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4426-1_0_3_load_66 | 47 | 0.0056319 | 0.0014115 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4426-1_0_3_load_36 | 50 | 0.0015501 | 0.00038849 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4426-1_0_3_load_37 | 51 | 0.0030238 | 0.00075784 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4426-1_0_3_load_47 | 52 | 0.00027447 | 6.8789e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4426-1_0_3_load_44 | 54 | 0.0020951 | 0.00052508 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4426-1_0_3_load_48 | 55 | 0.00068953 | 0.00017281 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4426-1_0_3_load_54 | 56 | 0.0036057 | 0.00090367 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4426-1_0_3_load_42 | 57 | 0.00089462 | 0.00022421 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4426-1_0_3_load_43 | 58 | 0.0016667 | 0.00041771 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4426-1_0_3_load_46 | 59 | 0.0029846 | 0.00074802 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4426-1_0_3_load_49 | 60 | 0.0041155 | 0.0010314 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4426-1_0_3_load_50 | 61 | 0.002045 | 0.00051252 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4426-1_0_3_load_51 | 62 | 0.0029422 | 0.00073738 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4426-1_0_3_load_62 | 63 | 0.0035697 | 0.00089464 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4426-1_0_3_load_59 | 64 | 0.0033151 | 0.00083085 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4426-1_0_3_load_60 | 65 | 0.0038796 | 0.00097232 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4426-1_0_3_load_61 | 66 | 0.0034211 | 0.00085741 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4426-1_0_3_load_63 | 67 | 0.0039675 | 0.00099435 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4426-1_0_3_load_68 | 68 | 0.0010554 | 0.0002645 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4426-1_0_3_load_67 | 69 | 0.0030936 | 0.00077534 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4426-1_0_3_load_69 | 70 | 0.00081028 | 0.00020307 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4426-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4426-1_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.014007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4426-1_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.012934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4426-1_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.039357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4426-1_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.005968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4426-1_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.020314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4426-1_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.018899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4426-1_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.022995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4426-1_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.001018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4426-1_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0095266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4426-1_0_3_line_10 | NAYY 4x150 SE | 10 | 32 | 0.016859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4426-1_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0061908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_4426-1_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.094173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_4426-1_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.012094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_4426-1_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.014365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_4426-1_0_3_line_15 | NAYY 4x150 SE | 14 | 18 | 0.046679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_4426-1_0_3_line_16 | NAYY 4x150 SE | 14 | 19 | 0.074926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4426-1_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.023805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_4426-1_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.040005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_4426-1_0_3_line_19 | NAYY 4x150 SE | 17 | 22 | 0.01437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_4426-1_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.035496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_4426-1_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.028974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_4426-1_0_3_line_22 | NAYY 4x150 SE | 21 | 36 | 0.034579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_4426-1_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.051015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_4426-1_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.028981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_4426-1_0_3_line_25 | NAYY 4x150 SE | 25 | 33 | 0.0047947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_4426-1_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.010744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4426-1_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.007366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4426-1_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.018691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4426-1_0_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.04388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4426-1_0_3_line_30 | NAYY 4x150 SE | 28 | 31 | 0.022713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4426-1_0_3_line_31 | NAYY 4x150 SE | 29 | 32 | 0.026085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4426-1_0_3_line_32 | NAYY 4x150 SE | 30 | 37 | 0.016183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4426-1_0_3_line_33 | NAYY 4x150 SE | 30 | 38 | 0.0054194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4426-1_0_3_line_34 | NAYY 4x150 SE | 31 | 39 | 0.018546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4426-1_0_3_line_35 | NAYY 4x150 SE | 32 | 40 | 0.033467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4426-1_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.024613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_4426-1_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.002331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4426-1_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.022141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_4426-1_0_3_line_39 | NAYY 4x150 SE | 35 | 63 | 0.022723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4426-1_0_3_line_40 | NAYY 4x150 SE | 35 | 64 | 0.037993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4426-1_0_3_line_41 | NAYY 4x150 SE | 36 | 53 | 0.03885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4426-1_0_3_line_42 | NAYY 4x150 SE | 37 | 54 | 0.0024275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4426-1_0_3_line_43 | NAYY 4x150 SE | 38 | 44 | 0.046769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4426-1_0_3_line_44 | NAYY 4x150 SE | 39 | 50 | 0.013629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4426-1_0_3_line_45 | NAYY 4x150 SE | 39 | 51 | 0.013875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4426-1_0_3_line_46 | NAYY 4x150 SE | 40 | 57 | 0.01206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4426-1_0_3_line_47 | NAYY 4x150 SE | 41 | 42 | 0.021415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4426-1_0_3_line_48 | NAYY 4x150 SE | 41 | 43 | 0.030598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4426-1_0_3_line_49 | NAYY 4x150 SE | 42 | 44 | 0.0042608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4426-1_0_3_line_50 | NAYY 4x150 SE | 43 | 45 | 0.029226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4426-1_0_3_line_51 | NAYY 4x150 SE | 43 | 46 | 0.030694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4426-1_0_3_line_52 | NAYY 4x150 SE | 45 | 47 | 0.032839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4426-1_0_3_line_53 | NAYY 4x150 SE | 46 | 48 | 0.005956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4426-1_0_3_line_54 | NAYY 4x150 SE | 48 | 49 | 0.024688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4426-1_0_3_line_55 | NAYY 4x150 SE | 49 | 68 | 0.01645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4426-1_0_3_line_56 | NAYY 4x150 SE | 49 | 69 | 0.0063591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4426-1_0_3_line_57 | NAYY 4x150 SE | 50 | 52 | 0.024109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4426-1_0_3_line_58 | NAYY 4x150 SE | 51 | 53 | 0.014504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4426-1_0_3_line_59 | NAYY 4x150 SE | 52 | 55 | 0.0061287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4426-1_0_3_line_60 | NAYY 4x150 SE | 53 | 56 | 0.0007279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4426-1_0_3_line_61 | NAYY 4x150 SE | 54 | 59 | 0.014107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4426-1_0_3_line_62 | NAYY 4x150 SE | 55 | 60 | 0.013057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4426-1_0_3_line_63 | NAYY 4x150 SE | 57 | 58 | 0.00050602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4426-1_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.020151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4426-1_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.024087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4426-1_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.0091316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4426-1_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.0098063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4426-1_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.02242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4426-1_0_3_line_69 | NAYY 4x150 SE | 68 | 70 | 0.017171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4426-1_0_3_trafo_20 | 0.25 MVA 20/0.4 kV | 71 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2741222.714 | 1272543.8448 | 2741225.0155 | 1272557.9177
1 | 2741227.2762 | 1272571.7415 | 2741225.0155 | 1272557.9177
2 | 2741229.3637 | 1272584.5063 | 2741227.2762 | 1272571.7415
3 | 2741235.7157 | 1272623.3471 | 2741229.3637 | 1272584.5063
4 | 2741235.7157 | 1272623.3471 | 2741236.7987 | 1272629.216
5 | 2741235.7157 | 1272623.3471 | 2741219.8883 | 1272636.0813
6 | 2741240.0576 | 1272647.8284 | 2741239.6385 | 1272644.6066 | 2741236.7987 | 1272629.216
7 | 2741219.8883 | 1272636.0813 | 2741210.872 | 1272646.5428 | 2741204.3932 | 1272651.5929 | 2741203.7058 | 1272652.2772
8 | 2741240.0576 | 1272647.8284 | 2741240.1889 | 1272648.838
9 | 2741203.7058 | 1272652.2772 | 2741196.9546 | 1272658.9987
10 | 2741191.8436 | 1272674.816 | 2741192.8613 | 1272667.8222 | 2741196.2767 | 1272659.6736 | 2741196.9546 | 1272658.9987
11 | 2741453.0467 | 1272777.0159 | 2741451.7971 | 1272770.9526
12 | 2741453.0467 | 1272777.0159 | 2741472.0557 | 1272869.2506
13 | 2741449.356 | 1272759.1077 | 2741451.7971 | 1272770.9526
14 | 2741472.0557 | 1272869.2506 | 2741460.5401 | 1272877.8379
15 | 2741449.356 | 1272759.1077 | 2741408.9744 | 1272758.7735 | 2741402.6787 | 1272758.8395
16 | 2741449.356 | 1272759.1077 | 2741434.8337 | 1272685.6023
17 | 2741441.4568 | 1272892.0683 | 2741460.5401 | 1272877.8379
18 | 2741441.4568 | 1272892.0683 | 2741409.3865 | 1272915.9833
19 | 2741397.8672 | 1272924.5734 | 2741409.3865 | 1272915.9833
20 | 2741402.6787 | 1272758.8395 | 2741367.1843 | 1272759.2115
21 | 2741367.1843 | 1272759.2115 | 2741342.4594 | 1272759.4706 | 2741338.2135 | 1272759.5865
22 | 2741304.9137 | 1272767.3354 | 2741317.5778 | 1272762.2667 | 2741326.8366 | 1272759.8971 | 2741338.2135 | 1272759.5865
23 | 2741397.8672 | 1272924.5734 | 2741396.0861 | 1272955.8732 | 2741401.6129 | 1272974.7447
24 | 2741309.796 | 1272802.3214 | 2741314.9443 | 1272807.1819 | 2741330.8431 | 1272822.2437
25 | 2741306.3096 | 1272799.0298 | 2741309.796 | 1272802.3214
26 | 2741234.3091 | 1272689.0124 | 2741238.1188 | 1272679.4829 | 2741238.2242 | 1272679.0135
27 | 2741231.7584 | 1272695.925 | 2741234.3091 | 1272689.0124
28 | 2741234.3091 | 1272689.0124 | 2741216.5829 | 1272683.0864
29 | 2741215.2101 | 1272736.5809 | 2741218.4952 | 1272728.2178 | 2741231.7584 | 1272695.925
30 | 2741231.7584 | 1272695.925 | 2741252.6802 | 1272704.7661
31 | 2741191.8436 | 1272674.816 | 2741216.5829 | 1272683.0864
32 | 2741215.2101 | 1272736.5809 | 2741201.066 | 1272728.7164
33 | 2741215.2101 | 1272736.5809 | 2741213.1564 | 1272741.5962
34 | 2741269.4773 | 1272712.5772 | 2741263.7884 | 1272709.4602 | 2741252.6802 | 1272704.7661
35 | 2741191.8436 | 1272674.816 | 2741175.6529 | 1272671.6146 | 2741158.962 | 1272668.5874
36 | 2741288.4125 | 1272782.1331 | 2741306.3096 | 1272799.0298
37 | 2741286.9691 | 1272783.9671 | 2741288.4125 | 1272782.1331
38 | 2741304.9137 | 1272767.3354 | 2741294.3522 | 1272776.3472 | 2741288.4125 | 1272782.1331
39 | 2741270.1436 | 1272768.6381 | 2741286.9691 | 1272783.9671
40 | 2741286.9691 | 1272783.9671 | 2741278.4332 | 1272794.7959 | 2741266.6756 | 1272806.0036 | 2741260.6438 | 1272811.1997
41 | 2741290.6034 | 1272731.5016 | 2741293.1025 | 1272738.6797 | 2741299.0978 | 1272748.4774 | 2741302.5977 | 1272757.5368 | 2741304.9137 | 1272767.3354
42 | 2741198.9445 | 1272727.5368 | 2741201.066 | 1272728.7164
43 | 2741213.1564 | 1272741.5962 | 2741195.4339 | 1272784.8768
44 | 2741269.4773 | 1272712.5772 | 2741274.3697 | 1272709.9917 | 2741280.7713 | 1272705.0373
45 | 2741269.4773 | 1272712.5772 | 2741278.3385 | 1272721.1533 | 2741279.518 | 1272722.1485
46 | 2741147.0955 | 1272666.4351 | 2741158.962 | 1272668.5874
47 | 2741185.5843 | 1272808.5882 | 2741191.9874 | 1272793.2934 | 2741193.8193 | 1272788.8198
48 | 2741173.7684 | 1272836.8123 | 2741185.5843 | 1272808.5882
49 | 2741193.8193 | 1272788.8198 | 2741195.4339 | 1272784.8768
50 | 2741173.7684 | 1272836.8123 | 2741163.7302 | 1272832.1455 | 2741153.8127 | 1272816.9373
51 | 2741173.7684 | 1272836.8123 | 2741164.5862 | 1272859.5711 | 2741163.0825 | 1272865.5367
52 | 2741135.6081 | 1272789.6257 | 2741137.5443 | 1272791.9905 | 2741153.8127 | 1272816.9373
53 | 2741161.6267 | 1272871.3121 | 2741163.0825 | 1272865.5367
54 | 2741159.7586 | 1272895.9254 | 2741160.5177 | 1272883.3865 | 2741161.6267 | 1272871.3121
55 | 2741159.7586 | 1272895.9254 | 2741143.4464 | 1272898.0529
56 | 2741159.7586 | 1272895.9254 | 2741159.8848 | 1272902.2832
57 | 2741280.7713 | 1272705.0373 | 2741284.7269 | 1272701.9759 | 2741300.0383 | 1272690.5459
58 | 2741290.6034 | 1272731.5016 | 2741279.518 | 1272722.1485
59 | 2741305.1548 | 1272687.1799 | 2741301.4436 | 1272689.4968 | 2741300.0383 | 1272690.5459
60 | 2741291.1646 | 1272731.9651 | 2741290.6034 | 1272731.5016
61 | 2741186.6151 | 1272720.6813 | 2741198.9445 | 1272727.5368
62 | 2741316.2304 | 1272680.2654 | 2741305.1548 | 1272687.1799
63 | 2741146.5976 | 1272666.3448 | 2741147.0955 | 1272666.4351
64 | 2741316.2304 | 1272680.2654 | 2741324.7944 | 1272674.9188 | 2741333.0289 | 1272669.1489
65 | 2741333.0289 | 1272669.1489 | 2741349.4591 | 1272657.6364 | 2741352.4901 | 1272654.9878
66 | 2741260.6438 | 1272811.1997 | 2741253.7253 | 1272817.1596
67 | 2741245.8767 | 1272822.9783 | 2741249.4283 | 1272820.8614 | 2741253.7253 | 1272817.1596
68 | 2741225.334 | 1272831.7217 | 2741227.5259 | 1272831.2256 | 2741240.9251 | 1272825.9297 | 2741245.8767 | 1272822.9783
69 | 2741143.4464 | 1272898.0529 | 2741126.4198 | 1272900.2736

## bus_geodata
| x | y | coords
0 | 2741222.714 | 1272543.8448
1 | 2741225.0155 | 1272557.9177
2 | 2741227.2762 | 1272571.7415
3 | 2741229.3637 | 1272584.5063
4 | 2741235.7157 | 1272623.3471
5 | 2741236.7987 | 1272629.216
6 | 2741219.8883 | 1272636.0813
7 | 2741240.0576 | 1272647.8284
8 | 2741203.7058 | 1272652.2772
9 | 2741240.1889 | 1272648.838
10 | 2741196.9546 | 1272658.9987
11 | 2741453.0467 | 1272777.0159
12 | 2741451.7971 | 1272770.9526
13 | 2741472.0557 | 1272869.2506
14 | 2741449.356 | 1272759.1077
15 | 2741460.5401 | 1272877.8379
16 | 2741441.4568 | 1272892.0683
17 | 2741409.3865 | 1272915.9833
18 | 2741402.6787 | 1272758.8395
19 | 2741434.8337 | 1272685.6023
20 | 2741367.1843 | 1272759.2115
21 | 2741338.2135 | 1272759.5865
22 | 2741397.8672 | 1272924.5734
23 | 2741401.6129 | 1272974.7447
24 | 2741330.8431 | 1272822.2438
25 | 2741309.796 | 1272802.3214
26 | 2741238.2242 | 1272679.0135
27 | 2741234.3091 | 1272689.0124
28 | 2741231.7584 | 1272695.925
29 | 2741216.5829 | 1272683.0864
30 | 2741215.2101 | 1272736.5809
31 | 2741252.6802 | 1272704.7661
32 | 2741191.8436 | 1272674.816
33 | 2741306.3096 | 1272799.0298
34 | 2741288.4125 | 1272782.1331
35 | 2741286.9691 | 1272783.9671
36 | 2741304.9137 | 1272767.3354
37 | 2741201.066 | 1272728.7164
38 | 2741213.1564 | 1272741.5962
39 | 2741269.4773 | 1272712.5772
40 | 2741158.962 | 1272668.5874
41 | 2741185.5843 | 1272808.5882
42 | 2741193.8193 | 1272788.8198
43 | 2741173.7684 | 1272836.8123
44 | 2741195.4339 | 1272784.8768
45 | 2741153.8127 | 1272816.9373
46 | 2741163.0825 | 1272865.5367
47 | 2741135.6081 | 1272789.6257
48 | 2741161.6267 | 1272871.3121
49 | 2741159.7586 | 1272895.9254
50 | 2741280.7713 | 1272705.0373
51 | 2741279.518 | 1272722.1485
52 | 2741300.0383 | 1272690.5459
53 | 2741290.6034 | 1272731.5016
54 | 2741198.9445 | 1272727.5368
55 | 2741305.1548 | 1272687.1799
56 | 2741291.1646 | 1272731.9651
57 | 2741147.0955 | 1272666.4351
58 | 2741146.5976 | 1272666.3448
59 | 2741186.6151 | 1272720.6813
60 | 2741316.2304 | 1272680.2653
61 | 2741333.0289 | 1272669.1489
62 | 2741352.4901 | 1272654.9878
63 | 2741270.1436 | 1272768.6381
64 | 2741260.6438 | 1272811.1997
65 | 2741253.7253 | 1272817.1596
66 | 2741245.8767 | 1272822.9783
67 | 2741225.334 | 1272831.7217
68 | 2741143.4464 | 1272898.0529
69 | 2741159.8848 | 1272902.2832
70 | 2741126.4198 | 1272900.2736
71 | 2741330.8431 | 1272822.2438

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1