## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4426-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4426-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4426-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4426-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4426-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4426-4_0_4_node_86 | 0.4 | n |  | TRUE
6 | bus_LV_4426-4_0_4_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_4426-4_0_4_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_4426-4_0_4_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_4426-4_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_4426-4_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4426-4_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4426-4_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4426-4_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4426-4_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4426-4_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4426-4_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_4426-4_0_4_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_4426-4_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4426-4_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4426-4_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4426-4_0_4_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_4426-4_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_4426-4_0_4_node_78 | 0.4 | n |  | TRUE
24 | bus_LV_4426-4_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4426-4_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_4426-4_0_4_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_4426-4_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_4426-4_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_4426-4_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_4426-4_0_4_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_4426-4_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_4426-4_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4426-4_0_4_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_4426-4_0_4_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_4426-4_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_4426-4_0_4_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_4426-4_0_4_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_4426-4_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_4426-4_0_4_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_4426-4_0_4_node_97 | 0.4 | n |  | TRUE
41 | bus_LV_4426-4_0_4_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_4426-4_0_4_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_4426-4_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_4426-4_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_4426-4_0_4_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_4426-4_0_4_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_4426-4_0_4_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_4426-4_0_4_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_4426-4_0_4_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_4426-4_0_4_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_4426-4_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_4426-4_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_4426-4_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_4426-4_0_4_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_4426-4_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_4426-4_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_4426-4_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_4426-4_0_4_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_4426-4_0_4_node_90 | 0.4 | n |  | TRUE
60 | bus_LV_4426-4_0_4_node_89 | 0.4 | n |  | TRUE
61 | bus_LV_4426-4_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_4426-4_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_4426-4_0_4_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_4426-4_0_4_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_4426-4_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_4426-4_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_4426-4_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_4426-4_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_4426-4_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_4426-4_0_4_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_4426-4_0_4_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_4426-4_0_4_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_4426-4_0_4_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_4426-4_0_4_node_88 | 0.4 | n |  | TRUE
75 | bus_LV_4426-4_0_4_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_4426-4_0_4_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_4426-4_0_4_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_4426-4_0_4_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_4426-4_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_4426-4_0_4_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_4426-4_0_4_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_4426-4_0_4_node_59 | 0.4 | n |  | TRUE
83 | bus_LV_4426-4_0_4_node_60 | 0.4 | n |  | TRUE
84 | bus_LV_4426-4_0_4_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_4426-4_0_4_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_4426-4_0_4_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_4426-4_0_4_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_4426-4_0_4_node_64 | 0.4 | n |  | TRUE
89 | bus_LV_4426-4_0_4_node_65 | 0.4 | n |  | TRUE
90 | bus_LV_4426-4_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_4426-4_0_4_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_4426-4_0_4_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_4426-4_0_4_node_95 | 0.4 | n |  | TRUE
94 | bus_MV_407_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4426-4_0_4_load_0 | 0 | 0.0011104 | 0.0002783 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4426-4_0_4_load_1 | 1 | 0.0010465 | 0.00026228 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4426-4_0_4_load_2 | 2 | 0.000525 | 0.00013158 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4426-4_0_4_load_4 | 4 | 0.00089153 | 0.00022344 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4426-4_0_4_load_86 | 5 | 0.0021656 | 0.00054275 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4426-4_0_4_load_48 | 7 | 0.0011177 | 0.00028011 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4426-4_0_4_load_30 | 8 | 0.0019193 | 0.00048102 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4426-4_0_4_load_26 | 9 | 0.002221 | 0.00055663 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4426-4_0_4_load_5 | 10 | 0.0026515 | 0.00066453 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4426-4_0_4_load_6 | 12 | 0.00075263 | 0.00018863 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4426-4_0_4_load_9 | 14 | 0.00066594 | 0.0001669 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4426-4_0_4_load_10 | 15 | 0.0034722 | 0.00087021 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4426-4_0_4_load_33 | 17 | 0.036669 | 0.00919 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4426-4_0_4_load_22 | 22 | 0.0017968 | 0.00045031 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4426-4_0_4_load_78 | 23 | 0.0025101 | 0.0006291 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4426-4_0_4_load_76 | 26 | 0.0042925 | 0.0010758 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4426-4_0_4_load_24 | 27 | 0.011755 | 0.0029461 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4426-4_0_4_load_23 | 29 | 0.0066596 | 0.0016691 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4426-4_0_4_load_93 | 30 | 0.00454 | 0.0011378 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4426-4_0_4_load_81 | 33 | 0.0029891 | 0.00074914 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4426-4_0_4_load_79 | 34 | 0.058669 | 0.014704 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4426-4_0_4_load_32 | 35 | 0.0011148 | 0.0002794 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4426-4_0_4_load_68 | 36 | 0.0020116 | 0.00050415 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4426-4_0_4_load_69 | 37 | 0.0023863 | 0.00059807 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4426-4_0_4_load_21 | 38 | 0.0015266 | 0.00038259 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4426-4_0_4_load_74 | 39 | 0.0057969 | 0.0014528 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4426-4_0_4_load_97 | 40 | 0.010298 | 0.0025809 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4426-4_0_4_load_94 | 41 | 0.0027678 | 0.00069367 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4426-4_0_4_load_82 | 42 | 0.00065737 | 0.00016475 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4426-4_0_4_load_27 | 43 | 0.00080231 | 0.00020108 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4426-4_0_4_load_57 | 46 | 0.00088292 | 0.00022128 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4426-4_0_4_load_77 | 48 | 0.0029733 | 0.00074519 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4426-4_0_4_load_73 | 49 | 0.0031729 | 0.0007952 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4426-4_0_4_load_70 | 50 | 0.0017541 | 0.00043962 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4426-4_0_4_load_34 | 51 | 0.004152 | 0.0010406 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4426-4_0_4_load_35 | 52 | 0.0012389 | 0.0003105 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4426-4_0_4_load_80 | 54 | 0.00062063 | 0.00015555 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4426-4_0_4_load_36 | 56 | 0.00044505 | 0.00011154 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4426-4_0_4_load_90 | 59 | 0.00058338 | 0.00014621 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4426-4_0_4_load_89 | 60 | 0.00030077 | 7.538e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4426-4_0_4_load_39 | 61 | 0.00052668 | 0.000132 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4426-4_0_4_load_85 | 63 | 0.0003651 | 9.1503e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4426-4_0_4_load_43 | 65 | 0.0017464 | 0.00043768 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4426-4_0_4_load_44 | 66 | 0.0021892 | 0.00054866 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4426-4_0_4_load_45 | 67 | 0.002748 | 0.00068871 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4426-4_0_4_load_46 | 68 | 0.0023588 | 0.00059116 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4426-4_0_4_load_49 | 70 | 0.002331 | 0.0005842 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4426-4_0_4_load_50 | 71 | 0.0037141 | 0.00093084 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4426-4_0_4_load_51 | 72 | 0.0016946 | 0.00042472 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4426-4_0_4_load_87 | 73 | 0.0011785 | 0.00029536 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4426-4_0_4_load_88 | 74 | 0.0031122 | 0.00078 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4426-4_0_4_load_52 | 75 | 0.0030574 | 0.00076626 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4426-4_0_4_load_53 | 76 | 0.00073174 | 0.00018339 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4426-4_0_4_load_54 | 77 | 0.00057373 | 0.00014379 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4426-4_0_4_load_56 | 78 | 0.0026518 | 0.0006646 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4426-4_0_4_load_72 | 79 | 0.00028973 | 7.2613e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4426-4_0_4_load_61 | 80 | 0.0010092 | 0.00025293 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4426-4_0_4_load_58 | 81 | 0.00036133 | 9.0558e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4426-4_0_4_load_59 | 82 | 0.0021804 | 0.00054645 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4426-4_0_4_load_63 | 85 | 0.00088277 | 0.00022124 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4426-4_0_4_load_66 | 86 | 0.0015002 | 0.00037598 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4426-4_0_4_load_71 | 87 | 0.0011848 | 0.00029694 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4426-4_0_4_load_64 | 88 | 0.00080837 | 0.0002026 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4426-4_0_4_load_65 | 89 | 0.0016998 | 0.00042601 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4426-4_0_4_load_91 | 90 | 0.0024204 | 0.00060662 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4426-4_0_4_load_92 | 91 | 0.0029505 | 0.00073946 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4426-4_0_4_load_83 | 92 | 0.0014523 | 0.00036397 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4426-4_0_4_load_95 | 93 | 0.003679 | 0.00092205 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4426-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4426-4_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4426-4_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.026022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4426-4_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4426-4_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4426-4_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.033694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4426-4_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.027732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4426-4_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.10969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4426-4_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.010098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4426-4_0_4_line_9 | NAYY 4x150 SE | 7 | 68 | 0.034557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4426-4_0_4_line_10 | NAYY 4x150 SE | 9 | 43 | 0.038394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4426-4_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.01498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4426-4_0_4_line_12 | NAYY 4x150 SE | 11 | 14 | 0.0076281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4426-4_0_4_line_13 | NAYY 4x150 SE | 11 | 15 | 0.02285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_4426-4_0_4_line_14 | NAYY 4x150 SE | 11 | 16 | 0.021599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4426-4_0_4_line_15 | NAYY 4x150 SE | 12 | 13 | 0.018834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4426-4_0_4_line_16 | NAYY 4x150 SE | 13 | 17 | 0.0003938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4426-4_0_4_line_17 | NAYY 4x150 SE | 14 | 18 | 0.038043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4426-4_0_4_line_18 | NAYY 4x150 SE | 15 | 19 | 0.03884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_4426-4_0_4_line_19 | NAYY 4x150 SE | 16 | 29 | 0.011297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4426-4_0_4_line_20 | NAYY 4x150 SE | 17 | 35 | 0.029704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4426-4_0_4_line_21 | NAYY 4x150 SE | 18 | 27 | 0.006374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4426-4_0_4_line_22 | NAYY 4x150 SE | 18 | 28 | 0.015868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4426-4_0_4_line_23 | NAYY 4x150 SE | 19 | 23 | 0.0028644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_4426-4_0_4_line_24 | NAYY 4x150 SE | 20 | 21 | 0.004395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4426-4_0_4_line_25 | NAYY 4x150 SE | 20 | 22 | 0.017761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4426-4_0_4_line_26 | NAYY 4x150 SE | 21 | 37 | 0.016696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4426-4_0_4_line_27 | NAYY 4x150 SE | 21 | 36 | 0.015026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4426-4_0_4_line_28 | NAYY 4x150 SE | 22 | 38 | 0.024281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4426-4_0_4_line_29 | NAYY 4x150 SE | 23 | 32 | 0.028105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4426-4_0_4_line_30 | NAYY 4x150 SE | 24 | 25 | 0.011743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4426-4_0_4_line_31 | NAYY 4x150 SE | 24 | 26 | 0.0073771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4426-4_0_4_line_32 | NAYY 4x150 SE | 25 | 28 | 0.006537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4426-4_0_4_line_33 | NAYY 4x150 SE | 25 | 30 | 0.038788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4426-4_0_4_line_34 | NAYY 4x150 SE | 26 | 39 | 0.018956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4426-4_0_4_line_35 | NAYY 4x150 SE | 28 | 40 | 0.026322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4426-4_0_4_line_36 | NAYY 4x150 SE | 29 | 38 | 0.025304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4426-4_0_4_line_37 | NAYY 4x150 SE | 30 | 41 | 0.0036489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4426-4_0_4_line_38 | NAYY 4x150 SE | 31 | 32 | 0.059695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_4426-4_0_4_line_39 | NAYY 4x150 SE | 31 | 33 | 0.056883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_4426-4_0_4_line_40 | NAYY 4x150 SE | 32 | 34 | 0.024448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4426-4_0_4_line_41 | NAYY 4x150 SE | 33 | 42 | 0.002481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4426-4_0_4_line_42 | NAYY 4x150 SE | 35 | 51 | 0.037011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4426-4_0_4_line_43 | NAYY 4x150 SE | 37 | 50 | 0.00093573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4426-4_0_4_line_44 | NAYY 4x150 SE | 39 | 49 | 0.0012136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4426-4_0_4_line_45 | NAYY 4x150 SE | 41 | 93 | 0.019287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4426-4_0_4_line_46 | NAYY 4x150 SE | 42 | 92 | 0.031277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4426-4_0_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.015378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4426-4_0_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.029425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4426-4_0_4_line_49 | NAYY 4x150 SE | 45 | 48 | 0.042036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4426-4_0_4_line_50 | NAYY 4x150 SE | 45 | 49 | 0.014189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4426-4_0_4_line_51 | NAYY 4x150 SE | 46 | 47 | 0.016523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4426-4_0_4_line_52 | NAYY 4x150 SE | 47 | 78 | 0.0047029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4426-4_0_4_line_53 | NAYY 4x150 SE | 47 | 76 | 0.048423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4426-4_0_4_line_54 | NAYY 4x150 SE | 48 | 90 | 0.013747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4426-4_0_4_line_55 | NAYY 4x150 SE | 50 | 87 | 0.025166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4426-4_0_4_line_56 | NAYY 4x150 SE | 51 | 52 | 0.0048574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4426-4_0_4_line_57 | NAYY 4x150 SE | 52 | 53 | 0.025925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4426-4_0_4_line_58 | NAYY 4x150 SE | 53 | 54 | 0.053296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4426-4_0_4_line_59 | NAYY 4x150 SE | 53 | 55 | 0.030009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4426-4_0_4_line_60 | NAYY 4x150 SE | 54 | 60 | 0.0036611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4426-4_0_4_line_61 | NAYY 4x150 SE | 55 | 62 | 0.0268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4426-4_0_4_line_62 | NAYY 4x150 SE | 55 | 61 | 0.0012444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4426-4_0_4_line_63 | NAYY 4x150 SE | 56 | 57 | 0.057505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4426-4_0_4_line_64 | NAYY 4x150 SE | 57 | 58 | 0.027458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4426-4_0_4_line_65 | NAYY 4x150 SE | 58 | 59 | 0.039979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4426-4_0_4_line_66 | NAYY 4x150 SE | 59 | 60 | 0.012457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4426-4_0_4_line_67 | NAYY 4x150 SE | 62 | 63 | 0.049972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4426-4_0_4_line_68 | NAYY 4x150 SE | 63 | 64 | 0.036003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4426-4_0_4_line_69 | NAYY 4x150 SE | 64 | 92 | 0.018424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4426-4_0_4_line_70 | NAYY 4x150 SE | 65 | 66 | 0.013164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4426-4_0_4_line_71 | NAYY 4x150 SE | 65 | 67 | 0.015175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4426-4_0_4_line_72 | NAYY 4x150 SE | 66 | 68 | 0.030471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4426-4_0_4_line_73 | NAYY 4x150 SE | 67 | 69 | 0.02462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4426-4_0_4_line_74 | NAYY 4x150 SE | 69 | 70 | 0.03898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4426-4_0_4_line_75 | NAYY 4x150 SE | 71 | 72 | 0.020543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4426-4_0_4_line_76 | NAYY 4x150 SE | 72 | 73 | 0.0022711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4426-4_0_4_line_77 | NAYY 4x150 SE | 73 | 74 | 0.0084333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4426-4_0_4_line_78 | NAYY 4x150 SE | 74 | 85 | 0.0010562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4426-4_0_4_line_79 | NAYY 4x150 SE | 75 | 76 | 0.030901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4426-4_0_4_line_80 | NAYY 4x150 SE | 75 | 77 | 0.0026301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4426-4_0_4_line_81 | NAYY 4x150 SE | 78 | 79 | 0.017956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4426-4_0_4_line_82 | NAYY 4x150 SE | 79 | 80 | 0.0093541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4426-4_0_4_line_83 | NAYY 4x150 SE | 80 | 82 | 0.0066754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4426-4_0_4_line_84 | NAYY 4x150 SE | 81 | 82 | 0.0018803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4426-4_0_4_line_85 | NAYY 4x150 SE | 81 | 83 | 0.032167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4426-4_0_4_line_86 | NAYY 4x150 SE | 83 | 84 | 0.012718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4426-4_0_4_line_87 | NAYY 4x150 SE | 83 | 85 | 0.024309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4426-4_0_4_line_88 | NAYY 4x150 SE | 84 | 86 | 0.014671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4426-4_0_4_line_89 | NAYY 4x150 SE | 84 | 87 | 0.015368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4426-4_0_4_line_90 | NAYY 4x150 SE | 86 | 88 | 0.016159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4426-4_0_4_line_91 | NAYY 4x150 SE | 88 | 89 | 0.015485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4426-4_0_4_line_92 | NAYY 4x150 SE | 90 | 91 | 0.032557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4426-4_0_4_trafo_10 | 0.25 MVA 20/0.4 kV | 94 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2741025.2763 | 1272987.5497 | 2741015.7086 | 1272971.9482 | 2741011.7932 | 1272965.0253
1 | 2741025.2763 | 1272987.5497 | 2741031.1815 | 1272997.1789
2 | 2740998.9828 | 1272942.3748 | 2741011.7932 | 1272965.0253
3 | 2741031.1815 | 1272997.1789 | 2741041.1231 | 1273013.3902
4 | 2740998.9828 | 1272942.3748 | 2741019.8263 | 1272933.7243
5 | 2741058.7374 | 1273042.1128 | 2741041.1231 | 1273013.3902
6 | 2741019.8263 | 1272933.7243 | 2741043.9858 | 1272923.6976 | 2741045.4827 | 1272923.2091
7 | 2741058.7374 | 1273042.1128 | 2740968.4412 | 1273095.1538 | 2740964.1632 | 1273097.6693
8 | 2741058.7374 | 1273042.1128 | 2741064.5639 | 1273050.3604
9 | 2741078.3349 | 1272912.4881 | 2741045.4827 | 1272923.2091
10 | 2741086.717 | 1273081.719 | 2741064.5639 | 1273050.3604
11 | 2741208.6052 | 1273137.5683 | 2741210.2174 | 1273141.8778 | 2741216.1975 | 1273150.3601
12 | 2741208.6052 | 1273137.5683 | 2741201.3976 | 1273140.0658
13 | 2741208.6052 | 1273137.5683 | 2741219.1143 | 1273134.4832 | 2741230.7665 | 1273132.0785
14 | 2741197.339 | 1273129.8467 | 2741196.7033 | 1273135.6595 | 2741206.7667 | 1273132.6527 | 2741208.6052 | 1273137.5683
15 | 2741306.4823 | 1273196.5245 | 2741287.6561 | 1273197.0585
16 | 2741306.4901 | 1273196.9182 | 2741306.4823 | 1273196.5245
17 | 2741166.1548 | 1273154.3144 | 2741177.824 | 1273148.9659 | 2741190.2609 | 1273143.9249 | 2741201.3976 | 1273140.0658
18 | 2741269.2284 | 1273126.9856 | 2741253.4738 | 1273128.2433 | 2741237.223 | 1273130.746 | 2741230.7665 | 1273132.0785
19 | 2741197.339 | 1273129.8467 | 2741199.6652 | 1273118.7913
20 | 2741306.4901 | 1273196.9182 | 2741307.0745 | 1273226.6169
21 | 2741169.066 | 1273159.9897 | 2741166.1548 | 1273154.3144
22 | 2741152.3337 | 1273162.1808 | 2741166.1548 | 1273154.3144
23 | 2741269.2284 | 1273126.9856 | 2741272.0926 | 1273126.9536
24 | 2741255.1329 | 1273073.7285 | 2741252.1586 | 1273076.9717
25 | 2741252.1586 | 1273076.9717 | 2741242.895 | 1273087.1046 | 2741239.5957 | 1273089.4213
26 | 2741255.1329 | 1273073.7285 | 2741246.8599 | 1273065.7448 | 2741243.3316 | 1273061.9263
27 | 2741255.1329 | 1273073.7285 | 2741257.3305 | 1273075.5829 | 2741266.2396 | 1273083.8451
28 | 2741219.7243 | 1273103.374 | 2741239.5957 | 1273089.4213
29 | 2741294.1992 | 1273137.6716 | 2741289.1015 | 1273139.418 | 2741286.2699 | 1273133.8781 | 2741283.175 | 1273130.534 | 2741279.2024 | 1273128.0253 | 2741274.6092 | 1273126.9254 | 2741272.0926 | 1273126.9536
30 | 2741146.1728 | 1273159.9423 | 2741138.7393 | 1273150.8333
31 | 2741138.7393 | 1273150.8333 | 2741134.0739 | 1273145.1188
32 | 2741146.1728 | 1273159.9423 | 2741152.3337 | 1273162.1808
33 | 2741146.1728 | 1273159.9423 | 2741122.9998 | 1273177.2502 | 2741115.4803 | 1273183.636
34 | 2741122.086 | 1273130.435 | 2741134.0739 | 1273145.1188
35 | 2741152.3337 | 1273162.1808 | 2741164.1924 | 1273185.6989
36 | 2741199.6652 | 1273118.7913 | 2741216.196 | 1273105.8514 | 2741219.7243 | 1273103.374
37 | 2741115.4803 | 1273183.636 | 2741112.699 | 1273185.9979
38 | 2741294.1992 | 1273137.6716 | 2741298.7426 | 1273149.9593 | 2741306.3309 | 1273159.506 | 2741319.6238 | 1273165.8416 | 2741334.645 | 1273178.5472
39 | 2741334.645 | 1273178.5472 | 2741376.7264 | 1273216.8207
40 | 2741294.1992 | 1273137.6716 | 2741299.1527 | 1273135.9774 | 2741298.7523 | 1273133.2206 | 2741298.9768 | 1273130.4454 | 2741299.8327 | 1273128.0079 | 2741302.023 | 1273125.7692 | 2741309.8019 | 1273124.2405
41 | 2741376.7264 | 1273216.8207 | 2741378.5618 | 1273218.49
42 | 2741307.791 | 1273263.6213 | 2741307.7174 | 1273259.2835 | 2741307.0745 | 1273226.6169
43 | 2741243.3316 | 1273061.9263 | 2741242.6966 | 1273061.239
44 | 2741121.3185 | 1273129.495 | 2741122.086 | 1273130.435
45 | 2741097.9981 | 1273198.4824 | 2741112.699 | 1273185.9979
46 | 2741378.5618 | 1273218.49 | 2741401.6998 | 1273239.5343
47 | 2741095.5899 | 1273094.2788 | 2741086.717 | 1273081.719
48 | 2741112.3449 | 1273118.5034 | 2741095.5899 | 1273094.2788
49 | 2741112.3449 | 1273118.5034 | 2741078.3856 | 1273143.2785
50 | 2741112.3449 | 1273118.5034 | 2741121.3185 | 1273129.495
51 | 2741152.0086 | 1273066.3549 | 2741137.1998 | 1273073.6844
52 | 2741152.0086 | 1273066.3549 | 2741156.0259 | 1273063.9097
53 | 2741152.0086 | 1273066.3549 | 2741126.5704 | 1273025.1518
54 | 2741067.2797 | 1273151.3809 | 2741078.3856 | 1273143.2785
55 | 2741242.6966 | 1273061.239 | 2741226.9342 | 1273044.1799 | 2741225.6586 | 1273042.7182
56 | 2741307.791 | 1273263.6213 | 2741307.8734 | 1273268.478
57 | 2741308.3131 | 1273294.3996 | 2741307.8734 | 1273268.478
58 | 2741308.3131 | 1273294.3996 | 2741301.1014 | 1273298.0307 | 2741269.969 | 1273320.3525 | 2741264.2672 | 1273324.2626
59 | 2741308.3131 | 1273294.3996 | 2741314.1586 | 1273307.5972 | 2741323.6414 | 1273305.5777 | 2741328.7791 | 1273308.4369
60 | 2741264.2672 | 1273324.2626 | 2741261.2479 | 1273326.3332
61 | 2741328.7791 | 1273308.4369 | 2741323.6414 | 1273305.5777 | 2741343.0082 | 1273297.6667
62 | 2741328.7791 | 1273308.4369 | 2741327.7503 | 1273309.1369
63 | 2741248.7757 | 1273371.5523 | 2741295.7593 | 1273338.3949
64 | 2741228.7459 | 1273365.0666 | 2741240.1667 | 1273377.619 | 2741248.7757 | 1273371.5523
65 | 2741228.7459 | 1273365.0666 | 2741233.5655 | 1273351.0456 | 2741242.0118 | 1273339.525 | 2741250.9743 | 1273333.3787
66 | 2741261.2479 | 1273326.3332 | 2741250.9743 | 1273333.3787
67 | 2741343.0082 | 1273297.6667 | 2741364.3985 | 1273288.5141 | 2741383.3715 | 1273275.066 | 2741386.1663 | 1273273.0427
68 | 2741415.3292 | 1273251.9304 | 2741386.1663 | 1273273.0427
69 | 2741415.3292 | 1273251.9304 | 2741401.6998 | 1273239.5343
70 | 2741120.2973 | 1272901.0721 | 2741108.6697 | 1272902.5887 | 2741107.3025 | 1272903.0348
71 | 2741120.2973 | 1272901.0721 | 2741135.3449 | 1272899.1095
72 | 2741107.3025 | 1272903.0348 | 2741078.3349 | 1272912.4881
73 | 2741159.7586 | 1272895.9254 | 2741135.3449 | 1272899.1095
74 | 2741159.7586 | 1272895.9254 | 2741160.0178 | 1272908.9891 | 2741161.5907 | 1272919.0367 | 2741163.4777 | 1272927.9018 | 2741165.4687 | 1272934.278
75 | 2741190.8849 | 1272989.2285 | 2741181.3568 | 1272971.0289
76 | 2741191.9382 | 1272991.2406 | 2741190.8849 | 1272989.2285
77 | 2741191.9382 | 1272991.2406 | 2741195.8497 | 1272998.7119
78 | 2741195.8497 | 1272998.7119 | 2741196.3396 | 1272999.6476
79 | 2741131.8782 | 1273003.8482 | 2741118.5892 | 1273012.2242 | 2741126.5704 | 1273025.1518
80 | 2741131.8782 | 1273003.8482 | 2741134.1032 | 1273002.4458
81 | 2741156.0259 | 1273063.9097 | 2741171.3642 | 1273054.5737
82 | 2741171.3642 | 1273054.5737 | 2741179.3546 | 1273049.7102
83 | 2741179.3546 | 1273049.7102 | 2741185.0567 | 1273046.2395
84 | 2741186.6629 | 1273045.2619 | 2741185.0567 | 1273046.2395
85 | 2741207.6144 | 1273021.1838 | 2741190.5652 | 1273042.8866 | 2741186.6629 | 1273045.2619
86 | 2741207.6144 | 1273021.1838 | 2741215.5545 | 1273031.1392
87 | 2741207.6144 | 1273021.1838 | 2741196.3396 | 1272999.6476
88 | 2741215.5545 | 1273031.1392 | 2741227.6265 | 1273022.8031
89 | 2741215.5545 | 1273031.1392 | 2741225.6586 | 1273042.7182
90 | 2741241.191 | 1273014.0464 | 2741241.191 | 1273014.0464 | 2741236.1031 | 1273016.9498 | 2741227.6265 | 1273022.8031
91 | 2741241.191 | 1273014.0464 | 2741248.0262 | 1273000.1521
92 | 2741067.2797 | 1273151.3809 | 2741040.9781 | 1273170.5693

## bus_geodata
| x | y | coords
0 | 2741025.2763 | 1272987.5497
1 | 2741011.7932 | 1272965.0253
2 | 2741031.1815 | 1272997.1789
3 | 2740998.9828 | 1272942.3748
4 | 2741041.1231 | 1273013.3902
5 | 2741019.8263 | 1272933.7243
6 | 2741058.7374 | 1273042.1128
7 | 2741045.4827 | 1272923.2091
8 | 2740964.1632 | 1273097.6693
9 | 2741064.5639 | 1273050.3604
10 | 2741216.1975 | 1273150.3601
11 | 2741208.6052 | 1273137.5683
12 | 2741287.6561 | 1273197.0585
13 | 2741306.4823 | 1273196.5245
14 | 2741201.3976 | 1273140.0658
15 | 2741230.7665 | 1273132.0785
16 | 2741197.339 | 1273129.8467
17 | 2741306.4901 | 1273196.9182
18 | 2741166.1548 | 1273154.3144
19 | 2741269.2284 | 1273126.9856
20 | 2741252.1586 | 1273076.9717
21 | 2741255.1329 | 1273073.7285
22 | 2741239.5957 | 1273089.4213
23 | 2741272.0926 | 1273126.9536
24 | 2741138.7393 | 1273150.8333
25 | 2741146.1728 | 1273159.9423
26 | 2741134.0739 | 1273145.1188
27 | 2741169.066 | 1273159.9897
28 | 2741152.3337 | 1273162.1808
29 | 2741199.6652 | 1273118.7913
30 | 2741115.4803 | 1273183.636
31 | 2741334.645 | 1273178.5472
32 | 2741294.1992 | 1273137.6716
33 | 2741376.7264 | 1273216.8207
34 | 2741309.8019 | 1273124.2405
35 | 2741307.0745 | 1273226.6169
36 | 2741266.2396 | 1273083.8451
37 | 2741243.3316 | 1273061.9263
38 | 2741219.7243 | 1273103.374
39 | 2741122.086 | 1273130.435
40 | 2741164.1924 | 1273185.6989
41 | 2741112.699 | 1273185.9979
42 | 2741378.5618 | 1273218.49
43 | 2741086.717 | 1273081.719
44 | 2741095.5899 | 1273094.2788
45 | 2741112.3449 | 1273118.5034
46 | 2741137.1998 | 1273073.6844
47 | 2741152.0086 | 1273066.3549
48 | 2741078.3856 | 1273143.2785
49 | 2741121.3185 | 1273129.495
50 | 2741242.6966 | 1273061.239
51 | 2741307.791 | 1273263.6213
52 | 2741307.8734 | 1273268.478
53 | 2741308.3131 | 1273294.3996
54 | 2741264.2672 | 1273324.2626
55 | 2741328.7791 | 1273308.4369
56 | 2741295.7593 | 1273338.3949
57 | 2741248.7757 | 1273371.5523
58 | 2741228.7459 | 1273365.0666
59 | 2741250.9743 | 1273333.3787
60 | 2741261.2479 | 1273326.3332
61 | 2741327.7503 | 1273309.1369
62 | 2741343.0082 | 1273297.6667
63 | 2741386.1663 | 1273273.0427
64 | 2741415.3292 | 1273251.9304
65 | 2741120.2973 | 1272901.0721
66 | 2741107.3025 | 1272903.0348
67 | 2741135.3449 | 1272899.1095
68 | 2741078.3349 | 1272912.4881
69 | 2741159.7586 | 1272895.9254
70 | 2741165.4687 | 1272934.278
71 | 2741181.3568 | 1272971.0289
72 | 2741190.8849 | 1272989.2285
73 | 2741191.9382 | 1272991.2406
74 | 2741195.8497 | 1272998.7119
75 | 2741131.8782 | 1273003.8482
76 | 2741126.5704 | 1273025.1518
77 | 2741134.1032 | 1273002.4458
78 | 2741156.0259 | 1273063.9097
79 | 2741171.3642 | 1273054.5737
80 | 2741179.3546 | 1273049.7102
81 | 2741186.6629 | 1273045.2619
82 | 2741185.0567 | 1273046.2395
83 | 2741207.6144 | 1273021.1838
84 | 2741215.5545 | 1273031.1392
85 | 2741196.3396 | 1272999.6476
86 | 2741227.6265 | 1273022.8031
87 | 2741225.6586 | 1273042.7182
88 | 2741241.191 | 1273014.0464
89 | 2741248.0262 | 1273000.1521
90 | 2741067.2797 | 1273151.3809
91 | 2741040.9781 | 1273170.5693
92 | 2741401.6998 | 1273239.5343
93 | 2741097.9981 | 1273198.4824
94 | 2741208.6052 | 1273137.5683

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1