## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4426-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4426-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4426-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4426-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4426-7_0_4_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_4426-7_0_4_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_4426-7_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_4426-7_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_4426-7_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_4426-7_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4426-7_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4426-7_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4426-7_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4426-7_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4426-7_0_4_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_4426-7_0_4_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_4426-7_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4426-7_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4426-7_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4426-7_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4426-7_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_4426-7_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4426-7_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4426-7_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_4426-7_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_4426-7_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_4426-7_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_4426-7_0_4_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_4426-7_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_4426-7_0_4_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_4426-7_0_4_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_4426-7_0_4_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_4426-7_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_4426-7_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4426-7_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_4426-7_0_4_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_4426-7_0_4_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_4426-7_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_4426-7_0_4_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_4426-7_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_4426-7_0_4_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_4426-7_0_4_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_4426-7_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_4426-7_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_4426-7_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_4426-7_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_4426-7_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_4426-7_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_4426-7_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_4426-7_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_4426-7_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4426-7_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_4426-7_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_4426-7_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_4426-7_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_4426-7_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_4426-7_0_4_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_4426-7_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_4426-7_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_4426-7_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_4426-7_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_4426-7_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_4426-7_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_4426-7_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_4426-7_0_4_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_4426-7_0_4_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_4426-7_0_4_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_4426-7_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_4426-7_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_4426-7_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_4426-7_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_4426-7_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_4426-7_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_4426-7_0_4_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_4426-7_0_4_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_4426-7_0_4_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_4426-7_0_4_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_4426-7_0_4_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_4426-7_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_4426-7_0_4_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_4426-7_0_4_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_4426-7_0_4_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_4426-7_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_4426-7_0_4_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_4426-7_0_4_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_4426-7_0_4_node_78 | 0.4 | n |  | TRUE
86 | bus_MV_437_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4426-7_0_4_load_0 | 0 | 0.0027982 | 0.0007013 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4426-7_0_4_load_1 | 1 | 0.0040832 | 0.0010233 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4426-7_0_4_load_2 | 2 | 0.0059452 | 0.00149 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4426-7_0_4_load_3 | 3 | 0.0028955 | 0.00072568 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4426-7_0_4_load_18 | 4 | 0.0020268 | 0.00050796 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4426-7_0_4_load_16 | 5 | 0.0020913 | 0.00052412 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4426-7_0_4_load_9 | 6 | 0.0023591 | 0.00059124 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4426-7_0_4_load_10 | 7 | 0.0027725 | 0.00069485 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4426-7_0_4_load_4 | 8 | 0.0022816 | 0.00057181 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4426-7_0_4_load_5 | 9 | 0.00030278 | 7.5883e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4426-7_0_4_load_7 | 11 | 0.00031238 | 7.8291e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4426-7_0_4_load_8 | 12 | 0.0035863 | 0.00089881 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4426-7_0_4_load_28 | 14 | 0.0023322 | 0.00058452 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4426-7_0_4_load_27 | 15 | 0.0016129 | 0.00040424 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4426-7_0_4_load_14 | 17 | 0.0045179 | 0.0011323 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4426-7_0_4_load_13 | 18 | 0.00036774 | 9.2165e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4426-7_0_4_load_15 | 19 | 0.00037529 | 9.4056e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4426-7_0_4_load_17 | 20 | 0.0019739 | 0.0004947 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4426-7_0_4_load_19 | 21 | 0.0024594 | 0.00061638 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4426-7_0_4_load_20 | 22 | 0.0020626 | 0.00051695 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4426-7_0_4_load_22 | 24 | 0.0016688 | 0.00041825 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4426-7_0_4_load_23 | 25 | 0.0008087 | 0.00020268 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4426-7_0_4_load_24 | 26 | 0.0019345 | 0.00048482 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4426-7_0_4_load_85 | 27 | 0.00032634 | 8.1789e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4426-7_0_4_load_72 | 29 | 0.00070018 | 0.00017548 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4426-7_0_4_load_86 | 30 | 0.00041709 | 0.00010453 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4426-7_0_4_load_70 | 31 | 0.00035393 | 8.8702e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4426-7_0_4_load_29 | 32 | 0.0021394 | 0.00053618 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4426-7_0_4_load_26 | 33 | 0.0010639 | 0.00026663 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4426-7_0_4_load_81 | 35 | 0.0025806 | 0.00064676 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4426-7_0_4_load_79 | 36 | 0.0039112 | 0.00098024 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4426-7_0_4_load_36 | 39 | 0.0015436 | 0.00038686 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4426-7_0_4_load_83 | 41 | 0.0023141 | 0.00057997 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4426-7_0_4_load_35 | 42 | 0.0032329 | 0.00081024 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4426-7_0_4_load_32 | 43 | 0.0021544 | 0.00053995 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4426-7_0_4_load_33 | 44 | 0.0011838 | 0.00029668 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4426-7_0_4_load_34 | 45 | 0.0015636 | 0.00039189 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4426-7_0_4_load_37 | 46 | 0.0018899 | 0.00047365 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4426-7_0_4_load_38 | 47 | 0.0022589 | 0.00056613 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4426-7_0_4_load_39 | 48 | 0.00066593 | 0.0001669 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4426-7_0_4_load_40 | 49 | 0.0018477 | 0.00046307 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4426-7_0_4_load_41 | 50 | 0.0013178 | 0.00033028 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4426-7_0_4_load_42 | 51 | 0.0015367 | 0.00038515 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4426-7_0_4_load_51 | 52 | 0.0011667 | 0.00029239 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4426-7_0_4_load_43 | 53 | 0.0021221 | 0.00053184 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4426-7_0_4_load_52 | 54 | 0.001057 | 0.00026491 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4426-7_0_4_load_44 | 55 | 0.0011314 | 0.00028355 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4426-7_0_4_load_45 | 56 | 0.00094306 | 0.00023635 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4426-7_0_4_load_53 | 58 | 0.0016204 | 0.0004061 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4426-7_0_4_load_46 | 60 | 0.001785 | 0.00044737 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4426-7_0_4_load_47 | 61 | 0.00093398 | 0.00023408 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4426-7_0_4_load_48 | 62 | 0.00090283 | 0.00022627 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4426-7_0_4_load_54 | 63 | 0.0021359 | 0.00053532 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4426-7_0_4_load_68 | 64 | 0.0014906 | 0.00037357 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4426-7_0_4_load_69 | 65 | 0.0011902 | 0.00029829 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4426-7_0_4_load_67 | 66 | 0.0015202 | 0.00038099 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4426-7_0_4_load_55 | 67 | 0.00084283 | 0.00021123 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4426-7_0_4_load_57 | 69 | 0.00195 | 0.00048873 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4426-7_0_4_load_58 | 70 | 0.0028948 | 0.0007255 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4426-7_0_4_load_59 | 71 | 0.0015377 | 0.00038539 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4426-7_0_4_load_60 | 72 | 0.0016423 | 0.00041161 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4426-7_0_4_load_76 | 74 | 0.0034311 | 0.00085991 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4426-7_0_4_load_61 | 75 | 0.0011838 | 0.00029669 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4426-7_0_4_load_75 | 76 | 0.0025293 | 0.00063391 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4426-7_0_4_load_77 | 77 | 0.0035516 | 0.00089013 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4426-7_0_4_load_62 | 78 | 0.0012749 | 0.00031952 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4426-7_0_4_load_63 | 79 | 0.0012837 | 0.00032173 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4426-7_0_4_load_64 | 80 | 0.0014288 | 0.00035809 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4426-7_0_4_load_73 | 81 | 0.00058085 | 0.00014558 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4426-7_0_4_load_71 | 82 | 0.00041702 | 0.00010452 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4426-7_0_4_load_65 | 83 | 0.0012935 | 0.00032418 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4426-7_0_4_load_66 | 84 | 0.0013848 | 0.00034706 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4426-7_0_4_load_78 | 85 | 0.0027225 | 0.00068233 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4426-7_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00056493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4426-7_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0011423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4426-7_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.022363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4426-7_0_4_line_3 | NAYY 4x150 SE | 3 | 6 | 0.00031509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4426-7_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.050157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4426-7_0_4_line_5 | NAYY 4x150 SE | 5 | 20 | 0.022811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4426-7_0_4_line_6 | NAYY 4x150 SE | 5 | 19 | 0.049787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4426-7_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.0092772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4426-7_0_4_line_8 | NAYY 4x150 SE | 7 | 12 | 0.024893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4426-7_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.026738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4426-7_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.03814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4426-7_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.024896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4426-7_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.018214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4426-7_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.015686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4426-7_0_4_line_14 | NAYY 4x150 SE | 13 | 16 | 0.047396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4426-7_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4426-7_0_4_line_16 | NAYY 4x150 SE | 15 | 33 | 0.021421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4426-7_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.014964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4426-7_0_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0076997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4426-7_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.013118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4426-7_0_4_line_20 | NAYY 4x150 SE | 20 | 21 | 0.001538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4426-7_0_4_line_21 | NAYY 4x150 SE | 21 | 22 | 0.038725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4426-7_0_4_line_22 | NAYY 4x150 SE | 22 | 23 | 0.017532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4426-7_0_4_line_23 | NAYY 4x150 SE | 23 | 24 | 0.041258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_4426-7_0_4_line_24 | NAYY 4x150 SE | 23 | 25 | 0.024945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_4426-7_0_4_line_25 | NAYY 4x150 SE | 24 | 26 | 0.0014339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_4426-7_0_4_line_26 | NAYY 4x150 SE | 25 | 27 | 0.034158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_4426-7_0_4_line_27 | NAYY 4x150 SE | 26 | 28 | 0.0216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_4426-7_0_4_line_28 | NAYY 4x150 SE | 27 | 30 | 0.019661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_4426-7_0_4_line_29 | NAYY 4x150 SE | 28 | 32 | 0.015913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_4426-7_0_4_line_30 | NAYY 4x150 SE | 28 | 33 | 0.015931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4426-7_0_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.017014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_4426-7_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.018595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_4426-7_0_4_line_33 | NAYY 4x150 SE | 31 | 65 | 0.012353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4426-7_0_4_line_34 | NAYY 4x150 SE | 32 | 34 | 0.025021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_4426-7_0_4_line_35 | NAYY 4x150 SE | 34 | 37 | 0.05269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_4426-7_0_4_line_36 | NAYY 4x150 SE | 34 | 38 | 0.068458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4426-7_0_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.090095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4426-7_0_4_line_38 | NAYY 4x150 SE | 36 | 40 | 0.031436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4426-7_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.020432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4426-7_0_4_line_40 | NAYY 4x150 SE | 38 | 41 | 0.0021396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4426-7_0_4_line_41 | NAYY 4x150 SE | 39 | 42 | 0.0033188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_4426-7_0_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.032448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4426-7_0_4_line_43 | NAYY 4x150 SE | 42 | 44 | 0.016035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_4426-7_0_4_line_44 | NAYY 4x150 SE | 43 | 44 | 0.025807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_4426-7_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.011901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4426-7_0_4_line_46 | NAYY 4x150 SE | 46 | 47 | 0.01852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4426-7_0_4_line_47 | NAYY 4x150 SE | 46 | 48 | 0.018321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4426-7_0_4_line_48 | NAYY 4x150 SE | 47 | 49 | 0.0061264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4426-7_0_4_line_49 | NAYY 4x150 SE | 48 | 50 | 0.013455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4426-7_0_4_line_50 | NAYY 4x150 SE | 49 | 51 | 0.018638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4426-7_0_4_line_51 | NAYY 4x150 SE | 50 | 52 | 0.033515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4426-7_0_4_line_52 | NAYY 4x150 SE | 51 | 53 | 0.0094687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4426-7_0_4_line_53 | NAYY 4x150 SE | 52 | 54 | 0.02499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4426-7_0_4_line_54 | NAYY 4x150 SE | 53 | 55 | 0.011452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4426-7_0_4_line_55 | NAYY 4x150 SE | 54 | 64 | 0.023927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4426-7_0_4_line_56 | NAYY 4x150 SE | 54 | 65 | 0.050831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4426-7_0_4_line_57 | NAYY 4x150 SE | 55 | 56 | 0.024493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4426-7_0_4_line_58 | NAYY 4x150 SE | 57 | 58 | 0.023294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4426-7_0_4_line_59 | NAYY 4x150 SE | 57 | 59 | 0.037498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4426-7_0_4_line_60 | NAYY 4x150 SE | 58 | 63 | 0.0096966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4426-7_0_4_line_61 | NAYY 4x150 SE | 59 | 62 | 0.015923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4426-7_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.024504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4426-7_0_4_line_63 | NAYY 4x150 SE | 61 | 62 | 0.031842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4426-7_0_4_line_64 | NAYY 4x150 SE | 63 | 67 | 0.024688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4426-7_0_4_line_65 | NAYY 4x150 SE | 64 | 66 | 0.0068806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4426-7_0_4_line_66 | NAYY 4x150 SE | 66 | 84 | 0.019189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4426-7_0_4_line_67 | NAYY 4x150 SE | 67 | 68 | 0.02928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4426-7_0_4_line_68 | NAYY 4x150 SE | 68 | 69 | 0.03577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4426-7_0_4_line_69 | NAYY 4x150 SE | 68 | 70 | 0.024766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4426-7_0_4_line_70 | NAYY 4x150 SE | 68 | 71 | 0.053379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4426-7_0_4_line_71 | NAYY 4x150 SE | 69 | 72 | 0.0028716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4426-7_0_4_line_72 | NAYY 4x150 SE | 70 | 73 | 0.033436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4426-7_0_4_line_73 | NAYY 4x150 SE | 71 | 74 | 0.0035073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4426-7_0_4_line_74 | NAYY 4x150 SE | 72 | 75 | 0.01908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4426-7_0_4_line_75 | NAYY 4x150 SE | 73 | 76 | 0.068634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4426-7_0_4_line_76 | NAYY 4x150 SE | 74 | 77 | 0.023148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4426-7_0_4_line_77 | NAYY 4x150 SE | 75 | 78 | 0.007232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4426-7_0_4_line_78 | NAYY 4x150 SE | 77 | 85 | 0.0036775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4426-7_0_4_line_79 | NAYY 4x150 SE | 78 | 79 | 0.012558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4426-7_0_4_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0094021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4426-7_0_4_line_81 | NAYY 4x150 SE | 80 | 83 | 0.012008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4426-7_0_4_line_82 | NAYY 4x150 SE | 81 | 82 | 0.041657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4426-7_0_4_line_83 | NAYY 4x150 SE | 82 | 84 | 0.039632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4426-7_0_4_line_84 | NAYY 4x150 SE | 83 | 84 | 0.01078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4426-7_0_4_trafo_32 | 0.25 MVA 20/0.4 kV | 86 | 43 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2742268.2314 | 1272843.8234 | 2742267.9809 | 1272843.317
1 | 2742268.2314 | 1272843.8234 | 2742268.7378 | 1272844.8473
2 | 2742267.9809 | 1272843.317 | 2742258.0666 | 1272823.2714
3 | 2742258.0666 | 1272823.2714 | 2742257.9269 | 1272822.989
4 | 2742208.5902 | 1272921.0397 | 2742201.8011 | 1272911.4666 | 2742168.4214 | 1272930.491
5 | 2742168.4214 | 1272930.491 | 2742153.0838 | 1272939.2326 | 2742148.7153 | 1272941.9739
6 | 2742168.4214 | 1272930.491 | 2742173.051 | 1272880.9193
7 | 2742253.8141 | 1272814.6733 | 2742257.9269 | 1272822.989
8 | 2742253.8141 | 1272814.6733 | 2742242.7784 | 1272792.3604
9 | 2742201.3822 | 1272794.5911 | 2742178.0222 | 1272807.6003
10 | 2742234.7037 | 1272776.0343 | 2742201.3822 | 1272794.5911
11 | 2742156.272 | 1272819.713 | 2742178.0222 | 1272807.6003
12 | 2742234.7037 | 1272776.0343 | 2742242.7784 | 1272792.3604
13 | 2742142.5678 | 1272827.3449 | 2742156.272 | 1272819.713
14 | 2742168.2264 | 1272867.2471 | 2742142.5678 | 1272827.3449
15 | 2742103.4857 | 1272892.0803 | 2742094.097 | 1272898.5457
16 | 2742076.4543 | 1272910.6953 | 2742094.097 | 1272898.5457
17 | 2742168.2264 | 1272867.2471 | 2742170.5335 | 1272866.1126 | 2742173.0762 | 1272865.818 | 2742175.5833 | 1272866.3789 | 2742177.7552 | 1272867.7326 | 2742179.3471 | 1272869.7396 | 2742180.0468 | 1272871.7651
18 | 2742168.2264 | 1272867.2471 | 2742170.5335 | 1272866.1126 | 2742173.0762 | 1272865.818 | 2742175.5833 | 1272866.3789
19 | 2742173.051 | 1272880.9193 | 2742175.4554 | 1272880.4233 | 2742177.6543 | 1272879.0971 | 2742179.282 | 1272877.1232 | 2742180.16 | 1272874.7197 | 2742180.184 | 1272872.1622 | 2742180.0468 | 1272871.7651
20 | 2742148.7153 | 1272941.9739 | 2742147.4125 | 1272942.7914
21 | 2742147.4125 | 1272942.7914 | 2742114.611 | 1272963.3748
22 | 2742099.7605 | 1272972.6937 | 2742114.611 | 1272963.3748
23 | 2742099.7605 | 1272972.6937 | 2742081.6073 | 1272947.3092 | 2742076.011 | 1272938.9606
24 | 2742099.7605 | 1272972.6937 | 2742112.5573 | 1272994.1061
25 | 2742076.011 | 1272938.9606 | 2742075.2127 | 1272937.7696
26 | 2742112.5573 | 1272994.1061 | 2742116.7252 | 1273028.0087
27 | 2742063.3338 | 1272919.7307 | 2742067.4518 | 1272926.1919 | 2742075.2127 | 1272937.7696
28 | 2742116.7252 | 1273028.0087 | 2742115.5982 | 1273028.5977 | 2742099.8281 | 1273038.0562
29 | 2742063.3338 | 1272919.7307 | 2742054.7105 | 1272906.3568
30 | 2742063.3338 | 1272919.7307 | 2742076.4543 | 1272910.6953
31 | 2742099.8281 | 1273038.0562 | 2742085.2373 | 1273046.8075
32 | 2742085.2373 | 1273046.8075 | 2742085.2373 | 1273046.8075 | 2742067.8932 | 1273053.5114
33 | 2742056.3705 | 1273057.9651 | 2742067.8932 | 1273053.5114
34 | 2742040.5115 | 1272885.7587 | 2742051.5765 | 1272901.4963 | 2742054.7105 | 1272906.3568
35 | 2741994.6832 | 1272911.9939 | 2742040.5115 | 1272885.7587
36 | 2742040.5115 | 1272885.7587 | 2742053.2593 | 1272818.4979
37 | 2742059.0487 | 1272772.5598 | 2742133.3018 | 1272721.5352
38 | 2742033.1401 | 1272790.3635 | 2742059.0487 | 1272772.5598
39 | 2741994.6832 | 1272911.9939 | 2742005.7015 | 1272929.2004
40 | 2742053.2593 | 1272818.4979 | 2742052.0147 | 1272816.7576
41 | 2742007.4912 | 1272931.9953 | 2742005.7015 | 1272929.2004
42 | 2742033.1401 | 1272790.3635 | 2742052.0147 | 1272816.7576
43 | 2742007.4912 | 1272931.9953 | 2742016.1383 | 1272945.4988
44 | 2742030.055 | 1272967.2315 | 2742016.1383 | 1272945.4988
45 | 2742036.4725 | 1272977.2533 | 2742030.055 | 1272967.2315
46 | 2741969.2742 | 1272968.7509 | 2741953.1783 | 1272977.9115
47 | 2741969.2742 | 1272968.7509 | 2741977.7304 | 1272963.9383 | 2741985.9626 | 1272966.3943
48 | 2741947.8538 | 1272980.9418 | 2741953.1783 | 1272977.9115
49 | 2741993.5179 | 1272977.5273 | 2741985.9626 | 1272966.3943 | 2741985.9626 | 1272966.3943
50 | 2741947.8538 | 1272980.9418 | 2741931.6554 | 1272990.1606
51 | 2741993.5179 | 1272977.5273 | 2742012.3376 | 1273005.2593
52 | 2741923.4261 | 1272994.844 | 2741931.6554 | 1272990.1606
53 | 2742012.3376 | 1273005.2593 | 2742018.8273 | 1273014.8222 | 2742019.6458 | 1273021.1371 | 2742015.9422 | 1273027.154
54 | 2741923.4261 | 1272994.844 | 2741913.4729 | 1273000.5086
55 | 2742015.9422 | 1273027.154 | 2742015.9422 | 1273027.154 | 2741996.224 | 1273040.7078
56 | 2742015.9422 | 1273027.154 | 2742056.3705 | 1273057.9651
57 | 2741913.4729 | 1273000.5086 | 2741892.1862 | 1273012.6233
58 | 2741838.697 | 1273043.0651 | 2741850.8539 | 1273062.935
59 | 2741820.0918 | 1273010.4744 | 2741838.697 | 1273043.0651
60 | 2741850.8539 | 1273062.935 | 2741855.9144 | 1273071.2063
61 | 2741820.0918 | 1273010.4744 | 2741833.9605 | 1273002.6516
62 | 2741883.0368 | 1272974.9694 | 2741861.6943 | 1272987.008
63 | 2741861.6943 | 1272987.008 | 2741833.9605 | 1273002.6516
64 | 2741855.9144 | 1273071.2063 | 2741868.7987 | 1273092.2651
65 | 2741990.5537 | 1273044.6053 | 2741996.224 | 1273040.7078
66 | 2741974.74 | 1273055.4752 | 2741990.5537 | 1273044.6053
67 | 2741884.0795 | 1273117.241 | 2741868.7987 | 1273092.2651
68 | 2741884.0795 | 1273117.241 | 2741913.6872 | 1273097.1686
69 | 2741884.0795 | 1273117.241 | 2741897.463 | 1273138.0794
70 | 2741884.0795 | 1273117.241 | 2741837.9642 | 1273144.1243
71 | 2741916.0641 | 1273095.5572 | 2741913.6872 | 1273097.1686
72 | 2741915.5316 | 1273166.2126 | 2741897.463 | 1273138.0794
73 | 2741834.9342 | 1273145.8907 | 2741837.9642 | 1273144.1243
74 | 2741916.0641 | 1273095.5572 | 2741931.8568 | 1273084.8505
75 | 2741915.5316 | 1273166.2126 | 2741901.4089 | 1273175.6271 | 2741888.4838 | 1273180.2989 | 2741876.6771 | 1273184.1413 | 2741866.879 | 1273192.0583 | 2741857.2523 | 1273200.6512
76 | 2741834.9342 | 1273145.8907 | 2741814.9359 | 1273157.5489
77 | 2741937.8429 | 1273080.7924 | 2741931.8568 | 1273084.8505
78 | 2741811.7588 | 1273159.401 | 2741814.9359 | 1273157.5489
79 | 2741937.8429 | 1273080.7924 | 2741942.6057 | 1273077.5634 | 2741948.2125 | 1273073.7095
80 | 2741955.9607 | 1273068.3836 | 2741948.2125 | 1273073.7095
81 | 2741955.9607 | 1273068.3836 | 2741965.8566 | 1273061.5814
82 | 2741998.1976 | 1273087.4199 | 2741983.6839 | 1273098.5721 | 2741975.1337 | 1273109.0214 | 2741968.9276 | 1273116.6722
83 | 2741974.74 | 1273055.4752 | 2741998.1976 | 1273087.4199
84 | 2741974.74 | 1273055.4752 | 2741965.8566 | 1273061.5814

## bus_geodata
| x | y | coords
0 | 2742268.2314 | 1272843.8234
1 | 2742267.9809 | 1272843.317
2 | 2742268.7378 | 1272844.8473
3 | 2742258.0666 | 1272823.2714
4 | 2742208.5902 | 1272921.0397
5 | 2742168.4214 | 1272930.491
6 | 2742257.9269 | 1272822.989
7 | 2742253.8141 | 1272814.6733
8 | 2742201.3822 | 1272794.5911
9 | 2742178.0222 | 1272807.6003
10 | 2742234.7037 | 1272776.0343
11 | 2742156.272 | 1272819.713
12 | 2742242.7784 | 1272792.3604
13 | 2742142.5678 | 1272827.3449
14 | 2742103.4857 | 1272892.0803
15 | 2742094.097 | 1272898.5457
16 | 2742168.2264 | 1272867.2471
17 | 2742180.0468 | 1272871.7651
18 | 2742175.5833 | 1272866.3789
19 | 2742173.051 | 1272880.9193
20 | 2742148.7153 | 1272941.9739
21 | 2742147.4125 | 1272942.7914
22 | 2742114.611 | 1272963.3748
23 | 2742099.7605 | 1272972.6937
24 | 2742076.011 | 1272938.9606
25 | 2742112.5573 | 1272994.1061
26 | 2742075.2127 | 1272937.7696
27 | 2742116.7252 | 1273028.0087
28 | 2742063.3338 | 1272919.7307
29 | 2742085.2373 | 1273046.8075
30 | 2742099.8281 | 1273038.0562
31 | 2742067.8932 | 1273053.5114
32 | 2742054.7105 | 1272906.3568
33 | 2742076.4543 | 1272910.6953
34 | 2742040.5115 | 1272885.7587
35 | 2742133.3018 | 1272721.5352
36 | 2742059.0487 | 1272772.5598
37 | 2741994.6832 | 1272911.9939
38 | 2742053.2593 | 1272818.4979
39 | 2742005.7015 | 1272929.2004
40 | 2742033.1401 | 1272790.3635
41 | 2742052.0147 | 1272816.7576
42 | 2742007.4912 | 1272931.9953
43 | 2742030.055 | 1272967.2315
44 | 2742016.1383 | 1272945.4988
45 | 2742036.4725 | 1272977.2533
46 | 2741969.2742 | 1272968.7509
47 | 2741953.1783 | 1272977.9115
48 | 2741985.9626 | 1272966.3943
49 | 2741947.8538 | 1272980.9418
50 | 2741993.5179 | 1272977.5273
51 | 2741931.6554 | 1272990.1606
52 | 2742012.3376 | 1273005.2593
53 | 2741923.4261 | 1272994.844
54 | 2742015.9422 | 1273027.154
55 | 2741913.4729 | 1273000.5086
56 | 2741892.1862 | 1273012.6233
57 | 2741838.697 | 1273043.0651
58 | 2741850.8539 | 1273062.935
59 | 2741820.0918 | 1273010.4744
60 | 2741883.0368 | 1272974.9694
61 | 2741861.6943 | 1272987.008
62 | 2741833.9605 | 1273002.6516
63 | 2741855.9144 | 1273071.2063
64 | 2741996.224 | 1273040.7078
65 | 2742056.3705 | 1273057.9651
66 | 2741990.5537 | 1273044.6053
67 | 2741868.7987 | 1273092.2651
68 | 2741884.0795 | 1273117.241
69 | 2741913.6872 | 1273097.1686
70 | 2741897.463 | 1273138.0794
71 | 2741837.9642 | 1273144.1243
72 | 2741916.0641 | 1273095.5572
73 | 2741915.5316 | 1273166.2126
74 | 2741834.9342 | 1273145.8907
75 | 2741931.8568 | 1273084.8505
76 | 2741857.2523 | 1273200.6512
77 | 2741814.9359 | 1273157.5489
78 | 2741937.8429 | 1273080.7924
79 | 2741948.2125 | 1273073.7095
80 | 2741955.9607 | 1273068.3836
81 | 2741968.9276 | 1273116.6722
82 | 2741998.1976 | 1273087.4199
83 | 2741965.8566 | 1273061.5814
84 | 2741974.74 | 1273055.4752
85 | 2741811.7588 | 1273159.401
86 | 2742036.4725 | 1272977.2533

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1