## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4446-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4446-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4446-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4446-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4446-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4446-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4446-3_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4446-3_0_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_4446-3_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_4446-3_0_3_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_4446-3_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_4446-3_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_4446-3_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_4446-3_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_4446-3_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4446-3_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4446-3_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4446-3_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4446-3_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4446-3_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4446-3_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4446-3_0_3_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_4446-3_0_3_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_4446-3_0_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_4446-3_0_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_4446-3_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_4446-3_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_4446-3_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_4446-3_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_4446-3_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4446-3_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_4446-3_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_4446-3_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_4446-3_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_4446-3_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_4446-3_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4446-3_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4446-3_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_4446-3_0_3_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_4446-3_0_3_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_4446-3_0_3_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_4446-3_0_3_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_4446-3_0_3_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_4446-3_0_3_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_4446-3_0_3_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_4446-3_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_4446-3_0_3_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_4446-3_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_4446-3_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4446-3_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4446-3_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4446-3_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_4446-3_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_4446-3_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_4446-3_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_4446-3_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_4446-3_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_4446-3_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_4446-3_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_4446-3_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_4446-3_0_3_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_4446-3_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_4446-3_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_4446-3_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_4446-3_0_3_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_4446-3_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_4446-3_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_4446-3_0_3_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_4446-3_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_4446-3_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_4446-3_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_4446-3_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_4446-3_0_3_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_4446-3_0_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_4446-3_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_4446-3_0_3_node_75 | 0.4 | n |  | TRUE
76 | bus_MV_407_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4446-3_0_3_load_0 | 0 | 0.00043384 | 0.00010873 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4446-3_0_3_load_1 | 1 | 0.00034454 | 8.6351e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4446-3_0_3_load_2 | 2 | 0.00047179 | 0.00011824 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4446-3_0_3_load_3 | 3 | 0.0036222 | 0.00090782 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4446-3_0_3_load_4 | 4 | 0.00024599 | 6.1651e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4446-3_0_3_load_5 | 5 | 0.0010918 | 0.00027362 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4446-3_0_3_load_14 | 8 | 0.0020522 | 0.00051434 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4446-3_0_3_load_18 | 10 | 0.0069215 | 0.0017347 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4446-3_0_3_load_12 | 11 | 0.007668 | 0.0019218 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4446-3_0_3_load_16 | 13 | 0.002211 | 0.00055413 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4446-3_0_3_load_7 | 14 | 0.0028754 | 0.00072065 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4446-3_0_3_load_8 | 15 | 0.0038362 | 0.00096144 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4446-3_0_3_load_10 | 17 | 0.0031811 | 0.00079727 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4446-3_0_3_load_13 | 19 | 0.004274 | 0.0010712 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4446-3_0_3_load_15 | 20 | 0.0037924 | 0.00095047 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4446-3_0_3_load_36 | 21 | 0.016711 | 0.0041883 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4446-3_0_3_load_35 | 22 | 0.0017833 | 0.00044693 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4446-3_0_3_load_37 | 23 | 0.0064438 | 0.001615 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4446-3_0_3_load_34 | 24 | 0.0019999 | 0.00050123 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4446-3_0_3_load_21 | 25 | 0.005566 | 0.001395 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4446-3_0_3_load_22 | 26 | 0.0087421 | 0.002191 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4446-3_0_3_load_23 | 27 | 0.0019748 | 0.00049494 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4446-3_0_3_load_24 | 28 | 0.0029809 | 0.00074709 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4446-3_0_3_load_25 | 29 | 0.0051014 | 0.0012785 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4446-3_0_3_load_26 | 30 | 0.011709 | 0.0029346 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4446-3_0_3_load_31 | 32 | 0.0040955 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4446-3_0_3_load_28 | 33 | 0.0037898 | 0.00094982 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4446-3_0_3_load_29 | 35 | 0.0035064 | 0.00087878 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4446-3_0_3_load_30 | 36 | 0.0099367 | 0.0024904 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4446-3_0_3_load_70 | 38 | 0.00098305 | 0.00024637 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4446-3_0_3_load_56 | 39 | 0.0025448 | 0.0006378 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4446-3_0_3_load_55 | 40 | 0.0074831 | 0.0018754 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4446-3_0_3_load_76 | 42 | 0.003117 | 0.00078121 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4446-3_0_3_load_65 | 43 | 0.0064866 | 0.0016257 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4446-3_0_3_load_69 | 44 | 0.010041 | 0.0025166 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4446-3_0_3_load_57 | 45 | 0.003282 | 0.00082253 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4446-3_0_3_load_40 | 47 | 0.008141 | 0.0020403 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4446-3_0_3_load_38 | 48 | 0.0023272 | 0.00058325 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4446-3_0_3_load_39 | 49 | 0.00079023 | 0.00019805 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4446-3_0_3_load_41 | 50 | 0.0054541 | 0.0013669 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4446-3_0_3_load_42 | 51 | 0.0041781 | 0.0010471 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4446-3_0_3_load_43 | 52 | 0.0014098 | 0.00035333 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4446-3_0_3_load_44 | 53 | 0.0016644 | 0.00041715 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4446-3_0_3_load_45 | 54 | 0.00091139 | 0.00022842 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4446-3_0_3_load_47 | 56 | 0.0023287 | 0.00058364 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4446-3_0_3_load_48 | 57 | 0.0012607 | 0.00031597 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4446-3_0_3_load_49 | 58 | 0.0012349 | 0.00030949 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4446-3_0_3_load_50 | 59 | 0.0014487 | 0.00036307 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4446-3_0_3_load_59 | 60 | 0.00079514 | 0.00019928 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4446-3_0_3_load_58 | 61 | 0.0015383 | 0.00038553 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4446-3_0_3_load_51 | 62 | 0.0034104 | 0.00085472 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4446-3_0_3_load_52 | 63 | 0.0019323 | 0.00048427 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4446-3_0_3_load_54 | 64 | 0.011036 | 0.002766 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4446-3_0_3_load_67 | 66 | 0.0010933 | 0.00027402 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4446-3_0_3_load_62 | 67 | 0.00066721 | 0.00016722 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4446-3_0_3_load_61 | 69 | 0.0013714 | 0.00034371 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4446-3_0_3_load_68 | 70 | 0.0016161 | 0.00040504 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4446-3_0_3_load_73 | 73 | 0.0023806 | 0.00059663 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4446-3_0_3_load_74 | 74 | 0.0046894 | 0.0011753 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4446-3_0_3_load_75 | 75 | 0.008571 | 0.0021481 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4446-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4446-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.038364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4446-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0020372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4446-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.00017822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4446-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.041908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4446-3_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.065457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4446-3_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.021458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4446-3_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.056156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4446-3_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.043857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4446-3_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.021623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4446-3_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.024909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4446-3_0_3_line_11 | NAYY 4x150 SE | 9 | 21 | 0.033829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4446-3_0_3_line_12 | NAYY 4x150 SE | 9 | 22 | 0.030673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4446-3_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0094711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4446-3_0_3_line_14 | NAYY 4x150 SE | 11 | 16 | 0.014824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4446-3_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.062757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4446-3_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.029963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4446-3_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.019514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4446-3_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.019414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4446-3_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.047068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4446-3_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.02465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4446-3_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.026695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4446-3_0_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.013111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4446-3_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.0033155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4446-3_0_3_line_24 | NAYY 4x150 SE | 23 | 47 | 0.028408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4446-3_0_3_line_25 | NAYY 4x150 SE | 24 | 30 | 0.012136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4446-3_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.013635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_4446-3_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.014423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_4446-3_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.0020715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_4446-3_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.0020452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4446-3_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.034374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_4446-3_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.016275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_4446-3_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0039013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4446-3_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.031266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4446-3_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.030712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4446-3_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0088973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4446-3_0_3_line_36 | NAYY 4x150 SE | 34 | 39 | 0.011253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4446-3_0_3_line_37 | NAYY 4x150 SE | 34 | 40 | 0.03485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4446-3_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.014411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4446-3_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.03214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4446-3_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0064419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4446-3_0_3_line_41 | NAYY 4x150 SE | 38 | 44 | 0.033113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4446-3_0_3_line_42 | NAYY 4x150 SE | 39 | 45 | 0.0039472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4446-3_0_3_line_43 | NAYY 4x150 SE | 40 | 46 | 0.0058917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4446-3_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.007615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4446-3_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.014484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4446-3_0_3_line_46 | NAYY 4x150 SE | 42 | 45 | 0.0131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4446-3_0_3_line_47 | NAYY 4x150 SE | 44 | 71 | 0.019598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4446-3_0_3_line_48 | NAYY 4x150 SE | 46 | 64 | 0.029722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4446-3_0_3_line_49 | NAYY 4x150 SE | 46 | 63 | 0.014025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4446-3_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0010471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4446-3_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.018792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4446-3_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.028974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4446-3_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.0098669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4446-3_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.017819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4446-3_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.011177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4446-3_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.026279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4446-3_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.016577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4446-3_0_3_line_58 | NAYY 4x150 SE | 55 | 57 | 0.0090283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4446-3_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.0013801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4446-3_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.021419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4446-3_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.017358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4446-3_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.045335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4446-3_0_3_line_63 | NAYY 4x150 SE | 61 | 68 | 0.017163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4446-3_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0027159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4446-3_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.0029277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4446-3_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.021844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4446-3_0_3_line_67 | NAYY 4x150 SE | 65 | 67 | 0.019638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4446-3_0_3_line_68 | NAYY 4x150 SE | 66 | 70 | 0.055693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4446-3_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.023418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4446-3_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.0094763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4446-3_0_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.027773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4446-3_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.015175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4446-3_0_3_line_73 | NAYY 4x150 SE | 73 | 74 | 0.024483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4446-3_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.015225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4446-3_0_3_trafo_26 | 0.25 MVA 20/0.4 kV | 76 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2738972.8304 | 1270385.4057 | 2738987.7136 | 1270375.277
1 | 2738972.8304 | 1270385.4057 | 2738966.4648 | 1270389.7378 | 2738941.2998 | 1270407.2597
2 | 2738987.7136 | 1270375.277 | 2738989.3977 | 1270374.1308
3 | 2738941.2998 | 1270407.2597 | 2738941.1535 | 1270407.3616
4 | 2739024.0438 | 1270350.5525 | 2738989.3977 | 1270374.1308
5 | 2739078.158 | 1270313.7252 | 2739024.0438 | 1270350.5525
6 | 2739095.6083 | 1270301.1681 | 2739078.158 | 1270313.7252
7 | 2739078.158 | 1270313.7252 | 2739083.3267 | 1270322.1329 | 2739103.0649 | 1270364.0001
8 | 2739131.2674 | 1270275.4938 | 2739095.6083 | 1270301.1681
9 | 2739095.6083 | 1270301.1681 | 2739074.3684 | 1270297.1175
10 | 2739103.0649 | 1270364.0001 | 2739113.6872 | 1270386.5311
11 | 2739131.2674 | 1270275.4938 | 2739112.2904 | 1270247.4889
12 | 2739131.2674 | 1270275.4938 | 2739156.1626 | 1270257.5763
13 | 2739065.065 | 1270295.3433 | 2739074.3684 | 1270297.1175
14 | 2739120.0086 | 1270399.9398 | 2739113.6872 | 1270386.5311
15 | 2739065.065 | 1270295.3433 | 2739003.5373 | 1270282.9823
16 | 2739104.1985 | 1270411.3779 | 2739079.9222 | 1270428.941
17 | 2739120.0086 | 1270399.9398 | 2739104.1985 | 1270411.3779
18 | 2739064.1927 | 1270440.3207 | 2739079.9222 | 1270428.941
19 | 2739120.0086 | 1270399.9398 | 2739129.9854 | 1270424.054 | 2739139.9825 | 1270442.5187
20 | 2739139.9825 | 1270442.5187 | 2739150.3698 | 1270464.8735
21 | 2739150.3698 | 1270464.8735 | 2739161.6187 | 1270489.0825
22 | 2739112.2904 | 1270247.4889 | 2739104.9357 | 1270236.6354
23 | 2739156.1626 | 1270257.5763 | 2739158.8536 | 1270255.6396
24 | 2739088.9997 | 1270213.1181 | 2739104.9357 | 1270236.6354
25 | 2739158.8536 | 1270255.6396 | 2739168.7039 | 1270248.5502
26 | 2739209.2111 | 1270219.1198 | 2739207.6093 | 1270220.5494 | 2739198.285 | 1270227.2603
27 | 2739209.2111 | 1270219.1198 | 2739219.9711 | 1270209.516
28 | 2739198.285 | 1270227.2603 | 2739196.6037 | 1270228.4703
29 | 2739221.4969 | 1270208.1541 | 2739219.9711 | 1270209.516
30 | 2739168.7039 | 1270248.5502 | 2739196.6037 | 1270228.4703
31 | 2739233.7543 | 1270197.454 | 2739231.1612 | 1270199.5283 | 2739221.4969 | 1270208.1541
32 | 2739233.7543 | 1270197.454 | 2739236.2731 | 1270194.4748
33 | 2739233.7543 | 1270197.454 | 2739262.8566 | 1270208.8838
34 | 2739256.1017 | 1270171.0215 | 2739236.2731 | 1270194.4748
35 | 2739262.8566 | 1270208.8838 | 2739271.1381 | 1270212.1363
36 | 2739256.1017 | 1270171.0215 | 2739263.3889 | 1270162.4467
37 | 2739256.1017 | 1270171.0215 | 2739224.4313 | 1270156.4795
38 | 2739271.1381 | 1270212.1363 | 2739284.5517 | 1270217.4045
39 | 2739293.3505 | 1270186.4927 | 2739284.5517 | 1270217.4045
40 | 2739293.3505 | 1270186.4927 | 2739299.2964 | 1270188.9715
41 | 2739329.8598 | 1270201.7131 | 2739299.2964 | 1270188.9715
42 | 2739265.945 | 1270159.439 | 2739263.3889 | 1270162.4467
43 | 2739219.077 | 1270154.021 | 2739224.4313 | 1270156.4795
44 | 2739279.3596 | 1270143.654 | 2739274.4284 | 1270149.4566
45 | 2739279.3596 | 1270143.654 | 2739285.2903 | 1270130.4401
46 | 2739274.4284 | 1270149.4566 | 2739265.945 | 1270159.439
47 | 2739349.1625 | 1270205.105 | 2739329.8598 | 1270201.7131
48 | 2739219.077 | 1270154.021 | 2739194.8435 | 1270142.9836 | 2739192.3499 | 1270141.1535
49 | 2739219.077 | 1270154.021 | 2739212.7916 | 1270166.5592
50 | 2739088.4123 | 1270212.2513 | 2739088.9997 | 1270213.1181
51 | 2739088.4123 | 1270212.2513 | 2739077.8705 | 1270196.6944
52 | 2739061.6168 | 1270172.7084 | 2739077.8705 | 1270196.6944
53 | 2739061.6168 | 1270172.7084 | 2739061.6168 | 1270172.7084 | 2739053.4392 | 1270178.2293
54 | 2739059.5737 | 1270102.5852 | 2739064.8714 | 1270085.5721
55 | 2739056.2506 | 1270113.257 | 2739059.5737 | 1270102.5852
56 | 2739072.6845 | 1270060.481 | 2739064.8714 | 1270085.5721
57 | 2739072.6845 | 1270060.481 | 2739057.1863 | 1270054.5973
58 | 2739072.6845 | 1270060.481 | 2739081.1086 | 1270063.7283
59 | 2739055.896 | 1270054.1075 | 2739057.1863 | 1270054.5973
60 | 2739101.0938 | 1270071.4322 | 2739081.1086 | 1270063.7283
61 | 2739117.2901 | 1270077.6756 | 2739101.0938 | 1270071.4322
62 | 2739159.5908 | 1270093.9817 | 2739117.2901 | 1270077.6756
63 | 2739175.6049 | 1270100.1549 | 2739159.5908 | 1270093.9817
64 | 2739211.5745 | 1270168.9872 | 2739212.7916 | 1270166.5592
65 | 2739189.9895 | 1270139.4212 | 2739192.3499 | 1270141.1535
66 | 2739189.9895 | 1270139.4212 | 2739181.6556 | 1270159.6129
67 | 2739189.9895 | 1270139.4212 | 2739181.7851 | 1270128.8731 | 2739179.7394 | 1270122.9411
68 | 2739181.6556 | 1270159.6129 | 2739178.7647 | 1270166.6168 | 2739179.716 | 1270169.0527 | 2739192.9684 | 1270176.2053 | 2739200.7484 | 1270184.6414 | 2739186.8675 | 1270197.565
69 | 2739175.6049 | 1270100.1549 | 2739176.0077 | 1270112.1206 | 2739179.7394 | 1270122.9411
70 | 2739175.6049 | 1270100.1549 | 2739185.0497 | 1270099.3824
71 | 2739349.1625 | 1270205.105 | 2739349.7145 | 1270220.2997 | 2739353.2914 | 1270232.3514
72 | 2739353.2914 | 1270232.3514 | 2739354.3354 | 1270241.3738 | 2739354.0445 | 1270247.4598
73 | 2739354.0445 | 1270247.4598 | 2739352.8755 | 1270271.9149
74 | 2739352.8755 | 1270271.9149 | 2739352.1486 | 1270287.1228 | 2739352.1486 | 1270287.1228

## bus_geodata
| x | y | coords
0 | 2738972.8304 | 1270385.4057
1 | 2738987.7136 | 1270375.277
2 | 2738941.2998 | 1270407.2597
3 | 2738989.3977 | 1270374.1308
4 | 2738941.1535 | 1270407.3616
5 | 2739024.0438 | 1270350.5525
6 | 2739078.158 | 1270313.7252
7 | 2739095.6083 | 1270301.1681
8 | 2739103.0649 | 1270364.0001
9 | 2739131.2674 | 1270275.4938
10 | 2739074.3684 | 1270297.1175
11 | 2739113.6872 | 1270386.5311
12 | 2739065.065 | 1270295.3433
13 | 2739003.5373 | 1270282.9823
14 | 2739104.1985 | 1270411.3779
15 | 2739079.9222 | 1270428.941
16 | 2739120.0086 | 1270399.9398
17 | 2739064.1927 | 1270440.3207
18 | 2739139.9825 | 1270442.5187
19 | 2739150.3698 | 1270464.8735
20 | 2739161.6187 | 1270489.0825
21 | 2739112.2904 | 1270247.4889
22 | 2739156.1626 | 1270257.5763
23 | 2739104.9357 | 1270236.6354
24 | 2739158.8536 | 1270255.6396
25 | 2739209.2111 | 1270219.1198
26 | 2739198.285 | 1270227.2603
27 | 2739219.9711 | 1270209.516
28 | 2739196.6037 | 1270228.4703
29 | 2739221.4969 | 1270208.1541
30 | 2739168.7039 | 1270248.5502
31 | 2739233.7543 | 1270197.454
32 | 2739236.2731 | 1270194.4748
33 | 2739262.8566 | 1270208.8838
34 | 2739256.1017 | 1270171.0215
35 | 2739271.1381 | 1270212.1363
36 | 2739284.5517 | 1270217.4045
37 | 2739293.3505 | 1270186.4927
38 | 2739299.2964 | 1270188.9715
39 | 2739263.3889 | 1270162.4467
40 | 2739224.4313 | 1270156.4795
41 | 2739279.3596 | 1270143.654
42 | 2739274.4284 | 1270149.4566
43 | 2739285.2903 | 1270130.4401
44 | 2739329.8598 | 1270201.7131
45 | 2739265.945 | 1270159.439
46 | 2739219.077 | 1270154.021
47 | 2739088.9997 | 1270213.1181
48 | 2739088.4123 | 1270212.2513
49 | 2739077.8705 | 1270196.6944
50 | 2739061.6168 | 1270172.7084
51 | 2739053.4392 | 1270178.2293
52 | 2739059.5737 | 1270102.5852
53 | 2739064.8714 | 1270085.5721
54 | 2739056.2506 | 1270113.257
55 | 2739072.6845 | 1270060.481
56 | 2739057.1863 | 1270054.5973
57 | 2739081.1086 | 1270063.7283
58 | 2739055.896 | 1270054.1075
59 | 2739101.0938 | 1270071.4322
60 | 2739117.2901 | 1270077.6756
61 | 2739159.5908 | 1270093.9817
62 | 2739211.5745 | 1270168.9872
63 | 2739212.7916 | 1270166.5592
64 | 2739192.3499 | 1270141.1535
65 | 2739189.9895 | 1270139.4212
66 | 2739181.6556 | 1270159.6129
67 | 2739179.7394 | 1270122.9411
68 | 2739175.6049 | 1270100.1549
69 | 2739185.0497 | 1270099.3824
70 | 2739186.8675 | 1270197.565
71 | 2739349.1625 | 1270205.105
72 | 2739353.2914 | 1270232.3514
73 | 2739354.0445 | 1270247.4598
74 | 2739352.8755 | 1270271.9149
75 | 2739352.1486 | 1270287.1228
76 | 2739168.7039 | 1270248.5502

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1