## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4471-32_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4471-32_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4471-32_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4471-32_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4471-32_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4471-32_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4471-32_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_4471-32_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4471-32_0_3_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_4471-32_0_3_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_4471-32_0_3_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_4471-32_0_3_node_92 | 0.4 | n |  | TRUE
12 | bus_LV_4471-32_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4471-32_0_3_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_4471-32_0_3_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_4471-32_0_3_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_4471-32_0_3_node_93 | 0.4 | n |  | TRUE
17 | bus_LV_4471-32_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_4471-32_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4471-32_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_4471-32_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_4471-32_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4471-32_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4471-32_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_4471-32_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_4471-32_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_4471-32_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_4471-32_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_4471-32_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4471-32_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4471-32_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4471-32_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4471-32_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4471-32_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4471-32_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_4471-32_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4471-32_0_3_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_4471-32_0_3_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_4471-32_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_4471-32_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_4471-32_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_4471-32_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_4471-32_0_3_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_4471-32_0_3_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_4471-32_0_3_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_4471-32_0_3_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_4471-32_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4471-32_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4471-32_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_4471-32_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4471-32_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4471-32_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4471-32_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_4471-32_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_4471-32_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_4471-32_0_3_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_4471-32_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_4471-32_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_4471-32_0_3_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_4471-32_0_3_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_4471-32_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_4471-32_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_4471-32_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_4471-32_0_3_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_4471-32_0_3_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_4471-32_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_4471-32_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_4471-32_0_3_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_4471-32_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_4471-32_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_4471-32_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_4471-32_0_3_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_4471-32_0_3_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_4471-32_0_3_node_88 | 0.4 | n |  | TRUE
74 | bus_LV_4471-32_0_3_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_4471-32_0_3_node_87 | 0.4 | n |  | TRUE
76 | bus_LV_4471-32_0_3_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_4471-32_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_4471-32_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_4471-32_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_4471-32_0_3_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_4471-32_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_4471-32_0_3_node_94 | 0.4 | n |  | TRUE
83 | bus_LV_4471-32_0_3_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_4471-32_0_3_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_4471-32_0_3_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_4471-32_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_4471-32_0_3_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_4471-32_0_3_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_4471-32_0_3_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_4471-32_0_3_node_91 | 0.4 | n |  | TRUE
91 | bus_MV_414_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4471-32_0_3_load_0 | 0 | 0.00051194 | 0.0001283 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4471-32_0_3_load_6 | 5 | 0.00016184 | 4.056e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4471-32_0_3_load_17 | 6 | 0.0017142 | 0.00042962 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4471-32_0_3_load_44 | 9 | 0.003054 | 0.00076541 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4471-32_0_3_load_92 | 11 | 0.0029635 | 0.00074273 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4471-32_0_3_load_7 | 12 | 0.00010872 | 2.7249e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4471-32_0_3_load_49 | 13 | 0.0019794 | 0.00049609 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4471-32_0_3_load_50 | 14 | 0.0021644 | 0.00054245 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4471-32_0_3_load_93 | 16 | 0.0036962 | 0.00092636 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4471-32_0_3_load_15 | 17 | 0.000129 | 3.233e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4471-32_0_3_load_16 | 18 | 0.00045119 | 0.00011308 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4471-32_0_3_load_8 | 19 | 0.0068239 | 0.0017102 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4471-32_0_3_load_14 | 23 | 0.0046504 | 0.0011655 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4471-32_0_3_load_27 | 24 | 0.0098399 | 0.0024661 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4471-32_0_3_load_32 | 26 | 0.0036216 | 0.00090765 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4471-32_0_3_load_26 | 27 | 0.0078329 | 0.0019631 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4471-32_0_3_load_18 | 29 | 0.0068875 | 0.0017262 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4471-32_0_3_load_25 | 32 | 0.0076174 | 0.0019091 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4471-32_0_3_load_28 | 34 | 0.0026012 | 0.00065193 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4471-32_0_3_load_29 | 35 | 0.0037303 | 0.00093491 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4471-32_0_3_load_70 | 36 | 0.0021079 | 0.00052828 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4471-32_0_3_load_68 | 37 | 0.0014038 | 0.00035183 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4471-32_0_3_load_34 | 41 | 0.0021979 | 0.00055084 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4471-32_0_3_load_83 | 42 | 0.00072785 | 0.00018242 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4471-32_0_3_load_81 | 43 | 0.0045906 | 0.0011505 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4471-32_0_3_load_85 | 44 | 0.00063222 | 0.00015845 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4471-32_0_3_load_35 | 46 | 0.0012914 | 0.00032366 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4471-32_0_3_load_36 | 47 | 0.0013093 | 0.00032815 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4471-32_0_3_load_39 | 50 | 0.00131 | 0.00032832 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4471-32_0_3_load_40 | 51 | 0.0023621 | 0.00059199 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4471-32_0_3_load_41 | 52 | 0.0025306 | 0.00063423 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4471-32_0_3_load_42 | 53 | 0.0027204 | 0.00068179 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4471-32_0_3_load_43 | 54 | 0.0013185 | 0.00033045 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4471-32_0_3_load_55 | 56 | 0.0028256 | 0.00070816 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4471-32_0_3_load_52 | 57 | 0.0036968 | 0.0009265 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4471-32_0_3_load_65 | 58 | 0.011832 | 0.0029654 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4471-32_0_3_load_66 | 59 | 0.016786 | 0.0042071 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4471-32_0_3_load_56 | 60 | 0.0012969 | 0.00032503 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4471-32_0_3_load_47 | 61 | 0.0015101 | 0.00037847 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4471-32_0_3_load_51 | 62 | 0.00094919 | 0.00023789 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4471-32_0_3_load_59 | 63 | 0.0026058 | 0.00065307 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4471-32_0_3_load_60 | 64 | 0.01134 | 0.0028422 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4471-32_0_3_load_58 | 65 | 0.0016351 | 0.00040981 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4471-32_0_3_load_67 | 66 | 0.0098989 | 0.0024809 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4471-32_0_3_load_57 | 67 | 0.0016058 | 0.00040244 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4471-32_0_3_load_61 | 68 | 0.0077811 | 0.0019501 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4471-32_0_3_load_62 | 69 | 0.0023061 | 0.00057795 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4471-32_0_3_load_63 | 70 | 0.0079532 | 0.0019933 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4471-32_0_3_load_84 | 72 | 0.0012475 | 0.00031265 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4471-32_0_3_load_86 | 74 | 0.0027929 | 0.00069997 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4471-32_0_3_load_87 | 75 | 0.00139 | 0.00034837 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4471-32_0_3_load_69 | 76 | 0.0013556 | 0.00033974 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4471-32_0_3_load_71 | 77 | 0.001555 | 0.00038972 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4471-32_0_3_load_72 | 78 | 0.0012715 | 0.00031867 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4471-32_0_3_load_80 | 80 | 0.0019856 | 0.00049765 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4471-32_0_3_load_76 | 81 | 0.0016858 | 0.0004225 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4471-32_0_3_load_94 | 82 | 0.0046436 | 0.0011638 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4471-32_0_3_load_74 | 83 | 0.0014352 | 0.0003597 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4471-32_0_3_load_75 | 84 | 0.0012757 | 0.00031973 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4471-32_0_3_load_77 | 85 | 0.0015484 | 0.00038807 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4471-32_0_3_load_79 | 86 | 0.0016841 | 0.00042207 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4471-32_0_3_load_95 | 87 | 0.0016831 | 0.00042183 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4471-32_0_3_load_89 | 88 | 0.0031475 | 0.00078883 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4471-32_0_3_load_90 | 89 | 0.0012065 | 0.00030239 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4471-32_0_3_load_91 | 90 | 0.0019078 | 0.00047814 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 83 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4471-32_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.038815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4471-32_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.039929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4471-32_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.070043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4471-32_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.042133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4471-32_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4471-32_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.033945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4471-32_0_3_line_6 | NAYY 4x150 SE | 4 | 10 | 0.005793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4471-32_0_3_line_7 | NAYY 4x150 SE | 4 | 11 | 0.021558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4471-32_0_3_line_8 | NAYY 4x150 SE | 5 | 12 | 0.017625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4471-32_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.018684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4471-32_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.039325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4471-32_0_3_line_11 | NAYY 4x150 SE | 8 | 13 | 0.020776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4471-32_0_3_line_12 | NAYY 4x150 SE | 8 | 14 | 0.007737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4471-32_0_3_line_13 | NAYY 4x150 SE | 9 | 15 | 0.014676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4471-32_0_3_line_14 | NAYY 4x150 SE | 10 | 16 | 0.022107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4471-32_0_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.020428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4471-32_0_3_line_16 | NAYY 4x150 SE | 12 | 17 | 0.018891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4471-32_0_3_line_17 | NAYY 4x150 SE | 14 | 63 | 0.017084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4471-32_0_3_line_18 | NAYY 4x150 SE | 15 | 61 | 0.012349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4471-32_0_3_line_19 | NAYY 4x150 SE | 16 | 82 | 0.021058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4471-32_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0055622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4471-32_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.041261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4471-32_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.020297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4471-32_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.00583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4471-32_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.063354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4471-32_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.055245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4471-32_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.033598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4471-32_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.02247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4471-32_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.042826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4471-32_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.020421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4471-32_0_3_line_30 | NAYY 4x150 SE | 27 | 33 | 0.029678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4471-32_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.0057819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4471-32_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0084589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4471-32_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.012142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4471-32_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.027842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4471-32_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.022354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4471-32_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.031551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4471-32_0_3_line_37 | NAYY 4x150 SE | 35 | 38 | 0.043103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_4471-32_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0058745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4471-32_0_3_line_39 | NAYY 4x150 SE | 37 | 76 | 0.014162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4471-32_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.008835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_4471-32_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.033295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_4471-32_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.02955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4471-32_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.019865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4471-32_0_3_line_44 | NAYY 4x150 SE | 40 | 43 | 0.020832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_4471-32_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.017333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4471-32_0_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.005096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_4471-32_0_3_line_47 | NAYY 4x150 SE | 44 | 87 | 0.024118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4471-32_0_3_line_48 | NAYY 4x150 SE | 45 | 71 | 0.027252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_4471-32_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.0044136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4471-32_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.014742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4471-32_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.022154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4471-32_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.0038491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4471-32_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.026631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4471-32_0_3_line_54 | NAYY 4x150 SE | 49 | 52 | 0.028295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4471-32_0_3_line_55 | NAYY 4x150 SE | 49 | 53 | 0.017521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4471-32_0_3_line_56 | NAYY 4x150 SE | 50 | 54 | 0.018092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4471-32_0_3_line_57 | NAYY 4x150 SE | 51 | 55 | 0.0064773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4471-32_0_3_line_58 | NAYY 4x150 SE | 52 | 56 | 0.014275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4471-32_0_3_line_59 | NAYY 4x150 SE | 53 | 57 | 0.044873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4471-32_0_3_line_60 | NAYY 4x150 SE | 55 | 58 | 0.025011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4471-32_0_3_line_61 | NAYY 4x150 SE | 55 | 59 | 0.032134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4471-32_0_3_line_62 | NAYY 4x150 SE | 56 | 60 | 0.0041116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4471-32_0_3_line_63 | NAYY 4x150 SE | 58 | 66 | 0.0028358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4471-32_0_3_line_64 | NAYY 4x150 SE | 60 | 67 | 0.014655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4471-32_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.033467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4471-32_0_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.0076059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4471-32_0_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.008641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4471-32_0_3_line_68 | NAYY 4x150 SE | 65 | 67 | 0.014853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4471-32_0_3_line_69 | NAYY 4x150 SE | 66 | 74 | 0.025419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4471-32_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.027266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4471-32_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.040092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4471-32_0_3_line_72 | NAYY 4x150 SE | 70 | 71 | 0.019236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4471-32_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.0056094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_4471-32_0_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.02437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_4471-32_0_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.020415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_4471-32_0_3_line_76 | NAYY 4x150 SE | 73 | 86 | 0.01673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_4471-32_0_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.012936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4471-32_0_3_line_78 | NAYY 4x150 SE | 75 | 88 | 0.0031699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4471-32_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.012907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4471-32_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.011873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4471-32_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.015883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4471-32_0_3_line_82 | NAYY 4x150 SE | 79 | 80 | 0.01903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4471-32_0_3_line_83 | NAYY 4x150 SE | 79 | 81 | 0.0016035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4471-32_0_3_line_84 | NAYY 4x150 SE | 81 | 83 | 0.013612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4471-32_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.015266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_4471-32_0_3_line_86 | NAYY 4x150 SE | 84 | 85 | 0.01328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_4471-32_0_3_line_87 | NAYY 4x150 SE | 85 | 86 | 0.011011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
88 | LV_4471-32_0_3_line_88 | NAYY 4x150 SE | 88 | 89 | 0.027235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4471-32_0_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.0039193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4471-32_0_3_trafo_74 | 0.25 MVA 20/0.4 kV | 91 | 83 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2735484.5268 | 1262471.9973 | 2735476.4857 | 1262470.3227 | 2735446.2393 | 1262465.6726
1 | 2735406.7738 | 1262459.6052 | 2735446.2393 | 1262465.6726
2 | 2735484.5268 | 1262471.9973 | 2735485.5362 | 1262466.1038 | 2735493.0772 | 1262466.9106 | 2735491.7563 | 1262440.0439 | 2735489.9385 | 1262410.5189
3 | 2735484.5268 | 1262471.9973 | 2735493.4069 | 1262473.5689 | 2735507.3938 | 1262474.6236 | 2735504.3666 | 1262485.6869 | 2735502.2767 | 1262493.0126
4 | 2735406.7738 | 1262459.6052 | 2735407.8907 | 1262447.5022
5 | 2735489.9385 | 1262410.5189 | 2735456.1627 | 1262413.902
6 | 2735500.6793 | 1262498.5813 | 2735502.2767 | 1262493.0126
7 | 2735502.2767 | 1262493.0126 | 2735523.5208 | 1262489.3472
8 | 2735407.8907 | 1262447.5022 | 2735409.5102 | 1262429.952
9 | 2735556.5178 | 1262467.131 | 2735561.9797 | 1262481.6922 | 2735564.2049 | 1262483.9119
10 | 2735556.5178 | 1262467.131 | 2735567.0763 | 1262462.8913 | 2735591.1904 | 1262448.7652
11 | 2735564.2049 | 1262483.9119 | 2735554.9847 | 1262484.6791 | 2735543.4866 | 1262485.4443
12 | 2735564.2049 | 1262483.9119 | 2735566.3859 | 1262486.0862 | 2735570.6404 | 1262487.9809
13 | 2735603.8533 | 1262441.3473 | 2735591.1904 | 1262448.7652
14 | 2735500.6793 | 1262498.5813 | 2735517.9566 | 1262512.3735
15 | 2735543.4866 | 1262485.4443 | 2735537.0875 | 1262485.8701 | 2735525.9457 | 1262488.9288 | 2735523.5208 | 1262489.3472
16 | 2735409.5102 | 1262429.952 | 2735411.246 | 1262411.1404
17 | 2735586.7948 | 1262493.4385 | 2735575.4431 | 1262490.1198 | 2735570.6404 | 1262487.9809
18 | 2735603.8533 | 1262441.3473 | 2735610.7287 | 1262451.6053
19 | 2735535.0535 | 1262524.6045 | 2735527.0577 | 1262519.6388 | 2735517.9566 | 1262512.3735
20 | 2735411.7571 | 1262405.6017 | 2735411.246 | 1262411.1404
21 | 2735346.4297 | 1262667.7313 | 2735327.234 | 1262646.3386 | 2735319.0347 | 1262636.8784
22 | 2735361.9327 | 1262680.8874 | 2735346.4297 | 1262667.7313
23 | 2735361.9327 | 1262680.8874 | 2735360.6844 | 1262683.7282 | 2735360.0058 | 1262686.3707
24 | 2735361.9327 | 1262680.8874 | 2735366.7124 | 1262676.2146 | 2735401.2979 | 1262647.6015 | 2735409.7953 | 1262639.4399
25 | 2735360.0058 | 1262686.3707 | 2735360.6114 | 1262691.1891 | 2735363.4259 | 1262696.6364 | 2735366.863 | 1262700.8969 | 2735391.9331 | 1262730.488
26 | 2735432.2999 | 1262614.5579 | 2735427.0088 | 1262621.4766 | 2735414.7223 | 1262634.7077 | 2735409.7953 | 1262639.4399
27 | 2735406.4579 | 1262747.6322 | 2735391.9331 | 1262730.488
28 | 2735432.2999 | 1262614.5579 | 2735465.2841 | 1262641.8733
29 | 2735432.2999 | 1262614.5579 | 2735439.1836 | 1262605.5626 | 2735444.2406 | 1262598.0046
30 | 2735488.1417 | 1262660.8026 | 2735465.2841 | 1262641.8733
31 | 2735444.2406 | 1262598.0046 | 2735447.4596 | 1262593.2017
32 | 2735452.1691 | 1262586.175 | 2735447.4596 | 1262593.2017
33 | 2735458.9274 | 1262576.0758 | 2735452.1691 | 1262586.175
34 | 2735458.9274 | 1262576.0758 | 2735482.2219 | 1262591.3249
35 | 2735488.1417 | 1262660.8026 | 2735505.357 | 1262675.0621
36 | 2735505.357 | 1262675.0621 | 2735529.6551 | 1262695.1884
37 | 2735562.8498 | 1262722.6839 | 2735529.6551 | 1262695.1884
38 | 2735502.5556 | 1262546.9178 | 2735497.4168 | 1262544.0713
39 | 2735502.5556 | 1262546.9178 | 2735514.9437 | 1262553.7798
40 | 2735565.4403 | 1262714.2353 | 2735562.8498 | 1262722.6839
41 | 2735565.4403 | 1262714.2353 | 2735574.9526 | 1262682.3232
42 | 2735565.4403 | 1262714.2353 | 2735593.7989 | 1262722.5408
43 | 2735574.9526 | 1262682.3232 | 2735566.9483 | 1262678.069 | 2735557.7175 | 1262672.462
44 | 2735574.9526 | 1262682.3232 | 2735582.435 | 1262662.8809
45 | 2735557.7175 | 1262672.462 | 2735542.9036 | 1262663.4635
46 | 2735584.2654 | 1262658.1249 | 2735582.435 | 1262662.8809
47 | 2735522.2903 | 1262650.9423 | 2735542.9036 | 1262663.4635
48 | 2735584.2654 | 1262658.1249 | 2735591.5154 | 1262644.0111 | 2735597.4218 | 1262634.2596
49 | 2735677.0429 | 1262492.6043 | 2735675.9319 | 1262496.8759
50 | 2735677.6445 | 1262477.9184 | 2735677.4734 | 1262490.949 | 2735677.0429 | 1262492.6043
51 | 2735668.2175 | 1262517.2392 | 2735671.786 | 1262512.8169 | 2735675.9319 | 1262496.8759
52 | 2735677.6445 | 1262477.9184 | 2735676.9959 | 1262474.1243
53 | 2735668.2175 | 1262517.2392 | 2735654.3942 | 1262540.002
54 | 2735668.2175 | 1262517.2392 | 2735641.059 | 1262509.302
55 | 2735668.2175 | 1262517.2392 | 2735682.2192 | 1262521.9093 | 2735684.8806 | 1262522.6436
56 | 2735676.9959 | 1262474.1243 | 2735676.4152 | 1262470.7278 | 2735673.8091 | 1262456.3149
57 | 2735651.032 | 1262545.5385 | 2735654.3942 | 1262540.002
58 | 2735641.059 | 1262509.302 | 2735633.8988 | 1262507.2094 | 2735627.3571 | 1262505.2969
59 | 2735684.8806 | 1262522.6436 | 2735728.1366 | 1262534.5797
60 | 2735651.032 | 1262545.5385 | 2735641.889 | 1262561.6662 | 2735638.526 | 1262567.1953
61 | 2735621.6236 | 1262543.5622 | 2735627.2984 | 1262538.6544 | 2735651.032 | 1262545.5385
62 | 2735623.4107 | 1262504.1432 | 2735627.3571 | 1262505.2969
63 | 2735637.0523 | 1262569.6181 | 2735638.526 | 1262567.1953
64 | 2735623.4107 | 1262504.1432 | 2735609.3448 | 1262500.031
65 | 2735610.7287 | 1262451.6053 | 2735625.4751 | 1262473.6068 | 2735632.3586 | 1262472.4448
66 | 2735639.8584 | 1262471.1787 | 2735632.3586 | 1262472.4448
67 | 2735595.0887 | 1262495.8632 | 2735586.7948 | 1262493.4385
68 | 2735609.3448 | 1262500.031 | 2735595.0887 | 1262495.8632
69 | 2735623.7318 | 1262591.2667 | 2735632.7957 | 1262576.6162 | 2735637.0523 | 1262569.6181
70 | 2735667.4906 | 1262685.1113 | 2735645.1061 | 1262669.5431
71 | 2735645.1061 | 1262669.5431 | 2735632.1063 | 1262660.5018 | 2735612.7619 | 1262645.8659
72 | 2735597.4218 | 1262634.2596 | 2735612.7619 | 1262645.8659
73 | 2735597.4218 | 1262634.2596 | 2735600.3271 | 1262629.4612
74 | 2735612.8291 | 1262608.5441 | 2735609.3367 | 1262614.5808 | 2735600.3271 | 1262629.4612
75 | 2735612.8291 | 1262608.5441 | 2735623.7318 | 1262591.2667
76 | 2735612.8291 | 1262608.5441 | 2735598.2487 | 1262600.3406
77 | 2735623.7318 | 1262591.2667 | 2735612.4033 | 1262585.022
78 | 2735612.4033 | 1262585.022 | 2735609.6273 | 1262583.4917
79 | 2735514.9437 | 1262553.7798 | 2735526.234 | 1262560.0337
80 | 2735536.6198 | 1262565.7867 | 2735526.234 | 1262560.0337
81 | 2735550.5133 | 1262573.4826 | 2735536.6198 | 1262565.7867
82 | 2735550.5133 | 1262573.4826 | 2735559.3636 | 1262556.6362
83 | 2735550.5133 | 1262573.4826 | 2735551.9108 | 1262574.2689
84 | 2735563.7735 | 1262580.9434 | 2735551.9108 | 1262574.2689
85 | 2735563.7735 | 1262580.9434 | 2735577.0786 | 1262588.4293
86 | 2735588.6527 | 1262594.9414 | 2735577.0786 | 1262588.4293
87 | 2735588.6527 | 1262594.9414 | 2735598.2487 | 1262600.3406
88 | 2735585.7758 | 1262570.3439 | 2735609.6273 | 1262583.4917
89 | 2735582.3434 | 1262568.4518 | 2735585.7758 | 1262570.3439

## bus_geodata
| x | y | coords
0 | 2735446.2393 | 1262465.6726
1 | 2735484.5268 | 1262471.9973
2 | 2735406.7738 | 1262459.6052
3 | 2735489.9385 | 1262410.5189
4 | 2735502.2767 | 1262493.0126
5 | 2735407.8907 | 1262447.5022
6 | 2735456.1627 | 1262413.902
7 | 2735556.5178 | 1262467.131
8 | 2735564.2049 | 1262483.9119
9 | 2735591.1904 | 1262448.7652
10 | 2735500.6793 | 1262498.5813
11 | 2735523.5208 | 1262489.3472
12 | 2735409.5102 | 1262429.952
13 | 2735543.4866 | 1262485.4443
14 | 2735570.6404 | 1262487.9809
15 | 2735603.8533 | 1262441.3473
16 | 2735517.9566 | 1262512.3735
17 | 2735411.246 | 1262411.1404
18 | 2735411.7571 | 1262405.6017
19 | 2735319.0347 | 1262636.8784
20 | 2735346.4297 | 1262667.7313
21 | 2735361.9327 | 1262680.8874
22 | 2735360.0058 | 1262686.3707
23 | 2735409.7953 | 1262639.4399
24 | 2735391.9331 | 1262730.488
25 | 2735432.2999 | 1262614.5579
26 | 2735406.4579 | 1262747.6322
27 | 2735465.2841 | 1262641.8733
28 | 2735444.2406 | 1262598.0046
29 | 2735447.4596 | 1262593.2017
30 | 2735452.1691 | 1262586.175
31 | 2735458.9274 | 1262576.0758
32 | 2735482.2219 | 1262591.3249
33 | 2735488.1417 | 1262660.8026
34 | 2735505.357 | 1262675.0621
35 | 2735529.6551 | 1262695.1884
36 | 2735497.4168 | 1262544.0713
37 | 2735502.5556 | 1262546.9178
38 | 2735562.8498 | 1262722.6839
39 | 2735565.4403 | 1262714.2353
40 | 2735574.9526 | 1262682.3232
41 | 2735593.7989 | 1262722.5408
42 | 2735557.7175 | 1262672.462
43 | 2735582.435 | 1262662.8809
44 | 2735542.9036 | 1262663.4635
45 | 2735584.2654 | 1262658.1249
46 | 2735677.0429 | 1262492.6043
47 | 2735675.9319 | 1262496.8759
48 | 2735677.6445 | 1262477.9184
49 | 2735668.2175 | 1262517.2392
50 | 2735676.9959 | 1262474.1243
51 | 2735654.3942 | 1262540.002
52 | 2735641.059 | 1262509.302
53 | 2735684.8806 | 1262522.6436
54 | 2735673.8091 | 1262456.3149
55 | 2735651.032 | 1262545.5385
56 | 2735627.3571 | 1262505.2969
57 | 2735728.1366 | 1262534.5797
58 | 2735638.526 | 1262567.1953
59 | 2735621.6236 | 1262543.5622
60 | 2735623.4107 | 1262504.1432
61 | 2735610.7287 | 1262451.6053
62 | 2735632.3586 | 1262472.4448
63 | 2735586.7948 | 1262493.4385
64 | 2735639.8584 | 1262471.1787
65 | 2735595.0887 | 1262495.8632
66 | 2735637.0523 | 1262569.6181
67 | 2735609.3448 | 1262500.031
68 | 2735667.4906 | 1262685.1113
69 | 2735645.1061 | 1262669.5431
70 | 2735612.7619 | 1262645.8659
71 | 2735597.4218 | 1262634.2596
72 | 2735600.3271 | 1262629.4612
73 | 2735612.8291 | 1262608.5441
74 | 2735623.7318 | 1262591.2667
75 | 2735612.4033 | 1262585.022
76 | 2735514.9437 | 1262553.7798
77 | 2735526.234 | 1262560.0337
78 | 2735536.6198 | 1262565.7867
79 | 2735550.5133 | 1262573.4826
80 | 2735559.3636 | 1262556.6362
81 | 2735551.9108 | 1262574.2689
82 | 2735535.0535 | 1262524.6045
83 | 2735563.7735 | 1262580.9434
84 | 2735577.0786 | 1262588.4293
85 | 2735588.6527 | 1262594.9414
86 | 2735598.2487 | 1262600.3406
87 | 2735522.2903 | 1262650.9423
88 | 2735609.6273 | 1262583.4917
89 | 2735585.7758 | 1262570.3439
90 | 2735582.3434 | 1262568.4518
91 | 2735550.5133 | 1262573.4826

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1