## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4476-10_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4476-10_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4476-10_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4476-10_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4476-10_0_2_node_178 | 0.4 | n |  | TRUE
5 | bus_LV_4476-10_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4476-10_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4476-10_0_2_node_148 | 0.4 | n |  | TRUE
8 | bus_LV_4476-10_0_2_node_172 | 0.4 | n |  | TRUE
9 | bus_LV_4476-10_0_2_node_112 | 0.4 | n |  | TRUE
10 | bus_LV_4476-10_0_2_node_113 | 0.4 | n |  | TRUE
11 | bus_LV_4476-10_0_2_node_114 | 0.4 | n |  | TRUE
12 | bus_LV_4476-10_0_2_node_162 | 0.4 | n |  | TRUE
13 | bus_LV_4476-10_0_2_node_115 | 0.4 | n |  | TRUE
14 | bus_LV_4476-10_0_2_node_116 | 0.4 | n |  | TRUE
15 | bus_LV_4476-10_0_2_node_117 | 0.4 | n |  | TRUE
16 | bus_LV_4476-10_0_2_node_118 | 0.4 | n |  | TRUE
17 | bus_LV_4476-10_0_2_node_119 | 0.4 | n |  | TRUE
18 | bus_LV_4476-10_0_2_node_120 | 0.4 | n |  | TRUE
19 | bus_LV_4476-10_0_2_node_136 | 0.4 | n |  | TRUE
20 | bus_LV_4476-10_0_2_node_158 | 0.4 | n |  | TRUE
21 | bus_LV_4476-10_0_2_node_121 | 0.4 | n |  | TRUE
22 | bus_LV_4476-10_0_2_node_123 | 0.4 | n |  | TRUE
23 | bus_LV_4476-10_0_2_node_122 | 0.4 | n |  | TRUE
24 | bus_LV_4476-10_0_2_node_124 | 0.4 | n |  | TRUE
25 | bus_LV_4476-10_0_2_node_125 | 0.4 | n |  | TRUE
26 | bus_LV_4476-10_0_2_node_153 | 0.4 | n |  | TRUE
27 | bus_LV_4476-10_0_2_node_154 | 0.4 | n |  | TRUE
28 | bus_LV_4476-10_0_2_node_139 | 0.4 | n |  | TRUE
29 | bus_LV_4476-10_0_2_node_126 | 0.4 | n |  | TRUE
30 | bus_LV_4476-10_0_2_node_127 | 0.4 | n |  | TRUE
31 | bus_LV_4476-10_0_2_node_128 | 0.4 | n |  | TRUE
32 | bus_LV_4476-10_0_2_node_129 | 0.4 | n |  | TRUE
33 | bus_LV_4476-10_0_2_node_130 | 0.4 | n |  | TRUE
34 | bus_LV_4476-10_0_2_node_138 | 0.4 | n |  | TRUE
35 | bus_LV_4476-10_0_2_node_135 | 0.4 | n |  | TRUE
36 | bus_LV_4476-10_0_2_node_131 | 0.4 | n |  | TRUE
37 | bus_LV_4476-10_0_2_node_132 | 0.4 | n |  | TRUE
38 | bus_LV_4476-10_0_2_node_133 | 0.4 | n |  | TRUE
39 | bus_LV_4476-10_0_2_node_134 | 0.4 | n |  | TRUE
40 | bus_LV_4476-10_0_2_node_164 | 0.4 | n |  | TRUE
41 | bus_LV_4476-10_0_2_node_137 | 0.4 | n |  | TRUE
42 | bus_LV_4476-10_0_2_node_165 | 0.4 | n |  | TRUE
43 | bus_LV_4476-10_0_2_node_145 | 0.4 | n |  | TRUE
44 | bus_LV_4476-10_0_2_node_140 | 0.4 | n |  | TRUE
45 | bus_LV_4476-10_0_2_node_141 | 0.4 | n |  | TRUE
46 | bus_LV_4476-10_0_2_node_142 | 0.4 | n |  | TRUE
47 | bus_LV_4476-10_0_2_node_144 | 0.4 | n |  | TRUE
48 | bus_LV_4476-10_0_2_node_161 | 0.4 | n |  | TRUE
49 | bus_LV_4476-10_0_2_node_166 | 0.4 | n |  | TRUE
50 | bus_LV_4476-10_0_2_node_159 | 0.4 | n |  | TRUE
51 | bus_LV_4476-10_0_2_node_146 | 0.4 | n |  | TRUE
52 | bus_LV_4476-10_0_2_node_147 | 0.4 | n |  | TRUE
53 | bus_LV_4476-10_0_2_node_149 | 0.4 | n |  | TRUE
54 | bus_LV_4476-10_0_2_node_151 | 0.4 | n |  | TRUE
55 | bus_LV_4476-10_0_2_node_152 | 0.4 | n |  | TRUE
56 | bus_LV_4476-10_0_2_node_183 | 0.4 | n |  | TRUE
57 | bus_LV_4476-10_0_2_node_155 | 0.4 | n |  | TRUE
58 | bus_LV_4476-10_0_2_node_156 | 0.4 | n |  | TRUE
59 | bus_LV_4476-10_0_2_node_157 | 0.4 | n |  | TRUE
60 | bus_LV_4476-10_0_2_node_175 | 0.4 | n |  | TRUE
61 | bus_LV_4476-10_0_2_node_171 | 0.4 | n |  | TRUE
62 | bus_LV_4476-10_0_2_node_160 | 0.4 | n |  | TRUE
63 | bus_LV_4476-10_0_2_node_184 | 0.4 | n |  | TRUE
64 | bus_LV_4476-10_0_2_node_169 | 0.4 | n |  | TRUE
65 | bus_LV_4476-10_0_2_node_163 | 0.4 | n |  | TRUE
66 | bus_LV_4476-10_0_2_node_170 | 0.4 | n |  | TRUE
67 | bus_LV_4476-10_0_2_node_167 | 0.4 | n |  | TRUE
68 | bus_LV_4476-10_0_2_node_173 | 0.4 | n |  | TRUE
69 | bus_LV_4476-10_0_2_node_180 | 0.4 | n |  | TRUE
70 | bus_LV_4476-10_0_2_node_176 | 0.4 | n |  | TRUE
71 | bus_LV_4476-10_0_2_node_177 | 0.4 | n |  | TRUE
72 | bus_LV_4476-10_0_2_node_181 | 0.4 | n |  | TRUE
73 | bus_LV_4476-10_0_2_node_179 | 0.4 | n |  | TRUE
74 | bus_MV_409_1_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4476-10_0_2_load_0 | 0 | 0.00029304 | 7.3444e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4476-10_0_2_load_2 | 2 | 0.0076399 | 0.0019147 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4476-10_0_2_load_3 | 3 | 0.00037295 | 9.347e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4476-10_0_2_load_178 | 4 | 0.00017982 | 4.5067e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4476-10_0_2_load_4 | 5 | 0.00052198 | 0.00013082 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4476-10_0_2_load_112 | 9 | 0.0023631 | 0.00059224 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4476-10_0_2_load_113 | 10 | 0.0010084 | 0.00025273 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4476-10_0_2_load_114 | 11 | 0.0020338 | 0.00050972 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4476-10_0_2_load_162 | 12 | 0.0010935 | 0.00027405 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4476-10_0_2_load_115 | 13 | 6.1722e-05 | 1.5469e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4476-10_0_2_load_116 | 14 | 0.0016827 | 0.00042172 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4476-10_0_2_load_117 | 15 | 6.7208e-05 | 1.6844e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4476-10_0_2_load_118 | 16 | 0.00175 | 0.0004386 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4476-10_0_2_load_119 | 17 | 0.0010062 | 0.00025217 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4476-10_0_2_load_120 | 18 | 0.0016535 | 0.0004144 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4476-10_0_2_load_136 | 19 | 5.865e-05 | 1.4699e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4476-10_0_2_load_158 | 20 | 0.0016553 | 0.00041487 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4476-10_0_2_load_121 | 21 | 0.0015524 | 0.00038906 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4476-10_0_2_load_122 | 23 | 0.0010937 | 0.00027411 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4476-10_0_2_load_124 | 24 | 0.0010113 | 0.00025346 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4476-10_0_2_load_125 | 25 | 0.0022955 | 0.00057531 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4476-10_0_2_load_153 | 26 | 0.0019687 | 0.0004934 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4476-10_0_2_load_154 | 27 | 0.0013274 | 0.00033268 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4476-10_0_2_load_126 | 29 | 0.0019613 | 0.00049154 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4476-10_0_2_load_127 | 30 | 0.0020591 | 0.00051606 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4476-10_0_2_load_128 | 31 | 0.0033328 | 0.00083527 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4476-10_0_2_load_129 | 32 | 0.0027989 | 0.00070146 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4476-10_0_2_load_130 | 33 | 0.0029385 | 0.00073647 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4476-10_0_2_load_138 | 34 | 0.00083157 | 0.00020841 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4476-10_0_2_load_135 | 35 | 0.0022764 | 0.00057053 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4476-10_0_2_load_131 | 36 | 0.0018163 | 0.0004552 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4476-10_0_2_load_132 | 37 | 0.0007528 | 0.00018867 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4476-10_0_2_load_133 | 38 | 0.0034178 | 0.00085657 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4476-10_0_2_load_134 | 39 | 0.00076321 | 0.00019128 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4476-10_0_2_load_164 | 40 | 0.0018225 | 0.00045677 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4476-10_0_2_load_137 | 41 | 0.00085165 | 0.00021344 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4476-10_0_2_load_165 | 42 | 0.00089603 | 0.00022457 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4476-10_0_2_load_145 | 43 | 0.0010978 | 0.00027513 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4476-10_0_2_load_140 | 44 | 0.0035454 | 0.00088855 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4476-10_0_2_load_141 | 45 | 0.0030706 | 0.00076957 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4476-10_0_2_load_166 | 49 | 0.0012435 | 0.00031164 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4476-10_0_2_load_146 | 51 | 0.00074629 | 0.00018704 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4476-10_0_2_load_149 | 53 | 0.0018352 | 0.00045994 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4476-10_0_2_load_151 | 54 | 0.0023267 | 0.00058312 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4476-10_0_2_load_152 | 55 | 0.00091762 | 0.00022998 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4476-10_0_2_load_183 | 56 | 0.00047204 | 0.0001183 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4476-10_0_2_load_157 | 59 | 0.00018119 | 4.541e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4476-10_0_2_load_175 | 60 | 0.0019195 | 0.00048107 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4476-10_0_2_load_184 | 63 | 0.011442 | 0.0028676 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4476-10_0_2_load_169 | 64 | 0.0021065 | 0.00052794 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4476-10_0_2_load_163 | 65 | 0.0022891 | 0.00057369 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4476-10_0_2_load_170 | 66 | 0.0016231 | 0.0004068 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4476-10_0_2_load_167 | 67 | 0.010229 | 0.0025636 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4476-10_0_2_load_173 | 68 | 0.00040825 | 0.00010232 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4476-10_0_2_load_180 | 69 | 0.00035759 | 8.962e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4476-10_0_2_load_176 | 70 | 0.00070361 | 0.00017634 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4476-10_0_2_load_177 | 71 | 0.00073322 | 0.00018376 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4476-10_0_2_load_181 | 72 | 0.0007033 | 0.00017626 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4476-10_0_2_load_179 | 73 | 0.00061627 | 0.00015445 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4476-10_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.058839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4476-10_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.13513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4476-10_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.038957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4476-10_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.14435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4476-10_0_2_line_4 | NAYY 4x150 SE | 4 | 73 | 0.032713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4476-10_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.046319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4476-10_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.022049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4476-10_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.058518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4476-10_0_2_line_8 | NAYY 4x150 SE | 7 | 54 | 0.023751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4476-10_0_2_line_9 | NAYY 4x150 SE | 7 | 55 | 0.034889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4476-10_0_2_line_10 | NAYY 4x150 SE | 7 | 51 | 0.026409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4476-10_0_2_line_11 | NAYY 4x150 SE | 8 | 61 | 0.039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4476-10_0_2_line_12 | NAYY 4x150 SE | 9 | 10 | 0.014195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4476-10_0_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.013055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4476-10_0_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.010655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4476-10_0_2_line_15 | NAYY 4x150 SE | 12 | 65 | 0.014483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4476-10_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.021541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4476-10_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.0053036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4476-10_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.018959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4476-10_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.018283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4476-10_0_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.011728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4476-10_0_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0046363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4476-10_0_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.0056402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4476-10_0_2_line_23 | NAYY 4x150 SE | 19 | 41 | 0.01512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4476-10_0_2_line_24 | NAYY 4x150 SE | 20 | 27 | 0.026938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4476-10_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.020193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4476-10_0_2_line_26 | NAYY 4x150 SE | 22 | 25 | 0.033255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4476-10_0_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0084319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4476-10_0_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.024785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4476-10_0_2_line_29 | NAYY 4x150 SE | 24 | 27 | 0.018301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4476-10_0_2_line_30 | NAYY 4x150 SE | 25 | 28 | 0.030551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4476-10_0_2_line_31 | NAYY 4x150 SE | 26 | 57 | 0.055819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4476-10_0_2_line_32 | NAYY 4x150 SE | 28 | 43 | 0.045646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4476-10_0_2_line_33 | NAYY 4x150 SE | 28 | 34 | 0.0096428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4476-10_0_2_line_34 | NAYY 4x150 SE | 29 | 30 | 0.024795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4476-10_0_2_line_35 | NAYY 4x150 SE | 29 | 31 | 0.0075782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4476-10_0_2_line_36 | NAYY 4x150 SE | 30 | 32 | 0.0055949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4476-10_0_2_line_37 | NAYY 4x150 SE | 31 | 33 | 0.016415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4476-10_0_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.02039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4476-10_0_2_line_39 | NAYY 4x150 SE | 33 | 35 | 0.0042611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4476-10_0_2_line_40 | NAYY 4x150 SE | 35 | 38 | 0.031347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4476-10_0_2_line_41 | NAYY 4x150 SE | 36 | 37 | 0.0083004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4476-10_0_2_line_42 | NAYY 4x150 SE | 36 | 38 | 0.0093582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4476-10_0_2_line_43 | NAYY 4x150 SE | 37 | 39 | 0.00032031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4476-10_0_2_line_44 | NAYY 4x150 SE | 39 | 40 | 0.0086406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4476-10_0_2_line_45 | NAYY 4x150 SE | 40 | 42 | 0.017895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4476-10_0_2_line_46 | NAYY 4x150 SE | 41 | 42 | 0.00035406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4476-10_0_2_line_47 | NAYY 4x150 SE | 43 | 50 | 0.0051295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4476-10_0_2_line_48 | NAYY 4x150 SE | 44 | 45 | 0.012982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4476-10_0_2_line_49 | NAYY 4x150 SE | 44 | 46 | 0.014453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4476-10_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.025382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4476-10_0_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.024347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4476-10_0_2_line_52 | NAYY 4x150 SE | 47 | 49 | 0.040559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4476-10_0_2_line_53 | NAYY 4x150 SE | 48 | 64 | 0.016485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4476-10_0_2_line_54 | NAYY 4x150 SE | 48 | 50 | 0.037072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4476-10_0_2_line_55 | NAYY 4x150 SE | 49 | 67 | 0.0076374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4476-10_0_2_line_56 | NAYY 4x150 SE | 50 | 62 | 0.015989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4476-10_0_2_line_57 | NAYY 4x150 SE | 51 | 52 | 0.028289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4476-10_0_2_line_58 | NAYY 4x150 SE | 52 | 53 | 0.033405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4476-10_0_2_line_59 | NAYY 4x150 SE | 53 | 56 | 0.060244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4476-10_0_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.006641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4476-10_0_2_line_61 | NAYY 4x150 SE | 57 | 59 | 0.045721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4476-10_0_2_line_62 | NAYY 4x150 SE | 58 | 60 | 0.032232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4476-10_0_2_line_63 | NAYY 4x150 SE | 59 | 61 | 0.020121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4476-10_0_2_line_64 | NAYY 4x150 SE | 60 | 70 | 0.023072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4476-10_0_2_line_65 | NAYY 4x150 SE | 61 | 68 | 0.026949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4476-10_0_2_line_66 | NAYY 4x150 SE | 62 | 63 | 0.0073699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4476-10_0_2_line_67 | NAYY 4x150 SE | 64 | 66 | 0.016939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4476-10_0_2_line_68 | NAYY 4x150 SE | 65 | 66 | 0.0090519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4476-10_0_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.058663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4476-10_0_2_line_70 | NAYY 4x150 SE | 69 | 73 | 0.014811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4476-10_0_2_line_71 | NAYY 4x150 SE | 70 | 71 | 0.010411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4476-10_0_2_line_72 | NAYY 4x150 SE | 71 | 72 | 0.017591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4476-10_0_2_trafo_130 | 0.25 MVA 20/0.4 kV | 74 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2735126.7792 | 1268758.4942 | 2735129.3345 | 1268747.5088 | 2735129.5051 | 1268744.3318 | 2735128.9059 | 1268741.8936 | 2735127.2108 | 1268738.6517 | 2735093.7468 | 1268720.2084
1 | 2735093.7468 | 1268720.2084 | 2734967.9915 | 1268670.7585
2 | 2735126.7792 | 1268758.4942 | 2735133.4052 | 1268750.9051 | 2735147.2184 | 1268725.5396
3 | 2734825.3605 | 1268648.5447 | 2734967.9915 | 1268670.7585
4 | 2734825.3605 | 1268648.5447 | 2734837.1322 | 1268632.4564 | 2734837.6533 | 1268627.4412 | 2734831.1269 | 1268623.2876
5 | 2734800.217 | 1268462.6734 | 2734832.3126 | 1268485.4831 | 2734838.3248 | 1268488.957
6 | 2734806.0107 | 1268441.4074 | 2734803.8049 | 1268448.3192 | 2734802.7359 | 1268452.5989 | 2734800.217 | 1268462.6734
7 | 2734800.217 | 1268462.6734 | 2734794.6995 | 1268484.702 | 2734784.0303 | 1268513.4084 | 2734781.785 | 1268518.095
8 | 2734806.0107 | 1268441.4074 | 2734826.203 | 1268453.9127
9 | 2734806.0107 | 1268441.4074 | 2734776.4565 | 1268422.8661
10 | 2734806.0107 | 1268441.4074 | 2734816.8497 | 1268418.466 | 2734817.4443 | 1268417.6172
11 | 2734762.8094 | 1268552.1615 | 2734770.4733 | 1268539.0015 | 2734776.9704 | 1268528.1392 | 2734781.785 | 1268518.095
12 | 2734654.1571 | 1268393.2464 | 2734665.9765 | 1268385.3848
13 | 2734643.287 | 1268400.4766 | 2734654.1571 | 1268393.2464
14 | 2734643.287 | 1268400.4766 | 2734634.4155 | 1268406.3774
15 | 2734622.3565 | 1268414.3983 | 2734634.4155 | 1268406.3774
16 | 2734713.2886 | 1268522.6119 | 2734694.5542 | 1268533.2439
17 | 2734717.4877 | 1268519.5051 | 2734716.3918 | 1268520.8508 | 2734713.2886 | 1268522.6119
18 | 2734678.9287 | 1268543.7317 | 2734682.6307 | 1268540.0107 | 2734694.5542 | 1268533.2439
19 | 2734717.4877 | 1268519.5051 | 2734721.3803 | 1268514.7253 | 2734723.3453 | 1268508.1305 | 2734723.4648 | 1268502.8949
20 | 2734675.8391 | 1268554.9753 | 2734677.2066 | 1268547.7389 | 2734678.9088 | 1268543.7517 | 2734678.9287 | 1268543.7317
21 | 2734721.7159 | 1268498.601 | 2734723.4648 | 1268502.8949 | 2734723.4648 | 1268502.8949
22 | 2734675.8391 | 1268554.9753 | 2734674.7918 | 1268560.5174
23 | 2734721.7159 | 1268498.601 | 2734716.0124 | 1268484.5978
24 | 2734669.7899 | 1268586.987 | 2734674.7918 | 1268560.5174
25 | 2734603.5726 | 1268588.6559 | 2734623.0328 | 1268594.045
26 | 2734603.5726 | 1268588.6559 | 2734601.7838 | 1268576.3033 | 2734599.7013 | 1268555.6342
27 | 2734666.3917 | 1268604.9696 | 2734658.0916 | 1268603.4848
28 | 2734666.3917 | 1268604.9696 | 2734678.1402 | 1268604.1699 | 2734691.1046 | 1268603.095
29 | 2734666.3917 | 1268604.9696 | 2734669.7899 | 1268586.987
30 | 2734596.6388 | 1268525.2371 | 2734599.7013 | 1268555.6342
31 | 2734745.5098 | 1268615.3944 | 2734716.0252 | 1268607.8482 | 2734691.4994 | 1268603.0622 | 2734691.1046 | 1268603.095
32 | 2734596.6388 | 1268525.2371 | 2734591.6764 | 1268479.8621
33 | 2734596.6388 | 1268525.2371 | 2734604.3399 | 1268519.434
34 | 2734625.0922 | 1268503.7964 | 2734644.8946 | 1268488.8745
35 | 2734650.9468 | 1268484.3139 | 2734644.8946 | 1268488.8745
36 | 2734625.0922 | 1268503.7964 | 2734620.624 | 1268507.1634
37 | 2734650.9468 | 1268484.3139 | 2734664.0565 | 1268474.4353
38 | 2734620.624 | 1268507.1634 | 2734604.3399 | 1268519.434
39 | 2734667.4596 | 1268471.8709 | 2734664.0565 | 1268474.4353
40 | 2734667.4596 | 1268471.8709 | 2734692.495 | 1268453.0058
41 | 2734705.7482 | 1268459.3975 | 2734704.3429 | 1268455.9472 | 2734701.3883 | 1268452.4543
42 | 2734692.495 | 1268453.0058 | 2734693.7246 | 1268452.0792 | 2734698.5846 | 1268451.5895 | 2734701.3883 | 1268452.4543 | 2734701.3883 | 1268452.4543
43 | 2734705.869 | 1268459.6942 | 2734705.7482 | 1268459.3975
44 | 2734705.869 | 1268459.6942 | 2734709.1284 | 1268467.6964
45 | 2734715.8788 | 1268484.2699 | 2734709.1284 | 1268467.6964
46 | 2734716.0124 | 1268484.5978 | 2734715.8788 | 1268484.2699
47 | 2734591.1187 | 1268474.763 | 2734591.6764 | 1268479.8621
48 | 2734531.854 | 1268421.3281 | 2734544.7017 | 1268419.4635
49 | 2734559.0044 | 1268417.3877 | 2734544.7017 | 1268419.4635
50 | 2734559.0044 | 1268417.3877 | 2734584.1978 | 1268413.7358
51 | 2734586.9894 | 1268437.9225 | 2734584.1978 | 1268413.7358
52 | 2734584.1978 | 1268413.7358 | 2734579.1051 | 1268373.4974
53 | 2734586.9894 | 1268437.9225 | 2734600.7153 | 1268428.7929
54 | 2734586.9894 | 1268437.9225 | 2734588.9821 | 1268455.2067 | 2734591.1187 | 1268474.763
55 | 2734579.1051 | 1268373.4974 | 2734578.1462 | 1268365.9205
56 | 2734591.1187 | 1268474.763 | 2734584.3824 | 1268475.6549 | 2734577.1735 | 1268481.4184
57 | 2734833.6765 | 1268394.4491 | 2734817.4443 | 1268417.6172
58 | 2734833.6765 | 1268394.4491 | 2734840.4936 | 1268407.1724 | 2734843.6807 | 1268417.6218 | 2734844.2682 | 1268425.6466
59 | 2734844.2682 | 1268425.6466 | 2734892.6711 | 1268461.5152
60 | 2734745.5098 | 1268615.3944 | 2734744.1942 | 1268621.9039
61 | 2734745.5098 | 1268615.3944 | 2734751.9465 | 1268581.7755 | 2734755.2754 | 1268570.7766
62 | 2734744.1942 | 1268621.9039 | 2734741.1064 | 1268637.1148 | 2734738.4985 | 1268653.6211
63 | 2734762.8094 | 1268552.1615 | 2734757.1582 | 1268564.5557 | 2734755.2754 | 1268570.7766
64 | 2734738.4985 | 1268653.6211 | 2734736.4159 | 1268666.803 | 2734734.5786 | 1268676.3548
65 | 2734762.8094 | 1268552.1615 | 2734785.2338 | 1268567.1075
66 | 2734577.1735 | 1268481.4184 | 2734570.3253 | 1268482.2633 | 2734569.9526 | 1268482.5493
67 | 2734600.7153 | 1268428.7929 | 2734614.8196 | 1268419.4115
68 | 2734614.8196 | 1268419.4115 | 2734622.3565 | 1268414.3983
69 | 2734785.2338 | 1268567.1075 | 2734818.6319 | 1268615.3353
70 | 2734818.6319 | 1268615.3353 | 2734831.1269 | 1268623.2876
71 | 2734734.5786 | 1268676.3548 | 2734732.6121 | 1268686.5785
72 | 2734732.6121 | 1268686.5785 | 2734729.2895 | 1268703.8528

## bus_geodata
| x | y | coords
0 | 2735093.7468 | 1268720.2084
1 | 2735126.7792 | 1268758.4942
2 | 2734967.9915 | 1268670.7585
3 | 2735147.2184 | 1268725.5396
4 | 2734825.3605 | 1268648.5447
5 | 2734838.3248 | 1268488.957
6 | 2734800.217 | 1268462.6734
7 | 2734806.0107 | 1268441.4074
8 | 2734781.785 | 1268518.095
9 | 2734665.9765 | 1268385.3848
10 | 2734654.1571 | 1268393.2464
11 | 2734643.287 | 1268400.4766
12 | 2734634.4155 | 1268406.3774
13 | 2734713.2886 | 1268522.6119
14 | 2734694.5542 | 1268533.2439
15 | 2734717.4877 | 1268519.5051
16 | 2734678.9287 | 1268543.7317
17 | 2734723.4648 | 1268502.8949
18 | 2734675.8391 | 1268554.9753
19 | 2734721.7159 | 1268498.601
20 | 2734674.7918 | 1268560.5174
21 | 2734623.0328 | 1268594.045
22 | 2734603.5726 | 1268588.6559
23 | 2734658.0916 | 1268603.4848
24 | 2734666.3917 | 1268604.9696
25 | 2734599.7013 | 1268555.6342
26 | 2734691.1046 | 1268603.095
27 | 2734669.7899 | 1268586.987
28 | 2734596.6388 | 1268525.2371
29 | 2734644.8946 | 1268488.8745
30 | 2734625.0922 | 1268503.7964
31 | 2734650.9468 | 1268484.3139
32 | 2734620.624 | 1268507.1634
33 | 2734664.0565 | 1268474.4353
34 | 2734604.3399 | 1268519.434
35 | 2734667.4596 | 1268471.8709
36 | 2734701.3883 | 1268452.4543
37 | 2734705.7482 | 1268459.3975
38 | 2734692.495 | 1268453.0058
39 | 2734705.869 | 1268459.6942
40 | 2734709.1284 | 1268467.6964
41 | 2734716.0124 | 1268484.5978
42 | 2734715.8788 | 1268484.2699
43 | 2734591.6764 | 1268479.8621
44 | 2734544.7017 | 1268419.4635
45 | 2734531.854 | 1268421.3281
46 | 2734559.0044 | 1268417.3877
47 | 2734584.1978 | 1268413.7358
48 | 2734586.9894 | 1268437.9225
49 | 2734579.1051 | 1268373.4974
50 | 2734591.1187 | 1268474.763
51 | 2734817.4443 | 1268417.6172
52 | 2734833.6765 | 1268394.4491
53 | 2734844.2682 | 1268425.6466
54 | 2734826.203 | 1268453.9127
55 | 2734776.4565 | 1268422.8661
56 | 2734892.6711 | 1268461.5152
57 | 2734745.5098 | 1268615.3944
58 | 2734744.1942 | 1268621.9039
59 | 2734755.2754 | 1268570.7766
60 | 2734738.4985 | 1268653.6211
61 | 2734762.8094 | 1268552.1615
62 | 2734577.1735 | 1268481.4184
63 | 2734569.9526 | 1268482.5493
64 | 2734600.7153 | 1268428.7929
65 | 2734622.3565 | 1268414.3983
66 | 2734614.8196 | 1268419.4114
67 | 2734578.1462 | 1268365.9205
68 | 2734785.2338 | 1268567.1075
69 | 2734818.6319 | 1268615.3353
70 | 2734734.5786 | 1268676.3548
71 | 2734732.6121 | 1268686.5785
72 | 2734729.2895 | 1268703.8528
73 | 2734831.1269 | 1268623.2876
74 | 2734596.6388 | 1268525.2371

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1