## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4476-16_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4476-16_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4476-16_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4476-16_0_3_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_4476-16_0_3_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_4476-16_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_4476-16_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_4476-16_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4476-16_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4476-16_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4476-16_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4476-16_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4476-16_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_4476-16_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_4476-16_0_3_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_4476-16_0_3_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_4476-16_0_3_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_4476-16_0_3_node_68 | 0.4 | n |  | TRUE
18 | bus_LV_4476-16_0_3_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_4476-16_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_4476-16_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4476-16_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4476-16_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4476-16_0_3_node_88 | 0.4 | n |  | TRUE
24 | bus_LV_4476-16_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4476-16_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_4476-16_0_3_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_4476-16_0_3_node_102 | 0.4 | n |  | TRUE
28 | bus_LV_4476-16_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_4476-16_0_3_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_4476-16_0_3_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_4476-16_0_3_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_4476-16_0_3_node_104 | 0.4 | n |  | TRUE
33 | bus_LV_4476-16_0_3_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_4476-16_0_3_node_105 | 0.4 | n |  | TRUE
35 | bus_LV_4476-16_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_4476-16_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_4476-16_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_4476-16_0_3_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_4476-16_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_4476-16_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_4476-16_0_3_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_4476-16_0_3_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_4476-16_0_3_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_4476-16_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_4476-16_0_3_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_4476-16_0_3_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_4476-16_0_3_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_4476-16_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_4476-16_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_4476-16_0_3_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_4476-16_0_3_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_4476-16_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_4476-16_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_4476-16_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_4476-16_0_3_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_4476-16_0_3_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_4476-16_0_3_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_4476-16_0_3_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_4476-16_0_3_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_4476-16_0_3_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_4476-16_0_3_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_4476-16_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_4476-16_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_4476-16_0_3_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_4476-16_0_3_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_4476-16_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4476-16_0_3_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_4476-16_0_3_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_4476-16_0_3_node_101 | 0.4 | n |  | TRUE
70 | bus_LV_4476-16_0_3_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_4476-16_0_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4476-16_0_3_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_4476-16_0_3_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_4476-16_0_3_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_4476-16_0_3_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_4476-16_0_3_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_4476-16_0_3_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_4476-16_0_3_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_4476-16_0_3_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_4476-16_0_3_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_4476-16_0_3_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_4476-16_0_3_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_4476-16_0_3_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_4476-16_0_3_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_4476-16_0_3_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_4476-16_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_4476-16_0_3_node_94 | 0.4 | n |  | TRUE
88 | bus_LV_4476-16_0_3_node_96 | 0.4 | n |  | TRUE
89 | bus_LV_4476-16_0_3_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_4476-16_0_3_node_98 | 0.4 | n |  | TRUE
91 | bus_LV_4476-16_0_3_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_4476-16_0_3_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_4476-16_0_3_node_97 | 0.4 | n |  | TRUE
94 | bus_LV_4476-16_0_3_node_75 | 0.4 | n |  | TRUE
95 | bus_LV_4476-16_0_3_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_4476-16_0_3_node_77 | 0.4 | n |  | TRUE
97 | bus_LV_4476-16_0_3_node_99 | 0.4 | n |  | TRUE
98 | bus_LV_4476-16_0_3_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_4476-16_0_3_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_4476-16_0_3_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_4476-16_0_3_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_4476-16_0_3_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_4476-16_0_3_node_106 | 0.4 | n |  | TRUE
104 | bus_MV_409_1_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4476-16_0_3_load_0 | 0 | 0.0020341 | 0.00050979 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4476-16_0_3_load_2 | 2 | 0.0018421 | 0.00046167 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4476-16_0_3_load_14 | 3 | 0.0025942 | 0.00065018 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4476-16_0_3_load_15 | 4 | 0.0066737 | 0.0016726 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4476-16_0_3_load_16 | 5 | 0.00053683 | 0.00013454 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4476-16_0_3_load_3 | 6 | 0.0025618 | 0.00064206 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4476-16_0_3_load_4 | 7 | 0.001096 | 0.00027469 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4476-16_0_3_load_7 | 10 | 0.0069299 | 0.0017368 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4476-16_0_3_load_8 | 11 | 0.001095 | 0.00027444 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4476-16_0_3_load_17 | 12 | 0.002009 | 0.0005035 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4476-16_0_3_load_18 | 13 | 0.0069297 | 0.0017368 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4476-16_0_3_load_84 | 14 | 0.0044304 | 0.0011104 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4476-16_0_3_load_80 | 15 | 0.001065 | 0.0002669 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4476-16_0_3_load_42 | 16 | 0.0018466 | 0.00046281 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4476-16_0_3_load_68 | 17 | 0.0027153 | 0.00068051 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4476-16_0_3_load_78 | 18 | 0.0011222 | 0.00028124 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4476-16_0_3_load_9 | 19 | 0.0031957 | 0.00080091 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4476-16_0_3_load_10 | 20 | 0.0041003 | 0.0010276 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4476-16_0_3_load_11 | 21 | 0.0014224 | 0.00035648 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4476-16_0_3_load_12 | 22 | 0.0015025 | 0.00037655 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4476-16_0_3_load_88 | 23 | 0.0022845 | 0.00057256 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4476-16_0_3_load_30 | 25 | 0.0033171 | 0.00083134 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4476-16_0_3_load_102 | 27 | 0.0018888 | 0.00047339 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4476-16_0_3_load_81 | 29 | 0.0017853 | 0.00044744 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4476-16_0_3_load_45 | 30 | 0.0029926 | 0.00075002 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4476-16_0_3_load_86 | 31 | 0.005508 | 0.0013804 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4476-16_0_3_load_104 | 32 | 0.0011127 | 0.00027888 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4476-16_0_3_load_87 | 33 | 0.0048501 | 0.0012156 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4476-16_0_3_load_105 | 34 | 0.0011981 | 0.00030028 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4476-16_0_3_load_19 | 36 | 0.0024348 | 0.00061022 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4476-16_0_3_load_20 | 37 | 0.0021 | 0.0005263 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4476-16_0_3_load_22 | 39 | 0.0019049 | 0.00047741 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4476-16_0_3_load_24 | 41 | 0.0018558 | 0.00046511 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4476-16_0_3_load_89 | 42 | 0.0017762 | 0.00044517 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4476-16_0_3_load_50 | 43 | 0.0019161 | 0.00048023 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4476-16_0_3_load_47 | 44 | 0.0023773 | 0.00059582 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4476-16_0_3_load_48 | 47 | 0.0029875 | 0.00074873 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4476-16_0_3_load_34 | 48 | 0.003561 | 0.00089248 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4476-16_0_3_load_52 | 49 | 0.001798 | 0.00045062 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4476-16_0_3_load_25 | 50 | 0.0021497 | 0.00053876 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4476-16_0_3_load_38 | 53 | 0.0045372 | 0.0011371 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4476-16_0_3_load_35 | 54 | 0.0022726 | 0.00056956 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4476-16_0_3_load_36 | 55 | 0.0015945 | 0.00039963 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4476-16_0_3_load_60 | 56 | 0.0018529 | 0.00046439 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4476-16_0_3_load_57 | 57 | 0.0018322 | 0.00045919 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4476-16_0_3_load_31 | 59 | 0.0014578 | 0.00036535 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4476-16_0_3_load_32 | 60 | 0.0016716 | 0.00041895 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4476-16_0_3_load_33 | 61 | 0.0014653 | 0.00036725 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4476-16_0_3_load_43 | 62 | 0.0010421 | 0.00026117 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4476-16_0_3_load_44 | 63 | 0.0019827 | 0.00049691 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4476-16_0_3_load_72 | 64 | 0.0014356 | 0.00035979 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4476-16_0_3_load_41 | 65 | 0.0017188 | 0.00043078 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4476-16_0_3_load_58 | 66 | 0.0015403 | 0.00038604 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4476-16_0_3_load_71 | 67 | 0.0011421 | 0.00028625 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4476-16_0_3_load_49 | 68 | 0.0017987 | 0.0004508 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4476-16_0_3_load_101 | 69 | 0.0019901 | 0.00049878 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4476-16_0_3_load_62 | 70 | 0.0018177 | 0.00045555 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4476-16_0_3_load_63 | 71 | 0.00018491 | 4.6343e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4476-16_0_3_load_51 | 72 | 0.0014718 | 0.00036888 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4476-16_0_3_load_55 | 74 | 0.0017527 | 0.00043927 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4476-16_0_3_load_56 | 75 | 0.00047959 | 0.0001202 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4476-16_0_3_load_59 | 76 | 0.0019915 | 0.00049912 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4476-16_0_3_load_85 | 78 | 0.0014684 | 0.00036802 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4476-16_0_3_load_83 | 79 | 0.0018658 | 0.00046762 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4476-16_0_3_load_82 | 80 | 0.0018266 | 0.00045778 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4476-16_0_3_load_64 | 81 | 0.013951 | 0.0034964 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4476-16_0_3_load_65 | 82 | 0.0049488 | 0.0012403 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4476-16_0_3_load_67 | 84 | 0.0033333 | 0.00083541 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4476-16_0_3_load_69 | 85 | 0.0017514 | 0.00043894 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4476-16_0_3_load_79 | 86 | 0.0016701 | 0.00041857 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4476-16_0_3_load_96 | 88 | 0.0030786 | 0.00077158 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4476-16_0_3_load_98 | 90 | 0.0023011 | 0.0005767 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4476-16_0_3_load_73 | 91 | 0.0012879 | 0.00032277 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4476-16_0_3_load_74 | 92 | 0.0025669 | 0.00064333 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4476-16_0_3_load_97 | 93 | 0.0010485 | 0.00026277 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4476-16_0_3_load_75 | 94 | 0.0018452 | 0.00046245 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4476-16_0_3_load_76 | 95 | 0.00096596 | 0.00024209 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4476-16_0_3_load_77 | 96 | 0.00065709 | 0.00016468 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4476-16_0_3_load_99 | 97 | 0.0019997 | 0.00050116 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4476-16_0_3_load_90 | 98 | 0.0028839 | 0.00072277 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4476-16_0_3_load_91 | 99 | 0.0039557 | 0.00099139 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4476-16_0_3_load_93 | 100 | 0.0023214 | 0.00058179 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4476-16_0_3_load_95 | 101 | 0.0045211 | 0.0011331 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4476-16_0_3_load_100 | 102 | 0.0018896 | 0.00047359 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4476-16_0_3_load_106 | 103 | 0.0012195 | 0.00030563 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4476-16_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4476-16_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.033637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4476-16_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.036036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4476-16_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0085511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4476-16_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.050785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4476-16_0_3_line_5 | NAYY 4x150 SE | 4 | 31 | 0.012756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4476-16_0_3_line_6 | NAYY 4x150 SE | 5 | 32 | 0.0064024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4476-16_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.00089304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_4476-16_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.015443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_4476-16_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.0077097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_4476-16_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.002956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4476-16_0_3_line_11 | NAYY 4x150 SE | 8 | 11 | 0.014489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_4476-16_0_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.020059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4476-16_0_3_line_13 | NAYY 4x150 SE | 9 | 13 | 0.04671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_4476-16_0_3_line_14 | NAYY 4x150 SE | 10 | 14 | 0.058355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4476-16_0_3_line_15 | NAYY 4x150 SE | 11 | 15 | 0.0032996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_4476-16_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.0034934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_4476-16_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.01334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4476-16_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.0098392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_4476-16_0_3_line_19 | NAYY 4x150 SE | 16 | 35 | 0.022629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_4476-16_0_3_line_20 | NAYY 4x150 SE | 17 | 83 | 0.0026132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4476-16_0_3_line_21 | NAYY 4x150 SE | 18 | 95 | 0.0079268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4476-16_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.036747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4476-16_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.0019145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4476-16_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.013272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4476-16_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.029863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4476-16_0_3_line_26 | NAYY 4x150 SE | 23 | 27 | 0.012645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4476-16_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.018501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_4476-16_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.014433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_4476-16_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.0035315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4476-16_0_3_line_30 | NAYY 4x150 SE | 26 | 29 | 0.0081396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_4476-16_0_3_line_31 | NAYY 4x150 SE | 26 | 30 | 0.016361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4476-16_0_3_line_32 | NAYY 4x150 SE | 27 | 69 | 0.0046573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4476-16_0_3_line_33 | NAYY 4x150 SE | 28 | 51 | 0.019837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4476-16_0_3_line_34 | NAYY 4x150 SE | 28 | 50 | 0.014766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4476-16_0_3_line_35 | NAYY 4x150 SE | 29 | 62 | 0.014905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_4476-16_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.030518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4476-16_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.011296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4476-16_0_3_line_38 | NAYY 4x150 SE | 33 | 89 | 0.0061082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4476-16_0_3_line_39 | NAYY 4x150 SE | 34 | 103 | 0.0055521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4476-16_0_3_line_40 | NAYY 4x150 SE | 35 | 62 | 0.030558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_4476-16_0_3_line_41 | NAYY 4x150 SE | 35 | 63 | 0.03667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4476-16_0_3_line_42 | NAYY 4x150 SE | 35 | 55 | 0.014681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4476-16_0_3_line_43 | NAYY 4x150 SE | 36 | 37 | 0.027397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4476-16_0_3_line_44 | NAYY 4x150 SE | 36 | 38 | 0.011373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4476-16_0_3_line_45 | NAYY 4x150 SE | 37 | 39 | 0.004416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4476-16_0_3_line_46 | NAYY 4x150 SE | 38 | 40 | 0.052298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4476-16_0_3_line_47 | NAYY 4x150 SE | 38 | 41 | 0.018638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4476-16_0_3_line_48 | NAYY 4x150 SE | 39 | 42 | 0.014645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4476-16_0_3_line_49 | NAYY 4x150 SE | 40 | 43 | 0.032953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_4476-16_0_3_line_50 | NAYY 4x150 SE | 40 | 44 | 0.011211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4476-16_0_3_line_51 | NAYY 4x150 SE | 41 | 45 | 0.038689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4476-16_0_3_line_52 | NAYY 4x150 SE | 43 | 46 | 0.019983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_4476-16_0_3_line_53 | NAYY 4x150 SE | 44 | 47 | 0.007013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4476-16_0_3_line_54 | NAYY 4x150 SE | 45 | 48 | 0.018218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4476-16_0_3_line_55 | NAYY 4x150 SE | 45 | 49 | 0.019304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4476-16_0_3_line_56 | NAYY 4x150 SE | 46 | 70 | 0.013199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_4476-16_0_3_line_57 | NAYY 4x150 SE | 46 | 71 | 0.031909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4476-16_0_3_line_58 | NAYY 4x150 SE | 47 | 68 | 0.02502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4476-16_0_3_line_59 | NAYY 4x150 SE | 48 | 60 | 0.016889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4476-16_0_3_line_60 | NAYY 4x150 SE | 49 | 72 | 0.020618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4476-16_0_3_line_61 | NAYY 4x150 SE | 51 | 52 | 0.015662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_4476-16_0_3_line_62 | NAYY 4x150 SE | 51 | 53 | 0.03758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4476-16_0_3_line_63 | NAYY 4x150 SE | 52 | 56 | 0.027453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4476-16_0_3_line_64 | NAYY 4x150 SE | 52 | 57 | 0.014135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_4476-16_0_3_line_65 | NAYY 4x150 SE | 53 | 58 | 0.016466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4476-16_0_3_line_66 | NAYY 4x150 SE | 54 | 55 | 0.010678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4476-16_0_3_line_67 | NAYY 4x150 SE | 57 | 66 | 0.010447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_4476-16_0_3_line_68 | NAYY 4x150 SE | 58 | 65 | 0.053241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4476-16_0_3_line_69 | NAYY 4x150 SE | 59 | 60 | 0.018324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4476-16_0_3_line_70 | NAYY 4x150 SE | 59 | 61 | 0.00091323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4476-16_0_3_line_71 | NAYY 4x150 SE | 63 | 64 | 0.0045751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4476-16_0_3_line_72 | NAYY 4x150 SE | 64 | 67 | 0.051548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4476-16_0_3_line_73 | NAYY 4x150 SE | 66 | 76 | 0.024354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_4476-16_0_3_line_74 | NAYY 4x150 SE | 67 | 91 | 0.024045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4476-16_0_3_line_75 | NAYY 4x150 SE | 68 | 69 | 0.018278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4476-16_0_3_line_76 | NAYY 4x150 SE | 70 | 80 | 0.019093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_4476-16_0_3_line_77 | NAYY 4x150 SE | 72 | 73 | 0.013706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4476-16_0_3_line_78 | NAYY 4x150 SE | 73 | 74 | 0.016257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4476-16_0_3_line_79 | NAYY 4x150 SE | 73 | 75 | 0.027646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4476-16_0_3_line_80 | NAYY 4x150 SE | 76 | 77 | 0.027556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_4476-16_0_3_line_81 | NAYY 4x150 SE | 77 | 78 | 0.0083831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4476-16_0_3_line_82 | NAYY 4x150 SE | 77 | 79 | 0.011446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_4476-16_0_3_line_83 | NAYY 4x150 SE | 78 | 90 | 0.0030802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4476-16_0_3_line_84 | NAYY 4x150 SE | 79 | 80 | 0.0020376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_4476-16_0_3_line_85 | NAYY 4x150 SE | 81 | 82 | 0.02211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4476-16_0_3_line_86 | NAYY 4x150 SE | 81 | 83 | 0.022626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4476-16_0_3_line_87 | NAYY 4x150 SE | 82 | 84 | 0.048578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4476-16_0_3_line_88 | NAYY 4x150 SE | 83 | 85 | 0.065008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4476-16_0_3_line_89 | NAYY 4x150 SE | 84 | 86 | 0.025893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4476-16_0_3_line_90 | NAYY 4x150 SE | 85 | 87 | 0.010813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4476-16_0_3_line_91 | NAYY 4x150 SE | 87 | 88 | 0.014363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4476-16_0_3_line_92 | NAYY 4x150 SE | 87 | 89 | 0.021928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4476-16_0_3_line_93 | NAYY 4x150 SE | 88 | 101 | 0.026178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4476-16_0_3_line_94 | NAYY 4x150 SE | 89 | 98 | 0.019839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4476-16_0_3_line_95 | NAYY 4x150 SE | 90 | 97 | 0.014716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4476-16_0_3_line_96 | NAYY 4x150 SE | 91 | 92 | 0.035308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4476-16_0_3_line_97 | NAYY 4x150 SE | 92 | 93 | 0.019723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4476-16_0_3_line_98 | NAYY 4x150 SE | 94 | 95 | 0.0037144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4476-16_0_3_line_99 | NAYY 4x150 SE | 94 | 96 | 0.0040209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4476-16_0_3_line_100 | NAYY 4x150 SE | 97 | 102 | 0.0015315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4476-16_0_3_line_101 | NAYY 4x150 SE | 98 | 99 | 0.014612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4476-16_0_3_line_102 | NAYY 4x150 SE | 99 | 100 | 0.010526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4476-16_0_3_trafo_78 | 0.25 MVA 20/0.4 kV | 104 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2734746.6213 | 1268353.2794 | 2734747.22 | 1268355.4173 | 2734750.9032 | 1268369.9167
1 | 2734746.6213 | 1268353.2794 | 2734738.1881 | 1268320.7166
2 | 2734726.844 | 1268286.5311 | 2734730.9999 | 1268297.4363 | 2734737.9926 | 1268319.9618 | 2734738.1881 | 1268320.7166
3 | 2734726.844 | 1268286.5311 | 2734723.6921 | 1268279.4747 | 2734723.3245 | 1268278.7387
4 | 2734726.844 | 1268286.5311 | 2734718.8434 | 1268294.3117 | 2734698.4206 | 1268328.2682
5 | 2734723.3245 | 1268278.7387 | 2734717.625 | 1268267.3273
6 | 2734693.0873 | 1268328.835 | 2734694.3442 | 1268329.5537 | 2734696.4163 | 1268330.1459 | 2734697.9392 | 1268329.0685 | 2734698.4206 | 1268328.2682
7 | 2734821.855 | 1268118.4866 | 2734822.5403 | 1268117.9141
8 | 2734810.0037 | 1268128.3872 | 2734821.855 | 1268118.4866
9 | 2734828.4571 | 1268112.9712 | 2734822.5403 | 1268117.9141
10 | 2734810.0037 | 1268128.3872 | 2734807.7359 | 1268130.2832
11 | 2734810.0037 | 1268128.3872 | 2734819.1628 | 1268139.6138
12 | 2734828.4571 | 1268112.9712 | 2734843.9865 | 1268100.2745
13 | 2734828.4571 | 1268112.9712 | 2734842.4171 | 1268068.3961
14 | 2734763.0122 | 1268167.7656 | 2734779.7991 | 1268153.9227 | 2734793.001 | 1268142.6018 | 2734807.7359 | 1268130.2832
15 | 2734821.2486 | 1268142.1705 | 2734819.1628 | 1268139.6138
16 | 2734842.4171 | 1268068.3961 | 2734843.4612 | 1268065.0624
17 | 2734763.0122 | 1268167.7656 | 2734757.1607 | 1268172.5909 | 2734752.7271 | 1268176.2606
18 | 2734827.4684 | 1268149.7943 | 2734821.2486 | 1268142.1705
19 | 2734850.2241 | 1268043.4679 | 2734843.4612 | 1268065.0624
20 | 2734750.714 | 1268177.9268 | 2734752.7271 | 1268176.2606
21 | 2734832.4793 | 1268155.9364 | 2734827.4684 | 1268149.7943
22 | 2734909.9767 | 1268092.3618 | 2734909.3823 | 1268095.3346 | 2734904.5857 | 1268110.8288 | 2734893.5724 | 1268119.9417 | 2734890.6947 | 1268121.3433
23 | 2734910.352 | 1268090.4845 | 2734909.9767 | 1268092.3618
24 | 2734890.6947 | 1268121.3433 | 2734878.7625 | 1268127.155 | 2734878.7625 | 1268127.155
25 | 2734906.1679 | 1268139.0174 | 2734878.7625 | 1268127.155
26 | 2734906.1679 | 1268139.0174 | 2734917.7728 | 1268144.0406
27 | 2734912.2258 | 1268044.384 | 2734917.5674 | 1268039.9684 | 2734926.8853 | 1268033.1089
28 | 2734901.0821 | 1268053.594 | 2734912.2258 | 1268044.384
29 | 2734929.7293 | 1268031.0152 | 2734926.8853 | 1268033.1089
30 | 2734901.0821 | 1268053.594 | 2734895.0012 | 1268048.1833
31 | 2734901.0821 | 1268053.594 | 2734888.416 | 1268063.9496
32 | 2734917.7728 | 1268144.0406 | 2734922.0469 | 1268145.8907
33 | 2734945.7357 | 1268019.2361 | 2734929.7293 | 1268031.0152
34 | 2734929.7293 | 1268031.0152 | 2734920.9321 | 1268019.1555
35 | 2734880.4857 | 1268045.0126 | 2734881.9427 | 1268044.971 | 2734895.0012 | 1268048.1833
36 | 2734717.625 | 1268267.3273 | 2734713.9715 | 1268260.0122 | 2734702.0866 | 1268241.0941
37 | 2734693.0873 | 1268328.835 | 2734683.2809 | 1268323.2278
38 | 2734698.8372 | 1268235.9219 | 2734702.0866 | 1268241.0941
39 | 2734678.4611 | 1268320.4718 | 2734683.2809 | 1268323.2278
40 | 2734850.2241 | 1268043.4679 | 2734858.3291 | 1268045.6439 | 2734880.4857 | 1268045.0126
41 | 2734850.2241 | 1268043.4679 | 2734834.6351 | 1268039.286 | 2734817.2228 | 1268028.411
42 | 2734850.2241 | 1268043.4679 | 2734855.3954 | 1268029.7274
43 | 2734944.6309 | 1268212.6305 | 2734919.4559 | 1268201.8232
44 | 2734955.0821 | 1268217.1171 | 2734944.6309 | 1268212.6305
45 | 2734915.398 | 1268200.0812 | 2734919.4559 | 1268201.8232
46 | 2734978.507 | 1268170.3294 | 2734968.0374 | 1268191.2326 | 2734955.0821 | 1268217.1171
47 | 2734955.0821 | 1268217.1171 | 2734946.7619 | 1268233.7953
48 | 2734901.9404 | 1268194.304 | 2734915.398 | 1268200.0812
49 | 2734978.507 | 1268170.3294 | 2734994.3729 | 1268141.4478
50 | 2734978.507 | 1268170.3294 | 2734968.2184 | 1268165.876
51 | 2734929.4913 | 1268268.4152 | 2734946.7619 | 1268233.7953
52 | 2735003.994 | 1268123.9338 | 2734994.3729 | 1268141.4478
53 | 2734968.2184 | 1268165.876 | 2734961.7824 | 1268163.0902
54 | 2734929.4913 | 1268268.4152 | 2734913.4299 | 1268259.8182
55 | 2734929.4913 | 1268268.4152 | 2734920.2463 | 1268285.3611
56 | 2735003.994 | 1268123.9338 | 2734991.9463 | 1268118.5436
57 | 2735003.994 | 1268123.9338 | 2735016.629 | 1268101.5343 | 2735019.6706 | 1268096.1411
58 | 2734938.8208 | 1268153.1512 | 2734961.7824 | 1268163.0902
59 | 2734898.5398 | 1268251.8482 | 2734913.4299 | 1268259.8182
60 | 2734910.2863 | 1268303.4138 | 2734917.7033 | 1268290.0224 | 2734920.2463 | 1268285.3611
61 | 2734945.7357 | 1268019.2361 | 2734954.2828 | 1268032.3772
62 | 2734945.7357 | 1268019.2361 | 2734976.1115 | 1267997.1094
63 | 2734954.2828 | 1268032.3772 | 2734980.6254 | 1268024.6477
64 | 2734954.2828 | 1268032.3772 | 2734958.0525 | 1268046.0007
65 | 2734989.4208 | 1267987.4145 | 2734976.1115 | 1267997.1094
66 | 2734855.3954 | 1268029.7274 | 2734859.1566 | 1268019.7335
67 | 2734958.0525 | 1268046.0007 | 2734960.8385 | 1268056.0692
68 | 2734989.4208 | 1267987.4145 | 2734985.6628 | 1267973.9379 | 2734947.8181 | 1267984.3488
69 | 2734898.5398 | 1268251.8482 | 2734898.5398 | 1268251.8482 | 2734889.717 | 1268267.9081
70 | 2734889.2773 | 1268268.7085 | 2734889.717 | 1268267.9081
71 | 2734813.3423 | 1268025.9874 | 2734817.2228 | 1268028.411
72 | 2734775.5874 | 1267991.7181 | 2734785.5462 | 1268005.4226 | 2734806.8178 | 1268021.9125 | 2734813.3423 | 1268025.9874
73 | 2734960.8385 | 1268056.0692 | 2734962.0657 | 1268060.5042 | 2734967.7656 | 1268079.4162
74 | 2734775.5874 | 1267991.7181 | 2734766.9154 | 1267979.7842 | 2734760.3647 | 1267973.1924
75 | 2734938.8208 | 1268153.1512 | 2734922.0469 | 1268145.8907
76 | 2734991.9463 | 1268118.5436 | 2734974.5178 | 1268110.7459
77 | 2734903.6456 | 1268315.4035 | 2734910.2863 | 1268303.4138
78 | 2734903.6456 | 1268315.4035 | 2734896.005 | 1268329.7527
79 | 2734878.4526 | 1268303.8507 | 2734903.6456 | 1268315.4035
80 | 2734962.2101 | 1268105.2392 | 2734969.7714 | 1268086.0713 | 2734967.7656 | 1268079.4162
81 | 2734962.2101 | 1268105.2392 | 2734954.5572 | 1268101.8175
82 | 2734962.2101 | 1268105.2392 | 2734972.6579 | 1268109.9137
83 | 2734951.7453 | 1268100.5602 | 2734954.5572 | 1268101.8175
84 | 2734972.6579 | 1268109.9137 | 2734974.5178 | 1268110.7459
85 | 2734736.5316 | 1268160.2977 | 2734718.9589 | 1268146.879
86 | 2734750.714 | 1268177.9268 | 2734736.5316 | 1268160.2977 | 2734736.5316 | 1268160.2977
87 | 2734718.9589 | 1268146.879 | 2734704.583 | 1268135.9015 | 2734678.8192 | 1268119.5961
88 | 2734750.714 | 1268177.9268 | 2734724.0068 | 1268200.0279 | 2734706.2416 | 1268211.3783 | 2734699.4557 | 1268214.4265 | 2734697.6832 | 1268214.8462
89 | 2734678.8192 | 1268119.5961 | 2734656.94 | 1268105.7491
90 | 2734687.1613 | 1268217.3379 | 2734697.6832 | 1268214.8462
91 | 2734687.1613 | 1268217.3379 | 2734679.6093 | 1268205.1208
92 | 2734687.1613 | 1268217.3379 | 2734698.8372 | 1268235.9219
93 | 2734655.5296 | 1268195.1931 | 2734660.7076 | 1268196.9822 | 2734675.4423 | 1268202.2898 | 2734679.6093 | 1268205.1208 | 2734679.6093 | 1268205.1208
94 | 2734698.8372 | 1268235.9219 | 2734688.7062 | 1268243.3536 | 2734683.5318 | 1268248.4671
95 | 2734951.7453 | 1268100.5602 | 2734938.311 | 1268094.5536
96 | 2734732.6009 | 1267951.9805 | 2734747.1812 | 1267959.9263 | 2734760.3647 | 1267973.1924
97 | 2734732.6009 | 1267951.9805 | 2734719.7894 | 1267944.9986 | 2734715.4131 | 1267942.3177
98 | 2734834.8274 | 1268158.8145 | 2734832.4793 | 1268155.9364
99 | 2734834.8274 | 1268158.8145 | 2734837.3692 | 1268161.9301
100 | 2734936.9129 | 1268093.9285 | 2734938.311 | 1268094.5536
101 | 2734683.5318 | 1268248.4671 | 2734677.552 | 1268254.3766 | 2734676.164 | 1268257.4591 | 2734676.0996 | 1268260.2825
102 | 2734679.8128 | 1268270.1322 | 2734676.0996 | 1268260.2825

## bus_geodata
| x | y | coords
0 | 2734750.9032 | 1268369.9167
1 | 2734746.6213 | 1268353.2794
2 | 2734738.1881 | 1268320.7166
3 | 2734726.844 | 1268286.5311
4 | 2734723.3245 | 1268278.7387
5 | 2734698.4206 | 1268328.2682
6 | 2734821.855 | 1268118.4866
7 | 2734822.5403 | 1268117.9141
8 | 2734810.0037 | 1268128.3872
9 | 2734828.4571 | 1268112.9712
10 | 2734807.7359 | 1268130.2832
11 | 2734819.1628 | 1268139.6138
12 | 2734843.9865 | 1268100.2745
13 | 2734842.4171 | 1268068.3961
14 | 2734763.0122 | 1268167.7656
15 | 2734821.2486 | 1268142.1705
16 | 2734843.4612 | 1268065.0624
17 | 2734752.7271 | 1268176.2606
18 | 2734827.4684 | 1268149.7943
19 | 2734909.9767 | 1268092.3618
20 | 2734890.6947 | 1268121.3433
21 | 2734910.352 | 1268090.4845
22 | 2734878.7625 | 1268127.155
23 | 2734906.1679 | 1268139.0174
24 | 2734912.2258 | 1268044.384
25 | 2734926.8853 | 1268033.1089
26 | 2734901.0821 | 1268053.594
27 | 2734917.7728 | 1268144.0406
28 | 2734929.7293 | 1268031.0152
29 | 2734895.0012 | 1268048.1833
30 | 2734888.416 | 1268063.9496
31 | 2734717.625 | 1268267.3273
32 | 2734693.0873 | 1268328.835
33 | 2734702.0866 | 1268241.0941
34 | 2734683.2809 | 1268323.2278
35 | 2734850.2241 | 1268043.4679
36 | 2734944.6309 | 1268212.6305
37 | 2734919.4559 | 1268201.8232
38 | 2734955.0821 | 1268217.1171
39 | 2734915.398 | 1268200.0812
40 | 2734978.507 | 1268170.3294
41 | 2734946.7619 | 1268233.7953
42 | 2734901.9404 | 1268194.304
43 | 2734994.3729 | 1268141.4478
44 | 2734968.2184 | 1268165.876
45 | 2734929.4913 | 1268268.4152
46 | 2735003.994 | 1268123.9338
47 | 2734961.7824 | 1268163.0902
48 | 2734913.4299 | 1268259.8182
49 | 2734920.2463 | 1268285.3611
50 | 2734920.9321 | 1268019.1555
51 | 2734945.7357 | 1268019.2361
52 | 2734954.2828 | 1268032.3772
53 | 2734976.1115 | 1267997.1094
54 | 2734859.1566 | 1268019.7335
55 | 2734855.3954 | 1268029.7274
56 | 2734980.6254 | 1268024.6477
57 | 2734958.0525 | 1268046.0007
58 | 2734989.4208 | 1267987.4145
59 | 2734889.717 | 1268267.9081
60 | 2734898.5398 | 1268251.8482
61 | 2734889.2773 | 1268268.7085
62 | 2734880.4857 | 1268045.0126
63 | 2734817.2228 | 1268028.411
64 | 2734813.3423 | 1268025.9874
65 | 2734947.8181 | 1267984.3488
66 | 2734960.8385 | 1268056.0692
67 | 2734775.5874 | 1267991.7181
68 | 2734938.8208 | 1268153.1512
69 | 2734922.0469 | 1268145.8907
70 | 2734991.9463 | 1268118.5436
71 | 2735019.6706 | 1268096.1411
72 | 2734910.2863 | 1268303.4138
73 | 2734903.6456 | 1268315.4035
74 | 2734896.005 | 1268329.7527
75 | 2734878.4527 | 1268303.8507
76 | 2734967.7656 | 1268079.4162
77 | 2734962.2101 | 1268105.2392
78 | 2734954.5572 | 1268101.8175
79 | 2734972.6579 | 1268109.9137
80 | 2734974.5178 | 1268110.7459
81 | 2734736.5316 | 1268160.2977
82 | 2734718.9589 | 1268146.879
83 | 2734750.714 | 1268177.9268
84 | 2734678.8192 | 1268119.5961
85 | 2734697.6832 | 1268214.8462
86 | 2734656.94 | 1268105.7491
87 | 2734687.1613 | 1268217.3379
88 | 2734679.6093 | 1268205.1208
89 | 2734698.8372 | 1268235.9219
90 | 2734951.7453 | 1268100.5602
91 | 2734760.3647 | 1267973.1924
92 | 2734732.6009 | 1267951.9805
93 | 2734715.4131 | 1267942.3177
94 | 2734834.8274 | 1268158.8145
95 | 2734832.4793 | 1268155.9364
96 | 2734837.3692 | 1268161.9301
97 | 2734938.311 | 1268094.5536
98 | 2734683.5318 | 1268248.4671
99 | 2734676.0996 | 1268260.2825
100 | 2734679.8128 | 1268270.1322
101 | 2734655.5296 | 1268195.1931
102 | 2734936.9129 | 1268093.9285
103 | 2734678.4611 | 1268320.4718
104 | 2734827.4684 | 1268149.7943

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1