## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4486-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4486-2_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4486-2_0_2_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_4486-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4486-2_0_2_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_4486-2_0_2_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_4486-2_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4486-2_0_2_node_154 | 0.4 | n |  | TRUE
8 | bus_LV_4486-2_0_2_node_153 | 0.4 | n |  | TRUE
9 | bus_LV_4486-2_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4486-2_0_2_node_144 | 0.4 | n |  | TRUE
11 | bus_LV_4486-2_0_2_node_143 | 0.4 | n |  | TRUE
12 | bus_LV_4486-2_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4486-2_0_2_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_4486-2_0_2_node_145 | 0.4 | n |  | TRUE
15 | bus_LV_4486-2_0_2_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4486-2_0_2_node_142 | 0.4 | n |  | TRUE
17 | bus_LV_4486-2_0_2_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4486-2_0_2_node_152 | 0.4 | n |  | TRUE
19 | bus_LV_4486-2_0_2_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_4486-2_0_2_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_4486-2_0_2_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_4486-2_0_2_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_4486-2_0_2_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_4486-2_0_2_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_4486-2_0_2_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_4486-2_0_2_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_4486-2_0_2_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_4486-2_0_2_node_137 | 0.4 | n |  | TRUE
29 | bus_LV_4486-2_0_2_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_4486-2_0_2_node_182 | 0.4 | n |  | TRUE
31 | bus_LV_4486-2_0_2_node_139 | 0.4 | n |  | TRUE
32 | bus_LV_4486-2_0_2_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_4486-2_0_2_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_4486-2_0_2_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_4486-2_0_2_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_4486-2_0_2_node_170 | 0.4 | n |  | TRUE
37 | bus_LV_4486-2_0_2_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_4486-2_0_2_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_4486-2_0_2_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_4486-2_0_2_node_181 | 0.4 | n |  | TRUE
41 | bus_LV_4486-2_0_2_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_4486-2_0_2_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_4486-2_0_2_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_4486-2_0_2_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_4486-2_0_2_node_93 | 0.4 | n |  | TRUE
46 | bus_LV_4486-2_0_2_node_94 | 0.4 | n |  | TRUE
47 | bus_LV_4486-2_0_2_node_134 | 0.4 | n |  | TRUE
48 | bus_LV_4486-2_0_2_node_135 | 0.4 | n |  | TRUE
49 | bus_LV_4486-2_0_2_node_136 | 0.4 | n |  | TRUE
50 | bus_LV_4486-2_0_2_node_138 | 0.4 | n |  | TRUE
51 | bus_LV_4486-2_0_2_node_140 | 0.4 | n |  | TRUE
52 | bus_LV_4486-2_0_2_node_148 | 0.4 | n |  | TRUE
53 | bus_LV_4486-2_0_2_node_146 | 0.4 | n |  | TRUE
54 | bus_LV_4486-2_0_2_node_141 | 0.4 | n |  | TRUE
55 | bus_LV_4486-2_0_2_node_147 | 0.4 | n |  | TRUE
56 | bus_LV_4486-2_0_2_node_149 | 0.4 | n |  | TRUE
57 | bus_LV_4486-2_0_2_node_150 | 0.4 | n |  | TRUE
58 | bus_LV_4486-2_0_2_node_151 | 0.4 | n |  | TRUE
59 | bus_LV_4486-2_0_2_node_155 | 0.4 | n |  | TRUE
60 | bus_LV_4486-2_0_2_node_159 | 0.4 | n |  | TRUE
61 | bus_LV_4486-2_0_2_node_166 | 0.4 | n |  | TRUE
62 | bus_LV_4486-2_0_2_node_156 | 0.4 | n |  | TRUE
63 | bus_LV_4486-2_0_2_node_157 | 0.4 | n |  | TRUE
64 | bus_LV_4486-2_0_2_node_158 | 0.4 | n |  | TRUE
65 | bus_LV_4486-2_0_2_node_169 | 0.4 | n |  | TRUE
66 | bus_LV_4486-2_0_2_node_160 | 0.4 | n |  | TRUE
67 | bus_LV_4486-2_0_2_node_161 | 0.4 | n |  | TRUE
68 | bus_LV_4486-2_0_2_node_162 | 0.4 | n |  | TRUE
69 | bus_LV_4486-2_0_2_node_163 | 0.4 | n |  | TRUE
70 | bus_LV_4486-2_0_2_node_164 | 0.4 | n |  | TRUE
71 | bus_LV_4486-2_0_2_node_165 | 0.4 | n |  | TRUE
72 | bus_LV_4486-2_0_2_node_167 | 0.4 | n |  | TRUE
73 | bus_LV_4486-2_0_2_node_168 | 0.4 | n |  | TRUE
74 | bus_LV_4486-2_0_2_node_177 | 0.4 | n |  | TRUE
75 | bus_LV_4486-2_0_2_node_171 | 0.4 | n |  | TRUE
76 | bus_LV_4486-2_0_2_node_172 | 0.4 | n |  | TRUE
77 | bus_LV_4486-2_0_2_node_173 | 0.4 | n |  | TRUE
78 | bus_LV_4486-2_0_2_node_174 | 0.4 | n |  | TRUE
79 | bus_LV_4486-2_0_2_node_175 | 0.4 | n |  | TRUE
80 | bus_LV_4486-2_0_2_node_178 | 0.4 | n |  | TRUE
81 | bus_LV_4486-2_0_2_node_176 | 0.4 | n |  | TRUE
82 | bus_LV_4486-2_0_2_node_179 | 0.4 | n |  | TRUE
83 | bus_MV_414_0_node_88 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4486-2_0_2_load_0 | 0 | 0.00066405 | 0.00016643 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4486-2_0_2_load_9 | 2 | 0.00090587 | 0.00022703 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4486-2_0_2_load_47 | 5 | 0.00010334 | 2.5898e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4486-2_0_2_load_154 | 7 | 0.00049698 | 0.00012456 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4486-2_0_2_load_153 | 8 | 0.0073405 | 0.0018397 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4486-2_0_2_load_144 | 10 | 0.00072872 | 0.00018264 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4486-2_0_2_load_143 | 11 | 0.00044167 | 0.00011069 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4486-2_0_2_load_145 | 14 | 0.00017187 | 4.3075e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4486-2_0_2_load_142 | 16 | 0.0002916 | 7.3083e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4486-2_0_2_load_152 | 18 | 0.0067638 | 0.0016952 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4486-2_0_2_load_57 | 19 | 7.5296e-05 | 1.8871e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4486-2_0_2_load_37 | 20 | 0.0017734 | 0.00044446 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4486-2_0_2_load_40 | 23 | 0.00053823 | 0.00013489 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4486-2_0_2_load_41 | 24 | 0.00024603 | 6.166e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4486-2_0_2_load_42 | 25 | 0.00071638 | 0.00017954 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4486-2_0_2_load_60 | 27 | 0.00027215 | 6.8207e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4486-2_0_2_load_74 | 29 | 0.00026586 | 6.6631e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4486-2_0_2_load_182 | 30 | 0.00069751 | 0.00017481 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4486-2_0_2_load_48 | 32 | 0.00044039 | 0.00011037 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4486-2_0_2_load_95 | 35 | 0.0043676 | 0.0010946 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4486-2_0_2_load_170 | 36 | 0.0030163 | 0.00075595 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4486-2_0_2_load_55 | 39 | 0.00052305 | 0.00013109 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4486-2_0_2_load_181 | 40 | 0.00029098 | 7.2926e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4486-2_0_2_load_54 | 41 | 0.00026609 | 6.669e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4486-2_0_2_load_56 | 42 | 0.00043166 | 0.00010818 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4486-2_0_2_load_61 | 43 | 0.00064675 | 0.00016209 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4486-2_0_2_load_92 | 44 | 0.0029789 | 0.00074659 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4486-2_0_2_load_94 | 46 | 0.00091596 | 0.00022956 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4486-2_0_2_load_134 | 47 | 0.000385 | 9.649e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4486-2_0_2_load_136 | 49 | 0.00041078 | 0.00010295 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4486-2_0_2_load_138 | 50 | 0.00025641 | 6.4263e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4486-2_0_2_load_140 | 51 | 0.00034137 | 8.5556e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4486-2_0_2_load_148 | 52 | 0.00017567 | 4.4028e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4486-2_0_2_load_146 | 53 | 0.00028799 | 7.2176e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4486-2_0_2_load_141 | 54 | 0.00073254 | 0.00018359 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4486-2_0_2_load_149 | 56 | 0.0021527 | 0.00053952 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4486-2_0_2_load_150 | 57 | 0.002428 | 0.00060852 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4486-2_0_2_load_151 | 58 | 0.0038192 | 0.00095719 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4486-2_0_2_load_155 | 59 | 0.0011329 | 0.00028392 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4486-2_0_2_load_159 | 60 | 0.0022118 | 0.00055434 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4486-2_0_2_load_156 | 62 | 0.00079769 | 0.00019992 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4486-2_0_2_load_157 | 63 | 0.0022153 | 0.0005552 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4486-2_0_2_load_158 | 64 | 0.0022248 | 0.00055758 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4486-2_0_2_load_160 | 66 | 0.0045118 | 0.0011308 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4486-2_0_2_load_161 | 67 | 0.0023655 | 0.00059285 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4486-2_0_2_load_162 | 68 | 0.0014883 | 0.000373 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4486-2_0_2_load_163 | 69 | 0.0020645 | 0.00051742 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4486-2_0_2_load_164 | 70 | 0.0016105 | 0.00040363 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4486-2_0_2_load_165 | 71 | 0.0020971 | 0.00052559 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4486-2_0_2_load_167 | 72 | 0.0012379 | 0.00031024 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4486-2_0_2_load_168 | 73 | 0.0012995 | 0.00032568 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4486-2_0_2_load_177 | 74 | 0.0030108 | 0.00075459 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4486-2_0_2_load_171 | 75 | 0.0024584 | 0.00061612 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4486-2_0_2_load_172 | 76 | 0.0012994 | 0.00032566 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4486-2_0_2_load_173 | 77 | 0.0012402 | 0.00031083 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4486-2_0_2_load_174 | 78 | 0.002547 | 0.00063834 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4486-2_0_2_load_175 | 79 | 0.0013737 | 0.00034429 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4486-2_0_2_load_178 | 80 | 0.00085127 | 0.00021335 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4486-2_0_2_load_176 | 81 | 0.0038385 | 0.00096202 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4486-2_0_2_load_179 | 82 | 0.0012965 | 0.00032494 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4486-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.041353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4486-2_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.063447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4486-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.35234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4486-2_0_2_line_3 | NAYY 4x150 SE | 2 | 19 | 0.02567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4486-2_0_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.45706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4486-2_0_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.016364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4486-2_0_2_line_6 | NAYY 4x150 SE | 4 | 36 | 0.033003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4486-2_0_2_line_7 | NAYY 4x150 SE | 4 | 33 | 0.1578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4486-2_0_2_line_8 | NAYY 4x150 SE | 5 | 32 | 0.014259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4486-2_0_2_line_9 | NAYY 4x150 SE | 6 | 7 | 0.065929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4486-2_0_2_line_10 | NAYY 4x150 SE | 6 | 8 | 0.054625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4486-2_0_2_line_11 | NAYY 4x150 SE | 7 | 61 | 0.014575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4486-2_0_2_line_12 | NAYY 4x150 SE | 8 | 17 | 0.030438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4486-2_0_2_line_13 | NAYY 4x150 SE | 9 | 10 | 0.01165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4486-2_0_2_line_14 | NAYY 4x150 SE | 9 | 11 | 0.014257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4486-2_0_2_line_15 | NAYY 4x150 SE | 10 | 14 | 0.0089749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4486-2_0_2_line_16 | NAYY 4x150 SE | 11 | 15 | 0.034992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4486-2_0_2_line_17 | NAYY 4x150 SE | 12 | 13 | 0.039403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4486-2_0_2_line_18 | NAYY 4x150 SE | 12 | 14 | 0.010288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4486-2_0_2_line_19 | NAYY 4x150 SE | 13 | 30 | 0.039117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4486-2_0_2_line_20 | NAYY 4x150 SE | 13 | 31 | 0.058121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4486-2_0_2_line_21 | NAYY 4x150 SE | 15 | 16 | 0.012516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4486-2_0_2_line_22 | NAYY 4x150 SE | 16 | 54 | 0.0068375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4486-2_0_2_line_23 | NAYY 4x150 SE | 17 | 18 | 0.0032081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4486-2_0_2_line_24 | NAYY 4x150 SE | 18 | 58 | 0.027412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4486-2_0_2_line_25 | NAYY 4x150 SE | 19 | 37 | 0.024638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4486-2_0_2_line_26 | NAYY 4x150 SE | 20 | 21 | 0.037603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4486-2_0_2_line_27 | NAYY 4x150 SE | 20 | 22 | 0.12149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4486-2_0_2_line_28 | NAYY 4x150 SE | 21 | 23 | 0.021833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4486-2_0_2_line_29 | NAYY 4x150 SE | 21 | 24 | 0.06229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4486-2_0_2_line_30 | NAYY 4x150 SE | 22 | 25 | 0.022714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4486-2_0_2_line_31 | NAYY 4x150 SE | 22 | 26 | 0.16672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4486-2_0_2_line_32 | NAYY 4x150 SE | 24 | 27 | 0.0033699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4486-2_0_2_line_33 | NAYY 4x150 SE | 25 | 28 | 0.0011787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4486-2_0_2_line_34 | NAYY 4x150 SE | 26 | 29 | 0.052831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4486-2_0_2_line_35 | NAYY 4x150 SE | 27 | 43 | 0.021284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4486-2_0_2_line_36 | NAYY 4x150 SE | 28 | 31 | 0.050397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4486-2_0_2_line_37 | NAYY 4x150 SE | 28 | 48 | 0.003279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4486-2_0_2_line_38 | NAYY 4x150 SE | 31 | 52 | 0.033733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4486-2_0_2_line_39 | NAYY 4x150 SE | 31 | 53 | 0.014429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4486-2_0_2_line_40 | NAYY 4x150 SE | 33 | 34 | 0.007294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4486-2_0_2_line_41 | NAYY 4x150 SE | 34 | 35 | 0.033245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4486-2_0_2_line_42 | NAYY 4x150 SE | 35 | 46 | 0.0087899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4486-2_0_2_line_43 | NAYY 4x150 SE | 36 | 75 | 0.048515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4486-2_0_2_line_44 | NAYY 4x150 SE | 37 | 38 | 0.12732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4486-2_0_2_line_45 | NAYY 4x150 SE | 37 | 39 | 0.021333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4486-2_0_2_line_46 | NAYY 4x150 SE | 38 | 40 | 0.015996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4486-2_0_2_line_47 | NAYY 4x150 SE | 39 | 41 | 0.0097713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4486-2_0_2_line_48 | NAYY 4x150 SE | 41 | 42 | 0.010247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4486-2_0_2_line_49 | NAYY 4x150 SE | 44 | 45 | 0.20004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4486-2_0_2_line_50 | NAYY 4x150 SE | 45 | 46 | 0.049891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4486-2_0_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.024092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4486-2_0_2_line_52 | NAYY 4x150 SE | 47 | 49 | 0.009666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4486-2_0_2_line_53 | NAYY 4x150 SE | 48 | 50 | 0.011742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4486-2_0_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.017105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4486-2_0_2_line_55 | NAYY 4x150 SE | 52 | 58 | 0.0074611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4486-2_0_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.019846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4486-2_0_2_line_57 | NAYY 4x150 SE | 55 | 57 | 0.018647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4486-2_0_2_line_58 | NAYY 4x150 SE | 56 | 59 | 0.045844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4486-2_0_2_line_59 | NAYY 4x150 SE | 57 | 60 | 0.016376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4486-2_0_2_line_60 | NAYY 4x150 SE | 59 | 62 | 0.018651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4486-2_0_2_line_61 | NAYY 4x150 SE | 60 | 66 | 0.011247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4486-2_0_2_line_62 | NAYY 4x150 SE | 61 | 72 | 0.014296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4486-2_0_2_line_63 | NAYY 4x150 SE | 61 | 71 | 0.026648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4486-2_0_2_line_64 | NAYY 4x150 SE | 62 | 63 | 0.025441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4486-2_0_2_line_65 | NAYY 4x150 SE | 63 | 64 | 0.054702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4486-2_0_2_line_66 | NAYY 4x150 SE | 64 | 65 | 0.015532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4486-2_0_2_line_67 | NAYY 4x150 SE | 65 | 74 | 0.018521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4486-2_0_2_line_68 | NAYY 4x150 SE | 66 | 67 | 0.0057879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4486-2_0_2_line_69 | NAYY 4x150 SE | 67 | 68 | 0.027204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4486-2_0_2_line_70 | NAYY 4x150 SE | 68 | 69 | 0.00028913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4486-2_0_2_line_71 | NAYY 4x150 SE | 69 | 70 | 0.018679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4486-2_0_2_line_72 | NAYY 4x150 SE | 70 | 71 | 5.6349e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4486-2_0_2_line_73 | NAYY 4x150 SE | 72 | 73 | 0.019553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4486-2_0_2_line_74 | NAYY 4x150 SE | 74 | 81 | 0.005272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4486-2_0_2_line_75 | NAYY 4x150 SE | 75 | 76 | 0.0057913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4486-2_0_2_line_76 | NAYY 4x150 SE | 76 | 77 | 0.040281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4486-2_0_2_line_77 | NAYY 4x150 SE | 77 | 78 | 0.005103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4486-2_0_2_line_78 | NAYY 4x150 SE | 78 | 79 | 0.019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4486-2_0_2_line_79 | NAYY 4x150 SE | 79 | 80 | 0.011371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4486-2_0_2_line_80 | NAYY 4x150 SE | 80 | 82 | 0.007298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4486-2_0_2_line_81 | NAYY 4x150 SE | 80 | 81 | 0.017969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4486-2_0_2_trafo_157 | 0.25 MVA 20/0.4 kV | 83 | 63 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2740092.7779 | 1260915.3658 | 2740092.0772 | 1260919.1639 | 2740091.6529 | 1260921.8009 | 2740092.2301 | 1260924.4838 | 2740093.4375 | 1260929.2057 | 2740094.7156 | 1260934.7635 | 2740095.8381 | 1260941.7968 | 2740096.7749 | 1260946.1676 | 2740097.694 | 1260950.0153 | 2740100.082 | 1260951.6846 | 2740103.1158 | 1260951.5563
1 | 2740092.7779 | 1260915.3658 | 2740063.5509 | 1260905.4088 | 2740032.4448 | 1260895.7535
2 | 2740092.7779 | 1260915.3658 | 2740087.0278 | 1260921.3131 | 2740063.2048 | 1260936.8751 | 2740050.0831 | 1260951.6675 | 2740044.9084 | 1260961.332 | 2740040.3834 | 1260978.2633 | 2740037.6165 | 1261004.6786 | 2740034.6041 | 1261039.8631 | 2740031.5302 | 1261063.6464 | 2740025.6013 | 1261084.4705 | 2740014.1681 | 1261114.562 | 2739999.0707 | 1261156.1333 | 2739997.525 | 1261163.7818 | 2739998.101 | 1261168.7447 | 2739928.5776 | 1261181.1785
3 | 2740032.4448 | 1260895.7535 | 2740019.7163 | 1260891.8027 | 2740007.9752 | 1260887.9983
4 | 2739928.5776 | 1261181.1785 | 2739913.3283 | 1261183.9761 | 2739900.2844 | 1261185.3244 | 2739884.9154 | 1261185.8504 | 2739869.8352 | 1261185.3267 | 2739856.8063 | 1261184.1287 | 2739859.2552 | 1261188.3239 | 2739864.3026 | 1261192.614 | 2739873.8607 | 1261199.6689 | 2739901.6249 | 1261221.6909 | 2739908.8278 | 1261227.6002 | 2739912.966 | 1261233.0366 | 2739915.2204 | 1261238.4395 | 2739915.5828 | 1261243.831 | 2739914.9792 | 1261252.7697 | 2739913.8542 | 1261259.8499 | 2739918.0714 | 1261261.6291 | 2740055.8035 | 1261302.3493 | 2740057.819 | 1261306.0561 | 2740057.6594 | 1261311.8356 | 2740056.4476 | 1261320.0259 | 2740047.0221 | 1261337.6196 | 2740040.9855 | 1261353.7699 | 2740045.5133 | 1261353.8883 | 2740069.0813 | 1261352.8341 | 2740114.5789 | 1261375.3219
5 | 2739928.5776 | 1261181.1785 | 2739930.2875 | 1261187.2914 | 2739931.6021 | 1261192.5831 | 2739932.7793 | 1261196.993
6 | 2740114.5789 | 1261375.3219 | 2740138.9965 | 1261365.4575 | 2740145.2782 | 1261363.2201
7 | 2740046.0215 | 1261500.7409 | 2740074.8156 | 1261388.5708 | 2740081.1298 | 1261387.4303 | 2740114.5789 | 1261375.3219
8 | 2739924.6247 | 1261205.1746 | 2739929.6993 | 1261204.494 | 2739932.3302 | 1261202.5877 | 2739933.3842 | 1261200.4217 | 2739932.7793 | 1261196.993
9 | 2740417.1202 | 1261233.6592 | 2740413.8919 | 1261238.1758 | 2740406.0586 | 1261249.6231 | 2740404.8959 | 1261254.4557 | 2740401.003 | 1261259.0232 | 2740395.1828 | 1261264.1122 | 2740393.2514 | 1261271.4734 | 2740386.0761 | 1261280.6119 | 2740382.0446 | 1261285.621 | 2740380.607 | 1261287.2115
10 | 2740417.1202 | 1261233.6592 | 2740462.0213 | 1261264.7677
11 | 2740371.2626 | 1261298.3885 | 2740376.927 | 1261291.2828 | 2740380.607 | 1261287.2115
12 | 2740487.0132 | 1261282.1427 | 2740483.1135 | 1261279.3808 | 2740462.0213 | 1261264.7677
13 | 2740590.5994 | 1261300.977 | 2740601.1893 | 1261305.8317
14 | 2740590.5994 | 1261300.977 | 2740584.2977 | 1261298.4137 | 2740577.5447 | 1261295.2589
15 | 2740609.4713 | 1261309.2603 | 2740606.4388 | 1261308.2382 | 2740601.1893 | 1261305.8317
16 | 2740545.7833 | 1261280.626 | 2740562.0855 | 1261287.4532 | 2740576.9984 | 1261295.0037 | 2740577.5447 | 1261295.2589
17 | 2740590.0963 | 1261333.8521 | 2740600.7816 | 1261333.4056 | 2740606.1433 | 1261328.584 | 2740612.7303 | 1261323.9027 | 2740616.8838 | 1261319.1636 | 2740619.0085 | 1261314.7765 | 2740619.2199 | 1261312.5461
18 | 2740619.2199 | 1261312.5461 | 2740609.4713 | 1261309.2603
19 | 2740590.0963 | 1261333.8521 | 2740587.9398 | 1261345.9125 | 2740584.5638 | 1261351.8824 | 2740579.994 | 1261357.0121 | 2740574.5139 | 1261362.0645 | 2740569.3014 | 1261364.4206
20 | 2740532.4234 | 1261336.4844 | 2740535.6946 | 1261334.6048 | 2740540.5803 | 1261333.9424 | 2740548.0316 | 1261334.7647 | 2740565.0339 | 1261334.9688 | 2740585.6743 | 1261334.0361 | 2740590.0963 | 1261333.8521
21 | 2740545.7833 | 1261280.626 | 2740541.5615 | 1261292.4085
22 | 2740539.2552 | 1261298.8453 | 2740541.5615 | 1261292.4085
23 | 2740487.0132 | 1261282.1427 | 2740489.5773 | 1261284.0707
24 | 2740510.0241 | 1261302.1982 | 2740501.7618 | 1261293.4371 | 2740494.6047 | 1261287.8507 | 2740489.5773 | 1261284.0707
25 | 2739984.5371 | 1260880.4038 | 2740007.9752 | 1260887.9983
26 | 2740666.9186 | 1261508.8684 | 2740662.564 | 1261500.5235 | 2740655.4792 | 1261490.0116 | 2740643.7438 | 1261479.8651
27 | 2740546.951 | 1261409.0547 | 2740550.4443 | 1261408.615 | 2740557.5585 | 1261410.6082 | 2740572.4382 | 1261421.7613 | 2740592.7275 | 1261438.4261 | 2740614.0955 | 1261456.0063 | 2740636.5772 | 1261473.6688 | 2740643.7438 | 1261479.8651
28 | 2740666.9186 | 1261508.8684 | 2740682.3137 | 1261493.3866
29 | 2740666.9186 | 1261508.8684 | 2740676.8938 | 1261529.0583 | 2740689.3072 | 1261552.2758 | 2740697.3129 | 1261563.0745
30 | 2740546.951 | 1261409.0547 | 2740546.0424 | 1261400.9809 | 2740544.1893 | 1261386.5097
31 | 2740546.951 | 1261409.0547 | 2740553.1569 | 1261464.1438 | 2740560.9198 | 1261535.8526 | 2740563.6843 | 1261558.7625 | 2740565.3544 | 1261574.7508
32 | 2740697.3129 | 1261563.0745 | 2740699.3199 | 1261565.7816
33 | 2740544.0396 | 1261385.3405 | 2740544.1893 | 1261386.5097
34 | 2740565.3544 | 1261574.7508 | 2740572.4285 | 1261578.4224 | 2740596.4531 | 1261599.0242 | 2740606.301 | 1261607.8323
35 | 2740713.3415 | 1261581.7844 | 2740700.504 | 1261567.3788 | 2740699.3199 | 1261565.7816
36 | 2740532.4234 | 1261336.4844 | 2740536.8829 | 1261348.3573 | 2740538.8744 | 1261355.2779 | 2740541.1199 | 1261365.4632 | 2740544.0396 | 1261385.3405
37 | 2740540.7931 | 1261385.8639 | 2740544.0396 | 1261385.3405
38 | 2740532.4234 | 1261336.4844 | 2740529.5008 | 1261330.0421 | 2740525.4435 | 1261322.4941 | 2740515.2698 | 1261307.7605 | 2740515.1432 | 1261307.6262
39 | 2740532.4234 | 1261336.4844 | 2740529.4145 | 1261338.4259 | 2740520.4043 | 1261344.4667
40 | 2740046.0215 | 1261500.7409 | 2740041.528 | 1261506.4956
41 | 2740041.528 | 1261506.4956 | 2740045.2605 | 1261517.272 | 2740046.0909 | 1261527.4014 | 2740046.7767 | 1261539.058
42 | 2740046.4421 | 1261547.833 | 2740046.8647 | 1261540.5545 | 2740046.7767 | 1261539.058
43 | 2740145.2782 | 1261363.2201 | 2740149.5948 | 1261361.6827 | 2740154.636 | 1261357.3202 | 2740156.66 | 1261351.7628 | 2740157.5654 | 1261345.6896 | 2740158.9847 | 1261342.7426 | 2740161.8344 | 1261340.1965 | 2740165.0019 | 1261339.5043 | 2740168.9474 | 1261339.3865 | 2740179.574 | 1261340.4616 | 2740179.8222 | 1261340.4731
44 | 2739984.5371 | 1260880.4038 | 2739952.1604 | 1260867.4922 | 2739933.331 | 1260862.5643 | 2739919.5363 | 1260863.1164 | 2739905.8945 | 1260864.851 | 2739897.9285 | 1260865.3631 | 2739889.4556 | 1260864.9958 | 2739879.2442 | 1260861.9515 | 2739867.1435 | 1260860.0525 | 2739861.1149 | 1260859.2981
45 | 2739984.5371 | 1260880.4038 | 2739980.8762 | 1260887.5907 | 2739979.5818 | 1260890.9967 | 2739976.0553 | 1260894.739 | 2739972.3613 | 1260897.2763
46 | 2739861.1149 | 1260859.2981 | 2739873.1071 | 1260869.9251
47 | 2739964.7362 | 1260903.1348 | 2739967.4422 | 1260899.9736 | 2739972.3613 | 1260897.2763
48 | 2739962.6816 | 1260913.1736 | 2739963.4543 | 1260909.5106 | 2739964.7362 | 1260903.1348 | 2739964.7362 | 1260903.1348
49 | 2740030.1942 | 1261594.1445 | 2740029.4114 | 1261603.9576 | 2740030.3428 | 1261614.2784 | 2740035.0105 | 1261623.4421 | 2740042.5042 | 1261631.683 | 2740050.0384 | 1261637.9006 | 2740061.848 | 1261646.2882 | 2740072.2693 | 1261655.3659 | 2740080.2998 | 1261665.4435 | 2740087.4578 | 1261678.3031 | 2740095.2699 | 1261693.7807 | 2740104.5173 | 1261708.169 | 2740113.284 | 1261717.3966 | 2740126.5443 | 1261726.5861 | 2740138.6415 | 1261731.7332 | 2740148.8327 | 1261734.6107 | 2740154.3277 | 1261736.1038
50 | 2740030.1942 | 1261594.1445 | 2740040.843 | 1261574.8559 | 2740044.8402 | 1261564.5962 | 2740046.0624 | 1261554.3709 | 2740046.4421 | 1261547.833
51 | 2740540.7931 | 1261385.8639 | 2740537.6236 | 1261384.4206 | 2740534.9885 | 1261380.7878 | 2740535.371 | 1261376.7486 | 2740535.4149 | 1261373.6355 | 2740534.8098 | 1261372.4534 | 2740533.7589 | 1261371.6276 | 2740531.6328 | 1261371.3212 | 2740527.4951 | 1261371.2785
52 | 2740518.1356 | 1261373.6696 | 2740520.3725 | 1261373.1222 | 2740524.8589 | 1261371.8164 | 2740527.4951 | 1261371.2785
53 | 2740540.7931 | 1261385.8639 | 2740536.0288 | 1261389.0315 | 2740532.2 | 1261393.6775
54 | 2740532.2 | 1261393.6775 | 2740530.6261 | 1261395.5873 | 2740523.0071 | 1261408.0767
55 | 2740510.0241 | 1261302.1982 | 2740515.1432 | 1261307.6262
56 | 2740461.5531 | 1261384.047 | 2740445.0634 | 1261395.0893
57 | 2740461.5531 | 1261384.047 | 2740449.0905 | 1261370.1761
58 | 2740403.7148 | 1261404.8832 | 2740404.5097 | 1261405.2688 | 2740410.6228 | 1261408.15 | 2740413.6664 | 1261408.8673 | 2740417.2885 | 1261409.3538 | 2740420.912 | 1261408.5056 | 2740425.9299 | 1261406.4005 | 2740433.3995 | 1261402.6409 | 2740443.5893 | 1261396.0765 | 2740445.0634 | 1261395.0893
59 | 2740438.1432 | 1261357.9976 | 2740438.8958 | 1261358.8293 | 2740449.0905 | 1261370.1761
60 | 2740403.7148 | 1261404.8832 | 2740392.6226 | 1261399.5034 | 2740387.059 | 1261396.4997
61 | 2740430.5971 | 1261349.6583 | 2740438.1432 | 1261357.9976
62 | 2740371.2626 | 1261298.3885 | 2740364.5191 | 1261302.6771 | 2740360.3659 | 1261307.4164 | 2740360.3635 | 1261307.4172
63 | 2740371.2626 | 1261298.3885 | 2740387.3974 | 1261309.0928 | 2740392.8174 | 1261313.9616
64 | 2740364.6719 | 1261384.4133 | 2740387.059 | 1261396.4997
65 | 2740316.9595 | 1261357.6919 | 2740324.3086 | 1261361.3906 | 2740350.3233 | 1261376.6667 | 2740364.6719 | 1261384.4133
66 | 2740302.138 | 1261353.1124 | 2740305.5017 | 1261354.0041 | 2740315.9129 | 1261357.1652 | 2740316.9595 | 1261357.6919
67 | 2740302.138 | 1261353.1124 | 2740297.4329 | 1261351.8885 | 2740288.191 | 1261349.645 | 2740284.1381 | 1261348.7585
68 | 2740430.5971 | 1261349.6583 | 2740426.7136 | 1261345.3666
69 | 2740426.7136 | 1261345.3666 | 2740423.6534 | 1261341.9847 | 2740406.9507 | 1261326.6966
70 | 2740406.7375 | 1261326.5014 | 2740406.9507 | 1261326.6966
71 | 2740406.7375 | 1261326.5014 | 2740404.6545 | 1261324.5949 | 2740392.8593 | 1261313.9992
72 | 2740392.8174 | 1261313.9616 | 2740392.8593 | 1261313.9992
73 | 2740341.4002 | 1261311.4759 | 2740343.3048 | 1261310.637 | 2740349.3795 | 1261310.3809 | 2740355.8823 | 1261308.9226 | 2740360.3635 | 1261307.4172
74 | 2740278.9879 | 1261347.6321 | 2740284.1381 | 1261348.7585
75 | 2740179.8222 | 1261340.4731 | 2740185.6072 | 1261340.7429
76 | 2740225.844 | 1261342.6193 | 2740185.6072 | 1261340.7429
77 | 2740225.844 | 1261342.6193 | 2740230.9415 | 1261342.857
78 | 2740230.9415 | 1261342.857 | 2740242.6777 | 1261343.4044 | 2740249.9226 | 1261343.7097
79 | 2740261.233 | 1261344.879 | 2740249.9226 | 1261343.7097
80 | 2740261.233 | 1261344.879 | 2740260.4502 | 1261352.134
81 | 2740261.233 | 1261344.879 | 2740278.2089 | 1261347.4617 | 2740278.9879 | 1261347.6321

## bus_geodata
| x | y | coords
0 | 2740103.1158 | 1260951.5563
1 | 2740092.7779 | 1260915.3658
2 | 2740032.4448 | 1260895.7535
3 | 2739928.5776 | 1261181.1785
4 | 2740114.5789 | 1261375.3219
5 | 2739932.7793 | 1261196.993
6 | 2740417.1202 | 1261233.6592
7 | 2740380.607 | 1261287.2115
8 | 2740462.0213 | 1261264.7677
9 | 2740590.5994 | 1261300.977
10 | 2740601.1893 | 1261305.8317
11 | 2740577.5447 | 1261295.2589
12 | 2740619.2199 | 1261312.5461
13 | 2740590.0963 | 1261333.8521
14 | 2740609.4713 | 1261309.2603
15 | 2740545.7833 | 1261280.626
16 | 2740541.5615 | 1261292.4085
17 | 2740487.0132 | 1261282.1427
18 | 2740489.5773 | 1261284.0707
19 | 2740007.9752 | 1260887.9983
20 | 2740643.7438 | 1261479.8651
21 | 2740666.9186 | 1261508.8684
22 | 2740546.951 | 1261409.0547
23 | 2740682.3137 | 1261493.3866
24 | 2740697.3129 | 1261563.0745
25 | 2740544.1893 | 1261386.5097
26 | 2740565.3544 | 1261574.7508
27 | 2740699.3199 | 1261565.7816
28 | 2740544.0396 | 1261385.3405
29 | 2740606.301 | 1261607.8323
30 | 2740569.3014 | 1261364.4206
31 | 2740532.4234 | 1261336.4844
32 | 2739924.6247 | 1261205.1746
33 | 2740046.0215 | 1261500.7409
34 | 2740041.528 | 1261506.4956
35 | 2740046.7767 | 1261539.058
36 | 2740145.2782 | 1261363.2201
37 | 2739984.5371 | 1260880.4038
38 | 2739861.1149 | 1260859.2981
39 | 2739972.3613 | 1260897.2763
40 | 2739873.1071 | 1260869.9251
41 | 2739964.7362 | 1260903.1348
42 | 2739962.6816 | 1260913.1736
43 | 2740713.3415 | 1261581.7844
44 | 2740154.3277 | 1261736.1038
45 | 2740030.1942 | 1261594.1445
46 | 2740046.4421 | 1261547.833
47 | 2740527.4951 | 1261371.2785
48 | 2740540.7931 | 1261385.8639
49 | 2740518.1356 | 1261373.6696
50 | 2740532.2 | 1261393.6775
51 | 2740523.0071 | 1261408.0767
52 | 2740515.1432 | 1261307.6262
53 | 2740520.4043 | 1261344.4667
54 | 2740539.2552 | 1261298.8453
55 | 2740461.5531 | 1261384.047
56 | 2740445.0634 | 1261395.0893
57 | 2740449.0905 | 1261370.1761
58 | 2740510.0241 | 1261302.1982
59 | 2740403.7148 | 1261404.8832
60 | 2740438.1432 | 1261357.9976
61 | 2740371.2626 | 1261298.3885
62 | 2740387.059 | 1261396.4997
63 | 2740364.6719 | 1261384.4133
64 | 2740316.9595 | 1261357.6919
65 | 2740302.138 | 1261353.1124
66 | 2740430.5971 | 1261349.6583
67 | 2740426.7136 | 1261345.3666
68 | 2740406.9507 | 1261326.6966
69 | 2740406.7375 | 1261326.5014
70 | 2740392.8593 | 1261313.9992
71 | 2740392.8174 | 1261313.9616
72 | 2740360.3635 | 1261307.4172
73 | 2740341.4002 | 1261311.4759
74 | 2740284.1381 | 1261348.7585
75 | 2740179.8222 | 1261340.4731
76 | 2740185.6072 | 1261340.7429
77 | 2740225.844 | 1261342.6193
78 | 2740230.9415 | 1261342.857
79 | 2740249.9226 | 1261343.7097
80 | 2740261.233 | 1261344.879
81 | 2740278.9879 | 1261347.6321
82 | 2740260.4502 | 1261352.134
83 | 2740302.138 | 1261353.1124

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1