## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4486-3_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_4486-3_1_2_node_73 | 0.4 | n |  | TRUE
2 | bus_LV_4486-3_1_2_node_127 | 0.4 | n |  | TRUE
3 | bus_LV_4486-3_1_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_4486-3_1_2_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_4486-3_1_2_node_130 | 0.4 | n |  | TRUE
6 | bus_LV_4486-3_1_2_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_4486-3_1_2_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_4486-3_1_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_4486-3_1_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_4486-3_1_2_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_4486-3_1_2_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_4486-3_1_2_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_4486-3_1_2_node_142 | 0.4 | n |  | TRUE
14 | bus_LV_4486-3_1_2_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_4486-3_1_2_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_4486-3_1_2_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_4486-3_1_2_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_4486-3_1_2_node_145 | 0.4 | n |  | TRUE
19 | bus_LV_4486-3_1_2_node_71 | 0.4 | n |  | TRUE
20 | bus_LV_4486-3_1_2_node_143 | 0.4 | n |  | TRUE
21 | bus_LV_4486-3_1_2_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_4486-3_1_2_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_4486-3_1_2_node_144 | 0.4 | n |  | TRUE
24 | bus_LV_4486-3_1_2_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_4486-3_1_2_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_4486-3_1_2_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_4486-3_1_2_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_4486-3_1_2_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_4486-3_1_2_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_4486-3_1_2_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_4486-3_1_2_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_4486-3_1_2_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_4486-3_1_2_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_4486-3_1_2_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_4486-3_1_2_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_4486-3_1_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_4486-3_1_2_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_4486-3_1_2_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_4486-3_1_2_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_4486-3_1_2_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_4486-3_1_2_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_4486-3_1_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_4486-3_1_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_4486-3_1_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_4486-3_1_2_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_4486-3_1_2_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_4486-3_1_2_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_4486-3_1_2_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_4486-3_1_2_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_4486-3_1_2_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_4486-3_1_2_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_4486-3_1_2_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_4486-3_1_2_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_4486-3_1_2_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_4486-3_1_2_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_4486-3_1_2_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_4486-3_1_2_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_4486-3_1_2_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_4486-3_1_2_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_4486-3_1_2_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_4486-3_1_2_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_4486-3_1_2_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_4486-3_1_2_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_4486-3_1_2_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_4486-3_1_2_node_74 | 0.4 | n |  | TRUE
66 | bus_MV_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4486-3_1_2_load_128 | 0 | 0.0011894 | 0.00029809 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4486-3_1_2_load_127 | 2 | 0.00098262 | 0.00024627 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4486-3_1_2_load_129 | 3 | 8.6874e-05 | 2.1773e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4486-3_1_2_load_130 | 5 | 0.00042091 | 0.00010549 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4486-3_1_2_load_9 | 6 | 0.00031565 | 7.911e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4486-3_1_2_load_12 | 9 | 0.00013237 | 3.3176e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4486-3_1_2_load_22 | 12 | 0.0015955 | 0.00039988 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4486-3_1_2_load_142 | 13 | 0.0021347 | 0.000535 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4486-3_1_2_load_62 | 16 | 0.001053 | 0.00026391 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4486-3_1_2_load_145 | 18 | 0.00042189 | 0.00010574 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4486-3_1_2_load_143 | 20 | 0.00041891 | 0.00010499 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4486-3_1_2_load_23 | 22 | 0.0010237 | 0.00025656 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4486-3_1_2_load_144 | 23 | 0.0028395 | 0.00071165 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4486-3_1_2_load_28 | 24 | 0.0008059 | 0.00020198 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4486-3_1_2_load_29 | 25 | 0.0004698 | 0.00011774 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4486-3_1_2_load_33 | 28 | 0.0025586 | 0.00064124 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4486-3_1_2_load_58 | 29 | 0.00052114 | 0.00013061 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4486-3_1_2_load_66 | 30 | 0.0020096 | 0.00050365 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4486-3_1_2_load_34 | 32 | 0.0015743 | 0.00039456 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4486-3_1_2_load_35 | 33 | 0.00080713 | 0.00020229 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4486-3_1_2_load_37 | 35 | 0.0015313 | 0.00038378 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4486-3_1_2_load_39 | 37 | 0.0012495 | 0.00031315 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4486-3_1_2_load_57 | 39 | 0.001138 | 0.00028522 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4486-3_1_2_load_55 | 41 | 0.00031253 | 7.8328e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4486-3_1_2_load_40 | 42 | 0.0010194 | 0.00025549 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4486-3_1_2_load_41 | 43 | 0.00075011 | 0.000188 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4486-3_1_2_load_42 | 44 | 0.00042567 | 0.00010668 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4486-3_1_2_load_48 | 47 | 0.0016179 | 0.00040547 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4486-3_1_2_load_45 | 48 | 0.0015329 | 0.00038417 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4486-3_1_2_load_47 | 49 | 0.00048837 | 0.0001224 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4486-3_1_2_load_54 | 51 | 0.00094098 | 0.00023583 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4486-3_1_2_load_53 | 52 | 0.00064201 | 0.0001609 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4486-3_1_2_load_50 | 53 | 0.001612 | 0.000404 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4486-3_1_2_load_51 | 54 | 0.0028649 | 0.00071801 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4486-3_1_2_load_52 | 55 | 0.00075157 | 0.00018836 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4486-3_1_2_load_56 | 56 | 0.00087225 | 0.00021861 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4486-3_1_2_load_60 | 59 | 0.0041329 | 0.0010358 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4486-3_1_2_load_68 | 60 | 0.0014879 | 0.00037291 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4486-3_1_2_load_63 | 61 | 0.00028203 | 7.0683e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4486-3_1_2_load_69 | 62 | 0.00013679 | 3.4284e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4486-3_1_2_load_72 | 64 | 0.0001017 | 2.5489e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4486-3_1_2_load_74 | 65 | 0.00011899 | 2.9822e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4486-3_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.15065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4486-3_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4486-3_1_2_line_2 | NAYY 4x150 SE | 1 | 19 | 0.37452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4486-3_1_2_line_3 | NAYY 4x150 SE | 2 | 58 | 0.11617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4486-3_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.020758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4486-3_1_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.017723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4486-3_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.38304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4486-3_1_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.052397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4486-3_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.15195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4486-3_1_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.044085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4486-3_1_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.14788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4486-3_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.048415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4486-3_1_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.057539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4486-3_1_2_line_13 | NAYY 4x150 SE | 10 | 14 | 0.11637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4486-3_1_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.02271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4486-3_1_2_line_15 | NAYY 4x150 SE | 12 | 22 | 0.016504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4486-3_1_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.014497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4486-3_1_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.042066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4486-3_1_2_line_18 | NAYY 4x150 SE | 15 | 29 | 0.020378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4486-3_1_2_line_19 | NAYY 4x150 SE | 15 | 25 | 0.015879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4486-3_1_2_line_20 | NAYY 4x150 SE | 16 | 61 | 0.011385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4486-3_1_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.012849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4486-3_1_2_line_22 | NAYY 4x150 SE | 17 | 19 | 0.031012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4486-3_1_2_line_23 | NAYY 4x150 SE | 19 | 62 | 0.015425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4486-3_1_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.026668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4486-3_1_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.019565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4486-3_1_2_line_26 | NAYY 4x150 SE | 21 | 57 | 0.003843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4486-3_1_2_line_27 | NAYY 4x150 SE | 24 | 25 | 0.019637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4486-3_1_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.034384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4486-3_1_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.035516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4486-3_1_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.024214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4486-3_1_2_line_31 | NAYY 4x150 SE | 27 | 30 | 0.022728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4486-3_1_2_line_32 | NAYY 4x150 SE | 28 | 31 | 0.014545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4486-3_1_2_line_33 | NAYY 4x150 SE | 30 | 57 | 0.010027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4486-3_1_2_line_34 | NAYY 4x150 SE | 31 | 53 | 0.014566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4486-3_1_2_line_35 | NAYY 4x150 SE | 31 | 54 | 0.028092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4486-3_1_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.026595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4486-3_1_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.043348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4486-3_1_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0064114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4486-3_1_2_line_39 | NAYY 4x150 SE | 34 | 36 | 0.019257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4486-3_1_2_line_40 | NAYY 4x150 SE | 34 | 37 | 0.013566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4486-3_1_2_line_41 | NAYY 4x150 SE | 35 | 38 | 0.024893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4486-3_1_2_line_42 | NAYY 4x150 SE | 36 | 39 | 0.024596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4486-3_1_2_line_43 | NAYY 4x150 SE | 36 | 40 | 0.030012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4486-3_1_2_line_44 | NAYY 4x150 SE | 36 | 41 | 0.010247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4486-3_1_2_line_45 | NAYY 4x150 SE | 38 | 47 | 0.010467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4486-3_1_2_line_46 | NAYY 4x150 SE | 38 | 44 | 0.041811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4486-3_1_2_line_47 | NAYY 4x150 SE | 39 | 57 | 0.0078915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4486-3_1_2_line_48 | NAYY 4x150 SE | 40 | 49 | 0.0049373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4486-3_1_2_line_49 | NAYY 4x150 SE | 40 | 48 | 0.01708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4486-3_1_2_line_50 | NAYY 4x150 SE | 41 | 56 | 0.0095078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4486-3_1_2_line_51 | NAYY 4x150 SE | 42 | 43 | 0.019403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4486-3_1_2_line_52 | NAYY 4x150 SE | 42 | 44 | 0.015818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4486-3_1_2_line_53 | NAYY 4x150 SE | 43 | 45 | 0.028068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4486-3_1_2_line_54 | NAYY 4x150 SE | 45 | 46 | 0.047064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4486-3_1_2_line_55 | NAYY 4x150 SE | 46 | 60 | 0.024363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4486-3_1_2_line_56 | NAYY 4x150 SE | 46 | 59 | 0.036139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4486-3_1_2_line_57 | NAYY 4x150 SE | 47 | 51 | 0.03208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4486-3_1_2_line_58 | NAYY 4x150 SE | 47 | 52 | 0.032293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4486-3_1_2_line_59 | NAYY 4x150 SE | 49 | 50 | 0.014192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4486-3_1_2_line_60 | NAYY 4x150 SE | 50 | 58 | 0.24375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4486-3_1_2_line_61 | NAYY 4x150 SE | 53 | 55 | 0.0057875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4486-3_1_2_line_62 | NAYY 4x150 SE | 62 | 63 | 0.016649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4486-3_1_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.018596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4486-3_1_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.0040507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4486-3_1_2_trafo_29 | 0.25 MVA 20/0.4 kV | 66 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2737205.793 | 1262233.3142 | 2737217.028 | 1262239.6141 | 2737232.8999 | 1262250.07 | 2737249.8976 | 1262260.7301 | 2737278.3011 | 1262279.7406 | 2737283.4656 | 1262283.8977 | 2737288.4098 | 1262288.4501 | 2737297.4717 | 1262298.7369 | 2737311.0178 | 1262316.179 | 2737316.7472 | 1262324.5644 | 2737319.7618 | 1262328.8259
1 | 2737326.4853 | 1262347.8747 | 2737326.1171 | 1262344.9457 | 2737325.5912 | 1262341.3078 | 2737325.4516 | 1262338.88 | 2737324.5 | 1262336.0441 | 2737322.7548 | 1262332.9785 | 2737320.6587 | 1262330.0938 | 2737319.7618 | 1262328.8259
2 | 2737205.793 | 1262233.3142 | 2737212.9183 | 1262231.2553 | 2737256.0538 | 1262228.0308 | 2737315.3745 | 1262224.3708 | 2737353.4417 | 1262221.6186 | 2737373.1977 | 1262215.4271 | 2737391.1822 | 1262206.9812 | 2737413.2056 | 1262190.1546 | 2737415.5918 | 1262183.1589 | 2737416.4361 | 1262173.1023 | 2737406.8237 | 1262143.0505 | 2737400.9716 | 1262142.5363 | 2737405.7975 | 1262137.5882 | 2737409.2521 | 1262134.243 | 2737412.8321 | 1262130.6895 | 2737416.7583 | 1262127.1551 | 2737421.876 | 1262124.249 | 2737426.9546 | 1262120.7526 | 2737432.0535 | 1262118.6579 | 2737442.661 | 1262114.6673 | 2737450.0086 | 1262111.8131 | 2737457.5378 | 1262109.5748 | 2737466.1218 | 1262105.7373 | 2737473.3094 | 1262103.2798 | 2737478.3506 | 1262101.3951 | 2737491.1667 | 1262095.7877
3 | 2737328.079 | 1262425.6123 | 2737327.0091 | 1262422.351 | 2737325.4409 | 1262420.1013 | 2737323.275 | 1262417.6265 | 2737320.8356 | 1262415.5679 | 2737317.7347 | 1262412.4596 | 2737312.8743 | 1262410.1446 | 2737306.5279 | 1262407.5615 | 2737303.0697 | 1262405.8796 | 2737299.256 | 1262404.5787 | 2737295.8631 | 1262402.6871 | 2737293.0756 | 1262401.0097 | 2737290.97 | 1262398.5362 | 2737290.1522 | 1262396.1038 | 2737290.2082 | 1262393.6917 | 2737290.6617 | 1262391.6892 | 2737291.5704 | 1262389.8864 | 2737293.0147 | 1262388.7077 | 2737295.2698 | 1262387.3476 | 2737305.8534 | 1262381.7658 | 2737310.5623 | 1262379.2505 | 2737314.3127 | 1262377.1133 | 2737317.3414 | 1262374.5701 | 2737320.2223 | 1262372.2236 | 2737322.7371 | 1262368.4451 | 2737324.7095 | 1262364.6539 | 2737325.3265 | 1262361.4541 | 2737326.4483 | 1262356.6423 | 2737326.5372 | 1262352.8185 | 2737326.626 | 1262348.9947 | 2737326.4853 | 1262347.8747
4 | 2737870.1347 | 1262163.0944 | 2737872.5635 | 1262155.5883 | 2737876.1957 | 1262145.9305 | 2737878.4976 | 1262147.0296
5 | 2737870.1347 | 1262163.0944 | 2737853.681 | 1262156.5089
6 | 2737772.8741 | 1262396.4168 | 2737777.6147 | 1262397.0723 | 2737786.7038 | 1262398.0739 | 2737820.9276 | 1262399.1389 | 2737897.7984 | 1262398.5076 | 2737901.3777 | 1262392.4075 | 2737902.5142 | 1262386.9844 | 2737904.0827 | 1262380.17 | 2737907.763 | 1262363.9293 | 2737909.903 | 1262350.066 | 2737913.2985 | 1262331.8167 | 2737915.7333 | 1262316.9482 | 2737917.0483 | 1262303.8775 | 2737917.8631 | 1262292.2188 | 2737918.5032 | 1262276.0961 | 2737918.5529 | 1262253.9429 | 2737918.9584 | 1262245.2885 | 2737918.5062 | 1262238.8274 | 2737917.0137 | 1262233.3429 | 2737915.1123 | 1262228.2604 | 2737911.8832 | 1262221.9347 | 2737907.5005 | 1262216.5941 | 2737900.3878 | 1262209.377 | 2737888.3595 | 1262196.3953 | 2737879.146 | 1262186.5045 | 2737873.5457 | 1262181.3357 | 2737868.0426 | 1262177.1702 | 2737866.7607 | 1262172.6693 | 2737870.1347 | 1262163.0944
7 | 2737772.8741 | 1262396.4168 | 2737721.5561 | 1262385.8388
8 | 2737576.6461 | 1262414.8337 | 2737582.8487 | 1262410.3181 | 2737600.312 | 1262400.6151 | 2737646.137 | 1262386.0786 | 2737665.86 | 1262381.9448 | 2737690.2247 | 1262381.1 | 2737717.0885 | 1262384.9179 | 2737721.5561 | 1262385.8388
9 | 2737772.8741 | 1262396.4168 | 2737768.4281 | 1262410.6045 | 2737763.1472 | 1262425.0397 | 2737760.8091 | 1262438.6871
10 | 2737494.3967 | 1262537.8048 | 2737510.9764 | 1262512.6107 | 2737540.4214 | 1262469.2986 | 2737574.096 | 1262417.5325 | 2737576.6461 | 1262414.8337
11 | 2737754.0436 | 1262486.0969 | 2737756.4246 | 1262482.8937 | 2737757.6414 | 1262470.4658 | 2737759.5131 | 1262450.9575 | 2737760.8091 | 1262438.6871
12 | 2737494.3967 | 1262537.8048 | 2737487.9602 | 1262533.9182 | 2737485.2167 | 1262531.6522 | 2737482.1839 | 1262530.1581 | 2737477.9665 | 1262529.0479 | 2737476.1528 | 1262528.6053 | 2737473.4776 | 1262527.9425 | 2737471.4588 | 1262527.8956 | 2737468.6339 | 1262527.8298 | 2737466.0559 | 1262528.1703 | 2737465.0372 | 1262528.5469 | 2737464.0138 | 1262529.1237 | 2737462.703 | 1262530.717 | 2737461.934 | 1262531.7 | 2737461.2401 | 1262532.696 | 2737460.4059 | 1262533.8888 | 2737459.5595 | 1262535.2816 | 2737458.7067 | 1262537.2748 | 2737458.0665 | 1262538.8725 | 2737457.0662 | 1262541.0514 | 2737456.4136 | 1262542.8601 | 2737455.5469 | 1262545.4536 | 2737454.4208 | 1262547.8519 | 2737453.7357 | 1262551.0612
13 | 2737429.5441 | 1262634.2671 | 2737431.5071 | 1262629.9086 | 2737442.4517 | 1262612.0348 | 2737446.6186 | 1262604.9471 | 2737494.3967 | 1262537.8048
14 | 2737754.0436 | 1262486.0969 | 2737748.2293 | 1262487.5295 | 2737742.9975 | 1262486.6068 | 2737731.7038 | 1262485.1313 | 2737731.6843 | 1262485.129
15 | 2737715.296 | 1262483.1807 | 2737731.6843 | 1262485.129
16 | 2737425.7993 | 1262648.1599 | 2737425.9126 | 1262645.8826 | 2737427.7159 | 1262638.3396 | 2737429.5441 | 1262634.2671
17 | 2737429.5441 | 1262634.2671 | 2737427.0761 | 1262630.8509 | 2737426.1042 | 1262629.2157 | 2737425.9804 | 1262625.7873 | 2737425.9856 | 1262622.9737 | 2737426.7266 | 1262619.9547 | 2737428.6777 | 1262614.1612 | 2737432.4664 | 1262605.1851 | 2737433.1205 | 1262602.9871 | 2737433.1769 | 1262600.5639 | 2737432.8244 | 1262598.5427 | 2737431.5063 | 1262596.8883 | 2737429.8448 | 1262596.06
18 | 2737425.7993 | 1262648.1599 | 2737421.3954 | 1262646.6451 | 2737417.7899 | 1262645.1488 | 2737414.771 | 1262644.0331 | 2737410.7917 | 1262642.4058 | 2737410.8379 | 1262638.1063
19 | 2737425.7993 | 1262648.1599 | 2737425.5303 | 1262653.8925 | 2737426.6133 | 1262659.5008 | 2737427.5056 | 1262663.8379
20 | 2737424.412 | 1262603.7855 | 2737424.4587 | 1262601.7736 | 2737424.1546 | 1262599.9426 | 2737425.0103 | 1262598.1496 | 2737426.2559 | 1262596.7662 | 2737427.4175 | 1262596.4039 | 2737429.8448 | 1262596.06
21 | 2737522.7332 | 1262096.778 | 2737521.6468 | 1262091.3142 | 2737519.9953 | 1262084.2246
22 | 2737491.1667 | 1262095.7877 | 2737508.3784 | 1262088.1805 | 2737519.9953 | 1262084.2246
23 | 2737491.1667 | 1262095.7877 | 2737495.5687 | 1262102.5853 | 2737499.6509 | 1262106.9288 | 2737500.6266 | 1262107.8847
24 | 2737382.8529 | 1262765.2625 | 2737381.6919 | 1262763.0111 | 2737379.8037 | 1262759.9422 | 2737377.0309 | 1262755.0509 | 2737373.6991 | 1262750.5359 | 2737371.545 | 1262747.8833 | 2737368.0073 | 1262743.1522
25 | 2737372.6187 | 1262761.9995 | 2737371.7308 | 1262759.343 | 2737370.9346 | 1262756.3105 | 2737369.5839 | 1262753.4653 | 2737368.6683 | 1262749.4068 | 2737367.9512 | 1262745.5643 | 2737368.0073 | 1262743.1522
26 | 2737370.1615 | 1262739.9659 | 2737368.0073 | 1262743.1522
27 | 2737427.5056 | 1262663.8379 | 2737427.9743 | 1262666.1164 | 2737429.8619 | 1262672.7777 | 2737431.3304 | 1262676.7156 | 2737431.8605 | 1262681.1432 | 2737431.7618 | 1262682.8654
28 | 2737419.751 | 1262714.438 | 2737422.9371 | 1262710.3081 | 2737426.0389 | 1262704.9417 | 2737427.9706 | 1262700.3044 | 2737429.9619 | 1262694.0781 | 2737431.4548 | 1262688.2183 | 2737431.7618 | 1262682.8654
29 | 2737419.751 | 1262714.438 | 2737407.5762 | 1262732.3944 | 2737403.0929 | 1262738.5072 | 2737401.2354 | 1262744.492
30 | 2737419.751 | 1262714.438 | 2737431.7375 | 1262715.5954 | 2737442.2848 | 1262713.8277 | 2737443.683 | 1262713.3505
31 | 2737401.2354 | 1262744.492 | 2737398.3719 | 1262741.2335 | 2737395.5657 | 1262740.3674 | 2737391.7383 | 1262739.6668 | 2737387.8967 | 1262739.5774 | 2737382.4985 | 1262739.6632 | 2737380.1809 | 1262739.7809
32 | 2737456.5997 | 1262706.9093 | 2737450.0338 | 1262711.183 | 2737443.683 | 1262713.3505
33 | 2737370.1615 | 1262739.9659 | 2737372.7345 | 1262739.8366 | 2737377.2392 | 1262739.9302 | 2737380.1809 | 1262739.7809
34 | 2737456.5997 | 1262706.9093 | 2737461.9813 | 1262701.3847 | 2737467.0861 | 1262696.8125
35 | 2737456.5997 | 1262706.9093 | 2737459.1214 | 1262710.6047 | 2737461.0962 | 1262712.8639 | 2737462.6425 | 1262715.7248 | 2737464.0212 | 1262717.3695 | 2737465.465 | 1262718.8044 | 2737469.6407 | 1262719.1129 | 2737475.1548 | 1262719.23 | 2737478.6355 | 1262719.1922
36 | 2737293.2159 | 1262765.3254 | 2737293.5729 | 1262764.9892 | 2737298.9493 | 1262759.6756 | 2737303.4314 | 1262755.5535 | 2737307.64 | 1262751.2026 | 2737310.5443 | 1262747.8446 | 2737311.7691 | 1262746.311
37 | 2737342.0109 | 1262716.9903 | 2737340.5668 | 1262717.5128 | 2737335.8631 | 1262719.8169 | 2737330.678 | 1262722.7326 | 2737327.0078 | 1262725.3165 | 2737324.3629 | 1262727.5684 | 2737321.1815 | 1262731.1757 | 2737317.625 | 1262736.3314 | 2737315.0871 | 1262741.1103 | 2737312.6634 | 1262745.1913 | 2737311.7691 | 1262746.311
38 | 2737288.549 | 1262769.7215 | 2737293.2159 | 1262765.3254
39 | 2737359.9473 | 1262709.9001 | 2737353.7527 | 1262712.7923 | 2737348.5162 | 1262714.6725 | 2737342.0109 | 1262716.9903
40 | 2737342.0109 | 1262716.9903 | 2737336.3257 | 1262704.6727
41 | 2737268.4264 | 1262784.3128 | 2737273.8209 | 1262779.8448 | 2737279.5621 | 1262776.3525 | 2737283.6092 | 1262773.4326 | 2737288.549 | 1262769.7215
42 | 2737359.9473 | 1262709.9001 | 2737361.4468 | 1262714.7729 | 2737363.4774 | 1262720.4699 | 2737364.9517 | 1262726.7545 | 2737366.2087 | 1262733.6347
43 | 2737359.9473 | 1262709.9001 | 2737357.9543 | 1262705.8277 | 2737356.0198 | 1262702.1571 | 2737353.104 | 1262697.2514 | 2737350.5922 | 1262692.1549 | 2737347.8517 | 1262688.4655 | 2737344.9188 | 1262683.9709
44 | 2737359.9473 | 1262709.9001 | 2737369.5646 | 1262706.3622
45 | 2737258.2847 | 1262781.6082 | 2737268.4264 | 1262784.3128
46 | 2737268.4264 | 1262784.3128 | 2737304.8739 | 1262794.0235 | 2737308.95 | 1262794.3855
47 | 2737370.1615 | 1262739.9659 | 2737368.365 | 1262739.1122 | 2737367.3419 | 1262737.0865 | 2737366.2087 | 1262733.6347
48 | 2737344.9188 | 1262683.9709 | 2737342.7078 | 1262679.5563
49 | 2737344.9188 | 1262683.9709 | 2737353.7095 | 1262682.5515 | 2737361.8202 | 1262681.5277
50 | 2737378.4878 | 1262703.0798 | 2737369.5646 | 1262706.3622
51 | 2737324.7021 | 1262795.3836 | 2737335.2265 | 1262794.2284 | 2737343.952 | 1262792.9734
52 | 2737324.7021 | 1262795.3836 | 2737322.6838 | 1262795.6052 | 2737308.95 | 1262794.3855
53 | 2737371.7479 | 1262789.0828 | 2737367.3116 | 1262789.6136 | 2737343.952 | 1262792.9734
54 | 2737371.7479 | 1262789.0828 | 2737376.4486 | 1262788.5247 | 2737385.0811 | 1262786.4455 | 2737399.161 | 1262779.5771 | 2737409.7787 | 1262777.6887 | 2737416.7793 | 1262777.7291
55 | 2737416.7793 | 1262777.7291 | 2737422.4762 | 1262777.7615 | 2737433.3814 | 1262778.7492 | 2737440.9906 | 1262780.0292
56 | 2737416.7793 | 1262777.7291 | 2737416.7751 | 1262784.3909 | 2737416.8989 | 1262787.8193 | 2737416.8335 | 1262790.6315 | 2737416.7771 | 1262793.0548 | 2737415.1015 | 1262795.4292 | 2737412.4797 | 1262797.9818 | 2737409.7564 | 1262800.3653 | 2737407.4654 | 1262802.3028 | 2737405.6778 | 1262803.6625 | 2737402.5954 | 1262805.6039 | 2737401.1407 | 1262806.5506
57 | 2737258.2847 | 1262781.6082 | 2737233.2253 | 1262776.0992 | 2737226.8705 | 1262775.1692
58 | 2737258.2847 | 1262781.6082 | 2737257.1301 | 1262790.7567 | 2737258.0771 | 1262793.7927 | 2737259.0208 | 1262796.6395 | 2737260.7752 | 1262799.305 | 2737263.0065 | 1262801.5589 | 2737265.1306 | 1262803.232 | 2737267.9207 | 1262805.1097 | 2737271.5186 | 1262806.6057 | 2737272.0601 | 1262806.7724
59 | 2737335.9505 | 1262667.0911 | 2737337.2322 | 1262669.6677 | 2737340.3467 | 1262674.7782 | 2737342.6644 | 1262679.4698 | 2737342.7078 | 1262679.5563
60 | 2737328.079 | 1262425.6123 | 2737328.2074 | 1262428.8405 | 2737328.5347 | 1262432.2736 | 2737328.8761 | 1262435.0953 | 2737328.1161 | 1262441.5282 | 2737326.5569 | 1262456.4062 | 2737323.7214 | 1262482.7431 | 2737321.8252 | 1262512.127 | 2737321.7404 | 1262533.2896 | 2737322.8958 | 1262561.7323 | 2737325.5955 | 1262610.964 | 2737327.6947 | 1262642.2535 | 2737328.5542 | 1262648.7241 | 2737329.2789 | 1262652.5668 | 2737330.0007 | 1262656.2092 | 2737333.6971 | 1262662.5455 | 2737335.9505 | 1262667.0911
61 | 2737467.0861 | 1262696.8125 | 2737469.001 | 1262695.0974 | 2737471.8804 | 1262693.6631
62 | 2737513.1852 | 1262118.7213 | 2737510.3901 | 1262117.0436 | 2737507.2682 | 1262114.1905 | 2737504.0579 | 1262111.2465 | 2737500.6266 | 1262107.8847
63 | 2737513.1852 | 1262118.7213 | 2737503.09 | 1262124.3364 | 2737496.72 | 1262127.3428
64 | 2737496.72 | 1262127.3428 | 2737493.0568 | 1262129.0717

## bus_geodata
| x | y | coords
0 | 2737319.7618 | 1262328.8259
1 | 2737205.793 | 1262233.3142
2 | 2737326.4853 | 1262347.8747
3 | 2737878.4976 | 1262147.0296
4 | 2737870.1347 | 1262163.0944
5 | 2737853.681 | 1262156.5089
6 | 2737721.5561 | 1262385.8388
7 | 2737772.8741 | 1262396.4168
8 | 2737576.6461 | 1262414.8337
9 | 2737760.8091 | 1262438.6871
10 | 2737494.3967 | 1262537.8048
11 | 2737754.0436 | 1262486.0969
12 | 2737731.6843 | 1262485.129
13 | 2737453.7357 | 1262551.0612
14 | 2737429.5441 | 1262634.2671
15 | 2737425.7993 | 1262648.1599
16 | 2737429.8448 | 1262596.06
17 | 2737519.9953 | 1262084.2246
18 | 2737522.7332 | 1262096.778
19 | 2737491.1667 | 1262095.7877
20 | 2737382.8529 | 1262765.2625
21 | 2737368.0073 | 1262743.1522
22 | 2737715.296 | 1262483.1807
23 | 2737372.6187 | 1262761.9995
24 | 2737431.7618 | 1262682.8654
25 | 2737427.5056 | 1262663.8379
26 | 2737419.751 | 1262714.438
27 | 2737401.2354 | 1262744.492
28 | 2737443.683 | 1262713.3505
29 | 2737410.8379 | 1262638.1063
30 | 2737380.1809 | 1262739.7809
31 | 2737456.5997 | 1262706.9093
32 | 2737311.7691 | 1262746.311
33 | 2737293.2159 | 1262765.3254
34 | 2737342.0109 | 1262716.9903
35 | 2737288.549 | 1262769.7215
36 | 2737359.9473 | 1262709.9001
37 | 2737336.3257 | 1262704.6727
38 | 2737268.4264 | 1262784.3127
39 | 2737366.2087 | 1262733.6347
40 | 2737344.9188 | 1262683.9709
41 | 2737369.5646 | 1262706.3622
42 | 2737324.7021 | 1262795.3836
43 | 2737343.952 | 1262792.9734
44 | 2737308.95 | 1262794.3855
45 | 2737371.7479 | 1262789.0828
46 | 2737416.7793 | 1262777.7291
47 | 2737258.2847 | 1262781.6082
48 | 2737361.8202 | 1262681.5277
49 | 2737342.7078 | 1262679.5563
50 | 2737335.9505 | 1262667.0911
51 | 2737226.8705 | 1262775.1692
52 | 2737272.0601 | 1262806.7724
53 | 2737467.0861 | 1262696.8125
54 | 2737478.6355 | 1262719.1922
55 | 2737471.8804 | 1262693.6631
56 | 2737378.4878 | 1262703.0798
57 | 2737370.1615 | 1262739.9659
58 | 2737328.079 | 1262425.6123
59 | 2737401.1407 | 1262806.5506
60 | 2737440.9906 | 1262780.0292
61 | 2737424.412 | 1262603.7855
62 | 2737500.6266 | 1262107.8847
63 | 2737513.1852 | 1262118.7213
64 | 2737496.72 | 1262127.3428
65 | 2737493.0568 | 1262129.0717
66 | 2737427.5056 | 1262663.8379

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1