## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4486-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4486-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4486-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4486-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4486-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4486-6_0_4_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_4486-6_0_4_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_4486-6_0_4_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_4486-6_0_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_4486-6_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_4486-6_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_4486-6_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4486-6_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_4486-6_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_4486-6_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_4486-6_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_4486-6_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_4486-6_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_4486-6_0_4_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_4486-6_0_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_4486-6_0_4_node_5 | 0.4 | n |  | TRUE
21 | bus_LV_4486-6_0_4_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_4486-6_0_4_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_4486-6_0_4_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_4486-6_0_4_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_4486-6_0_4_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_4486-6_0_4_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_4486-6_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_4486-6_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_4486-6_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4486-6_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4486-6_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_4486-6_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4486-6_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_4486-6_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_4486-6_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_4486-6_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_4486-6_0_4_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_4486-6_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_4486-6_0_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_4486-6_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_4486-6_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_4486-6_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_4486-6_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_4486-6_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_4486-6_0_4_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_4486-6_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_4486-6_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_MV_414_0_node_149 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4486-6_0_4_load_0 | 0 | 0.0001336 | 3.3482e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4486-6_0_4_load_1 | 1 | 0.00046888 | 0.00011751 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4486-6_0_4_load_2 | 2 | 0.00024507 | 6.1421e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4486-6_0_4_load_3 | 3 | 0.00022073 | 5.532e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4486-6_0_4_load_41 | 6 | 0.090345 | 0.022643 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4486-6_0_4_load_19 | 12 | 8.9136e-05 | 2.234e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4486-6_0_4_load_16 | 13 | 0.00094449 | 0.00023671 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4486-6_0_4_load_20 | 15 | 0.00048058 | 0.00012044 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4486-6_0_4_load_14 | 16 | 0.00020049 | 5.0248e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4486-6_0_4_load_6 | 17 | 0.00058278 | 0.00014606 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4486-6_0_4_load_34 | 18 | 0.0054109 | 0.0013561 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4486-6_0_4_load_32 | 19 | 0.0026748 | 0.00067037 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4486-6_0_4_load_5 | 20 | 0.00035759 | 8.9621e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4486-6_0_4_load_47 | 21 | 0.0014711 | 0.0003687 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4486-6_0_4_load_43 | 22 | 0.0017 | 0.00042606 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4486-6_0_4_load_8 | 23 | 0.0012413 | 0.00031109 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4486-6_0_4_load_9 | 24 | 0.00075568 | 0.00018939 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4486-6_0_4_load_11 | 26 | 0.00016095 | 4.0337e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4486-6_0_4_load_12 | 27 | 0.00018831 | 4.7194e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4486-6_0_4_load_15 | 28 | 0.00016962 | 4.2511e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4486-6_0_4_load_22 | 29 | 0.031067 | 0.0077861 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4486-6_0_4_load_23 | 30 | 0.0015356 | 0.00038486 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4486-6_0_4_load_30 | 34 | 0.0040069 | 0.0010042 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4486-6_0_4_load_31 | 35 | 0.0019426 | 0.00048686 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4486-6_0_4_load_44 | 39 | 0.0020882 | 0.00052335 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4486-6_0_4_load_40 | 40 | 0.007115 | 0.0017832 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4486-6_0_4_load_37 | 41 | 0.022285 | 0.0055852 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4486-6_0_4_load_36 | 43 | 0.017495 | 0.0043846 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4486-6_0_4_load_35 | 44 | 0.0020452 | 0.00051257 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4486-6_0_4_load_48 | 45 | 0.003631 | 0.00091002 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4486-6_0_4_load_42 | 46 | 0.0021648 | 0.00054255 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4486-6_0_4_load_49 | 47 | 0.0099187 | 0.0024859 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4486-6_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4486-6_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0036734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4486-6_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0018587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4486-6_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4486-6_0_4_line_4 | NAYY 4x150 SE | 3 | 9 | 0.013176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4486-6_0_4_line_5 | NAYY 4x150 SE | 4 | 10 | 0.13604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4486-6_0_4_line_6 | NAYY 4x150 SE | 4 | 11 | 0.047329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4486-6_0_4_line_7 | NAYY 4x150 SE | 5 | 6 | 0.069173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4486-6_0_4_line_8 | NAYY 4x150 SE | 5 | 7 | 0.18229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4486-6_0_4_line_9 | NAYY 4x150 SE | 5 | 8 | 0.12631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_4486-6_0_4_line_10 | NAYY 4x150 SE | 7 | 29 | 0.021477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4486-6_0_4_line_11 | NAYY 4x150 SE | 7 | 14 | 0.1184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4486-6_0_4_line_12 | NAYY 4x150 SE | 8 | 40 | 0.019395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4486-6_0_4_line_13 | NAYY 4x150 SE | 8 | 41 | 0.059847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4486-6_0_4_line_14 | NAYY 4x150 SE | 9 | 12 | 0.012414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4486-6_0_4_line_15 | NAYY 4x150 SE | 10 | 13 | 0.025181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4486-6_0_4_line_16 | NAYY 4x150 SE | 11 | 16 | 0.033195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4486-6_0_4_line_17 | NAYY 4x150 SE | 11 | 17 | 0.01713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4486-6_0_4_line_18 | NAYY 4x150 SE | 13 | 28 | 0.0087805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4486-6_0_4_line_19 | NAYY 4x150 SE | 14 | 15 | 0.0095255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4486-6_0_4_line_20 | NAYY 4x150 SE | 15 | 27 | 0.0094368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4486-6_0_4_line_21 | NAYY 4x150 SE | 17 | 20 | 0.0084916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4486-6_0_4_line_22 | NAYY 4x150 SE | 18 | 19 | 0.0089849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4486-6_0_4_line_23 | NAYY 4x150 SE | 19 | 38 | 0.021416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4486-6_0_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.022546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4486-6_0_4_line_25 | NAYY 4x150 SE | 22 | 46 | 0.01058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4486-6_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0068936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4486-6_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.036786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4486-6_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.011806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4486-6_0_4_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0059787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4486-6_0_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.024415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4486-6_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.057997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4486-6_0_4_line_32 | NAYY 4x150 SE | 30 | 32 | 0.016734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4486-6_0_4_line_33 | NAYY 4x150 SE | 31 | 33 | 0.064967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4486-6_0_4_line_34 | NAYY 4x150 SE | 32 | 34 | 0.011563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4486-6_0_4_line_35 | NAYY 4x150 SE | 32 | 35 | 0.013462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4486-6_0_4_line_36 | NAYY 4x150 SE | 33 | 38 | 0.00691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4486-6_0_4_line_37 | NAYY 4x150 SE | 33 | 39 | 0.010506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4486-6_0_4_line_38 | NAYY 4x150 SE | 35 | 36 | 0.016509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4486-6_0_4_line_39 | NAYY 4x150 SE | 36 | 37 | 0.071753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4486-6_0_4_line_40 | NAYY 4x150 SE | 37 | 42 | 0.019226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4486-6_0_4_line_41 | NAYY 4x150 SE | 37 | 43 | 0.016971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4486-6_0_4_line_42 | NAYY 4x150 SE | 38 | 44 | 0.02412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4486-6_0_4_line_43 | NAYY 4x150 SE | 40 | 45 | 0.023753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4486-6_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.053372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4486-6_0_4_line_45 | NAYY 4x150 SE | 42 | 47 | 0.021987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4486-6_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.022005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4486-6_0_4_trafo_29 | 0.25 MVA 20/0.4 kV | 48 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2736705.8668 | 1261133.5627 | 2736698.4357 | 1261155.1762
1 | 2736705.8668 | 1261133.5627 | 2736707.0612 | 1261130.0889
2 | 2736698.4357 | 1261155.1762 | 2736697.8314 | 1261156.934
3 | 2736711.3851 | 1261117.5128 | 2736707.0612 | 1261130.0889
4 | 2736693.5474 | 1261169.394 | 2736697.8314 | 1261156.934
5 | 2736711.3851 | 1261117.5128 | 2736793.1022 | 1261133.5724 | 2736824.0611 | 1261140.1945 | 2736817.2733 | 1261142.929 | 2736814.0859 | 1261145.4688 | 2736811.3092 | 1261149.4861 | 2736809.6664 | 1261154.0191
6 | 2736664.8304 | 1261110.8087 | 2736668.8095 | 1261110.2111 | 2736673.0575 | 1261110.0536 | 2736680.6072 | 1261111.2068 | 2736711.3851 | 1261117.5128
7 | 2737058.2867 | 1260935.4116 | 2737065.1529 | 1260922.4806 | 2737066.8208 | 1260919.8056 | 2737068.7012 | 1260917.7139 | 2737071.137 | 1260916.0577 | 2737073.9113 | 1260915.0877 | 2737076.648 | 1260915.0844 | 2737079.4504 | 1260916.1503 | 2737111.9723 | 1260933.6852
8 | 2737058.2867 | 1260935.4116 | 2736970.3018 | 1261095.058
9 | 2737058.2867 | 1260935.4116 | 2737016.8895 | 1260914.6331 | 2737017.5339 | 1260913.5025 | 2737035.7552 | 1260881.3275 | 2737040.0393 | 1260873.764 | 2737044.8915 | 1260876.4901 | 2737068.8406 | 1260889.9242
10 | 2736970.3018 | 1261095.058 | 2736970.9067 | 1261104.4141 | 2736971.8003 | 1261113.6769 | 2736972.1514 | 1261116.4501
11 | 2736862.4495 | 1261143.3854 | 2736867.9813 | 1261141.823 | 2736876.4163 | 1261138.9265 | 2736891.4512 | 1261132.624 | 2736898.4889 | 1261129.8398 | 2736909.8486 | 1261125.3317 | 2736930.7853 | 1261115.4959 | 2736947.908 | 1261105.961 | 2736960.4664 | 1261099.5011 | 2736970.3018 | 1261095.058
12 | 2737068.8406 | 1260889.9242 | 2737071.1958 | 1260885.5636 | 2737078.0432 | 1260872.852
13 | 2737068.8406 | 1260889.9242 | 2737076.6621 | 1260894.3207 | 2737077.678 | 1260897.0023 | 2737119.5269 | 1260920.5247
14 | 2736693.5474 | 1261169.394 | 2736696.3695 | 1261181.4825
15 | 2736809.6664 | 1261154.0191 | 2736809.0416 | 1261158.8648 | 2736809.9209 | 1261162.5664 | 2736812.201 | 1261166.0001 | 2736821.4941 | 1261174.1626
16 | 2736664.8304 | 1261110.8087 | 2736639.0515 | 1261120.4446 | 2736633.9193 | 1261122.8657
17 | 2736664.8304 | 1261110.8087 | 2736658.7478 | 1261104.5623 | 2736655.1416 | 1261096.9631
18 | 2736821.4941 | 1261174.1626 | 2736828.0912 | 1261179.9571
19 | 2736862.4495 | 1261143.3854 | 2736860.2979 | 1261150.3533 | 2736859.3946 | 1261152.3955
20 | 2736859.3946 | 1261152.3955 | 2736856.5192 | 1261158.8962 | 2736856.3366 | 1261161.2176
21 | 2736650.6849 | 1261089.8934 | 2736652.6376 | 1261091.6868 | 2736655.1416 | 1261096.9631
22 | 2737013.2243 | 1260868.5047 | 2737017.6332 | 1260860.6759
23 | 2737028.1399 | 1260842.014 | 2737022.455 | 1260852.1141 | 2737017.6332 | 1260860.6759
24 | 2736959.4005 | 1260803.597 | 2736963.2994 | 1260806.4236 | 2736971.1499 | 1260811.8549 | 2736977.9409 | 1260816.4232
25 | 2736977.9409 | 1260816.4232 | 2736986.7193 | 1260822.3284
26 | 2736888.8234 | 1261195.146 | 2736884.4988 | 1261189.7776
27 | 2736855.8676 | 1261167.1778 | 2736860.2289 | 1261170.9156 | 2736868.2767 | 1261175.2948 | 2736880.1947 | 1261184.4347 | 2736884.4988 | 1261189.7776
28 | 2736855.8676 | 1261167.1778 | 2736847.3409 | 1261175.3428
29 | 2736855.8676 | 1261167.1778 | 2736856.3366 | 1261161.2176
30 | 2736847.3409 | 1261175.3428 | 2736839.4926 | 1261182.8583 | 2736833.6199 | 1261184.8132 | 2736828.0912 | 1261179.9571
31 | 2737071.6094 | 1260809.5348 | 2737076.5319 | 1260811.1837 | 2737088.3906 | 1260826.1503 | 2737094.8467 | 1260834.1631 | 2737100.5871 | 1260841.8255 | 2737105.8301 | 1260848.8314 | 2737108.5047 | 1260853.1681
32 | 2737116.7992 | 1260867.6923 | 2737113.7972 | 1260861.9061 | 2737109.1215 | 1260854.1683 | 2737108.5047 | 1260853.1681
33 | 2737034.8222 | 1260843.8483 | 2737043.6057 | 1260846.7545 | 2737053.3362 | 1260850.7615 | 2737059.7285 | 1260838.7649 | 2737064.0657 | 1260829.8903 | 2737066.856 | 1260823.0263 | 2737070.4804 | 1260813.3567 | 2737071.6094 | 1260809.5348
34 | 2737116.7992 | 1260867.6923 | 2737117.7983 | 1260869.4727 | 2737119.5309 | 1260873.1051 | 2737120.6497 | 1260875.9004 | 2737120.5423 | 1260876.6319 | 2737119.7223 | 1260878.181
35 | 2737116.7992 | 1260867.6923 | 2737128.3675 | 1260860.8071
36 | 2737034.8222 | 1260843.8483 | 2737028.1399 | 1260842.014
37 | 2737034.8222 | 1260843.8483 | 2737031.2003 | 1260835.8569 | 2737030.6266 | 1260834.2229
38 | 2737142.5539 | 1260852.3636 | 2737128.3675 | 1260860.8071
39 | 2737180.202 | 1260913.5164 | 2737142.5539 | 1260852.3636
40 | 2737180.202 | 1260913.5164 | 2737185.7327 | 1260922.086 | 2737190.5387 | 1260929.7269
41 | 2737180.202 | 1260913.5164 | 2737165.6739 | 1260922.2881
42 | 2737028.1399 | 1260842.014 | 2737023.66 | 1260840.7869 | 2737018.9891 | 1260839.344 | 2737014.0258 | 1260837.5051 | 2737007.965 | 1260834.8734 | 2737005.5733 | 1260833.6506
43 | 2737089.3078 | 1260851.9404 | 2737078.0432 | 1260872.852
44 | 2737165.6739 | 1260922.2881 | 2737144.9382 | 1260934.8078 | 2737119.5269 | 1260920.5247
45 | 2737190.5387 | 1260929.7269 | 2737189.121 | 1260932.3409 | 2737187.4298 | 1260934.07 | 2737172.474 | 1260941.2615
46 | 2737005.5733 | 1260833.6506 | 2737002.8836 | 1260832.2755 | 2736997.951 | 1260829.4364 | 2736989.0773 | 1260823.9146 | 2736986.7193 | 1260822.3284

## bus_geodata
| x | y | coords
0 | 2736705.8668 | 1261133.5627
1 | 2736698.4357 | 1261155.1762
2 | 2736707.0612 | 1261130.0889
3 | 2736697.8314 | 1261156.934
4 | 2736711.3851 | 1261117.5128
5 | 2737058.2867 | 1260935.4116
6 | 2737111.9723 | 1260933.6852
7 | 2736970.3018 | 1261095.058
8 | 2737068.8406 | 1260889.9242
9 | 2736693.5474 | 1261169.394
10 | 2736809.6664 | 1261154.0191
11 | 2736664.8304 | 1261110.8087
12 | 2736696.3695 | 1261181.4825
13 | 2736821.4941 | 1261174.1626
14 | 2736862.4495 | 1261143.3854
15 | 2736859.3946 | 1261152.3955
16 | 2736633.9193 | 1261122.8657
17 | 2736655.1416 | 1261096.9631
18 | 2737013.2243 | 1260868.5047
19 | 2737017.6332 | 1260860.6759
20 | 2736650.6849 | 1261089.8934
21 | 2736959.4005 | 1260803.597
22 | 2736977.9409 | 1260816.4232
23 | 2736884.4988 | 1261189.7776
24 | 2736888.8234 | 1261195.146
25 | 2736855.8676 | 1261167.1778
26 | 2736847.3409 | 1261175.3428
27 | 2736856.3366 | 1261161.2176
28 | 2736828.0912 | 1261179.9571
29 | 2736972.1514 | 1261116.4501
30 | 2737108.5047 | 1260853.1681
31 | 2737071.6094 | 1260809.5348
32 | 2737116.7992 | 1260867.6923
33 | 2737034.8222 | 1260843.8483
34 | 2737119.7223 | 1260878.181
35 | 2737128.3675 | 1260860.8071
36 | 2737142.5539 | 1260852.3636
37 | 2737180.202 | 1260913.5164
38 | 2737028.1399 | 1260842.014
39 | 2737030.6266 | 1260834.2229
40 | 2737078.0432 | 1260872.852
41 | 2737119.5269 | 1260920.5247
42 | 2737190.5387 | 1260929.7269
43 | 2737165.6739 | 1260922.2881
44 | 2737005.5733 | 1260833.6506
45 | 2737089.3078 | 1260851.9404
46 | 2736986.7193 | 1260822.3284
47 | 2737172.474 | 1260941.2615
48 | 2737016.8895 | 1260914.6331

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1