## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4506-18_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4506-18_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4506-18_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4506-18_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4506-18_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4506-18_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_4506-18_0_3_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_4506-18_0_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_4506-18_0_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_4506-18_0_3_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_4506-18_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4506-18_0_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_4506-18_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_4506-18_0_3_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_4506-18_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_4506-18_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4506-18_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4506-18_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4506-18_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_4506-18_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4506-18_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4506-18_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_4506-18_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4506-18_0_3_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_4506-18_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4506-18_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4506-18_0_3_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_4506-18_0_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_4506-18_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_4506-18_0_3_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_4506-18_0_3_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_4506-18_0_3_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_4506-18_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4506-18_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_4506-18_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_4506-18_0_3_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_4506-18_0_3_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_4506-18_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_4506-18_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_4506-18_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_4506-18_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_4506-18_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_4506-18_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_4506-18_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_4506-18_0_3_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_4506-18_0_3_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_4506-18_0_3_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_4506-18_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_4506-18_0_3_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_4506-18_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_4506-18_0_3_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_4506-18_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_4506-18_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_4506-18_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_4506-18_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_4506-18_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_4506-18_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_4506-18_0_3_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_4506-18_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_4506-18_0_3_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_4506-18_0_3_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_4506-18_0_3_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_4506-18_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_4506-18_0_3_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_4506-18_0_3_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_4506-18_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_4506-18_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_4506-18_0_3_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_4506-18_0_3_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_4506-18_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_4506-18_0_3_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_4506-18_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_MV_409_2_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4506-18_0_3_load_0 | 0 | 0.0024625 | 0.00061716 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4506-18_0_3_load_1 | 1 | 0.0047324 | 0.0011861 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4506-18_0_3_load_2 | 2 | 0.0012329 | 0.00030899 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4506-18_0_3_load_4 | 3 | 0.000729 | 0.00018271 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4506-18_0_3_load_5 | 4 | 0.00067483 | 0.00016913 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4506-18_0_3_load_22 | 6 | 0.0016765 | 0.00042017 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4506-18_0_3_load_19 | 8 | 0.0045331 | 0.0011361 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4506-18_0_3_load_56 | 9 | 0.0041606 | 0.0010428 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4506-18_0_3_load_17 | 11 | 0.0011721 | 0.00029376 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4506-18_0_3_load_26 | 13 | 0.0012672 | 0.00031758 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4506-18_0_3_load_14 | 14 | 0.0019094 | 0.00047854 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4506-18_0_3_load_7 | 15 | 0.0027145 | 0.00068032 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4506-18_0_3_load_8 | 16 | 0.0020851 | 0.00052259 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4506-18_0_3_load_10 | 18 | 0.0036745 | 0.00092091 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4506-18_0_3_load_11 | 19 | 0.00086094 | 0.00021577 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4506-18_0_3_load_12 | 20 | 0.0039535 | 0.00099085 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4506-18_0_3_load_20 | 21 | 0.008627 | 0.0021621 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4506-18_0_3_load_15 | 22 | 0.00084047 | 0.00021064 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4506-18_0_3_load_18 | 24 | 0.0015926 | 0.00039915 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4506-18_0_3_load_13 | 25 | 0.0012456 | 0.00031217 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4506-18_0_3_load_40 | 26 | 0.0026691 | 0.00066895 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4506-18_0_3_load_36 | 27 | 0.0019208 | 0.00048139 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4506-18_0_3_load_24 | 28 | 0.0031618 | 0.00079242 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4506-18_0_3_load_48 | 29 | 0.0019265 | 0.00048281 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4506-18_0_3_load_49 | 30 | 0.0032873 | 0.00082386 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4506-18_0_3_load_57 | 31 | 0.003293 | 0.00082531 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4506-18_0_3_load_25 | 32 | 0.0049016 | 0.0012284 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4506-18_0_3_load_27 | 33 | 0.0016398 | 0.00041097 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4506-18_0_3_load_28 | 34 | 0.0012598 | 0.00031574 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4506-18_0_3_load_46 | 35 | 0.0018317 | 0.00045907 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4506-18_0_3_load_29 | 37 | 0.0072987 | 0.0018292 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4506-18_0_3_load_30 | 38 | 0.0012144 | 0.00030435 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4506-18_0_3_load_33 | 41 | 0.0038391 | 0.00096216 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4506-18_0_3_load_34 | 42 | 0.0029598 | 0.00074179 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4506-18_0_3_load_35 | 43 | 0.0069619 | 0.0017448 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4506-18_0_3_load_59 | 44 | 0.0021119 | 0.0005293 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4506-18_0_3_load_51 | 46 | 0.0021148 | 0.00053001 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4506-18_0_3_load_60 | 47 | 0.002701 | 0.00067692 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4506-18_0_3_load_50 | 48 | 0.0039658 | 0.00099392 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4506-18_0_3_load_37 | 49 | 0.0010613 | 0.00026598 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4506-18_0_3_load_77 | 50 | 0.0026681 | 0.0006687 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4506-18_0_3_load_41 | 51 | 0.0006899 | 0.00017291 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4506-18_0_3_load_42 | 52 | 0.0017068 | 0.00042778 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4506-18_0_3_load_43 | 53 | 0.00084923 | 0.00021284 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4506-18_0_3_load_44 | 54 | 0.0014317 | 0.00035882 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4506-18_0_3_load_45 | 55 | 0.0023739 | 0.00059495 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4506-18_0_3_load_53 | 57 | 0.0015989 | 0.00040073 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4506-18_0_3_load_52 | 58 | 0.0038959 | 0.00097641 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4506-18_0_3_load_61 | 59 | 0.0025701 | 0.00064414 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4506-18_0_3_load_70 | 60 | 0.0027002 | 0.00067673 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4506-18_0_3_load_68 | 61 | 0.0028069 | 0.00070347 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4506-18_0_3_load_62 | 62 | 0.0010672 | 0.00026747 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4506-18_0_3_load_63 | 63 | 0.0022003 | 0.00055144 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4506-18_0_3_load_64 | 64 | 0.0021516 | 0.00053925 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4506-18_0_3_load_65 | 65 | 0.0013052 | 0.00032711 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4506-18_0_3_load_66 | 66 | 0.0029861 | 0.00074838 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4506-18_0_3_load_75 | 68 | 0.0040849 | 0.0010238 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4506-18_0_3_load_67 | 69 | 0.0017371 | 0.00043535 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4506-18_0_3_load_69 | 70 | 0.0045184 | 0.0011324 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4506-18_0_3_load_71 | 71 | 0.0017393 | 0.0004359 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4506-18_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.033687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4506-18_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4506-18_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.017709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4506-18_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0054687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4506-18_0_3_line_4 | NAYY 4x150 SE | 4 | 10 | 0.012443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4506-18_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.013289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_4506-18_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.015706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4506-18_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.020882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_4506-18_0_3_line_8 | NAYY 4x150 SE | 6 | 29 | 0.015176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_4506-18_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.0057512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4506-18_0_3_line_10 | NAYY 4x150 SE | 8 | 24 | 0.027833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_4506-18_0_3_line_11 | NAYY 4x150 SE | 9 | 31 | 0.019892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4506-18_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.010693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4506-18_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.057423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4506-18_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.0030964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4506-18_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.012212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4506-18_0_3_line_16 | NAYY 4x150 SE | 13 | 28 | 0.015974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4506-18_0_3_line_17 | NAYY 4x150 SE | 14 | 25 | 0.0055716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4506-18_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.013593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_4506-18_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.021138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_4506-18_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.0082155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_4506-18_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0032199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4506-18_0_3_line_22 | NAYY 4x150 SE | 17 | 20 | 0.019041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_4506-18_0_3_line_23 | NAYY 4x150 SE | 18 | 21 | 0.022772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_4506-18_0_3_line_24 | NAYY 4x150 SE | 19 | 22 | 0.011912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4506-18_0_3_line_25 | NAYY 4x150 SE | 20 | 23 | 0.039175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_4506-18_0_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.0018197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_4506-18_0_3_line_27 | NAYY 4x150 SE | 22 | 25 | 0.0074701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4506-18_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.045954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_4506-18_0_3_line_29 | NAYY 4x150 SE | 23 | 27 | 0.0090469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4506-18_0_3_line_30 | NAYY 4x150 SE | 26 | 50 | 0.022326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4506-18_0_3_line_31 | NAYY 4x150 SE | 27 | 49 | 0.031732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4506-18_0_3_line_32 | NAYY 4x150 SE | 28 | 32 | 0.0089042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4506-18_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.00041992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4506-18_0_3_line_34 | NAYY 4x150 SE | 30 | 48 | 0.011766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_4506-18_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.015985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4506-18_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0035663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4506-18_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.016425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4506-18_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.030298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4506-18_0_3_line_39 | NAYY 4x150 SE | 36 | 56 | 0.005901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4506-18_0_3_line_40 | NAYY 4x150 SE | 36 | 54 | 0.012634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4506-18_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.0061903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4506-18_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.013194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4506-18_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.031174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4506-18_0_3_line_44 | NAYY 4x150 SE | 39 | 41 | 0.036398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4506-18_0_3_line_45 | NAYY 4x150 SE | 39 | 42 | 0.0075519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4506-18_0_3_line_46 | NAYY 4x150 SE | 40 | 43 | 0.042382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4506-18_0_3_line_47 | NAYY 4x150 SE | 41 | 44 | 0.0045626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4506-18_0_3_line_48 | NAYY 4x150 SE | 42 | 45 | 0.050309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_4506-18_0_3_line_49 | NAYY 4x150 SE | 43 | 46 | 0.00032023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4506-18_0_3_line_50 | NAYY 4x150 SE | 44 | 47 | 0.018752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4506-18_0_3_line_51 | NAYY 4x150 SE | 45 | 48 | 0.0040852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_4506-18_0_3_line_52 | NAYY 4x150 SE | 47 | 59 | 0.00091875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4506-18_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.013674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4506-18_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.019872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4506-18_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.00033839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4506-18_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.0038399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4506-18_0_3_line_57 | NAYY 4x150 SE | 56 | 57 | 0.015518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4506-18_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.023527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4506-18_0_3_line_59 | NAYY 4x150 SE | 59 | 60 | 0.021505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4506-18_0_3_line_60 | NAYY 4x150 SE | 60 | 61 | 0.0008723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4506-18_0_3_line_61 | NAYY 4x150 SE | 61 | 69 | 0.016178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4506-18_0_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.0069167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4506-18_0_3_line_63 | NAYY 4x150 SE | 62 | 64 | 0.019477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4506-18_0_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.013855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4506-18_0_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.021056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4506-18_0_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.020686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4506-18_0_3_line_67 | NAYY 4x150 SE | 67 | 68 | 0.011296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4506-18_0_3_line_68 | NAYY 4x150 SE | 68 | 71 | 0.025103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4506-18_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.0075385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4506-18_0_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.00016393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4506-18_0_3_trafo_40 | 0.25 MVA 20/0.4 kV | 72 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2731536.5106 | 1266474.8685 | 2731525.7636 | 1266506.7948
1 | 2731536.5106 | 1266474.8685 | 2731540.8616 | 1266461.943
2 | 2731546.5113 | 1266445.1596 | 2731540.8616 | 1266461.943
3 | 2731546.5113 | 1266445.1596 | 2731548.256 | 1266439.9767
4 | 2731552.2256 | 1266428.184 | 2731548.256 | 1266439.9767
5 | 2731553.1989 | 1266599.856 | 2731565.8688 | 1266603.8632
6 | 2731547.8539 | 1266614.6288 | 2731553.1989 | 1266599.856
7 | 2731553.1989 | 1266599.856 | 2731560.1208 | 1266580.1543
8 | 2731580.3379 | 1266608.4395 | 2731565.8688 | 1266603.8632
9 | 2731547.8539 | 1266614.6288 | 2731553.3195 | 1266616.4187 | 2731553.3195 | 1266616.4187
10 | 2731569.3467 | 1266553.8944 | 2731560.1208 | 1266580.1543
11 | 2731553.3195 | 1266616.4187 | 2731548.1014 | 1266633.6077 | 2731547.6787 | 1266635.4892
12 | 2731552.2256 | 1266428.184 | 2731542.5334 | 1266423.6672
13 | 2731552.2256 | 1266428.184 | 2731604.6741 | 1266451.9183
14 | 2731604.6741 | 1266451.9183 | 2731605.6906 | 1266448.9935
15 | 2731604.6741 | 1266451.9183 | 2731600.7634 | 1266463.487
16 | 2731610.9301 | 1266433.9033 | 2731610.6616 | 1266434.6909 | 2731605.6906 | 1266448.9935
17 | 2731598.9791 | 1266468.7653 | 2731600.7634 | 1266463.487
18 | 2731584.7311 | 1266510.1195 | 2731580.2235 | 1266522.9431
19 | 2731591.7409 | 1266490.1774 | 2731584.7311 | 1266510.1195
20 | 2731580.2235 | 1266522.9431 | 2731577.499 | 1266530.6938
21 | 2731591.7409 | 1266490.1774 | 2731592.7721 | 1266487.1271
22 | 2731591.7409 | 1266490.1774 | 2731609.7536 | 1266496.351
23 | 2731569.9498 | 1266552.1776 | 2731575.0071 | 1266537.783 | 2731577.499 | 1266530.6938
24 | 2731596.5869 | 1266475.8419 | 2731592.7721 | 1266487.1271
25 | 2731648.324 | 1266501.3924 | 2731638.1152 | 1266501.8877 | 2731614.5081 | 1266497.9805 | 2731609.7536 | 1266496.351
26 | 2731569.9498 | 1266552.1776 | 2731569.3467 | 1266553.8944
27 | 2731598.9791 | 1266468.7653 | 2731596.5869 | 1266475.8419
28 | 2731648.324 | 1266501.3924 | 2731651.6766 | 1266517.56 | 2731642.6395 | 1266545.5814
29 | 2731648.324 | 1266501.3924 | 2731655.4125 | 1266495.771
30 | 2731635.7869 | 1266566.8295 | 2731642.6395 | 1266545.5814
31 | 2731655.4125 | 1266495.771 | 2731666.1116 | 1266487.2864 | 2731670.335 | 1266469.7097
32 | 2731610.9301 | 1266433.9033 | 2731613.8036 | 1266425.4756
33 | 2731580.7383 | 1266608.5661 | 2731580.3379 | 1266608.4395
34 | 2731580.7383 | 1266608.5661 | 2731588.9471 | 1266611.1624 | 2731592.0496 | 1266611.7454
35 | 2731613.8036 | 1266425.4756 | 2731618.9621 | 1266410.3463
36 | 2731620.113 | 1266406.9708 | 2731618.9621 | 1266410.3463
37 | 2731620.113 | 1266406.9708 | 2731625.4137 | 1266391.4244
38 | 2731635.1915 | 1266362.7472 | 2731625.4137 | 1266391.4244
39 | 2731635.1915 | 1266362.7472 | 2731637.101 | 1266357.1623
40 | 2731635.1915 | 1266362.7472 | 2731623.3398 | 1266358.3712
41 | 2731657.8854 | 1266642.9256 | 2731661.3236 | 1266648.0733
42 | 2731650.5573 | 1266631.9539 | 2731657.8854 | 1266642.9256
43 | 2731678.6381 | 1266673.9968 | 2731661.3236 | 1266648.0733
44 | 2731650.5573 | 1266631.9539 | 2731674.0133 | 1266619.6425 | 2731680.1954 | 1266611.9006
45 | 2731650.5573 | 1266631.9539 | 2731643.4446 | 1266629.4161
46 | 2731678.6381 | 1266673.9968 | 2731689.3369 | 1266690.0169 | 2731667.4694 | 1266697.5181
47 | 2731683.0425 | 1266608.3353 | 2731680.1954 | 1266611.9006
48 | 2731596.0646 | 1266612.4999 | 2731616.7768 | 1266619.8902 | 2731626.0867 | 1266623.2229 | 2731628.4478 | 1266624.0652 | 2731643.4446 | 1266629.4161
49 | 2731667.1665 | 1266697.6221 | 2731667.4694 | 1266697.5181
50 | 2731683.0425 | 1266608.3353 | 2731685.9061 | 1266604.749 | 2731692.5673 | 1266592.2509
51 | 2731596.0646 | 1266612.4999 | 2731592.0496 | 1266611.7454
52 | 2731692.5673 | 1266592.2509 | 2731692.9994 | 1266591.4401
53 | 2731610.1945 | 1266353.5174 | 2731623.0224 | 1266358.2539
54 | 2731610.1945 | 1266353.5174 | 2731591.553 | 1266346.6342
55 | 2731623.0224 | 1266358.2539 | 2731623.3398 | 1266358.3712
56 | 2731587.9509 | 1266345.3042 | 2731591.553 | 1266346.6342
57 | 2731637.101 | 1266357.1623 | 2731651.7585 | 1266362.259
58 | 2731673.9585 | 1266370.0474 | 2731671.1739 | 1266369.0101 | 2731651.7585 | 1266362.259
59 | 2731703.1141 | 1266572.4623 | 2731692.9994 | 1266591.4401
60 | 2731703.1141 | 1266572.4623 | 2731703.5244 | 1266571.6925
61 | 2731711.1334 | 1266557.4159 | 2731703.5244 | 1266571.6925
62 | 2731740.2142 | 1266457.2194 | 2731743.4153 | 1266451.0881
63 | 2731740.2142 | 1266457.2194 | 2731739.2552 | 1266459.0562 | 2731736.2333 | 1266476.1966
64 | 2731743.4153 | 1266451.0881 | 2731749.8274 | 1266438.8065
65 | 2731736.2333 | 1266476.1966 | 2731732.5774 | 1266496.9325
66 | 2731728.9857 | 1266517.3044 | 2731732.5774 | 1266496.9325
67 | 2731728.9857 | 1266517.3044 | 2731725.7199 | 1266528.1179
68 | 2731725.7199 | 1266528.1179 | 2731724.3748 | 1266532.5716 | 2731714.7562 | 1266550.6186
69 | 2731711.1334 | 1266557.4159 | 2731714.6791 | 1266550.7632
70 | 2731714.6791 | 1266550.7632 | 2731714.7562 | 1266550.6186

## bus_geodata
| x | y | coords
0 | 2731536.5106 | 1266474.8685
1 | 2731525.7636 | 1266506.7948
2 | 2731540.8616 | 1266461.943
3 | 2731546.5113 | 1266445.1596
4 | 2731548.256 | 1266439.9767
5 | 2731553.1989 | 1266599.856
6 | 2731565.8688 | 1266603.8632
7 | 2731547.8539 | 1266614.6288
8 | 2731560.1208 | 1266580.1543
9 | 2731553.3195 | 1266616.4187
10 | 2731552.2256 | 1266428.184
11 | 2731542.5334 | 1266423.6672
12 | 2731604.6741 | 1266451.9183
13 | 2731605.6906 | 1266448.9935
14 | 2731600.7634 | 1266463.487
15 | 2731584.7311 | 1266510.1195
16 | 2731580.2235 | 1266522.9431
17 | 2731591.7409 | 1266490.1774
18 | 2731577.499 | 1266530.6938
19 | 2731592.7721 | 1266487.1271
20 | 2731609.7536 | 1266496.351
21 | 2731569.9498 | 1266552.1776
22 | 2731596.5869 | 1266475.8419
23 | 2731648.324 | 1266501.3924
24 | 2731569.3467 | 1266553.8944
25 | 2731598.9791 | 1266468.7653
26 | 2731642.6395 | 1266545.5814
27 | 2731655.4125 | 1266495.771
28 | 2731610.9301 | 1266433.9033
29 | 2731580.3379 | 1266608.4395
30 | 2731580.7383 | 1266608.5661
31 | 2731547.6787 | 1266635.4892
32 | 2731613.8036 | 1266425.4756
33 | 2731618.9621 | 1266410.3463
34 | 2731620.113 | 1266406.9708
35 | 2731625.4137 | 1266391.4244
36 | 2731635.1915 | 1266362.7472
37 | 2731657.8854 | 1266642.9256
38 | 2731661.3236 | 1266648.0733
39 | 2731650.5573 | 1266631.9539
40 | 2731678.6381 | 1266673.9968
41 | 2731680.1954 | 1266611.9006
42 | 2731643.4446 | 1266629.4161
43 | 2731667.4694 | 1266697.5181
44 | 2731683.0425 | 1266608.3353
45 | 2731596.0646 | 1266612.4999
46 | 2731667.1665 | 1266697.6221
47 | 2731692.5673 | 1266592.2509
48 | 2731592.0496 | 1266611.7454
49 | 2731670.335 | 1266469.7097
50 | 2731635.7869 | 1266566.8295
51 | 2731610.1945 | 1266353.5174
52 | 2731623.0224 | 1266358.2539
53 | 2731591.553 | 1266346.6342
54 | 2731623.3398 | 1266358.3712
55 | 2731587.9509 | 1266345.3042
56 | 2731637.101 | 1266357.1623
57 | 2731651.7585 | 1266362.259
58 | 2731673.9585 | 1266370.0474
59 | 2731692.9994 | 1266591.4401
60 | 2731703.1141 | 1266572.4623
61 | 2731703.5244 | 1266571.6925
62 | 2731740.2142 | 1266457.2194
63 | 2731743.4153 | 1266451.0881
64 | 2731736.2333 | 1266476.1966
65 | 2731749.8274 | 1266438.8065
66 | 2731732.5774 | 1266496.9325
67 | 2731728.9857 | 1266517.3044
68 | 2731725.7199 | 1266528.1179
69 | 2731711.1334 | 1266557.4159
70 | 2731714.6791 | 1266550.7632
71 | 2731714.7562 | 1266550.6186
72 | 2731648.324 | 1266501.3924

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1