## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4506-24_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4506-24_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4506-24_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4506-24_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_4506-24_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4506-24_0_4_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_4506-24_0_4_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_4506-24_0_4_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_4506-24_0_4_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_4506-24_0_4_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_4506-24_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4506-24_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4506-24_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4506-24_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4506-24_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4506-24_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4506-24_0_4_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_4506-24_0_4_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_4506-24_0_4_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_4506-24_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_4506-24_0_4_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_4506-24_0_4_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_4506-24_0_4_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_4506-24_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_4506-24_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4506-24_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_4506-24_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4506-24_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_4506-24_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4506-24_0_4_node_90 | 0.4 | n |  | TRUE
30 | bus_LV_4506-24_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4506-24_0_4_node_85 | 0.4 | n |  | TRUE
32 | bus_LV_4506-24_0_4_node_87 | 0.4 | n |  | TRUE
33 | bus_LV_4506-24_0_4_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_4506-24_0_4_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_4506-24_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_4506-24_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_4506-24_0_4_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_4506-24_0_4_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_4506-24_0_4_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_4506-24_0_4_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_4506-24_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_4506-24_0_4_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_4506-24_0_4_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_4506-24_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_4506-24_0_4_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_4506-24_0_4_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_4506-24_0_4_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_4506-24_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_4506-24_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4506-24_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_4506-24_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_4506-24_0_4_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_4506-24_0_4_node_86 | 0.4 | n |  | TRUE
54 | bus_LV_4506-24_0_4_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_4506-24_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_4506-24_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_4506-24_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_4506-24_0_4_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_4506-24_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_4506-24_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_4506-24_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_4506-24_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_4506-24_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4506-24_0_4_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_4506-24_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_4506-24_0_4_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_4506-24_0_4_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_4506-24_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_4506-24_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_4506-24_0_4_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_4506-24_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_4506-24_0_4_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_4506-24_0_4_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_4506-24_0_4_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_4506-24_0_4_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_4506-24_0_4_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_4506-24_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_4506-24_0_4_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_4506-24_0_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_4506-24_0_4_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_4506-24_0_4_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_4506-24_0_4_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_4506-24_0_4_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_4506-24_0_4_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_4506-24_0_4_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_4506-24_0_4_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_4506-24_0_4_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_4506-24_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_MV_409_2_node_135 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4506-24_0_4_load_0 | 0 | 0.0015208 | 0.00038115 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4506-24_0_4_load_1 | 1 | 0.0020412 | 0.00051158 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4506-24_0_4_load_3 | 2 | 0.0041137 | 0.001031 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4506-24_0_4_load_2 | 3 | 0.00061702 | 0.00015464 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4506-24_0_4_load_4 | 4 | 0.0040083 | 0.0010046 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4506-24_0_4_load_26 | 6 | 0.0011542 | 0.00028926 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4506-24_0_4_load_25 | 7 | 0.0026052 | 0.00065292 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4506-24_0_4_load_22 | 8 | 0.0076791 | 0.0019246 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4506-24_0_4_load_27 | 9 | 0.0013131 | 0.00032909 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4506-24_0_4_load_5 | 10 | 0.0029881 | 0.0007489 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4506-24_0_4_load_6 | 11 | 0.0031848 | 0.00079818 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4506-24_0_4_load_8 | 13 | 0.0029553 | 0.00074066 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4506-24_0_4_load_9 | 14 | 0.0024008 | 0.00060169 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4506-24_0_4_load_10 | 15 | 0.0019871 | 0.00049802 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4506-24_0_4_load_61 | 16 | 0.0040715 | 0.0010204 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4506-24_0_4_load_73 | 17 | 0.0011752 | 0.00029454 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4506-24_0_4_load_17 | 19 | 0.0028571 | 0.00071606 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4506-24_0_4_load_59 | 20 | 0.0021974 | 0.00055073 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4506-24_0_4_load_63 | 22 | 0.0034232 | 0.00085793 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4506-24_0_4_load_11 | 23 | 0.018716 | 0.0046907 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4506-24_0_4_load_90 | 29 | 0.002114 | 0.00052983 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4506-24_0_4_load_23 | 30 | 0.00072257 | 0.00018109 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4506-24_0_4_load_85 | 31 | 0.0022366 | 0.00056055 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4506-24_0_4_load_87 | 32 | 0.0014234 | 0.00035674 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4506-24_0_4_load_84 | 33 | 0.0027867 | 0.00069842 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4506-24_0_4_load_88 | 34 | 0.0012346 | 0.00030942 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4506-24_0_4_load_18 | 35 | 0.0017008 | 0.00042626 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4506-24_0_4_load_44 | 36 | 0.0014494 | 0.00036326 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4506-24_0_4_load_45 | 37 | 0.00063942 | 0.00016025 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4506-24_0_4_load_46 | 38 | 0.0011656 | 0.00029213 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4506-24_0_4_load_21 | 41 | 0.0019735 | 0.00049462 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4506-24_0_4_load_66 | 42 | 0.0035456 | 0.00088861 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4506-24_0_4_load_82 | 43 | 0.0028126 | 0.0007049 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4506-24_0_4_load_47 | 44 | 0.0014544 | 0.0003645 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4506-24_0_4_load_64 | 45 | 0.0036743 | 0.00092085 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4506-24_0_4_load_81 | 46 | 0.0012867 | 0.00032248 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4506-24_0_4_load_28 | 48 | 0.0012007 | 0.00030093 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4506-24_0_4_load_33 | 51 | 0.012348 | 0.0030947 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4506-24_0_4_load_91 | 52 | 0.0035948 | 0.00090093 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4506-24_0_4_load_86 | 53 | 0.018378 | 0.0046061 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4506-24_0_4_load_34 | 54 | 0.0037645 | 0.00094348 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4506-24_0_4_load_35 | 55 | 0.0051649 | 0.0012945 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4506-24_0_4_load_36 | 56 | 0.0038732 | 0.00097071 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4506-24_0_4_load_37 | 57 | 0.0032953 | 0.00082588 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4506-24_0_4_load_38 | 58 | 0.0032733 | 0.00082037 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4506-24_0_4_load_51 | 59 | 0.00072539 | 0.0001818 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4506-24_0_4_load_49 | 60 | 0.0012018 | 0.00030119 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4506-24_0_4_load_39 | 61 | 0.0011214 | 0.00028105 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4506-24_0_4_load_40 | 62 | 0.00074176 | 0.0001859 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4506-24_0_4_load_78 | 66 | 0.0027665 | 0.00069334 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4506-24_0_4_load_48 | 67 | 0.003619 | 0.00090701 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4506-24_0_4_load_50 | 68 | 0.0014295 | 0.00035827 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4506-24_0_4_load_52 | 69 | 0.0013805 | 0.00034598 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4506-24_0_4_load_74 | 70 | 0.0016069 | 0.00040272 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4506-24_0_4_load_71 | 71 | 0.00056509 | 0.00014162 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4506-24_0_4_load_53 | 72 | 0.0016724 | 0.00041915 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4506-24_0_4_load_54 | 73 | 0.0016652 | 0.00041733 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4506-24_0_4_load_55 | 74 | 0.001553 | 0.00038921 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4506-24_0_4_load_57 | 76 | 0.0019968 | 0.00050046 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4506-24_0_4_load_70 | 77 | 0.0028741 | 0.00072032 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4506-24_0_4_load_67 | 78 | 0.0017086 | 0.00042822 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4506-24_0_4_load_68 | 80 | 0.001582 | 0.00039648 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4506-24_0_4_load_58 | 81 | 0.003186 | 0.0007985 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4506-24_0_4_load_60 | 82 | 0.0027565 | 0.00069085 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4506-24_0_4_load_89 | 84 | 0.0037485 | 0.00093947 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4506-24_0_4_load_69 | 85 | 0.0018826 | 0.00047184 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4506-24_0_4_load_75 | 86 | 0.00163 | 0.00040852 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4506-24_0_4_load_76 | 87 | 0.0016535 | 0.00041442 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4506-24_0_4_load_77 | 88 | 0.0011695 | 0.00029311 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4506-24_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.054387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4506-24_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.00023435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4506-24_0_4_line_2 | NAYY 4x150 SE | 2 | 5 | 0.030179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4506-24_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.024582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4506-24_0_4_line_4 | NAYY 4x150 SE | 4 | 6 | 0.0014273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4506-24_0_4_line_5 | NAYY 4x150 SE | 5 | 7 | 0.021143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_4506-24_0_4_line_6 | NAYY 4x150 SE | 5 | 8 | 0.053399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_4506-24_0_4_line_7 | NAYY 4x150 SE | 6 | 9 | 0.028805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4506-24_0_4_line_8 | NAYY 4x150 SE | 7 | 28 | 0.013671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_4506-24_0_4_line_9 | NAYY 4x150 SE | 8 | 30 | 0.012563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4506-24_0_4_line_10 | NAYY 4x150 SE | 9 | 46 | 0.02543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4506-24_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.02967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4506-24_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.017705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4506-24_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.015777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4506-24_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.030366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4506-24_0_4_line_15 | NAYY 4x150 SE | 12 | 15 | 0.025389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4506-24_0_4_line_16 | NAYY 4x150 SE | 13 | 16 | 0.020822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4506-24_0_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.01361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4506-24_0_4_line_18 | NAYY 4x150 SE | 15 | 18 | 0.016887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4506-24_0_4_line_19 | NAYY 4x150 SE | 15 | 19 | 0.029114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4506-24_0_4_line_20 | NAYY 4x150 SE | 16 | 20 | 0.0069357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4506-24_0_4_line_21 | NAYY 4x150 SE | 17 | 21 | 0.015566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4506-24_0_4_line_22 | NAYY 4x150 SE | 18 | 22 | 0.021622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4506-24_0_4_line_23 | NAYY 4x150 SE | 20 | 81 | 0.014253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4506-24_0_4_line_24 | NAYY 4x150 SE | 21 | 70 | 0.042388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_4506-24_0_4_line_25 | NAYY 4x150 SE | 21 | 71 | 0.0147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4506-24_0_4_line_26 | NAYY 4x150 SE | 21 | 69 | 0.0098474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_4506-24_0_4_line_27 | NAYY 4x150 SE | 22 | 45 | 0.024048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4506-24_0_4_line_28 | NAYY 4x150 SE | 23 | 24 | 0.038863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4506-24_0_4_line_29 | NAYY 4x150 SE | 24 | 28 | 0.030692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4506-24_0_4_line_30 | NAYY 4x150 SE | 25 | 26 | 0.04278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4506-24_0_4_line_31 | NAYY 4x150 SE | 25 | 27 | 0.025103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4506-24_0_4_line_32 | NAYY 4x150 SE | 26 | 29 | 0.023273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4506-24_0_4_line_33 | NAYY 4x150 SE | 27 | 30 | 0.0010137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4506-24_0_4_line_34 | NAYY 4x150 SE | 27 | 31 | 0.0076064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4506-24_0_4_line_35 | NAYY 4x150 SE | 28 | 32 | 0.03276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_4506-24_0_4_line_36 | NAYY 4x150 SE | 31 | 33 | 0.027101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4506-24_0_4_line_37 | NAYY 4x150 SE | 32 | 34 | 0.01347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_4506-24_0_4_line_38 | NAYY 4x150 SE | 33 | 53 | 0.010894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4506-24_0_4_line_39 | NAYY 4x150 SE | 34 | 64 | 0.0031578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4506-24_0_4_line_40 | NAYY 4x150 SE | 35 | 36 | 0.036009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4506-24_0_4_line_41 | NAYY 4x150 SE | 36 | 37 | 0.022246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4506-24_0_4_line_42 | NAYY 4x150 SE | 36 | 38 | 0.028224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4506-24_0_4_line_43 | NAYY 4x150 SE | 37 | 44 | 0.02444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4506-24_0_4_line_44 | NAYY 4x150 SE | 38 | 67 | 0.034996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4506-24_0_4_line_45 | NAYY 4x150 SE | 39 | 40 | 0.007461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4506-24_0_4_line_46 | NAYY 4x150 SE | 39 | 41 | 0.037993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4506-24_0_4_line_47 | NAYY 4x150 SE | 40 | 42 | 0.014153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4506-24_0_4_line_48 | NAYY 4x150 SE | 40 | 43 | 0.011965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4506-24_0_4_line_49 | NAYY 4x150 SE | 41 | 44 | 0.033501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4506-24_0_4_line_50 | NAYY 4x150 SE | 42 | 45 | 0.010766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4506-24_0_4_line_51 | NAYY 4x150 SE | 46 | 47 | 0.017164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4506-24_0_4_line_52 | NAYY 4x150 SE | 47 | 66 | 0.044796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_4506-24_0_4_line_53 | NAYY 4x150 SE | 47 | 79 | 0.018921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_4506-24_0_4_line_54 | NAYY 4x150 SE | 48 | 49 | 0.01129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4506-24_0_4_line_55 | NAYY 4x150 SE | 49 | 50 | 0.010175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4506-24_0_4_line_56 | NAYY 4x150 SE | 49 | 51 | 0.028058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4506-24_0_4_line_57 | NAYY 4x150 SE | 50 | 52 | 0.03054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4506-24_0_4_line_58 | NAYY 4x150 SE | 51 | 53 | 0.027575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4506-24_0_4_line_59 | NAYY 4x150 SE | 54 | 55 | 0.017845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4506-24_0_4_line_60 | NAYY 4x150 SE | 54 | 56 | 0.019911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4506-24_0_4_line_61 | NAYY 4x150 SE | 55 | 57 | 0.005656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4506-24_0_4_line_62 | NAYY 4x150 SE | 56 | 58 | 0.011666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4506-24_0_4_line_63 | NAYY 4x150 SE | 57 | 59 | 0.013947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4506-24_0_4_line_64 | NAYY 4x150 SE | 59 | 60 | 0.0088574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4506-24_0_4_line_65 | NAYY 4x150 SE | 60 | 68 | 0.0035026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4506-24_0_4_line_66 | NAYY 4x150 SE | 61 | 62 | 0.033004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_4506-24_0_4_line_67 | NAYY 4x150 SE | 61 | 63 | 0.005276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_4506-24_0_4_line_68 | NAYY 4x150 SE | 62 | 64 | 0.016191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_4506-24_0_4_line_69 | NAYY 4x150 SE | 63 | 65 | 0.035001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_4506-24_0_4_line_70 | NAYY 4x150 SE | 65 | 66 | 0.019981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_4506-24_0_4_line_71 | NAYY 4x150 SE | 68 | 69 | 0.023295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4506-24_0_4_line_72 | NAYY 4x150 SE | 70 | 88 | 0.0068862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_4506-24_0_4_line_73 | NAYY 4x150 SE | 72 | 73 | 0.01817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4506-24_0_4_line_74 | NAYY 4x150 SE | 72 | 74 | 0.0095516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4506-24_0_4_line_75 | NAYY 4x150 SE | 73 | 75 | 0.02488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4506-24_0_4_line_76 | NAYY 4x150 SE | 74 | 76 | 0.014088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4506-24_0_4_line_77 | NAYY 4x150 SE | 75 | 77 | 0.025069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_4506-24_0_4_line_78 | NAYY 4x150 SE | 75 | 78 | 0.017263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_4506-24_0_4_line_79 | NAYY 4x150 SE | 77 | 79 | 0.039908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_4506-24_0_4_line_80 | NAYY 4x150 SE | 78 | 80 | 0.011013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_4506-24_0_4_line_81 | NAYY 4x150 SE | 80 | 85 | 0.006281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_4506-24_0_4_line_82 | NAYY 4x150 SE | 81 | 82 | 0.038444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4506-24_0_4_line_83 | NAYY 4x150 SE | 82 | 83 | 0.01756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4506-24_0_4_line_84 | NAYY 4x150 SE | 83 | 84 | 0.022225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4506-24_0_4_line_85 | NAYY 4x150 SE | 85 | 86 | 0.016394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_4506-24_0_4_line_86 | NAYY 4x150 SE | 86 | 87 | 0.01758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_4506-24_0_4_line_87 | NAYY 4x150 SE | 87 | 88 | 0.020486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4506-24_0_4_trafo_52 | 0.25 MVA 20/0.4 kV | 89 | 69 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2731761.4997 | 1266242.3932 | 2731769.6205 | 1266228.9387 | 2731746.395 | 1266215.6419 | 2731735.3616 | 1266211.1584
1 | 2731735.3616 | 1266211.1584 | 2731735.1445 | 1266211.0701
2 | 2731707.1853 | 1266199.7087 | 2731735.1445 | 1266211.0701
3 | 2731735.0044 | 1266291.8524 | 2731734.3864 | 1266293.0915 | 2731725.8121 | 1266314.6463
4 | 2731725.2845 | 1266315.9725 | 2731725.8121 | 1266314.6463
5 | 2731707.1853 | 1266199.7087 | 2731697.7784 | 1266210.8318 | 2731694.1243 | 1266216.2983
6 | 2731707.1853 | 1266199.7087 | 2731715.2221 | 1266189.5671 | 2731740.2988 | 1266157.8167
7 | 2731725.2845 | 1266315.9725 | 2731719.0822 | 1266331.5645 | 2731714.8153 | 1266342.8063
8 | 2731686.527 | 1266227.6636 | 2731694.1243 | 1266216.2983
9 | 2731748.0853 | 1266147.958 | 2731740.2988 | 1266157.8167
10 | 2731705.7912 | 1266366.5816 | 2731714.8153 | 1266342.8063
11 | 2731877.788 | 1266247.1701 | 2731886.5077 | 1266234.0058 | 2731896.1683 | 1266224.0393
12 | 2731868.011 | 1266261.9305 | 2731877.788 | 1266247.1701
13 | 2731907.1489 | 1266212.711 | 2731896.1683 | 1266224.0393
14 | 2731868.011 | 1266261.9305 | 2731839.292 | 1266252.067
15 | 2731868.011 | 1266261.9305 | 2731892.0217 | 1266270.1811
16 | 2731907.1489 | 1266212.711 | 2731909.2046 | 1266210.5902 | 2731919.4226 | 1266195.9312
17 | 2731839.292 | 1266252.067 | 2731826.4201 | 1266247.6461
18 | 2731907.992 | 1266275.6688 | 2731892.0217 | 1266270.1811
19 | 2731892.0217 | 1266270.1811 | 2731887.5204 | 1266298.9451
20 | 2731923.3886 | 1266190.2413 | 2731919.4226 | 1266195.9312
21 | 2731811.6978 | 1266242.5897 | 2731826.4201 | 1266247.6461
22 | 2731907.992 | 1266275.6688 | 2731909.5093 | 1266276.1921 | 2731924.753 | 1266275.8875 | 2731929.3285 | 1266274.5387
23 | 2731932.9147 | 1266180.8717 | 2731929.6772 | 1266181.2194 | 2731923.3886 | 1266190.2413
24 | 2731811.6978 | 1266242.5897 | 2731795.3187 | 1266281.6857
25 | 2731811.6978 | 1266242.5897 | 2731797.6087 | 1266238.3945
26 | 2731811.6978 | 1266242.5897 | 2731817.3296 | 1266234.5117
27 | 2731929.3285 | 1266274.5387 | 2731944.3216 | 1266270.1189 | 2731952.7281 | 1266269.7065
28 | 2731687.5825 | 1266202.9639 | 2731702.2903 | 1266187.8551 | 2731712.424 | 1266176.2256 | 2731713.9247 | 1266174.414
29 | 2731687.5825 | 1266202.9639 | 2731678.4028 | 1266220.7873 | 2731686.527 | 1266227.6636
30 | 2731707.636 | 1266093.0407 | 2731725.6039 | 1266117.8532 | 2731733.1482 | 1266127.4304
31 | 2731748.7136 | 1266147.1625 | 2731733.1482 | 1266127.4304
32 | 2731707.636 | 1266093.0407 | 2731726.7633 | 1266079.7829
33 | 2731748.7136 | 1266147.1625 | 2731748.0853 | 1266147.958
34 | 2731748.7136 | 1266147.1625 | 2731753.558 | 1266141.2983
35 | 2731686.527 | 1266227.6636 | 2731674.2857 | 1266250.7237 | 2731671.9111 | 1266256.9376
36 | 2731770.8184 | 1266120.4049 | 2731753.558 | 1266141.2983
37 | 2731667.1026 | 1266269.5204 | 2731671.9111 | 1266256.9376
38 | 2731770.8184 | 1266120.4049 | 2731777.7569 | 1266112.0059
39 | 2731665.9753 | 1266272.4702 | 2731667.1026 | 1266269.5204
40 | 2731876.7794 | 1266353.7612 | 2731856.3942 | 1266324.0779
41 | 2731894.0153 | 1266339.6964 | 2731876.7794 | 1266353.7612
42 | 2731854.912 | 1266371.6053 | 2731876.7794 | 1266353.7612
43 | 2731894.0153 | 1266339.6964 | 2731912.9511 | 1266324.2444
44 | 2731832.4618 | 1266398.2384 | 2731849.151 | 1266376.3064 | 2731854.912 | 1266371.6053
45 | 2731975.064 | 1266277.3119 | 2731967.633 | 1266278.1913
46 | 2731967.633 | 1266278.1913 | 2731938.7272 | 1266302.848
47 | 2731975.064 | 1266277.3119 | 2731963.481 | 1266269.179
48 | 2731975.064 | 1266277.3119 | 2731986.6806 | 1266274.4471
49 | 2731938.7272 | 1266302.848 | 2731928.9198 | 1266311.2138 | 2731912.9511 | 1266324.2444
50 | 2731952.7281 | 1266269.7065 | 2731963.481 | 1266269.179 | 2731963.481 | 1266269.179
51 | 2731698.0721 | 1266379.0299 | 2731700.6938 | 1266380.0114 | 2731705.7912 | 1266366.5816
52 | 2731698.0721 | 1266379.0299 | 2731671.1739 | 1266369.0101 | 2731655.974 | 1266363.7248
53 | 2731698.0721 | 1266379.0299 | 2731698.1041 | 1266386.0372 | 2731703.4763 | 1266387.9698 | 2731709.0161 | 1266390.8292
54 | 2731813.1895 | 1266069.1153 | 2731820.5015 | 1266060.5127
55 | 2731813.1895 | 1266069.1153 | 2731805.1805 | 1266062.8086
56 | 2731813.1895 | 1266069.1153 | 2731795.3192 | 1266090.747
57 | 2731805.1805 | 1266062.8086 | 2731796.3343 | 1266073.7661 | 2731793.4564 | 1266075.1477 | 2731789.8217 | 1266074.3214 | 2731784.4841 | 1266070.1541 | 2731782.3045 | 1266068.4513
58 | 2731795.3192 | 1266090.747 | 2731777.7569 | 1266112.0059
59 | 2731848.9329 | 1266189.1822 | 2731859.1386 | 1266174.5439
60 | 2731868.6755 | 1266157.1042 | 2731861.73 | 1266170.8269 | 2731859.1386 | 1266174.5439
61 | 2731845.6982 | 1266193.8219 | 2731848.9329 | 1266189.1822
62 | 2731873.1269 | 1266146.423 | 2731872.6117 | 1266149.3272 | 2731868.6755 | 1266157.1042
63 | 2731845.6982 | 1266193.8219 | 2731837.7214 | 1266205.2632
64 | 2731832.6558 | 1266212.529 | 2731837.7214 | 1266205.2632
65 | 2731832.6558 | 1266212.529 | 2731830.6526 | 1266215.4022
66 | 2731660.751 | 1266287.7949 | 2731650.1015 | 1266319.0333
67 | 2731648.3991 | 1266324.0272 | 2731650.1015 | 1266319.0333
68 | 2731665.9753 | 1266272.4702 | 2731660.751 | 1266287.7949
69 | 2731648.3991 | 1266324.0272 | 2731637.101 | 1266357.1623
70 | 2731637.101 | 1266357.1623 | 2731655.974 | 1266363.7248
71 | 2731817.3296 | 1266234.5117 | 2731830.6526 | 1266215.4022
72 | 2731795.3187 | 1266281.6857 | 2731792.6578 | 1266288.0371
73 | 2731764.0323 | 1266411.5989 | 2731772.4418 | 1266395.4917
74 | 2731764.0323 | 1266411.5989 | 2731759.6117 | 1266420.066
75 | 2731770.7703 | 1266371.1648 | 2731773.8809 | 1266380.9545 | 2731772.4418 | 1266395.4917
76 | 2731753.0917 | 1266432.5542 | 2731759.6117 | 1266420.066
77 | 2731770.7703 | 1266371.1648 | 2731746.5594 | 1266377.6691
78 | 2731770.7703 | 1266371.1648 | 2731767.2346 | 1266361.1877 | 2731766.785 | 1266354.5253
79 | 2731709.0161 | 1266390.8292 | 2731726.2017 | 1266383.1383 | 2731746.5594 | 1266377.6691
80 | 2731766.785 | 1266354.5253 | 2731766.5101 | 1266350.4504 | 2731769.1874 | 1266344.0599
81 | 2731769.1874 | 1266344.0599 | 2731771.6144 | 1266338.2668
82 | 2731932.9147 | 1266180.8717 | 2731940.5644 | 1266180.0502 | 2731956.416 | 1266181.2051 | 2731971.0985 | 1266183.4712
83 | 2731988.6014 | 1266184.5157 | 2731975.4589 | 1266184.1441 | 2731971.0985 | 1266183.4712
84 | 2731988.6014 | 1266184.5157 | 2731970.708 | 1266171.2593
85 | 2731771.6144 | 1266338.2668 | 2731777.949 | 1266323.1462
86 | 2731784.7419 | 1266306.932 | 2731777.949 | 1266323.1462
87 | 2731784.7419 | 1266306.932 | 2731792.6578 | 1266288.0371

## bus_geodata
| x | y | coords
0 | 2731761.4997 | 1266242.3932
1 | 2731735.3616 | 1266211.1584
2 | 2731735.1445 | 1266211.0701
3 | 2731735.0044 | 1266291.8524
4 | 2731725.8121 | 1266314.6463
5 | 2731707.1853 | 1266199.7087
6 | 2731725.2845 | 1266315.9725
7 | 2731694.1243 | 1266216.2983
8 | 2731740.2988 | 1266157.8167
9 | 2731714.8153 | 1266342.8063
10 | 2731877.788 | 1266247.1701
11 | 2731896.1683 | 1266224.0393
12 | 2731868.011 | 1266261.9305
13 | 2731907.1489 | 1266212.711
14 | 2731839.292 | 1266252.067
15 | 2731892.0217 | 1266270.1811
16 | 2731919.4226 | 1266195.9312
17 | 2731826.4201 | 1266247.6461
18 | 2731907.992 | 1266275.6688
19 | 2731887.5204 | 1266298.9451
20 | 2731923.3886 | 1266190.2413
21 | 2731811.6978 | 1266242.5897
22 | 2731929.3285 | 1266274.5387
23 | 2731713.9247 | 1266174.414
24 | 2731687.5824 | 1266202.9639
25 | 2731733.1482 | 1266127.4304
26 | 2731707.636 | 1266093.0407
27 | 2731748.7136 | 1266147.1625
28 | 2731686.527 | 1266227.6636
29 | 2731726.7633 | 1266079.7829
30 | 2731748.0853 | 1266147.958
31 | 2731753.558 | 1266141.2983
32 | 2731671.9111 | 1266256.9376
33 | 2731770.8184 | 1266120.4049
34 | 2731667.1026 | 1266269.5204
35 | 2731856.3942 | 1266324.0779
36 | 2731876.7794 | 1266353.7612
37 | 2731894.0153 | 1266339.6964
38 | 2731854.912 | 1266371.6053
39 | 2731967.633 | 1266278.1913
40 | 2731975.064 | 1266277.3119
41 | 2731938.7272 | 1266302.8481
42 | 2731963.481 | 1266269.179
43 | 2731986.6806 | 1266274.4471
44 | 2731912.9511 | 1266324.2444
45 | 2731952.7281 | 1266269.7065
46 | 2731705.7912 | 1266366.5816
47 | 2731698.0721 | 1266379.0299
48 | 2731820.5015 | 1266060.5127
49 | 2731813.1895 | 1266069.1153
50 | 2731805.1805 | 1266062.8086
51 | 2731795.3192 | 1266090.747
52 | 2731782.3045 | 1266068.4513
53 | 2731777.7569 | 1266112.0059
54 | 2731859.1386 | 1266174.5439
55 | 2731848.9329 | 1266189.1822
56 | 2731868.6755 | 1266157.1042
57 | 2731845.6982 | 1266193.8219
58 | 2731873.1269 | 1266146.423
59 | 2731837.7214 | 1266205.2631
60 | 2731832.6558 | 1266212.529
61 | 2731650.1015 | 1266319.0333
62 | 2731660.751 | 1266287.7949
63 | 2731648.3991 | 1266324.0272
64 | 2731665.9753 | 1266272.4702
65 | 2731637.101 | 1266357.1623
66 | 2731655.974 | 1266363.7248
67 | 2731832.4618 | 1266398.2384
68 | 2731830.6526 | 1266215.4022
69 | 2731817.3296 | 1266234.5117
70 | 2731795.3187 | 1266281.6857
71 | 2731797.6087 | 1266238.3945
72 | 2731764.0323 | 1266411.5989
73 | 2731772.4418 | 1266395.4917
74 | 2731759.6117 | 1266420.066
75 | 2731770.7703 | 1266371.1648
76 | 2731753.0917 | 1266432.5542
77 | 2731746.5594 | 1266377.6691
78 | 2731766.785 | 1266354.5253
79 | 2731709.0161 | 1266390.8292
80 | 2731769.1874 | 1266344.0599
81 | 2731932.9147 | 1266180.8717
82 | 2731971.0985 | 1266183.4712
83 | 2731988.6014 | 1266184.5157
84 | 2731970.708 | 1266171.2593
85 | 2731771.6144 | 1266338.2668
86 | 2731777.949 | 1266323.1462
87 | 2731784.7419 | 1266306.932
88 | 2731792.6578 | 1266288.0371
89 | 2731811.6978 | 1266242.5897

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1